**Minutes of Pre bid meeting on 23.01.2012 for the works of Supply Installation Testing and Commissioning of Elevator System for Taluk Hospital Karunagapally & Institute of Mental Health and Neurosciences IMHANS, Calicut**

**The meeting was participated by HLL officials and one of the parties,** M/s ThyssenKrupp

**Pre bid meeting on 23.01.2013**

M/s ThyssenKrupp expressed their reservations regarding prompt service for Machine room less type of lift in areas away from cities such as Karunagappally. HLL replied that the work shall be done as per tender.

They asked for extension of completion period of one month, in case there is delay for getting approval from Electrical Inspectorate. It was decided to give one month extension for the work.

M/s ThyssenKrupp requested for an extension of one week for the submission of tender. HLL agreed to extend the date upto 3.00pm 11.02.2013 and the opening will be on 3.30pm on the same day.

M/s ThyssenKrupp asked whether 3 stop is needed in the lift for TH Karunagappally as the top floor added only later. HLL replied to adhere to tender specification.

HLL informed that Automatic Rescue Device is included in the specification.

HLL also informed that in the specification of lift at IMHANS, car roof with MS finish ceiling is given which should be replaced by Stain less Steel mat finish.

HLL informed that all the documents should be submitted as per technical bid to avoid delay in processing due to clarification being sought.

The minutes of the pre bid meetings on 23.01.2013 will form part of tender document and the vendors are requested to go through the same without fail.