Date: 07/10/2015

**Amendment No: 1**

**Ref:** Tender Enquiry No: HLL/BME/Calibration-07/15-16 Dated 18.09.2015

Pre-Bid meeting against the referred tender was held on 29/09/2015 at HLL Lifecare Ltd., Thycaud, Trivandrum- 695 014

The following amendments are issued with respect to the above Tender Enquiry Document.

**I )Technical Specification**

**Item No 1**

**Endoscope Test Bench**

***Point 3***

***Existing Specification****:* Lengths: 95-630mm

***Amended as:*** Lengths: 95-550mm

***Point 5***

***Existing Specification****:* All weather shock proof carrying case

***Amended as:*** deleted

***Point 6***

***Existing Specification****:* Comprehensive usage training for HLL staff .

***Amended as:*** Comprehensive usage training for HLL staff by Manufacturer representative.

**Item No 2**

**Ultrasound Image Analyzer**

***Point to be added***

***Ultrasound Image Analyzer can be quoted as single unit or unit with multiple components to meet the specification.***

All other contents, terms & conditions of the tender enquiry remain unchanged.