##### HLL LIFECARE LIMITED

AKKULAM  FACTORY,   SREEKARIAM  P.O.  THIRUVANANTHAPURAM - 17

Amendment to TENDER - I

Sub: Tender for  Design, Fabrication, Supply & Qualification of :

HOT RUNNER MOULD FOR IUD Cu  380A

BID REFERENCE : HLL/AFT/PUR/Mould/CU-380A/2015-2016 dtd 08/02/2016

| Sl No | Original Tender Details | # Amended Tender Details |
| --- | --- | --- |
| 1. | Last Date & Time of Submission of Bids 25/02/2016 at 3 pm Date& Time of Opening of Technical bids 25/02/2016 at 4 pm | Last Date & Time of Submission of Bids 02/03/2016 at 3 pm Date& Time of Opening of Technical bids 02/03/2016 at 4 pm |
| 2 | Page No.6 Schedule – A (TECHNICAL SPECIFICATION & GENERAL CONDITIONS) Serial No 5 Type of mould: 2 Plate Hot Runner with single point hot tip (should not have any cold sub runner) | Page No.6 Schedule – A (TECHNICAL SPECIFICATION & GENERAL CONDITIONS) Serial No 5 Type of mould: 2 Plate Hot Runner with single point hot tip (No. of Hot Tips 8 Nos., if sub runner is provided the wastage must be very minimum (<7%) and the component must be de-gated automatically). |

All other terms and conditions in the original tender remain unchanged.

22.02.2016 	Joint General Manager (Materials)