HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

PH:  +91 471 2445930

### FAX: +91 471 2445935

TECHNICAL BID

TENDER DOCUMENTS FOR

OUT SOURCING CLEAN ROOM / CHANGE ROOM CLEANING OPERATIONS

AT

AKKULAM FACTORY, THIRUVANANTHAPURAM

Tender No: HLL/AFT/PUR/CLEANROOM/2014-2015

Date: 25/08/2014

### HLL Lifecare Limited

(A Government of India Enterprise)

Akkulam Factory, Thiruvananthapuram-17

Tender No. 	HLL/AFT/PUR/CLEANROOM/2014-2015                             Date: 25/08/2014

#### TENDER NOTICE

#### Sub: Tender for Out Sourcing Clean room / Change room cleaning Operations at Akkulam Factory, Thiruvananthapuram

Sealed and superscribed tenders are invited in prescribed format, under Two Bid System (Techno Commercial and Price Bids) for undertaking the Clean room cleaning Operations in HLL Lifecare Limited, Akkulam factory, Thiruvananthapuram.  The works involved are given in attached Schedules of this bid.

The work requirements in details and other terms and conditions are given in the Tender documents, which can be had from Materials department of Akkulam Factory on working days between 10.00 a.m and 3.30 p.m on producing the receipt for Rs. 520/- to be paid in the Accounts Section of AFT towards the cost of the Tender documents.

The tender documents are available at Company’s website www.lifecarehll.com also. Those who download the Tender document from the website shall ensure that the Bid contains DD for Rs. 520/- drawn in favour of HLL Lifecare Ltd., payable at Thiruvananthapuram towards the cost of Tender Forms. The Bid not accompanied by the DD or Receipt for Rs. 520/- will be summarily rejected.

Pre Bid Meeting will be conducted on 01/09/2014 at 02.30 p.m

The last date of receipt of Bids				: 04/09/2014 at 03:30 PM

The date of opening of Techno Commercial Bid		: 04/09/2014  at 04:00 PM

HLL, Akkulam Factory reserves the right to cancel or reject this Tender fully or partially, without assigning any reason and his decisions on this will be final and binding on all Tenderers.

JGM (Materials)

Phone No: 0471 244 5930

Fax No    : 0471 244 5935

Email: materialsaft@lifecarehll.com

HLL Lifecare Limited

(A Government of India Enterprise)

Akkulam Factory, Thiruvananthapuram – 17

###### CONTENTS OF BIDDING DOCUMENTS

| Sl No | Schedules | Content | Page No |
| --- | --- | --- | --- |
| TECHNICAL BID |  |  |  |
| 1. |  | ## Instruction to Bidders | 4 |
| 2. | ### Schedule – A | Work Requirement | 5 |
| 3. | Schedule – A.1 | Unit Quantity | 6-7 |
| 4. | Schedule – A.2 | Activities Involved in Clean room cleaning | 8- 9 |
| 5. | Schedule – A.3 | GMP Requirement | 10-11 |
| 6. | Schedule – B | Minimum Eligibility Criteria | 11 |
| 7. | Schedule – C | Questionnaire | 12-14 |
| 8. | Schedule – D | Terms & Conditions | 15-17 |
| 9. | Schedule – E | Questionnaire for Minimum Eligibility Criteria | 18 |
| 10. | Schedule – F | Declaration | 19 |
| PRICE BID |  |  |  |
| 11. | Schedule – G | Price Bid Schedule | 21-23 |
| 12 | Schedule – G | Minimum Acceptable Rate | 24 |

Page 1 of 1

HLL Lifecare Limited

(A Government of India Enterprise)

Akkulam Factory, Thiruvananthapuram – 17

##### INSTRUCTION TO BIDDERS

- This Bid is intended to finalize the contract for Clean room / Change Room cleaning operations and its allied works, in the premises of Akkulam factory, under the supervision and control of the contractor as mentioned in this Bid.

- This is a TWO BID system comprising of:

(a) Techno Commercial Bid	(b) Price Bid

- The Techno Commercial Bid should accompany a DD for Rs. 5,000/- towards Earnest Money Deposit, drawn in favour of M/s.HLL Lifecare Limited, and payable at Trivandrum, or the receipt for same amount remitted in cash Counter of AFT towards EMD, failing which the Tender will be summarily rejected.

- Both the bids shall be submitted in sealed covers separately. Tender Nos. of the “Techno commercial Bids” and “Price Bids” shall be super scribed on the respective covers in order to clearly identify between the 2 bids.  The two separately sealed and superscribed Bids enclosed in a single cover sealed and superscribed with the respective Tender no., complete in all respect, addressed to THE JOINT GENERAL MANAGER (MATERIALS), HLL Lifecare Limited, Akkulam Factory, Thiruvananthapuram - 695017, should reach us on or before the due date and time mentioned in the Tender Notification.  HLL Lifecare shall not be responsible for the delay, if any, in the delivery of the bidding documents or non-receipt of the same.

- a)   Pre Bid Meeting will be conducted on 01/09/2014 at 02.30 p.m

- The last date and time of receipt of Techno Commercial Bid is 04/09/2014  at 3.30 p.m

c)  The date and time of Opening of Techno Commercial Bid is 04/09/2014  at 4.00 p.m

- In case the date mentioned above is declared subsequently as holiday for the Company’s office, the due date for submission and opening of bids will be the next working day at the same venue and time. Bids received after the last date and time for submission shall not be considered.

- The Bidder is expected to examine all work requirements, Instructions, Forms, Terms and Conditions given in the bidding documents. Failure to furnish all information required in the Bidding documents or submission of a Bid not subsequently responsive to the bidding documents in every respect will be at the Bidders risk and may result in rejection of the Bid

- A declaration as given in SCHEDULE-F stating that ALL TERMS AND CONDITIONS with respect to this tender is acceptable should accompany the tender, failing which the tender will be summarily rejected.

SCHEDULE – A

Page 1 of 1

HLL Lifecare Limited

(A Government of India Enterprise)

Akkulam Factory, Thiruvananthapuram-17

Tender No. HLL/AFT/PUR/CLEANROOM/2014-2015                                  Date: 25/08/2014

WORK REQUIREMENTS WITH RESPECT TO CLEANROOM / CHANGE ROOM CLEANING OPERATIONS

- Clean Room Cleaning:

- Regular Cleaning:-

Clean the entire floor areas and walls of Clean Room as per the Daily Clean Room Cleaning Procedure of HLL in each shift.

- Deep Cleaning:-

Clean the entire Floor, Walls and Ceiling as per the Weekly Clean Room Cleaning Procedure of HLL.

- Change Room cleaning:

- Regular Cleaning:-

Clean the Change Rooms (Leg Wash Area, Hand Wash Area & Change Room Cubicles) as per the Daily Change Room Cleaning Procedure of HLL in each shift.

- Deep Cleaning:-

Clean the entire Floor, Walls, Ceiling, Cubicles & Lockers as per the Weekly Clean Room Cleaning Procedure of HLL.

- Records maintenance:

The contractor will be liable to maintain the following records:

i. Stock Register of materials received from HLL Lifecare.

ii. Materials Consumption Record.

iii. Attendance Register of Employees

iv. Work Logbook.

v. Check Cards in respective areas.

vi. Training Records.

vii. Clean Room and Change Room Cleaning Log Sheet.

viii. Any other record to be maintained as required by HLL Lifecare from time to time

SCHEDULE A – 1

Page 1 of 1

HLL Lifecare Limited

(A Government of India Enterprise)

Akkulam Factory, Thiruvananthapuram-17

UNIT QUANTITY

| Sl No | Description of work | Unit | Approximate Area |
| --- | --- | --- | --- |
| 1. | Clean the Clean Rooms of Blood Bag Production, Suture Production & Cu-T Production and the Change Rooms of respective production areas as per the Standard Cleaning Schedule & Procedure of HLL. | Sq.M | 2007 |

Details of Clean Room & Change Rooms

Clean Rooms

- Blood Bag Production Clean Rooms

- Needle Assembly (Manual) Production Clean Rooms

- Cu-T Production Clean Rooms

- Suture Production Clean Rooms

Change Rooms

- Change Room-A (Needle Assembly)- Ladies

- Change Room-B (Processing)- Gents

- Change Room-C (Assembly)- Gents

- Change Room-D (Pharmacy)- Gents

- Change Room-E (Autoclave)- Gents

- Change Room-F (Pharmacy & Final Visual)- Ladies

- Change Room- (Needle Assembly Manual)- Gents

- Change Room- (Needle Assembly Manual)- Ladies

- Change Room- (Cu-T)- Gents

- Change Room- (Cu-T)- Ladies

- Change Room- (Suture)- Gents

- Change Room- (Suture)- Ladies

NOTE:

- Party shall to visit the factory and see the Clean Room and Change Rooms and Cleaning Procedures before submitting the offer.

- If any new work which is not covered in the above, but the mode of work is similar to any one of the above work, is required to be done, the Contractor shall do the same at the agreed rate without any additional cost.

- If any new work, which is not covered in the above, required to be done, Company reserve the right to fix the rate for the same and contractor shall do the same at agreed rate.

- Proper Supervision shall be arranged by the contractor in order to ensure the cleanliness of Clean Rooms & Change Rooms and for the proper control on Cleaning Solutions.

- If any production loss occurs due to lack of cleaning and which causes production loss, proportionate amount of production loss would be imposed in the subsequent bill of the contractor. Production Loss will be worked out by HLL.

- The contractor shall comply with all requirements of GMP Standards, Drugs Control Rules & Regulations, Quality Management System and Safety Rules & Regulations of HLL.

SCHEDULE A.2

Page 1 of 2

HLL Lifecare Limited

(A Government of India Enterprise)

Akkulam Factory, Thiruvananthapuram-17

ACTIVITES INVOLVED IN CLEAN ROOM / CHANGE ROOM CLEANING OPERATION AND ALLIED WORKS.

- All Change Rooms should be cleaned as per the work instruction of Engineering Work Instruction 01and frequency schedule given below.

| Sl No | Area Location | Cleaning Task | I Shift | II Shift | III Shift |
| --- | --- | --- | --- | --- | --- |
| 1 | Needle Assembly Area | Dry Mop | 2 | 2 | 2 |
|  |  | Damp Mop | 2 | 2 | 2 |
| 2 | Tube Extrusion Area | Dry Mop | 2 | 2 | 2 |
|  |  | Damp Mop | 2 | 2 | 2 |
| 3 | Sheet Extrusion Area | Dry Mop | 2 | 2 | 2 |
|  |  | Damp Mop | 2 | 2 | 2 |
| 4 | Semi HF Welding Area | Dry Mop | 2 | 2 | 2 |
|  |  | Damp Mop | 2 | 2 | 2 |
| 5 | 4 UP Machine Area | Dry Mop | 2 | 2 | 2 |
|  |  | Damp Mop | 2 | 2 | 2 |
| 6 | Bag Assembly Area | Dry Mop | 4 | 4 | 4 |
|  |  | Damp Mop | 2 | 2 | 2 |
| 7 | Chemical Room Area | Dry Mop | 4 | 4 | 4 |
|  |  | Damp Mop | 2 | 2 | 2 |
| 8 | Mixing Area | Dry Mop | 4 | 4 | 4 |
|  |  | Damp Mop | 2 | 2 | 2 |
| 9 | Filling Area | Dry Mop | 4 | 4 | 4 |
|  |  | Damp Mop | 2 | 2 | 2 |
| 10 | Autoclave Area | Dry Mop | 2 | 2 | 2 |
|  |  | Damp Mop | 2 | 2 | 2 |
| 11 | Drying Area | Dry Mop | 2 | 2 | 2 |
|  |  | Damp Mop | 2 | 2 | 2 |
| 12 | Final Visual Area | Dry Mop | 2 | 2 | 2 |
|  |  | Damp Mop | 2 | 2 | 2 |
| 13 | Manual Needle Assembly Area | Dry Mop | 4 | 4 | 4 |
|  |  | Damp Mop | 2 | 2 | 2 |
| 14 | Cu-T Area | Dry Mop | 1 | 1 | 1 |
|  |  | Damp Mop | 0 | 0 | 1 |
| 15 | Suture Area | Dry Mop | 1 | 1 | 1 |
|  |  | Damp Mop | 0 | 0 | 1 |
| 16 | RH Rom (Suture) Area | Dry Mop | 1 | 1 | 1 |
|  |  | Damp Mop | 0 | 0 | 1 |
| 17 | Change Rooms | Dry Mop | 2 | 2 | 1 |
|  |  | Damp Mop | 2 | 2 | 1 |

- All consumables required for cleaning will be supplied by HLL at free of cost.

SCHEDULE A.2

Page 2 of 2

- Replace the used foot wipe sponge in the Change Room once in a day in the first shift or based on the condition of the sponge.

- Check the Hand Wash Solutions in Dispensers kept the Change Rooms and shall be replenished timely.

- Check the conditions of Hand / Leg Dryers placed in the Change Rooms and inform the defects if any to the Engineering Department timely.

I.  PROCEDURE FOR CLEAN ROOM CLEANING

- Enter the clean room as per the Clean Room entry protocol.

- Collect all the waste from the waste container.

- Segregate the waste materials and put in separate bags and lead these waste to the designated area of Stores Department.

- Mope tables,walls and chairs with the cleaning solution. The moping cloth or sponge should be squeezed after dipping in the Cleaning  Water/Solution.

- Separate mops shall be used for Clean Rooms and Change Rooms.

- Clean Room walls (SS Panels) shall be cleaned with wet and dry mops on daily basis. All SS panels (Wall & Ceiling) shall be cleaned with proper cleaning solution on weekly basis.

- Begin all the Cleaning should be done from the top and finish at the bottom of any surface and equipment to be cleaned. Mope the sidewalls and floors with the cleaning solution and water   using   mope stick.

- Vacuum Cleaning shall be done once in a day in Tube Extrusion Area, Sheet Extrusion Area, Assembly Area and Pharmacy Area.

- Utmost care should be taken as per the following procedure

- Cleaning shall be done as per the schedule given above.

- Clean the return air ducts properly using wet banian cloth.

- Ensure that all areas including change rooms, air lock area, cabins etc are cleaned using cleaning solution.

- Ensure that all consumables for cleaning are available in the Department.

- Clean all sponge kept in the tray (leg wash) and dry it.

- Replace the used sponge once in a day in the first shift or depending on the condition of the sponges.

- Place the sponge in the tray and wet it with cleaning solution.

- Take out all used garments/waste/cleaning equipments and finish the cleaning operation.

- Materials needed;

- Cleaning Solution and Water

- Cleaning Sponges

- Mope Buckets

- Mope Sticks.

- Cleaning for Fumigation:- Regular cleaning shall be done before & after the fumigation.

- Details of Disinfectants / Cleaning Solutions used for cleaning

| Sl No | Area | Cleaning Solutions |
| --- | --- | --- |
| 1 | Clean Rooms (Floors) | MICROL-F/ VIREX256 |
| 2 | Change Rooms (SS Panels) | SUMO BREAK |
| 3 | Change Rooms (Floors) | MICROL-F/ VIREX256 & Green Apple |
| 4 | Hand Wash Solution | Medigard –T |

Remarks:- MICROL-F and VIREX 256 shall be used in alternate weeks periodically.

SCHEDULE - A.3

Page 1 of 1

HLL Lifecare Limited

(A Government of India Enterprise)

Akkulam Factory, Thiruvananthapuram-17

Tender No. HLL/AFT/PUR/CLEANROOM/2014-2015                                Date: 25/08/2014

GMP REQUIREMENTS

- SANITATION & HYGIENE

All persons prior to employment shall undergo Medical examination and shall be free from contagious diseases. Periodical medical examination shall be held at least once in a year. People who come in contact with the product shall wear protective devices like sterile garments, gloves etc. Cleaning persons shall take all Clean Room Procedures and wear clean room clothes after removing street clothes before entering to Clean Room area. Smoking, eating, chewing and drinking etc are prohibited inside the Clean Room area.

- STORAGE CONDITIONS

Washing materials/clothes should be stored in a clean dry insect free area and hygiene condition should be ensured.

PROCESS CONTROL & DOCUMENTATION

It should be ensured that all operations are conducted properly by controls such as training, supervision and inspection. Documented procedure should be followed for all the operations and proper control shall be there to ensure that the product consistently meet the required specifications.

Legal Compliance:

- The contractor should take license under the Contract Labour  (R&A) Act 1970 and other statutory licenses wherever applicable and should produce proof to the Company.

- The contractor should take insurance for their workers against any eventuality of accident etc. HLL Lifecare Limited will not be liable for any accident sustained to contractor’s workmen while on or out of the work during the contract period. The contractor has to cover personal accident insurance policy in respect of the employees engaged by him under Workmen Compensation Act.

NOTE:

If any new work which is not covered in the above, but the mode of work is similar to any one of the above work, is required to be done, the Contractor shall do the same at the agreed rate without any hesitation or additional cost.

SCHEDULE – B

Page 1 of 1

HLL Lifecare Limited

(A Government of India Enterprise)

Akkulam Factory, Thiruvananthapuram-17

Tender No. HLL/AFT/PUR/CLEANROOM/2014-2015                                 Date: 25/08/2015

Minimum Eligibility Criteria for Qualifying in the Techno Commercial Bid -

Clean room / change room cleaning operations

- The tenderer should be able to undertake the Clean Rooms & Change Rooms cleaning operations as given in the SCHEDULE A, A2

- The tenderer should provide security by Cash Deposit/ Bank Guarantee from nationalized/Scheduled Bank for an amount of Rupees Twenty Thousand before commencement of the work, if the work is awarded.

- The Techno Commercial Bid should accompany a DD drawn in favour of M/s HLL Lifecare Limited, and payable at Thiruvananthapuram for Rs. 5,000/-, or receipt for same amount remitted in cash Counter of Akkulam Factory towards Earnest Money Deposit, failing which the Tender will be summarily rejected.

- A Declaration (as given in SCHEDULE-F) from the tenderer that the offer being submitted is as per the requirements given in this Bid is to be attached along with the Techno Commercial Bid.

- The tenderer should have minimum One year experience in carrying out similar type contracts in Operation Theatres of reputed Hospitals / Pharma-Industries and documentary proof thereof shall be produced

- The contractor shall comply with all requirements of GMP Standards, Drugs Control Rules & Regulations, Quality Management System and Safety Rules & Regulations of HLL.

SCHEDULE – C

Page 1 of 3

HLL Lifecare Limited

(A Government of India Enterprise)

Akkulam Factory, Thiruvananthapuram-17

Tender No. HLL/AFT/PUR/CLEANROOM/2014-2015                                  Date: 25/08/2014

QUESTIONNAIRE

(GENERAL INFORMATION OF THE TENDERER)

1. Name & Address of the Tenderer			           :

(a) Telephone No

(i) Land Phone				                        :

(ii) Mobile Phone				            :

(iii) Fax No.						:

(c) E-mail address					            :

(d) Name of contact person with

Mobile No. if any					            :

(in case of organization)

2. Whether individual /proprietary/			           :

Partnership firm /Limited Co./Society

If society,

(a) Whether Regd. Charitable Society/		            :

Co-operative Society/Labour Supply Society

(b) The Act under which Regd.			            :

(c) Registration No. & Date				            :

(d) Details of governing body (Pl. attach

attested copies as proof for the above)		           :

(e) Details of Financial stability

(i) Name and address of your Bank		            :

(ii) Bank Account:  Type				:

A /c No.			            :

(iii) What is your financial stability (Rs.)		:

(Please enclose copy of audited Annual

Report for the last two years in case of

Societies / firms / Company)

3. In case of individuals					:

Details of Financial stability

(i) Name and address of your Bank		            :

(ii) Bank Account:  Type				:

A /c No.			            :

(iii) What is your financial stability (Rs.)		:

SCHEDULE – C

Page 2 of 3

4. Are you registered with EPF, ESI?		                        : YES / NO

If YES the code Nos of ;     (a) EPF                                       :

(b)  ESI                                      :

If ‘NO’, can you take it within one		                        : YES / NO

Month, if the contract is awarded

5. (a) Number & date of license obtained under the

provisions of the Contract Labour (R&A) Act

1970 if any. Please attach an attested Photocopy

of the license.					            :

(b) If there is no license, do you agree

to take license within two weeks of awarding

the work, if the work is awarded to you                         :

6. Do you have experience in supervising or           	            : YES / NO

carrying out works mentioned in Tender Notice

or similar works on contract basis.

(If ‘YES’ give details 				           1………………

of Nature of contract work and			           2………………

experience and No. of workers engaged. 	                       3………………

Also attach the copy of Certificate in proof)

7. Are you ready to undertake and carry     	                        : YES / NO

out the work in the Tender

by engaging adequate manpower without

fail as per the terms and conditions given

in the Tender Notification.

8. On awarding the contract can you

(i) Engage persons having passed SSLC/ITI	            :

(ii) Ensure that the worker engaged by you

are free from contagious diseases		:

(iii) Arrange Medical check up once in a

year for them		                                    :

(iv) Prohibit smoking, chewing, eating and

drinking in the work area			:

9. Do you agree to follow the provisions		            :

of all relevant laws in respect of labour,

payment of wages, GMP etc.

SCHEDULE – C

Page 3 of 3

10. Have you read, understood and agree to                 	:

abide by the terms and conditions of the

agreement to be signed by the Tenderer

and the Company, once the work is awarded

DECLARATION

I / WE confirm having read and understood the work requirements, instructions, forms, terms and conditions and all relevant information regarding the tender Notification No. _________ Date: _____ and agree to abide by all without any deviation from what are stated above and contained therein in the Tender Notification.

Place:							SIGNATURE

Date:							Name & Address

Seal (in case of society / Organization/Firm)

SCHEDULE – D

Page 1 of 3

HLL Lifecare Limited

(A Government of India Enterprise)

Akkulam Factory, Thiruvananthapuram-17

Tender No. HLL/AFT/PUR/CLEANROOM/2014-2015                                 Date:25/08/2014

TERMS AND CONDITIONS

- The Tender should be complete in all respects. Incomplete tenders are liable to be rejected.

- Unsealed Tenders received are liable to be rejected and this will be at the sole risk of the Tenderer.

- The Company shall have the right to inspect the existence and quality of the details claimed in the Techno Commercial Bid, to determine the eligibility of the Bidder prior to the award of work and the tenderer shall extend all co-operation for this. If any information provided in the Techno commercial Bid is found false or incorrect at the stage of inspection or visit, the tenderer shall be disqualified. If any information provided in the Techno Commercial Bid is found false at any point of time during the contract period, the same shall result in termination of contract with the tenderer, disqualification of the tenderer from future tendering, forfeiture of EMD paid and Security Deposit and payment of compensation towards loss or damage caused to the company on account of making false claims.

- The tenderer who does not meet the Minimum eligibility Criteria shall be considered as DISQUALIFIED in the tender. Their Price Bid shall be returned unopened to them.

- Workers engaged for the work as per this Tender by the contractor will be employees of the contractor at all times and for all purpose and not of HLL Lifecare Limited and there will not be any employer employee relationship between HLL Lifecare Limited and the persons employed by contractor for aforesaid work.

- The persons engaged for this work by the contractor will be with qualification of SSLC/ITI pass. The persons shall be within the age group of 18 years to 40 years. The tenderer shall arrange medical check up for them, prohibit smoking, chewing etc. at work place, shall comply with all relevant legal/ GMP provisions and the overall discipline of the company shall be maintained.

- The work awarded shall not be subcontracted to any other person/organization. In case the company finds, at any point of time during the period of contract, that the work undertaken by the contractor has been subcontracted, the same will be treated as violation of the agreement, liable for legal action, termination of contract, forfeiture of EMD, Security Deposit and disqualification from future tenders to HLL Lifecare Limited

- All the materials required for Clean room and Change room cleaning will be supplied by HLL Lifecare.

SCHEDULE – D

Page 2 of 3

- PRICE BID

The Tenderers shall quote the lowest competitive rate as per schedule for price bid. The details of all activities involved are given as SCHEDULES A, A1, A2

- Before quoting the rate in the Price Bid, the tenderer should study well the nature of works given in SCHEDULE A, A1, A2 and calculate the unit rate for each work as per SCHEDULE A. Per unit rate shall include the Minimum wage (Including Employee contribution of PF & ESI) to be paid to the workers, Contractor’s PF and ESI contributions, Income Tax and Service Tax as applicable, insurance coverage for his/her/its workers, Supervision / Service charges and other statutory charges if any. HLL Lifecare shall have no obligation with regard to statutory or other welfare measures of the workers employed by the contractor for the said work. The contractor shall bear the entire rise in wages or payments and other statutory levies in respect of the employees engaged by him during the tenure of contract. He should comply with all statutory obligations in respect of Labour, GMP etc.

- The tenderer shall pay to his workers engaged for the work undertaken on finalization of the contract, wages not below minimum wages prescribed by the Government of Kerala for the unskilled workers (miscellaneous works) of Plastic Industry as per the notification issued by the Government in this regard from time to time

- The price quoted by the Tenderers will be valid for one year and extendable on mutual agreement.

- On finalization, the Tenderer shall execute an Agreement on a stamp paper worth Rs.100/. The agreement shall contain the terms and conditions mutually agreed upon. The agreement will be valid initially for a period of one year and extendable on the same terms and conditions on mutual agreement.

- The rates quoted shall be valid during the period and till the completion of the contract. No enhancement in rate shall be claimed or payable during the period of the contract.

- RECOVERY OF LOSS / DAMAGE TO COMPANY: - On awarding the contract, but before signing the Agreement, the tenderer shall furnish Security Deposit by either Cash Deposit or Bank Guarantee for a value of Rs. Twenty Thousand which will be returned without interest on completion of contract period. This Security Deposit shall be forfeited in case the tenderer withdraws from the contract once it is awarded or fails in completing the work in time as required by the Company or in case any loss or damage is caused to the Company by the contractor or by his/her/its workers or on breach of any of the conditions of the contract. Loss or damage caused to the Company at the instance of the contract shall be recovered from the Security Deposit in proportionate to the loss or damage sustained by the Company and the decision on the amount of compensation for the loss or damage shall be at the discretion of the company. The Company shall also have the right to recover such loss or damage from the movable or immovable properties of the contractor and his heirs and legal representatives if the loss or damage caused is in excess of Security Deposit.

SCHEDULE – D

Page 3 of 3

- DISTRIBUTION OF WORK IN CASE OF AWARDING WORK TO MORE THAN ONE TENDERER:-

(i) In case more than one tenderer quote the same rate in the Price Bid, then, preference will be given to those who have experience of undertaking similar work by engaging 100 workers or more at a time. The company reserves the right to distribute the work at its discretion to different Tenderers who agree to do the work at the lowest rate accepted. However, the company is not bound to accept the lowest rate.

(ii) Societies formed by the existing employees of the Company or their relatives will not be eligible to apply against this tender notification.

- The Company has the right to give the work under this tender to one or more parties, in full quantity or partially, at the discretion of the Company.

- GENERAL

This Tender is liable to be suspended or cancelled at any time at the discretion of the Unit Chief of the Akkulam Factory, Thiruvananthapuram with or without assigning any reason. Also any Techno Commercial Bid and Price Bid can be rejected or cancelled without assigning any reason.

…………………………………………………………………………

SCHEDULE-E

Page 1 of 1

HLL Lifecare Limited

(A Government of India Enterprise)

Akkulam Factory, Thiruvananthapuram-17

TECHNO COMMERCIAL BID

QUESTIONNAIRE TO BE FILLED FOR MINIMUM ELIGIBILITY CRITERIA – CLEAN ROOM / CHANGE ROOM CLEANING OPERATIONS

| 1 | Can you undertake the Clean room cleaning operations as given in the SCHEDULE A, A1 | Yes/No |
| --- | --- | --- |
| 2 | Do you agree to provide Security Deposit for an amount of Rs. 20,000/- by Cash or Bank guarantee from a National / Scheduled Bank before under taking the work, if awarded. | Yes/No |
| 3 | Do you have minimum One-year experience in carrying out Labour supply contract works in State/Central Govt. Depts. /PSUs | Yes/No |
| 4 | Have you attached the Declaration (as in SCHEDULE – F) along with this Bid | Yes/No |
| 5 | Will you ensure the GMP in the work station | Yes/No |
| 6 | Will you meet all the legal / statutory requirements with respect to this work | Yes/No |
| 7 | Have you enclosed DD / Receipt for Rs. 5,000/- towards EMD in Techno Commercial Bid or DD for Rs.520/- in case of downloaded document | Yes/No |

All the information provided herein is true and correct.

Place:                                              				 Name & signature of the tenderer

Date:

SCHEDULE-F

Page 1 of 1

HLL Lifecare Limited

(A Government of India Enterprise)

Akkulam Factory, Thiruvananthapuram-17

Tender No. HLL/AFT/PUR/CLEANROOM/2014-2015                                 Date: 25/08/2014

DECLARATION

I/WE confirm having read and understood all the work requirements, instructions, forms, terms and conditions and all other requirements of the above tender (both expressed and implied) in full and the offer being abide by all without any deviation.

SIGNATURE:                                                            NAME & ADDRESS OF TENDERER

(Seal of the Tenderer)

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

PH:  +91 471 2445930

### FAX: +91 471 2445935

PRICE BID

TENDER DOCUMENTS FOR

OUT SOURCING CLEAN ROOM / CHANGE ROOM CLEANING OPERATIONS

AT

AKKULAM FACTORY, THIRUVANANTHAPURAM

Tender No: HLL/AFT/PUR/CLEANROOM/2014-2015

Date: 25/08/2014

SCHEDULE-G

Page 1 of 2

HLL Lifecare Limited

(A Government of India Enterprise)

Akkulam Factory, Thiruvananthapuram-17

Tender No.HLL/AFT/PUR/CLEANROOM/2014-2015                    Date: 25/08/2014

PRICE BID SCHEDULE FOR CLEANROOM / CHANGE ROOM CLEANING OPERATIONS

- Name & Address of the Tenderer :	……… ………………………………….

……… ………………………………….

……… ………………………………….

……… ………………………………….

- The Tenderer shall quote his/her/its lowest competitive rate for carrying out the Clean room /Change Room cleaning operations provided by the Company in this Price Bid. The tenderer should essentially understand the Tender conditions and other works and work requirement in the Techno Commercial Bid.

- The Details of work is given, as SCHEDULE A, A1, A2. Tenderer should quote the rate for all the items of works in the SCHEDULE A, A1, A2. Only those Tenderers who quote for all the items in schedule A, A1, A2 will be eligible

(1) The rate shall include the Minimum Wage to be paid to the worker including   Employee contribution of PF & ESI. The tenderer shall pay to his workers wages not below minimum rates of wages for the industry. At present the company will be following the minimum rates of wages prescribed for plastic industry by the Govt of Kerala as a guideline and the quoted rate should be sufficient to pay the said rates of wages to the workers. The tenderer shall pay to his workmen statutory payment as per EPF Act, ESI Act, and Bonus Act etc and any other payments as per Acts or rules applicable at the rates prevalent from time to time.

(2) A statement showing the computation of Minimum acceptable rate payable on behalf of one labour per hour is shown in Annexure – 1, which should be taken as basis for quoting clean room cleaning operation.

(3) The Other Charges shall include Contractor contribution of PF ESI, Accident insurance coverage charges, Service Tax, Supervision /Service Charge, Income Tax as applicable, other charges if any. For this, the tenderer shall study well all the works and statutory payments involved.

- The tenderer should study well the following before submitting the tender;

- The nature of job, labour and other charges involved in carrying out the work,

- The liabilities of contractor on undertaking the work.

- In case any clarification is required, the tenderer may contact the HR Department of Akkulam Factory.

- The work should be done in time, complying with relevant laws and GMP standards as given by the Company and other statutory authorities in this regard, under the supervision and control of the contractor.

SCHEDULE-G

Page 2 of 2

SCHEDULE FOR PRICE BID

| JOB DESCRIPTION AS PER A, A1, A2 | Works in Clean Room Cleaning Operations | Unit | Approximate Quantity | Rate per M: SQ (Rs) |
| --- | --- | --- | --- | --- |
|  | Clean the entire floor and walls of the Clean Rooms & Change Rooms as per the cleaning procedures mentioned in the Technical Bid.. | Sq: M2 | 2007 m2 |  |

NB - The rate shall include Minimum Wage - including employee contribution of PF & ESI, Other Charges Including Employer’s PF & ESI contributions, accident insurance coverage charges, Supervision /Service charges, Service Tax, Income Tax & Other Charges, if applicable and any other payments as per EPF, ESI, Bonus Act etc or rules applicable at the rate prevalent.

The tenderer shall submit Electronic Challan cum Return (ECR) for the previous wage month along with a copy of challan which bears the bank acknowledgement while submission of monthly bills. The ECR shall contain the details of labourers/workmen employed at HLL Lifecare Limited, Akkulam duly highlighted with marker pen.

###### D E C L A R A T I O N

I / We am/are fully aware of the statutory obligations to be complied with respect to this offer and on awarding the work to me/us, I/We will be responsible for all the statutory/legal aspects like Labour, GMP etc. I/We have also fully understood the nature of work and costs involved. The rates quoted by me/us in this bid is all inclusive and in case work is awarded, during the period of contract I/We will not claim any upward revision in the rate.

NAME & ADDRESS                      			     SIGNATURE OF THE TENDERER

DATE:                                                                                (SEAL OF THE TENDERER)

SCHEDULE – H

Page 1 of 1

| HLL LIFECARE LIMITED |  |  |  |  |
| --- | --- | --- | --- | --- |
| AKKULAM, SREEKARIYAM, TRIVANDRUM |  |  |  |  |
| MINIMUM ACCEPTABLE RATE |  |  |  |  |
|  | Components | Percentage | Rate/Day | Rate/hr |
| A | Basic Pay |  | 156.92 | 19.62 |
| B | DA |  | 118.80 | 14.85 |
| A+B | Minimum wages Applicable |  | 275.72 | 34.47 |
| C | PF Contribution | 13.61% | 37.53 | 4.69 |
| D | ESI Contribution | 4.75% | 13.10 | 1.64 |
|  |  | 18.36% |  |  |
| C+D | Total ESI + PF |  | 50.63 | 6.32 |
| (A+B) +(C+D) | Total |  | 326.35 | 40.79 |
| E | Bonus | 8.33% | 22.96 | 2.87 |
| F | Accident Insurance Charges ( Rs 150 per annum) | 150/(365*8) | 0.41 | 0.05 |
| G | Total |  | 349.72 | 43.71 |