##### HLL Lifecare Limited

TENDER NO: HLL/HCS/CHO/2013/70/TEN-ERN dated 21-02-2013

ADDENDUM #1

March 7, 2013

Sub: Addendum to the above referred tender

With reference to the above, we hereby incorporate the following amendment to the tender documents as detailed below:-

Amendment No. 1

The above referred tender has been amended as follows.

- Last date and time of receipt of tender : 11.03.2013; 15.00 Hrs

- Date and time of opening tender : 11.03.2013; 15.30Hrs

- EMD of the unsuccessful bidder will be returned within 30 days on completion of the tender formalities.

- SL No 1 (b) of Annexure – A, the cornice should be of 4 inch Size.

- SL No 1 (f) subheading (i) of Annexure – A, floor mounted EWC.

- SL No 1 (f) subheading (iv) of Annexure – A, Metal flush valve.

- SL No 1 (f) subheading (vii) of Annexure – A, hand shower.

- SL No 1 (g) of Annexure – A, Approximate area is around Two meter.

- SL No 2 (i) & (ii) of Annexure – A, calcium silicate board instead of gypsum boards.

- SL No 2 (i) of Annexure – A, the quantity is 200 instead of 2933

- SL No 2 (ii) of Annexure – A, the quantity is 50 instead of 500.

- SL No 2 (iii) sub heading (a) of Annexure – A, the doors should be of make liberty/landmark or of similar quality.

- SL No 2 (iv) sub heading (b) of Annexure – A, the quantity is 60 instead of 24.

- SL No 2 (vii) of Annexure – A, the quantity is 30 instead of 800.

- SL No 2 (ix) of Annexure – A, the capacity of the refrigerator of approved make should be 180 liters or above.

- SL No 3 of Annexure – A, the changes are as follows

Lighting points (fluorescent lamps)      -  3 nos

- Fan points                                    -  3 nos

- Ceiling light point (CFL with fitting)  - 17 nos

- Telephone point                             -  3 nos

- 6amp socket point                          -  9 nos

- 16amps socket point                        - 2 nos

- DB with MCB                                   - 1 nos

- Internet point                                 -  3 nos

It includes supply and installation of the above items ( branded high quality ).

Group Head (HCS)