TENDER   DOCUMENT FOR CIVIL, ELECTRICAL & INTERIOR WORKS AT LIFECARE CENTRE,

GOVT. MEDICAL COLLEGE, THRISSUR

Tender No. HLL/CHO/HCS/PROJ/2015-16/002 dated 07-05-2015

HLL LIFECARE Ltd

CORPORATE AND REGD. OFFICE

HLL BHAVAN, POOJAPPURA

THIRUVANANTHAPURAM

0471-2354949, Ext. 331,325,326,289.

CONTENTS

| SL No. | ITEM | Page No. |
| --- | --- | --- |
| 1 | Notice Inviting Tender | 3 |
| 2 | Terms and Conditions | 4 - 6 |
| 3 | Annexure A - Schedule | 7 - 15 |

NOTICE INVITING TENDER

Sub: Civil, Electrical & Interior work for Lifecare Centre at Govt. Medical College Hospital, Thrissur

Tender No. - HLL/CHO/HCS/PROJ/2015-16/002 dated 07-05-2015

HLL Lifecare Ltd, a Government of India Undertaking, invites sealed and super scribed quotation from interested contractors/firms having minimum two years of experience in the relevant field for the work at Govt. Medical College, Thrissur

Publishing date of bid: 7th May 2015.

Last date of submission (at the office of the Group Head (HCS), Corporate and Regd. Office, HLL Bhavan, Poojappura, Thiruvananthapuram): 21st May 2015, 15.00 Hours.

Opening of bid: 21st May 2015, 16.00 Hours at HLL Lifecare Ltd, Poojappura Thiruvananthapuram)

Interested applicants can participate in the bid.

HLL reserves the right to accept or reject any application without assigning any reason or incurring any liability whatsoever. Prospective bidders are advised to regularly scan through HLL web site as corrigendum/amendments etc., if any, will be notified on the HLL web site and separate advertisement will not be made for this regard

For HLL Lifecare Ltd.

Associate Vice President (HCS)

GENERAL TERMS & CONDITIONS

- Eligibility criteria:

  - Bidders should have executed satisfactorily at least one job preferably of similar kind and contract should be valuing not less than ten lakhs during the last one year in satisfactory manner.

  - Bidders should have minimum two years’ experience in the relevant field.

Documental proof for the above eligibility criteria should be submitted along with offer.

- The schedule of quantities (ANNEXURE-A) is appended. Bidders are advised to go through the entire general terms and conditions of this contract carefully.

- Earnest money of Rs. 25,000/-(Rupees Twenty five thousand only) in the form of a Demand Draft of a scheduled bank issued in favor of HLL Lifecare LTD, HLL Bhavan, Poojappura, Thiruvananthapuram, which should be placed in a separate sealed cover marked “Earnest Money” shall be submitted along with the tender. EMD of the unsuccessful bidders will be returned with in 15days from the date of issue of work order. The EMD of the successful bidder will be converted into security deposit. Security deposit will be released along with the final payment.

- The filled & duly signed tender (signature on all pages of the tender) should be submitted to Associate Vice President (HCS), Healthcare Service Division, HLL Lifecare Limited, HLL Bhavan, Poojappura, Thiruvananthapuram, PH- 0471-2354949 Ext. 331, 325, 326, 289 on or before 21-05-2015 by 15.00 Hrs. The application shall be clearly marked “Tender for Civil, Electrical & Interior work at Lifecare Centre at Govt. Medical College Hospital, Thrissur”. The tender will be opened at 16.00Hrs on the same day itself in the presence of interested bidders or their authorized representatives who choose to attend at the time of opening of tender.

- The work shall be completed within 30 days from the date of receipt of Work Order or LOI

- The tender for the work shall remain open for acceptance for a period of 90days from the date of opening of tender.

- The contractor shall visit the site before quoting the rates and clarifications if any required can be had from the address mentioned above.

- Rates quoted should be inclusive of all cost of materials, Tools/Equipments labor charges, conveyance to site, handling charges, loading and unloading charges, hiring charges, clearing of debris, statutory payments etc.

- The Management reserves the right to accept or reject the Tender either partially or fully without assigning any reason what so ever.

- The work should be carried out without causing any inconvenience to the public and shall ensure that no damages are caused to the existing site premises.

- During the execution of work the contractor or authorized representative should be present at site.

- All Materials, Equipment’s/ Tools required for the work should be arranged by the contractor and brought to site for the timely completion of the work.

- The materials used shall be as per specification and of good quality.

- The Contractor has to arrange necessary insurance coverage for the machine, workmen etc. deployed by him. He shall arrange all safety measures to protect his workmen and also the properties of HLL.

- Retention Money and Defect liability period: Retention money will be recovered @ 5% on each bills submitted by the contractor. The retention money will be released after the defect liability period of one year from the date of issue of Work Completion Certificate. The work site safety of all employees, their ESI, PF etc will have to be borne by the contractor.

- Taxes & Duties: The amounts quoted in the tender  shall be inclusive of all taxes and duties

- Penalty for delay: Penalty shall be imposed at 0.5% per week to a maximum of 7.5% of the contract value for any delay committed by the contractor in completing the work as per the order.

- Measurement & Payment terms: The method of measurement of completed work shall be in accordance with the standard measurement. Payment will be made on satisfactorily completion of work as per the order. Interim or running account bills shall be submitted by the contractor for the work executed on the basis of such recorded measurements in the format of HLL. All such interim payments shall be regarded as payment by way of advances against final payment only, and shall not preclude the requiring of bad, unsound and imperfect or unskilled work to be rejected, removed, taken away and reconstructed or re erected. Any certificate given by the officer  relating to the work done or materials delivered forming part of such payment, may be modified, or corrected by any subsequent such certificate(s) or by the final certificate and shall not by itself be conclusive evident that any work or material so which it relates is /are in accordance with the contract and certificate. Any such interim payment,/any part  there of shall not in any respect conclude, determine or affect in any way powers of the engineer in charge under the contract or any of such payment s be treated as final settlement and adjustment of accounts or in any way vary or affect the contract.

- Payment Schedule: The contractor can submit two running account bills during the work period. 80% of the bill value will be paid on each running account bill submitted by the contractor.  The remaining 20% will be paid along with the final bill only after issue of Work Completion certificate by Engineer In Charge/Officer In Charge of HLL Lifecare Ltd  .The running account bills is to be submitted detailing the work description ,quantity and rate as per the Work Order. Payments will be made after effecting the statutory deductions of TDS, Work Contract Tax, Service Tax (reverse charge), etc .Retention money @ 5% will be deducted on each bill as per clause 15.

- The Quantity shown in the schedule is an approximate estimated quantity. No rate revision will be entertained if the quantity increases/decreases due to the site condition while executing the work.

- Final payment shall be paid only after clearing the site as per direction of Engineer-in-charge/ Officer in charge.

- Settlement of Dispute: Arbitration shall not be the means of settlement of dispute or claims or   anything on account of this Contract. If any disputes and difference arising out of the contract are to be settled by a civil court at Thiruvananthapuram.

For HLL Lifecare Ltd.

Associate Vice President (HCS)

ANNEXURE- A

| SL. No. | Particulars |  | Quantity | Unit | Rate |  | Amount |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Site clearance and leveling. |  | 1 | 1 Job |  |  |  |
| 2 | Earth work excavation in hard soil for foundation including all cost and labour charges etc complete |  | 8 | m3 |  |  |  |
| 3 | Random Rubble masonry in cement mortar 1:6 for foundation and basement including simultaneous pointing to the exposed face of masonry with the same mortar including scaffolding charges and curing etc complete |  | 15 | m3 |  |  |  |
| 4 | Concrete hollow block of size 40x20x15 of approved quality in cement mortar 1:5 for super structure including curing, hire charges for scaffolding, cost and conveyance of all materials &labour charges etc; complete |  | 11 | m3 |  |  |  |
| 5 | Supplying and providing partition with Aluminum frames, partially glazed partially pre laminate particle board etc. with door accessories. |  | 27 | m2 |  |  |  |
| 6 | Providing and fixing 12 mm thick framed glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). |  | 9.5 | m2 |  |  |  |
| 7 | Providing aluminium door of size 1m x 2.1 m height with half portion plain glass 5 mm thick and balance portion with 12 mm thick Nova pan sheet both side laminated in pivot, door closer etc. complete. handle, lock,2.1 m height with half portion plain glass 5 mm thick and balance portion with 12 mm thick Nova pan sheet both side laminated in pivot, handle, lock, Providing aluminium door of size 1m x 2.1 m height with half portion plain glass 5 mm thick and balance portion with 12 mm thick Nova pan sheet both side laminated in pivot, handle, lock, door closer etc. complete. |  | 1 | nos |  |  |  |
| 8 | Supplying and fixing of BTS 75 V floor spring for Aluminium door (Dorma make) as per specification and as directed by the Engineer in charge. |  | 1 | each |  |  |  |
| 9 | Providing and fixing SS tubular handle bar 32 mm outer dia, 3.0 mm thick & 450mm long with SS screws etc .complete as per direction of Engineer-in-Charge. |  | 2 | each |  |  |  |
| 10 | Supplying & Fixing Aluminium Door frame using 1.5mm thick sections including all cost of Materials ,Labour etc . complete As per the instruction of the EIC |  | 11.5 | M |  |  |  |
| 11 | Supplying & Fixing Aluminium sliding Doors using 1.5mm thick sections including all cost of Materials, Labour etc. complete As per the instruction of the EIC |  | 3.2 | m2 |  |  |  |
| 12 | Supplying and fixing aluminium windows/ ventilators using 1.2mm thick section including all cost of material, labor etc complete as per the instruction of EIC |  | 8.5 | m2 |  |  |  |
| 13 | Providing MS grills for windows etc; using MS flat 32x8mm in section on top and bottom horizontally fixing 10mm MS square rod vertically at 12.5cm c/c and two nos 10mm square rod at 30cm apart from top and bottom including all labor and hire charges for fabricating and cost of material & applying a coat of iron primer and as per approved drawing etc complete. |  | 300 | kg |  |  |  |
| 14 | Providing and fixing sliding windows using powder coated Indal aluminium section 8899,8926,4404 and complete with 4mm thick plain glass EPDM glass cut, with facility for opening |  | 12 | m2 |  |  |  |
| 15 | Supplying and fixing fixed glass windows including all cost and labour charges etc complete |  | 19 | m2 |  |  |  |
| 16 | Laying the inter locking tiles of approved size and colour over a bed of 6mm metal not less than 50mm thick including cost of all material, earth leveling, compacting and concrete locking at the edges, etc, complete. |  | 50 | m2 |  |  |  |
| 17 | Supplying and fixing rolling shutters of approved make made of 80x1.25 mm M.S. laths inter locked together through their entire length and jointed together at the end by end locks mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation etc., complete |  | 15 | m2 |  |  |  |
| 18 | Reinforced cement concrete M20 for sunshade, lintels, beams & slab using 20mm graded hard granite broken stone including shuttering / form works and curing etc., complete but excluding cost of reinforcement steel works |  |  |  |  |  |  |
| 18.1 | a. lintel, beam |  | 0.5 | m3 |  |  |  |
| 18.2 | b. slab |  | 12.5 | m3 |  |  |  |
| 19 | Reinforcement works for RCC including straightening, cutting, bending hooking, lapping, placing in position, tying with binding wire of approved quality and gauge including cost of binding wire and anchoring to the adjoining members wherever necessary etc, including all laps and wastages etc., complete as per design and specifications and direction with all lead and lift |  | 1100 | kg |  |  |  |
| 20 | Plastering with cement mortar 1:4, 12mm one coat to the interior walls & curing etc complete |  | 58 | m2 |  |  |  |
| 21 | Outside plastering with cement mortar 1:4, 16mm thick including all cost and labour charges etc complete |  | 100 | m2 |  |  |  |
| 22 | Flooring with C.C 1:4:8 using 40mm metal including all cost and labour charges etc complete |  | 7.5 | m3 |  |  |  |
| 23 | Providing and fixing Ist quality ceramic glazed wall tiles 300 x 450mm size conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colors, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. |  | 26 | m2 |  |  |  |
| 24 | Flooring including skirting with vitrified tiles (rustic) 600x600mm in size colour and quality approved by the owner / Architect with cement slurry backing on a bed of cement and sieved sand mortar in the ratio 1:4,20 mm thick including pointing the joints with the joint filler (Roff/Fosroc) to match the colour with tiles curing etc., complete |  | 76 | m2 |  |  |  |
| 25 | Laying the counters with mirror polished good quality granite slab 15mm thick of size , colour and quality approved by the owner / architect, with cement slurry backing of cement and sieved sand mortar 1:4, 20mm thick including pointing the joints with cement to match the colour of slabs, curing etc., complete |  | 10 | m2 |  |  |  |
| 26 | White washing to the underside of the wall and ceiling using white cement including all cost and labour charges etc complete |  | 60 | m2 |  |  |  |
| 27 | Colour washing to the inner side of the wall using emulsion including applying two coats of putty with all cost and labour charges etc complete |  | 60 | m2 |  |  |  |
| 28 | Painting two coast to the outer faces of exterior walls with antifungal weather proof paint (Apex/ ICI weather shield ) over one coat of primer and two coat of putty as approved by the engineer in charge., complete |  | 100 | m2 |  |  |  |
| 29 | Providing and fixing suspended false ceiling with PVC interlocking ceiling panels (sintex or similar) 3600x250x8mm securely fixed to the soffit by suitable hangers/ clamps and fixed to the walls using PVC cornice / aluminium L angle 24mx24mm along the entire perimeter with provision for trap door using aluminium box frame 25mmx25mm and shutters fixed with T -section, hinges including cost of all materials ,labour charges, all scaffolding charges etc; complete |  | 79.5 | m2 |  |  |  |
| 30 | Roof Truss Work using truss -OUTER FRAME 40X40X16 swg ,INSIDE BRAZING-20X20X16swg PURLINGS-32X32X16 swg,, LATEES-100X,X50X12swg around all vertical legs swg PLATES, 6mm MS plate, 12mm anchor bolts,LEGS-3'' box section 3.2mm thick GUTTERS-6'' PVC fixed by using 25x6mm MSflat clamp, SHEET-40tk Trafford galwaloom sheet, 55mm long self-screws anti corrosive and painting -One coat primer, one coat enamel etc complete |  | 95 | m2 |  |  |  |
| 31 | Providing and fixing hard drawn steel wire fabric 75x25 mm mesh of weight not less than 7.75 Kg per sqm to window frames etc. including 62x19 mm beading of second class teak wood and priming coat with approved steel primer all complete |  | 13 | m2 |  |  |  |
| 32 | Supplying, fixing at site in position Flat back W/B with pillar cock, angle valve, waste coupling & waste pipe (CERA CALVIN 2815 , 400 X 355 , Angle Valve COL 053 KN, Pillar cock SOL 6011 White colour) |  | 1 | each |  |  |  |
| 33 | Supply,installing,testing& commissioning at site in position Upvc pipe SWR Type B / 6kg/cm2 |  |  |  |  |  |  |
| 33.1 | 110 mm dia |  | 6 | Mtr |  |  |  |
| 33.2 | 75 mm dia |  | 4 | Mtr |  |  |  |
| 33.3 | 50 mm dia |  | 4 | Mtr |  |  |  |
| 33.4 | 32 mm dia. PVC pipes 10kg/cm2 |  | 22 | Mtr |  |  |  |
| 33.5 | 25 mm dia.PVC pipes 10kg/cm2 |  | 8 | Mtr |  |  |  |
| 34 | Supply,installing,testing& commissioning at site in position 32mm dia ‘U’Trap A/C drain |  | 2 | No |  |  |  |
| 35 | Supply,installing,testing& commissioning at site in position Upvc 110X75mm dia Multi Floor Trap |  | 2 | No |  |  |  |
| 36 | Supply, installing, testing & commissioning at site in position 5”X5” square CP Gratings |  | 2 | Each |  |  |  |
| 37 | Constructing brick masonry Gully trap chamber 300 x 300mm inside size & using 300mm x 300mm inside size CI MH cover with frame having 8 kg/E |  | 1 | Nos. |  |  |  |
| 38 | Constructing brick masonry MH 45 x 45cm inside size avg. depth up to 1.00m providing & fixing 45 x 45cm inside size DI MH cover with frame having 40kg/E do.. do |  | 1 | Nos. |  |  |  |
| 39 | Earth work excavation for pipe laying in trenches |  | 5 | M3. |  |  |  |
| 40 | C.C. 1:5:10 for pipe supports in trenches, Total Plumbing |  | 0.5 | M3. |  |  |  |
| 41 | Painting wood work with Deluxe Multi Surface Paint of required shade. Two or more coat applied @ 0.90 ltr/10 sqm over one coat of primer applied @0.75 ltr/ 10 sqm of approved brand or manufacture |  | 20 | m2 |  |  |  |
| 42 | U type Counter of size 500/300/300x60/30x110cm with 16 cupboards, 2drawers, 2 keyboard trays and 2 CPU open stand and an overhead top of width 30cm made of 18mm pre-laminated particle board with pvc edge band lippings |  | 1 | Nos |  |  |  |
| 43 | Counter of size 700x60/30x110cm 3 drawers, 10 Cupboards, 3 Key boards, 3 CPU open stand made of 18mm pre-laminated particle board with pvc edge band lippings |  | 1 | Nos |  |  |  |
| 44 | Workstation of size 180x60x75cm with 2 drawers, 2 Keyboard trays, 2 CPU open stands made of 18mm pre-laminated particle board with pvc edge band lippings |  | 1 | Nos |  |  |  |
| 45 | Wall Cupboard of size 180x40x60cm with 4 doors and shelves made of 18mm pre-laminated particle board with pvc edge band clippings |  | 1 | Nos |  |  |  |
| 46 | Open Glass Shelves & partitions- of size 600x20x240cm with 56 shelves made of 8mm plain glass and Partitions made of 18mm pre-laminated particle board with pvc edge band lippings |  | 1 | Nos |  |  |  |
| 47 | Supplying and fixing Mirror to the shutters 60x150cm side including fitting charges etc. complete. |  | 5 | Each |  |  |  |
| 48 | Providing and fixing bright finished brass handles with screws etc. complete : 125mm |  | 46 | Each |  |  |  |
| 49 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's as required with MCB/RCCB/Isolator. 8 Way (4+24), Double door(PDB) |  | 1 | Set |  |  |  |
| 50 | Supplying and fixing TP sheet steel enclosure on surface/ recess along with 16/25/32/40amps 415 volts “C” curve TP MCB complete with connections, testing and commissioning etc. as required.(HVAC Units). MV cables/Cable Trays/Bus bars |  | 2 | Set |  |  |  |
| 51 | Supply and Laying of XLPE insulated XLPE sheathed steel armored / unarmored, Aluminium / Copper conductor cable 1.1KV class cable 'as per IS1554 Part-I. The cable shall be laid on existing cable tray using clamps nuts, bolts etc. as required as per the best engineering practices.(Including Termination) |  | 200 | m |  |  |  |
| 52 | Al. Conductor.Armoured XLPE insulated Cables |  |  |  |  |  |  |
| 52.1 | 4C x 25 sq. mm Ar. Al. XLPE cable (DB) approx |  | 50 | Mtrs |  |  |  |
| 52.2 | 4C x 16 sq. mm Ar. Al. XLPE cable (UDB) |  | 1 | Mtrs |  |  |  |
| 53 | MultistrandCu.Conductor. Flexible FRLS PVC insulated Cables with termination |  |  |  |  |  |  |
| 53.1 | 3C x 2.5 sqmm flexible PVC Cable |  | 25 | Mtrs |  |  |  |
| 54 | LIGHTING /POWER OUTLETS. Light Point Wiring. Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required. |  |  |  |  |  |  |
| 54.1 | 1 light points controlled by 6A modular type SP switch |  | 9 | Pts |  |  |  |
| 54.2 | 2 light points controlled by 6A modular type SP switch |  | 1 | Pts |  |  |  |
| 55 | Supply, Installation and Testing and Commissioning of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. |  | 1 | each |  |  |  |
| 56 | Upto 450 mm sweep |  | 1 | Pts |  |  |  |
| 57 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. |  |  |  |  |  |  |
| 57.1 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire |  | 30 | Mtrs |  |  |  |
| 57.2 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire |  | 50 | Mtrs |  |  |  |
| 57.3 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire |  | 1 | Mtrs |  |  |  |
|  | POWER OUTLETS |  |  |  |  |  |  |
| 58 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. |  | 15 | Nos |  |  |  |
| 59 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16amps modular switch, connection etc. as required. |  | 2 | Nos |  |  |  |
|  | EARTHING SYSTEM |  |  |  |  |  |  |
| 60 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. |  | 2 | set |  |  |  |
|  | Earth Strips |  | 50 | Mtrs |  |  |  |
| 61 | Providing and fixingNo10 Copper wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ sub main wiring/ .cable as required |  |  |  |  |  |  |
|  | Light fixtures/ Fans/Ex Fans/ Miscellaneous |  |  |  |  |  |  |
| 62 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent/LED fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable and earthing etc. as required.( Excluding rate of fixtures) |  |  |  |  |  |  |
|  | Supply of Following Light fixtures |  |  |  |  |  |  |
| 62.1 | 28W LED Fitting suitable to 1x40W FTL MO Fitting. |  | 9 | Nos |  |  |  |
| 62.2 | 12W LED Fitting suitable |  | 2 | Nos |  |  |  |
| 63 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required.1 or 2 Module (75mmX75mm). |  | 7 | Nos |  |  |  |
| 64 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. |  | 2 | nos |  |  |  |
| 65 | Telephone Socket outlet Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. |  | 5 | nos |  |  |  |
| 66 | DATA Socket Supply and Laying Cat-6 Networking cable in medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit |  | 400 | Mtr |  |  |  |
| 67 | Supply and Laying following pair 0.5 sq mm FR PVC insulated annealed copper conductor, unarmored telephone cable in medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit. Accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit. |  | 150 | Mtr |  |  |  |
| 68 | Supplying and fixing 5 star rated split AC for optical shop& pharmacy as per the load requirement. Make - Voltas, blue star or equivalent. |  |  |  |  |  |  |
| 68.1 | 1.5 Tr |  | 1 | Each |  |  |  |
| 68.2 | 1.00Tr |  | 1 | Each |  |  |  |
| 68.3 | 2.00Tr |  | 1 | Each |  |  |  |
| Grand Total (in figures) |  |  |  |  |  |  |  |
| Grand Total (in words) |  |  |  |  |  |  |  |

Place                                                                      Signature of the Bidder

Date                                                                       Name of the Bidder