INVITATION OF TENDER

# FOR

###### INSERTION TUBE FOR CU-T 380A & M 375 Care IUD

TENDER NO. HLL/AFT/PUR/Cu-T/In.Tube/2020-21

AKKULAM FACTORY

THIRUVANANTHAPURAM – 695 017

TENDER FORM

Sealed and superscribed Price bid in the prescribed form are invited for the Supply of INSERTION TUBE to our Akkulam Factory, Trivandrum (AFT) for a period of one year (April 2020 to March 2021).

The specification, approximate quantities, packing mode are given in Annexure A and other terms & conditions in Annexure C

The terms of supply and payment are as under.

Last date and time of receipt of tender        : 27/03/2020: 2.30 pm

Date and time of opening tender                 : 28/03/2020: 11.00 am

DGM(MATERIALS)

SCHEDULE- A

Page 1 of 3

SPECIFICATION & QUANTITY OF INSERTION TUBE

| " Item Name: INSERTION TUBE FOR CU T 200B & 380A Specification: Length : 206.5 +/- 1.5 mm. Inner Dia : 3.7 +/- 0.07 mm. Outer Dia : 4.40 +/- 0.04 mm. Material : High Density Polyethylene(HDPE) (Philips Marlex 6007 or equivalent). Must pass extractable test for Class II plastics as per ISO10993. Material should be supplied along with test certificate stating the grade of the material used, visual and dimensional inspection. Packing: 100-200 Nos. in a poly bag & to be kept in master carton. |  |  |
| --- | --- | --- |
| APPROXIMATE QUANTITY REQUIRED PER ANNUM |  |  |
| UNIT | LOCATION | QUANTITY IN PCS |
| AKKULAM | TRIVANDRUM | 50,00,000 |

We hereby agree to supply the above materials as per the specification given above.

Place:

Date :						Name and signature of applicant

(With Office Seal)

SCHEDULE- A

Page 2 of 3

SPECIFICATION & QUANTITY OF INSERTION TUBE

| INSERTION TUBE FOR M 375 CARE IUD:- Specification: Length : 202 +/-1.5 mm Inner Dia :2.85 +/- 0.07 mm Outer Dia : 3.8 +/- 0.07 mm Material: High Density Polyethylene (HDPE) (Philips Marlex 6006 or equivalent). Must pass extractable test for Class II plastics as per ISO10993. Material should be supplied along with test certificate stating the grade of the material used, visual and dimensional inspection. Packing: 100-200 Nos. in a poly bag & to be kept in master carton. |  |  |
| --- | --- | --- |
| APPROXIMATE QUANTITY REQUIRED PER ANNUM |  |  |
| UNIT | LOCATION | QUANTITY IN PCS |
| AKKULAM | TRIVANDRUM | 30,00,000 |

We hereby agree to supply the above materials as per the specification given above.

Place:

Date :						Name and signature of applicant

(With Office Seal)

SCHEDULE- A

Page 3 of 3

Test certificate be obtained from the supplier for each consignment of material as per all the above Specification. If one consignment contains different lots, separate test certificate be obtained for each lot.

We hereby agree to supply the above materials as per the specification listed herein.

PLACE:                                             		NAME & SIGNATURE OF THE APPLICANT

DATE:                                                                			(WITH OFFICE SEAL)

Annexure B

- Minimum Eligibility Criteria

Material: INSERTION TUBE

1) The Annual production capacity should be sufficient to meet HLL requirement.

2) The vendor should have at least 3 year of experience in supplying the material.

3) Vendors are required to submit Annual Financial Statement of last three years.

4) The vendor should be a manufacturer/authorized agent. In the case of an authorized agent, the following documents to be enclosed.

  - Letter from the manufacturer authorizing them to participate in the tender should be furnished.

  - Letter from the manufacturer stating that the product being offered is as per the specification given in Schedule A of the tender.

NOTE: -

- Vendors whose name appear in our list of approved vendors shall stand qualified in the Technical Bid, if they meet the above minimum eligibility criteria.

- Being Medical Grade product the Vendors who are new to HLL will have to undergo vendor development process as per HLL protocol  for the qualification of material, even if they fulfil the minimum eligibility criteria.

- Vendors who do not meet the minimum eligibility criteria will be disqualified and their Price bids will not be opened.

ANNEXURE C

Page 1 of 6

TERMS & CONDITIONS

- The Tender should be complete in all respects and submitted along with EMD.  Incomplete tenders are liable to be rejected.

- Unsealed Tenders received are liable to be rejected, so necessary precautions should be taken in this regard by the Tenderer.

- Rate	:

- The rate quoted should be all inclusive rate (freight and taxes etc.) for delivery at our Stores at Trivandrum in the Price bid format attached as Schedule F & G.

  - The quoted rate shall be valid for a period of one year during which no price escalation or change in terms and conditions will be allowed on any grounds.

  - In the event of failure on the part of the supplier to supply the material as per the delivery schedule or supply material at the agreed rate during the contract period, HLL would procure the material from alternate source and the risk & cost involved will be borne by the defaulting supplier. In such cases, the additional cost incurred will be recovered from the supplier.

(iv) Failure to supply the material for any of the above reasons will also entail forfeiture of Security Deposit and even blacklisting of the supplier for a minimum period of two years.

- The Tender should be submitted along with EMD of Rs.76,000/- and in case of foreign suppliers USD.1000 in the form of DD drawn in favour of M/s. HLL Lifecare Limited (HLL] failing which the Tender will be summarily rejected.

- Payment  	: Within 30 days from the date of receipt, and acceptance of material at our stores.

- The Purchaser may, at its discretion, extend the date & time for the submission of bids by amending the bid documents in which case all rights & obligations of the Purchaser & bidders shall the subject to the extended date and time.

Annexure C

Page 2 of 6

- The quantity mentioned herein is approximate annual requirement and in case the company require less / more quantity, the supplier should be prepared to effect supply at short notice at the agreed rate, terms and conditions.

- HLL reserves the right to split up the quantity and place the order on more than a supplier and also reserves the right to accept or reject the offer without assigning any reason.

- SSI / MSME units interested in availing exemption from payment of EMD should submit a valid copy of their registration certificate issued by the concerned DIC or NSIC. But the Party has to provide Security deposit if Tender is awarded to them.

- Conditional tenders / tenders with deviation will not be considered.

- The tender is liable to be suspended or cancelled at anytime at the  discretion of the company without assigning any reason.

In the event of placing orders: -

The EMD of successful bidders will be adjusted against Security Deposit and will be refunded at the end of contract period. The EMD of others (non-qualified) will be returned immediately after awarding of Tender. Security deposit will be 5 % of the order value subject to a maximum of Rs.2 Lakhs

- The remaining period of shelf life of material on arrival at HLL stores should be minimum 5/6th of the total shelf life.

- Test Report of the product is to be attached with each consignment                   batch wise specifying therein the readings of the final test.

c) In case of rejection the material should be taken back and replaced at supplier’s risk and cost within 7 days of intimation from HLL. The procedure in this regard would be as follows:-

Annexure C

Page 3 of 6

  - Material shall be returned through the Transporter indicated by the supplier or through our approved Transporter, on      To-pay basis.

  - Alternatively the rejected material shall be destroyed at our end.

iii. The cost incurred for disposal of the rejected material shall be recovered from supplier.

iv.  The supplier is required to replace the rejected material failing which HLL reserves the right to procure the material from alternate source(s) at supplier’s risk and cost.

d) A certificate confirming that the product offered by you and packing material is environment friendly i.e., non-hazardous to the environment is to be enclosed with tender document.

e) The supplier agrees to supply strictly as per the order terms in respect of quantity, quality and delivery schedule. HLL reserves the right not to receive material beyond the delivery date given in the order.

f) Acceptance of the delayed supplies and excess quantity is solely at the discretion of HLL.  In the case of excess supply the quantity shall be returned back through the Transporter proposed by you or our authorized transporter on freight to pay basis.

g) The parties have to abide by delivery schedule given in the supply     order strictly. Penalty @ 0.5% of value of item per week delay subject to a maximum of 7.5% of value of supply will be imposed for material supplied after the stipulated delivery period.

h) However HLL reserves the right to return the material if the same is not delivered as per the schedule given for the supply. In the event of delay in supply of material HLL reserve the right to procure the material from alternate sources at your risk and cost.

i) HLL reserves the right to inspect the facilities for GMP by their officials or by an authorized independent third party agency for compliance.

Annexure C

Page 4 of 6

j) All dispatch documents like delivery note/challan, packing list and invoice should contain the following details.

- Supply Order No.& date

- Description of items as contained in the supply Order.

- Quantity dispatched

- Batch/lot No.

- Manufacturing date.

- Expiry date.

- Total Number of Cylinders/Carbouys/bags/box/bundles.

- Test certificate

- HLL’s GST & PAN No.

The L.R No. should be intimated immediately after dispatch of the material by e-mail/fax

k) The following information shall be stencilled or labelled on the   exterior of the packing in bold letters, clearly visible, at least

50mm high with waterproof ink.

a. Name of Product (as given in supply Order)
       b. Batch NO.

c. Date of Manufacture (Month/Year)

d. Date of expiry (Month/Year).

e. Quantity

f. Instruction of storage and handling

g. Name & Address of Manufacturer

h. Company’s address in full

Annexure C

Page 5 of 6

l) The following documents should accompany the consignment and shall be handed over to Stores Dept.

- Tax Invoice in triplicate

- Delivery Note/Challan

- Packing List

- LR/AWB/----

- Material Safety Data Sheet (MSDS)

- Environment clearance certificate

- Transport Emergency Card (TREM Card if applicable)

- Guarantee Certificate

- Preshipment of certificate

- OEM Certificate

m) Mode of Transport shall be by road, unless otherwise specified. The materials shall be sent through the Transporter who has been granted a Certificate of Registration for transportation of goods as per Carriage by Road Act 2007.

n). Payment shall be made by cheque/RTGS with in 30 days of receipt, inspection and acceptance of the material.

o). The jurisdiction of any dispute, suits and proceedings arising out of this tender shall be only in the court of Thiruvananthapuram.

12. Annual purchase quantity will be shared to the suppliers @ ratio, as below.

Normally 60% of quantity will be allocated to L1 party, and balance 40% shall be allotted among the vendors who are matching the L1 rate. However, the company reserves the right to decide on the allocation of Order Quantity on case to case basis.

13. The Vendor / Manufacturers shall notify HLL regarding the changes in the purchasing product prior to the implementation of any changes or deviations in the internal process of product parameters.  Since it may affect quality of product, to meet HLL’s specified purchase requirement.

Annexure C

Page 6 of 6

INDEMINITY CLAUSE

If the supplier fails to execute the order within the time prescribed for the delivery of goods ordered or violates or infringes the existing rates as agreed to as mentioned in the supply order, the supplier shall and will indemnify the company against all losses or damages whatsoever to be incurred or sustained including the legal cost or expenses incurred by the company by reason of non-delivery of goods at agreed quantity and rate with in the time specified in the supply order.  The company will initiate legal action if the supplier fails to execute the supply order as per the schedule in the supply order for the actual loss suffered. No quantity tolerance will be permitted in this regard unless otherwise prior approval is taken by the company before dispatching any excess quantity supplied which shall be returned back on freight to pay basis at the risk of the supplier.   Responsiveness of the Bid shall be at the discretion of HLL.

The supplier shall have no right to change the quantity stipulated in the supply order.

Bid pronounced Non Responsive by HLL shall be summarily rejected.

The decision of HLL will be final and no correspondence of this shall be entertained.

We have read and understood the above conditions and agree to abide   by the same.

PLACE:                                NAME AND SIGNATURE OF THE APPLICANT

DATE:                                                          (WITH OFFICE SEAL)

SCHEDULE-D

Page 1 of  2

QUESTIONNAIRE FOR VENDOR DEVELOPMENT

(TO BE FILLED BY NEW VENDORS)

NAME OF PRODUCT:

      - Name & Address of the Manufacturer				:

- Telephone No.

- Fax No.

- E-mail Address

- Name of contact person

- Whether proprietary/partnership/  Limited company.

Furnish Name/’s, address,

Phone nos. of Proprietor/Managing partner/ M.D / Director’s

(Attach separate sheet)

Specify whether SSI / MSME unit

If Yes, pl specify if your unit is owned by :

SC/ST entrepreneur

2)     Details of tax registration :-						:

- GST No.

- PAN No.

3)      Name & Address of your Banker(s)

Account no.							:

Swift Code

4)        Annual Turn over

5)	Do you have a Quality Control  department. If yes, give the

details of the facilities.	     				  	 :      	Yes/No

6)	a) Do you have inspection for incoming materials	  		 :      	Yes/No

b) Do you have in process inspection facilities			:      	Yes/No

c) Do you have final inspection of the product	 	 	:      	Yes/No

#### SCHEDULE – D

#### Page 2 of 2

7)	Do you have any accreditation			            		 :	Yes/No

(a)ISO 9000

(b)Any National/International Laboratory/Authority

Certification

If ‘Yes’, give details along with a copy of certificate issued

by them.

8)         Do you have an environmental policy / ISO 14001 certification?	 : 	Yes / No

If yes, please give the details.

9)	Furnish the details of testing equipments.

10)	Have you been assessed previously by HLL				:     	Yes/No

11)	List of customers

a) Government Dept. / PSU’s

b) Private Sector

12) Have you furnished the sample along with  this format			:	Yes/No

Place	:		                     			NAME AND SIGNATURE OF THE VENDOR

Date	:								( Office Seal)

This is to be filled up by HLL LIFECARE LIMITED, THIRUVANANTHAPURAM

Recommendation/Remarks of the committee

Committee Members:

1.Head of Quality Control/Head of Technical Services and Material Testing

2.Head of User Department

3.Head of Purchase Department

SCHEDULE - E

Page 1 of 1

Insertion Tube for Cu T 380 A & M Care 375 IUD

#### DECLARATION

We confirm having read and understood all the specifications, instructions, forms, terms and conditions and other requirements of the above tender (both expressed and implied) in full and that we agree to abide by all without any deviation.

SIGNATURE SEAL OF THE APPLICANT

NAME AND ADDRESS OF APPLICANT

CONTENTS OF PRICE BID FORMS

For

Insertion Tube for Cu T 380 A & M Care IUD

1. SCHEDULE F      - RATE SCHEDULE FOR THIRUVANANTHAPURAM (For Domestic suppliers)

2. SCHEDULE G     - RATE SCHEDULE FOR CIF THIRUVANANTHAPURAM (For Overseas Bidders)

SCHEDULE - F

Page 1 of 1

PRICE BID – RATE SCHEDULE FOR SUPPLY TO AKKULAM FACTORY, THIRUVANANTHAPURAM, KERALA (For Domestic Bidders) FOR INSERTION TUBE Cu T 200 & 380 A

| PRICE PARTICULARS | AMOUNT (in INR) | Remarks |
| --- | --- | --- |
| Basic price Freight others – Specify (…………………………………………) GST % WITH HSN CODE TOTAL DELIVERED RATE AT HLL STORES |  |  |
| Rupees…. |  |  |

Minimum time required to start the supply after receipt

of letter of indent/supply orders

Validity				: One Year (April 2020 to March 2021)

Certified that the rate quoted will hold good for one year during which period no upward revision will be sought.

PLACE:                                                 				 NAME & SIGNATURE OF THE APPLICANT

DATE:                                                                            			(WITH OFFICE SEAL)

SCHEDULE - G

Page 1 of 1

PRICE BID – RATE SCHEDULE FOR SUPPLY TO AKKULAM FACTORY, THIRUVANANTHAPURAM, KERALA (For Overseas Bidders) FOR INSERTION TUBE Cu T 200 & 380 A

| PRICE PARTICULARS | AMOUNT (in USD) CIF – THIRUVANANTHAPURAM By Air | AMOUNT (in USD) CIF – Cochin By Air |
| --- | --- | --- |
| Basic price Insurance Freight TOTAL AMOUNT – USD |  |  |

Minimum time required to start the supply after receipt

of letter of indent/supply orders

Validity					: One Year (April 2020 to March 2021)

Certified that the rate quoted will hold good for one year during which period no upward revision will be asked for.

PLACE:                                             				NAME & SIGNATURE OF THE APPLICANT

DATE:                                                                     					(WITH OFFICE SEAL)