HLL LIFECARE LIMITED

(A Govt of India Enterprise)

AKKULAM  FACTORY, SREEKARIAM  P.O.

THIRUVANANTHAPURAM – 17, KERALA, INDIA

Phone +91 471 244 5930, Fax      +91 471 244 5935

Email: tradingpaft@lifecarehll.com  Web: www.lifecarehll.com

IFB NO: HLL/AFT/IMCH/ART-IVF/2014-15/V                                 25/11/2014

- TENDER FOR SUPPLY, INSTALLATION & COMMISSIONING OF

AIR CONDITIONER 1.5 MT  ON TURNKEY BASIS

AT IMCH, Medical College Hospital, Kozhikode.

HLL Lifecare Limited hereby invites sealed bids from eligible bidders for the supply installation and commissioning of AIR CONDITIONER (1.5 Tonne), at IMCH, Medical College Hospital, Kozhikode, Kerala.

| SL. No. | Equipment | Qty Required (In Nos.) |
| --- | --- | --- |
| 1 | AIR CONDITIONER (1.5 Tonne) | 15 Nos. |

INSTRUCTION TO BIDDERS

1. ELIGIBLE BIDDERS

1.1	Primary manufacturers / authorized agents are eligible to participate in the tender.

2.  SCHEDULE

(a) LAST DATE AND TIME FOR RECEIPT OF BIDS IS 15/12/2014, AT 14.00 HRS

(b) TIME AND DATE OF OPENING OF BIDS IS 	 15/12/2014,  AT 14.30 HRS

- QUANTITY REQUIREMENT

3.1. The quantity mentioned herein are approximate present requirement and in case more or less quantity is required, the suppliers should be prepared to effect supply at short notice on the same terms and conditions.

4.  DELAYS IN DELIVERY OF GOODS

Delivery of the Goods shall be made by the Supplier within 30 days from the date of placing the Purchase Order. If at any time during performance of the Contract, the Supplier  should encounter conditions impeding timely delivery of the Goods , the Supplier shall promptly notify the Purchaser in writing of the fact of the delay, its likely duration and its cause(s). As soon as practicable after receipt of the Supplier's notice, the Purchaser shall evaluate the situation and may at its discretion extend the Supplier's time for performance, with or without penalty.

5. PAYMENT TERMS

5.1 	The Price of the Goods quoted shall be inclusive of Cost, insurance, freight – FOR at IMCH, Medical College Hospital, Kozhikode, Kerala including installation, commissioning and handing over to IMCH authorities/ Purchaser.

5.2.  90 % payment shall be made within 30 days from the receipt and acceptance of goods at the delivery destination at IMCH, Medical College Hospital, Kozhikode, Kerala. The balance 10 % of the invoice value shall be paid after satisfactory completion of Installation, commissioning and against submission of final acceptance certificate by the Hospital authorities / purchaser, Warranty Certificate and other necessary documents as applicable. .

5.3  Payment for Annual Comprehensive Maintenance Contract Charges: The payment of Annual CMC will be made on six monthly basis after satisfactory completion of said period, duly certified by the consignee/purchaser.

6. PATENT RIGHTS

The Supplier shall indemnify the Purchaser against all third-party claims of infringement of patent, trademark or industrial design rights arising from use of the Goods or any part thereof in India.

7. PACKING

7.1 	The Supplier shall provide such packing of the Goods as is required to prevent their damage or deterioration during transit to their final destination as indicated in the Contract. The packing shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit and open storage.

7.2 	The packing, marking and documentation within and outside the packages shall comply strictly with such special requirements as shall be provided in the purchase order including additional requirements, if any, specified and in any subsequent instructions ordered by the Purchaser.

8. DELIVERY AND DOCUMENTS

8.1	Delivery of the Goods shall be made by the Supplier in accordance with the terms specified in the Purchase Order by the Purchaser. The details of dispatching and/or other documents to be furnished by the supplier shall be specified in the Purchase Order, if any.

9. TERMINATION BY DEFAULT

9.1	The Purchaser may, without prejudice to any other remedy for breach of contract, by written notice of default sent to the supplier, terminate the Contract in whole or part;

(a) if the Supplier fails to deliver any or all of the goods within the time period(s) specified in the Contract, or within any extension thereof granted by the Purchaser, or

(b) if the Supplier fails to perform any other obligation(s) under the contract.

9.2	In the event the Purchaser terminates the Contract in whole or in part,  the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Services similar to those undelivered, and the Supplier shall be liable to the Purchaser for any excess costs for such similar Goods. However, the Supplier shall continue the performance of the Contract to the extent not terminated.

10.  FORCE MAJEURE

10.1    For purposes of this Clause “Force Majeure” means an event beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but are not limited to, acts of the Purchaser either in its sovereign or contractual capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions and freight embargoes.

10.2	If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such conditions and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the force majeure event.

11. TERMINATION FOR INSOLVENCY

11.1   The Purchaser may at any time terminate the Contract by giving written notice to the Supplier, if the Supplier becomes bankrupt or otherwise insolvent. In this event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy, which has accrued or will accrue thereafter to the Purchaser.

12. RESOLUTION OF DISPUTES

12.1   The Purchaser and the supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute arising between them under or in connection with the Contract.

12.2  If, after thirty (30) days from the commencement of such informal negotiations, the Purchaser and the Supplier have been unable to resolve amicably a Contract dispute, either party may require that the dispute be referred for resolution to the formal mechanisms specified. These mechanisms may include, but or not limited to, conciliation mediated by a third Party, adjudication in an agreed national forum, and national arbitration.

  - The jurisdiction of any disputes, suits and proceeding arising out of the tender shall be only in the court of Thiruvananthapuram.

HLL LIFECARE LIMITED

(A Govt of India Enterprise)

AKKULAM  FACTORY, SREEKARIAM  P.O.

THIRUVANANTHAPURAM – 17, KERALA, INDIA

IFB NO: HLL/AFT/IMCH/ART-IVF/2014-15/V                                     25/11/2014

PROFORMA FOR TENDERER

(Please attach detailed proforma incorporating the information given below)

BID NO……………………….

DATE OF OPENING………………………..

NAME OF THE BIDDER:……………………………………..

(Note: All details related to the Tenderer for the items offered for supply).

1.	Name & Full address of the Manufacturer

…………………………………………………………

………………………………………………………….

………………………………………………………….

………………………………………………………….

(a) PAN No ………………………………….    	 (b). ECC Code …………………….

(c) IEC if applicable………………………………

(d) CST No …………………………………       (e) TIN No ……………………………

(f)   Any other details

2.	(a) Telephone No.  ……………………………………………Office/Factory/Works

(b) Fax No…………………………………………..	Office/Factory/Works

(c) E-mail address…………………………………………………………

- What is the lead-time for execution of order for mentioned quantity in the tender?

HLL LIFECARE LIMITED

(A Govt of India Enterprise)

AKKULAM  FACTORY, SREEKARIAM  P.O.

THIRUVANANTHAPURAM – 17, KERALA, INDIA

IFB NO: HLL/AFT/IMCH/ART-IVF/2014-15/V                                              25/11/2014

## ANNEXURE   I

TECHNICAL SPECIFICATIONS

| 1 | Air Conditioner (AC) 1.5 Tonne Spite Type | 15 Nos. |
| --- | --- | --- |
|  | Detail Technical Specification : - Air conditioner (AC) comprising of following: - Indoor unit, with stabilizer, remote control, outdoor unit, with stand and standard accessories. - Air conditioner (AC) should be split type with digital display of set temperature in door unit with minimum of 2 Star / 4 Star. - Refrigerant : CFC free, sealed compressor with eco friendly - Noise level of indoor unit should be less than 40 DB - Type: Wall mounted split. - Should have auto restart function, inner grooved copper tubes, hydropholic coated aluminium foil, anti-dust filter, - Temperature display in digital control with remote control key pad unit. - Make: reputed brands VOLTAS/ BLUE STAR/ ONIDA/ LG/ Equivalent - Stabilizer Make: V – Guard / V- Stab/UNI - Stab/ Equivalent - Length of Copper - pipes should be approximately 5 meters. - It should work on 210/270 volts 50/60Hz, single phase. - Accessories: Supplied with long 3 pin power card. - Device is produced by ISO Certified manufacturer. - Device is safety certified according CE or equivalent. Supplied with: - 1 x set of water drainage pipe, it should be approximately 2 meters - User manual with trouble shooting guidance, in English. - Installation and training at end-user site. |  |

HLL LIFECARE LIMITED

(A Govt of India Enterprise)

AKKULAM  FACTORY, SREEKARIAM  P.O.

THIRUVANANTHAPURAM – 17, KERALA, INDIA

IFB NO: HLL/AFT/IMCH/ART-IVF/2014-15/V                                   25/11/ 2014

#### DECLARATION

We confirm having read and understood all the specifications, instructions, forms, terms and conditions and other requirements of the above tender (both expressed and implied) in full and that we agree to abide by all without any deviation.

SEAL OF THE APPLICANT

SIGNATURE

NAME AND ADDRESS OF APPLICANT

HLL LIFECARE LIMITED

(A Govt of India Enterprise)

AKKULAM  FACTORY, SREEKARIAM  P.O. THIRUVANANTHAPURAM – 17, KERALA, INDIA

IFB NO: HLL/AFT/IMCH/ART-IVF/2014-15/V                                     25/11/2014

PRICE SCHEDULE (I)

| SL.No. | Item Description | Quantity | Brand/ Brand/ Model Manu facturer | Ex-factory price (Basic Unit Price exclusive of all levies & charges) | Excise Duty |  | Sales Tax |  | Freight & Insurance |  | Unit Price inclusive of all levies & charges (ColumnNo. e+g+i+k) in Rs |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | % | Amt. | % | Amt. | % | Amt. |  |
| a | B | c | d | e | f | g | h | I | j | k | l |
| 1 | Air Conditioner 1.5 Tonne (2 star) | 15 Nos |  |  |  |  |  |  |  |  |  |
| 1 | Air Conditioner 1.5 Tonne (4 star) |  |  |  |  |  |  |  |  |  |  |

Delivery schedule: strictly within 30 days

NOTE: 1) The columns may be filled as is applicable in each case.

2) Bidders should bid for the entire quantity asked by the purchaser in the tender document.

Bidding for part quantity for any equipment will not be considered.

Seal and Signature of the bidder

HLL LIFECARE LIMITED

(A Govt of India Enterprise)

AKKULAM  FACTORY, SREEKARIAM  P.O. THIRUVANANTHAPURAM – 17, KERALA, INDIA

IFB NO: HLL/AFT/IMCH/ART-IVF/2014-15/V                                     25/11/2014

CMC Price Schedule (I) (if applicable)

| Sl. | Item Description | Manufacturer Brand/Model | Year 1 Price |  |  | Year 2 Price |  |  | Year 3 Price |  |  | Year 4 Price |  |  | Year 5 Price |  |  | Year 6 Price |  |  | Year 7 Price |  |  | Grand Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. |  |  | Spares | Others | Total | spare | Other | Total | Spares | others | Total | Spares | Others | Total | spare | Other | Total | Spares | others | Total | Spares | others | Total |  |
| a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y |

Scope of Contract:  No of Visit (during the contract period)    a) Preventive maintenance visit: ………… b) Break down maintenance visit: ……..

“CMC” Comprehensive maintenance Contract includes: labors, spare and preventive & break down maintenance.

Note: Bidders should offer CMC for the entire quantity asked by the purchaser in the tender document.

Part CMC for part quantity for any equipment will not be considered.

Seal and Signature of the bidder