INVITATION FOR BID

(PRICE BID)

# FOR

SUPPLY OF POUCH-3 SIDE SEALED FOR SURGICAL SUTURES

AT

AKKULAM FACTORY

##### THIRUVANANTHAPURAM

TENDER FORM

Dear Sir,

Sub: Tender for pouch-3 side sealed for surgical sutures – reg: -

Ref: Our Tender No. HLL/AFT/PUR/SUT/Pouch/2019 -20

Sealed and super scribed tenders are invited for the supply of pouch-3 side sealed for surgical sutures as per the terms and conditions and price bid attached.

The price bid as well as acceptance of terms & conditions should reach us on or before 20/03/2019 up to 4.00 P.M. and the same shall be opened at 3.30 PM on 21.03.2019.

Thanks & Regards,

GM (Materials)

Ph: +91 471 244 5930

Email: materialsaft@lifecarehll.com

Schedule –A

Page 1 of 1

###### Item Code :1010410006

###### POUCH -3 SIDE SEALED FOR SURGICAL SUTURES (UNCOATED)

Specification :- Two side sealed and one side chevron sealed pouches of

uncoated medical kraft paper (Should complies with EN 868-6 and 11607-1)  sealed to polyester/pe

GSM of paper   : 70 +/- 5 GSM;

GSM of film     :  67 +/-2 GSM;

Seal uniformity : Uniform (as per EN868.5)

Peel strength     : Not less than 0.3Kgf/pouch;

Seal width         : Not less than 6 mm;

Chevron width  : Not less than 6 mm

Size (width)      : 64 +/- 1.0 mm.

Size (Length)    : 135 +/- 2.0 mm

Inner  width of pouch  : 52 +/-1.0/ -0.0 mm

Inner length of pouch  on side   :  115 +/- -2.0 mm.

Packaging   : 100-200 nos of such pouches packed in side PE cover and

such cover s are kept inside a well-closed bundles/cartons which do not cause any damage during transit.

| APPROXIMATE QUANTITY REQUIRED PER ANNUM |  |  |
| --- | --- | --- |
| UNIT | LOCATION | QUANTITY (PCs ) |
| AKKULAM FACTORY | TRIVANDRUM | 25,00,000 |

We hereby agree to supply the above materials as per the specification listed herein.

PLACE:   	                  NAME & SIGNATURE OF THE APPLICANT

DATE:					                (WITH OFFICE SEAL)

Annexure B

Page 1 of 6

TERMS & CONDITIONS

- The Tender should be completed in all respects and submitted along with EMD.  Incomplete tenders are liable to be rejected.

- Unsealed Tenders received are liable to be rejected and this will be at the sole risk of the Tenderer.

- Rate	:

- The rate quoted should be all inclusive rate (freight, insurance, and taxes etc.) for delivery at our Stores at Trivandrum in the Price bid format attached as Schedule I & II

  - The quoted rate shall be valid for a period of one year during which period no price escalation and no change in terms and conditions will be allowed on any ground.

  - In the event of failure on the part of the supplier to supply the material as per the delivery schedule or supply material at the agreed rate during the contract period, HLL would procure the material from alternate source at the risk and cost of the supplier. In such cases, the additional cost incurred will be recovered from the supplier.

(iv) Failure to supply the material for any of the above reasons will also entail forfeiture of Security Deposit and even blacklisting of the supplier for a minimum period of two years.

- The Tender should be submitted along with EMD of Rs.16,000/- in the form of DD drawn in favour of M/s. HLL Lifecare Limited (HLL] failing which the Tender will be summarily rejected.

- Payment  	: Within 30 days from the date of receipt, and acceptance of material at our stores.

- The Purchaser may, at its discretion, extend the date & time for the submission of bids by amending the bid documents in which case all rights & obligations of the Purchaser & bidders shall the subject to the extended date and time.

Annexure B

Page 2 of 6

- The quantity mentioned herein is approximate annual requirement and in case the company require less / more quantity, the supplier should be prepared to effect supply at short notice at the agreed rate, terms and conditions.

- HLL reserves the right to split up the quantity and place the order on more than a supplier and also reserves the right to accept or reject the offer without assigning any reason.

- SSI / MSME units interested in availing exemption from payment of EMD should submit a valid copy of their registration certificate issued by the concerned DIC or NSIC. But the Party has to provide Security deposit if Tender is awarded to them.

- Conditional tenders / tenders with deviation will not be considered.

- The tender is liable to be suspended or cancelled at anytime at the  discretion of the company without assigning any reason.

In the event of placing orders: -

- The EMD of successful bidders will be converted to Security Deposit and will be refunded at the end of contract period. The EMD of others (non-qualified) will be returned immediately on Tender finalisation.

- The remaining period of shelf life of material on arrival at HLL stores should be minimum 5/6th of the total shelf life.

- Test Report of the product is to be attached with each consignment                   batch wise specifying therein the readings of the final test.

- In case of rejection the material should be taken back and replaced at supplier’s risk and cost within 7 days of intimation from HLL. The procedure in this regard would be as follows:-

Annexure B

Page 3 of 6

  - Material shall be returned through the Transporter indicated by the supplier or through our approved Transporter on freight to-pay basis.

  - Alternatively the rejected material shall be destroyed at our end.

iii. The cost incurred for disposal of the rejected material shall be recovered from supplier.

iv.  The supplier is required to replace the rejected material failing which HLL reserves the right to procure the material from alternate source(s) at supplier’s risk and cost.

- A certificate confirming that the product offered by you is environment friendly i.e., non-hazardous to the environment is to be enclosed with tender document.

- The supplier agrees to supply strictly as per the order terms in respect of quantity, quality and delivery schedule. HLL reserves the right not to receive material beyond the delivery date given in the order.

- Acceptance of the delayed supplies and excess quantity is solely at the discretion of HLL.  In the case of excess supply the quantity shall be returned back through the Transporter proposed by you or our authorized transporter on freight to pay basis.

- The parties have to abide by delivery schedule given in the supply     order strictly. Penalty @ 0.5% of value of item per week delay subject to a maximum of 7.5% of value of supply will be imposed for material supplied after the stipulated delivery period.

- However HLL reserves the right to return the material if the same is not delivered as per the schedule given for the supply. In the event of delay in supply of material HLL reserve the right to procure the material from alternate sources at your risk and cost.

- HLL reserves the right to inspect the facilities for GMP by their officials or by an authorized independent third party agency for compliance.

Annexure B

Page 4 of 6

- All dispatch documents like delivery note/challan, packing list and invoice should contain the following details.

- Supply Order No.& date

- Description of items as contained in the supply Order.

- Quantity dispatched

- Batch/lot No.

- Manufacturing date.

- Expiry date.

- Total Number of Cylinders/Carbouys/bags/box/bundles.

- Test certificate

- HLL’s GST & PAN No.

The L.R No. should be intimated immediately after dispatch of the material by e-mail/fax

- The following information shall be stenciled or labeled on the   exterior of the packing in bold letters, clearly visible, at least

50mm high with waterproof ink.

a. Name of Product (as given in supply Order)
       b. Batch NO.

c. Date of Manufacture (Month/Year)

d. Date of expiry (Month/Year).

e. Quantity

f. Instruction of storage and handling

g. Name & Address of Manufacturer

h. Company’s address in full

Annexure B

Page 5 of 6

- The following documents should accompany the consignment and shall be handed over to Manager (Stores)

- Tax Invoice in triplicate

- Delivery Note/Challan

- Packing List

- LR/AWB/----

- Material Safety Data Sheet (MSDS)

- Environment clearance certificate

- Transport Emergency Card (TREM Card if applicable)

- Guarantee Certificate

- Pre-shipment of certificate

- OEM Certificate

- Mode of Transport shall be by road, unless otherwise specified. The materials shall be sent through the Transporter who has been granted a Certificate of Registration for transportation of goods as per Carriage by Road Act 2007.

p. Payment shall be made by cheque/RTGS within 30 days of receipt, inspection and acceptance of the material.

q. The jurisdiction of any dispute, suits and proceedings arising out of this tender shall be only in the court of Thiruvananthapuram.

12. Annual purchase quantity will be shared to the suppliers @ ratio, as below.

60% to L1 party, and balance 40% shall be allotted among the vendors who are matching the L1 rate.

Annexure B

Page 6 of 6

INDEMINITY CLAUSE

If the supplier fails to execute the order within the time prescribed for the delivery of goods ordered or violates or infringes the existing rates as agreed to as mentioned in the supply order, the supplier shall and will indemnify the company against all losses or damages whatsoever to be incurred or sustained including the legal cost or expenses incurred by the company by reason of non-delivery of goods at agreed quantity and rate with in the time specified in the supply order.  The company will initiate legal action if the supplier fails to execute the supply order as per the schedule in the supply order for the actual loss suffered. No quantity tolerance will be permitted in this regard unless otherwise prior approval is taken by the company before dispatching any excess quantity supplied which shall be returned back on freight to pay basis at the risk of the supplier.   Responsiveness of the Bid shall be at the discretion of HLL.

The supplier shall have no right to change the quantity stipulated in the supply order.

Bid pronounced Non Responsive by HLL shall be summarily rejected.

The decision of HLL will be final and no correspondence of this shall be entertained.

We have read and understood the above conditions and agree to abide   by the same.

PLACE:                                NAME AND SIGNATURE OF THE APPLICANT

DATE:                                                          (WITH OFFICE SEAL)

Schedule – C

Page 1 of 1

## DECLARATION

I/We confirm having read and understood all the work requirements, instructions, forms, terms and conditions and all other requirements of the above tender (both expressed and implied) in full and the offer being abide by all without any deviation.

SIGNATURE: 			NAME & ADDRESS OF TENDERER

(Seal of the Tenderer)

SCHEDULE- D

Page 1 of 1

PRICE BID

NAME OF TENDERER:

ITEM: POUCH-3 SIDE SEALED FOR SURGICAL SUTURES

Quantity: 2.6 Mpcs

| Specification (Please see Schedule- A of Tech. bid for detailed Spec.) | Rate Per /Nos |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Basic Price (Rs) | Insurance. (Rs) | Freight (Rs) | GST (Rs) | Others * (Rs) | Total HLL AFT Price (Rs) |
| POUCH-3 SIDE SEALED FOR SURGICAL SUTURES |  |  |  |  |  |  |

*Please specify the details = --------------------------------------------------------------

MINIMUM TIME REQUIRED TO START THE

SUPPLY AFTER RECEIPT OF LETTER OF

INDENT/SUPPLY ORDERS

VALIDITY: One year from the date of opening of price bid

Certified that the rate quoted will hold good for one year during which period no upward revision will be asked for.

PLACE:                     NAME AND SIGNATURE OF THE TENDERE

DATE:                                                                 (WITH OFFICE SEAL)