TECHNO-COMMERCIAL BID

FOR

FABRICATION, INSTALLATION REPAIR / MAINTENANCE, INSULATION AND TESTING OF NONIBR STEAM LINE AND UTILITY PIPELINES

AT

PEROORKADA FACTORY

TENDER NOTICE

TENDER NO.		: PUR/08/R1/PQ/ UTILITY-NONIBR/2012-13

Date 			: 05/01/2013

HLL Lifecare Ltd (HLL) invites sealed and superscribed Technical and Price bids from competent and experienced eligible parties for the following work at Peroorkada, Thiruvananthapuram, Kerala, India.

| Sl. No. | Brief Description of Work | EMD (In Rs.) |
| --- | --- | --- |
| 1 | Fabrication, Installation, Erection, Testing, Repair/Maintenance, Insulation of NON IBR Pipeline at the Peroorkada factory, HLL Lifecare Ltd, Thiruvananthapuram | 50,000 |

The tender documents can be had from the office of the undersigned between 10.00 A.M. to 3.00 P.M. on all office working days up to 27/01/2013 on payment of Rs.525 towards cost of Tender Form by DD in favour of HLL Lifecare Limited payable at Thiruvananthapuram.

The tender documents can also be downloaded from our Website: www.lifecarehll.com.  The bidders downloading the tender documents from our website are required to enclose Demand Draft for Rs.525/- drawn in favour of HLL Lifecare Ltd., payable at Trivandrum towards the cost of tender documents, along with the Bid. The Tenders not accompanied by the DD for Rs. 525/- will be summarily rejected.

The scheduled date for issue, receipt and opening of bids is as follows.

- Date of issue of tender document      	          - 05/01/2013 onwards

- Last date and time for receipt of bids	          - 28/01/2013 up to 15.00 Hrs.

- Date and time of opening of Technical bids    	- 28/01/2013 , 15.30 Hrs

DEPUTY GENERAL MANAGER (PURCHASE)

###### CONTENTS OF BID DOCUMENT

### I.	INSTRUCTION TO BIDDERS:

### II.	 TECHNICAL BID FORMS

Schedule  A  	-	   Conditions of contract

Schedule  B	          -	   Technical bid evaluation  Criteria

Schedule  C           -           Declaration accepting Terms and Conditions of

the Tender

### III.	 PRICE BID

Schedule I         -        Rate Schedule NON-IBR

#### INSTRUCTIONS TO BIDDERS

- Bid Information and Period of Validity

#### The bid is invited for “Fabrication, Installation, Erection, Testing, Repair/Maintenance and insulation of Non IBR pipeline  ” at ‘Site” from eligible contractors as per the Specification, Terms and Conditions as specified in the Bid Documents. The Bidder shall indicate all prices at Client’s site for fabrication, installation, validation, commissioning etc. in the appropriate price schedule attached to these documents for completing the above work.

- Bidders shall submit their bids in two parts (TECHNICAL BID and PRICE BID)

- Price should be firm without any escalation on any account till the order is completely fulfilled.

- Technical Bids shall remain valid for two years & Price bid shall remain valid for one

year.

3.	Bidders whose technical bids are found substantially responsive will be informed of the date and time of opening of their price bids.  Price bids of others will be returned to them unopened.

Deadline for submission of Bids

Technical & Price Bids should be in separate sealed covers.  Technical and Price Bids shall be superscribed as “Technical Bid “ and “Price Bid” on the respective covers in order to clearly identify between the two Bids.  These two bids should be submitted in a single sealed cover with the respective Tender No. mentioned thereon, complete in all respect, addressed to the DGM (PURCHASE) HLL Lifecare Limited , Peroorkada P.O., Trivandrum – 695 005, on or before the due date and time mentioned in the Tender Notification.  HLL shall not be responsible for any delay, if any, in the delivery of the bidding document or non-receipt of the same.

Bid submission / Bid opening dates

a. The last date & time of receipt of Bids 	             : 28/01/2013; 3.00 pm

b. Date & Time of opening of Technical Bid             : 28/01/2013; 3.30 pm

In the event of the date mentioned above being declared subsequently as holiday for the purchaser’s office, the due date for submission and opening of bids will be the next working day at the same venue and time.

Bids received after due date and time will be rejected.

Clarification of Bidding Documents

Any clarification required will have to be obtained one week prior to the Date of opening of the Technical Bid.

Amendment of Bidding Documents

At any time prior to the deadline for submission of bids, the Client may, for any reason modify the Bidding Documents by amendment.

All amendment will be notified only in our website.

Earnest Money Deposit

- Bid must be accompanied by E.M.D of Rs. 50,000/-.

a. The EMD shall be in the form of demand draft from a nationalized bank drawn in favour of HLL Lifecare Ltd, Peroorkada, Thiruvananthapuram payable at Thiruvananthapuram.

b.  E.M.D. from unsuccessful bidders will be returned.

c.  In the case of successful bidder, 5% of contract value  shall be required as security deposit towards due and satisfactory performance of the contract. The EMD of the successful bidder will be adjusted against Security Deposit and the bidders are required to remit the balance amount. The successful bidder/'s are required to furnish the security deposit within 15 days of award of work The Security deposit will be refunded on successful completion of work at the end of the contract period.

3.The EMD will be forfeited in the following circumstances:

(a)	If a Bidder withdraws its bid during the period of bid validity specified by the Bidder on the Bidding Document; or

(b)	In case of the successful Bidder, if the Bidder fails:

(i)	To sign the Contract

(ii)	To furnish security deposit

SCHEDULE: - A

GENERAL CONDITIONS OF CONTRACT

1. WORK INFORMATION

The detailed information of the work given below is as per Client’s present requirement. However, it is not binding on the Client in any way and shall not govern the scope of works.

  - TRANSPORTATION OF NONIBR PIPELINE AND FITTINGS:

Contractor has to arrange trolley, cart, etc. of suitable size for transporting the materials near erection site, and unloaded near erection site by contractor at rates included in price schedule.

  - FOR NON-IBR PIPING WORK

Scope of work includes the fabrication ,Installation ,Erection, Testing, Repair/Maintenance, Insulation etc. of pipelines cleaning, incorporating or fixing materials in the works, testing, etc as per ,as necessary including all preparatory work of whatever description, as per approved drawings, specifications, standards & codes of practice etc. or as directed by engineer in charge.

  - Lifting devices, hoists, ropes, tools & tackle, equipment, consumables, labour, supervision etc. required for the work are to be arranged by the contractor at his own expense.

  - Fabrication and installation of chequered plates of packing plates is included in the scope of    work.

  - Painting of supports and structure with one coat of primer and two coats of finish

paint (Paint will be supplied by HLL) are included in the scope of work.

  - All tools & tackles, equipment (Welding Set, Gas Cutting Set, Pipe cutter, Grinding machine), consumables (Welding Electrodes Gas etc), labour, supervision etc. required for the work are to be arranged by the Contractor at his own expense. Consumables used shall be from standard manufacturer. Materials such as pipes and  fittings, Welding electrodes, Cutting electrodes will be supplied by HLL.

- LOCATION OF SITE

The work site is located at HLL Lifecare Ltd, Peroorkada Factory, Trivandrum.

- PRICE

Price quoted should be firm without any escalation till the order is completely executed and should be for complete Fabrication, installation, erection, Repair/Maintenance, testing of steam pipeline of Non-IBR pipeline with all accessories as per the terms and conditions of this bidding document. The offer should include the following breakups:  (in the prescribed Performa).

- Total Fabrication, Erection, Testing, and Repair /Maintenanace, Insulation charges.

b. Bidders are required to quote only for Labour charges including supervision charges.

- INSURANCE

CONTRACTOR shall at his cost and expense take out from a suitable insurance company acceptable to HLL and maintain for the entire period until ACCEPTANCE OF WORKS or until such time thereafter as the CONTRACTOR may consider appropriate the following insurances.

4.1 	Workmen's Compensation Insurance (WCI)

This insurance shall confirm to and satisfy all the requirements of the applicable laws and regulations of the    country, state territory or province having jurisdiction over the CONTRACTOR 's employees engaged in the WORKS.

4.2 	Employer's Liability Insurance (ELI)

The insurance shall cover the liability of the CONTRACTOR as employer, for compensation beyond the coverage of the Workmen's Compensation Insurance for bodily injury to or loss of life the CONTRACTOR's employees while engaged in the WORKS.

  - Third Party Liability Insurance (TPL)

This insurance shall cover legal liability for bodily injury to loss of life of and/or damage to and loss of properties  of  the  third  person  party  arising  out  of the performance  by  the CONTRACTOR of the works.

4.4 Other Insurance

Other insurance which shall be necessary or which the CONTRACTOR deems necessary for proper performance of the WORKS.

- ESCALATION

The rates quoted by the Supplier in the contract documents shall be final and shall not be subjected to any change due to the increase in labour wages or inflation in the cost of materials or any other price variations due to any reason during the stipulated time period of the contract or during the extended time period of completion.

- PAYMENT TERMS

Payment will be made on Pro-rata basis after satisfactory completion of the works Fabrication, Installation, Erection, Testing and Commissioning of the work duly certified by the Engineer in Charge

- PERIOD OF CONTRACT

This contract is for period of one year from the date of work order, and may be extended with the same rate, term and conditions for one more year on mutual consent.

- MOBILIZATION TIME

(a) Contractor shall mobilize men, tools & tackle, materials, etc. at site immediately on intimation from Engineer in charge in case of Breakdown maintenance calls.

(b) Contractor shall mobilize men, tools  & tackle, materials, etc. at site within 24 hours on getting intimation from Engineer in charge in case of Planned/Scheduled maintenance/fabrication calls.

- BREACH OF CONTRACT/LD CLAUSE (PENALTY CLASE)

In case non-mobilization within allowed time as detailed in clause 8, a penalty of Rs.2500/- per day will be deducted from the bills. Standard Liquidity Damage Clause shall apply for delay in completion of work @ 0.5% per week and up to a maximum of 5% of subject work value for the delay attributable to the Contractor.

- INSPECTION AND TESTING

9.1	The contractor shall arrange all equipment, instruments, tools, manpower etc, for and shall carry out the various tests as required that may be furnished to him during the performance of the work, at his own expense.  All the tests either on the field or outside in laboratory etc. concerning the execution of the work and supply of materials by the contractor shall be carried out by the contractor at his own expense.

9.2	The contractor shall use only tested and calibrated equipment, instruments, etc. for execution of work.

9.3	Issue of inspection certificate will in no way exempt the contractor from his obligations.

- MODE OF MEASUREMENT

All measurements shall be in the metric system and in accordance with Indian Standard Specifications and in accordance with standard engineering practice.    In case of mode of measurement of any item is not specified; then I.S.I. mode of measurement (as applicable during contract period) shall be followed.

- COVERAGE OF CONTRACT

The contract for the work is complete for labour, and workmanship including all temporary works and the provision of all tools, tackle, etc.

- INSPECTION OF SITE

The tenderer is required to inspect the site and working conditions etc. before making his offer and having submitted an offer shall be deemed to have acquainted himself with the site conditions and obtained all information.

- QUALITY

Materials and workmanship shall satisfy the relevant Indian Standards.  In absence of relevant Indian Standard, specification/code of practice covering any part of the work, the instructions of Engineer-in-Charge will be binding on the contractor.

Regarding tolerances, methods of work and other technical details, contractor shall strictly follow the technical specification, manufacturer’s instruction etc.

- DEFAULT BY SUPPLIER / CONTRACTOR

If the supplier/ contractor fails to maintain progress and quality of work proportionate to time period allotted for the work in spite   of notices or complete the work within the stipulated time period or extended time period, then the Client shall have the right:

i) To determine the contract: In this event, the contract shall be terminated by giving    written notice to the supplier / contractor and the unfinished works shall be got completed by labours engaged by the Client or through other agency at the cost of the Supplier/ contractor.

ii) Without determining the contract:  In this event, the remaining works shall be got executed through a fresh supplier/ contractor in which case the Supplier/ contractor shall not have any objection or claim on this account.

iii) Before determining the contract: In this event, if the Client finds that the defaults of the Supplier / contractor can be rectified, then an opportunity shall be given to the same supplier to rectify the defects /defaults in the specified time.

iv) Termination of contract for death: If the supplier/ contractor is an individual of a proprietary firm and proprietor of the firm dies and if the Supplier/ contractor is a Attorney of partnership firm and dies, then the Client has the right to terminate the contract unless and until the Client is satisfied that the surviving partners are capable of executing and completing the remaining contract. In case of termination of contract, the legal representatives of the deceased Supplier/ contractor are not entitled for any compensation or claim. Also, the Client shall not levy any penalty against the damage caused by incomplete work.

v) Termination of Contract in part or in full for SUPPLIERS/ contractors default: If the Supplier/ contractor fails to execute the work in the manner described in the contract documents or if he at any time, in the opinion of the Client:

a) Fails to carry out the works in accordance with the contract conditions or as per the specifications mentioned in the documents.

b) Stops the   execution of works without   giving prior information to the Client.

c) Fails to carry out the works to the satisfaction of the Client both with respect to qualities and time schedule.

d) Fails to supply sufficient or suitable construction plant, materials and labours etc.

e) Commits breach of any of the provisions of the contract.

f) Abandons the work.

g) Becomes bankrupt during the continuance of the   work.

The Client can terminate the contract in part or in full.

- DELAY IN WORK EXECUTION DUE TO REASONS BEYOND SUPPLIER’S / CONTRACTOR’S CONTROL

  - Force majeure: If the execution of work is delayed due to force majeure, then Client as per the affected period may extend the time period.

  - In case work is delayed due to non-availability of stores supplied by HLL or any decision by HLL holding the progress of work, the contractor then upon any such happening causing delay shall immediately but not later than 10 days, give notice thereof in writing to HLL, but nevertheless use constantly his best effort to prevent or make good delay. HLL may in his discretion grant such extension of time as may appear reasonable to him and the same shall be communicated to the contractor in writing and shall be final and binding on him and the contractor shall be bound to complete the work within such extended time

- COMMITMENT OF SUPPLIER

Interpretation of Contract documents:

    - All the documents forming part of the contract are to be taken as mutually explanatory, supplementary and complementary to each other. If there is any error, omission or discrepancy in any of them, it shall be brought to the notice of the Client. The decision of the Client shall be final and binding. The   supplier shall execute the work accordingly.

(ii)The supplier shall examine all the contract documents thoroughly including the scope, nature and magnitude of works he has to execute in accordance with the contract documents.

(iii)There may be change in layout of site as per technical requirements and the supplier shall not be entitled for any claim due to such changes & should carry out such changes.

- STAFF AND WORKERS

The supplier shall depute qualified technical staff for execution of the work. The technical   staff employed by the supplier shall be responsible for the quality and workmanship of the work as per the satisfaction of the Client. The Supplier’s supervisory staff should follow the instructions given by Client /Consultant or his authorized representative. If any of the Supplier’s staff members is incapable or in-experienced, in the opinion of the Client, then he should be removed immediately and the supplier should do suitable substitution.

If the workers or the supervising staff of the supplier are involved in riotous or illegal   activities to such an extent that it becomes necessary to hand over the matter to the police then the supplier would be solely responsible for the case and all the expenses incurred in the legal proceedings shall be borne by the supplier.

- CO-OPERATION WITH OTHER AGENCIES AT SITE

The Supplier or his authorized representatives must work in close co-operation with the agencies executing other works forming the part of the work and also with the representatives of the Client for the execution of works which are not included in the contract. Supplier shall permit free access and generally afford reasonable facilities to other agencies or departmental workmen etc.

The Supplier’s quoted amount/rate shall be deemed to cater for all the above contingencies and nothing extra shall be admissible on this account.

Supplier should keep his working site clean and the materials brought for work shall be kept in a properly stacked / stored way. The work site should be swept at the end of each working day after removal of debris / left over materials. The Supplier has to take full care so as not to spoil or damage other Supplier's/ Client’s job / material.

- SAFETY OF ADJOINING PROPERTIES

The Supplier or his authorised representatives should conduct all the operations necessary for the execution of works in such a manner that no inconvenience / damage is caused to the properties of other persons & Client.

- SETTLEMENT OF DISPUTES

Arbitration shall not be a means of settlement of any dispute or claim arising out of the contract relating to the work. Any disputes or difference arising between the parties with respect to the performance of any part of this agreement or any thing connected therewith, etc shall as far as possible be mutually settled by the process of dialog and negotiation.

The Courts at Thiruvananthapuram alone shall have jurisdiction in respect of settlement of any matter arising out or in connection with the contract.

- EXECUTION OF WORK

General:

All the works shall be executed in accordance with the detailed drawings, specifications and instructions to be given by the Client or mentioned in the contract document.

Drawings:

The drawings given in the tender document are as per our present requirement and are meant for the purpose of giving idea of the type and quantum of work to be executed. The supplier has to examine the existing machines at Client’s facility and discuss with Client for the exact requirement to prepare the working drawing by him.

Inadequate/substandard works and materials:

i) If any material used by the Supplier is found unsuitable or of sub-standard quality after testing, then the Supplier shall remove those faulty materials immediately from the site as per the instructions of the Client.

ii) If any work executed by the Supplier is found to be of bad workmanship or not as per the drawings, then the same is to be dismantled and re-executed by the Supplier without claiming any extra payment or extension in time period.

Default of Supplier in compliance:

If the supplier or his authorized representative fails to follow the instructions given by the Client regarding any of the works, then the same shall be got executed by other persons employed by the Client and the expenses incurred shall be borne by the Supplier.

Discrepancies between instructions:

If any discrepancy occurs between the various instructions conveyed to Supplier or his authorized representative or if any misunderstanding arises between the Supplier’s staff and Client's staff, the supplier shall report the matter immediately to the Client. The decisions of Client shall be final and binding. Moreover, no claims for losses due to discrepancies between instructions, doubts or misunderstandings shall be admissible.

Change in specifications:

If there is any variation in specification   or   any change in make of item, then it has got to be approved from the Client prior to installation or execution.

Work not specified in the specification:

If, for any work, no specification has been given in the tender document, then the work will be executed as per the IS specifications, and if the work is not covered by IS specifications also, then it should be executed as per standard engineering practice, subject to the approval of the Client.

- LIABILITIES FOR DEFECTS AND RECTIFICATIONS

If it shall appear to the Client that any work has been executed with imperfect or unskilled workman or with materials of any inferior description, or of quality inferior to that contracted for, or otherwise not in accordance with the contract, the Supplier shall on demand in writing from the Client or his representative specifying the work, materials or articles complained of, not withstanding that the same may have been inadvertently passed, certified and paid for, forthwith rectify or remove and reconstruct  that work so specified and provide  other proper and suitable materials or articles at his own charges and cost, and in  the event of failure to do so within  a period to be specified by the Client or his demand aforesaid,  the Client may on expiry  of  notice period rectify or remove, re-execute the work at the risk of  Supplier and the  cost  shall  be recovered from   the Supplier. The decision of the Client as to any question arising under this clause shall be final and conclusive.

- CARE OF WORKS

From the commencement to the completion of works, the contractor shall take full responsibility for the care of all works including all temporary works and in case any damage or loss occurs then the supplier shall at his own cost repair and make good the same so that on completion of the work, the same shall be in good order in every respect in accordance with the contract and to the satisfaction of the Client.

- LABOUR LAWS AND SAFETY REGULATIONS

Labour Laws:

i)   Labourers  below the age of 18 years shall not be employed on the work.

ii) The supplier shall not pay less than what is specified by the law to labourers engaged by him on the work.

iii) The supplier shall, at his own expenses, comply with all labour laws and the Client shall not be responsible for any recovery/penalty imposed by the respective authorities for violating the labour laws.

iv) If the supplier is covered under the Contract Labour (Regulation & Abolition) Act, he shall obtain a license from the   licensing authority  (i.e. the Office   of Labour Commissioner), by payment of the necessary prescribed fee and deposit, if any, before starting the work.

v) The supplier shall furnish to the Client, the details of the workers employed on the works.

vi) The supplier shall comply with the provisions of the existing rules and regulations relating to labour laws.

vii) The Client shall on a report having been made by  an inspecting officer as defined in Contract Labour (Regulation  and Abolition) Act, 1980, have the power to deduct from  the amount  due to the supplier any sum required or  estimated   to be  required for making good the losses suffered by  a worker  or  workers by reason  of  non-fulfillment  of the conditions of the contract for the benefit of the  workers, or if deductions made from his or their wages which are  not  justified by the terms of contract or non-observance of  the said regulations.

Minor Accident on Duty:

For cases of minor accident on duty not covered under compensation by insurance, the supplier shall have to compensate the affected person by reimbursing these medical expenses against submission   of   actual expenditure document. The absence from duty, if takes place, due to such accident shall be considered as special leave and full payment shall have to be made for duration of such absence.

Provident Fund:

It shall be solely the Supplier’s responsibility to complete all provident fund formalities as per statuary regulations.

- Safety CODE:

Safety and Protection:

The supplier shall adhere to safe construction practice and guard against hazardous and unsafe working conditions. While carrying out the work, the supplier should provide for;

i) Safety of personnel engaged in the works.

ii) Protection and safety of works and materials during their progress.

iii) Sanitary and hygienic conditions of working and living for his workers, as required by the Client.

Use of Safety Gadgets:

The Supplier shall have to ensure availability and use of all desire safety gadgets like safety belts, helmets, goggles, hand gloves etc.

Unsafe working condition:

If any activity is found to be progressing without proper and complete safety measures (including use of safety gadgets) being implemented, the supplier may be asked to stop the work unless he fulfills the desired safety norms. Such delays shall not be allowed to consider for extension in duration of the allotted time period.

First Aid:

The supplier shall provide first aid facilities for his employees and those of his sub-SUPPLIERS. The requisite first aid box and medicines should always be available at work site.

Supplier's Barricades:

The supplier shall erect and maintain barricades required in connection with his operations to guard or protect: -

i)   	Excavations

ii)  	Hoisting Areas

iii)	Areas adjudged hazardous by the Supplier or Client’s representatives.

iv) 	Charged electrical panels.

v)	Client’s existing property liable to get   damaged by supplier’s/ contractor’s operation.

Preservation of peace:

The supplier shall take precautions to prevent any riotous or unlawful behavior by his workers, for the preservation of peace and protection of inhabitants and the security of property in the neighborhood of the work.

- DETAILS OF WORK EXECUTION

i) The work shall be done in such a manner so as to clear work front availability for other agencies working at site.

ii) Finish of work shall be as per drawings & details given by Client.

iii) In general the complete work is to be done as per Indian Standard and esthetical norms as specified and detailed in Tender.

- SPECIAL CONDITIONS OF THE CONTRCT

Contractor Scope

    - All tools and tackles, skilled manpower, spares required for repair of the equipment and consumables shall be arranged by Contractor.

2. Transportation of men and materials to and from the work site shall be arranged by the contactor.

3. All personal protective and safety equipments (safety belts, safety shoes, goggles helmets etc) shall be arranged by the contractor. Contractor shall be responsible for the safety and health of their employees.

  - All scaffolding material required shall be arranged by the party. All contract manpower shall maintain good discipline, safety standards Commensurate with Industrial standards.  If in the opinion of HLL, any worker is found unsuitable, he shall be replaced immediately. Contractor shall maintain record of spares brought to HLL premises for execution of job. Whenever the material is brought, the same shall be entered and authenticated by HLL Main Security Gate through delivery challan bearing its stamp.

5. Contractor shall follow housekeeping at the workplace strictly.  Contractor shall make his own arrangements for shifting the damaged spares to the location shown by Engineer- in charge.

6. After repair of the pumping units, the same shall be got approved by Engineer in-charge.

- OTHER REQUIREMENTS AS PER THE GENERAL CONDITIONS OF CONRACT

a) Issuing uniform.

b) Issuing safety gadgets.

c) The contractors are required to maintain the other documents as require HLL and should be made available to him on demand.

- SECRECY

The purchaser is the sole owner of the technology, equipment specification and drawings given to the supplier. The details given to bidders and supplier should be kept confidential and should not be used for any other purpose or transferred to third party. The supplier has to sign a secrecy agreement with purchaser.

## 30. SUB-LEASING/OPERATION OF CONTRACT

The successful  tenderer  shall  not  be  allowed  to  sublet  or  assign  the  benefits  of  the Purchase/Work order placed on them by HLL Lifecare Limited to any other party without prior written consent of HLL Life Care Limited.

SCHEDULE-B

TECHNICAL BID EVALUATION CRITERIA

- Bidder must have executed a single job worth of Rs.15 lakhs during any of the last 3 years for the similar job.  Proof for the same to be provided along with Technical bid.

- Bidder should able to mobilize required manpower immediately for executing urgent maintenance works as instructed by the Engineer-in-charge and for emergency breakdown maintenance.

- Bidder should able to mobilize manpower as instructed by the Engineer-in-charge for major scheduled/preventive/planned maintenance and fabrication works within 24 hours time.

- The contractor should preferably have establishment/workshop in TVM city or nearby Districts and should be able to attend emergency maintenance immediately.

- Contractor should deploy competent skilled labours viz.Welder, Fitter, Mechanic, Plumber, Sheet Metal Fabricator, Blacksmith etc.

- The contractor should deploy mechanics crew within the factory for timely attention of work during day hours.

- Bidder should have experience of executing pipeline contracts/ maintenance job in industries/ Establishments for last 3 years. The Relevant documentary proofs like work order copies/completion certificates required to be enclosed.

- The list of major similar jobs executed satisfactorily in last five years, giving

details of type of work, name & address of client, value of job & duration including photos and copies of major orders with completion certificate from the client

f) The bidder should enclose the copy of the following certificates.

1 The bidder should have Service Tax & Work Contract Tax Act registration.

2. The party should submit a copy of PAN account.

3.  Certified copy of the Profit & Loss statement, during any of the last 3 financial

years as proof of annual turn over .

g)  Assurance that supplier will take all risk insurance policy jointly in the name HLL and the supplier valid till completion of the awarded work

h) Earnest Money Deposit for an amount of Rs. 50,000/- in the form of demand draft

from a nationalized bank drawn in favour of HLL Lifecare Ltd, Peroorkada, payable

at Thiruvananthapuram the manner specified.

  - g)Copies of latest income tax clearance certificate and annual turn over details.

  - h)  List of Machinery, tools & tackles available with the contractor and intended to be

used in the said job to be filled in the enclosed sheet.

i) Total list of technical staff, labour skilled & unskilled and intended to be deployed

  - in the said job to be filled in the enclosed sheet.

  - j) Information regarding similar works.

  - k)Even though the bidder meet the above qualifying criteria, they are subject to be

  - disqualified if they have:

Record of poor performance such as abandoning the works, not properly

completing the contract, inordinate delays in completion, litigation history, or

financial failures etc…

ANNEX-I

| DETAILS OF SIMILAR WORKS DONE: - DETAILS OF ATLEAST ONE WORK successfully completed costing not less than the amount of Rs 15 lakhs during last 3 years. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl. No. | Name of Client with full address, telephone numbers and nature of work | ## Project / Work details | Value of works completed (In lakhs) | Period of Completion with dates (In months) |

SIGNATURE OF BIDDER

ANNEX-II

LIST OF MAJOR JOBS EXECUTED DURING THE LAST THREE YEARS

| SL.NO | DETAILS OF WORK | CONTRACT VALUE (In Lakhs) | NAME & ADDRESS OF CLIENT | COMPLETION TIME AS PER ORDER (In months) | ACTUAL TIME TAKEN |
| --- | --- | --- | --- | --- | --- |

SIGNATURE OF BIDDER

ANNEX-III

BIDDER'S EQUIPMENTS

LIST OF EQUIPMENTS

| SL.NO | EQUIPMENTS | NOS.AVAILABLE | NOS.PROPOSED TO BE DEPLOYED |
| --- | --- | --- | --- |

SIGNATURE OF BIDDER

ANNEX-IV

DETAILS OF BIDDER'S TECHNICAL STAFF

| SL.NO | NAME | TECHNICAL QUALIFICATION | EXPERIENCE IN NO. OF YEARS |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |
| 5. |  |  |  |
| 6. |  |  |  |

SIGNATURE OF BIDDER

###### SCHEDULE-C

###### DECLARATION

(To be submitted in the letter pad of the firm indicating full name and address, telephone & fax numbers etc.)

From

To

Deputy General Manager (Purchase),

HLL Lifecare Ltd,

Peroorkada Factory,

Thiruvananthapuram – 695 005,

Kerala, India.

Phn: - (++ 91 471) 2437270

Fax: - (++ 91 471) 2432647

Dear Sir,

I / We, hereby offer to supply/construct/ fabricate/erect/ commission as detailed in schedule hereto or such portion thereof as you may specify in the acceptance of Bid at the price given in the price bid and agree to hold this offer open till 90 days after the date of bid opening prescribed by the purchaser. I/We have understood the terms and conditions mentioned in the invitation for bid and Conditions of Contract furnished by you and have thoroughly examined the specifications quoted in the bid document hereto and are fully aware of the nature of the scope of work required and my/our offer is to comply strictly in accordance with the requirement and the terms and conditions mentioned above. I/We have understood that the PURCHASER is the sole owner of the technology, equipment, specification and drawings given along with the bidding documents. I/we here by assure that the above information will be kept confidential and will not be used for any other purpose or will not be transferred to third party.  I / we hereby certify that the information given with this bidding document is correct. If, at any stage, it is found to be incorrect, I / we understand that the contract will be liable to be terminated and action could be taken against me/us by the Company for damages.

Yours faithfully,

SIGNATURE OF THE BIDDER

PRICE BID

FABRICATION, INSTALLATION REPAIR / MAINTENANCE, INSULATION AND TESTING OF NON-IBR STEAM LINE AND UTILITY PIPELINES

| Sl.No . | Description | UOM | Qty | Basic Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | FABR/INSTL OF MS PIPE LINES 15NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 15NB Service tax | M | 125 |  |  |
| 2 | FABR/INSTL OF MS PIPE LINES 20NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 20NB Service tax | M | 100 |  |  |
| 3 | FABR/INSTL OF MS PIPE LINES 25NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 25NB Service tax | M | 100 |  |  |
| 4 | FABR/INSTL OF MS PIPE LINES 40NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 40NB Service tax | M | 50 |  |  |
| 5 | FABR/INSTL OF MS PIPE LINES 50NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 50NB Service tax | M | 150 |  |  |
| 6 | FABR/INSTL OF MS PIPE LINES 65NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 65NB Service tax | M | 50 |  |  |
| 7 | FABR/INSTL OF MS PIPE LINES 75NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 75NB Service tax | M | 30 |  |  |
| 8 | FABR/INSTL OF MS PIPE LINES 100NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 100NB Service tax | M | 25 |  |  |
| 9 | FABR/INSTL OF MS PIPE LINES 125NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 125NB Service tax | M | 10 |  |  |
| Sl.No . | Description | UOM | Qty | Basic Rate | Amount |
| 10 | FABR/INSTL OF MS PIPE LINES 150NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 150NB Service tax | M | 5 |  |  |
| 11 | FABR/INSTL OF G.I PIPE LINES15NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES15NB Service tax | M | 125 |  |  |
| 12 | FABR/INSTL OF G.I PIPE LINES20NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES 20NB Service tax | M | 100 |  |  |
| 13 | FABR/INSTL OF G.I PIPE LINES25NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES25NB | M | 100 |  |  |
| 14 | FABR/INSTL OF G.I PIPE LINES 40NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES40NB Service tax | M | 50 |  |  |
| 15 | FABR/INSTL OF G.I PIPE LINES 50NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES50NB Service tax | M | 150 |  |  |
| 16 | FABR/INSTL OF G.I PIPE LINES 65NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES65NB Service tax | M | 100 |  |  |
| 17 | FABR/INSTL OF G.I PIPE LINES 75NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES75NB Service tax | M | 100 |  |  |

| 18 | FABR/INSTL OF G.I PIPE LINES 100NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES100NB Service tax | M | 20 |  |  |
| --- | --- | --- | --- | --- | --- |
| 19 | FABR/INSTL OF G.I PIPE LINES 125NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES125NB Service tax | M | 10 |  |  |
| 20 | FABR/INSTL OF G.I PIPE LINES 150NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES150NB Service tax | M | 5 |  |  |
| 21 | FABR/INSTL OF G.I PIPE LINES 200NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES200NB | M | 5 |  |  |
| 22 | FABR/INSTL OF G.I PIPE LINES 250NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES250NB Service tax | M | 5 |  |  |
| 23 | FABR/INSTL OF S.S PIPE LINES15NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES15NB Service tax | M | 125 |  |  |
| 24 | FABR/INSTL OF S.S PIPE LINES20NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES20NB Service tax | M | 100 |  |  |
| 25 | FABR/INSTL OF S.S PIPE LINES25NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES25NB Service tax | M | 100 |  |  |

| Sl.No . | Description | UOM | Qty | Basic Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 26 | FABR/INSTL OF S.S PIPE LINES40NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES40NB Service tax | M | 50 |  |  |
| 27 | FABR/INSTL OF S.S PIPE LINES50NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES50NB Service tax | M | 150 |  |  |
| 28 | FABR/INSTL OF S.S PIPE LINES65NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES65NB Service tax | M | 100 |  |  |
| 29 | FABR/INSTL OF S.S PIPE LINES100NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES100NB Service tax | M | 30 |  |  |
| 30 | FABR/INSTL OF S.S PIPE LINES125NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES125NB Service tax | M | 5 |  |  |
| 31 | FABR/INSTL OF S.S PIPE LINES150NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES150NB Service tax | M | 5 |  |  |

| 32 | FABR/INSTL OF S.S PIPE LINES200NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES200NB Service tax | M | 5 |  |  |
| --- | --- | --- | --- | --- | --- |
| 33 | FABR/INSTL OF S.S PIPE LINES250NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES250NB Service tax | M | 5 |  |  |
| 34 | DISMANTLING OF OLD PIPE LINES 15NB - DISMANTLING OF OLD PIPE LINES (MS,GI &SS)15NB Service tax | M | 125 |  |  |

| Sl.No . | Description | UOM | Qty | Basic Rate | Amount |
| --- | --- | --- | --- | --- | --- |

| 35 | DISMANTLING OF OLD PIPE LINES 20NB - DISMANTLING OF OLD PIPE LINES (MS,GI &SS)20NB Service tax | M | 100 |  |  |
| --- | --- | --- | --- | --- | --- |
| 36 | DISMANTLING OF OLD PIPE LINES 25NB - DISMANTLING OF OLD PIPE LINES (MS,GI &SS) 25NB Service tax | M | 100 |  |  |
| 37 | DISMANTLING OF OLD PIPE LINES 40NB - DISMANTLING OF OLD PIPE LINES (MS,GI &SS) 40 NB Service tax | M | 50 |  |  |
| 38 | DISMANTLING OF OLD PIPE LINES 50NB - DISMANTLING OF OLD PIPE LINES (MS,GI &SS) 50NB Service tax | M | 150 |  |  |
| 39 | DISMANTLING OF OLD PIPE LINES 65NB - DISMANTLING OF OLD PIPE LINES (MS,GI&SS)65NB Service tax | M | 50 |  |  |
| 40 | DISMANTLING OF OLD PIPE LINES 75NB - DISMANTLING OF OLD PIPE LINES (MS,GI &SS)75NB Service tax | M | 50 |  |  |
| 41 | DISMANTLING OF OLD PIPE LINES 100NB - DISMANTLING OF OLD PIPE LINES (MS,GI &SS)100NB Service tax | M | 30 |  |  |
| 42 | DISMANTLING OF OLD PIPE LINES 125NB - DISMANTLING OF OLD PIPE LINES (MS,GI &SS)125NB Service tax | M | 10 |  |  |
| 43 | DISMANTLING OF OLD PIPE LINES 150NB - DISMANTLING OF OLD PIPE LINES (MS,GI &SS)150NB Service tax | M | 10 |  |  |
| Sl.No . | Description | UOM | Qty | Basic Rate | Amount |
| 44 | HOT INSULATION FOR NON IBR LINES15NB - Service tax | M | 150 |  |  |
| 45 | HOT INSULATION FOR NON IBR LINES20NB - HOT INSULATION FOR NON IBR LINES(WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET)20NB Service tax | M | 75 |  |  |
| 46 | HOT INSULATION NON IBR LINES25NB - HOT INSULATION FOR NON IBR LINES(WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET)25NB Service tax | M | 100 |  |  |
| 47 | HOT INSULATION FOR NON IBR LINES40NB - HOT INSULATION FOR NON IBR LINES(WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET)40NB Service tax | M | 50 |  |  |
| 48 | HOT INSULATION FOR NON IBR LINES50NB - Service tax | M | 50 |  |  |
| 49 | HOT INSULATION FOR NON IBR LINES65NB - HOT INSULATION FOR IBR/NON IBR LINES(WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET) 65NB Service tax | M | 25 |  |  |
| 50 | HOT INSULATION FOR NON IBR LINES75NB - HOT INSULATION FOR NON IBR LINES(WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET) 75NB Service tax | M | 25 |  |  |
| Sl.No . | Description | UOM | Qty | Basic Rate | Amount |
| 51 | HOT INSULATION FOR NON IBR LINE100NB - HOT INSULATION FOR NON IBR LINES(WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET) 100NB Service tax | M | 25 |  |  |
| 52 | HOT INSULATION FOR NON IBR LINE125NB - Service tax | M | 13 |  |  |
| 53 | HOT INSULATION FOR NON IBR LINE150NB - HOT INSULATION FOR NON IBR LINES(WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET) 150NB Service tax | M | 13 |  |  |
| 54 | HOT INSULATION FOR HOT WATER 25 mm THICK - Service tax | M | 25 |  |  |
| 55 | HOT INSULATION FOR HOT WATER 50 mm THICK - HOT INSULATION FOR HOT WATER (WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET) 50 mm THICK Service tax | M | 25 |  |  |
| 56 | HOT INSULATION FOR HOT WATER 75 mm THICK - HOT INSULATION FOR HOT WATER (WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET) 75 mm THICK Service tax | M | 25 |  |  |
| 57 | INSLTN OFSTM/HOT WATERLINE BEND/TEE15NB - INSULATION OF STEAM LINE AND HOT WATER LINE BEND AND TEE(WITH GLASS WOOL CHICKEN MESH AND ALUMINIUM SHEET) 15NB Service tax | M | 15 |  |  |
| 58 | INSLTN OFSTM/HOT WATERLINE BEND/TEE20NB - Service tax | M | 15 |  |  |

| 59 |  | INSLTN OFSTM/HOT WATERLINE BEND/TEE25NB - INSULATION OF STEAM LINE AND HOT WATER LINE BEND AND TEE(WITH GLASS WOOL CHICKEN MESH AND ALUMINIUM SHEET) 25NB Service tax | M | 10 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 60 |  | INSLTN OFSTM/HOT WATERLINE BEND/TEE40NB - INSULATION OF STEAM LINE AND HOT WATER LINE BEND AND TEE(WITH GLASS WOOL CHICKEN MESH AND ALUMINIUM SHEET) 40NB Service tax | M | 10 |  |  |  |
| 61 |  | INSLTN OFSTM/HOT WATERLINE BEND/TEE50NB - INSULATION OF STEAM LINE AND HOT WATER LINE BEND AND TEE(WITH GLASS WOOL CHICKEN MESH AND ALUMINIUM SHEET) 50NB Service tax | M | 10 |  |  |  |
| 62 |  | INSLTN OFSTM/HOT WATERLINE BEND/TEE65NB - Service tax | M | 10 |  |  |  |
| 63 |  | INSLTN OFSTM/HOT WATERLINE BEND/TEE75NB - INSULATION OF STEAM LINE AND HOT WATER LINE BEND AND TEE(WITH GLASS WOOL CHICKEN MESH AND ALUMINIUM SHEET) 75NB Service tax | M | 5 |  |  |  |
| 64 |  | INSLTN OFSTM/HOT WATERLINE BEND/TEE100NB - INSULATION OF STEAM LINE AND HOT WATER LINE BEND AND TEE(WITH GLASS WOOL CHICKEN MESH AND ALUMINIUM SHEET) 100NB Service tax | M | 5 |  |  |  |
| 65 |  | INSLTN OFSTM/HOT WATERLINE BEND/TEE125NB - INSULATION OF STEAM LINE AND HOT WATER LINE BEND AND TEE(WITH GLASS WOOL CHICKEN MESH AND ALUMINIUM SHEET) 125NB Service tax | M | 5 |  |  |  |
| 66 |  | INSLTN OFSTM/HOT WATERLINE BEND/TEE150NB - Service tax | M | 5 |  |  |  |
| 67 |  | INSLUTN OFCHILLED WATER BEND/TEE15NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 15NB Service tax | M | 25 |  |  |  |
| 68 |  | INSLUTN OFCHILLED WATER BEND/TEE20NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 20NB Service tax | M | 25 |  |  |  |
| 69 |  | INSLUTN OFCHILLED WATER BEND/TEE25NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 25NB Service tax | M | 25 |  |  |  |
| 70 |  | INSLUTN OFCHILLED WATER BEND/TEE40NB - Service tax | M | 25 |  |  |  |
| 71 |  | INSLUTN OFCHILLED WATER BEND/TEE50NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 50NB Service tax | M | 25 |  |  |  |
| 72 |  | INSLUTN OFCHILLED WATER BEND/TEE65NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 65NB Service tax | M | 13 |  |  |  |
| 73 |  | INSLUTN OFCHILLED WATER BEND/TEE75NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 75NB Service tax | M | 13 |  |  |  |
| 74 |  | INSLUTN OFCHILLED WATER BEND/TEE100NB - Service tax | M | 10 |  |  |  |
| 75 |  | INSLUTN OFCHILLED WATER BEND/TEE125NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 125NB Service tax | M | 5 |  |  |  |
| 76 |  | INSLUTN OFCHILLED WATER BEND/TEE150NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 150NB | M | 5 |  |  |  |
| 77 |  | COLD INSULTN OF CHILLED WATER LINE 15NB - COLD INSULATION OF CHILLED WATER LINES(COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 15NB Service tax | M | 50 |  |  |  |
| 78 |  | COLD INSULTN OF CHILLED WATER LINE 20NB - Service tax | M | 50 |  |  |  |
| 79 |  | COLD INSULTN OF CHILLED WATER LINE 25NB - Service tax | M | 50 |  |  |  |
| 80 |  | COLD INSULTN OF CHILLED WATER LINE 40NB - COLD INSULATION OF CHILLED WATER LINES(COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 40NB Service tax | M | 50 |  |  |  |
| 81 |  | COLD INSULTN OF CHILLED WATER LINE 50NB - COLD INSULATION OF CHILLED WATER LINES(COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 50NB Service tax | M | 50 |  |  |  |
| 82 |  | COLD INSULTN OF CHILLED WATER LINE 65NB - Service tax | M | 25 |  |  |  |
| 83 |  | COLD INSULTN OF CHILLED WATER LINE 75NB - Service tax | M | 25 |  |  |  |
| 84 |  | COLD INSULTN OF CHILLED WATER LINE 100NB - COLD INSULATION OF CHILLED WATER LINES(COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 100NB Service tax | M | 25 |  |  |  |
| 85 |  | COLD INSULTN OF CHILLED WATER LINE 125NB - COLD INSULATION OF CHILLED WATER LINES(COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 125NB Service tax | M | 10 |  |  |  |
| 86 |  | COLD INSULTN OF CHILLED WATER LINE 150NB - Service tax | M | 10 |  |  |  |
| 87 |  | COLDINSLTN OFCHILLD WATER TANK 25mm thk -COLD INSULATION OF CHILLED WATER TANKS(COVERED WITH THERMOCOLE AND ALUMINIUM SHEET) 25 mm thick Service tax | M2 | 25 |  |  |  |
| 88 |  | COLDINSLTN OFCHILLD WATER TANK 50mm thk - Service tax | M2 | 25 |  |  |  |
| 89 |  | COLDINSLTN OFCHILLD WATER TANK 75mm thk -COLD INSULATION OF CHILLED WATER TANKS(COVERED WITH THERMOCOLE AND ALUMINIUM SHEET) 75 mm thick | M2 | 25 |  |  |  |
| 90 |  | INSTLOF NONIBR VALVE/WATER FLOW MRTS15NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 15NB Service tax | NO | 75 |  |  |  |
| 91 |  | INSTLOF NONIBR VALVE/WATER FLOW MRTS20NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 20NB Service tax | NO | 50 |  |  |  |
| 92 |  | INSTLOF NONIBR VALVE/WATER FLOW MRTS25NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 25NB Service tax | NO | 25 |  |  |  |
| 93 |  | INSTLOF NONIBR VALVE/WATER FLOW MRTS40NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 40NB Service tax | NO | 25 |  |  |  |
| 94 |  | INSTLOF NONIBR VALVE/WATER FLOW MRTS50NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 50NB Service tax | NO | 25 |  |  |  |
| 95 |  | INSTLOF NONIBR VALVE/WATER FLOW MRTS65NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 65NB Service tax | NO | 13 |  |  |  |
| 96 |  | INSTLOF NONIBR VALVE/WATER FLOWMRTS75NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 75NB Service tax | NO | 5 |  |  |  |
| 97 |  | INSTLOF NONIBR VALVE/WATER FLOW MTS100NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 100NB Service tax | NO | 5 |  |  |  |
| 98 |  | INSTLOF NONIBR VALVE/WATER FLOW MTS125NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 125NB Service tax | NO | 5 |  |  |  |
| 99 |  | INSTLOF NONIBR VALVE/WATER FLOW MTS150NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 150NB Service tax | NO | 5 |  |  |  |
| 100 |  | FITTING OF FLANGES( MS, GI & SS) 15NB - FITTING OF FLANGES( MS, GI & SS) 15NB Service tax | NO | 80 |  |  |  |
| 101 |  | FITTING OF FLANGES( MS, GI & SS) 20NB - FITTING OF FLANGES( MS, GI & SS) 20NB Service tax | NO | 80 |  |  |  |
| 102 |  | FITTING OF FLANGES( MS, GI & SS ) 25NB - FITTING OF FLANGES( MS, GI & SS ) 25NB Service tax | NO | 50 |  |  |  |
| 103 |  | FITTING OF FLANGES( MS, GI & SS ) 40NB - FITTING OF FLANGES( MS, GI & SS ) 40NB Service tax | NO | 50 |  |  |  |
| 104 |  | FITTING OF FLANGES( MS, GI & SS ) 50NB - FITTING OF FLANGES( MS, GI & SS ) 50NB Service tax | NO | 50 |  |  |  |
| 105 |  | FITTING OF FLANGES( MS, GI & SS ) 65NB - FITTING OF FLANGES( MS, GI & SS ) 65NB Service tax | NO | 16 |  |  |  |
| 106 |  | FITTING OF FLANGES( MS, GI & SS ) 75NB - FITTING OF FLANGES( MS, GI & SS ) 75NB Service tax | NO | 16 |  |  |  |
| 107 |  | FITTING OF FLANGES( MS, GI & SS ) 100NB - FITTING OF FLANGES( MS, GI & SS ) 100NB Service tax | NO | 4 |  |  |  |
| 108 |  | FITTING OF FLANGES( MS, GI & SS ) 125NB - FITTING OF FLANGES( MS, GI & SS ) 125NB Service tax | NO | 4 |  |  |  |
| 109 |  | FITTING OF FLANGES( MS, GI & SS ) 150NB - FITTING OF FLANGES( MS, GI & SS ) 150NB Service tax | NO | 4 |  |  |  |
| 110 |  | FITTING OF COULPING( MS, GI & SS ) 15NB - FITTING OF COULPING( MS, GI & SS ) 15NB Service tax | NO | 25 |  |  |  |
| 111 |  | FITTING OF COULPING( MS, GI & SS ) 20NB -FITTING OF COULPING( MS, GI & SS ) 20NB Service tax | NO | 25 |  |  |  |
| 112 |  | FITTING OF COULPING( MS, GI & SS ) 25NB - FITTING OF COULPING( MS, GI & SS ) 25NB Service tax | NO | 25 |  |  |  |
| 113 |  | FITTING OF COULPING( MS, GI & SS ) 40NB - FITTING OF COULPING( MS, GI & SS ) 40NB Service tax | NO | 23 |  |  |  |
| 114 |  | FITTING OF COULPING( MS, GI & SS ) 50NB - FITTING OF COULPING( MS, GI & SS ) 50NB Service tax | NO | 23 |  |  |  |
| 115 |  | FITTING OF COULPING( MS, GI & SS ) 65NB - FITTING OF COULPING( MS, GI & SS ) 65NB Service tax | NO | 20 |  |  |  |
| 116 |  | FITTING OF COULPING( MS, GI & SS ) 75NB - FITTING OF COULPING( MS, GI & SS ) 75NB Service tax | NO | 5 |  |  |  |
| 117 |  | FITTING OF COULPING( MS, GI & SS ) 100NB FITTING OF COULPING( MS, GI & SS ) 100NB Service | NO | 5 |  |  |  |
| 118 |  | FITTING OF COULPING( MS, GI & SS ) 125NB - FITTING OF COULPING( MS, GI & SS ) 125NB Service tax | NO | 5 |  |  |  |
| 119 |  | FITTING OF COULPING( MS, GI & SS ) 150NB - FITTING OF COULPING( MS, GI & SS ) 150NB Service tax | NO | 5 |  |  |  |
| 120 |  | FITTING OF PLUG( MS, GI & SS) 15NB - FITTING OF PLUG( MS, GI & SS) 15NB Service tax | NO | 8 |  |  |  |
| 121 |  | FITTING OF PLUG( MS, GI & SS) 20NB - FITTING OF PLUG( MS, GI & SS) 20NB Service tax | NO | 8 |  |  |  |

| 133 | FITTING OFHEXAGONAL NIPPLE 75NB - FITTING OFHEXAGONAL NIPPLE( MS, GI & SS) 75NBService tax | NO | 5 |  |  |
| --- | --- | --- | --- | --- | --- |
| 134 | FITTING OFHEXAGONAL NIPPLE 100NB - FITTING OFHEXAGONAL NIPPLE( MS, GI & SS) 100NB Service tax | NO | 5 |  |  |
| 135 | FITTING OF UNION( MS, GI & SS) 15NB - FITTING OF UNION( MS, GI & SS) 15NB Service tax | NO | 35 |  |  |
| 136 | FITTING OF UNION( MS, GI & SS) 20NB - FITTING OF UNION( MS, GI & SS) 20NB | NO | 30 |  |  |
| 137 | FITTING OF UNION( MS, GI & SS) 25NB - FITTING OF UNION( MS, GI & SS) 25NB Service tax | NO | 10 |  |  |
| 138 | FITTING OF UNION( MS, GI & SS) 40NB - FITTING OF UNION( MS, GI & SS) 40NB Service tax | NO | 10 |  |  |
| 139 | FITTING OF UNION( MS, GI & SS) 50NB - FITTING OF UNION( MS, GI & SS) 50NB Service tax | NO | 8 |  |  |
| 140 | FITTING OF UNION( MS, GI & SS) 65NB - FITTING OF UNION( MS, GI & SS) 65NB Service tax | NO | 5 |  |  |
| 141 | FITTING OF UNION( MS, GI & SS) 75NB - FITTING OF UNION( MS, GI & SS) 75NB Service tax | NO | 5 |  |  |
| 142 | FITTING OFTAP/BRASS/GUNMETAL/PVC/SS 15NB - FITTING OF TAP/BRASS/GUNMETAL/PVC/SS 15NB Service tax | NO | 75 |  |  |
| 143 | FITTING OFTAP/BRASS/GUNMETAL/PVC/SS 20NB - FITTING OF TAP/BRASS/GUNMETAL/PVC/SS 20NB Service tax | NO | 75 |  |  |
| 144 | FITTING OF TAP/BRASS/GUNMETAL/PVC/SS25NB - Service tax | NO | 50 |  |  |
| 145 | FITTING OF TAP/BRASS/GUNMETAL/PVC/SS40NB -Service tax | NO | 10 |  |  |
| 146 | FITTING OFTAP/BRASS/GUNMETAL/PVC/SS 50NB - FITTING OF TAP/BRASS/GUNMETAL/PVC/SS 50NB Service tax | NO | 10 |  |  |
| 147 | INSTL OFMS/GI/SS/BEND/ELBOWS 15NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 15NB Service tax | NO | 50 |  |  |
| 148 | INSTL OFMS/GI/SS/BEND/ELBOWS 20NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 20NB Service tax | NO | 50 |  |  |
| 149 | INSTL OFMS/GI/SS/BEND/ELBOWS 25NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 25NB Service tax | NO | 50 |  |  |
| 150 | INSTL OFMS/GI/SS/BEND/ELBOWS 40NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 40NB Service tax | NO | 50 |  |  |
| 151 | INSTL OFMS/GI/SS/BEND/ELBOWS 50NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 50NB Service tax | NO | 50 |  |  |
| 152 | INSTL OFMS/GI/SS/BEND/ELBOWS 65NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 65NB Service tax | NO | 50 |  |  |
| 153 | INSTL OFMS/GI/SS/BEND/ELBOWS 75NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 75NB Service tax | NO | 5 |  |  |
| 154 | INSTL OFMS/GI/SS/BEND/ELBOWS 100NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 100NB Service tax | NO | 5 |  |  |
| 155 | INSTL OFMS/GI/SS/BEND/ELBOWS 125NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 125NB Service tax | NO | 5 |  |  |
| 156 | INSTL OFMS/GI/SS/BEND/ELBOWS 150NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 150NB Service tax | NO | 5 |  |  |
| 157 | INSTALLATION OF TEE (MS,GI & SS ) 15NB - INSTALLATION OF TEE (MS,GI & SS ) 15NB Service tax | NO | 50 |  |  |
| 158 | INSTALLATION OF TEE (MS,GI & SS ) 20NB - INSTALLATION OF TEE (MS,GI & SS ) 20NB Service tax | NO | 50 |  |  |
| 159 | INSTALLATION OF TEE (MS,GI & SS ) 25NB - INSTALLATION OF TEE (MS,GI & SS ) 25NB Service tax | NO | 50 |  |  |
| 160 | INSTALLATION OF TEE (MS,GI & SS ) 40NB - INSTALLATION OF TEE (MS,GI & SS ) 40NB Service tax | NO | 38 |  |  |
| 161 | INSTALLATION OF TEE (MS,GI & SS ) 50NB - INSTALLATION OF TEE (MS,GI & SS ) 50NB Service tax | NO | 38 |  |  |
| 162 | INSTALLATION OF TEE (MS,GI & SS ) 65NB - INSTALLATION OF TEE (MS,GI & SS ) 65NB Service tax | NO | 25 |  |  |
| 163 | INSTALLATION OF TEE (MS,GI & SS ) 75NB - INSTALLATION OF TEE (MS,GI & SS ) 75NB Service tax | NO | 25 |  |  |
| 164 | INSTALLATION OF TEE (MS,GI & SS ) 100NB - INSTALLATION OF TEE (MS,GI & SS ) 100NB Service tax | NO | 10 |  |  |
| 165 | INSTALLATION OF TEE (MS,GI & SS ) 125NB - INSTALLATION OF TEE (MS,GI & SS ) 125NB Service tax | NO | 5 |  |  |
| 166 | INSTALLATION OF TEE (MS,GI & SS ) 150NB - INSTALLATION OF TEE (MS,GI & SS ) 150NB Service tax | NO | 5 |  |  |
| 167 | INSTL OF REDUCER/ELBOWS 20x15mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 20x15mm Service tax | NO | 10 |  |  |
| 168 | INSTL OF REDUCER/ELBOWS25x20mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 25x20mm | NO | 10 |  |  |
| 169 | INSTL OF REDUCER/ELBOWS 25x15mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 25x15mm Service tax | NO | 5 |  |  |
| 170 | INSTL OF REDUCER/ELBOWS40x20mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 40x20mm Service tax | NO | 5 |  |  |
| 171 | INSTL OF REDUCER/ELBOWS 40x25mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 40x25mm Service tax | NO | 10 |  |  |
| 172 | INSTL OF REDUCER/ELBOWS 50x25mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 50x25mm Service tax | NO | 5 |  |  |
| 173 | INSTL OF REDUCER/ELBOWS 50x40mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 50x40mm Service tax | NO | 10 |  |  |
| 174 | INSTL OF REDUCER/ELBOWS 75x50mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 75x50mm Service tax | NO | 5 |  |  |
| 175 | INSTL OF REDUCER/ELBOWS 100x75mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 100x75mm Service tax | NO | 5 |  |  |
| 176 | INSTL OF REDUCER/ELBOWS 125x100mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 125x100mm Service tax | NO | 5 |  |  |
| 177 | INSTL OF REDUCER/ELBOWS 150x125mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 150x125mm Service tax | NO | 5 |  |  |
| 178 | INSTL OF REDUCER/ELBOWS 150x100mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 150x100mm Service tax | NO | 5 |  |  |
| 179 | FABRICATION OF SUPPORTS PER KG - FABRICATION OF SUPPORTS (MS CHANNEL,ANGLES,FLAT PLATES,PIPES ETC. PERKG Service tax | KG | 2,500 |  |  |
| 180 | FABRICATION OF MS/SS STRCHURE PER KG - FABRICATION OF MS STRUCHURE & SS STRUCHURE PERKG Service tax | KG | 2,500 |  |  |
| 181 | FBR OF DUCTS IN ALUMINIUM /GS/MS/SS 24G - FABRICATION OF DUCTS IN ALUMINIUM /GS/MS & SS 24G | M2 | 150 |  |  |
| 182 | FBR OF DUCTS IN ALUMINIUM /GS/MS/SS 22G - FABRICATION OF DUCTS IN ALUMINIUM /GS/MS & SS 22G Service tax | M2 | 150 |  |  |
| 183 | FBR OF DUCTS IN ALUMINIUM /GS/MS/SS 20G - FABRICATION OF DUCTS IN ALUMINIUM /GS/MS & SS 20G Service tax | M2 | 150 |  |  |
| 184 | FBR OF DUCTS IN ALUMINIUM /GS/MS/SS 18G - FABRICATION OF DUCTS IN ALUMINIUM /GS/MS & SS 18G Service tax | M2 | 150 |  |  |
| 185 | FBR OF DUCTS IN ALUMINIUM /GS/MS/SS 16G - FABRICATION OF DUCTS IN ALUMINIUM /GS/MS & SS 16G Service tax | M2 | 150 |  |  |
| 186 | FABRICATION OF MS GRATIINGS SQ M - FABRICATION OF MS GRATIINGS SQ M Service tax | M2 | 100 |  |  |
| 187 | ERTN OFBLOWER,AHU/HEAT EXCHANGERS PERKG - ERECTION OF BLOWERS , AHU & HEAT EXCHANGERS PERKG Service tax | KG | 2,500 |  |  |
| 188 | ERECTION OF METALS IN TANK PER KG - ERECTION OF METALS IN TANK MS/GI/CRCA/SS PERKG Service tax | KG | 2,500 |  |  |
| 189 | DISMANTLING OF OLD STRUCHURES PER KG - DISMANTLING OF OLD MS/SS/CAST IRON STRUCHURES PERKG Service tax | KG | 2,500 |  |  |
| 190 | EARTH WORK DIGGING & REFILLING PER SQ.M - EARTH WORK DIGGING & REFILLING PER SQ.M Service tax | M2 | 100 |  |  |
| 191 | ARC WELDING IN SHEETS ETC 3MM THICK - ARC WELDING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL & CHEQURED PLATES (LABOUR CHAARGE ONLY) 3MM THICK Service tax | NO | 200 |  |  |
| 192 | ARC WELDING IN SHEETS ETC 4MM THICK - ARC WELDING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL & CHEQURED PLATES (LABOUR CHAARGE ONLY) 4MM THICK Service tax | NO | 100 |  |  |
| 193 | ARC WELDING IN SHEETS ETC 5MM THICK - ARC WELDING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL & CHEQURED PLATES (LABOUR CHAARGE ONLY) 5MM THICK Service tax | NO | 100 |  |  |
| 194 | ARC WELDING IN SHEETS ETC 6MM THICK - ARC WELDING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL & CHEQURED PLATES (LABOUR CHAARGE ONLY) 6MM THICK Service tax | NO | 175 |  |  |
| 195 | ARC WELDING IN SHEETS ETC 8MM THICK - ARC WELDING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL & CHEQURED PLATES (LABOUR CHAARGE ONLY) 8MM THICK Service tax | NO | 175 |  |  |
| 196 | ARC WELDING IN SHEETS ETC 10MM THICK - ARC WELDING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL & CHEQURED PLATES (LABOUR CHAARGE ONLY) 10MM THICK Service tax | NO | 100 |  |  |
| 197 | ARC WELDING IN SHEETS ETC 12MM THICK - ARC WELDING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL & CHEQURED PLATES (LABOUR CHAARGE ONLY) 12MM THICK Service tax | NO | 100 |  |  |
| 198 | GAS CUTTING IN SHEETS ETC 2MM TO 4MM - GAS CUTTING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL/CHE QURED PLATES & PIPE 2MM TO 4MM Service tax | NO | 125 |  |  |
| 199 | GAS CUTTING IN SHEETS ETC 4MM TO 8MM - GAS CUTTING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL/CHEQURED PLATES & PIPE 4MM TO 8MM Service tax | NO | 125 |  |  |
| 210 | GAS CUTTING IN SHEETS ETC 8MM TO 12MM - GAS CUTTING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL/CHE QURED PLATES & PIPE 8MM TO 12MM Service tax |  |  |  |  |

VALIDITY      : ONE YEAR

Certified that the rate quoted will hold good for one year during which period no upward revision will be asked for.

PLACE:                                          NAME AND SIGNATURE OF THE TENDERER

DATE:                                                                      (WITH OFFICE SEAL)