##### HLLLIFECARE LIMITED

**AKKULAM FACTORY, SREEKARIAM P.O. THIRUVANANTHAPURAM - 17**

IFB NO: HLL/AFT/TDG/HP-III/ELE/2014-15

27.02.2015

AMENDMENT to TENDER NOTICE

(Amendment No. – 2)

**Sub: Renovation work Electrical at various designated Hospitals in Himachal Pradesh**.

Following amendments are made in the TenderS for Renovation Work Electrical at various designated Hospitals in Himachal Pradesh is amended as below

**Tender No. 1** : Renovation work (Electrical)  (page 1 to 71)  - **KINNAUR DISTRICT-**  IFB NO: HLL/AFT/TDG/HP-III/ELE/2014-15/01 dated 19.02.2015

**Tender No. 2**: Renovation work (Electrical) (page 1 to 62)  - **L & SPITI  DISTRICT**  - IFB NO: HLL/AFT/TDG/HP-III/ELE/2014-15/02 dated 19.02.2015

**Tender No. 3** : Renovation work (Electrical)  (page 1 to 97) - **CHAMBA  DISTRICT -**IFB NO: HLL/AFT/TDG/HP-III/ELE/2014-15/03 dated 19.02.2015

**Tender No. 4** : Renovation work (Electrical)  (page 1 to 44)  - **MANDI   DISTRICT**

-IFB NO: HLL/AFT/TDG/HP-III/ELE/2014-15/04 dated 19.02.2015

**Tender No. 5** : Renovation work (Electrical) (page 1 to 44)  - **SHIMLA & SIRMOUR DISTRICT -**IFB NO: HLL/AFT/TDG/HP-III/ELE/2014-15/05 dated 19.02.2015

**AMENDMENTS ARE AS FOLLOWS ;**

**NBCC**

|  |  |  |  |
| --- | --- | --- | --- |
| **Work** | **Heading of the original tender** | **Original tender Details** | **Amended Tender Details** |
| NBCC | Supplying and fixing DP sheet steel enclosure: | Make: Legrand/Havells/HPL | Make : Legrand only. |
| Wiring through PVC conduit | (Approved Make) | Make : Havells only |
| Modular type blanking plate: | (Make: Legrand/Crabtree) | Make : Legrand only. |
| Modular boxes, bases & cover plate: | (Make: Legrand/Crabtree) | Make : Legrand only. |
| Modular type switch/socket: | (Make: Legrand/Crabtree) | Make : Legrand only. |

**NBSU**

|  |  |  |  |
| --- | --- | --- | --- |
| **Work** | **Heading of the original tender** | **Original tender** | **Amended** |
| NBSU | Wiring through PVC conduit | (Approved make) | Make : Havells only |
| Modular boxes, bases & cover plate: | (Make: Legrand/Crabtree) | Make : Legrand only. |
| Modular type switch/socket: | (Make: Legrand/Crabtree) | Make : Legrand only. |
| Modular type blanking plate: | (Make: Legrand/Crabtree) | Make : Legrand only. |
| CABLE LAYING | CABLE LAYING | Change the heading of Cable Laying to WIRING. |
| S/F Vertical Type TP MCB DB: | (Make: Legrand/ Havells/HPL) | Make : Legrand only. |
| S/F of DP ISOLATOR | (Make: Legrand/Havells/HPL) | Make : Legrand only. |
| S/F of SP MCB | (Make: Legrand/Havells/HPL) | Make : Legrand only. |
| Supplying and fixing the following ratings of load change over switch | (Make ABB, L&T, Havells) | Make : Havells only |

**SNCU**

|  |  |  |  |
| --- | --- | --- | --- |
| **Work** | **Heading of the original tender** | **Original tender** | **Amended** |
| **SNCU** | Wiring through PVC conduit | (Approved make) | Make : Havells |
| Modular type blanking plate: | (Make: Legrand/Crabtree) | Make : Legrand only. |
| Modular boxes, bases & cover plate: | (Make: Legrand/Crabtree) | Make : Legrand only. |
| Modular type switch/socket: | (Make: Legrand/Crabtree) | Make : Legrand only. |
| S/F Vertical Type TP MCB DB: | (Make: Legrand/Havells/HPL) | Make : Legrand only. |
| S/F of FP Isolators | (Make: Legrand/Havells/HPL) | Make : Legrand only. |
| S/F of TP MCB | (Make: Legrand/Havells/HPL) | Make : Legrand only. |
| S/F of TPN MCB PDB: | (Make: Legrand/Havells/HPL) | Make : Legrand only. |
| S/F of TPN RCBO | (Make: Legrand/Havells/HPL) | Make : Legrand only. |
| S/F of SP MCB: | (Make: Legrand/Havells/HPL) | Make : Legrand only. |
| TPN MCB LDB | (Make:Legrand/Havells/ HPL) | Make : Legrand only. |
| S/F of TPN RCBO | (Make: Legrand/Havells/HPL) | Make : Legrand only. |
| S/F of SP MCB | (Make: Legrand/Havells/HPL) | Make : Legrand only |

**BSC**

|  |  |  |  |
| --- | --- | --- | --- |
| **Work** | **Heading of the original tender** | **Original tender** | **Amended** |
| BSC | Wiring through PVC conduit | (Approved make) | Make : Havells |
| Modular type blanking plate: | (Make: Legrand/Crabtree) | Make : Legrand only. |
| Modular boxes, bases & cover plate: | (Make: Legrand/Crabtree) | Make : Legrand only. |
| Modular type switch/socket: | (Make: Legrand/Crabtree) | Make : Legrand only. |
| CABLE LAYING | CABLE LAYING | Change the heading of Cable Laying to WIRING. |
| 12 way SPN DB | (Make: Legrand/Havells/HPL) | Make : Legrand only. |
| S/F of DP ISOLATOR | (Make: Legrand/Havells/HPL) | Make : Legrand only. |
| S/F of SP MCB | (Make: Legrand/Havells/HPL) | Make : Legrand only. |
| Supplying and fixing the following ratings of load change over switch | (Make ABB, L&T, Havells) | Discard the make ABB & L&T and use only Havells. |

All other terms and conditions in the original Tender Notice and tender documents remain same and unchanged.

**Joint General Manager (Materials)**