Enquiry No. HLL/PCD/MCH /15-16                                                Date: 02/05/2015

“URGENT”

Sub: Tender enquiry for Supply / procurement of Baby Manikins with Resuscitation Bags.

Kindly submit your most competitive sealed offer, at HLL office for the material specified below for supply / procurement of goods, as follows. Your quotation shall be in accordance with BOQ and at Terms and Conditions mentioned below:

| S.No | Item Description | Qty. | Delivery Destination |
| --- | --- | --- | --- |
| 1 | Baby Manikins Specification enclosed in Annexure - 01 | 04 Nos | Procurement & Consultancy Division (P&CD), HLL Lifecare Ltd., B-14A, Sector – 62, Gautam Budh Nagar District, Noida-201307. Uttar Pradesh State. |
| 2 | Resuscitation Kit Specification enclosed in Annexure - 01 | 04 Nos |  |

NB: Name of Model & Manufacturer should be mentioned in the offer.

Terms and Conditions:

- Prices:  FIRM, FOR – Destination, as above

- VAT : @ …………% Extra/Inclusive

- Discount: …………%

- Service Tax: @ ……...% Extra/Inclusive

- Delivery Period: 10 days from the receipt of NOA.

- Payment Terms: 100% payment shall be released against receipt and acceptance of goods

by the consignee.

- Warrantee: Warrantee for the material shall be for One Year or mentioned manufacturers

standard warranty period.

- INSPECTION: By authorized representative on receipt at the site.

- Validity of Offer: The rates shall be valid for 90 days

- The lowest quote received on F.O.R. destination basis shall be considered for the

Placement of supply order.

- Bidder shall quote for the Total quantity, as well as destination wise.  Demonstration of

Manikins will be taken either at HLL Life care Limited, B – 14A, Sector – 62, Noida (or)

at Safdurjung Hospital, Delhi.

- The envelope should be sealed and super scribed with the “TENDER ENQUIRY NO.

HLL/PCD/MCH/15-16 Dated: 02-05-2015”. Offer should reach us latest by 07/05/2015

, 1400 hours at HLL Lifecare Limited, B – 14A, Sector – 62 Noida, U.P., Tel: 0120-

4071500.

SEAL OF SELLER

SIGNATURE & NAME OF SELLER                                 	NAME:

PAN NO.                                                                                           VAT NO.

DATE                                                                                                 BANK / RTGS Details

PHONE NO. / MOBILE NO.

Annexure -01

Technical Specification of Resuscitator Bag

Resuscitator, hand-operated, neonate,500ml; 250ml

•     Resuscitator for manual ventilation of neonates

•     Ventilation can be done with ambient air or with

oxygen

•     Resuscitator can be totally disassembled, is easy

to clean, disinfect and sterilize

•     All parts can be autoclaved at 121°C (except O2

reserve bag)

•     Manufactured   from   durable   high-strength

synthetic  not  requiring  special  maintenance  or

storage

Resuscitator  is  supplied  as  a  complete  set  in  a

box

Compressible   self-refilling   ventilation   bag,

capacity, approx. 500 ml and 250 ml

With non-rebreathing patient valve with pressure

limitation

Intake valve with nipple for O2 tubing

O2 reserve bag complete, capacity approx.: 2000 ml

•     Set   of   3   cushioned   neonate   size   masks,

translucent (Size "0", approx: 50 mm)

Device   is   produced   by   ISO   9001   certified

manufacturer

•   Device  is  safety  certified    according  CE  93/42,

FDA   510k   or   equivalent   (Certificate   to   be

submitted,   further   details   see   "Technical

Provisions")

Supplied with:

•      User manual with trouble shooting guidance, in

English

•     Technical manual with maintenance and first line

technical intervention instructions, in English

•     List of priced accessories

•     List of priced spare parts

•     List  with  name  and  address  of  technical  service

providers in India

Technical Specification of Baby Manikin along with CPR

- The head can be both rotated and extended but the airway will only open in the correct (sniff) position.

- Facility to check the stomach ventilation visually.

- Should allow realistic anatomy which allows the trainee to find the correct compression point, making the chest/abdomen rise realistically.

- Should also provide brachial pulse.

- Should allow airway by an on / off slider which can be simulated by the instructor.

- Should have patented hygienic system facilitates knowledge retention through the look-listen-feel concept whilst providing the trainee comfort and safety.

- The manikin should be supplied with 5 face pieces & 100 heads bags.

- Face mask should be 100% latex free & autoclavable at 134˚C

- Face mask should be designed for use with manual for automatic resuscitator & ventilator.

- Face mask size 0 A, 0 infant 2 – each 3x2 set

CPR MANIKIN FEATURES.

- Should have unique hygienic system protects the students from cross-infection, makes internal cleaning entirely unnecessary and facilitates the look-listen-feel concept.

- The stiffness of the chest should infinitely variable, allowing studentsto train on different body builds.

- Airways open only when head is correctly hyperextended-jawthrust possible.

- Should have carotid pulse which can be activated manually by the instructor.

- Should have mechanical monitoring instrument which gives you instant feedbackon ventilation volume, stomach inflation, chest compressiondepth in mm and wrong hand position.

- PC connection should be possible, allowing connection of CPR Software Kit, CPR Printer or USB Interface. (optional)