##### HLL LIFECARE LIMITED

AKKULAM  FACTORY,   SREEKARIAM  P.O.  THIRUVANANTHAPURAM - 17

Amendment to TENDER NOTICE

Sub: Renovation work: Civil & Electrical work, Gas Pipeline Works

at eight District wise designated Hospitals & three Medical Colleges

in Himachal Pradesh.

Ref:  c) IFB NO: HLL/AFT/TDG/HP-II/GAS LINE/2014-15/III

| Sl No | Original Tender Details | # Amended Tender Details |
| --- | --- | --- |
| 1 | Medical Gas Pipe line Work – Last date of submission of Bid documents further extended as: (c) IFB NO: HLL/AFT/TDG/HP-II/GAS LINE/2014-15/III) |  |
|  | a) Date of receipt of Bid is: 08/05/2014, 14.00 HRS b) Date of Opening of Technical Bid is: 08/05/2014, 14.30 HRS | a) Date of receipt of Bid is: 13/05/2014, 14.00 HRS b) Date of Opening of Technical Bid is: 13/05/2014, 14.30 HRS |
| 2 | # NOTE:- Last date of Receipt and Opening of Bid documents with respect to : a) Civil Work Tender No: IFB NO: HLL/AFT/TDG/HP-II/CIVIL/2014-15/I and b) Electrical work Tender No: IFB NO: HLL/AFT/TDG/HP-II/ELECTRICAL/2014-15/II remain same as 08/05/2014. |  |
| 3. | SECTION V: TECHNICAL SPECIFICATIONS & LIST OF REQUIREMENT 8. General Condition: Maintenance : All routine preventive maintenance and break-down maintenance of the liquid oxygen plant should be done by the vendor. Experienced personnel should be readily available. Log of all works undertaken in the plant should be meticulously maintained by the vendor. | SECTION V: TECHNICAL SPECIFICATIONS & LIST OF REQUIREMENT 8. General Condition: Maintenance : (Deleted) |
| 5 | LIST OF REQUIREMENT (For KNH, Shimla &IGMC, Shimla) 3) Distribution Copper Pipes 15X0.9 ( unit – mtrs ) 100X1100 | LIST OF REQUIREMENT (For KNH, Shimla &IGMC, Shimla) 3) Distribution Copper Pipes 15X0.9 ( unit – mtrs ). The approximate requirement to complete the work for each hospital is 100mtr. The grade shall be NE1057 or NE13348 |
| 6 | 4) Bed panel with electrical socket 2ft | Clarification to the Bidders :- 4) Bed head panel with 2 electrical socket and double-lock outlet for oxygen and air suction. No. of Gas outlets a)The total No. of outlets shall be as per following requirements KNH, Shimla: 4) Bed panel with electrical socket 2ft – 14 - IGMC, Shimla: 4) Bed panel with electrical socket 2ft – 12 valve box b)Valve box not required, since the facility not to be extended to other departments or rooms. |

All other terms and conditions in the original Tender Notice and tender documents remain same and unchanged.

JGM (Materials)