|  |  |  |
| --- | --- | --- |
|  | **Tendered Specification** | **Amendments** |
| 1 | “1no. Suction Regulator and 2nos. 4000ml polysulfone collection jar and both to be mounted on a trolley “mentioned in Portable suction unit of technical specification. | “1no. Suction Regulator and 2nos. 4000ml polysulfone /polycarbonate collection jar and both to be mounted on a trolley“mentioned in Portable suction unit of technical specification. |
| 2  | **Supply Installation Testing and Commissioning of Medical gas pipe line system at Govt Victoria Hospital, Kollam** Tender submission on 3.10.2013 at 3.00 pmOpening date on 4.10.2013 at 3.30 Pm | Tender submission on 7.10.2013 at 2.00 pmOpening date on 7.10.2013 at 3.30 Pm |

**Minutes of Pre bid meeting on 30.09.2013 at 11.30 am for the  tender for Supply, Installation, Testing, Commissioning of Medical Gas Pipe Line System at Trivandrum Medical College & the Supply Installation Testing and Commissioning of Medical gas pipe line system at Govt Victoria Hospital, Kollam**

There is no change in any other technical specification given in the tender document.

One of the bidders requested for some changes in the eligibility criteria. The same cannot be considered and the eligibility criteria remain as per the tender document. All the parties should meet the eligibility criteria and the technical specifications in the tender. The quoted amount should be inclusive of all taxes and duties .