TENDER   DOCUMENT FOR CIVIL, ELECTRICAL & INTERIOR WORKS AT LIFECARE CENTRE,

MEDICAL COLLEGE HOSPITAL, TRIVANDRUM

Tender No. HLL/HCS/CHO/2013-14/149/TEN-TVM-LCC dated 11-06-2013

HLL LIFECARE Ltd

CORPORATE AND REGD. OFFICE

HLL BHAVAN, POOJAPPURA

THIRUVANANTHAPURAM

0471-2354949, Ext. 325,326,289

CONTENTS

| SL No. | ITEM | Page No. |
| --- | --- | --- |
| 1 | Notice Inviting Tender | 3 |
| 2 | Terms and Conditions | 4 - 6 |
| 3 | Annexure A - Schedule | 7 - 13 |

NOTICE INVITING TENDER

Sub: Civil, Electrical & Interior work for Lifecare Centre at Medical College  Hospital, Trivandrum

Tender No. - HLL/HCS/CHO/2013-14/149/TEN-TVM-MCH dated 11-06-2013

HLL Lifecare Ltd, a Government of India Undertaking, invites sealed and super scribed quotation from interested contractors having minimum three years of experience in the relevant field for the work at Medical College Hospital, Trivandrum for our Lifecare Centre.

The estimated value of present purchase is around Rs. 8,95,093.00 (Rupees Eight lakh ninety five thousand  ninety three only )

Publishing date of bid: 11th June 2013.

Last date of submission (at the office of the Group Head (HCS), Corporate and Regd. Office, HLL Bhavan, Poojappura, Thiruvananthapuram): 25th  June  2013, 15.00 Hours.

Opening of bid: 25th June 2013, 15.30 Hours at HLL Lifecare Ltd, Poojappura Thiruvananthapuram)

Interested applicants can participate in the bid.

HLL reserves the right to accept or reject any application without assigning any reason or incurring any liability whatsoever. Prospective bidders are advised to regularly scan through HLL web site as corrigendum/amendments etc., if any, will be notified on the HLL web site and separate advertisement will not be made for this regard

GENERAL TERMS & CONDITIONS

- The estimated cost of the work is Rs.8,95,093.00 (Rupees eight lakhs ninety five   thousand ninety three only)

- Eligibility criteria:

  - Bidders should have executed satisfactorily at least one job preferably of similar kind and contract should be valuing not less than four lakhs during the last one year in satisfactory manner.

  - Bidders should have minimum two years experience in the relevant field.

Documental proof for the above eligibility criteria should be submitted along with offer.

- The schedule of quantities (ANNEXURE-A) is appended. Bidders are advised to go through the entire general terms and conditions of this contract carefully.

- Earnest money of Rs 18,000/-( Rupees eighteen thousand only) in the form of a Demand Draft of a scheduled bank issued in favor of HLL Lifecare LTD ,HLL Bhavan, Poojappura, Thiruvananthapuram, which should be placed in a separate sealed cover marked “Earnest Money” shall be submitted along with the tender.EMD of the unsuccessful bidders will be returned with in 15days from the date of issue of work order.The EMD of the successful bidder will be converted into security deposit.

- The filled & duly signed tender should be submitted to Group Head (HCS), Healthcare Service Division, HLL Lifecare Limited, HLL Bhavan, Poojappura, Thiruvananthapuram, PH- 0471-2354949 Ext. 325, 326, 289 on or before 25-06-2013 by 15.00 Hrs. The application shall be clearly marked “Tender for Civil, Electrical & Interior work at Lifecare Centre at Medical college  Hospital, Trivandrum”. The tender will be opened at 15.30Hrs on the same day itself in the presence of interested bidders or their authorized representatives who choose to attend at the time of opening of tender.

- The work shall be completed within 30 days from the date of receipt of Work Order or LOI

- The tender for the work shall remain open for acceptance for a period of 90days from the date of opening of tender.

- The contractor shall visit the site before quoting the rates and clarifications if any required can be had from the address mentioned above.

- Rates quoted should be inclusive of all cost of materials, Tools/Equipments labor charges, conveyance to site, handling charges, loading and unloading charges, hiring charges, clearing of debris, statutory payments etc.

- The Management reserves the right to accept or reject the Tender either partially or fully without assigning any reason what so ever.

- The work should be carried out without causing any inconvenience to the public and shall ensure that no damages are caused to the existing site premises.

- During the execution of work the contractor or authorized representative should be present at site.

- All Materials, Equipments/ Tools required for the work should be arranged by the contractor and brought to site for the timely completion of the work.

- The materials used shall be as per specification and of good quality.

- The Contractor has to arrange necessary insurance coverage for the machine, workmen etc. deployed by him. He shall arrange all safety measures to protect his workmen and also the properties of HLL.

- Security Deposit and Defect liability period: Security Deposit shall be recovered @ 5% of the contract value. The security deposit will be released after the defect liability period of one year. Statutory deductions like Income tax, work contract tax, service tax etc. as applicable will be deducted from the bill as per the rules of the company. The work site safety of all employees, their ESI, PF etc will have to be borne by the contractor.

- Taxes & Duties: The amounts quoted in the tender  shall be inclusive of all taxes and duties

- Penalty for delay: Penalty shall be imposed at 0.5% per week to a maximum of 7.5% of the contract value for any delay committed by the contractor in completing the work as per the order.

- Measurement & Payment terms: The method of measurement of completed work shall be in accordance with the standard measurement. Payment will be made on satisfactorily completion of work as per the order. Interim or running account bills shall be submitted by the contractor for the work executed on the basis of such recorded measurements in the format of HLL. All such interim payments shall be regarded as payment by way of advances against final payment only, and shall not preclude the requiring of bad, unsound and imperfect or unskilled work to be rejected, removed, taken away and reconstructed or re erected. Any certificate given by the officer  relating to the work done or materials delivered forming part of such payment, may be modified, or corrected by any subsequent such certificate(s) or by the final certificate and shall not by itself be conclusive evident that any work or material so which it relates is /are in accordance with the contract and certificate. Any such interim payment,/any part  there of shall not in any respect conclude, determine or affect in any way powers of the engineer in charge under the contract or any of such payment s be treated as final settlement and adjustment of accounts or in any way vary or affect the contract.

- Payment Schedule:   80% of the bill value will  be paid on submission of running account bills after effecting applicable  statutory and other deductions as per clause 16 and the remaining 20% will be paid on issue of Work Completion certificate by Engineer In Charge/Officer In Charge of HLL Lifecare Ltd  .The running account bills is to be submitted detailing the work description ,quantity and rate as per the Work Order and the number of running account bills submitted by the contractor shall not exceed 2 .

- The Quantity shown in the schedule is an approximate estimated quantity. No extra rate will be entertained if the quantity exceeds due to the site condition while executing the work.

- Final payment shall be paid only after clearing the site as per direction of Engineer-in-charge/ Officer in charge.

- Settlement of Dispute: Arbitration shall not be the means of settlement of dispute or claims or   anything on account of this Contract. If any disputes and difference arising out of the contract are to be settled by a civil court at Thiruvananthapuram.

For HLL Lifecare Ltd.

Group Head (HCS)

ANNEXURE-A

| ESTIMATE FOR THE CIVIL AND INTERIOR WORKS AT H L L LIFCARE OUTLET AT MEDICAL COLLEGE THIRUVANANTHAPURAM. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S. No. | Description | Unit | Quantity | Rate | Amount |
| 1 | Earth work excavation for foundation for the platform in front of the building with initial lead up to 30m, lift up to 1.50m and disposing the debris at contractor's expense.. | m3 | 1.10 |  |  |
| 2 | Earth filling inside the platform in front of the building with available earth at site and proper consolidation should be done. | m3 | 2.50 |  |  |
| 3 | Plain cement concrete in cement mortar 1:4:8 10cm thick for foundation including cost of all materials and labour charges. | m3 | 1.00 |  |  |
| 4 | 4"Hollow block masonry works for the platform in font of the building, for block pillars at proposed sales counter area in cement mortar 1:6 including cost of all materials and labour charges. | m2 | 18.72 |  |  |
| 5 | R. C. C work 1:2:4 for counter at sales area including form work. | m3 | 0.33 |  |  |
| 6 | Reinforcement for R. C. C work hold, bend, tied and placed in position including cost of all materials and labour charges. | kg | 25.00 |  |  |
| 7 | Plastering in cement mortar 1:5 for the platform in front of the building including cost of all materials and labour charges. | m2 | 54.00 |  |  |
| 8 | Granite counter top (Jet black of price Rs200/-) in cement mortar 1:5 for the sales counter including cost of all materials and labour charges. | m2 | 7.18 |  |  |
| 9 | Roofing with Aluminium trafford sheets 0.35mm thick over G I squire tube sections of 2.5"x1" for rafters, 1" G I B class round pipe for purlins, 2" B class round pipes for vertical support and painting with synthetic enamel two coats over metal primer one coat. | sft. | 750.00 |  |  |
| 10 | Supplying and fixing country wood (violet or pincoda) door(90cm x 210cm) frame of section 4"x 2.5" with paneled shutters of shutter frame section 5"x1.5" and 1"thick planks of approved design with 5" heavy duty stainless steel hinges - 5nos. 8" and 6" stainless steel heavy duty tower bolts, door closer of approved quality and make and Cylindrical locks of Godrej (range from Rs3000/- to 3500/- | m2 | 1.89 |  |  |
| 11 | Dismantling existing compound wall to provide new gate including removal of all debris. | m3 | 6.00 |  |  |
| 12 | Dismantling existing pharmacy counter of size- 375x 118x75 (brick masonry works and R. C. C slab), finishing the floor with vinyl 1 mm thick of approved colour and removal of all debris. | Sft | 500.00 |  |  |
| 13 | Removing existing aluminium partition cum counter, aluminium door at the office area and dismantling masonry structure below the counter including removal of all masonry debris, plastering the remaining portion and returning the aluminium sections to the owner. | LS |  |  |  |
| 14 | Removing existing aluminium windows, front M S door and dismantling masonry structure below the windows wherever necessary including removal of all masonry debris, finishing the masonry portions and returning the aluminium windows to the owner. | LS |  |  |  |
| 15 | Fully glazed partition made with Aluminium powder coated 20guage (of brown mat finish) frame work of size 5x2.50cm on vertical and horizontal sections with 6mm plain glass edge polished up to a height of 1.7m with two counter slide openings for sales counter . | m2 | 5.10 |  |  |
| 16 | Fully glazed partition made with Aluminium powder coated 20guage (of brown mat finish) frame work of size 10x5cm on vertical and horizontal sections with 6mm plain glass edge polished up to a height of 1.3m with one counter slide opening for sale purpose. Balance up to the ceiling made with double side laminated board.. | m2 | 5.00 |  |  |
| 17 | Removal and Re fixing two Aluminium doors of size 120x205cm, 100x205cm at front partition wall and at office including all accessories such as hinges, lock, door closer and labour charges.. | m2 | 4.50 |  |  |
| 18 | Supplying and providing door closer of approved quality and make for the entrance door. | no | 1.00 |  |  |
| 19 | Supplying and fixing Aluminium composite paneling on walls and pillars using Indal make 1.5"x 1" sections, 3mm aluminium composite sheets (Alstrong or Timex Bond Euro bond)of approved colour, Dowcorming 995 silicone gel, 789 weather proof silicone gel etc. including cost and conveyance of all materials and labour charges. | m2 | 11.00 |  |  |
| 20 | Providing and fixing of 6mm thick calcium silicate false ceiling of 18guage G I frame intermediate channels work at the distance of 120cm c/c and ceiling section work at the distance of 60cm c/c both ways strictly as per specification at the office area and at the counter sales area with all cut outs for spot lights, C F L fittings. | m2 | 13.00 |  |  |
| 21 | Sales counters made of 19mm marine grade plywood ( Noble or equel) on all exposed sides finished with 1mm laminate of approved colour. All exposed edges finished with country wood lipping of 1cm thick with paint finish matching with the colour of lamination and side finished with putty and in enamel paint of approved colour. Providing cable manager, C P U stand and keyboard tray using computer keyboard sliders (Ebco-Htds50) and storage spaces with shutters and drawers as per design. size 300x60x75 for two sales counters. | m2 | 2.10 |  |  |
| 22 | Sales counters made of 19mm marine grade plywood (Noble or equel) on all sides finished with 1mm laminate of approved colour on all exposed sides. All exposed edges finished with country wood lipping of 1cm thick with paint finish matching with the colour of lamination and side finished with putty and in enamel paint of approved colour. Providing cable manager, C P U stand and keyboard tray using computer keyboard sliders (Ebco-Htds50) and storage spaces with shutters and drawers as per design size 435x60x75 for one sales counter. | m2 | 2.25 |  |  |
| 23 | Low height storage unit made of 19mm marine grade plywood(Noble or Equel) of approved make for all the sides an partitions and 1mm laminate finish of approved colour for all exposed surfaces and inside with putty and enamel paint . The storage will have necessary shelves with racks, all ply edges with 6mm country wood (violet or pincode ) lipping with enamel finish, providing approved 4"S S handles, auto close hinges(Ebco)and Godrej make multipurpose locks on top provide Jet black granite edge polished placed over RCC counter. | m2 | 2.40 |  |  |
| 24 | Wall mounted office file storage shelves made of 19mm marine grade plywood(Noble or Equel) of approved make with putty and enamel paint to be match with the lamination .Provide necessary racks as per direction with16mm marine grade plywood of approved quality and make and autoclose hinged(Ebco) doors with 19mm Marine grade plywood with 4 mm plain glass enamel paint finish to be matched with the lamination or as per direction. Provide 4"S S handles as per direction. | m2 | 7.00 |  |  |
| 25 | Work station made of 19mm marine grade plywood(Noble or Equel) of approved make and quality on all sides, top finished with 1mm thick laminate of approved colour, all exposed edges of ply finished with 6mm thick country wood (violet or pincode ) lipping with enamel paint to be matched with the lamination and inside finished with putty and enamel paint. Providing one cable manager, C P U stand, keyboard tray using computer keyboard slider(Ebco- CKDS45), foot rest, pedestal unit with 3sets drawers and handle lock etc. as per direction. All drawers using 50mm length heavy duty telescopic sliders (EbcoHTDS50)as per direction. Overhead storage shelf using 19mm marine grade plywood with racks and shutters with 1mm thick lamination for all exposed surfaces and enamel paint of approved colour with putty inside . Provide 4"S S handles as per direction. Size- 110X60x75, overhead shelf- 110x35x75 | m2 | 5.00 |  |  |
| 26 | Providing and fixing of table in 19mm marine grade plywood(Noble or equal) of approved make and quality for verticals, sides and table top finished all expose surfaces with 1mm lamination as per direction and on all exposed edges of ply with 6mm country wood (violet or pincode ) lipping with paint finish to match with the lamination. all inner surfaces painted with putty and primer. the table should provided with necessary shelves with door(auto close hinges- ebco,3"s s handles of approved quality and design), drawer(slider- ebco),foot rest platform as per the direction. size- 150x60x75cm | no | 1.00 |  |  |
| 27 | Providing and fixing of side table in 19mm marine grade plywood (Noble or equal) of approved make and quality for top and sides 6mm plywood for back. providing shelves with 19mm marine grade plywood and 12mm thick sliding shutters fitted with Ebco make "c" channels (Ebco sliding cabinet shutter fittings aluminum rail code number SCFA 1 with top and bottom housings) inserted on top and bottom as per direction. top and front portion finished with 1mm laminate of approved colour and all exposed edges with 6mm country wood (violet or pincode ) lipping and enamel finish to match with the lamination and inside with putty and enamel finish. Size- 100x40x75cm | no | 1.00 |  |  |
| 28 | Supplying and providing open glass racks over the sales counters up to a height of 45cm-two numbers of length 300cm and 110cm with S S brackets o good quality with 8mm plain glass edge polished. | m2 | 1.85 |  |  |
| 29 | Covering door opening at office area with wooden frames of section5x2.5cm with 6mm marine grade plywood of approved make and quality fixed on both sides, finished with putty and plastic emulsion to match with the wall colour. | m2 | 2.10 |  |  |
| 30 | Supplying and assembling M S slotted angle rack (with storage up to a height of 2.45m. 3 rows including cost and conveyance of all materials and labour charges. | m2 | 18.00 |  |  |
| 31 | Fabricating and Supplying front gate with 2" B class G I pipe(Kalinga) outer section and G I sheet 20guage and all other to be matched with the existing gate . Finishing with two coat metal primer and enamel paint. | sft | 45.00 |  |  |
| 32 | Water proofing treatment over the roof slab and over the sheet roof including re- place of roofing sheet if necessary. | LS |  |  |  |
| 33 | Supplying and fixing Rolling shutter of standard specification at the front counter enamel painting of approved colour over one coat of metal primer including cost of all materials and labour charges. | m2 | 7.50 |  |  |
| 34 | Re- placing the existing two shelf at the store including hardware and labour charges to re- fix. | no | 2.00 |  |  |
| 35 | Rubble masonry pillars two numbers, fixing 12' gate at the entrance and finishing the pillars same as the existing compound wall. | m3 | 1.60 |  |  |
| 36 | Supplying and fixing 1.50T split A/C of Bluestar/carrier/voltas with stabiliser(Vguard) with all necessary fixtures and labour charges. | no | 4.00 |  |  |
| 37 | Electrical works such as 3 ceiling fittings (WIPRO)at the office area and re- placing the existing ceiling fittings removed from office area to the sales area. Provide 3 nos 5A plug points (Ellee), one telephone point and one network cable (CAT -6 of Havells)connection on 3 workstation, one at manager cabin and at the 3 sales counters, with necessary electrical points for 4 A/C points with necessary switches (Elle)MCBs(Havells), existing ceiling fans to be re- located and three new ceiling fans or wall mounted fans(Crompton Grieve)to be provided, All necessary wirings, light points and Miniature circuit breakers to be provided as per the direction. |  | LS |  |  |
| 38 | Painting inside walls with premium emulsion of approved quality and colour two coats including cost of all materials and labour charges. | m2 | 72.00 |  |  |
| 39 | Painting External walls with Weather proof exterior emulsion of approved quality and colour two coats including cost of all materials and labour charges. | m2 | 120.00 |  |  |
| 40 | Revolving Chair | Nos. | 2.00 |  |  |
| 41 | Non Revolving chair | Nos. | 2.00 |  |  |
| 42 | Water Purifier Dispenser (With hot & cold water option) | Nos. | 1.00 |  |  |
| 43 | Vacuum Cleaner (with Wet and Dry options) | Nos. | 1.00 |  |  |
| 44 | Laying the front yard unit interlocking tiles of approved size and colour on a bed of 6 mm metal not less than 50 mm thick, including cost of all materials, earth leveling compacting, concrete locking at the edges etc. complete | m2 | 70 |  |  |
|  | Total Amount (In Figures) |  |  |  |  |
|  | Total Amount (In Words) |  |  |  |  |

Place                                          Signature of the Bidder

Date                                            Name of the Bidder