Ref:  Tender No. HLL/CHO/HCS/PROJ/2014-15/002 dated 05-08-2014

The following amendments have been incorporated to the bid document for the above tender - TENDER   DOCUMENT FOR CIVIL, ELECTRICAL & INTERIOR WORKS AT LIFECARE CENTRE, REGIONAL INSTITUTE OF OPHTHALMOLOGY (RIO), TRIVANDRUM, KERALA.

FOR

- General Terms & Condition Point No: 2

The schedule of quantities (ANNEXURE-A) is appended. Bidders are advised to go through the entire general terms and conditions of this contract carefully.

MAY BE READ AS

- General Terms & Condition Point No: 2

The schedule of quantities (ANNEXURE-A and ANNEXURE B) is appended. Bidders are advised to go through the entire general terms and conditions of this contract carefully.

- General Terms & Condition Point No: 5

The works shall be completed within 30 days from the date of receipt of work order or LOI.

MAY BE READ AS

- General Terms & Condition Point No: 5

The works shall be completed within 45 days from the date of receipt of work order or LOI.

- Annexure B is attached along with Amendment 2. The Grand total will be the sum of Annexure A plus Annexure B

All other terms and conditions remain same as per the original tender no HLL/CHO/HCS/PROJ/2014-15/002 dated 05-08-2014

ANNEXURE – B

| Sl.No | Description | Unit | Qty | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required. | Each | 40 |  |  |
| 2 | Wiring for circuit/submain wiring along with earth wire with the following sizes of FRLC PVC insulated copper conductor, single core cable in surface medium class PVC conduit as required. |  |  |  |  |
| 2.1 | 2 x 1.5 sq.mm + 1 x 1.5 sq.mm earth wire | m | 100 |  |  |
| 2.2 | 2 x 2.5 sq.mm + 1 x 2.5 sq mm earth wire | m | 200 |  |  |
| 2.3 | 2 x 4 sq.mm + 1 x 4 sq mm earth wire | m | 75 |  |  |
| 2.4 | 4 x 6 sq. mm + 2 x 6sq. mm earth wire | m | 100 |  |  |
| 3 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface / recess including cutting the wall and making good the same in case of recessed conduit as required. |  |  |  |  |
| 3.1 | 20 mm | m | 100 |  |  |
| 4 | Supplying and drawing 2 pair 0.5 sq mm FR PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. |  |  |  |  |
| 4.1 | 2 Pair | m | 50 |  |  |
| 5 | Supplying and fixing following modular socket outlet on the existing modular plate & switch box including connections but excluding modular plate etc. as required. |  |  |  |  |
| 5.1 | Telephone socket outlet | Each | 2 |  |  |
| 6 | Supplying and fixing stepped type electronic fan regulator-modular on the existing modular plate switch box including connections but excluding modular plate etc. as required. | Each | 8 |  |  |
| 7 | Supply and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | Each | 10 |  |  |
| 8 | Supplying and fixing following size / modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. |  |  |  |  |
| 8.1 | 1 or 2 module | Each | 2 |  |  |
| 9 | Supplying and fixing suitable size GI / PVC box with modular plate and cover in front on surface or in recess, furniture including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | Each | 10 |  |  |
| 10 | Supplying and fixing suitable size GI / PVC box with modular plate and cover in front on surface or in recess, furniture including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | Each | 4 |  |  |
| 11 | Supplying and fixing 3 pin, 5 amp ceiling rose on the existing junction box/ wooden block including connection etc as required. | Each | 10 |  |  |
| 12 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, false ceiling with chain and hook including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | Each | 17 |  |  |
| 13 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | Each | 4 |  |  |
| 14 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc as required upto 450mm sweep | Each | 2 |  |  |
| 15 | Supplying and drawing of UTP 4 pair CAT6 LAN cable in the existing surface / recessed steel / PVC conduit as required. | per m | 50 |  |  |
| 16 | Supplying and fixing following way prewired TP&N MCB distribution board of steel sheet for 415 volts on surface/ recess complete with loose wire box, terminal connectors for all incoming and outgoing circuits, duly prewired with suitable size FRLS PVC insulated copper conductor up to terminal blocks, tinned copper bus bar, neutral link, earth bar, din bar, detachable gland plate, interconnections, powder painted including earthing etc. as required.(But without MCB/ RCCB/ Isolator) |  |  |  |  |
| 16.1 | 4 way, Double door | Each | 1 |  |  |
| 17 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. |  |  |  |  |
| 17.1 | Single pole | Each | 10 |  |  |
| 18 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | Each | 2 |  |  |
| 19 | Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. |  |  |  |  |
| 19.1 | 40 amps | Each | 1 |  |  |
| 20 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current upto 300 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. |  |  |  |  |
| 20.1 | 40 amps | Each | 1 |  |  |
| 21 | Earthing with GI earth pipe 4.5m long, 40mm dia including accessories, and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc with charcoal / coke and salt as required. | Each | 2 |  |  |
| 22 | Supplying and laying 8 SWG GI wire at 0.5m below ground level for conductor earth electrode, including connection / termination with GI thimble etc as required. | m | 20 |  |  |
| 23 | Providing and fixing 8 SWG dia G.I. wire on surface or in recess for loop earthing as required. | m | 20 |  |  |
| 24 | Supply, installation, testing and commissioing of outdoor 3 phase direct reading energymeter board made of SMC / Polycarbonate for wall mounting, including internal wiring with suitable size wire. The meter board shall include supply and installation of following switchgear, metering instruments and with all required accessories as per statutory requirments. 3 phase direct reading energy meter as per the requirment of KSEB with all connections, glass view panel, lockable compartment etc.3 nos 63A rewireable type baklite fuse unit with 1 no. Neutral link if required as per statutory 1 no. 40A, FP, C curve, 415V, MCB | Each | 1 |  |  |
| 25 | Supply of 28 W T5 surface mounted fluorescent luminarire CRCA sheet steel box type fitting with electronic ballast (THD less than 10%) with 28W T5 lamp with all accessories complete. (Philips TMS 122M IxTL5-28W EBE / GE GET CI 1x28 C/s HF / Crompton T5JB1328EB) | Each | 10 |  |  |
| 26 | Supply and installation of recess mounted 4x14W light fixture, complete with all accessories like electronic ballast (THD less than 10%) , 14W lamps etc complete with suitable length chain, anchor fastner, hook etc for the proper installation. (TBS 869 4xTL5-14W EBP D8 / GE SOC 414 / Crompton T5CQS11414EBB). | Each | 8 |  |  |
| 27 | Supply of 18W surface mounted fluorescent luminarire CRCA sheet steel box type fitting with electronic ballast (THD less than 10%) with 18W lamp with all accessories complete. (Philips TMS 520/118 / GE LMS 14 DN / Crompton T5JB13114EB) | No | 3 |  |  |
| 28 | Supply and installation of 28W T5 lamp with all accessories like lamp holder, electronic ballast, lamp, interconnecting wires etc complete with all accessories for proviging light inside the cupboard for placing opticals. (Philips TMS 095xTL5-28W / Equi) | Each | 8 |  |  |
| 29 | Supply of ceiling fan 1200 mm sweep,230V,1Ph, complete with double ball bearing, motor blades, down rods, canopy, capacitor etc complete as required. (Crompton Riviera / Usha Maxx Air / Khaitan Newtec) | Each | 4 |  |  |
| 30 | Supply and installation of Decorative Wall fan 400 mm sweep, 230V.1Ph, complete with Openable mesh Cover ,string Operated etc as required. (Crompton WM Wind Flo / Usha Helix high speed / Khaitan Merlin Hi speed) | Each | 3 |  |  |
| 31 | Supply of 300 mm dia medium duty Industrial type exhaust fan complete with louvers and cable from ceiling rose / connector to fan. (Usha Turbo Hi speed / Crompton Driffair / Khaitan Euro Metal). | No | 2 |  |  |
| 32 | Supply & fixing modular type computer outlet (RJ-45) with modular base and cover plate, GI box complete with all accessories, connection etc. complete as required. | Each | 2 |  |  |
| 33 | Preparation and submission of drawings, applications to KSEB for service connection, power allocation, sanction and energising of the installation complete Including providing necessary assistance to the client for obtaining sanctions. | Job | 1 |  |  |
| 34 | Supply, installation, testing and commissioning of High Wall mounted Split Air Conditioner of capacity 1.5TR 4 star rated as per BEE consisting of high wall mounted type room unit (fan coil) with cordless remote control and one number outdoor condensing unit comprising of enegy efficient suitable rotary compressor for operation on single phase, 230 V, 50Hz supply, with 5 years warrenty with copper coils, fixing the outdoor unit on a raised platform as per manufacturers recommendation and fixing of room (fan coil) unit on wall, incl 5m distance refrigerant copper piping with 13mm nitrile rubber insulation, providing and making interconnection between room & condenser as per site conditions, comprising of 1" dia drain PVC pipe with insulation 2m, canvas connections, full electrical & control cabling from power plug near indoor unit and to outdoor unit, first charge refrigarant gas, suitable stabilizer etc ODU MS Stand complete as required. | Nos | 1 |  |  |
| 35 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 5.00 | m3 |  |  |
| 36 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). For flooring concrete | 7.00 | m3 |  |  |
| 37 | Steel work in built up tubular ( round, square or rectangular hollow tubes etc.) trusses etc. including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. (Use dismantled truss) | 650.00 | kg |  |  |
| 38 | Providing corrugated G.S. sheet roofing including vertical/curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead and including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces) excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. (Provide dismantled sheets) | 45.00 | m2 |  |  |
| 39 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20mm nominal size) upto plinth level with : Cement mortar 1:6 (1 cement : 6 coarse sand). | 4.00 | m3 |  |  |
| 40 | Centering and shuttering including strutting, propping etc. and removal of form for : footings | 12.00 | m2 |  |  |
| 41 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand) | 54.00 | m2 |  |  |
| 42 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work. For steel works | 20.00 | m2 |  |  |
|  | Annexure B - TOTAL AMOUNT (in figures) |  |  |  |  |
|  | Annexure B - TOTAL AMOUNT (in words) |  |  |  |  |
|  | GRAND TOTAL (In figures Sum of Annexure A + Sum of Annexure B) |  |  |  |  |
|  | GRAND TOTAL (In words Sum of Annexure A + Sum of Annexure B) |  |  |  |  |