TENDER FOR SUPPLY, INSTALLATION, TESTING, VALIDATION AND COMMISSIONING

OF

350 TR TWIN TYPE COOLING TOWER

IFB No: HLL/AFT/PUR/COOLING TOWER/2013-2014

TECHNICAL BID

##### HLL LIFECARE LIMITED

(A GOVT. OF INDIA ENTERPRISE)

AKKULAM  FACTORY, SREEKARIYAM  P.O.

THIRUVANANTHAPURAM – 695 017

Phone: +91 471 244 5930, Fax : +91 471 244 5935

Email: materialsaft@lifecarehll.com

Web: www.lifecarehll.com

HLL LIFECARE LTD

(A GOVERNEMENT OF INDIA ENTERPRISE)

TWO BID SYSTEM

1) ELEGEBILITY CRITERIA

a) Minimum 5 years of experience in the relevant field.

b) Tender should have executed satisfactorily at least 3 jobs, of these one with minimum rating of 350 TR and two with 150 TR Twin Type Cooling Tower during the last 5 years (copy of work order and completion certificate should be attached along with offer)

c) List of major customers with rating of cooling tower supplied shall also be attached with offer.

HLL LIFECARE LTD (HLL) invites quotations in Two Bid Supply Comprising sealed and super scribed Technical and Price bids are invited from competent and experienced suppliers who are capable to do the below mentioned work successfully meeting our requirements.

| Sl. No. | Brief Description of Equipment(s) and/or work | Qty in Nos | EMD Amount in Rs |
| --- | --- | --- | --- |
| 1 | Supply, installation, testing, validation and commissioning of 1 No. nominal capacity of Twin Cell 350TR complete with FRP type and all accessories as mentioned in the schedule. | 1 Nos | Rs. 10,000 |

2. A complete set of bid documents can be had from the office of the Joint General Manager (Manager), HLL LIFECARE LTD, Akkulam,Sreekariyam (P.O), Thiruvananthapuram - 695017 during office hours on any working day on submission of a written application.

3. The bid documents will be available up to 15.00 Hrs. on the previous working day of the opening of the bids.

4. The scheduled date for issue, receipt and opening of bids is as follows.

a) Date of issue of tender document      	- 25th January 2014 onwards.

b) Last date and time for receipt of bids	- 5th February 2014 up to 15.00 Hrs.

c) Date and time of opening of bids     	- 5th February 2014 15.30 Hrs.

5.  Address for communication, receipt and Place of opening of bids.

JOINT GENERAL MANAGER (MATERIALS),

HLL LIFECARE LTD

AKKULAM,SREEKARIYAM (P.O),

THIRUVANANTHAPURAM – 695 017

6. The completed bid documents and all schedules should be submitted to Joint General Manager (Materials), in the above address along with sealed bids and the EMD. Bids received after due date and time will be rejected. Any bid not accompanied by EMD will be rejected.

7. Bids will be opened in the presence of Bidders representative(s) who choose to attend on the specified date and time, at the office of HLL at the address given in Clause 4 above.

8. In the event of the date specified for bid receipt and opening being declared as a closed holiday for HLL’s office, the due date for submission of bids and opening of bids will be the following working day at the appointed times.

9. HLL may, at its discretion, extend this deadline for submission of bids by amending the Bid Documents or any other reasons, in which case all rights and obligations of the HLL and Bidders previously subject to the deadline will thereafter be subject to the deadline as extended. HLL will not be held responsible for the postal delay, if any, in the delivery of the bidding document or the non-receipt of the same. Bids sent by Telex/Fax/Telegraph will not be accepted. The company reserves the right to club or split the items of works, change the qualifying criteria at their discretion and to reject or cancel the tender without assigning any reason there of.

JOINT GENERAL MANAGER (MATERIALS)

CONTENTS

| Schedule | Description | PAGE NOS |
| --- | --- | --- |
| Schedule I | Conditions of Bid | 4- 10 |
| Schedule II | Detailed specification of Cooling Tower | 11-15 |
| Schedule III | Recommended makes of Equipment/ Material | 16 |
| Schedule IV | Conditions of Contract | 17-23 |
| Schedule V | Acceptance Form | 24 |
| Schedule VI | Price Bid Schedule | 26-27 |
| Schedule VII | Manufactures Authorization Form | 28 |
| Schedule VIII | Contract Forms | 29-30 |
| Schedule IX | Annexure (I – IV) | 31-35 |

SCHEDULE I

### CONDITIONS OF BID

- DEFINITIONS

In this Contract, the following words and expressions shall have the meanings as stated below:

  - “INVITATION FOR BID” shall mean and include the present document, and such other complements and agenda, which may subsequently be issued in this connection.

  - “BIDDER” shall mean the person, firm of Corporation submitting a bid against this invitation for bid and shall also include his authorized agents and representatives.

  - “OWNER” or “PURCHASER” shall mean HLL LIFECARE LTD (HLL), Thiruvananthapuram or its units thereof.

  - `ENGINEER-IN-CHARGE'‚ shall mean the Engineer appointed by the Owner to supervise all the activities of the project.

  - `TENDERER'‚ shall mean the company/agency who quotes against the tender enquiry for undertaking the work.

  - `CONTRACTOR' or ‘SUPPLIER’‚ shall   mean the   successful   bidder whose tender has been accepted by the Owner and to whom the order is placed by the Owner and shall include his heirs, legal representatives, successors etc.

  - `SITE'‚ shall mean the actual place i.e. HLL LIFECARE LTD, Akkulam Factory, Thiruvananthapuram where the project is to be executed.

  - `PROJECT'‚ shall mean entire work specified in the contract documents inclusive of extra items/ extra quantities (if any) executed during the contract period.

  - `ACCEPTANCE LETTER'‚ shall mean written consent by a letter of Owner to the bidder intimating him that his tender has been accepted.

  - `CONTRACT'‚ shall mean the articles of Contract Agreement, the Conditions of Contract, Schedule   of   Quantities, Technical Specifications, Drawings attached and duly signed by   the Owner and the Contractor.

  - “THE CONTRACT PRICE” means the price payable to the supplier under the contract for the full and proper performance of its contractual obligations.

  - “THE GOODS/EQUIPMENTS” means all of the equipments, machinery and/or other materials, which the Supplier is required to supply to the Purchaser under the contract.

  - `COMPLETION CERTIFICATE'‚ shall mean the certificate issued by   the Owner to the   Contractor   after    successful completion of the project. This   certificate will be issued on the basis of Consultant's certificate to Owner about   the completion of the job.

  - 'EXTRA ITEMS'‚ are those items, which are not appearing in the Schedule of Items but required to be executed during the project period and for which rates are to be derived as per the formula given in the conditions of contract.

  - “PERFORMANCE OF THE CONTRACT” means successful completion of the contract.

- BID INFORMATION AND PERIOD OF VALIDITY

  - The Bid must include the following: -

  - Enquiry No./IFB No.

  - Earnest Money Deposit.

  - All the details and documents mentioned in the Bid.

  - Promised Delivery and Completion Time (whichever is applicable) for each item and/or work as per Schedule II.

  - Certificate that bid is in total conformity with the specifications and terms and conditions mentioned in the bid document and if not, list of exclusions, and/or exceptions.

  - All information requested in the specifications, dimensional drawings, technical literature describing the makes of the item offered, material etc., as specified in the bid document.

  - A priced, recommended spare parts list for two-year operations.

  - All other documents/certificate/information as specified in the bid document.

  - Prices indicated on the price schedule shall be entered separately in the format attached in the document.

  - The bidder’s separation of the price components in accordance with clause above will be solely for the purpose of facilitating the comparison of bids by the purchaser and will not in any way limit the purchaser’s right to contract on any of the terms offered.

  - Prices quoted by the bidder shall be fixed during the bidder’s performance of the contract and not subject to variation on any account. A bid submitted with an adjustable price quotation will be treated as non-responsive and rejected.

  - Bidder must quote for unit price and total price based on the requirement shown in the bid document.

2.6 The bid shall remain valid for 90 days after the date of bid opening prescribed by the purchaser.

- FORMAT AND SIGNING OF BID

3.1 The Bidder is expected to examine all instructions, forms, terms and specifications in the Bid Documents.  Failure to furnish all information required by the Bid Documents or submission of a bid not substantially responsive to the Bid Documents in every respect will be at the Bidder’s risk and may result in rejection of its bid.

3.2 The Bidder shall bear all costs associated with the preparation and submission of its bid, and the Purchaser will in no case be responsible or liable for these costs, regardless of the conduct or outcome of the bidding process.

3.3 The person or persons signing the bid shall sign on all pages of the bid, except for un-amended printed literature.

3.4 The Bid prepared by the Bidder and all correspondence and documents relating to the Bid exchanged by the Bidder and the Purchaser shall be written in English.

3.5 The bid shall contain no interlineations, erasures or overwriting except as necessary to correct errors made by the Bidder, in which case such corrections shall be signed by the person or persons signing the bid.

- SUBMISSION OF BIDS

Sealing and Marking of Bids

  - The Bidder shall seal the original and each copy of the bid in an inner and then in an outer envelope, duly marked the envelopes as “original” and  “copy”.

4.2	The inner and outer envelopes shall be: -

(a)	Addressed to the Purchaser in the following address and

JOINT GENERAL MANAGER (MATERIALS),

HLL LIFECARE LTD

AKKULAM, SREEKARIYAM (P.O),

THIRUVANANTHAPURAM – 695 017

KERALA, INDIA

(b)	Bear the Enquiry No, closing date and General description of item tendered, and the words “DO NOT OPEN BEFORE” 15.30 Hrs (IST) on 5th February 2014 (Indicate the Closing Date).

4.3 The inner envelopes shall indicate the name and address of the Bidder.  If the outer envelope is not sealed and marked as indicated above, the Purchaser will assume no responsibility for the bid’s misplacement or premature opening.

4.4 Bids should be hand delivered or sent by courier/mail to ensure timely arrival.  Telex, cable, e-mail or facsimile bids will be rejected.

Deadline for submission of Bids

4.5 The bids will be received by the Purchaser in the following address not later than the date and time specified in the Invitation for Bids.

JOINT GENERAL MANAGER (MATERIALS),

HLL LIFECARE LTD

AKKULAM,SREEKARIYAM (P.O),

THIRUVANANTHAPURAM – 695 017

KERALA, INDIA

In the event of the specified date for submission of Bids being declared a holiday for the Purchaser, the bids will be received up to the appointed time on the next working day.

4.6 The purchaser may, at its discretion, extend this deadline for submission of bids by amending the Bid Documents or any other reasons in which case all rights and obligations of the Purchaser and Bidders previously subject to the deadline will thereafter be subject to the deadline as extended.

4.7 It is the responsibility of the bidders to see that the completed bid documents whether sent by post or by courier or by person are received in the office of Deputy General Manager (Commercial), in the above address by the date and time stipulated for receipt as above failing which the bid would be considered late and rejected. Purchaser will not be held responsible for the postal delay, if any, in the delivery of the bid document or the non-receipt of the same. Bids received after due date and time will be rejected.   Mere handing over of the bid documents at reception counter or at any other counter or room or person cannot be considered as submission of bid.

- CLARIFICATION OF BID DOCUMENTS

A prospective Bidder requiring any clarification of the Bid Documents may notify the Purchaser in writing, or by fax at the purchasers mailing address indicated in the Invitation for Bids. The Purchaser will respond in writing to any request for clarification of Bid Documents, which it receives not later than 7 days prior to the deadline for submission of Bids prescribed by the Purchaser.

- AMENDMENT OF BID DOCUMENTS

6.1 At any time prior to the deadline for submission of bids, the Purchaser may, for any reason, modify the Bid Documents by amendment.

6.2 The amendment will be notified in writing or fax or telegram or e-mail to all prospective Bidders, which have received the Bid Documents and will be binding on them.

6.3 In order to afford prospective Bidders reasonable time in which to take the amendment into account in preparing their bid, the Purchaser may, at its discretion, extend the deadline for the submission of bids.

- BID OPENING BY PURCHASER

  - The Purchaser will open the bids, in the presence of the bidders’ representatives who choose to attend, at the date and time specified and in the location given in this document.  The Bidders’ representatives who are present shall sign a register evidencing their attendance. In the event of the specified date of bid opening being declared a holiday for the Purchaser, the bids shall be opened at the appointed time and location on the next working day.

  - The Bidders’ names and such other details as the Purchaser, at its discretion, may consider appropriate will be announced at the opening.

  - The Purchaser will prepare appropriate bid opening register and the same shall be signed by each of the bidders present during the opening of the bids and the Purchaser.

- CLARIFICATION OF BIDS

To assist in the examination, evaluation and comparison of bids, the purchaser may, at its discretion, ask the bidder for clarifications of its bid.  The request for clarification and the response shall be in writing and no change in the price or substance of the bid shall be sought, offered or permitted.

- PRELIMINARY EXAMINATION

9.1 The purchaser will examine the bids to determine whether they are complete, whether any computational errors have been made, whether the documents have been properly signed, whether the bid validity is as required and whether the bids are generally in order.

9.2 Arithmetical errors will be rectified on the following basis. If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be calculated.  If there is a discrepancy between the words and figures, the amount in words shall prevail.

9.3 Prior to the detailed evaluation, the purchaser will determine the substantial responsiveness of each bid to the bidding documents. For purposes of these clauses, a substantially responsive bid is one that conforms to specifications and all the terms and conditions of the bid documents without material deviation. The purchaser’s determination of a bid’s responsiveness is to be based on the contents of the bid itself without recourse to extrinsic evidence.

9.4 A bid determined as not substantially responsive will be rejected by the purchaser and may not subsequently be made responsive by the bidder by correction of the non-conformity.

9.5 The purchaser may waive any minor informality or non-conformity or irregularity in a bid, which does not constitute a material deviation, provided such waiver does not prejudice or affect the relative ranking of any bidder.

  - The purchaser’s determination as to the substantial responsiveness or otherwise of each bid or consideration of a minor informality or non-conformity or irregularity is final and conclusive.

- EVALUATION AND COMPARISON OF BIDS.

  - The purchaser will technically evaluate all bids previously determined to be responsive and compare the bids previously determined to be substantially responsive and technically acceptable.

- POST – QUALIFICATION

  - Notwithstanding the qualification requirements given in this document, the Purchaser will determine to its satisfaction whether the Bidder selected as having submitted the lowest evaluated responsive bid is qualified to satisfactorily perform the Contract.

  - The determination will take into account the Bidder’s financial, technical and production capabilities.  It will be based upon an examination of the documentary evidence of the Bidder’s qualifications submitted by the Bidder, as well as such other information as the Purchaser deems necessary and appropriate.

  - The Purchaser reserves the right to negotiate with the lowest evaluated responsive bidder.

  - An affirmative determination will be a prerequisite for award of the Contract to the Bidder.  A negative determination will result in rejection of the Bidder’s bid, in which event the Purchaser will proceed to the next lowest evaluated bid to make a similar determination of that bidder’s capabilities to perform satisfactorily.

  - Conditional Bids shall not be entertained.

- AWARD CRITERIA

The Purchaser will award the Contract to the successful Bidder whose bid has been determined to be substantially responsive and has been determined as the lowest evaluated bid provided further that the Bidder is determined to be qualified to perform the Contract satisfactorily for the items offered.

- NOTIFICATION OF AWARD

  - Prior to the expiration of the period of bid validity, the purchaser will notify the successful Bidder in writing by or cable or telex or fax, to be confirmed in writing by post, that its bid has been accepted. The notification of award may be sent in the form of Letter of Intend and/or Work order.

  - The signed acceptance of the notification of award by the Supplier will constitute a concluded contract.

- EARNEST MONEY DEPOSIT

14.1 Each bid must be accompanied by E.M.D.

14.2 The EMD is required to protect the Owner against risk of Bidder’s conduct, which would warrant the security’s forfeiture

- The EMD shall be in the form of Demand Draft from a nationalized bank drawn in favour of HLL LIFECARE LTD, Akkulam ,Sreekariyam payable at Thiruvananthapuram.

- E.M.D. of the unsuccessful bidders will be released after tabulating tenders, keeping only the earnest money of the first three lowest bidders. The earnest money deposit of the remaining two unsuccessful bidders will be released after the acceptance of the notification of award by the successful bidder.

c. In the case of successful bidder, the Earnest Money will be returned after signing the agreement and submission of Demand Draft towards Security Deposit, which they will have to offer for the faithful execution of the contract.

14.3	The EMD may be forfeited:

(a) If a Bidder withdraws its bid during the period of bid validity specified by the    Bidder on the Bid Document; or

(b) In case of the successful Bidder, if the Bidder fails:

(i) to sign the agreement.

(ii) to furnish security deposit.

(iii) does not accept the correction of his bid price pointed out by the HLL

SCHEDULE II

DETAILED SPECIFICATION OF 350 TR TWIN TYPE COOLING TOWER

### The scope of work includes the following.

1.0 Supply of 1 no of 350 TR (2 cells)  700 USGPM (per Cell) Cross flow, Induced draft, square type, top throw and Double inlet Twin Cell unit type cooling tower. The work includes Design, Supply, Installation, Testing,Validation and Commissioning of Cooling Tower at site as per CTI Standard No. ATC-105.

- Detailed technical specification

| Sl No. | Description | Specification |
| --- | --- | --- |
| 1 | Design |  |
| 1.1 | Type | Cross flow, Induced draft, square type, top throw and Double inlet FRP type cooling tower. |
| 1.2 | Capacity | 700 USGPM per cell |
| 1.3 | Application | Cooling the Condenser water of refrigeration units |
| 1.4 | Hot water temperature | 99º F (37.2 Deg.C) |
| 1.5 | Cold water temperature | 90º F (32.2 Deg. C) |
| 1.6 | Wet bulb temperature | 82º F (27.8 Deg. C) |
| 1.7 | Material |  |
|  | a. Framework | FRP |
|  | b. Casing & Louvres | Poly Vinyl chloride (PVC) |
|  | c. Fan Cylinder | FRP/HDG Steel |
|  | d. Fill | Virgin Poly Vinyl Chloride |
|  | e. Drift Eliminators | Poly Vinyl Chloride |
|  | f. Fan Hub | Cast Iron |
|  | g. Fan Blades | FRP/ Cast Aluminum alloy |
| 2.0 | Air inlet |  |
| 2.1 | Number of fan | (Dynamically balanced) One/Cell |
| 2.2 | Hub material | HDG steel |
| 2.3 | Shaft material | EN-8 |
| 3 | Fan Motor | 3 Phase, 415 Volts, 50 Hz, TEFC, EFF1, Induction Motor. The rating of the minimum and optimal. |
| 4 | Drive | Gearbox driven by propeller shaft |
| 5 | Hardware materials | All the hardware items like tie rod, bolts, nut etc were treated by hot dipped galvanized. |
| 6 | Tower size | Optimum- 5000-6000 mm (L) X 2500-3000 mm (W) X 4000-5000mm (H)) |

# COOLING TOWER

  - Basin & Casing

The basin and casing shall be supported by heavy gauge Cold Rolled section hot –dip Galvanized Steel for long life. Standard accessories shall include overflow, drain stainless steel strainers and brass make-up valve with plastic float. The casing and Basin shall be made out of FRP with both sides Gel coated for smoothness from inside and pigmented from outside.

2.2 Axial Fans

Fans shall be heavy-duty axial type statically and dynamically balanced one. The fans constructed of hollow extruded aluminium alloy blades, installed in a closely fitted cowl with venturi air inlet.  Fan screens shall be galvanized steel mesh and frame, bolted to the fan cowl.

2.3 Fan Motor

Suitable capacity totally enclosed fan cooled energy efficiency (Eff-1) fan motor with 1.1 service factor suitable for outdoor service on 415 volts, 50c/s and 3 phase AC supply. The Fan Motor shall be high efficiency.

  - Fill

The Cooling Tower Fill shall be of virgin PVC of cross-fluted design for optimum heat transfer and efficiency.  The cross fluted sheets shall be bonded together and the edges double folded for strength and durability.  The PVC fill shall be resistant to rot decay, or biological attack.

2.5 Water Distribution System

The spray header and branches shall be constructed of Heavy duty, corrosion resistance and shall have a steel connection to attach the external piping.  The piping shall be removable for cleaning purposes.  The water shall be distributed over the fill by precision molded ABS spray nozzles with large orifice openings to eliminate clopping.

2.6 Eliminators

The eliminators shall be constructed entirely of inert polyvinyl chloride in easily handled sections.  The eliminator design shall incorporate two changes in air direction to assure complete removal of all entrained moisture from the discharge air stream.  Maximum drift rate shall be less than 0.005% of the circulating water rate.

2.7 Louvers

The louvers shall be constructed from polyvinyl chloride.  The louvers shall be mounted in easily removable frames for access to the Basin for maintenance.  The louvers shall be suitable angled and spaced to prevent splash out and block direct sunlight.

2.8 Finish

All Basin and casing materials will be 2 side finished in standard colour with NPG, UV stabilizer gel coat.

2.9 Access Ladder

GI Ladder of formed/Rolled channels, size greater that 2.4M wide shall be provided with platform for easy access to Fan Motor.

3.0 Submission of Drawings & Design Calculations.

The cooling tower shall be designed, tested and certified in accordance with the 2009 IBC and ASCE/ SEI 7-05. The unit shall be suitable for application with 0.76g with a Component Importance Factor (Ip) of 1.5. The unit shall be certified by the manufacturer as functional following an earthquake. The certification shall be based either on full scale shake table testing conducted in accordance with ICC-ES Acceptance Criteria AC156, or by analysis.

The following technical data shall be submitted along with other:

a. Detailed technical data of Cooling Tower, fills, drift eliminators, fan assembly, spray nozzles, shaft, hub materials etc.

b. The supplier shall submit:

(i). Following details after placing PO design calculations, QA plan, manufacturing schedule and drawings.

(ii). General Arrangement drawing.

(iii). Performance characteristic curve of cooling tower for the same capacity shall be submitted to indicate the design L/G ratio. The supplier shall submit performance curve as specified in the clause no 8.0 of this specification.

4.0 Factory Acceptance Test –FAT

Inspection of all the materials shall be done in the presence of purchaser’s representative at the factory prior to dispatch to site. The supplier shall arrange for mechanical run test at the manufacturer’s site in presence of HLL representative. The supplier shall submit relevant test certificates for all bought out components and dynamic balancing certificate for fan assembly. At the time of FAT, the SAT performance of the system shall also be compared with the Performance Characteristic Curve.

5.0 Packing and Transportation

Bidders shall note that packing shall be limited to sizes and weights that are permissible under the existing rail and road limitations. Equipment shall be well packed, protected and insured against damage or breakage during transit and delivery. Each package shall be properly labeled to indicate the type, quantity of material it contains, Serial Number, Purchase Order Number, dimensions and other necessary data to identify the equipment and related to the purchase order.

6.0 Site handling and Storage

The contractor shall unload and place all materials & equipment in storage at the site specified by the purchaser. The contractor shall be responsible for loading and transportation from the place of storage to the point of installation of the equipment. Loading, transportation, unloading and leading charges shall be under the scope of the supplier.

7.0 Installation, Testing and commissioning

The supplier shall install the cooling tower on the existing RCC basin (size 7550mmX4800mm) at 6m height. HLL will carry out necessary interconnecting piping between cooling tower and existing lines and necessary civil work.

8.0 Site Acceptance Test - SAT

8. a Acceptance criteria: The cooling tower shall be tested as per Cooling Tower Institute (CTI) Standard code no. ATC-105. If any component fails to meet the design performance, the supplier shall make alterations to meet the design specifications, the supplier, shall carry out the alterations free of cost and such works shall be carried out on top priority.

8. b The supplier shall conduct all required tests at site after installation to evaluate the performance of the cooling tower under specified conditions to ensure the cooling tower meets the requirement and technical specifications. The supplier shall conduct 72 hrs continuous run test of cooling tower at the site. As per CTI standard the supplier shall submit tower performance data relating tower characteristics, This relationship may be presented as an equation or as a curve or properly identified family of curves, expressing the effects of variables (such as hot water temperature and air velocity) that may, have a significant effect on the result and shall cover a range of L/G, from at least 20 percentage above to at range 20 percent below design.

8. c The noise level of the equipment at a distance of 1 meter shall be within 70 dB and the vibration measured at bearing supports shall be within 1.8 mm/ sec. The supplier shall submit five copies of operation and maintenance manuals.

9.0 Completion period

The entire supply and installation shall be completed within two month from the date of purchase order/LOI.

10.0 Battery Limit

(1) HLL. Shall carryout necessary interconnecting piping works b/w CT and existing      piping.

(2) HLL will carry out necessary civil works for which civil drawing shall be submitted by the supplier within 2 weeks from the date of purchase order/ LOI

(3) Electrical connections from the main panel to the starter unit, starter unit to motor shall be in scope of the contractor

All the modification required shall be assured by the contractor.

Necessary earthing with standard size earth wire shall be done by the contractor.

11.0 Warrantee

The performance of cooling tower under the scope of supply shall be as per technical specifications of the tender. Also it shall be warranteed for a period of 12 months from the date of commissioning. The contractor shall also replace any defective components free of cost during the warrantee period.

SCHEDULE III

| ## RECOMMENDED MAKES OF EQUIPMENT/MATERIAL |  |  |
| --- | --- | --- |
| SL.NO | DESCRIPTION | MAKE/MOC |
| 1 | Motor | Kirloskar/ABB/SEIMENS/CG |
| 2 | Basic Tower | Advance/Mehar/Equivalent |
| 3 | Axial flow Fan | Advance/Mehar/ Equivalent |
| 4 | Casing | TATA/JINDAL/VIZAG (IS1239, C Class, Heavy) |
| 5 | Tower support frame assembly | FRP Type |
| 6 | Pressure switches/ Flow switches | Danfos/ Indfoss/ Honeywell/ Jhonson |
| 7 | Thermometers/pressure gauge | Fiebig/ H.Guru / Warree |
| 8 | Starters and Switchgear | SIEMENS |
| 9 | Wires/cables | Finolex / Nicco / Gloster |
| 10 | Valves | Intervalve/Univas/Audco/Castle/Leader |

###### SCHEDULE IV

###### CONDITIONS OF CONTRACT

- PRICE

Price quoted should be firm without any escalation till the Contract is completely executed and should be for the item/work shown under SCHEDULE II.

The price quoted should be FOR HLL site including all relevant and applicable taxes and duties, Packing & Forwarding charges, insurance, transportation charges, leading, loading and unloading charges, and any other levies.

- TAXES/DUTIES/LEVIES

A local supplier shall be entirely responsible for all the taxes, duties, license fees, etc. incurred until successful completion of contract.  All central, state, municipal taxes, duties and levies payable on the equipment and its erection and commissioning shall be shown by the bidder separately in the Price Bid.

The format for Quoting is enclosed as SCHEDULE VI.  The Purchaser will issue necessary ‘C’ Form, if required.

Note:

The term ‘Equipment/goods’ means the final and complete equipment/machinery as ordered and does not mean raw material, components, consumable, etc. required for the work.  The Purchaser shall not be liable to pay any tax/duty/levy incurred during the transactions between the Supplier and his sub-suppliers and or Agents.

- INSURANCE

The goods supplied under the contract, shall be fully insured against loss or damage incidental to manufacture or acquisition, transportation, storage and delivery.

4.DELIVERY/COMPLETION PERIOD

  - The Supplier should deliver the equipments as per the Contract within 8 weeks from the date of LOI/Purchase Order.

  - Time being the essence of the Contract, the delivery and completion period stipulated should be strictly adhered to. The total completion time of the project is 8 weeks i.e. 6 weeks for the delivery of all items including imported items at HLL site at Akkulam Factory, 2 week for total erection, validation and commissioning of the reciprocating compressor system.

  - Delay in delivery/non delivery and completion of the contract will cause loss and/or damage to Purchaser. The completion period shall be counted from the date of sending of Purchaser’s intimation of acceptance of the Supplier’s offer (Letter of Intent (LOI) and/or Purchase Order).

  - Delivery of the goods shall be made by the supplier in accordance with the terms specified by the purchaser in the notification of award.

- LIQUIDATED DAMAGES FOR DELAYS

If the supplier fails to deliver any or all of the goods or perform the services within the time period(s) specified in the contract, the purchaser shall, without prejudice to its other remedies under the contract, either (1) deduct from the contract price, as liquidated damages, a sum equivalent to 0.5 percent of the total contract value for each week of delay or part thereof until actual delivery or performance, subject to a maximum of 7.5 % of the total contract value, or (2) at the risk and cost of the Supplier and without prejudice to the other remedies/rights as per the Contract, terminate the Contract wholly or partially and complete it themselves or reassign it to other Suppliers.

- INSPECTION AND TESTS

1.The purchaser or its representatives shall have the right to inspect and/or to test the goods to confirm their conformity to the contract.  The purchaser shall notify the supplier in writing of the identity of any representatives for these purposes.

2.The inspections and tests may be conducted on the premises of the supplier at point of delivery and/or at site.  Where conducted on the premises of the supplier, the Supplier should make available all reasonable facilities including tools, instruments, apparatus, equipment, facilities, services and materials and assistance, including access to drawings and production data, to enable the Purchaser’s nominee to carryout such inspection/tests without obligations to the purchaser.

3.Should any inspected or tested goods fail to conform to the specifications and performance, the purchaser may reject then and the supplier shall either replace the rejected goods or make all alternations necessary to meet specification requirements free of cost to the purchaser, within a period of 15 (fifteen) days of intimating such rejection.

4.The purchaser’s right to inspect, test and, where necessary, reject the goods after the good’s arrival at site shall in no way be limited or waived by reason of the goods having previously been inspected, tested and passed by purchaser or its representatives prior to the good’s dispatch from the place of manufacture.

5.Notwithstanding any such inspection/tests carried out at Supplier’s works, the equipment shall be accepted only after receipt and successful commissioning at the site and the inspection/tests carried out at Supplier’s works will not relieve his contractual obligations for conforming to the specifications under the contract.

- PACKING

The supplier shall provide such packing of the goods as is required to prevent their damage or deterioration during transit to site. The packing shall be sufficient to withstand, without limitation, rough handling during transit and open storage.

- TRANSPORTATION

Where the supplier is required under the contract to deliver the goods to a specified destination within India, transport of the goods including insurance to such other point in India as shall be specified in the contract, shall be arranged and paid for by the supplier and the cost thereof shall be included in the contract price.

- SPARE PARTS

1.If  specified  in  the  List  of  Requirements  and  in  the  resultant  contract,  the  supplier  shall supply/provide  any  or  all  of  the  following  materials,  information etc.  pertaining to spare parts manufactured and/or supplied by the supplier:

a) The spare parts as selected by the Purchaser/Consignee to be purchased from the supplier, subject to the condition that such purchase of the spare parts shall not relieve the supplier of any contractual obligation including warranty obligations;

and

b) In case the production of the spare parts is discontinued:

i) Sufficient advance  notice  to  the  Purchaser/Consignee  before  such  discontinuation to provide adequate time to the purchaser to purchase the required spare parts etc.,

and

ii)Immediately following such discontinuation, providing the  Purchaser/Consignee, free of cost, the designs, drawings, layouts and specifications of the spare parts, as and if requested by the Purchaser/Consignee.

2.Supplier shall carry sufficient inventories to assure ex-stock supply of consumable 	spares for the goods so that the same are supplied to the Purchaser/Consignee 	promptly on receipt of order from the Purchaser/Consignee.

- WARRANTY

1.The supplier warrants comprehensively that the goods supplied under the contract is new, unused and  incorporate  all  recent  improvements  in  design  and  materials unless  prescribed  otherwise  by the  purchaser  in  the  contract.  The  supplier  further  warrants  that  the  goods  supplied  under  the contract  shall  have  no  defect  arising from  design,  materials  or  workmanship  or  from  any  act  or 	omission  of  the  supplier,  that  may  develop  under  normal  use  of  the  supplied goods  under  the conditions prevailing in India.

2.This  warranty  shall  remain  valid for  1  (One)  year, after the goods or any portion thereof  as  the  case  may  be,  have  been  supplied, installed, tested, validated  and commissioned  at  the  final  destination  and  accepted by  the  Purchaser/Consignee  in  terms  of  the contract.

a.No conditional warranty like mishandling, manufacturing defects etc. will be     acceptable.

c. Replacement and repair will be under taken for the defective goods during warrantee period..

d. Proper marking has to be made for all spares for identification like printing of     installation and repair dates.

3. In case of any complaints arising out of this warranty, the Purchaser/Consignee shall promptly notify the same in writing to the supplier.

4. Upon  receipt  of  such  notice,  the  supplier  shall,  within  8  hours  on  a  24 (hrs)  X  	7  (days)  X  365 (days) basis respond to take action to repair or replace the defective 	goods or parts thereof, free of cost,  at  the  ultimate  destination.  The supplier shall  	take over the replaced parts/goods after providing their replacements and no 	claim, whatsoever shall lie on the purchaser for such replaced parts/goods thereafter.  	The penalty clause for non-rectification will be applicable as per tender 	conditions.

5. In  the  event  of  any  rectification  of  a  defect  or  replacement  of  any  defective  	goods  during  the warranty period, the warranty for the rectified/replaced goods shall 	be extended to a further period  of  1  (One)  year  from  the  date  such  rectified  / replaced  goods  starts  functioning  to  the satisfaction of the purchaser.

6. If  the  supplier,  having  been  notified,  fails  to  respond  to  take  action  to  repair or  replace  the defect(s) within 8 hours on a 24(hrs) X 7 (days) X 365 (days) basis, 	the purchaser may proceed to take such remedial action(s) as deemed fit by the purchaser, at the risk and expense of the supplier and  without  prejudice  to  other contractual  rights  and  remedies,  which  the  purchaser  may  have against the supplier.

- AFTER SALES SERVICE

After sales service centre should be available on 24 (hrs) X 7 (days) X 365 (days) basis. Complaints should be attended properly, maximum within 8 hrs. The service should be provided directly by Tenderer.

- TRAINING

Supplier shall provide training to a team of HLL personnel for operation, setting of parameters and maintenance of above unit at HLL or at firm’s premises.

- Terms of Payment and Deviation in payment terms

a) Payment for domestic goods and services:

Payment for domestic goods and services shall be made in Indian rupees in the following manner:

i) On delivery: 60% of the value of supply shall be paid on receipt of goods and upon submission of documents specified in clause under delivery and

ii) 40% after successful installation and commissioning of the equipment against a bank guarantee equal to 10% of the contract value valid for a period of one year from the date of commissioning of the system.

b) Payment for incidental services including supervision:

The charges for incidental services including supervision, if provided for separately in the contract, shall be paid after the said services have been performed to the satisfaction of the purchaser in accordance with the requirements of the contract.

c) On final acceptance: The balance 10% of the value of supply of goods and 100% of cost of incidental services shall be paid against a performance guarantee equal to 10% of total contract price valid for the period of guarantee/warranty from any scheduled bank.

The supplier’s request for payment shall be made to the Purchaser in writing accompanied by an invoice describing, as appropriate, the goods delivered and the services performed and by shipping documents, submitted and upon fulfillment of other obligations stipulated in the contract.

Normally the Purchaser will not entertain any advance payment. However, the bidder can indicate advance payment in the payment terms, if required. Such advance payment will be released against submission of a Bank guarantee from a nationalized/scheduled bank for like amount valid up to the supply of equipment at purchaser’s site. The advance if any paid; interest will be adjusted against the 	payment against delivery.

- PERFORMANCE GUARANTEE

  - The supplier shall furnish Permofrmace Bank Guarantee equal to 10% of control value valied for a period of one year from the date of successful commissioning of the system.

  - In the event of any amendment issued to the contract, the supplier shall, within twenty-one (21) days  of  issue  of  the  amendment,  furnish  the  corresponding  amendment  to  the  Performance Security  (as  necessary),  rendering  the  same  valid  in  all  respects  in  terms  of  the  contract,  as amended.

17. Force Majeure

- Neither the Supplier nor the Purchaser shall be considered in default in the performance of their obligations as per the Contract so long as such performance is prevented or delayed because of strikes, war, hostilities, revolution, civil commotion, epidemics, accidents, fire, cyclone, flood or because of any law and order proclamation, regulation or ordinance of Government or subdivision thereof or because of any act of God.  The proof of existence of force majeure shall be provided by the party claiming it to the satisfaction of the other.

- The Supplier shall advise Purchaser initially by a Fax, followed by post, the beginning and end of any of the above causes of delay, failing which Purchaser shall not be liable to consider delays due to the above reasons.  Notice as stated above should be given even in case where only the Supplier’s bids are under the consideration of the Purchaser and no acceptance of the same has been given and Contract issued.

- In the event of definite delay even if arising out of reasons due to force majeure, Purchaser shall have the right at their discretion to cancel the Contract or part of the Contract without any liability on their part to make any payment to the Supplier while reserving the right to claim refund of and any payment if advanced or paid to Supplier.

18. Assignment And Subletting

No assignment and subletting of whole or part of the Contract shall be permitted except with prior approval of purchase obtained in writing.

19. All Correspondence

correspondence relating to this enquiry shall be in English, to:

JOINT GENERAL MANAGER (MATERIALS),

HLL LIFECARE LTD

AKKULAM, SREEKARIYAM(PO)

THIRUVANANTHAPURAM – 695 017

KERALA, INDIA

20. INDEMNIFICATION CLAUSE

The Supplier shall indemnify and hold harmless the Purchaser from and against all claims, liability, loss damage or expense, including counsel fees arising from or by reason of any actual or claimed trade mark, patent or copy right infringement or any litigation based thereon with respect to any part of the items covered by the Contract and such obligations shall survive acceptance of payment for the items.

21. STANDARDS

The goods supplied under this contract shall conform to the standards mentioned in SCHEDULE II and when no applicable standard is mentioned, to the authoritative standard appropriate to the goods’ country of origin and such standards shall be the latest issued by the concerned institution.

22. TECHNICAL DOCUMENTS

Supplier shall furnish the following documents to the Purchaser, free of cost, in three numbers of copies.

- Instruction/Testing/Operation/Servicing manual, lubrication charts, load-bearing details etc.

- Elaborated list of Critical & essential spare parts with rate, valid for a period of Two years

- Reproducible of all final drawings – electrical, mechanical and civil, P&I Diagram.

- Relevant Test Certificates, Guarantee Certificate for each item of equipment.

- Catalogue and literature on bought outs

- Any other related documents

23. ENTIRETY OF THE AGREEMENT

All of the terms agreed to between the Supplier and Purchaser will be included in the Purchase/work Order/Contract and no their communication, proposal or understanding, written, oral or implied, will be considered to be included in the Purchase/work Order/Contract or form part of the Contract between the Supplier and Purchaser unless specifically agreed to in that behalf in writing between Purchaser and Supplier.

24. SETTLEMENT OF DISPUTES

The contract shall be deemed to have been concluded at Thiruvananthapuram, Kerala and suits and proceedings, if any, shall be only in the courts of competent jurisdiction in Thiruvananthapuram.

SCHEDULE V

1. ACCEPTANCE FORM

(To be submitted in the letter pad of the firm indicating full name and address. Telephone &Fax numbers etc.)

From

To

Joint  General Manager (Materials)

HLL LIFECARE LTD,

Akkulam, Sreekariyam(P.O)

Thiruvananthapuram-695 017

Dear Sir,

I/We here by offer to supply/fabricate/erect/validate/commission as detailed in schedule hereto or such portion thereof as you may specify in the acceptance of bid at the price as given in the price bid and agreed to hold this bid open till--------(Indicate the date—refer clause 2.6 of Conditions of Bid). I/We have understood the terms and conditions of the bid and conditions of contract furnished by you and have thouroughly examined the specifications quoted in the bid document hereto and are fully aware of the nature of scope of work required and my/our offer is to comply strictly in accordance with the requirement and terms and conditions mentioned above.

The following pages have been added to and form and part of this bid.

Yours faithfully,

Signature of the bidder

TENDER FOR SUPPLY, INSTALLATION, TESTING, VALIDATION AND COMMISSIONING

OF

350 TR TWIN TYPE COOLING TOWER

IFB No: HLL/AFT/PUR/COOLING TOWER/2013-2014

PRICE BID

##### HLL LIFECARE LIMITED

(A GOVT. OF INDIA ENTERPRISE)

AKKULAM  FACTORY, SREEKARIYAM  P.O.

THIRUVANANTHAPURAM – 695 017

Phone: +91 471 244 5930, Fax : +91 471 244 5935

Email: materialsaft@lifecarehll.com

Web: www.lifecarehll.com

SCHEDULE VI- PRICE BID FORMAT

(For Supply Part)

| Sl No. | Item Description | Quantity | Brand/Model Country of Origin | Ex-factory price (Basic Unit Price exclusive of all levies & charges) | Packing and forwarding | Excise Duty |  | Sales Tax |  | Freight & Insurance |  | Others,if any | Unit Price (ColumnNo. E+F+H+J+L+M) | TOTAL AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | % | Amt. | % | Amt. | % | Amt. |  |  |  |
| A | B | C | D | E | F | G | H | I | J | K | L | M |  |  |
| 1 | TWIN TYPE COOLING TOWER |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | ELECTRICAL PANEL WITH ACCESSORIES |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | OTHERS IF ANY |  |  |  |  |  |  |  |  |  |  |  |  |  |

** Detailed split up rate details may also be incorporated along with your offer.

Seal and Signature of the bidder

SCHEDULE VI- PRICE BID FORMAT

(For Installation testing and commissioning)

| S.No. | Item Description | Quantity | Price inclusive of all levies & charges | Service Tax |  | Unit Price | Total Amount |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | % | Amt. |  |  |
| A | B | C | D | E | F | G |  |
| 1 | TWIN TYPE COOLING TOWER |  |  |  |  |  |  |
| 2 | ELECTRICAL PANEL WITH ACCESSORIES |  |  |  |  |  |  |
| 3 | OTHERS IF ANY |  |  |  |  |  |  |

** Detailed split up rate details may also be incorporated along with your offer.

All other Statutory levies, such as Taxes, duties, KVAT, VAT, WCT, IT, ST & PF, ESI of your work men etc (are inclusive) will be deducted from bill, as applicable.

Seal and Signature of the bidder

SCHEDULE VII

4. MANUFACTURER’S AUTHORIZATION FORM

To,

JOINT GENERAL MANAGER (MATERIALS)

HLL LIFECARE LIMITED

AKKULAM FACTORY,

THIRUVANANTHAPURAM

Dear Sir,

Ref. Your TE document No ____________, dated _____________

We, ___________________________________ who are proven and reputable manufacturers of___________________________(name and description of the goods offered in the tender) having factories at_______________________________, hereby authorize Messrs______________________________(name and address of the agent) to submit a tender, process the same further and enter into a contract with you against your requirement as contained in the above referred TE documents for the above goods manufactured by us.

We further confirm that no supplier or firm or individual other than Messrs.__________________________ (name and address of the above agent) is authorised to submit a tender, process the same further and enter into a contract with you against your requirement as contained in the above referred TE documents for the above goods manufactured by us.

We also hereby extend our full warranty, read with modification, if any, in the Special Conditions of Contract for the goods and services offered for supply by the above firm against this TE document.

Yours faithfully,

[Signature with date, name and designation]

for and on behalf of Messrs___________________________

[Name & address of the manufacturers]

Note:

1. This letter of authorisation should be on the letterhead of the manufacturing firm and should

be signed by a person competent and having the power of attorney to legally bind the

manufacturer.

2. Original letter may be sent.

SCHEDULE VIII

CONTRACT FORM – A

CONTRACT FORM FOR SUPPLY, INSTALLATION, TESTING, VALIDATION & COMMISSIONING & WARRANTY OF GOODS

(Address of the Purchaser’s/Consignee’s

office issuing the contract)

Contract No___________ dated______________

This is in continuation to this office’s notification of Award no_______ dated ______

1. Name & address of the Supplier: ______________________________

2. Purchaser’s TE document No________ dated____________ and subsequent Amendment

No____________, dated_________ (if any), issued by the purchaser

3. Supplier’s Tender No_________ dated__________ and subsequent communication(s)

No____________ dated _________ (if any), exchanged between the supplier and the purchaser in connection with this tender.

4. In addition to this Contract Form, the following documents etc, which are included in the documents mentioned under paragraphs 2 and 3 above, shall also be deemed to form and be read and construed as integral part of this contract:

(i) General Conditions of Contract;

(ii) List of Requirements;

(iii) Technical Specifications;

(iv) Quality Control Requirements;

(v) Tender Form furnished by the supplier;

(vi) Price Schedule(s) furnished by the supplier in its tender;

(vii) Manufacturers’ Authorisation Form (if applicable for this tender);

(viii) Purchaser’s Notification of Award

### Note : The words and expressions used in this contract shall have the same meanings as are respectively assigned to them in the conditions of contract referred to above. Further, the definitions and abbreviations incorporated under clause 1 of Schedule I – “CONDITIONS OF BID’ of the Purchaser’s TE document shall also apply to this contract.

5. Some terms, conditions, stipulations etc. out of the above-referred documents are reproduced below for ready reference:

- Brief particulars of the goods and services which shall be supplied/ provided by the supplier are as under:

| Item Sl. No. | Brief description of goods/services | Accounting unit | Quantity to be supplied | Unit Price | Total price | Terms of delivery |
| --- | --- | --- | --- | --- | --- | --- |

Any other additional services (if applicable) and cost thereof: _____________________

Total value (in figure) ____________ (In words) ___________________________

(ii) Delivery schedule

(iii) Details of Performance Security

(iv) Quality Control

(a) Mode(s), stage(s) and place(s) of conducting inspections and tests.

(b) Designation and address of purchaser’s inspecting officer

(v) Destination and despatch instructions

(vi) Consignee, including port consignee, if any

(vii) Warranty clause

(viii) Payment terms

(ix) Paying authority

____________________________

(Signature, name and address

of the Purchaser’s/Consignee’s authorised official)

For and on behalf of__________________

Received and accepted this contract

(Signature, name and address of the supplier’s executive duly authorised to sign on behalf of the supplier)

For and on behalf of _________________________

(Name and address of the supplier)

(Seal of the supplier)

Date: _________________________

Place: _________________________

SCHEDULE IX

ANNEXURE I

BANK GUARANTEE FORM FOR PERFORMANCE SECURITY

To

Head of Company of ESIC

WHEREAS _____________________________ (Name and address of the supplier) (Hereinafter called “the supplier”) has undertaken, in pursuance of contract  no________________________ dated _____________ to supply (description of goods and services) (herein after called “the contract”).

AND WHEREAS it has been stipulated by you in the said contract that the supplier shall furnish you with a bank guarantee by a scheduled commercial bank recognised by you for the sum specified therein as security for compliance with its obligations in accordance with the contract; AND WHEREAS we have agreed to give the supplier such a bank guarantee;

NOW THEREFORE we hereby affirm that we are guarantors and responsible to you, on behalf of the supplier, up to a total of. ________________________ (Amount of the guarantee in words and figures), and we undertake to pay you, upon your first written demand declaring the supplier to be in default under the contract and without cavil or argument, any sum or sums within the limits of (amount of guarantee) as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

We hereby waive the necessity of your demanding the said debt from the supplier before presenting us with the demand.

We further agree that no change or addition to or other modification of the terms of the contract to be performed there under or of any of the contract documents which may be made between you and the supplier shall in any way release us from any liability under this guarantee and we hereby waive notice of any such change, addition or modification.

This guarantee shall be valid up to 30 (thirty) months from the date of Notification of Award i.e up to ----------- (indicate date)

…………………………….

(Signature with date of the authorised officer of the Bank)

………………………………………………………….

Name and designation of the officer

………………………………………………………….

………………………………………………………….

Seal, name & address of the Bank and address of the Branch

ANNEXURE II

PROFORMA FOR PERFORMANCE STATEMENT

(For the period of last five years)

| Tender Reference No. | : |
| --- | --- |
| Date of opening | : |
| Time | : |
| Name and address of the Tenderer | : |
| Name and address of the manufacturer | : |

| Order placed by (full address of Purchaser/ Consignee) | Order number and date | Description of ordered goods and services | Quantity of ordered goods | Value of order(Rs.) | Date of completion of Contract |  | Remarks indicating reasons for delay if any | Have the goods been functioning Satisfactorily (attach documentary proof)** |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | As per contract | Actual |  |  |  |
| 1 | 2 | 3 |  | 4 | 5 | 6 | 7 | 8 | 9 |

Signature and seal of the Tenderer

** The documentary proof will be a certificate from the consignee/end user with crossreference of order no. and date in the certificate duly notarised certification authenticating the correctness of the information furnished. If at any time, information furnished is proved to be false or incorrect, the earnest money and or performance security furnished will be forfeited. Such certificates from a third party or middleman other than actual end user will not be accepted. The satisfactory performance implies working satisfactorily without any complaint since the date of installation, ommissioning & handing over to the end user as per the standard format enclosed.

ANNEXURE III

CONSIGNEE RECEIPT CERTIFICATE

(To be given by consignee’s authorized representative)

The following store (s) has/have been received in good condition:

1) Contract No. & date :______________________________

2) Supplier’s Name :______________________________

3) Consignee’s Name & Address with

telephone No. & Fax No. : ______________________________

4) Name of the item supplied :______________________________

5) Quantity Supplied :______________________________

6) Date of Receipt by the Consignee :______________________________

7) Name and designation of Authorized

Representative of Consignee :______________________________

8) Signature of Authorized

Representative of Consignee with

date :______________________________

9) Seal of the Consignee :______________________________

ANNEXURE IV

PROFORMA OF FINAL ACCEPTANCE CERTIFICATE BY THE CONSIGNEE

No _______________ Date_______________

To

M/s____________________

_______________________

_______________________

Subject: Certificate of commissioning of equipment/plant.

This is to certify that the equipment(s)/plant(s) as detailed below has/have been received in good conditions along with all the standard and special accessories and a set of spares (subject to remarks in Para no.02) in accordance with the contract/ technical specifications.

The same has been installed and commissioned.

(a) Contract No______________________________________ dated__________________

(b) Description of the equipment(s)/plants: _______________________________________

(c) Equipment(s)/ plant(s) nos.: ________________________________________________

(d) Quantity:_______________________________________________________________

(e) Bill of Loading/Air Way Bill/Railway

Receipt/ Goods Consignment Note no___________________ dated _________________

(f) Name of the vessel/ Transporter: ___________________________________________

(g) Name of the Consignee: ___________________________________________________

(h) Date of commissioning and proving test: _____________________________________

Details of accessories/spares not yet supplied and recoveries to be made on that account.

Sl. No.		Description of Item	Quantity 	Amount to be recovered

The proving test has been done to our entire satisfaction and operators have been trained to operate the equipment(s)/plant(s).

The supplier has fulfilled its contractual obligations satisfactorily ## or

The supplier has failed to fulfil its contractual obligations with regard to the following:

He has not adhered to the time schedule specified in the contract in dispatching the

documents/drawings pursuant to ‘Technical Specifications’.

He has not supervised the commissioning of the equipment(s)/plant(s)in time, i.e. within the period specified in the contract from date of intimation by the Purchaser/Consignee in respect of the installation of the equipment(s)/plant(s).

The supplier as specified in the contract has not done training of personnel.

The extent of delay for each of the activities to be performed by the supplier in terms of the contract is___________________________________________________________.

The amount of recovery on account of non-supply of accessories and spares is given under Para no.02.

The amount of recovery on account of failure of the supplier to meet his contractual obligations

is__________________ (here indicate the amount).

Signature

Name:

Designation with stamp

## Explanatory notes for filling up the certificate:

1.He has adhered to the time schedule specified in the contract in dispatching the documents/drawings pursuant to ‘Technical Specification’.

2.He has supervised the commissioning of the equipment(s)/plant(s) in time, i.e. within the time specified in the contract from date of intimation by the Purchaser/Consignee in respect of the installation of the equipment(s)/plant(s).

3.Training of personnel has been done by the supplier as specified in the contract

4.In the event of documents/drawings having not been supplied or installation and commissioning of the equipment(s)/plant(s) having been delayed on account of the supplier, the extent of delay should always be mentioned in clear terms.