## Civ
CIVIL WORK
Sl | DESCRIPTION OF ITEM | QTY. | UNIT | RATE (Rs) | AMOUNT (Rs.)
SCHEDULE ITEMS (RATE BASED ON DSR)
1 | Earth work in excavation in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed,with in a lead of 50 m.
| All kinds of soil. | 428.905 | Cum | 287.4 | 123267.297
2 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
| All kinds of soil. | 20 | Cum | 130.8 | 2616
3 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20 cm in depth :consolidating each deposited layer by ramming and watering,lead up to 50 mm and lift upto 1.5m | 278.86 | Cum | 83.8 | 23368.468
4 | Extra for every additional lift of 1.5 m or part thereof in excavation /banking excavated or stacked materials.
| All kinds of soil. | 90 | Cum | 34.6 | 3114
5 | Supplying and filling in plinth with river sand/quarry dust under floors including,watering consolidating and dressing complete.
| River sand | 92.31 | Cum | 749.3 | 69167.883
6 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work upto plinth level
| 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | 92.31 | cum | 3593.3 | 331697.523
7 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. (Note :- Cement content considered in this item is @ 330 kg/cum. Excess/less cement used as per design mix is payable/recoverable separately).
a) | All works upto plinth level. | 95.43 | Cum | 5242.15 | 500258.3745
b) | All works above plinth level upto floor V level. | 175.19 | Cum | 5781.5 | 1012860.985
8 | Centring and shuttering including strutting, propping etc. and removal of form for:
a) | Foundations,footings,bases of columns including beams etc. for mass concrete | 117.72 | Sqm | 166.9 | 19647.468
b) | Suspended floors, roofs, landings, balconies and access platform | 800 | Sqm | 311.2 | 248960
d) | Lintels, beams, plinth beams, girders, bressumers and cantilevers | 741 | Sqm | 262.25 | 194327.25
e) | Columns, pillars, piers, abutments, posts and struts | 502.65 | Sqm | 365.6 | 183768.84
f) | Stairs,(excluding landings) except spiral-staircasess. | 16.8 | Sqm | 326.3 | 5481.84
9 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
a) | Thermo-Mechanically treated bars | 12405.9 | Kg | 62.25 | 772267.275
b) | Thermo-Mechanically treated bars | 22774.7 | Kg | 62.25 | 1417725.075
10 | Brick work in superstructure above plinth level upto floor V level in cement mortar 1:6. | 230 | Cum | 3876.15 | 891514.5
11 | Half brick masonry with F.P.S. bricks of class designation 75 in superstructure above plinth level upto floor V level in
| Cement mortar 1 : 4 (1 cement : 4 coarse sand) | 370 | Sqm | 476.85 | 176434.5
12 | Extra for providing and placing in position 2 Nos. 6mm dia. M.S. bars at every third course of half brick masonry. | 370 | Sqm | 63.3 | 23421
13 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position:
| Second class teak wood | 1.2 | Cum | 85813.3 | 102975.96
14 | Providing and fixing panelled or panelled and glazed shutters for doors, windows and clerestory windows including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws excluding, panelling which will be paid for separately, all complete as per direction of Engineer-in-charge.
Second class teak wood
| 35 mm thick shutters | 60 | Sqm | 2434.05 | 146043
15 | Providing and fixing anodised aluminium work for doors, windows ventilators and partitions with extrudede builtup standard tubular and other sections of approved make confiorming to IS 733 and IS 1285, anodised transparent or dyed to required shade according to IS:1868.(Minimum anodic coating of grade AC 15),fixed with rawl plugs and screws or with fixing clips or with expansion hold fasteners including necessary filling up of grace at junctions at top bottom and sides with required PVC/neoprene felt etc.Aluminium sections shall be smooth,rust free ,straight mitred and jointed mechanically wherever required including cleat angle,Aluminium snap beading for glazing/panelling,C.P. brass/stainless steel screws,all complete as per architectural dwawings and the directions of Engineer-in-charge.(Glazing and panelling to be paid for separately.)
a). | For Fixed Portion | 591.3 | kg | 358.45 | 211951.485
b). | For shutters of doors, windows & ventilators including providing and fixing stainless steel friction hinges and making provision for fixing of fittings wherever required (fittings shall be paid for separately). | 1379.7 | kg | 406.5 | 560848.05
16 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge.
| Pre-laminated particle board with decorative lamination on both sides. | 3.6 | Sqm | 969.95 | 3491.82
17 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item)
a) | With float glass panes of 5.50 mm thickness | 131.4 | sqm | 905.75 | 119015.55
18 | Providing and fixing factory made PVC door frame manufactured by M/s Rajshri or equivalent of size 50x47 mm with a wall thickness of 5 mm. made out of extruded 5 rigid PVC foam sheet mitred at corners and joined with 2 Nos. of 150 mm long brackets of 15x15mm M.S. square tube,the vertical door profiles to be reinforced with 19x19 mm M.S. squire tube of 19 guage,EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size complete as per manufactures specification and direction of Engineer-in-charge | 81.6 | met. | 404.6 | 33015.36
19 | Providing and fixing 30mm thick factory made PVC rigid foam panelled door shutters manufactured by M/s Rajshri or equivalent made from M.S. tube of 19 guage thickness, size 19x19 mm for styles and 15x15 mm for top and bottom rails,covered with heat moulded PVC "C" channel of 5 mm thick and 75 mm wide PVC sheets for top rail,lock rail and bottom rail on either side and 5 mm thick 20mm wide cross PVC sheet as gap insert for top rail and bottom rial,panelling of 5mm thick PVC sheet fitted in the M.S. frame welded/sealed to the styles and rails with 5x30mm PVC sheet beading on either side and joined together with solvent cement adhesive etc., complete as per manufacture specification and direction of Engineer-in-charge fixed to frames with 4 Nos.M.S. powder coated butt hinges (For W.C. and bathroom shutters). | 30.24 | Sqm | 2499.2 | 75575.808
20 | Providing and fixing aluminium sliding door bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete
| 300x16 mm | 5 | each | 203.8 | 1019
21 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating)
not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete:
| 200x10 mm | 90 | Each | 86.45 | 7780.5
| 150x10 mm | 330 | Each | 59 | 19470
22 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete:
| 125 mm | 80 | Each | 62.5 | 5000
| 100 mm | 120 | Each | 49.55 | 5946
| 75 mm | 45 | Each | 41.9 | 1885.5
23 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size) | 162 | Each | 96.75 | 15673.5
24 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc. including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge. ( for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts) | 84 | Kg | 558 | 46872
25 | Providing and fixing Ist quality ceramic glazed wall tiles (Light Blue) conforming to IS : 15622 (thickness to be specified by the manufacture of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of Cement mortar 1:3 (1 Cement : 3 Coarse sand) and jointing with grey cement slurry @ 3.3 kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 529.56 | Sqm | 724.25 | 383533.83
0
26 | Providing and fixing 18 mm thick gang saw cut mirror polished (premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills, facias and similar loacations of required size of approved shade, colour and texture laid over 20mm thick base cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing moulding and polishing to edge to give high gloss finish etc. complete at all levels.
| Granite of any colour and shade | 15.606 | sqm | 3083.4 | 48119.5404
27 | 52 mm thick cement concret flooring with metallic concrete hardener topping under layer 40 mm thick cement concrete 1:2:4 ( 1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) and top layer 12 mm thick metallic concrete hardener consisiting of mix 1:2 ( 1 cement hardener mix : 2 stone aggregate 6 mm nominal size ) by volume with metallic hardening compound of approved quality is mixed in the ration 4:1 ( 4 parts of cement : 1 part of metallic floor hardening compound of approved quality ) by weight including cement slurry, byt excluding the cost of nosing of steps etc. complete. | 60 | sqm | 420.5 | 25230
28 | Providing and laying rectified Glazed Ceramic floor tiles 300 X300 mm or more(thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours White, lvory, Grey , Fume Red Brown laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand ) including grouting the joints with white cement and matching pigments etc., complete.(SOMANY RUSTICO AZURE TILES 300 X300 MM) | 31.7787 | sqm | 931.5 | 29601.859
29 | Kota Stone slab flooring over 20mm (average)thick base laid and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete with base of cement mortar 1:4 (1 cement : 4 coarse sand ). | 54 | Sqm | 945.7 | 51067.8
30 | Providing and laying polished vitrified floor tiles in different sizes ( thickness to be specified by the manufacturer ) with water absorption's less than 0.08% and confirming to IS : 15622 OF approved make in all colors and shades, laid on 20 mm thick cement mortar includind grouting the joints with white cement and matching pigments etc. complete.
| size of Tiles: 600 X 600 mm | 513.0309 | Sqm | 1337.1 | 685973.6164
31 | 12mm cement plaster of mix:
| 1:6 ( 1 cement : 6 fine sand) | 1236.015 | sqm | 112.5 | 139051.6875
32 | 6mm cement plaster to ceiling of mix:
| 1:3 (1 cement : 3 fine sand) | 650.88 | sqm | 101 | 65738.88
33 | 15 mm cement plaster on the rough side of single or half brick wall of mix:
| 1:6(1 cement : 6 fine sand) | 594 | sqm | 130.2 | 77338.8
34 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade.
| New work ( two or more coats ) over and including priming coat with cement primer. | 1236.015 | sqm | 66.7 | 82442.2005
35 | White washing with lime to give an even shade (Area Reffer Ceiling Plaster)
| New work(three or more coats) | 650.88 | sqm | 11.75 | 7647.84
36 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade
Two or more coats on new work.
| (Area Refer to Item No. 9.20.1) 30.55 X 2 =61.10 | 61.1 | sqm | 53.85 | 3290.235
37 | Applying priming coat with ready mixed aluminium primer of approved brand and manufacture on resinous wood and ply wood | 61.1 | sqm | 24.7 | 1509.17
38 | Finishing walls with textured exterior paint of required shade:
| New work (Two or more coats applied @ 3.28 ltr/10 sqm) over and including base coat of water proofing cement paint applied @ 2.20 kg/10 sqm. | 871.831 | sqm | 117.7 | 102614.5087
39 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc. consisting of following operations.
1) Applying and grouting a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with proprietary water proofing compound conforming to IS.2645 over the RCC slab including cleaning the surface before treatment.
2) Laying cement concrete using broken bricks/bricks bats 25mm to 100mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with proprietary water proofing compound conforming to IS : 2645 over 20 mm thick layer cement mortar of mix 1:5
3) After two days of proper curing applying second coat of cement slurry admixed with proprietary water proofing compound conforming to IS : 2645.
4) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 ( 1 cement : 4 coarse sand) admixed with proprietary water proofing compound conforming to IS : 2645 and finally finishing the surface with trowel with neat cement slurry and mak
5) The whole terrace finished shall be flooded with water for a minimum period of two weeks for curing and final test.All above operations to be done in order and as directed and specified by the Engineer-in-charge.
| with average thickness of 120 mm and minimum thickness at khurra as 65 mm. (only plan area to be measured for payment. | 522.62 | Sqm | 786.7 | 411145.154
40 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portion of toilet and kitchen and the like consisting of: 1). First course of applying cement slurry @ 4.4 Kg. / sq. m. mixed with water proofing compound, 2). Second course of 20mm Cement plaster 1:3 mixed with WP compound, 3). IIIrd course of appling blown or residual bitumen at 1.7 Kg/Sqm, 4). IVth course of 400 micron PVC sheet | 24 | Sqm | 399.6 | 9590.4
41 | Providing gola 75 X 75 mm in cement concrete 1:2:4 including finishing in cement mortar 1:3 as per standard design.
| in 75x75mm deep chase | 137.8 | Rm | 109.05 | 15027.09
42 | Making khurras 45x45cm with average minimum thickness of 5 cm cement concrete 1:2:4(1cement:2coarsesand) and a coat of neat cement rounding the edges. | 12 | Each | 148.75 | 1785
43 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1cement:3course sand:6graded stone aggregate 20 mm nominal size) over 75mm bed of dry brick ballast 40mm nominal size wall rammed and consolidated and grouted with fine sand including finishing the top smooth. | 137.8 | Sqm | 338.75 | 46679.75
44 | Providing and fixing tiled false ceiling of approved materials of size 595x595 mm in true horizontal level suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 gsm/sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38mm made from 0.30mm thick (minimum) sheet, spaced at 1200mm center to center and cross "T" of size 24x25mm made of 0.30mm thick (minimum) sheet, 1200mm long spaced between main "T" at 600mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600mm and size 24x25mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600mm panel to form grids of 600x600mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, wherever, required, cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 x mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete at all heights as per specifications drawings and as directed by Engineer-in-charge.
| 12.5 mm thick fully Perforated Gypsum Board tile made from plasterboard having glass fibre conforming to IS: 2095 part I , of size 595x595 mm, having perforation of 9.7x9.7 mm at 19.4 mm c/c with center borders of 48 mm and the side borders of 30 mm, backed with non woven tissue on the back side, having an NRC (Noise Reduction Coefficient) of 0.79, with 50 mm resin bonded glass wool backing. | 460.84 | Sqm | 1048.2 | 483052.488
45 | Providing and fixing double glazed hermetically sealed glazing in aluminium windows, ventilators and partition etc. with 6 mm thick clear float glass both side, having 12 mm air gap, including providing EPDM gasket, perforated aluminium spacers, desiccants, sealant (Both primary and secondary sealant) etc. as per specifications, drawings and direction of Engineer-in-charge complete. | 85.617 | sqm | 3328.4 | 284967.6228
| TOTAL ( SCHEDULE ITEMS) |  |  |  | 10311869.2838 | 16395872.1613
4189.1613

## Bo Wal (hidden)
#REF!
Estimate (Based on CPWD DSR 2012)
COMPOUND WALL FOR THE LENGTH OF 318 METRE
Sl | DESCRIPTION OF ITEM | Qty. | UNIT | Rate | Amount | DSR No
1 | Earth work in excavation by mechanical means (Hydralic excavator/manual means) in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed,with in a lead of 50 m. |  |  |  |  | 2.8
| All kinds of soil. | 358.668 | Cum | 130.8 | 46913.7744 | 2.8.1
2 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20 cm in depth :consolidating each deposited layer by ramming and watering,lead up to 50 mm and lift upto 1.5m | 303.318 | Cum | 83.8 | 25418.0484 | 2.25
3 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work upto plinth level |  |  |  |  | 4.1
| 1:5:10 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | 14.08 | cum | 3357.4 | 47272.192 | 4.1.10
4 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. (Note :- Cement content considered in this item is @ 330 kg/cum. Excess/less cement used as per design mix is payable/recoverable separately). |  |  |  |  | 5.33
| All works upto plinth level. | 57.05 | cum | 5242.15 | 299064.6575 | 5.33.1
| All works above plinth level upto floor V level. | 15.32 | cum | 5781.5 | 88572.58 | 5.33.2
5 | Centring and shuttering including strutting, propping etc. and removal of form for: |  |  |  |  | 5.9
a | Foundations,footings,bases of columns including beams etc. for mass concrete | 118.08 | Sqm | 166.9 | 19707.552 | 5.9.1
b | Lintels, beams, plinth beams, girders, bressumers and cantilevers | 138.9 | Sqm | 262.25 | 36426.525 | 5.9.5
c | Columns, pillars, piers, abutments, posts and struts | 243.38 | Sqm | 365.6 | 88979.728 | 5.9.6
6 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. |  |  |  |  | 5.22
| Thermo-Mechanically treated bars | 5705 | Kg | 62.25 | 355136.25 | 5.22.6
| Thermo-Mechanically treated bars | 1550 | Kg | 62.25 | 96487.5 | 5.22A.6
7 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : |  |  |  |  | 6.4
| Cement mortar 1:6 (1 cement : 6 coarse sand) | 95.89 | Cum | 3876.15 | 371684.0235 | 6.4.2
8 | 12mm cement plaster of mix: |  |  |  |  | 13.1
| 1:6 ( 1 cement : 6 fine sand) | 416.7 | sqm | 112.5 | 46878.75 | 13.1.2
9 | 15mm cement plaster on the rough side of single or half brick wall of mix: |  |  |  |  | 13.2
| 1:6 (1 cement : 6 fine sand) | 416.7 | sqm | 130.2 | 54254.34 | 13.2.2
10 | Finishing walls with water proofing cement paint of required shade : |  |  |  |  | 13.44
| New work (Two or more coats applied @ 3.84 kg/10 sqm). | 879.7 | sqm | 44.95 | 39542.515 | 13.44.1
11 | Steel work welded in built up sections/ framed work including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.
| In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 656 | Kg | 77.9 | 51102.4 | 10.25.2
12 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m) having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4 m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal including necessary bolts or G.I. barbed wire tied to angle iron all complete as per direction of Engineer-in-charge with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 231.5 | met | 269.2 | 62319.8 | 16.53
| TOTAL SCHEDULE ITEMS (IN Rs.) (A) |  |  |  | 1729760.6358
| #REF! |  |  | #REF! | #REF!
| TOTAL COST SCHEDULE ITEMS (C ) |  |  |  | #REF!

## Do Civ (hidden)
#REF!
Details of Measurements
S.NO. | DSR | DESCRIPTION | NO. | L | B | H | QTY. | UNIT
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
EXCAVATION
1 | 2.6 | EARTHWORK
|  | F1 | 28 | 1.35 | 1.65 | 2 | 124.74 | CUM
|  | F2 | 4 | 1.65 | 1.65 | 2 | 21.78
|  | F3 | 6 | 1.55 | 1.85 | 2 | 34.41
|  | F4 | 2 | 1.65 | 1.95 | 2 | 12.87
|  | F5 | 4 | 1.95 | 1.95 | 2 | 30.42
|  | F6 | 6 | 2.15 | 2.35 | 2 | 60.63
|  | F7 | 2 | 1.35 | 1.35 | 2 | 7.29
|  | CFI | 2 | 1.95 | 4.15 | 2 | 32.37
|  | CF2 | 2 | 2.15 | 3.95 | 2 | 33.97
TIE BEAM
|  |  | 6 | 18 | 0.75 | 0.3 | 24.3
|  |  | 2 | 7 | 0.75 | 0.3 | 3.15
|  |  | 10 | 11.5 | 0.75 | 0.3 | 25.875
0.3
|  |  | 2 | 10 | 0.75 | 0.3 | 4.5
|  |  | 8 | 7 | 0.75 | 0.3 | 12.6
EXTRA
|  | Total |  |  |  |  | 428.905 | cum
|  | Say |  |  |  |  | 428.905 | cum
2 | 2.8 | EARTHWORK
|  | Total |  |  |  |  | 20 | cum
|  | Say |  |  |  |  | 20 | cum
3 | 2.25 | Filling of Earth
|  | Total Earth Work |  |  |  |  | 428.905 | cum
Total RCC upto Plinth
|  | Total |  |  |  |  | 20
|  | Say |  |  |  |  | 20 | cum
4 | 2.26.1 | Extra lift
|  | F1 | 28 | 1.35 | 1.65 | 0.5 | 31.185 | cum
|  | F2 | 4 | 1.65 | 1.65 | 0.5 | 5.445
|  | F3 | 6 | 1.55 | 1.85 | 0.5 | 8.6025
|  | F4 | 2 | 1.65 | 1.95 | 0.5 | 3.2175
|  | F5 | 4 | 1.95 | 1.95 | 0.5 | 7.605
|  | F6 | 6 | 2.15 | 2.35 | 0.5 | 15.1575
|  | F7 | 2 | 1.35 | 1.35 | 0.5 | 1.8225
|  | CFI | 2 | 1.95 | 4.15 | 0.5 | 8.0925
|  | CF2 | 2 | 2.15 | 3.95 | 0.5 | 8.4925
|  | Total |  |  |  |  | 89.62
|  | Say |  |  |  |  | 90 | cum
5 | 2.27 | SANDFILLING | 1 | 800 |  | 0.08 | 64
|  | Total |  |  |  |  | 64
|  | Say |  |  |  |  | 64 | cum
6 |  | PCC 1:4:8
|  | F1 | 28 | 1.35 | 1.65 | 0.1 | 6.237 | CUM
|  | F2 | 4 | 1.65 | 1.65 | 0.1 | 1.089
|  | F3 | 6 | 1.55 | 1.85 | 0.1 | 1.7205
|  | F4 | 2 | 1.65 | 1.95 | 0.1 | 0.6435
|  | F5 | 4 | 1.95 | 1.95 | 0.1 | 1.521
|  | F6 | 6 | 2.15 | 2.35 | 0.1 | 3.0315
|  | F7 | 2 | 1.35 | 1.35 | 0.1 | 0.3645
|  | CFI | 2 | 1.95 | 4.15 | 0.1 | 1.6185
|  | CF2 | 2 | 2.15 | 3.95 | 0.1 | 1.6985
|  | PCC UNDER FLOOR | 1 | 650 | 1 | 0.1 | 65
TIE BEAM
|  |  | 6 | 18 | 0.3 | 0.1 | 3.24
|  |  | 2 | 7 | 0.3 | 0.1 | 0.42
|  |  | 10 | 11.5 | 0.3 | 0.1 | 3.45
|  |  | 2 | 17 | 0.3 | 0.1 | 1.02
|  |  | 2 | 10 | 0.3 | 0.1 | 0.6
|  |  | 8 | 7 | 0.3 | 0.1 | 1.68
EXTRA
|  | Total |  |  |  |  | 93.334 | CUM
7 |  | RCC IN F/N
|  | F1 | 28 | 1.2 | 1.5 | 0.3 | 15.12
|  | F2 | 4 | 1.5 | 1.5 | 0.3 | 2.7
|  | F3 | 6 | 1.4 | 1.7 | 0.3 | 4.284
|  | F4 | 2 | 1.5 | 1.8 | 0.3 | 1.62
|  | F5 | 4 | 1.8 | 1.8 | 0.3 | 3.888
|  | F6 | 6 | 2 | 2.2 | 0.3 | 7.92
|  | F7 | 2 | 1.3 | 1.2 | 0.3 | 0.936
|  | CFI | 2 | 1.8 | 4 | 0.5 | 7.2
|  | CF2 | 2 | 2 | 3.8 | 0.5 | 7.6
RCC IN COLUMNS UPTO PL
|  | GF | 56 | 0.3 | 0.5 | 1.8 | 15.12
|  | ENT | 4 | 0.45 | 0.45 | 1.8 | 1.458
|  | FF | 20 | 0.3 | 0.5 | 1.8 | 5.4
RCC IN WALLS
|  |  | 0 | 10 | 0.2 | 14.5 | 0
RCC IN TIE BEAM
|  |  | 10 | 18 | 0.23 | 0.45 | 18.63
|  |  | 2 | 7 | 0.23 | 0.45 | 1.449
|  |  | 10 | 11.5 | 0.23 | 0.45 | 11.9025
|  |  | 2 | 17 | 0.23 | 0.45 | 3.519
|  |  | 2 | 10 | 0.23 | 0.45 | 2.07
|  |  | 8 | 7 | 0.23 | 0.45 | 5.796
|  | EXTRA | 30 | 2 | 0.11 | 0.45 | 2.97
7 (a) |  | Total RCC upto Plinth |  |  |  |  | 119.5825 | cum
7 (b) |  | RCC Above Plinth
|  | RCC IN BEAMS |  | GF
|  | GF | 10 | 18 | 0.23 | 0.45 | 18.63
|  |  | 2 | 7 | 0.23 | 0.45 | 1.449
|  |  | 10 | 11.5 | 0.23 | 0.45 | 11.9025
|  |  | 2 | 17 | 0.23 | 0.45 | 3.519
|  |  | 2 | 10 | 0.23 | 0.45 | 2.07
|  |  | 8 | 7 | 0.23 | 0.45 | 5.796
|  | EXTRA | 30 | 2 | 0.11 | 0.45 | 1.58
|  | FF | 2 | 17 | 0.23 | 0.45 | 3.519
|  |  | 2 | 10 | 0.23 | 0.45 | 2.07
|  |  | 8 | 7 | 0.23 | 0.45 | 5.796
|  |  | 2 | 10 | 0.23 | 0.45 | 2.07
|  | lintels |  |  |  |  | 2
RCC IN COLUMNS above PL
|  | GF | 56 | 0.3 | 0.5 | 5.7 | 47.88
|  | ENT | 4 | 0.45 | 0.45 | 5 | 4.05
|  | FF | 20 | 0.3 | 0.5 | 3.6 | 10.8
RCC IN STAIR
|  | FLOORS | 2 | 7 | 1.2 | 0.15 | 3.78
RCC IN SLABS
|  | FLOORS | 1 | 650 |  | 0.125 | 81.25
|  |  |  | 150 |  | 0.125 | 18.75
|  |  |  | 10 |  | 0.125 | 1.25
|  | Total RCC Above Plinth |  |  |  |  | 228.1615 | CUM
8 |  | REINFORCEMENT
8 (a) |  | Steel up to Plinth |  |  | 119.5825 | 130 | 15545.725 | Kg
8 (b) |  | Steel above Plinth |  |  | 228.1615 | 130 | 29660.995 | Kg
9 |  | SHUTTERING
A |  | RCC IN F/N
|  | F1 | 28 | 5.4 |  | 0.3 | 45.36
|  | F2 | 4 | 6 |  | 0.3 | 7.2
|  | F3 | 6 | 6.2 |  | 0.3 | 11.16
|  | F4 | 2 | 6.6 |  | 0.3 | 3.96
|  | F5 | 4 | 7.2 |  | 0.3 | 8.64
|  | F6 | 6 | 8.4 |  | 0.3 | 15.12
|  | F7 | 2 | 4.8 |  | 0.3 | 2.88
|  | CFI | 2 | 11.8 |  | 0.5 | 11.8
|  | CF2 | 2 | 11.6 |  | 0.5 | 11.6
[7 empty] | 117.72 | SQM
B |  | RCC IN COLUMNS
|  |  | 56 | 1.6 |  | 5.7 | 510.72
|  | ENT | 4 | 1.8 |  | 5 | 36
|  |  | 20 | 1.6 |  | 3.6 | 115.2
|  | RCC IN TIE BEAM | 20 | 18 |  | 0.45 | 162
|  |  | 4 | 7 |  | 0.45 | 12.6
|  |  | 20 | 11.5 |  | 0.45 | 103.5
|  |  | 4 | 17 |  | 0.45 | 30.6
|  |  | 4 | 10 |  | 0.45 | 18
|  |  | 16 | 7 |  | 0.45 | 50.4
|  | EXTRA | 30 | 2 |  | 0.45 | 27
C | BEAMS | GF
|  |  | 20 | 18 |  | 0.45 | 162
|  |  | 4 | 7 |  | 0.45 | 12.6
|  |  | 20 | 11.5 |  | 0.45 | 103.5
|  |  | 4 | 17 |  | 0.45 | 30.6
|  |  | 4 | 10 |  | 0.45 | 18
|  |  | 16 | 7 |  | 0.45 | 50.4
|  | EXTRA | 30 | 2 |  | 0.45 | 27
|  | FF | 4 | 17 |  | 0.45 | 30.6
|  |  | 4 | 10 |  | 0.45 | 18
|  |  | 16 | 7 |  | 0.45 | 50.4
|  |  | 4 | 10 |  | 0.45 | 18
925.2
E |  | RCC IN STAIR
|  | FLOORS | 2 | 7 | 1.2 |  | 16.8
SQM
f |  | RCC IN SLABS
|  | FLOORS | 1 | 650 |  |  | 650
|  |  | 1 | 150 |  |  | 150
|  |  | 1 | 10 |  |  | 10
810
10 |  | 230 mm Brick Work
GF
|  | EXT | 1 | 150 | 0.23 | 3.15 | 108.675
|  | INT | 1 | 80 | 0.23 | 3.15 | 57.96
|  | DEDUCTION (10%) |  |  |  |  | -16.6635
[7 empty] | 149.9715 | CUM
FF
|  | 115 INT WALLS | 1 | 75 |  | 3.15 | 236.25
|  | DEDUCTION (10%) |  |  |  |  | -23.625
[7 empty] | 212.625 | SQM
FF
|  | EXT | 1 | 50 | 0.23 | 3.15 | 36.225
|  | INT | 1 | 25 | 0.23 | 3.15 | 18.1125
|  | DEDUCTION (10%) |  |  |  |  | -5.4337
[7 empty] | 48.9038 | CUM
FF
|  | 100 INT WALLS | 1 | 15 |  | 3.15 | 47.25
|  | DEDUCTION (10%) |  |  |  |  | -4.725
[7 empty] | 42.525 | SQM
|  | FULL |  |  |  |  | 198.8752
|  | PARAPET | 1 | 150 | 0.23 | 0.9 | 31.05
|  | Total Brick Work |  |  |  |  | 229.9253 | cum
|  | Say |  |  |  |  | 230 | cum
11 |  | HALF |  |  |  |  | 255.15
|  |  | 24 | 1.5 |  | 3.15 | 113.4
|  | Total Half Brick Work |  |  |  |  | 368.55 | sqm
|  | Say |  |  |  |  | 370 | sqm
12 |  | Extra for Steel in Brick Work
|  | Same as above |  |  |  |  | 370
|  | Total Half Brick Work |  |  |  |  | 370 | sqm
13 |  | TEAK WOOD FRAME |  |  | (125X65)
|  | D1 | 27 | 5.34 | 0.125 | 0.065 | 1.1715
|  | Total |  |  |  |  | 1.1715 | cum
|  | Say |  |  |  |  | 1.2 | cum
14 |  | PANELLED |  |  | (125X65)
|  | D1 | 27 | 1.05 |  | 2.1 | 59.535
|  | Total |  |  |  |  | 59.535 | sqm
|  | Say |  |  |  |  | 60 | sqm
15 |  | ALUMINIUM WORK GF
|  | W1 | 20 | 1.8 | 1.65 |  | 59.4
|  | V1 | 8 | 0.6 | 0.9 |  | 4.32
|  | AL DOORS SHUTTERS | 18 | 1.2 | 2.1 |  | 45.36
[7 empty] | 109.08 | sqm
|  | FF |  |  |  |  | 22.32 | sqm
[7 empty] | 131.4 | sqm
|  |  | 131.4 | SQM | 15 | KG/SQM | 1971 | Kg
|  | For Fixed Portion |  |  |  | 30% | 591.3 | Kg
|  | For shutters |  |  |  | 70% | 1379.7 | Kg
16 |  | 12mm thick prelaminated particle board | 1 | 5 | 0.6 | 1.2 | 3.6 | sqm
17 |  | fixing glazing in aluminium door
|  | Same as Aluminium |  |  |  |  | 131.4 | sqm
18 |  | FRP FRAMES | 1 | 16 |  | 5.1 | 81.6 | RM
19 |  | FRP SHUTTERS | 1 | 16 | 0.9 | 2.1 | 30.24 | sqm
20 |  | Aluminium sliding door bolts
|  | 300x16 mm |  |  |  |  | 5 | Each
21 |  | Aluminium tower bolts
|  | 200x10 mm |  |  |  |  | 90 | Each
|  | 150x10 mm |  |  |  |  | 330 | Each
22 |  | Aluminium handles
|  | 125 mm |  |  |  |  | 80 | Each
|  | 100 mm |  |  |  |  | 120 | Each
|  | 75 mm |  |  |  |  | 45 | Each
23 |  | 40x5 mm flat iron hold fast |  |  |  |  | 162 | Each
24 |  | SS Railing
|  | Stair | 1 | 2 | 2.8 | 15 | 84 | Kg
25 |  | Ceramic glazed wall tiles
|  | Outer Periferry | 1 | 1 | 137.8 | 1.5 | 206.7 | sqm
|  | internal all walls | 1 | 2 | 23 | 1.5 | 69
|  |  | 1 | 2 | 23 | 1.5 | 69
|  |  | 11 | 2 | 4.3 | 1.5 | 141.9
|  | Circular | 1 | 1 | 6.3 | 1.5 | 9.45
|  |  | 1 | 1 | 4.2 | 1.5 | 6.3
|  | Toilets | 1 | 2 | 16.8 | 2.1 | 70.56 | sqm
Deductions
|  | Doors | -1 | 22 | 1 | 1.5 | -33 | sqm
|  | Win | -1 | 23 | 1.5 | 0.3 | -10.35
|  | Total |  |  |  |  | 529.56 | sqm
26 |  | Granite for platforms
|  | Registration | 1 | 1 | 4.76 | 0.6 | 2.856 | sqm
|  | Lab | 1 | 1 | 6.55 | 0.6 | 3.93
|  | Toilets | 1 | 7 | 2.1 | 0.6 | 8.82
|  | Total |  |  |  |  | 15.606 | sqm
27 |  | 52 mm thick cement concret flooring
|  | Just for Quantity | 1 | 1 | 6 | 10 | 60 | sqm
|  | Total |  |  |  |  | 60 | sqm
28 |  | Rectified Glazed Ceramic floor tiles
|  | Toilet M/F | 1 | 1 | 3.41 | 4.32 | 14.7312 | sqm
|  | Doc Toi | 1 | 5 | 1.35 | 1.53 | 10.3275 | sqm
|  | Staff Toi | 1 | 2 | 1.6 | 2.1 | 6.72 | sqm
|  | Total |  |  |  |  | 31.7787 | sqm
29 |  | Kota Stone slab flooring
|  | GF | 30 | 2 |  | 0.45 | 27 | sqm
|  | FF | 30 | 2 |  | 0.45 | 27 | sqm
|  | Total |  |  |  |  | 54 | sqm
30 |  | Vitrified floor tiles
|  | Total Floor Area |  |  |  |  | 650.88 | sqm
Deduct for
|  | Walls | -1 |  | 650.88 | 8% | -52.0704
|  | Rectified Glazed Ceramic floor tiles | -1 |  | 31.7787 | 1 | -31.7787
|  | Kota Stone slab flooring | -1 |  | 54 | 1 | -54
|  | Total |  |  |  |  | 513.0309 | sqm
31 |  | PLASTER 12 mm
|  | EXT OR SIDE | 1 | 200 |  | 3.15 | 630
|  | INT WALLS | 2 | 105 |  | 3.15 | 661.5
|  | INT | 2 | 90 |  | 3.15 | 567
|  | DEDUCTION (5%) |  |  |  |  | -92.925
|  | wall Tiles | -1 |  | 529.56 | 1 | -529.56
|  | Total |  |  |  |  | 1236.015 | sqm
32 |  | CEILING PLASTER 6 mm
|  | Total Floor Area |  |  |  |  | 650.88
|  | Total |  |  |  |  | 650.88 | sqm
33 |  | PLASTER 15 mm | 1 | 200 |  | 3.3 | 660
|  | DEDUCTION (10%) |  |  |  |  | -66
|  | Total |  |  |  |  | 594 | sqm
34 |  | Distempering with oil bound distemper
|  | same as 12 mm plaster |  |  |  |  | 1236.015 | sqm
35 |  | White washing
|  | same as 6 mm plaster |  |  |  |  | 650.88 | sqm
36 |  | Painting with synthetic enamel paint |  |  |  |  | 61.1 | sqm
37 |  | Applying priming coat on wood |  |  |  |  | 61.1 | sqm
38 |  | Textured exterior paint
|  | Outer Periferry GF | 1 | 1 | 137.8 | 4.6 | 633.88 | sqm
|  | Outer Periferry FF | 1 | 1 | 62.07 | 3.3 | 204.831 | sqm
|  | Deductions for Windows | -1 | 23 | 1.5 | 1.2 | -41.4 | sqm
|  | Add for Soffits | 1 | 23 | 5.4 | 0.6 | 74.52 | sqm
|  | Total |  |  | 2X(1.5+1.2)=5.4 |  | 871.831 | sqm
39 |  | Water proofing treatment of roofs
|  | Area of Ground Floor |  |  |  |  | 522.62 | sqm
40 |  | water proofing to depressed portion
|  | Just for Quantity | 1 | 1 | 6 | 4 | 24 | sqm
|  | Total |  |  |  |  | 24 | sqm
41 |  | Gola
|  | Outer Periferry | 1 | 1 | 137.8 | 1 | 137.8 | Rm
42 |  | KHURRAS |  |  |  |  | 12 | NOS
43 |  | PLINTH PROTECTION
|  | same as above (Gola) |  |  |  |  | 137.8 | Rm
44 |  | Perforated Gypsum Board false ceiling
|  | GF Area |  |  |  |  | 522.62 | sqm
Deduct for
|  | Toilet M/F | -1 | 1 | 3.41 | 4.32 | -14.7312 | sqm
|  | Doc Toi | -1 | 5 | 1.35 | 1.53 | -10.3275 | sqm
|  | Staff Toi | -1 | 2 | 1.6 | 2.1 | -6.72 | sqm
|  | Total |  |  |  |  | 490.8413 | sqm
45 |  | Double glazed aluminium windows | 1 | 3 | 4.53 | 6.3 | 85.617 | sqm

## Do PH (hidden)
#REF!
Details of Measurements
PLUMBING WORK
SL | DESCRIPTION OF ITEM | UNIT | Nos.
1 | Water Closet (Indian type W.C. pan) | each | 3
2 | Water Closet (European type) | each | 8
3 | Urinal
| With 5 litres P.V.C. flushing cistern. | each | 1
| With 10 litres P.V.C. flushing cistern. | each | 2
4 | Kitchen sink with drain board | each | 1
5 | Wash Basin | each | 17
6 | sand cast iron trap | each | 32
7 | 100 mm sand cast iron grating | each | 32
8 | 600x450 mm bevelled edge mirror | each | 15
9 | Rectangular shape 1500x450 mm. | each | 2
a) | RW Pipe : 110 mm diameter 14 X 4.5 +2 X 7.65 = 72 | meter | 72
10 | fancy C.P.brass fittings and flange
a) | 15mm nominal bore bib cock | Each | 17
b) | 15mm nominal bore bib cock long | Each | 1
c) | 15mm nominal bore concealed stop cock | Each | 11
d) | 15mm nominal bore angle valve | Each | 5
g) | 32 mm bottle trap | Each | 6
11 | G.I. pipes
Exposed on wall
a) | 15 mm dia. Nominal bore | Metre | 40
b) | 20 mm dia. Nominal bore | Metre | 120
c) | 25 mm dia. Nominal bore | Metre | 120
d) | 32 mm dia. Nominal bore | Metre | 150
12 | Gun metal gate valve
a) | 25 mm dia. Nominal bore | Metre | 8
b) | 32 mm dia. Nominal bore | Metre | 4
13 | Concealed pipe including painting
a) | 15 mm dia. Nominal bore. | metre | 200
b) | 20 mm dia. Nominal bore. | metre | 50
14 | glazed stoneware pipes
a) | 100 mm diameter. | metre | 30
b) | 150 mm diameter. | metre | 150
15 | cement concrete 1:5:10
a) | 100 mm diameter S.W. pipe. | metre | 30
b ) | 150 mm diameter S.W. pipe. | metre | 150
16 | S.W. gully trap
b) | With Sewer bricks conforming to IS : 4885 | each | 10
17 | brick masonry manhole
a) | Inside size 90x80 cm and 45 cm deep
b) | With Sewer bricks conforming to IS : 4885 | each | 24

## INT Do (hidden)
#REF!
DETAILS OF MEASUREMENTS
INTERIOR WORKS
Sl | DESCRIPTION | QTY | UNIT
1 | Storage Museum racks/ Library Racks | 20 | Nos.
2 | Providing chair as follows
a) | Executive Chair : Doctors (in charge) | 6 | no
b) | Visitor Chair : : Doctors (in charge) | 18 | no
c) | Staff Chair : for Working | 8 | no
d) | Waiting Lounge Chair : OPD (For 36 Patients) | 24 | no
3 | Doctors Main Table of size 1800W x 750D x 750H
| Trident-Senior Main table - 1800 X 750 X 750, | 6 | no
| Side Table - 1000 X 450 X 740 | 6 | no
4 | Working Staff : Study Table of size 1200mm x 600mm x 740mm | 8 | no

## Do Tank (hidden)
#REF!
Details of Measurements
Tank (UG & OHT)
Sl | DSR | description | nos |  | length | width | height | quantity | unit | remarks
1 | 2.6.1 | Earth work over areas
Columns
|  | tank |  | 1 | 7 | 4 | 1.5 | 42 | cum
|  | Total | [5 empty] | 42 | cum
2 | 2.25 | Back filling (Earth)
|  | Total Earth Work | [5 empty] | 42
|  | tank |  | -1 | 5 | 2 | 1.5 | -15 | cum
|  | Total | [5 empty] | 27 | cum
3 | 4.1.10 | for P.C.C. bed 1:5:10
|  | tank |  | 1 | 4.3 | 2.3 | 0.15 | 1.4835 | cum
4 | 5.33 | RCC work Summary
| 5.33.1 | RCC work up to plinth | [5 empty] | 9.76 | cum
| 5.33.1 | concrete work (up to plinth)
in concrete bed
|  | tank | 1 |  | 5 | 2 | 0.3 | 3 | cum
|  | R wall | 1 |  | 14 | 0.2 | 1.7 | 4.76 | cum
|  | Slab | 1 |  | 5 | 2 | 0.2 | 2 | cum
|  | total concrete work up to plinth | [5 empty] | 9.76 | cum
5 | 5.9 | Centering and shuttering
| 5.9.1 | suttering on concrete bed
|  | tank | 1 |  | 5 | 2 | 0.45 | 6.3 | sq.mt.
|  | Total | [5 empty] | 6.3 | sq. mt.
| 5.9.2 | walls
|  | R wall |  | 2 | 14 | 1.5 |  | 42 | sq. mt.
|  | Total | [5 empty] | 42 | sq. mt.
| 5.9.3 | for Slab
|  | b wall | 1 |  | 5 |  | 2 | 10 | sq.mt.
|  | Total | [5 empty] | 10 | sq.mt.
6 | 5.22.6 | Reinforc work up to plinth
|  | in bldgs. |  |  | 9.76 | 150 |  | 1464 | kg
|  | Total reinforcement upto plinth |  |  | 9.76 |  |  | 1464 | kg
7 | 16.53 | Wall Tiles
|  | same as plaster |  | 1 | 14 |  |  | 14 | sq m
|  | Total | [5 empty] | 14 | sq m
8 |  | Water Proofing
|  | Horizontal |  | 1 | 5.6 | 2.6 |  | 14.56 | sq m
|  | Total | [5 empty] | 14.56 | sq m
9 |  | Water Proofing
|  | Vertical |  | 1 | 16.4 | 1.7 |  | 27.88 | sq m
|  | Total | [5 empty] | 27.88 | sq m

## Do Site (hidden)
#REF!
Details of Measurements
Site Development, Road & Horticulture Works
Sl | DSR | description | nos |  | length | width | height | quantity | unit
1 |  | Trenching in ordinary soil up to a depth of 60cm |  | 1 | 500 |  | 0.15 | 75 | cum
2 |  | Supplying and stacking of good earth |  | 1 | 1500 |  | 0.45 | 675 | cum
3 |  | Supplying and stacking sludge at site |  | 1 | 1500 |  | 0.05 | 75 | cum
4 |  | Rough dressing the trenched ground |  | 1 | 1500 |  | 0.1 | 150 | 100sq.m.
5 |  | Uprooting weeds from the trenched area |  | 1 | 1500 |  | 0.1 | 150 | 100sq.m.
6 |  | Fine dressing of the ground |  | 1 | 1500 |  | 0.1 | 150 | 100sq.m.
7 |  | Spreading of sludge, dump manure and / or good earth in required thickness |  | 1 | 1500 |  | 0.05 | 75 | Cum
8 |  | Mixing earth and sludge or manure |  | 1 | 1500 |  | 0.05 | 75 | cum
9 |  | Uprooting rank vegetation and weeds by digging the area to a depth of 60cm |  | 1 | 1500 |  | 0.1 | 150 | 100 Sqm
10 |  | Preparation of beds for hedging and shrubbery by excavating 60cm |  | 1 | 500 |  | 0.15 | 75 | cum
11 |  | Digging holes in ordinary soil and refilling the same
|  | Holes 90 cm dia, and 90 cm deep. |  | 1 | 100 |  |  | 100 | Each
12 |  | Providing and fixing M. S. tree guard 50 cm square in plan |  | 1 | 100 |  |  | 100 | Each
13 | 16.1 | Preperation of Surface for Road
|  | Road Area | [5 empty] | 715 | sqm
|  | Total Road work | [5 empty] | 715 | sqm
14 | 16.43 | Design mix CC M-30 in Roads |  |  | 715 |  | 0.15 | 107.25 | cum
15 | 16.69 | kerb stone of M-25 grade |  | 189 | 0.3 | 0.45 | 0.15 | 3.8272 | cum
16 | 16.78 | GSB
|  | 150 mm on Road Area |  |  | 715 |  | 0.15 | 107.25 | cum

## Do RWH (hidden)
#REF!
Details of Measurement for RWH system (2.5m dia x 4.0m)
1 | Excavation - 1.5m deep | Area | Depth
| for RCC WELL | 9.7327 | 1.5 | = | 14.599
| for De-silt chamber | 2.89 | 1.25 | = | 3.6125
| Total |  |  |  | 18.2115
| For 1 Pits |  |  | 1 | 18.2115
2 | Excavation - 1.5m to 3.0mdeep | Area | Depth
| for RCC WELL | 9.7327 | 1.5 | = | 14.599
| Total |  |  |  | 14.599
| For 1 Pits |  |  | 1 | 14.599
3 | Excavation - 3.0m to 4.5mdeep | Area | Depth
| for RCC WELL | 9.7327 | 1.5 | = | 14.599
| Total |  |  |  | 14.599
| For 1 Pits |  |  | 1 | 14.599
4 | Excavation - 4.5m to 6.0mdeep | Area | Depth
| for RCC WELL | 9.7327 | 1.5 | = | 14.599
| Total |  |  |  | 14.599
| For 1 Pits |  |  | 1 | 14.599
5 | C.C.1:5:10 | Area | Depth
| for RCC WELL | 5.8206 | 0.2 | = | 1.1641
| for De-silt chamber | 2.89 | 0.15 | = | 0.4335
| Total |  |  |  | 1.5976
| For 1 Pits |  |  | 1 | 1.5976
6 | R.C.C. for walls | Area | Depth
| for RCC WELL | 2.5969 | 4.1 | = | 10.6471
| Total |  |  |  | 10.6471
| For 1 Pits |  |  | 1 | 10.6471
7 | R.C.C. for slabs | Area | Depth
| for RCC WELL | 11.6431 | 0.15 | = | 1.7465
| for De-silt chamber | 2.89 | 0.15 | = | 0.4335
| Total |  |  |  | 2.18
| For 1 Pits |  |  | 1 | 2.18
| Total RCC |  |  |  | 12.8271
8 | Centring & shuttering, | Area | Depth
for walls
| for RCC WELL | 8.9547 | 4.1 | = | 36.7143
| Total |  |  |  | 36.7143
| For 1 Pits |  |  | 1 | 36.7143
for slab
| for RCC WELL | 6.3802 | 0 | = | 6.3802
| for De-silt chamber | 2.89 | 0 | = | 2.89
| Total |  |  |  | 9.2702
| For 1 Pits |  |  | 1 | 9.2702
9 | Plastering for RCC work | Area | Depth
for walls
| for RCC WELL | 25.5209 | 4.1 | = | 104.6357
| Total |  |  |  | 104.6357
for slab
| for RCC WELL | 6.3802 | 2 | = | 12.7604
| for De-silt chamber | 2.89 | 2 | = | 5.78
| Total |  |  |  | 227.8118
| For 1 Pits |  |  | 1 | 227.8118
10 | TMT bar @ 130 kg/Cum | 12.8271 | 130 |  | 1667.5229
|  |  |  | say | 1667.5229
| For 1 Pits |  |  | 1 | 1667.5229
11 | Brick work | Area | Depth
| for De-silt chamber | 0.7038 | 0.65 | = | 0.45747
| for De-silt chamber | 1.0557 | 0.45 | = | 0.47507
| Total |  |  |  | 0.93254
| For 1 Pits |  |  | 1 | 0.93254
12 | Cement Plastering for Brick work | Area | Depth
| for De-silt chamber | 3.06 | 1.1 | = | 3.366
| Total |  |  |  | 3.366
| For 1 Pits |  |  | 1 | 3.366
| Providing orange colour safety foot rest |  | 15 | 1 | 15
Providing and fixing in positiion pre-cast R.C.C. manhole cover and frame of required shape and approved quality
M D - 10
| Circular shape 500 mm internal diameter |  |  |  | 3
| Boring/drilling bore well |  |  |  | 3
| Supplying, assembling, lowering pvc medium |  | 15 | 1 | 15
200mm nominal size dia
Supplying, assembling, lowering and fixing unplasticized pvc medium well
| 200mm nominal size dia |  | 15 | 1 | 15
| Supplying, filling, spreading & leveling stone boulders of size range 5cm to 20cm, in recharge pit, in the required thikness, for all leads & lifts, all complete as per direction of Engineer-in-charge. | 1 | 8.9547 | 1.385 | 12.4023
| Supplying, filling, spreading & leveling gravel of size range 5mm to 10mm | 1 | 8.9547 | 1.385 | 12.4023
| Supplying, filling, spreading & leveling coarse sand | 1 | 8.9547 | 1.385 | 12.4023

## Do Bwa (hidden)
#REF!
Details of Measurements
Boundary Wall
|  | Boundry wall |  |  | 233 |  | 1.8
|  | No. of Columns in Bound Wall |  | 3.15 | 73.9683
|  | Exp. Joints in Bound Wall |  | 30 | 7.7667
|  | Total Columns in B Wall |  |  | 81.7349 | Say | 82
Sl | DSR | description | nos |  | length | width | height | quantity | unit | remarks
1 | 2.6.1 | Earth work over areas
Columns
|  | b wall column |  | 82 | 1.8 | 1.8 | 1.35 | 358.668 | cum
|  | Total | [5 empty] | 358.668 | cum
2 | 2.25 | Back filling (Earth)
Total Conc Work in Foundation
|  | b wall column |  | 82 | 1.2 | 1.2 | 0.4 | 47.232 | cum
|  |  |  | 82 | 0.3 | 0.3 | 1.1 | 8.118
|  | Total | [5 empty] | 55.35 | cum
|  | Total Earth Work Done | [5 empty] | 358.668 | cum
|  | Net Quantity Back Filling | [5 empty] | 303.318 | cum
3 | 4.1.10 | for P.C.C. bed 1:5:10
|  | Boundary Wall |  |  | 233 | 0.53 | 0.15 | 18.5235 | cum
Summary Beam Lengths
|  | Total Boundary Wall | [5 empty] | 233
|  | Total Beam Lengths | [5 empty] | 233 | mt.
4 | 5.33 | RCC work Summary
| 5.33.1 | RCC work up to plinth | [5 empty] | 57.159 | cum
| 5.33.2 | RCC work above plinth | [5 empty] | 15.5434 | cum
| 5.33.1 | concrete work (up to plinth)
in concrete bed
|  | b wall | 82 |  | 1.2 | 1.2 | 0.3 | 35.424 | cum
|  | column up to plinth | 82 |  | 0.3 | 0.23 | 1 | 5.658 | cum
|  | plinth beam |  | 1 | 233 | 0.3 | 0.23 | 16.077 | cum
|  | total concrete work up to plinth | [5 empty] | 57.159 | cum
| 5.33.2 | concrete work ( above plinth)
column
|  | b wall | 82 |  | 0.3 | 0.23 | 1.8 | 10.1844 | cum
|  | total | [5 empty] | 10.1844 | cum
beam
|  | boundry wall (coping) |  |  | 233 | 0.23 | 0.1 | 5.359
|  | total RCC work above plinth | [5 empty] | 15.5434
5 | 5.9 | Centering and shuttering
| 5.9.1 | suttering on concrete bed
|  | b wall | 82 |  | 1.2 | 1.2 | 0.45 | 177.12 | sq.mt.
|  | Total | [5 empty] | 177.12 | sq. mt.
| 5.9.5 | shuttering for beam / Lintels
|  | b wall |  | 1 | 233 | 1.2 |  | 279.6 | sq. mt.
|  | Total | [5 empty] | 279.6 | sq. mt.
0.45+0.45+0.30
| 5.9.6 | for column
|  | b wall | 82 |  | 1.2 |  | 2.8 | 275.52 | sq.mt.
[5 empty] | (0.3+0.3)X2 |  | 1.0+1.6+1.5
|  | Total | [5 empty] | 275.52 | sq.mt.
6 | 5.22.6 | Reinforc work up to plinth
|  | in bldgs. |  |  | 57.159 | 130 |  | 7430.67 | kg
|  | Total reinforcement upto plinth |  |  | 57.159 |  |  | 7430.67 | kg
| 5.22A.6 | total reinforcement above plinth |  |  | 15.5434 | 130 |  | 2020.642 | Kg
7 | 6.4.2 | 230 mm thick brick work
|  | boundray wall |  | 1 | 233 | 0.23 | 1.8 | 96.462 | cum
|  | Total sqm Area of 230 mm Br Work |  |  | 96.462 | 0.23 | 419.4
|  | Total brick work (230 mm) after deduction | [5 empty] | 96.462 | cum.
8 | 13.1.2 | 12 mm cement plaster
|  | Internal Plaster |  | 1 | 233 |  | 1.8 | 419.4
|  | Total | [5 empty] | 419.4 | sq m
9 | 13.2.2 | 15 mm cement plaster | [5 empty] | 419.4 | sq m | same as above
10 | 13.44 | Acrylic Smooth exterior paint
|  | Boundary Wall |  | 2 | 233 |  | 1.8 | 838.8 | sq m
83.88
|  | Total | [5 empty] | 922.68 | sq m
11 | 10.25.2 | Steel work welded in built up sections
|  | Boundary Wall Columns |  | 8 | 82 |  |  | 656 | Kg
|  | Total | [5 empty] | 656 | Kg
12 | 16.53 | concertina coil fencing
|  | Boundary Wall Columns |  | 1 | 233 |  |  | 233 | met
|  | Total | [5 empty] | 233 | met

## Do RW (hidden)
#REF!
Details of Measurements
Retaining Wall
|  | R wall |  |  | 90 | met | 1.2
Sl | DSR | description | nos |  | length | width | height | quantity | unit | remarks
1 | 2.6.1 | Earth work over areas
|  | R wall |  | 1 | 1.2 | 90 | 1.35 | 145.8 | cum
|  | Total | [5 empty] | 145.8 | cum
2 | 2.25 | Back filling (Earth)
Total Conc Work in Foundation
|  | PCC | [5 empty] | 20.25 | cum
|  | RCC | [5 empty] | 74.25
|  | Total | [5 empty] | 94.5 | cum
|  | Total Earth Work Done | [5 empty] | 145.8 | cum
|  | Net Quantity Back Filling | [5 empty] | 51.3 | cum
3 | 4.1.10 | for P.C.C. bed 1:4:8
|  | R wall |  |  | 90 | 1.5 | 0.15 | 20.25 | cum
4 | 5.33 | RCC work Summary
| 5.33.1 | RCC work up to plinth | [5 empty] | 74.25 | cum
| 5.33.1 | concrete work (up to plinth)
in concrete bed
|  | R wall | 1 |  | 90 | 1.2 | 0.4 | 43.2 | cum
up to plinth
|  | R wall | 1 |  | 90 | 0.23 | 1.5 | 31.05 | cum
|  | total concrete work up to plinth | [5 empty] | 74.25 | cum
5 | 5.9 | Centering and shuttering
| 5.9.1 | Foundation | 2 |  | 90 |  | 0.55 | 99 | sq.mt.
|  | R wall | 2 |  | 90 |  | 1.5 | 270 | sq.mt.
6 | 5.22.6 | Reinforc work up to plinth
|  | in bldgs. |  |  | 74.25 | 100 |  | 7425 | kg
|  | Total reinforcement upto plinth |  |  | 74.25 |  |  | 7425 | kg