AMENDMENT - III

Tender for Design, Manufacture, Supply, Installation, Validation and Commissioning of VENTILATOR AUTOCLAVE

IFB No: HLL/AFT/PUR/AUTOCLAVE/2013-14                                       Dtd: 01.11.2013

Ref: Point No.3 of Minutes of the Prebid meeting.

| I. Loading details |  |
| --- | --- |
| Single Bag: |  |
| No of trays per carriage(Single bag) | 32 |
| No. of bag/tray | 28 (7X4) |
| Gap between tray holding angle | 30 mm |
| Multiple Bag |  |
| No of trays per carriage(Multiple bag) | 22 |
| No. of bag/tray | 21 (7X3) |
| Gap between tray holding angle | 45 mm |
| II. Carriage dimensions |  |
| Width | 1120 mm |
| Height | 1082 mm |
| Length | 1000 mm |
| III. Tray Dimension |  |
| Length | 910 mm |
| Width | 1120 mm |
| Pitch of wire mesh | 25 mm x 25 mm |
| Frame width | 30 mm |
| Frame sheet thickness | 3 mm |
| Wire dia | 3 mm |

Joint General  Manager (Materials)