Amendment / Corrigendum to Tender

Sub: TENDER FOR ESTABLISHMENT OF DEIC AT KNH SHIMLA

 IN THE STATE OF HIMACHAL PRADESH ON TURNKEY BASIS.

Ref: **IFB NO: HLL/AFT-CMO/HP-DEIC/EQP/2017-18 DATED 14.02.2018**

|  |  |  |
| --- | --- | --- |
| **Sl No** | **Instead of** | **Read as**  |
| 1. | RET cam or any other Camera to take photographs of the fundus of the new-born | Portable Modular Retinal Camera for Premature Babies (ROP)  |
| **CORRIGENDUM / AMENDMENT TO SECTION VI-Technical Specification (Page – 119)** |
| SPECIFICATIONS PORTABLE MODULAR RETINAL CAMERA FOR PREMATURE BABIES( ROP Device)* It should be Light weight and portable modular retinal camera for diagnosis of retinal diseases of the premature babies.
* Minimum 120 degree field of view.
* Should be able to capture images of the entire eye in a video mode and should be convertible to an image mode for email.
* Retinal camera should be tele medicine compatible so that the high quality and high resolution images of the infant eye could be shared with anyone anywhere for views.
* Software should support sending and receiving images and diagnosis.
* Should have high quality image editing tool to convert the film clip of the screening to frames and freedom of selecting frames.
* Should also assist in image enhancement and compression for faster and efficient transmission.
* Should have adjustable intensity, gain, balance, brightness, contrast, and gamma.
* Should be compatible with DICOM export, Telemedicine, USB 3.0, MS WINDOW 8.1 or better.
* Image resolution ------ 2040x2040-24 bit colors.
* Should be able to measure pupil size of 4mm and above.
* Minimum 120 degree field of view from center of the eye.
* Should supplied with branded laptop with following specification
	+ High Speed i5 Processor or higher, RAM 8GB or more, Hard disk -1 TB or more, Window 8.1 or better, Display at least 15 inch or more
 |
| **Sl No** | **Original Tender Details** | **Amended Tender Details** |
| 1. | **Bid Submission Closing Date**28/02/2018 at 14.00 hrs**Bid Opening Date**28/02/2018 at 15.00 hrs | **Bid Submission Closing Date**05/04/2018 at 14.00 hrs **Bid Opening Date**05/04/2018 at 15.00 hrs |

All other terms and conditions in the original tender remain unchanged.

**21-03.2018                                                            Joint General Manager (Materials)**