TENDER FOR SUPPLY, INSTALLATION, TESTING, VALIDATION AND

COMMISSIONING

OF

120 HP RECIPROCATING ELECTRICAL DRIVEN AIR COMPRESSOR WITH REFREGERENT TYPE AIR DRYEER & AIR RECEIVER

IFB No: HLL/AFT/PUR/AIR COMPRESSOR/2013-2014

INVITATION FOR BID

(TECHNICAL & PRICE BIDS)

##### HLL LIFECARE LIMITED

(A GOVT. OF INDIA ENTERPRISE)

AKKULAM  FACTORY, SREEKARIYAM  P.O.

THIRUVANANTHAPURAM – 695 017

Phone: +91 471 244 5930, Fax : +91 471 244 5935

Email: materialsaft@lifecarehll.com

Web: www.lifecarehll.com

##### HLL LIFECARE LIMITED

(A GOVT. OF INDIA ENTERPRISE)

AKKULAM  FACTORY,

SREEKARIYAM  P.O.

THIRUVANANTHAPURAM – 605 017

IFB NO	                                                                                    : HLL/AFT/PUR/AIR COMPRESSOR/2013-2014

DATE OF COMMENCEMENT 
OF SALE OF BIDDING DOCUMENT                               : 20/11/2013

LAST DATE FOR SALE OF BIDDING DOCUMENT     : 06/12/2013

LAST DATE AND TIME FOR

RECEIPT OF BIDS                                                                : 06/12/2013 upto 14.00 Hrs

TIME AND DATE OF OPENING OF BIDS                       : 06/12/2013 at 15.30 Hrs

PLACE OF OPENING OF BIDS                                          : HLL LIFECARE LIMITED

AKKULAM FACTORY,

SREEKARIYAM P.O.,

TRIVANDRUM - 17

ADDRESS FOR COMMUNICATION                                : JOINT GENERAL MANAGRE (MTLS)

HLL LIFECARE LIMITED

AKKULAM FACTORY,

SREEKARIYAM P.O.,

TRIVANDRUM - 17

PH NO: 0471-2445930

HLL LIFECARE LTD

(A GOVERNEMENT OF INDIA ENTERPRISE)

AKKULAM,SREEKARIYAM (P.O),

THIRUVANANTHAPURAM – 695 017

Tel: 91-471- 2445935

Fax: 91-471-2445930

Email: materialsaft@lifecarehll.com

www.lifecarhll.com

Sealed and superscribed tenders under two bid system are invited for the Supply, Installation, Testing, Validation and Commissioning of 120 HP RECIPROCATING ELECTRICAL DRIVEN AIR COMPRESSOR AND ACCESSORIES at HLL Lifecare Ltd, Akkulam Plant from competent and experienced eligible suppliers who are capable to do the below mentioned work successfully meeting our requirement.

| Sl. No. | Brief Description of Equipment(s) and/or work | Qty in Nos | EMD Amount in Rs |
| --- | --- | --- | --- |
| 1 | SUPPLY, INSTALLATION, TESTING, VALIDATION AND COMMISSIONING OF 120 HP RECIPROCATING ELECTRICAL DRIVEN AIR COMPRESSOR WITH REFREGERENT TYPE AIR DRYEER & AIR RECEIVER AND ACCESSORIES. Capacity in HP(KW): 120 HP(90KW) Free Air Delivery: 550 CFM ~ 600 CFM Normal Working Pressure: 10 Kg/Cm2 | 1 Nos | Rs. 50,000/- |

1) ELEGEBILITY CRITERIA

a) Minimum 5 years of experience in the relevant field.

b) Tender should have executed satisfactorily at least 3 jobs with minimum of rating of 120 HP, 550 CFM, 10 Kg/cm2 Compressor during the last 5 years (copy of work order and completion certificate should be attached along with offer)

c) List of major customers with rating of compressor supplied shall also be attached with offer.

2. A complete set of bid documents can be had from the office of the Joint General Manager (Materials), HLL LIFECARE LTD, Akkulam, Sreekariyam (P.O), Thiruvananthapuram-69017 during office hours on any working day on submission of a written application and remitting a non-refundable fee of Rs. 520/- (including taxes) by cash or in the form of DD drawn in favor of HLL LIFECARE LTD, Payable at Thiruvananthapuram to the undersigned. Those who want the tender documents by post shall pay an additional amount of Rs. 120/-.

3. The bid documents will be available up to 15.00 Hrs. on the previous working day of the opening of the bids.

4. The completed bid documents and all schedules should be submitted to Joint General Manager (MATERIALSl), in the above address along with sealed bids and the EMD. Bids received after due date and time will be rejected. Any bid not accompanied by EMD will be rejected.

5. Bids will be opened in the presence of Bidders representative(s) who choose to attend on the specified date and time, at the office of HLL.

6. In the event of the date specified for bid receipt and opening being declared as a closed holiday for HLL’s office, the due date for submission of bids and opening of bids will be the following working day at the appointed times.

7. The Bidder is expected to examine all specifications, Instructions, Forms, terms and conditions given in the Bidding documents.  Failure to furnish all information required in the Bidding documents or submission of a Bid not substantially responsive to the bidding documents in every respect will be at the Bidders risk and may result in rejection of the Bid.   Any clarification required will have to be obtained within 5 days prior to the Date of opening of the Technical Bid.

8. The Price Bid of those Tenderers who qualify in the Technical Bid only will be opened.

9. HLL may, at its discretion, extend this deadline for submission of bids by amending the Bid Documents or any other reasons, in which case all rights and obligations of the HLL and Bidders previously subject to the deadline will thereafter be subject to the deadline as extended. HLL will not be held responsible for the postal delay, if any, in the delivery of the bidding document or the non-receipt of the same. Bids sent by Telex/Fax/Telegraph will not be accepted. The company reserves the right to club or split the items of works, change the qualifying criteria at their discretion and to reject or cancel the tender without assigning any reason there of.

JOINT GENERAL MANAGER (MATERIALS)

CONTENTS

| SCHEDULE NO | DESCRIPTION | PAGE NOS |
| --- | --- | --- |
| SCHEDULE – I | Condition of Bids | 6 – 12 |
| SCHEDULE – II | Detailed Specification | 13 – 15 |
| SCHEDULE – III | Recommended make of equipment / material | 16 |
| SCHEDULE – IV | Condition of contract | 17 – 23 |
| SCHEDULE – V | Acceptance form / Price Bid forms | 24 – 28 |
| SCHEDULE – VI | Contract Form | 29 - 37 |

SCHEDULE I

### CONDITIONS OF BID

- DEFINITIONS

In this Contract, the following words and expressions shall have the meanings as stated below:

  - “INVITATION FOR BID” shall mean and include the present document, and such other complements and agenda, which may subsequently be issued in this connection.

  - “BIDDER” shall mean the person, firm of Corporation submitting a bid against this invitation for bid and shall also include his authorized agents and representatives.

  - “OWNER” or “PURCHASER” shall mean HLL LIFECARE LTD (HLL), Thiruvananthapuram or its units thereof.

  - `ENGINEER-IN-CHARGE'‚ shall mean the Engineer appointed by the Owner to supervise all the activities of the project.

  - `TENDERER'‚ shall mean the company/agency who quotes against the tender enquiry for undertaking the work.

  - `CONTRACTOR' or ‘SUPPLIER’‚ shall   mean the   successful   bidder whose tender has been accepted by the Owner and to whom the order is placed by the Owner and shall include his heirs, legal representatives, successors etc.

  - `SITE'‚ shall mean the actual place i.e. HLL LIFECARE LTD, Akkulam Factory, Thiruvananthapuram where the project is to be executed.

  - `PROJECT'‚ shall mean entire work specified in the contract documents inclusive of extra items/ extra quantities (if any) executed during the contract period.

  - `ACCEPTANCE LETTER'‚ shall mean written consent by a letter of Owner to the bidder intimating him that his tender has been accepted.

  - `CONTRACT'‚ shall mean the articles of Contract Agreement, the Conditions of Contract, Schedule   of   Quantities, Technical Specifications, Drawings attached and duly signed by   the Owner and the Contractor.

  - “THE CONTRACT PRICE” means the price payable to the supplier under the contract for the full and proper performance of its contractual obligations.

  - “THE GOODS/EQUIPMENTS” means all of the equipments, machinery and/or other materials, which the Supplier is required to supply to the Purchaser under the contract.

  - `COMPLETION CERTIFICATE'‚ shall mean the certificate issued by   the Owner to the   Contractor   after    successful completion of the project. This   certificate will be issued on the basis of Consultant's certificate to Owner about   the completion of the job.

  - “PERFORMANCE OF THE CONTRACT” means successful completion of the contract.

- BID INFORMATION AND PERIOD OF VALIDITY

  - The Bid must include the following: -

  - IFB No.

  - Earnest Money Deposit.

  - All the details and documents mentioned in the Bid.

  - Promised Delivery and Completion Time (whichever is applicable) for each item and/or work as per Schedule II.

  - Certificate that bid is in total conformity with the specifications and terms and conditions mentioned in the bid document and if not, list of exclusions, and/or exceptions.

  - All information requested in the specifications, dimensional drawings, technical literature describing the makes of the item offered, material etc., as specified in the bid document.

  - A priced, recommended spare parts list for two-year operations.

  - Cost of Annual Maintenance contract for 5 years after the warranty period.

  - All other documents/certificate/information as specified in the bid document.

  - Prices indicated on the price schedule shall be entered separately in the following manner:

i. 	The price of the goods, quoted ex-factory, ex-showroom, ex-warehouse or off-the-shelf, as applicable, including Customs / excise and any other applicable duties and sales tax and other relevant taxes already paid or payable

- on the components and raw material used in the manufacture or assembly of the goods quoted ex-factory or

- on the previously imported goods of foreign origin quoted ex-showroom, ex-warehouse or off-the-shelf,

- any sales and other taxes/duties which will be payable on the goods in India if the contract is awarded,

- charges for inland transportation, insurance (if required) and other local costs incidental to delivery of the goods to Site.

- The cost of Annual Maintenance Contract after the warranty period.

  - The bidder’s separation of the price components in accordance with clause above will be solely for the purpose of facilitating the comparison of bids by the purchaser and will not in any way limit the purchaser’s right to contract on any of the terms offered.

  - Prices quoted by the bidder shall be fixed during the bidder’s performance of the contract and not subject to variation on any account. A bid submitted with an adjustable price quotation will be treated as non-responsive and rejected.

  - Bidder must quote for unit price and total price based on the requirement shown in the bid document.

  - The bid shall remain valid for 120 days after the date of bid opening prescribed by the purchaser.

- FORMAT AND SIGNING OF BID

  - The Bidder is expected to examine all instructions, forms, terms and specifications in the Bid Documents.  Failure to furnish all information required by the Bid Documents or submission of a bid not substantially responsive to the Bid Documents in every respect will be at the Bidder’s risk and may result in rejection of its bid.

  - The Bidder shall bear all costs associated with the preparation and submission of its bid, and the Purchaser will in no case be responsible or liable for these costs, regardless of the conduct or outcome of the bidding process.

- SUBMISSION OF BIDS

Sealing and Marking of Bids

  - The Bidder shall seal the original and each copy of the bid in an inner and then in an outer envelope, duly marked the envelopes as “original” and “copy”.

4.2	The inner and outer envelopes shall be: -

(a)	Addressed to the Purchaser in the following address and

JOINT GENERAL MANAGER (MATERIALS),

HLL LIFECARE LTD

AKKULAM, SREEKARIYAM (P.O),

THIRUVANANTHAPURAM – 695 017

KERALA, INDIA

Tel: 91-471- 2445930

Fax: 91-471-2445935

Email: materialsaft@lifecarehll.com

www.lifecarhll.com

(b)	Bear the Enquiry No, closing date and General description of item tendered, and the words “DO NOT OPEN BEFORE” 15.30 Hrs (IST) on 06.12.2013 (Indicate the Closing Date).

(C )The bids (Technical Bids) will be opened on 06.12.2013 at 15.30 Hrs, in the presence of the bidders or their duly authorized personnel who wish to attend the bid opening on the specified date and time at HLL's office mentioned above. In the event of the date being declared is a closed holiday for HLL, the due date for submission of bids and opening of bids will be the following working day at the same time.

4.3	The inner envelopes shall indicate the name and address of the Bidder.  If the outer envelope is not sealed and marked as indicated above, the Purchaser will assume no responsibility for the bid’s misplacement or premature opening.

4.4	Bids should be hand delivered or sent by courier/mail to ensure timely arrival.  Cable, e-mail or facsimile bids will be rejected.

Deadline for submission of Bids

  - The bids will be received by the Purchaser in the following address not later than the date and time specified in the Invitation for Bids.

JOINT GENERAL MANAGER (MATERIALS),

HLL LIFECARE LTD

AKKULAM,SREEKARIYAM (P.O),

THIRUVANANTHAPURAM – 695 017

KERALA, INDIA

Tel: 91-471- 2445930

Fax: 91-471-2445935

Email: materialsaft@lifecarehll.com

www.lifecarhll.com

In the event of the specified date for submission of Bids being declared a holiday for the Purchaser, the bids will be received up to the appointed time on the next working day.

4.6	The purchaser may, at its discretion, extend this deadline for submission of bids by amending the Bid Documents or any other reasons in which case all rights and obligations of the Purchaser and Bidders previously subject to the deadline will thereafter be subject to the deadline as extended.

4.7	It is the responsibility of the bidders to see that the completed bid documents whether sent by post or by courier or by person are received in the office of Joint General Manager (Materials), in the above address by the date and time stipulated for receipt as above failing which the bid would be considered late and rejected. Purchaser will not be held responsible for the postal delay, if any, in the delivery of the bid document or the non-receipt of the same. Bids received after due date and time will be rejected.   Mere handing over of the bid documents at reception counter or at any other counter or room or person cannot be considered as submission of bid.

- CLARIFICATION OF BID DOCUMENTS

A prospective Bidder requiring any clarification of the Bid Documents may notify the Purchaser in writing, or by E-Mail at the purchasers mailing address indicated in the Invitation for Bids. The Purchaser will respond in writing to any request for clarification of Bid Documents, which it receives not later than 7 days prior to the deadline for submission of Bids prescribed by the Purchaser.

- AMENDMENT OF BID DOCUMENTS

6.1	At any time prior to the deadline for submission of bids, the Purchaser may, for any reason, modify the Bid Documents by amendment.

6.2	The amendment will be notified in our website.

6.3	In order to afford prospective Bidders reasonable time in which to take the amendment into account in preparing their bid, the Purchaser may, at its discretion, extend the deadline for the submission of bids.

- BID OPENING BY PURCHASER

  - The Purchaser will open the bids, in the presence of the bidders’ representatives who choose to attend, at the date and time specified and in the location given in this document.  The Bidders’ representatives who are present shall sign a register evidencing their attendance. In the event of the specified date of bid opening being declared a holiday for the Purchaser, the bids shall be opened at the appointed time and location on the next working day.

  - The Bidders’ names and such other details as the Purchaser, at its discretion, may consider appropriate will be announced at the opening.

  - The Purchaser will prepare appropriate bid opening register and the same shall be signed by each of the bidders present during the opening of the bids and the Purchaser.

- CLARIFICATION OF BIDS

To assist in the examination, evaluation and comparison of bids, the purchaser may, at its discretion, ask the bidder for clarifications of its bid.  The request for clarification and the response shall be in writing and no change in the price or substance of the bid shall be sought, offered or permitted.

- PRELIMINARY EXAMINATION

9.1	The purchaser will examine the bids to determine whether they are complete, whether any computational errors have been made, whether the documents have been properly signed, whether the bid validity is as required and whether the bids are generally in order.

9.2	Arithmetical errors will be rectified on the following basis. If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall p revail and the total price shall be calculated.  If there is a discrepancy between the words and figures, the amount in words shall prevail.

9.3	Prior to the detailed evaluation, the purchaser will determine the substantial responsiveness of each bid to the bidding documents. For purposes of these clauses, a substantially responsive bid is one that conforms to specifications and all the terms and conditions of the bid documents without material deviation. The purchaser’s determination of a bid’s responsiveness is to be based on the contents of the bid itself without recourse to extrinsic evidence.

9.4	A bid determined as not substantially responsive will be rejected by the purchaser and may not subsequently be made responsive by the bidder by correction of the non-conformity.

9.5	The purchaser may waive any minor informality or non-conformity or irregularity in a bid, which does not constitute a material deviation, provided such waiver does not prejudice or affect the relative ranking of any bidder.

  - The purchaser’s determination as to the substantial responsiveness or otherwise of each bid or consideration of a minor informality or non-conformity or irregularity is final and conclusive.

- EVALUATION AND COMPARISON OF BIDS.

  - The purchaser will technically evaluate all bids previously determined to be responsive and compare the bids previously determined to be substantially responsive and technically acceptable.

- POST – QUALIFICATION

  - Notwithstanding the qualification requirements given in this document, the Purchaser will determine to its satisfaction whether the Bidder selected as having submitted the lowest evaluated responsive bid is qualified to satisfactorily perform the Contract.

  - The determination will take into account the Bidder’s financial, technical and production capabilities.  It will be based upon an examination of the documentary evidence of the Bidder’s qualifications submitted by the Bidder, as well as such other information as the Purchaser deems necessary and appropriate.

  - The Purchaser reserves the right to negotiate with the lowest evaluated responsive bidder.

  - An affirmative determination will be a prerequisite for award of the Contract to the Bidder.  A negative determination will result in rejection of the Bidder’s bid, in which event the Purchaser will proceed to the next lowest evaluated bid to make a similar determination of that bidder’s capabilities to perform satisfactorily.

  - Conditional Bids shall not be entertained.

- AWARD CRITERIA

The Purchaser will award the Contract to the successful Bidder whose bid has been determined to be substantially responsive and has been determined as the lowest evaluated bid provided further that the Bidder is determined to be qualified to perform the Contract satisfactorily for the items offered.

- NOTIFICATION OF AWARD

  - Prior to the expiration of the period of bid validity, the purchaser will notify the successful Bidder in writing by or E-Mail to be confirmed in writing by post, that its bid has been accepted. The notification of award may be sent in the form of Letter of Intend and/or Work order.

  - The signed acceptance of the notification of award by the Supplier will constitute a concluded contract.

- EARNEST MONEY DEPOSIT

14.1	Each bid must be accompanied by E.M.D.

14.2	The EMD is required to protect the Owner against risk of Bidder’s conduct, which would warrant the security’s forfeiture

- The EMD shall be in the form of Demand Draft from a nationalized/scheduled bank drawn in favour of HLL LIFECARE LTD, Akkulam, Sreekariyam payable at Thiruvananthapuram.

- E.M.D. of the unsuccessful bidders will be released after tabulating tenders, keeping only the earnest money of the first three lowest bidders. The earnest money deposit of the remaining two unsuccessful bidders will be released after the acceptance of the notification of award by the successful bidder.

c. In the case of successful bidder, the Earnest Money will be returned after signing the agreement and submission of Demand Draft towards Security Deposit, which they will have to offer for the faithful execution of the contract.

14.3	The EMD may be forfeited:

(a) If a Bidder withdraws its bid during the period of bid validity specified by the Bidder on the Bid Document; or

(b) In case of the successful Bidder, if the Bidder fails:

(i) to sign the agreement.

(ii) to furnish security deposit.

(iii) does not accept the correction of his bid price pointed out by the HLL

SCHEDULE II

DETAILED SPECIFICATION OF RECIPROCATING COMPRESSOR SYSTEM

### The scope of work includes the following.

    - Supply, installation, testing, validation and commissioning of 1 No. 120 HP Reciprocating Air compressor system including Air Receiver & Refrigerant type Air Dryer, Electrical Panels and all accessories as mentioned in the schedule.

    - Scope of work shall includes necessary pipe lines, so as to integrate the new compressor the existing system.

3) Annual Maintenance Contract of the installed reciprocating air compressor system for the following 5 years after the warantee period of 1 Year.

The Reciprocating Compressor system consists of the following: -

1.	Compressor

Air Compressor shall be suitable for industrial application. Air Compressor to meet following technical specification:-

1. Type: Horizontal Balanced Opposed, Non-Lubricated Heavy duty Water cooled Two stage Double acting and should be Reciprocating Type Air Compressor.

2. Max working Pressure:  10 Kg/Cm2

3. Capacity (air delivery): minimum 550-600 CFM

4. Drive Motor: 120 HP(90 kw -approx), 4 Pole ,Squirrel cage Electric Motor in TEFC enclosure and suitable for 415+/- 10%,50Hz +/-5%, 3 Phase electric supply  and Motor starter panel shall  be with VFD with output chokes, working with feed back/ closed loop control system by sensing air pressure, advanced energy efficient technology should also be incorporated.

5. Loading and Unloading : Compressor shall be  incorporated with Automatic loading and unloading system. Necessary accessories shall in the scope of Tenderer.

6.  Air delivery port: 4 inch or higher

7. All safety controls including low oil pressure , low water flow ,high discharge air temperature , high after cooler discharge air pressure and as required and applicable have to be incorporated in the system.

8. Motor and Compressor shall be belt drive and perfectly aligned.

9. Filter: Should be Dry type suction air filter of suitable type and should be easily serviceable and when required can be replaced easily.

10. Unit to be fitted with Heat Exchangers with shell and tube design (air though tubes)  should be easily removable & serviceable tube bundle type and when required can be replaced easily.

11. Display Unit : Compressor to be equipped with a key pad user interface  display with following parameters  inter stage pressure, discharge pressure , Oil Pressure , running hours, loading hours, service plan and minimum 5-10 last shunt down details also be displayed with date time  etc.

12.  Design of unit: Unit shall be compact having all the  components likecompressor , Heat Exchangers and motor shall be mounted on a single heavy duty steel deck that shall be pre assembled at the factory with all controls and should be accessible for easy servicing.

13. Receiver Unit: Unit shall be vertical position with suitable mounting arrangement, appropriate vent, drain, inspection and process connection to be provided. Automatic drain with trap shall be installed at lowest position of the vessel. Design and construction in accordance with ASME Standard and shall be identification plate indicating conformance with this code.  Material of construction carbon steel with exterior primer and paint coating and suitable interior corrosion resistant coating.

1.2   Air filtration: Dry type suction air filter cum silencer, for protection of compressor from foreign particle/dust and should have good service span.

1.3   Air drying system: Compressor to be equipped with suitable capacity Refrigerant type Air Dryer  with maximum air delivery of the reciprocating compressor (FAD) and shall be  a refrigerated air dryer system operating on environment friendly gas for drying of air up to 2-40C dew point with minimum pressure drop.

1.4. Air Receiver: Air Receiver having capacity of 2000 Ltrs shall be supplied along with the Compressor. Safety shall be provided Vertical position with suitable mounting arrangement, appropriate vent, drain, inspection and process connection to be provided. Automatic drain with trap shall be installed at lowest position of the vessel. Design and construction in accordance with ASME Standard and shall be identification plate indicating conformance with this code.  Material of construction carbon steel with exterior primer and paint coating and suitable interior corrosion resistant coating

1.5. Installation

All the equipments such as Compressor, Refrigerant Air Dryer and Air Receiver shall be installed, tested as per standard of manufacturer.

All safety controls, low and high pressure controls, low oil pressure , low cooling water flow switch, starter overload trips shall be suitably set and a record of all the settings shall be furnished.

1.6. Testing

1. Unit shall be put under full load trial for a period of ten days and shall be operated 8 to 12 hours continuous in a day.

2. Subject to submission of satisfactory performance certificate of the compressor from user, commissioning the unit shall be termed successful and completed.

2. PIPING

2.1 Scope

The scope of this section comprises the supply and laying of interconnection Air Piping  & Water Pipings, Non return valves, inlet and outlet isolation valves, hose piping  and connecting to the existing piping layout at air compressor room.

2.2 Pressure Gauges

Dial type or direct reading industrial  type (Digital type) Pressure gauges with  appropriate range and be complete with shut off gauge cocks etc., duly calibrated before installation. Pressure gauges are to be provided wherever necessary for the maintenance and better functioning of the system.

2.3 Thermometers

Dial or direct reading industrial type Thermometers with of appropriate range duly calibrated before installation. Thermometers are to be provided wherever necessary for the maintenance and better functioning of the system.

3. ELECTRIFICS

The incoming 3 phase, 415 V, 50 Hz supply for the compressor main panel and accessories will be arranged by HLL.

3.1 Panel shall be wall mounting and powder coated with cable entry at the bottom side.

Cutout with Acrylic Cover to be provided in the panel for the view of HMI of the VFD.

Terminals with identification tag shall be provided in the panel for incoming and outgoing cables.

2 nos of Exhaust Fans with louvers to be provided in the Panel.

3.2 Electrical power will be proved at the incoming side of Electrical Panel by HLL. Termination at the incoming outgoing side shall be in scope of Tender.  Control Cabling & Termination be in scope of Tender.  Cable  for the work shall be in the scope of Tenderer.  Power Cables shall be supplied by HLL at free of cost.

3.3 The Electrical Panel shall consists of 400 Amps SDFU, Variable Frequency Drive (VFD)- Compressor rated, Output Choke, Indication Lamps for Phase Indication (R, Y, B), Motor Run Indication, Off Indication & Trip Indication.

3.4 The motor shall be worked in accordance with feedback signal from the Air Receiver Air Pressure.

4. Training : Necessary training shall be impacted by the authorized Commissioning Engineer of the compressor to the Engineers and Technician of HLL at free of cost

SCHEDULE III

| ## RECOMMENDED MAKES OF EQUIPMENT/MATERIAL |  |  |
| --- | --- | --- |
| SL.NO | DESCRIPTION | MAKE |
| 1 | Motor | Kirloskar/ABB/SEIMENS/Crompton Greaves |
| 2 | Compressor | ATLAS COPCO/ CHICAGO PNEUMATIC |
| 3 | Refrigeration Type Air Dryer | DEL AIR/PARKER |
| 4 | Receiver | ATLAS COPCO/ CHICAGO PNEUMATIC |
| 5 | GI Pipes | TATA/JINDAL (IS 1239, C Class, Heavy) |
| 6 | Thermostat | Honeywell/Steafa (Siemens) /Jhonson |
| 7 | Pressure switches/ Flow switches | Danfos/ Indfoss/ Honeywell/ Jhonson |
| 8 | Thermometers/pressure gauge | Fiebig/ H.Guru/Waree/Fobers marshall |
| 9 | Starters and Switchgear | Siemens |
| 10 | Wires/cables | Finolex / Nicco / Gloster |
| 11 | VFD | Allen Bradely/ Mitsubishi |
| 12 | Valves | Intervalve/ Univas/ Audco /Castle/Leader |
| 13 | Pressure Transmitter | Keller/ Jumo/ Siemens/ Honeywell/ Indfoss |
| 14 | Indication Lamps (LED Type) | Teknic/ BCH/ Siemens |

###### SCHEDULE IV

###### CONDITIONS OF CONTRACT

- PRICE

Price quoted should be firm without any escalation till the Contract is completely executed and should be for the item/work shown under SCHEDULE II.

The price quoted should be FOR HLL site including all relevant and applicable taxes and duties, Packing & Forwarding charges, insurance, transportation charges, leading, loading and unloading charges, and any other levies.

- TAXES/DUTIES/LEVIES

A octroi supplier shall be entirely responsible for all the taxes, duties, license fees, etc. incurred until successful completion of contract.  All central, state, municipal taxes, duties and levies payable on the equipment and its erection and commissioning shall be shown by the bidder separately in the Price Bid.

The format for Quoting is enclosed as SCHEDULE V.  The Purchaser will issue necessary ‘C’ Form, if required.

Note:

The term ‘Equipment/goods’ means the final and complete equipment/machinery as ordered and does not mean raw material, components, consumable, etc. required for the work.  The Purchaser shall not be liable to pay any tax/duty/levy incurred during the transactions between the Supplier and his sub-suppliers and or Agents.

- INSURANCE

The goods supplied under the contract, shall be fully insured against loss or damage incidental to manufacture or acquisition, transportation, storage and delivery.

- DELIVERY/COMPLETION PERIOD

  - The Supplier should deliver the equipments as per the Contract within 16 weeks from the date of notification of award.

  - Time being the essence of the Contract, the delivery and completion period stipulated should be strictly adhered to. The total completion time of the project is 18 weeks i.e. 16 weeks for the delivery of all items including imported items at HLL site at Akkulam Factory, 2 week for total erection, validation and commissioning of the reciprocating compressor system.

  - Delay in delivery/non delivery and completion of the contract will cause loss and/or damage to Purchaser. The completion period shall be counted from the date of sending of Purchaser’s intimation of acceptance of the Supplier’s offer (Letter of Intent (LOI) and/or Work order).

  - Delivery of the goods shall be made by the supplier in accordance with the terms specified by the purchaser in the notification of award.

- LIQUIDATED DAMAGES FOR DELAYS

If the supplier fails to deliver any or all of the goods or perform the services within the time period(s) specified in the contract, the purchaser shall, without prejudice to its other remedies under the contract, either (1) deduct from the contract price, as liquidated damages, a sum equivalent to 0.5 percent of the total contract value for each week of delay or part thereof until actual delivery or performance, subject to a maximum of 7.5 % of the total contract value, or (2) at the risk and cost of the Supplier and without prejudice to the other remedies/rights as per the Contract, terminate the Contract wholly or partially and complete it themselves or reassign it to other Suppliers.

- INSPECTION AND TESTS

6.1 The purchaser or its representatives shall have the right to inspect and/or to test the goods to confirm their conformity to the contract.  The purchaser shall notify the supplier in writing of the identity of any representatives for these purposes.

6.2 The inspections and tests may be conducted on the premises of the supplier at point of delivery and/or at site.  Where conducted on the premises of the supplier, the Supplier should make available all reasonable facilities including tools, instruments, apparatus, equipment, facilities, services and materials and assistance, including access to drawings and production data, to enable the Purchaser’s nominee to carryout such inspection/tests without obligations to the purchaser.

  - Should any inspected or tested goods fail to conform to the specifications and performance, th

purchaser may reject then and the supplier shall either replace the rejected goods or make all alternations necessary to meet specification requirements free of cost to the purchaser, within a period of 15 (fifteen) days of intimating such rejection.

6.4 The purchaser’s right to inspect, test and, where necessary, reject the goods after the good’s arrival at site shall in no way be limited or waived by reason of the goods having previously been inspected, tested and passed by purchaser or its representatives prior to the good’s dispatch from the place of manufacture.

  - Notwithstanding any such inspection/tests carried out at Supplier’s works, the equipment shall be

accepted only after receipt and successful commissioning at the site and the inspection/tests carried out at Supplier’s works will not relieve his contractual obligations for conforming to the specifications under the contract.

- PACKING

The supplier shall provide such packing of the goods as is required to prevent their damage or deterioration during transit to site. The packing shall be sufficient to withstand, without limitation, rough handling during transit and open storage.

- TRANSPORTATION

Where the supplier is required under the contract to deliver the goods to a specified 	destination within India, transport of the goods including insurance to such other point 	in India as shall be specified in the contract, shall be arranged and paid for by the 	supplier and the cost thereof shall be included in the contract price.

- SPARE PARTS

  - If  specified  in  the  List  of  Requirements  and  in  the  resultant  contract,  the  supplier  shall supply / provide  any  or  all  of  the  following  materials,  information  etc.  Pertaining to spare parts manufactured and/or supplied by the supplier:

a) The spare parts as selected by the Purchaser/Consignee to be purchased from the supplier, subject to the condition that such purchase of the spare parts shall not relieve the supplier of any contractual obligation including warranty obligations;

and

b) In case the production of the spare parts is discontinued:

i)	Sufficient advance notice to the Purchaser/Consignee before such discontinuation to provide adequate time to the purchaser to purchase the required spare parts etc.

and

ii)	Immediately following such discontinuation, providing the Purchaser/Consignee, free of cost, the designs, drawings, layouts and specifications of the spare parts, as and if requested by the Purchaser/Consignee.

  - Supplier shall carry sufficient inventories to assure ex-stock supply of consumable spares for the goods so that the same are supplied to the Purchaser/Consignee promptly on receipt of order from the Purchaser/Consignee.

- WARRANTY

  - The supplier warrants comprehensively that the goods supplied under the contract is new,

unused and  incorporate  all  recent  improvements  in  design  and  materials  	unless  prescribed  otherwise  by the  purchaser  in  the  contract.  The  supplier  	further  warrants  that  the  goods  supplied  under  the contract  shall  have  no  	defect  arising  from  design,  materials  or  workmanship  or  from  any  act  or omission  of  the  supplier,  that  may  develop  under  normal  use  of  the  supplied  	goods  under  the conditions prevailing in India.

  - This  warranty  shall  remain  valid for  1  (One)  year in general, after the goods or an portion thereof  as  the  case  may  be,  have  been  delivered  to  the  final  	destination  and  installed, tested   and commissioned  at  the  final  destination  and  accepted  by  the  Purchaser/Consignee  in  terms  of  the contract.

a. No conditional warranty like mishandling, manufacturing defects etc. will be acceptable.

b. Warranty  as  well  as  Annual  Maintenance  Contract  will  be  inclusive  of all accessories.

c. Replacement and repair will be under taken for the defective goods.

d. Proper marking has to be made for all spares for identification like printing of     installation and repair dates.

  - In case of any claim arising out of this warranty, the Purchaser/Consignee shall 	promptly notify the same in writing to the supplier. The period of the warranty will be 	as per G.C.C clause number 14.2 above irrespective of any other period mentioned 	elsewhere in the bidding documents.

  - Upon  receipt  of  such  notice,  the  supplier  shall,  within  8  hours  on  a  24 (hrs)  X 7  (days)  X  365 (days) basis respond to take action to repair or replace the defective goods or parts thereof, free of cost,  at  the  ultimate  destination.

  - In  the  event  of  any  rectification  of  a  defect  or  replacement  of  any  defective  	goods  during  the warranty period, the warranty for the rectified/replaced goods shall 	be extended to a further period  of  1  (One)  year  from  the  date  such  rectified  /  	replaced  goods  starts  functioning  to  the satisfaction of the purchaser.

  - If  the  supplier,  having  been  notified,  fails  to  respond  to  take  action  to  repair  	or  replace  the defect(s) within 8 hours on a 24(hrs) X 7 (days) X 365 (days) basis, 	the purchaser may proceed to take such remedial action(s) as deemed fit by the 	purchaser, at the risk and expense of the supplier and  without  prejudice  to  other  	contractual  rights  and  remedies,  which  the  purchaser  may  have against the 	supplier.

- AFTER SALES SERVICE

After sales service centre should be available on 24 (Hrs) X 7 (days) X 365 (days) basis. Complaints should be attended properly, maximum within 8 hrs. The service should be provided directly by Tenderer.  Undertaking by the Principals that the spares for the equipment shall be available for at least 10 years from the date of supply.

- TRAINING

Supplier shall provide training to a team of HLL personnel for operation, setting of parameters and maintenance of above unit at HLL or at firm’s premises.

- ANNUAL  MAINTENANCE CONTRACT (AMC) OF SUBJECT 	EQUIPMENTWITH     TURNKEY:

a) The  cost  of  Annual  Maintenance  Contract  (AMC)  which  includes  preventive maintenance and break down maintenance including testing & calibration as per technical/ service /operational manual of the manufacturer, labour and spares, after satisfactory completion of Warranty period may be quoted for next 5 years on yearly basis. The supplier shall visit each consignee site as recommended in the manufacturer’s technical/ service /operational manual, but at least once in three months during the AMC period.

b)  The cost of AMC may be quoted along with taxes applicable on the date of Tender Opening. The taxes to be paid extra, to be specifically stated. In the absence of any such stipulation the price will be taken inclusive of such taxes and no claim for the same will be entertained later.

c)  Cost of AMC will be added for Ranking/Evaluation purpose.

d) The payment of AMC will be made on six monthly basis after satisfactory completion of said period, duly certified by end user.

e)  There will be 98% uptime warranty during AMC period on 24 (hrs) X 7 (days) X 365 (days) basis, with penalty, to extend AMC period by double the downtime period.

f)  During AMC period, the supplier is required to visit at each consignee’s site at least once in 3 months  commencing  from  the  date  of  the  successful  completion  of  warranty  period  for preventive maintenance of the goods.

g)  All software updates should be provided free of cost during AMC.

INCIDENTAL SERVICES.

  - As specified in the price schedule, the supplier may be required to provide any or all of 	the following services:

- Performance or supervision of on-site assembly, start-up and successful commissioning of the equipments/supplied goods,

- Furnishing of tools required for assembly and/or maintenance of the supplied goods,

- Conduct of training of the purchaser’s personnel, at the supplier’s plant and/or on-site (as specified in the bid documents), in assembly, start-up, operation, maintenance and/or repair of the supplied goods as indicated in Schedule II.

- Performance or supervision of maintenance and/or repair of the supplied goods, for the period of guarantee specified in the contract form, provided that his service shall not relieve the supplier of any guarantee obligations under the contract.

This cost shall be included in the contract price (to be shown separately for each item).

- Terms of Payment and Deviation in payment terms

- PAYMENT TERMS

Suggested payment terms is as follows

- 60% of the total value of supply shall be paid on receipt of goods at HLL’s site and upon submission of necessary documents.

- Balance 40% of value of supply and 100 % charges of erection, validation & commissioning will be paid after successful installation, testing and commissioning of equipment and its accessories and submission of performance bank guarantee equal to 10% of total order value valid for the period of guarantee/warranty (ie. one year from the date of successful commissioning of the system) from any scheduled bank.

Normally the Purchaser will not entertain any advance payment. However, the bidder can indicate advance payment in the payment terms, if required. If such advance payment is considered acceptable by the purchaser, the bid will be evaluated by calculating interest earned for the advance payments at prevailing rate of interest on working capital for the purchaser up to the supply of equipment at purchaser’s site or any other clause indicated in payment terms. Moreover such advance payment, will be released against submission of a Bank guarantee, on a specific format given by the supplier, from a nationalized/scheduled bank for like amount valid up to the supply of equipment at purchaser’s site. The advance if any paid and interest will be adjusted against the payment against delivery.

Tax Deduction:  All statutory deductions like Income Tax, Works Contract Tax, E.S.I., P.F. or any other government-imposed liabilities shall be borne by the supplier (as applicable at the time of execution of job) and shall be deducted from each bill submitted by the Supplier.

Purchaser will not entertain the presentation of documents through Bank.

- PERFORMANCE GUARANTEE

  - The supplier shall furnish Permofrmace Bank Guarantee equal to 10% of control value valied for a period of one year from the date of sucessful commissioning of the system.

15.2 In the event of any amendment issued to the contract, the supplier shall, within twenty-one (21) days  of  issue  of  the  amendment,  furnish  the  corresponding  amendment  to  the  Performance Security  (as  necessary),  rendering  the  same  valid  in  all  respects  in  terms  of  the  contract,  as amended.

15.3 The supplier shall enter into Annual Maintenance Contract as per the  in Schedule VI with respective consignees, 3 (three) months prior to the completion of Warranty Period. The AMC will commence from the date of expiry of the Warranty Period.

16. Force Majeure

- Neither the Supplier nor the Purchaser shall be considered in default in the performance of their obligations as per the Contract so long as such performance is prevented or delayed because of strikes, war, hostilities, revolution, civil commotion, epidemics, accidents, fire, cyclone, flood or because of any law and order proclamation, regulation or ordinance of Government or subdivision thereof or because of any act of God.  The proof of existence of force majeure shall be provided by the party claiming it to the satisfaction of the other.

- The Supplier shall advise Purchaser initially by a Fax, followed by post, the beginning and end of any of the above causes of delay, failing which Purchaser shall not be liable to consider delays due to the above reasons.  Notice as stated above should be given even in case where only the Supplier’s bids are under the consideration of the Purchaser and no acceptance of the same has been given and Contract issued.

- In the event of definite delay even if arising out of reasons due to force majeure, Purchaser shall have the right at their discretion to cancel the Contract or part of the Contract without any liability on their part to make any payment to the Supplier while reserving the right to claim refund of and any payment if advanced or paid to Supplier.

17. Assignment And Subletting

No assignment and subletting of whole or part of the Contract shall be permitted except with prior approval of purchase obtained in writing.

18. All Correspondence

Correspondence relating to this enquiry shall be in English, to:

JOINT GENERAL MANAGER (MATERIALS),

HLL LIFECARE LTD

AKKULAM, SREEKARIYAM(PO)

THIRUVANANTHAPURAM – 695 017, KERALA, INDIA

19. INDEMNIFICATION CLAUSE

The Supplier shall indemnify and hold harmless the Purchaser from and against all claims, liability, loss damage or expense, including counsel fees arising from or by reason of any actual or claimed trade mark, patent or copy right infringement or any litigation based thereon with respect to any part of the items covered by the Contract and such obligations shall survive acceptance of payment for the items.

  - STANDARDS

The goods supplied under this contract shall conform to the standards mentioned in SCHEDULE II and when no applicable standard is mentioned, to the authoritative standard appropriate to the goods’ country of origin and such standards shall be the latest issued by the concerned institution.

  - TECHNICAL DOCUMENTS

Supplier shall furnish the following documents to the Purchaser, free of cost, in three numbers of copies.

- Instruction/Testing/Operation/Servicing manual, lubrication charts, load-bearing details etc.

- Elaborated list of Critical & essential spare parts with rate, valid for a period of Two years

- Reproducible of all final drawings – electrical, mechanical and civil, P&I Diagram.

- Relevant Test Certificates, Guarantee Certificate for each item of equipment.

- Catalogue and literature on bought outs

- Any other related documents

  - ENTIRETY OF THE AGREEMENT

All of the terms agreed to between the Supplier and Purchaser will be included in the Purchase/work Order/Contract and no their communication, proposal or understanding, written, oral or implied, will be considered to be included in the Purchase/work Order/Contract or form part of the Contract between the Supplier and Purchaser unless specifically agreed to in that behalf in writing between Purchaser and Supplier.

  - APPLICABLE LAW

The Contract shall be interpreted in accordance with Indian laws.

  - SETTLEMENT OF DISPUTES

The contract shall be deemed to have been concluded at Thiruvananthapuram, Kerala and suits and proceedings, if any, shall be only in the courts of competent jurisdiction in Thiruvananthapuram.

SCHEDULE V

1. ACCEPTANCE FORM

(To be submitted in the letter pad of the firm indicating full name and address. Telephone &Fax numbers etc.)

From

To

Joint General Manager (Materials)

HLL LIFECARE LTD,

Akkulam, Sreekariyam(P.O)

Thiruvananthapuram-695017

Dear Sir,

I/We here by offer to supply/fabricate/erect/validate/commission as detailed in schedule hereto or such portion thereof as you may specify in the acceptance of bid at the price as given in the price bid and agreed to hold this bid open till--------(Indicate the date—refer clause 2.6 of Conditions of Bid). I/We have understood the terms and conditions of the bid and conditions of contract furnished by you and have thouroughly examined the specifications quoted in the bid document hereto and are fully aware of the nature of scope of work required and my/our offer is to comply strictly in accordance with the requirement and terms and conditions mentioned above.

The following pages have been added to and form and part of this bid.

Yours faithfully,

Signature of the bidder

PRICE SCHEDULE V (A)

(For Supply Part)

| Sl No. | Item Description | Quantity | Brand/Model Country of Origin | Ex-factory price (Basic Unit Price exclusive of all levies & charges) | Packing and forwarding | Excise Duty |  | Sales Tax |  | Freight & Insurance |  | Others,if any | Unit Price (ColumnNo. E+F+H+J+L+M) | TOTAL AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | % | Amt. | % | Amt. | % | Amt. |  |  |  |
| A | B | C | D | E | F | G | H | I | J | K | L | M |  |  |
| 1 | 120 HP RECIPROCATING ELECTRICAL DRIVEN AIR COMPRESSOR |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | REFREGERENT TYPE AIR DRYEER |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | AIR RECEIVER |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | OTHERS IF ANY |  |  |  |  |  |  |  |  |  |  |  |  |  |

** Detailed split up rate details may also be incorporated along with your offer.

Seal and Signature of the bidder

PRICE SCHEDULE V (B)

(For Installation testing and commissioning)

| S.No. | Item Description | Quantity | Price inclusive of all levies & charges | Service Tax |  | Unit Price | Total Amount |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | % | Amt. |  |  |
| A | B | C | D | E | F | K |  |
| 1 | 120 HP RECIPROCATING ELECTRICAL DRIVEN AIR COMPRESSOR |  |  |  |  |  |  |
| 2 | REFREGERENT TYPE AIR DRYEER |  |  |  |  |  |  |
| 3 | AIR RECEIVER |  |  |  |  |  |  |
| 4 | OTHERS IF ANY |  |  |  |  |  |  |

** Detailed split up rate details may also be incorporated along with your offer.

All other Statutory levies, such as Taxes, duties, KVAT, VAT, WCT, IT, ST & PF, ESI of your work men etc (are inclusive) will be deducted from bill, as applicable.

Seal and Signature of the bidder

3. PRICE SCHEDULE FOR ANNUAL MAINTENANCE CONTRACT AFTER WARRANTY PERIOD

| 1 | 2 | 3 | 4 |  |  |  |  | 5 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Annual Maintenance Contract Cost for Each Unit year wise*. |  |  |  |  |  |
| Item Sl. No. | Brief Description of the Goods | Quantity (Nos.) | 1st | 2nd | 3rd | 4th | 5th | Total Annual Maintenance Contract Cost for 5 (or as specified) Years [3 x (4a+4b+4c+4d+4e)] |
|  |  |  | a | b | c | d | e |  |

* After completion of Warranty period

NOTE:-

1. In case of discrepancy between unit price and total prices, THE UNIT PRICE shall prevail.

2. The cost of Annual Maintenance Contract (AMC) which includes preventive maintenance& Break down maintenance including testing & calibration as per technical/ service /operational manual and labour, after satisfactory completion of Warranty period may be quoted for next 5 (or as specified) years on yearly basis for complete equipment and Turnkey (if any).

3. The cost of AMC may be quoted along with taxes applicable on the date of Tender Opening. The taxes to be paid extra, to be specifically stated. In the absence of any such stipulation the price will be taken inclusive of such taxes and no claim for the same will be entertained later.

4. Cost of AMC will be added for Ranking/Evaluation purpose.

5. The supplier shall keep sufficient stock of spares required during Annual Maintenance Contract period. In case the spares are required to be imported, it would be the responsibility of the supplier to import and get them custom cleared and pay all necessary duties.

Name____________________

Business Address_____________________

Place: ________________________ 							         Signature of Tenderer________________________

Date: _________________________ 							           Seal of the Tenderer________________________

4. MANUFACTURER’S AUTHORIZATION FORM

To,

JOINT GENERAL MANAGER (MATERIALS)

HLL LIFECARE LIMITED

AKKULAM FACTORY,

THIRUVANANTHAPURAM

Dear Sir,

Ref. Your TE document No ____________, dated _____________

We, ___________________________________ who are proven and reputable manufacturers of___________________________(name and description of the goods offered in the tender) having factories at_______________________________, hereby authorize Messrs______________________________(name and address of the agent) to submit a tender, process the same further and enter into a contract with you against your requirement as contained in the above referred TE documents for the above goods manufactured by us.

We further confirm that no supplier or firm or individual other than Messrs.__________________________ (name and address of the above agent) is authorised to submit a tender, process the same further and enter into a contract with you against your requirement as contained in the above referred TE documents for the above goods manufactured by us.

We also hereby extend our full warranty, AMC as applicable as per clause 15 of the General Conditions of Contract, read with modification, if any, in the Special Conditions of Contract for the goods and services offered for supply by the above firm against this TE document.

Yours faithfully,

[Signature with date, name and designation]

for and on behalf of Messrs___________________________

[Name & address of the manufacturers]

Note:

1. This letter of authorisation should be on the letterhead of the manufacturing firm and should be signed by a person competent and having the power of attorney to legally bind themanufacturer.

2. Original letter may be sent.

SCHEDULE VI

CONTRACT FORM – A

CONTRACT FORM FOR SUPPLY, INSTALLATION, COMMISSIONING, HANDING OVER, TRIAL RUN, TRAINING OF OPERATORS & WARRANTY OF GOODS

(Address of the Purchaser’s/Consignee’s

office issuing the contract)

Contract No___________ dated______________

This is in continuation to this office’s notification of Award no_______ dated ______

1. Name & address of the Supplier: ______________________________

2. Purchaser’s TE document No________ dated____________ and subsequent Amendment

No____________, dated_________ (if any), issued by the purchaser

3. Supplier’s Tender No_________ dated__________ and subsequent communication(s)

No____________ dated _________ (if any), exchanged between the supplier and the purchaser in connection with this tender.

4. In addition to this Contract Form, the following documents etc, which are included in the documents mentioned under paragraphs 2 and 3 above, shall also be deemed to form and be read and construed as integral part of this contract:

(i) General Conditions of Contract;

(ii) List of Requirements;

(iii) Technical Specifications;

(iv) Quality Control Requirements;

(v) Tender Form furnished by the supplier;

(vi) Price Schedule(s) furnished by the supplier in its tender;

(vii) Manufacturers’ Authorisation Form (if applicable for this tender);

(viii) Purchaser’s Notification of Award

### Note : The words and expressions used in this contract shall have the same meanings as are respectively assigned to them in the conditions of contract referred to above. Further, the definitions and abbreviations incorporated under clause 1 of Schedule I – “CONDITIONS OF BID’ of the Purchaser’s TE document shall also apply to this contract.

5. Some terms, conditions, stipulations etc. out of the above-referred documents are reproduced below for ready reference:

(i) Brief particulars of the goods and services which shall be supplied/ provided by the supplier are as under:

| Item Sl. No. | Brief description of goods/services | Accounting unit | Quantity to be supplied | Unit Price | Total price | Terms of delivery |
| --- | --- | --- | --- | --- | --- | --- |

Any other additional services (if applicable) and cost thereof: _____________________

Total value (in figure) ____________ (In words) ___________________________

(ii) Delivery schedule

(iii) Details of Performance Security

(iv) Quality Control

(a) Mode(s), stage(s) and place(s) of conducting inspections and tests.

(b) Designation and address of purchaser’s inspecting officer

(v) Destination and despatch instructions

(vi) Consignee, including port consignee, if any

(vii) Warranty clause

(viii) Payment terms

(ix) Paying authority

____________________________

(Signature, name and address

of the Purchaser’s/Consignee’s authorised official)

For and on behalf of__________________

Received and accepted this contract

(Signature, name and address of the supplier’s executive duly authorised to sign on behalf of the supplier)

For and on behalf of _________________________

(Name and address of the supplier)

(Seal of the supplier)

Date: _________________________

Place: _________________________

CONTRACT FORM – B

CONTRACT FORM FOR COMPREHENSIVE MAINTENANCE CONTRACT

Comprehensive Maintenance Contract No.___________________dated_______________

Between

(Address of Head of Company)

And

(Name & Address of the Supplier)

Ref: Contract No__________ dated______________ (Contract No.  date of Contract for supply, installation, commissioning, handing over, Trial run, Training of operator s & warranty of goods)

In continuation to the above referred contract

a) The Contract of Annual Maintenance is hereby concluded as under: -

| 1 | 2 | 3 | 4 |  |  |  |  | 5 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Sl. No. | BRIEF DESCRIPTION OF GOODS | Quantity (Nos.) | Cost for Each Unit year wise*. |  |  |  |  | Total Annual Maintenance Contract Cost for 5 (or as specified) Years [3 x (4a+4b+4c+4d+4e)] |
|  |  |  | 1st | 2nd | 3rd | 4th | 5th |  |
|  |  |  | a | b | C | d | e |  |

Total value (in figure) ____________ (In words) ___________________________

b) The CMC commence from the date of expiry of all obligations under Warranty i.e.

from______________ (date of expiry of Warranty) and will expire on ______________ (date of expiry of CMC)

c) The cost of Comprehensive Maintenance Contract (CMC) which includes preventive maintenance and labour, after satisfactory completion of Warranty period may be quoted for next 5 (or as specified) years as contained in the above referred contract on yearly basis for complete equipment and Turnkey (if any).

d) There will be 98% uptime warranty during CMC period on 24 (hrs) X 7 (days) X 365 (days) basis, with penalty, to extend CMC period by double the downtime period.

e) During CMC period, the supplier shall visit at each consignee’s site for preventive maintenance including testing and calibration as per the manufacturer’s service/ Technical/ operational manual. The supplier shall visit each consignee site as recommended in the manufacturer’s manual, but at least once in 6 months commencing from the date of the successful completion of warranty period for preventive maintenance of the goods.

f) All software updates should be provided free of cost during CMC.

g) The bank guarantee valid till ______________ [(fill the date) 2 months after expiry of entire CMC period] for an amount of Rs. _______________ [(fill amount) equivalent to 5 % of the cost of the equipment as per contract] shall be furnished in the prescribed format given in ANNEXURE I of the TE document, along with the signed copy of CMC within a period of 21 (twenty one) days of issue of CMC failing which the proceeds of Performance Security shall be payable to the Purchaser/Consignee.

h) If there is any lapse in the performance of the CMC as per contract, the proceeds CMC bank guarantee for an amount of Rs. __________ (equivalent to 2.5 % of the cost of the

equipment as per contract) shall be payable to the Consignee.

i) Payment terms: The payment of CMC will be made against the bills raised to the

consignee by the supplier on six monthly basis after satisfactory completion of said period, duly certified by the Engineer In-Charge. The payment will be made in Indian Rupees.

j) Paying authority: ______________________ (name of the consignee i.e. Company authorized official)

____________________________

(Signature, name and address

of Company’sauthorised official)

For and on behalf of__________________

Received and accepted this contract

(Signature, name and address of the supplier’s executive

duly authorised to sign on behalf of the supplier)

For and on behalf of _________________________

(Name and address of the supplier)

(Seal of the supplier)

Date: _________________________

Place: _________________________

ANNEXURE I

BANK GUARANTEE FORM FOR PERFORMANCE SECURITY/ CMC SECURITY

To

Head of Company of ESIC

WHEREAS _____________________________ (Name and address of the supplier) (Hereinafter called “the supplier”) has undertaken, in pursuance of contract  no________________________ dated _____________ to supply (description of goods and services) (herein after called “the contract”).

AND WHEREAS it has been stipulated by you in the said contract that the supplier shall furnish you with a bank guarantee by a scheduled commercial bank recognised by you for the sum specified therein as security for compliance with its obligations in accordance with the contract; AND WHEREAS we have agreed to give the supplier such a bank guarantee;

NOW THEREFORE we hereby affirm that we are guarantors and responsible to you, on behalf of the supplier, up to a total of. ________________________ (Amount of the guarantee in words and figures), and we undertake to pay you, upon your first written demand declaring the supplier to be in default under the contract and without cavil or argument, any sum or sums within the limits of (amount of guarantee) as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

We hereby waive the necessity of your demanding the said debt from the supplier before presenting us with the demand.

We further agree that no change or addition to or other modification of the terms of the contract to be performed there under or of any of the contract documents which may be made between you and the supplier shall in any way release us from any liability under this guarantee and we hereby waive notice of any such change, addition or modification.

This guarantee shall be valid up to 30 (thirty) months from the date of Notification of Award i.e up to ----------- (indicate date)

…………………………….

(Signature with date of the authorised officer of the Bank)

………………………………………………………….

Name and designation of the officer

………………………………………………………….

………………………………………………………….

Seal, name & address of the Bank and address of the Branch

ANNEXURE II

PROFORMA FOR PERFORMANCE STATEMENT

(For the period of last five years)

| Tender Reference No. | : |
| --- | --- |
| Date of opening | : |
| Time | : |
| Name and address of the Tenderer | : |
| Name and address of the manufacturer | : |

| Order placed by (full address of Purchaser/ Consignee) | Order number and date | Description of ordered goods and services | Quantity of ordered goods | Value of order(Rs.) | Date of completion of Contract |  | Remarks indicating reasons for delay if any | Have the goods been functioning Satisfactorily (attach documentary proof)** |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | As per contract | Actual |  |  |  |
| 1 | 2 | 3 |  | 4 | 5 | 6 | 7 | 8 | 9 |

Signature and seal of the Tenderer

** The documentary proof will be a certificate from the consignee/end user with crossreference of order no. and date in the certificate duly notarised certification authenticating the correctness of the information furnished. If at any time, information furnished is proved to be false or incorrect, the earnest money and or performance security furnished will be forfeited. Such certificates from a third party or middleman other than actual end user will not be accepted. The satisfactory performance implies working satisfactorily without any complaint since the date of installation, ommissioning & handing over to the end user as per the standard format enclosed.

ANNEXURE III

CONSIGNEE RECEIPT CERTIFICATE

(To be given by consignee’s authorized representative)

The following store (s) has/have been received in good condition:

1) Contract No. & date :______________________________

2) Supplier’s Name :______________________________

3) Consignee’s Name & Address with

telephone No. & Fax No. : ______________________________

4) Name of the item supplied :______________________________

5) Quantity Supplied :______________________________

6) Date of Receipt by the Consignee :______________________________

7) Name and designation of Authorized

Representative of Consignee :______________________________

8) Signature of Authorized

Representative of Consignee with

date :______________________________

9) Seal of the Consignee :______________________________

ANNEXURE V

PROFORMA OF FINAL ACCEPTANCE CERTIFICATE BY THE CONSIGNEE

No _______________ Date_______________

To

M/s____________________

_______________________

_______________________

Subject: Certificate of commissioning of equipment/plant.

This is to certify that the equipment(s)/plant(s) as detailed below has/have been received in good conditions along with all the standard and special accessories and a set of spares (subject to remarks in Para no.02) in accordance with the contract/ technical specifications.

The same has been installed and commissioned.

(a) Contract No______________________________________ dated__________________

(b) Description of the equipment(s)/plants: _______________________________________

(c) Equipment(s)/ plant(s) nos.: ________________________________________________

(d) Quantity:_______________________________________________________________

(e) Bill of Loading/Air Way Bill/Railway

Receipt/ Goods Consignment Note no___________________ dated _________________

(f) Name of the vessel/ Transporter: ___________________________________________

(g) Name of the Consignee: ___________________________________________________

(h) Date of commissioning and proving test: _____________________________________

Details of accessories/spares not yet supplied and recoveries to be made on that account.

Sl. No.		Description of Item	Quantity 	Amount to be recovered

The proving test has been done to our entire satisfaction and operators have been trained to operate the equipment(s)/plant(s).

The supplier has fulfilled its contractual obligations satisfactorily ## or

The supplier has failed to fulfil its contractual obligations with regard to the following:

He has not adhered to the time schedule specified in the contract in dispatching the

documents/drawings pursuant to ‘Technical Specifications’.

He has not supervised the commissioning of the equipment(s)/plant(s)in time, i.e. within the period specified in the contract from date of intimation by the Purchaser/Consignee in respect of the installation of the equipment(s)/plant(s).

The supplier as specified in the contract has not done training of personnel.

The extent of delay for each of the activities to be performed by the supplier in terms of the contract is___________________________________________________________.

The amount of recovery on account of non-supply of accessories and spares is given under Para no.02.

The amount of recovery on account of failure of the supplier to meet his contractual obligations

is__________________ (here indicate the amount).

Signature

Name:

Designation with stamp

## Explanatory notes for filling up the certificate:

o He has adhered to the time schedule specified in the contract in dispatching the

documents/drawings pursuant to ‘Technical Specification’.

o He has supervised the commissioning of the equipment(s)/plant(s) in time, i.e. within the

time specified in the contract from date of intimation by the Purchaser/Consignee in respect

of the installation of the equipment(s)/plant(s).

o Training of personnel has been done by the supplier as specified in the contract

o In the event of documents/drawings having not been supplied or installation and

commissioning of the equipment(s)/plant(s) having been delayed on account of the supplier,

the extent of delay should always be mentioned in clear terms.