Amendment No. 1 Dated 26.02.2013

Ref.:-

- Tender No. HLL/PCD/AIIMS/MKTG/RT/12-13 dated 18.02.2013.

- Pre-Bid Meeting held on 26.02.2013.

The following Amendments are hereby made to above referred tender:-

- Clause 3 of IFB, Scope of Work:-

Added the following notes after 3 (i):-

Note: - (i) Bidder is expected to visit the pharmacy site to ascertain the site conditions before quoting.

(ii)	Conveyor belt (Item No. 2 of Price Bid Summary, Format 3) is a separate Line Item, and will be evaluated & awarded separately as per clause 11 & 12 of IFB.

- Clause 2 of IFB, BID REF No. HLL/PCD/AIIMS/MKTG/RT/12-13:-

Added the following note:-

Note: - (i) The tender fee mentioned under the clause 2 (iii) above, is not applicable for those bidders who have quoted in earlier cancelled tender for the same work.

- Clause 9.1.1 C of IFB:-

Added the following:-

The bidder quoting for conveyor belt only, shall submit Interest Free Earnest Money Deposit (EMD) in the form of a Demand Draft for Rs.40,000/- (Rupees Forty Thousand only) in favour of HLL Lifecare Limited  payable at New Delhi.

.

- Section -4 e. of IFB:-

READ AS:-

The duly approved structural design and the entire works as specified in the bid document shall be completed within 40 (Forty days) from the date of award of contract.

AMENDED TO READ AS:-

The duly approved structural design and the entire works as specified in the bid document shall be completed within 40 (Forty days) from date of handing over the pharmacy site, or providing the approved “Good for Construction Drawings” by HLL to the awarded party, whichever is later.

5.	Format-2, Tender Form:-

READ AS:-

2.	We undertake, if our Offer is accepted, to commence the work within Forty Eight hours of award of work and to complete the whole of the Work comprised in the Contract within 40 days of the formal notification of award of work

AMENDED TO READ AS:-

2.	We undertake, if our Offer is accepted, to commence the work within Forty Eight hours of award of work and to complete the entire Works comprised in the Contract within 40 days of the date of handing over the pharmacy site, or providing the approved “Good for Construction Drawings” by HLL to the awarded party, whichever is later.

6.	Format-7, CONTRACT AGREEMENT   PROFORMA:-

READ AS:-

6. (iii)	The duly approved structural design and entire works shall be completed within 40(Forty) days from the date of issuance of Letter of Award to the successful bidder.

AMENDED TO READ AS:-

6. (iii)	The duly approved structural design and entire works shall be completed within 40(Forty) days from the date of handing over the pharmacy site, or providing the approved “Good for Construction Drawings” by HLL to the awarded party, whichever is later.

7.   FORMAT 3, PRICE   BID SUMMARY:-

READ AS:-

SUMMARY SHEET:-

| PRICE BID SUMMARY |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sr. no | Nature of Services | Value for the entire Services as per Annexure attached | Taxes/ Duties component | Total Amount (in INR) |
| 1 | Interior & Comprehensive Civil works |  |  |  |
| 2 | HVAC Works |  |  |  |
| 3 | Electrical Works |  |  |  |
| 4 | Conveyor Belt |  |  |  |
|  | TOTAL VALUE OF THE CONTRACT ( in figures ) |  |  |  |
|  | TOTAL VALUE OF THE CONTRACT ( in words) |  |  |  |

AMENDED TO READ AS:-

SUMMARY SHEET:-

| PRICE BID SUMMARY for CIVIL, HAVC & ELECTRICAL WORKS |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sr. no | Nature of Services | Value for the entire Services as per Annexure attached | Taxes/ Duties component | Total Amount (in INR) |
| 1 a. | Interior & Comprehensive Civil works |  |  |  |
| 1 b. | HVAC Works |  |  |  |
| 1 c. | Electrical Works |  |  |  |
|  | TOTAL VALUE OF THE CONTRACT ( in figures ) |  |  |  |
|  | TOTAL VALUE OF THE CONTRACT ( in words) |  |  |  |

| PRICE BID SUMMARY for CONVEYOR BELT |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sr. no | Nature of Services | Value for the entire Services as per Annexure attached | Taxes/ Duties component | Total Amount (in INR) |
| 2. | Conveyor Belt |  |  |  |
|  | TOTAL VALUE OF THE CONTRACT ( in figures ) |  |  |  |
|  | TOTAL VALUE OF THE CONTRACT ( in words) |  |  |  |

Note: - Item at Sl. No. 2 above “Conveyor Belt” shall be treated as separate line item and the evaluation shall be done accordingly.

8.	Clause 11 of IFB, EVALUATION AND COMPARISION OF BIDS:-

READ AS:-

The Purchaser will evaluate and compare the Bids on the basis of techno   commercial / technical evaluations followed by price bid evaluation. The price comparison will be made based on total amount of complete works comprising of interior Comprehensive Civil, Electrical, HVAC & Conveyor Belt as per format 3 and covering entire boq enclosed with the Bid document.

AMENDED TO READ AS:-

The Purchaser will evaluate and compare the Bids on the basis of techno   commercial / technical evaluations followed by price bid evaluation. The price comparison will be made based on total amount of complete works comprising of interior Comprehensive Civil, Electrical, HVAC as per format 3 and covering entire boq enclosed for Civil, Electrical, HVAC works with the Bid document. Conveyor Belt shall be treated as separate line item and the evaluation shall be done accordingly.

9.	Clause 12.1 of IFB, AWARD OF CONTRACT – CRITERIA:-

READ AS:-

While opening the financial bid the technical eligibility shall be read out and the price bids of qualified bidders shall only be opened. Among the technically qualified bidders, the L1 bidder (the lowest bid) determined as per evaluation criteria specified under Clause 11 above, shall be awarded the contract.

AMENDED TO READ AS:-

While opening the financial bid the technical eligibility shall be read out and the price bids of qualified bidders shall only be opened. Among the technically qualified bidders, the L1 bidder (the lowest bid) separately for Sr. No. 1 (A+B+C) and for Sr. No. 2 of Price Bid Summary, Format-3, determined as per evaluation criteria specified under Clause 11 above, shall be awarded the contract.

- Clause 15 of IFB, Payment Schedule :-

Added with:-

A mobilization advance of 20% of total contract value will be released against a Bank Guarantee from any Indian scheduled Bank for the same amount submitted to HLL after placement of Letter of Award to successful bidder/contractor, which shall be adjusted with the progressive bills of the contractor. The format for Bank Guarantee will be given by HLL along with the Letter of Award.

11.	Format-7, CONTRACT AGREEMENT   PROFORMA, Clause 3.0, PAYMENT SCHEDULE:-

Added with:-

A mobilization advance of 20% of total contract value will be released against a Bank Guarantee from any Indian scheduled Bank for the same amount submitted to HLL after placement of Letter of Award to successful bidder/contractor, which shall be adjusted with the progressive bills of the contractor. The format for Bank Guarantee will be given by HLL along with the Letter of Award.

12.	 Item E-8 of BOQ:-

Added with:-

While quoting for Under Deck Insulation, repair of damaged existing ceiling, if any, and relevant cost to be included in the same item.

13.	Clause D. Partition & Paneling, BOQ of Civil & Interior works, Sl. No. 15:-

Thickness of Acrylic Cladding shall be 10/12mm instead of 10mm.

All other terms and conditions of the tender remain unaltered.

-END-