###### ITEM: Tyvek Pouch for Cu-T & Tyvek Pouch for Tubal Ring

Tender No: HLL/AFT/PUR/CU-T & TR/TYVEK/2017-2019

##### TECHNO-COMMERCIAL BID

Date : 15Th February 2017.

TENDER NOTICE

Sealed and superscribed tenders under Two Bid System (Techno-Commercial) in the prescribed form are invited for products manufactured in India from Manufacturer(s)/Authorised agents for the  Supply of Tyvek Pouch for Cu-T & Tyvek Pouch for Tubal Ring to our Akkulam Factory for the year 2017-19.

The technical specification, approximate quantities and other terms and conditions are given in the Tender documents, which can be had from our office on any working day from 15.02.2017 between 10.30 A.M to 3.30 P.M by paying INR.1040/- DD (inclusive of KVAT) for each tender in favour of HLL Lifecare Limited, Akkulam payable at Trivandrum. In case of overseas bidders bid documents may be obtained on payment of USD. 15.00 in from of Demand draft in favour of HLL payable at Trivandrum If the documents are required by Post, an additional charge of Rs. 50/- may be remitted towards postal/courier charges, in addition to the cost of tender documents.  The DD should be drawn on a Nationalized Bank favouring HLL Lifecare Limited, payable at Thiruvananthapuram.

The details can also be had from our Website at www.lifecarehll.com . The tenderers can download the documents from our website and in such case the tender fee should be paid by way of DD along with technical bid.

The last date & time of issue of Techno-commercial Bid documents will be upto 09.03.2017; 3.30 P.M.  Completed tenders in sealed cover superscribed with Tender Nos. should reach HLL latest by 10.03.2017 ; 1.00 PM.

HLL will not be responsible for any delay in transit.

The Price Bid of those Tenderers who qualify in the Technical Bid only will be opened. The Price Bids of Tenderers who do not qualify in the Technical bid evaluation will be returned unopened.

The date and time of opening of Price bid will be intimated separately.

The Price Bid of new vendors and those under vendor development programme will be opened only after submission of sample and successful completion of plant trial as laid down in the vendor development protocol.

JT. GENERAL MANAGER (MATERIALS)

Date: 15th February, 2017

M/s.

Dear Sirs,

Sub:	 Tender Forms for Technical Bid & Price Bid

We are enclosing herewith the Techno-Commercial Bid & Price Bid Tender Forms.

The Tender Forms are to be duly filled up in duplicate, signed and returned, in a sealed cover superscribed with the above Tender No., the due date and date of opening, addressed to the JOINT GENERAL MANAGER (MATERIALS), HLL LIFE CARE LIMITED, AKKULAM FACTORY, SREEKARIYAM P.O., THIRUVANANTHAPURAM-695017.

The last date & time of receipt of Bids 		:  10.03.2017; 1.00 P.M

Date & Time of opening of Technical Bid 	:  10.03.2017; 4.00 P.M

The details can also be had from our Website at www.lifecarehll.com.

Incomplete tender is likely to be rejected without any further correspondence.

Yours faithfully,

For HLL LIFE CARE LIMITED.

JOINT  GENERAL MANAGER (MATERIALS)

Encl: As above

###### CONTENTS OF BID DOCUMENT

### I.	INSTRUCTION TO BIDDERS:

### II.	 TECHNICAL BID FORMS

1. Schedule A	-	Specification & Quantity

2. Schedule B	-	Questionnaire for minimum eligibility criteria

3. Schedule C	-	Questionnaire - General information of the

Manufacturer / Supplier

4. Schedule D	-	Terms & conditions

5. Schedule E	-	Questionnaire for Vendor Development

6. Schedule F       -      Declaration accepting Terms and Conditions of

the Tender

### III.	 PRICE BID FORMS

1. SCHEDULE I      - RATE SCHEDULE FOR THIRUVANANTHAPURAM

Page 1of 2

#### INSTRUCTIONS TO BIDDERS

- The Bid is intended to procure material as per specification in Schedule A

- The Bid consist of two parts:

- Technical Bid

- Price Bid

- The Technical Bid should be accompanied by Earnest Money Deposit (EMD) in the form of DD drawn in favour of M/s. HLL Lifecare Limited payable at Trivandrum for a sum of Rs. 1,50,000/- and in case of foreign suppliers USD. 2238.00, failing which the Tender is likely to be summarily rejected. The EMD submitted will be converted to Security Deposit and will be released at the end of contract period. SSI/MSME units interested in availing exemption from payment of Tender Fee & EMD should submit a valid copy of their registration certificate issued by the concerned DIC or NSIC. But the Party has to provide Security deposit if Tender is awarded to them.

- Technical & Price Bids should be in separate sealed covers.  Technical and Price Bids shall be superscribed as “Technical Bid “ and “Price Bid” on the respective covers in order to clearly identify between the two Bids.  These two bids should be submitted in a single sealed cover with the respective Tender No. mentioned thereon, complete in all respect, addressed to the Joint General Manager (Materials) HLL Lifecare Limited , Akkulam Factory, Sreekariyam P.O., Trivandrum – 695 017, on or before the due date and time mentioned in the Tender Notification.  HLL shall not be responsible for any delay, if any, in the delivery of the bidding document or non-receipt of the same.

- The validity of TECHNICAL BID for TWO YEARS (2017-19)

and PRICE BID is for ONE YEAR (2017-18)

- Bid submission / Bid opening dates

The last date & time of receipt of Bids    :     10.03.2017; 1.00 PM

Date & Time of opening of Technical Bid:    10.03.2017; 4.00 PM

## In the event of the date mentioned above being declared subsequently as holiday for the purchaser’s office, the due date for submission and opening of bids will be the next working day at the same venue and time.

## Page 2 of 2

#### INSTRUCTIONS TO BIDDERS

- Bids received after the deadline for submission shall not be considered.

- The Bidder is expected to examine all specifications, Instructions, Forms, Terms and conditions given in the Bidding documents. Failure to furnish all information required in the Bidding documents or submission of a Bid not substantially responsive to the bidding documents in every respect will be at the Bidders risk and may result in rejection of the Bid

- Any clarification required will have to be obtained one week prior to the Date of opening of the Technical Bid.

- A certificate/Declaration as given in Schedule F stating that ALL TERMS AND CONDITIONS of this Tender is acceptable should accompany the tender failing which the tender is likely to be summarily rejected.

- The quantity mentioned herein are approximate annual requirement with staggered delivery and in case less or more quantity is required the suppliers should be prepared to effect supply at short notice on the same terms and conditions.

(i) The Price Bid of those Tenderers who qualify in the Technical Bid only will be opened.  The date and time of opening of price bid will be intimated separately.

## (ii) The Price Bid of new vendors (Schedule E) and those under vendor development programme will be opened only after submission of sample and successful completion of plant trial as laid down in the vendor development protocol.

(iii) The Price Bids of Tenderers who do not qualify will be returned unopened.

………………………………….

SCHEDULE- A

Page 1 of 2

SPECIFICATION & QUANTITY OF TYVEK POUCH CU-T UNCOATED

MANUFACTURE AND SUPPLY OF: -

Item Code: 1010210175

Item Name:  POUCHES TYVEK FOR CU-T UNCOATED

1.A Rectangular Pouch with one side clear plastic film and the other side white plastic film.

Material: As per samples provided to you.

2.Clear film: Laminated Polyethylene & mylar polyester.

3.White film: Dupont TYVEK 1073B (UNCOATED)

4.Length: 284 mm (Tolerance +/- 2 mm)

5.Thickness (TYVEK): 0. 11mm to 0.29mm

6.Thickness (Mylar): 0.0624 mm to 0.0776mm

7.Seal width: 6.35mm to 8.00mm

8.Pouch width: 67mm to 72mm

9.Must show Infra-red spectrum characteristic of polyethylene and polyester and essentially identical with that of Ref. Spectrum.

10.Seal test :(i) A peel strength of 1.0 Kg. (Minimum) to 2.0Kg. (Maximum) must be achieved when peeled where the user opens the pouch.

(ii) Should withstand 35" of water pressure when applied for 30 second.

Test certificate should be provided with each consignment consisting of specification, visual inspection and dimensional specification.

| APPROXIMATE QUANTITY REQUIRED PER ANNUM |  |  |
| --- | --- | --- |
| UNIT | LOCATION | QUANTITY (Pcs) |
| AKKULAM FACTORY | TRIVANDRUM | 2000000 |

We hereby agree to supply the above materials as per the specification listed herein.

PLACE:                                             		NAME & SIGNATURE OF THE TENDERER

DATE:                                                                			(WITH OFFICE SEAL)

SCHEDULE- A

Page 2 of 2

SPECIFICATION & QUANTITY OF TYVEK POUCH-PRINTED FOR TUBAL RING

MANUFACTURE AND SUPPLY OF: -

Item Code: 1010310000

Item Name: TYVEK POUCH-PRINTED-FOR TUBAL RING

Rectangular Pouch with One side clear plastic Film and other side white plastic film-with Thumb Notch on both ends-refer drawing.

Printed matter on Tyvek Side –colour and font size of print matter as per artwork.

Clear Film: Laminated Polyethylene and mylar Polyester.

White Film: Dupont Tyvek 1073B (Uncoated)

Length 70+/-5MM

Width: 50+/-5MM

Seal Width: 6+/-1MM

Pouch Integrity: Should withstand 35” of water pressure when applied for 30Sec

Tyvek Thickness: 0.11 to 0.29MM

Mylar Thickness: 0.0624 to 0.0776MM

Ink used for printing should be non-toxic/withstand ETO / Gamma Radiations Suppliers Certificate for Ink may be provided

Pouches should be in Bundles of 500Nos and packed properly.

| APPROXIMATE QUANTITY REQUIRED PER ANNUM |  |  |
| --- | --- | --- |
| UNIT | LOCATION | QUANTITY (Pcs) |
| AKKULA M | TRIVANDRUM | 25,00,000 |

We hereby agree to supply the above materials as per the specification given above.

Place:

Date :						Name and signature of Tenderer

(With Office Seal)

SCHEDULE B

Page 1 of 1

TECHNICAL BID

### QUESTIONNAIRE TO BE FILLED FOR MINIMUM ELIGIBILITY CRITERIA

Material: Pouch IUD Unprinted (Film to Film)

| 1. | Are you a manufacturer? | YES/NO |
| --- | --- | --- |
| 2. | Are you an authorised agent? In case of authorised agent following documents from the Principal supplier should have to be enclosed Letter confirming the agency from the Manufacturer valid for 2017-19 Letter from the manufacturer that they also agree to abide by all the terms and conditions of this tender | YES/NO |
| 3. | What is your annual production / process capacity? Out of the above how much can you supply to HLL per month? |  |
| 4. | Do you have testing facility to check HLL’s parameters? If yes, will you be issuing test certificates for each Sample / batch /lot | YES/NO |
| 5. | Do you have minimum one year experience in supplying this item? | YES/NO |
| 6. | Are you an existing supplier to HLL? And if yes, Since when | YES/NO |
| 7. | Are you an approved vendor of Akkulam Factory? (If not please fill the Schedule E and submit with at least 200 Kg. of samples) | YES/NO |
| 8. | EMD furnished or not | YES/NO |
| 9. | Tender Fee furnished or not | YES/NO |
| 10. | Declaration as per Schedule G | YES/NO |
| 11. | What is your Annual Turn over for the last three years ? |  |

All the information provided herein are true & correct

PLACE:                                  					 NAME & SIGNATURE OF THE TENDERER

DATE:                                                     					(WITH OFFICE SEAL)

NOTE: Forms must be completed in all respect and supported by relevant documents.

……………………………

SCHEDULE -C

Page 1 of 2

TECHNICAL BID

### QUESTIONNAIRE

(General information of the manufacturer / supplier)

- Name & Address of the Supplier with	 	:

- Telephone No.

- Fax No.

- E-mail Address

- Name of contact person

- Whether proprietary/partnership/

Limited company.

- Specify whether SSI / MSME unit

- How many years have you been in the	 	:

business of manufacturing/selling?

- What is your annual production capacity 		:

- Indicate the quantity you can supply HLL 		:

per month

- What would be the minimum period			 :

required to deliver the ordered quantity

from the date of confirmed purchase

order?

- Have you been a supplier to any  Blood bag		 :

Manufacturer, if so give details of the

name, address, quantity and values of

orders received and executed during the

last three year? (Attach separate sheet)

- Kindly furnish the name and address of       		:

the Transporter through whom the rejected

material is to be returned on freight to pay

basis (Ref. clause d of Schedule D)

#### SCHEDULE – C

#### Page 2 of 2

TECHNICAL BID

### QUESTIONNAIRE

- What is your Annual Turn Over during the		:

last 3 years?

(Copy of P&L and Balance sheet to be attached.)

- Details of tax registration :-

- CST No. 						:

- TIN No. and  VAT No.				:

- Name & Address of your Banker(s) 			:

- A/C no. & Swift Code					:

12	Any other details					:

All the information provided herein is true & correct.

PLACE:                                 				NAME & SIGNATURE OF THE TENDERER

DATE :	                                                				     (WITH OFFICE SEAL)

SCHEDULE – D

Page 1 of 5

TERMS & CONDITIONS

- The Tender should be completed in all respects and submitted along Tender Fees (non-refundable) and EMD.  Incomplete tenders are liable to be rejected.

- Unsealed Tenders received are liable to be rejected and this will be at the sole risk of the Tenderer.

- The EMD of successful bidders will be converted to Security Deposit and will be refunded at the end of contract period.

- The quoted rate shall be valid for a period of one year during which period no price escalation and no change in terms and conditions will be allowed on any ground.

- In the event of failure on the part of the supplier to supply the material as per the delivery schedule or supply material at the agreed rate during the contract period, HLL would procure the material from alternate source at the risk and cost of the supplier. In such cases, the additional cost incurred will be recovered from the supplier.

- Failure to supply the material for any of the above reasons will also entail forfeiture of Security Deposit and even blacklisting of the supplier for a minimum period of two years.

- Conditional tenders / tenders with deviation will not be considered.

- The quantity mentioned herein is approximate annual requirement and in case the company requires less/more quantity, the supplier should be prepared to effect supply at short notice at the agreed rate, terms and conditions.

- HLL reserves the right to split up the quantity and place the order on more than a supplier and also reserves the right to accept or reject the offer without assigning any reason.

- The tender is liable to be suspended or cancelled at anytime at the discretion of the company without assigning any reason.

SCHEDULE – D

Page 2 of 5

In the event of placing orders: -

  - Sample should be submitted and got approved before effecting bulk supply.

  - The remaining period of shelf life of material on arrival at our stores should be minimum  5/6th     of the total shelf life.

  - Test Report of the product is to be attached with each consignment batch wise specifying therein the readings of the final test.

  - In case of rejection the material should be taken back and replaced at supplier’s risk and cost within 7 days of intimation from HLL. The procedure in this regard would be as follows:-

- Material shall be returned through the Transporter indicated in Schedule C or through our approved Transporter on freight to-pay basis. In the case of overseas bidders material shall be returned through their specified freight forwarder.

- Alternatively the rejected material shall be destroyed at our end.

- The cost incurred for disposal of the rejected material shall be recovered from supplier.

- The supplier is required to replace the rejected material failing which HLL reserves the right to procure the material from alternate source(s) at supplier’s risk and cost.

e.    A certificate confirming that the product offered is environment friendly i.e., non-hazardous to the environment is to be enclosed with the Techno-Commercial Bid.

f.    The supplier agrees to supply strictly as per the order terms in respect of quantity and quality. HLL reserves the right not to receive material beyond the delivery date given in the order.

SCHEDULE – D

Page 3 of 5

g.   Acceptance of the delayed supplies and excess quantity is solely at the discretion of HLL.  In the case of excess supply the excess quantity shall be returned back through the Transporter indicated in Schedule C (clause 5) or our authorized transporter on freight to pay basis.

h. The parties have to abide by delivery schedule given in the supply order strictly.  Penalty @ 0.5% value of the materials per week of delay subject to a maximum of 7.5% of the value of the supply defaulted will be imposed if material is accepted by the company after the stipulated delivery period

- HLL reserves the right to inspect the facilities for GMP by their officials or by an authorized independent third party agency for compliance.

- All dispatch documents like delivery note/challan, packing list and invoice should contain the following details

- Supply Order No.& date

    - Description of items as contained in the supply Order.

    - Quantity dispatched

iv.        Manufacturing date.

v.          Expiry date.

vi.        Total Number of packages/ serially numbered

vii.         Test certificate

viii.       HLL’s CST / TIN No.

The L.R No / AWB /RR No…... should be intimated immediately after dispatch of the material by e-mail/fax

SCHEDULE – D

Page 4 of 5

- The following information shall be stenciled or labelled on the exterior of the packing in bold letters, clearly visible, at least 50mm high with waterproof ink.

a. Name of Product (as given in supply Order)
       b. Date of Manufacture (Monthly/Yearly)

c. Date of expiry.

d. Quantity

e. Instruction off storage and handling

f. Name & Address of Manufacturer

g. Company’s address in full

- All packages should be separately numbered and it should appear on top of the packages with proper labelling.

- The following documents should accompany the consignment

- Invoice in triplicate

- Delivery Note/Challan

- Packing List

- LR/AWB/----

- Material Safety Data Sheet(MSDS)

- Environment clearance certificate

- Mode of Transport shall be by road, unless otherwise specified. In case of overseas bidders  mode of  freight will be By Air unless otherwise specified. The materials shall be sent through the Transporter who has been granted a Certificate of Registration for transportation of goods as per Carriage by Road Act 2007.

- Payment shall be made by cheque/RTGS with in 30 days of receipt,  inspection and acceptance of the material. In the case of overseas bidders the payment term will be LC at Sight / Wire Transfer within 30 days of receipt.

- The jurisdiction of any dispute, suits and proceedings arising out of this tender shall be only in the court of Thiruvananthapuram as the case may be.

- Annual purchase quantity will be shared to the suppliers @ ratio, as below:

- 60% to L1 party, and balance 40% shall be allotted among the vendors who matching the L1 rate

SCHEDULE – D

Page 5 of 5

INDEMINITY CLAUSE:

If the supplier fails to execute the order within the time prescribed for the delivery of goods ordered or violates or infringes the existing rates as agreed to as mentioned in the supply order, the supplier shall and will indemnify the company against all losses or damages whatsoever to be incurred or sustained including the legal cost or expenses incurred by the company by reason of non-delivery of goods at agreed quantity and rate with in the time specified in the supply order.  The company will initiate legal action if the supplier fails to execute the supply order as per the schedule in the supply order for the actual loss suffered. No quantity tolerance will be permitted in this regard unless otherwise prior approval is taken by the company before dispatching any excess quantity supplied which shall be returned back on freight to pay basis at the risk of the supplier. Responsiveness of the Bid shall be at the discretion of HLL.

The supplier shall have no right to change the quantity stipulated in the supply order.

Bid pronounced Non Responsive by HLL shall be summarily rejected.

The decision of HLL will be final and no correspondence on this shall be entertained.

We have read and understood the above conditions and agree to abide by the same.

PLACE:                                         				 NAME AND SIGNATURE OF THE TENDERER

DATE:                                                          					(WITH OFFICE SEAL)

SCHEDULE – E

Page 1 of 1

QUESTIONNAIRE FOR VENDOR DEVELOPMENT

(TO BE FILLED BY NEW VENDORS)

NAME OF PRODUCT:

1) Name & Address of the Manufacturer				:

Telephone No.

Fax No.

E-mail Address

Name of contact person

(i) Whether proprietary/partnership/

Limited company.

(ii) Furnish Name/’s, address,

phone nos. of Proprietor/

Managing partner/ M.D / Director’s

(Attach separate sheet)

Specify whether SSI / MSME unit

If Yes, pl specify if your unit is owned by :

SC/ST entrepreneur

2)     Details of tax registration :-						:

- CST No.

- TIN No.& VAT No.

3)      Name & Address of your Banker(s)

Account no.							:

Swift Code

4)        Annual Turn over

5)	Do you have a Quality Control  department. If yes, give the

details of the facilities.	     				  	 :      	Yes/No

6)	a) Do you have inspection for incoming materials	  		 :      	Yes/No

b) Do you have in process inspection facilities			:      	Yes/No

c) Do you have final inspection of the product	 	 	:      	Yes/No

#### SCHEDULE – E

#### Page 2 of 2

7)	Do you have any accreditation			            		 :	Yes/No

(a)ISO 9000

(b)Any National/International Laboratory/Authority

Certification

If ‘Yes’, give details along with a copy of certificate issued

by them.

8)         Do you have an environmental policy / ISO 14001 certification?	 : 	Yes / No

If yes, please give the details.

9)	Furnish the details of testing equipments.

10)	Have you been assessed previously by HLL				:     	Yes/No

11)	List of customers

a) Government Dept. / PSU’s

b) Private Sector

12) Have you furnished the sample along with  this format			:	Yes/No

Place	:		                     			NAME AND SIGNATURE OF THE VENDOR

Date	:								( Office Seal)

This is to be filled up by HLL LIFECARE LIMITED, THIRUVANANTHAPURAM

Recommendation/Remarks of the committee

Committee Members:

1.Head of Quality Control/Head of Technical Services and Material Testing

2.Head of User Department

3.Head of Purchase Department

SCHEDULE - F

Page 1 of 1

TECHNICAL BID

Item: Tyvek Pouch for Cu-T & Tyvek Pouch for Tubal Ring

DECLARATION

We confirm having read and understood all the specifications, instructions, forms, terms and conditions and other requirements of the above tender (both expressed and implied) in full and that we agree to abide by all without any deviation.

SIGNATURE SEAL OF THE TENDERER

NAME AND ADDRESS OF TENDERER

CONTENTS OF PRICE BID FORMS

For

Supply of Tyvek Pouch for Cu-T & Tyvek Pouch for Tubal Ring

| 1 | SCHEDULE – I | RATE SCHEDULE TO SUPPLY OF TYVEK POUCH FOR CU-T TO AFT |
| --- | --- | --- |
| 2 | SCHEDULE – II | RATE SCHEDULE TO SUPPLY OF TYVEK POUCH FOR TUBAL RING TO AFT |

SCHEDULE - I

Page 1 of 1

PRICE BID

RATE SCHEDULE FOR THE SUPPLY OF TYVEK POUCH FOR CU-T

TO AKKULAM FACTORY, TRIVANDRUM.

| PRICE PARTICULARS | PER UNIT (1000 pcs.) |  | REMARKS |
| --- | --- | --- | --- |
|  | (Rs:) |  |  |
| Basic price Excise DUTY (%) CESS ON EXCISE DUTY VAT (%) CESS ON VAT (%) CST (%) Freight Insurance OTHERS, IF ANY (please specify) TOTAL DELIVERED RATE AT HLL STORES |  |  |  |
| (Rupees…………………………………………………………………………………) |  |  |  |

MINIMUM TIME REQUIRED TO START THE

SUPPLY AFTER RECEIPT OF LETTER OF

INDENT/SUPPLY ORDERS

VALIDITY                                : From April 2017 to March 2018

Certified that the rate quoted will hold good for one year during, which period no  upward revision will be asked for.

PLACE:                      		 NAME AND SIGNATURE OF THE TENDERER

SCHEDULE - II

Page 1 of 1

PRICE BID

RATE SCHEDULE FOR THE SUPPLY OF TYVEK POUCH FOR TUBAL RING

TO AKKULAM FACTORY, TRIVANDRUM.

| PRICE PARTICULARS | PER UNIT (1000 pcs.) |  | REMARKS |
| --- | --- | --- | --- |
|  | (Rs:) |  |  |
| Basic price Excise DUTY (%) CESS ON EXCISE DUTY VAT (%) CESS ON VAT (%) CST (%) Freight Insurance OTHERS, IF ANY (please specify) TOTAL DELIVERED RATE AT HLL STORES |  |  |  |
| (Rupees…………………………………………………………………………………) |  |  |  |

Minimum time required to start the supply after receipt

of letter of indent/supply orders

Validity					: One Year (April 2017 to March 2018)

Certified that the rate quoted will hold good for one year during which period no upward revision will be asked for.

PLACE:                                             				NAME & SIGNATURE OF THE TENDERER

DATE:                                                                     					(WITH OFFICE SEAL)