**Minutes of the Pre Bid meeting for the Supply Installation Testing and Commissioning of Fire Fighting System at HLL Corporate office, Poojapura**

Date & Time: 01.09.2015 @ 11.15 AM

**Participants**

**HLL**

1. **Shri. A. Ranjith Kumar.A, DVP(Technical)**
2. **Shri B Sasi Kumar, CE (Electrical)**
3. **Smt Latha R SM (Civil)**
4. **Shri. Deepak Narayan (F&A)**
5. **Shri Dinesh .V, PE(Services)**
6. **Shri Sathesh .Kumar P**
7. **Smt Preetha Shobinathan APE(E)**

**Contractor**

1. **M/s. Ebenezer Engineering Works**

**Shri K.Samuel**

1. **M/s Allies Fire Systems P ltd**

**Shri Dileep M.L**

1. **M/s Fathima Agencies**

**Shri M.M Kaleel**

HLL informed the bidders that they should visit the site before quoting for the work.

|  |  |  |
| --- | --- | --- |
| Sl No. | Queries  | Answer  |
| 1 | Item no. 9 Foot Valve the subtitles specification is for butterfly valve | The Foot valve may please be changed as Butterfly valve |
| 2 | The EMD of Rs 1,19,717/- on page No: 3 is different from other EMD amounts specified in the tender.  | The same may please be read as Rs 96,347/- |
| 3 | List of Approved Makes in Fire fighting system SL No 6 and 7.  | SL No 6 and 7 the Approved makes may read as follows 6.Sealed Maintenance free Batteries-Exide/GS Batteries /Hitachi7.PVC insulated copper conductor FRLS cableNational/Polycab/Gloster/RR Kabel/Finolex |

**The Abstract form in the price bid is to be filled mandatory and those bids with blank forms /incomplete forms are liable to be treated as non –responsive.**

The minutes of prebid meeting forms part of the tender document and the vendors are requested to seal and sign the minutes and to be submitted along with the tender document, without fail.