HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O,

# THIRUVANANTHAPURAM-695017

Email: materialsaft@lifecarehll.com

Website: www.lifecarehll.com

PH:  +91 471 2442641, 2445930

FAX: +91 471 2445935

INVITATION FOR BIDS

(TECHNICAL BID)

# FOR

SUPPLY, INSTALLATION AND COMMISSIONING OF

###### ION CHROMATOGRAPHY SYSTEM

Quantity: 1 Number

AT

AKKULAM FACTORY

THIRUVANANTHAPURAM – 695 017

TENDERNO. HLL/AFT/PUR/QA/IC SYSTEM/2012-13                       06/12/2012

TENDER NOTICE

###### Sub: Supply, Installation and Commissioning of Ion Chromatography System reg:-

Sealed and superscribed tenders under two bid system are invited from manufacture(s)/Authorized Agent(s) for the supply, installation and commissioning of Ion Chromatography System –One Number at HLL Lifecare Ltd, Akkulam Plant.

| Name of the Item | Tender No: | Date & Time of Opening of Technical bids |
| --- | --- | --- |
| Supply, Installation and Commissioning of one Numbers of ION CHROMATOGRAPHY SYSTEM | IFB NO: HLL/AFT/PUR/QA/IC SYSTEM/2012-13 | 20/12/2012. at 3.00 PM |

The detailed Tender Notice and tender documents can be downloaded from our website www.lifecarehll.com. Amendments if any to this tender notice will be published only in our website.

The last date for the tender 20/12/2012

JGM (Mtls)

# Ph No: +91 471 2445930

# Fax No: +91 471 2445935

## Email: materialsaft@lifecarehll.com

## HLL LIFECARE LIMITED

Akkulam Factory, Sreekariyam (PO)

THIRUVANANTHAPURAM-695017

###### CONTENTS OF BIDDING DOCUMENTS

| Sl No | Schedule | Description | Page No |
| --- | --- | --- | --- |
| PART – I (TECHNICAL BID) |  |  |  |
| 1. |  | INSTRUCTION TO BIDDERS | 4-6 |
| 2. | Schedule - A | SPECIFICATION | 7-10 |
| 3. | Schedule - B | MINIMUM ELIGIBILITY CRITERIA | 11-12 |
| 4. | Schedule - C | QUESTIONNAIRE | 13-14 |
| 5. | Schedule -D | TERMS & CONDITIONS | 15-19 |
| 6. | Schedule - E | QUESTIONNAIRE FOR SUPPLIER DEVELOPMENT | 20-21 |
| 6. | Schedule - F | INDEMINITY CLAUSE | 22 |
| 7. | Schedule - G | DECLARATION | 23 |
| PART – II (PRICE BID) |  |  |  |
| 8. | Schedule - H | PRICE BID | 25 |

# Page 1of 3

HLL LIFECARE LIMITED

Akkulam Factory

THIRUVANANTHAPURAM-695017

TENDER NO. HLL/AFT/PUR/QA/IC SYSTEM/2012-13

##### I -  INSTRUCTIONS TO BIDDERS

- The Bid is intended to procure material as per specification in Schedule A.

- This is a two Bid system comprising of:

- Technical Bid

- Price Bid

3.  A complete set of bid documents can be had from the office of the JGM (MATERIALS). HLL LIFECARE LTD, AKKULAM, THIRUVANANTHAPURAM-695 017 KERALA STATE, INDIA during office hours on any working day on submission of written application and remitting a non-refundable fee of Rs. 520/- (including taxes) by cash or in the form of DD drawn In favour of HLL Lifecare Limited, Akkulam, Thiruvananthapuram, Kerala, India. In the case of Overseas Bidders, Bid documents may be obtained on payment of USD15/- (U.S. Dollars Fifteen Only) in the from of Demand Draft drawn in favour of “HLL Lifecare Limited” payable at Thiruvananthapuram, Kerala, India.

The Tender Documents can also be down loaded from our Website www.lifecarehll.com. and cost of the Tender Documents as mentioned above should be furnished along with Technical Bid.

4. The technical bid should accompany an EMD the details are shown in Schedule D.

5. Both the Bids shall be submitted in sealed covers separately.  Tender Nos. of the Technical Bid and Price Bids shall be super scribed on the respective covers in order to clearly identify between the 2 Bids.  The two separately marked Bids

Page 2of 3

enclosed in a single sealed cover with the respective Tender No. mentioned thereon, complete in all respect, addressed to the JGM (Materials) HLL Lifecare Limited, Akkulam Factory, Trivandrum – 695017, Kerala, India should reach us on or before the due date and time mentioned in the Tender Notification.  HLL shall not be responsible for any delay.  Tender brought to the office after prescribed time will not be   accepted. HLL will not be responsible for any delay in transit of tenders sent by post.

6. Tenders should be submitted in sealed cover properly sealed by sealing wax/packing PVC tape.  Covers, which are closed by gum or staples only, will not be considered.

7. a) The last date of receipt of Techno-commercial Bid is: 20/12/12 at 02.00 P.M (Local Time)

b) Date of Opening of Technical Bid is: 20/12/12 at 03.00 P.M. (Local Time)

8. In the event of the date mentioned above being declared subsequently as holiday for the purchaser’s office, the due date for submission and opening of bids will be the next working day at the same venue and time.

9.The Purchaser may, at its discretion, extend the date & time for the submission of bids by amending the bid documents in which case, all rights & obligations of the Purchaser & bidders shall the subject to the extended date & time.

10. Bids received after the deadline for submission shall not be considered.

11. The Bidder is expected to examine all specifications, Instructions, Forms, terms and conditions given in the Bidding documents.  Failure to furnish all information required in the Bidding documents or submission of a Bid not substantially responsive to the bidding documents in every respect will be at the Bidders risk and may result in rejection of the Bid.   Any clarification required will have to be obtained within 5 days prior to the Date of opening of the Technical Bid.

Page 2of 3

12.	 A Declaration as given in Schedule G stating that ALL TERMS AND CONDITIONS of this Tender is acceptable should accompany the tender failing which the tender is likely to be summarily rejected.

13.The Price Bid of those Tenderers who do not qualify in the Technical Bid will be returned unopened. The date and time of opening of price bid will be intimated separately.

- Those bidders who download the tender documents from our website should furnish the Name and address of the vendor, name of contact person, telephone & Fax numbers and Email details immediately by fax/Email.

- Any changes pertains to this tender shall be communicated only through our website www.lifecarehll.com

SCHEDULE- A

Page 1 of 4

HLL LIFECARE LIMITED

Akkulam Factory

THIRUVANANTHAPURAM- 695017

TENDER NO. HLL/AFT/PUR/QA/IC SYSTEM/2012-13

SPECIFICATION OF ION CHROMATOGARY SYSTEM

ITEM CODE: 2110010373

State of the art, single Channel Computer based Ion Chromatograph capable of detection of anion and cation which is preplumbed, preconfigured, and integrated compact system designed for immediate productivity and high throughout for the analysis of Anions and complete with pump, injector, suppressor, detector for Analysis of Anions. The system should be capable of doing the Gradient Analysis.

Ion chromatography system and Accessories for the analysis of the following anion, Organic acids and in future for cations, amines and metals in ppm & ppb levels

 Anions like Cl-, F-, NO2 , NO3 ,PO4-3, SO4-3 , Oxalate, Acetate, etc

 Cations like Li+, Na+, Ca+, K, NH4+, Mg and Amines.

 Heavy metals like Ni, Cu, Zn, As, Co, Cd and Mn

The system must have inert, non-metallic PEEK (Polyether ether ketone) components throughout the system to ensure mobile phase solvents compatibility from pH 0-14.

PEEK Components throughout the system is a must to eliminate corrosion, leaching effects while using mobile phases for Ion Chromatography analysis.

SCHEDULE- A

Page 2 of 4

1) The system should have serial Dual piston Isocratic pump with microprocessor

controlled, for high sensitivity detection.

2) Electric Injector Valve.

3) Maximum Operating Pressure should be 5000 psi.

4) Pressure pulsation should be less than 1%.

5) Flow rate should be 0.05 to 5.0 ml. in 0.01 increments.

6) Flow rate accuracy is less than 0.1%.

7) Conductivity detector should be microprocessor controlled digital signal processor, having output range 0 – 10,000 µS in Digital Signal range.

8) System should have durable and accurate facility to enhance the analyte conductivity and suppress background conductivity for Anions electrolytically which could generate the necessary ions required for regeneration by electrolysis of water for isocratic & gradient analysis (for stable and noise-free results).

9) System control software should be available with electronic log book providing monitoring of user selectable operational parameters by creating virtual channels.

10) Column (with guard column) must hydroxide selective, exactly matching USP L 61 packing  (Bead diameter 13 micro metre, micro porous, < 10A , Cross-Linking  (% DVB) : 55% with functional group Alkanol quaternary ammonium ion ) and  of polymeric Ion Exchange, with pellicular packing material for  better efficiency and high loading capacity. Column must be solvent compatible,   Non-metallic and non corrodible components like frits, preferably made of PEEK  for analysis of Anions. Column shall have housing and  heater and controllers for accurate temperature maintaining for particular applications.

SCHEDULE- A

Page 3 of 4

11) System should preferably have  Automatic online Eluent preparation module.   This IC system module should be providing precise and reliable automatic elution where the required eluent is generated directly from the cartridge and the deionized water consistently and conveniently (in a computer controlled fashion).• Required Eluent Cartridges should be provided meeting USP requirements. Additional Provision for manual eluent preparation along with all  required accessories to be included.

12) Anion Trap column with USP (L 61 ) packing should be provided which should  have the  option of continuous regeneration.

Important: The system and accessories like columns should be suitable for performing the test exactly as per the requirement described in test method as per United States Pharmacopoeia (34 version) ie, Analysis of total citrate and total phosphate in Anticoagulant Citrate Phosphate Dextrose Adenine solution. This should be supported by relevant published articles or Application notes with full method validation performed as per USP. The same shall be demonstrated with new equipment at HLL facility with required documentation.

OTHER REQUIREMENTS

1.The company should give the undertaking that the necessary components, spares, consumables or any other item required for the proper working of the equipment would be supplied for at least 10 years from the date of installation of the equipment.

2. For operation of instrument, branded computer system & printer with latest configuration and compatible with the system should be provided.

3. Software shall be window based 21CFR compliance for running, downloading, storage and analyzing data and up gradation free of cost time to time.

4. On site basic training (3 working days) on operational aspect of instrument, usage of software for sample analysis. One week advance training on application aspects, maintenance, trouble shooting etc. for 2 persons at the principal’sfactory / application lab/training centre.

5. Calibration certificate should be provided for ISO requirement.

SCHEDULE- A

Page 4 of 4

6. Equipment shall have the provision of future addition of  UV detector, Amperometric detectors and all kinds of IC applications including gradient

7. Warranty: 12 months from the date of Installation, Commissioning and Acceptance of the machine at HLL Lifecare Ltd., Akkulam Factory and it should cover all the manufacturing defects, spare parts, Components and Service charges, etc. at free of cost during the warranty period. Necessary spares / components required to operate the machine during the warranty period are also to be supplied with the machine. 5 year replacement warranty for suppressor or a spare suppressor shall be provided.

8. Quote rates separately for all standards, spares and consumables required for 5 years (with detailed break-up) along with Annual maintenance contract (AMC) charges after expiry of warranty.

Or

Comprehensive maintenance contract for next 5 years after warranty period shall be mentioned.

9. List of installations in India shall be provided. Provide the list of users with phone (mobile) number with their e-mail id’s of the concerned person using the machine where the machine is functional.

Note: The supplier should enclose the technical compliance statements against our technical specifications clearly mentioning for each point. The statements should be supported by relevant literature/data.

## Schedule – B

Page 1 of 2

## HLL LIFECARE LIMITED

Akkulam Factory

THIRUVANANTHAPURAM-695017

### Minimum Eligibility Criteria for qualifying in the Technical Bid

TENDER NO. HLL/AFT/PUR/QA/IC SYSTEM/2012-13

PRE-QUALIFICATION CONDITIONS

(MINIMUM ELIGIBILITY CRITERIA)

1. Name of the Organization                                            :

2.a. Are you a manufacturer?			                  : Yes/ No

b. Are you an authorized agent?			                  : Yes /No

c. In the case of authorized agent , following documents from the Principal should  be enclosed

- Letter confirming the agency from the

Manufacturer valid for …………………..

- Letter from the manufacturer that they also

agree to abide by all the terms and conditions

of this tender.

3.   What is your annual production/ process capacity?   :

SCHEDULE B

#### Page 2 0f 2

4. Do you have in house testing facility to check HLL’s : Yes/ No

parameters?

5.   Do you have previous experience in       	                  : Yes/No

Supply, Installation and Commissioning

All the information provided herein are true and correct.

PLACE:                                                       Name and Signature of the Applicant

DATE:                                                                           (With Office Seal)

SCHEDULE – C

##### Page 1 of 2

## HLL LIFECARE LIMITED

Akkulam Factory

THIRUVANANTHAPURAM-695 017

### TENDER NO. HLL/AFT/PUR/QA/IC SYSTEM/2012-13

### QUESTIONNAIRE

(General information of the supplier)

1.	Name & Address of the supplier with		      :

(a) Telephone No.

(b) Fax No.

(c) E – mail Address

(d) Name of the contact person

(e) Whether proprietory / partnership /

Limited company.

2.	Are you a manufacturer, authorized		      :

Dealer or any other? If authorized agent,

A copy of the original letter from the

Manufacturer / Principal, duly attested,

Should be furnished conforming the agency

3.	How many years have you been in the 	                  :

business of manufacturing of  Ion Chromatography

System as per the HLL specification enclosed

4.         What would be the minimum period		      :

required to deliver the machine from the date of

confirmed Purchase 	order?

5.	Have you been a supplier / manufacturer,		      :

if so details of the name, address,

quantity and values of orders

received and executed during

last three years? (Attach separate sheet)

SCHEDULE C

# Page 2 of 2

6.	What is your Annual Turn Over during the 	      :

last 3 years?

7.	What is your :-					      :

a) CST No                                                                        :

b) VAT NO /TIN NO                                               	      :

c) Central Excise Registration No:			      :

d) PAN No                                                                       :

8.	Name & Address of your Banker(s)		      :

9.	Any other details					      :

All the information provided herein is true & correct.

PLACE:					 NAME & SIGNATURE OF THE APPLICANT

DATE:  							(WITH OFFICE SEAL)

SCHEDULE-D

Page 1 of 5

HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

THIRUVANANTHAPURAM-17

### TERMS & CONDITIONS

TENDER NO. HLL/AFT/PUR/QA/IC SYSTEM/2012-13

1. The tender should be completed in all respects; incomplete tenders are liable to be rejected.

2. Unsealed tenders received are liable to be rejected and this will be at the sole risk of the tenderers.

3. Earnest Money deposit (EMD)

a. Technical Bid should accompany a DD drawn in favour of M/s.HLL Lifecare Limited, and payable at Thiruvananthapuram, India for a sum of Rs. 10,000./- towards Earnest Money Deposit  failing which the Tender is   likely to be summarily rejected.

b. Release of EMD: The EMD of unsuccessful tenderers will be refunded soon after finalisation of tender, or after two months from the date of opening of tender whichever is earlier. The EMD will not bear any interest.

c. Forefeiture of EMD: The EMD will be forfeited by the HLL in case, after submitting the tender, the tenderer withdraws his offer or fails to supply the equipment after the receipt of Purchase Order.

4. Supply: The successful tenderer will have to supply the machine   within the stipulated delivery time mentioned in the Purchase order.

5. Period of validity of tender: The tender will remain open for acceptance for 90 days from the date of opening of the tender and the rate quoted shall be firm and valid for a period of one year from the date of opening of the price bid.

6. Termination of Contracts: I) In case, after issue of a firm order, the successful tenderer fails to supply the item as per the specified quality and the required quantity according to the Delivery Schedule as given in the Supply Order, and even fails to complete the supply within the extended period if any given in writing by HLL Lifecare Limited, Thiruvananthapuram, it will be within HLL’s full rights to terminate the contract by giving a notice of 21 days in writing sent by Registered courier to the address given in the tender submitted or to any other address which may be recorded in the office at the request of the tenderer. The period of 21 days will be counted from the date of issue of the notice.

SCHEDULE-D

Page 2 of 5

ii). In such cases, the Security Deposit of the successful tenderer will be refunded soon on getting a demand from the tenderer. The HLL Lifecare Limited, will not be liable for payment of any compensation for any loss that the contractor may be put to or alleged to have been put to on account of such termination.

7. In case of notice sent by registered post/ courier to the address recorded in the office as per clause 6 (i) & (ii) is returned undelivered with the remark addressee not found or addressee refused to accept, the notice shall be deemed to have been served and the termination will automatically take effect from the 22nd day of dispatch of the notice.

8. HLL Lifecare Limited, will have the full right to reject any or all the tenders without assigning any reason whatsoever. The HLL Lifecare Limited, also reserves the right to award the contract with more than one contractor.

9. PRICE

Price: The tenderer has to quote the rate for supply of the item as per unit as given in the tender.  Statutory levies if any such as Excise   Duties, Sales Tax, VAT etc. should be shown separately.  Rates quoted should be strictly as per HLL’s format- Schedule-H (Price Bid)

Price variation: Rate quoted shall be firm and valid for a period of one year from the date of opening of the tender.  The benefit of reduction of statutory levies should be passed on to the purchaser.

10. Bid Opening:

The bids shall be opened on date and time as specified, in the presence of such bidder(s) or their representatives who may be present.  The bidder(s) or the authorized representative(s) who are present shall sign an attendance register.  The authorized representative(s) of the bidder(s) shall submit letter(s) of authority before they are allowed to sign the attendance register and participate in the bid opening.

The Technical Bid will be opened on the prescribed tender opening date and time.  The Price Bid will be opened on a later date, which will be made known to all eligible bidders, after technical bid evaluation has been completed.

The bids, which are found as substantially responsive in the technical evaluation and comply with the entire requirement, shall only be considered for Price Bid opening.   The Price Bid (price schedule) submitted by such tenderers whose technical bid have been considered as technically unacceptable on the basis of evaluation, will not be opened.

SCHEDULE-D

Page 3 of 5

11. RELEASE OF PURCHASE ORDER

The purchaser may consider placement of a purchase order for commercial supplies on those bidder(s), whose offers have been found technically, commercially and financially acceptable.

During the period of contract, if so desired by the purchaser, the supplier (s) premises shall be visited by the purchaser for inspection/evaluation.

12. PAYMENT:

a) Payment for domestic goods and services:

Payment for domestic goods and services shall be made in Indian rupees in the following manner:

i) On delivery: 70% of the value of supply shall be paid on receipt of goods and upon submission of delivery documents.

ii) 20% against successful installation and Testing against Installation certificate

iii) 10% against successful validation and Commissioning against submission of a performance bank guarantee equal to 10% of total contract price valid for the period of guarantee/warranty from any scheduled bank.

c) Payment for incidental services including supervision:

The charges for incidental services including supervision, if provided for separately in the contract, shall be paid after the said services have been performed to the satisfaction of the purchaser in accordance with the requirements of the contract and also subject to Clause 12.1.C.

The supplier’s request for payment shall be made to the Purchaser in writing accompanied by an invoice describing, as appropriate, the goods delivered and the services performed and by shipping documents, submitted and upon fulfillment of other obligations stipulated in the contract.

Normally the Purchaser will not entertain any advance payment. However, the bidder can indicate advance payment in the payment terms, if required. Such advance payment will be released against submission of a Bank guarantee from a nationalized/scheduled bank for like amount valid up to the supply of equipment at purchaser’s site. The advance if any paid; interest will be adjusted against the payment against delivery.

13. WARRANTY

Period of warranty shall be twelve months from the date of installation and commissioning as certified jointly by the supplier and the Purchaser.

SCHEDULE-D

Page 4 of 5

14. TECHNICAL EVALUATION OF FIRST STAGE BIDS

The purchaser will carry out a detailed evaluation of the bids in order to determine whether the technical aspects are substantially responsive to the requirement set forth in the bidding documents.  In order to reach such a determination, the bidder will examine the information supplied by the bidders and other requirements in the bidding documents, taking into account the following factors.

Overall completeness and compliance with the Technical Specification and Drawings; suitability of the facilities offered; quality function and operation of any process control concept included in the bid.

Compliance with the time schedule called for. Type, quantity and long-term availability of spare parts and maintenance services

Any other relevant technical factors that the bidder deems necessary   to take into consideration. Any deviation to the commercial and contractual provisions stipulated in the bidding documents should be mentioned in the technical bid document.

15. OPENING AND EVALUATION OF SECOND STAGE BIDS

The purchaser will open the price bids of only those who qualify in the Technical Bid evaluation.  The venue, date and time of opening of price bids will be intimated to the technically qualified   bidders.

The bidder’s names, the bid price and any such other details as the purchaser considers appropriate, will be announced by the purchaser at the price bid  opening.

Bids not opened and read out at bid opening shall not be considered for further  evaluation, irrespective of the circumstances.

16. PURCHASER’S RIGHT TO ACCEPT ANY BID AND TO REJECT ANY OR ALL BIDS

The Purchaser reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids, at any time prior to award of contract without assigning any reason whatsoever and without thereby incurring any liability to the affected bidder or bidders on the grounds of purchaser’s action.

17. COMMISSIONING:

Supply, Installation and Commissioning of 1 Nos Drying Chamber (Oven) for Blood Bag shall be made by the supplier in accordance with the terms and technical specifications made by the purchaser.

SCHEDULE-D

Page 5 of 5

18. Operational Acceptance:

Performance Test: The performance test shall be conducted by the supplier during the commissioning of the facilities to ascertain whether the facilities can attain the functional guarantees.

Operational Acceptance: Operational Acceptance shall occur in respect of the facilities when the performance test has been successfully completed and the functional performance is met.

19. TRAINING:

a) The bidder shall provide training for maintenance staff of the purchaser free of  cost where required.

b) The bidder shall provide all training material and documents/machine manuals.

c) Conduct of training of the purchaser’s personnel shall be on-site.

20. Mode of Transport:

By road for Indian Suppliers unless otherwise specified.

Despatch documents like delivery note/challan, packing list and invoice should   be intimated immediately with the LR No/Shipping Bill No/Air way Bill No.

21. The jurisdiction of any disputes, suits and proceedings arising out of this   tender shall be only in the courts of Thiruvananthapuram, Kerala State, India.

22. “Any disputes or difference whatsoever arising between the parties out of or relating to the construction, meaning and operation or effect of this contract or the breach thereof shall be settled by arbitration in accordance with the rules of arbitration of the Indian Council of Arbitration and the award made in pursuance thereof shall be binding on the parties” in case the matter is referred for arbitration.

23. The decision of HLL will be final and no correspondence on this shall be entertained.

24. THERE WILL NOT BE ANY POST TENDER NEGOTIATION EXCEPT WITH THE FIRST LOWEST RESPONSIVE BIDDER.

JGM (Materials)

Ph No: +91 471 2445930

Fax No: +91 471 2445935

Email: materialsaft@lifecarehll.com

SCHEDULE – E

Page 1 of 2

HLL LIFECARE LIMITED

Akkulam Factory

THIRUVANANTHAPURAM-695017

TENDER NO. HLL/AFT/PUR/QA/IC SYSTEM/2012-13

### QUESTIONNAIRE FOR SUPPLIER DEVELOPMENT

NAME OF PRODUCT:

1)	Furnish briefly the particulars & name of your Organizational status      :

a) No. of employees

b) Annual turnover

2)	Do you have a Quality Control department? If yes, give the		      : Yes/No

details of the facilities.

3)	a) Do you have inspection for incoming materials			      : Yes/No

b) Do you have in process inspection facilities	  		      : Yes/No

c) Do you have final inspection of the product/equipment		      : Yes/No

4)	(a) Would you issue Conformance   Certificate, if yes please

furnish a copy of the same						      : Yes/No

(b) If yes, please specify (ISI / ISO/ Any Other)

5)	Do you have any accreditation					      : Yes/No

(a) ISO 9000

(b) Any National/International Laboratory/Authority Certification

If ‘Yes’, give details along with a copy of certificate issued by them.

SCHEDULE – E

Page 2 of 2

HLL LIFECARE LIMITED

AKKULAM FACTORY

THIRUVANANTHAPURAM-695017

6)	Furnish the details of testing facility with details of testing  :

equipments.

7)	Have you been assessed previously by HLL		      : Yes/No

8)	List of customers     					      :

Date: 						NAME & SIGNATURE OF THE SUPPLIER

Place:									(office seal)

This is to be filled up by HLL LIFECARE LIMITED, Thiruvananthapuram

Recommendation/Remarks of the committee:

Committee Members:

1.Head of Quality Control/Head of Technical Services

2.Head of User Department

3.Head of Purchase Department

SCHEDULE – F

Page 1 of 1

HLL LIFECARE LIMITED

(A Government of India Enterprise)

Akkulam Factory

THIRUVANANTHAPURAM- 695017

TENDER NO. HLL/AFT/PUR/QA/IC SYSTEM/2012-13

INDEMINITY CLAUSE:

If the supplier fails to execute the order within the time prescribed for the delivery of goods ordered or violates or infringes the existing rates as agreed to as mentioned in the supply order, the supplier shall and will indemnify the company against all loses or damages whatsoever to be incurred or sustained including the legal cost or expenses incurred by the company by reason of non-delivery of equipment at agreed quantity and rate with in the time specified in the supply order.  The company will initiate legal action if the supplier fails to execute the supply order as per the schedule in the supply order for the actual loss suffered. Responsiveness of the Bid shall be at the discretion of HLL.

The supplier shall have no right to change the conditions stipulated in the supply order.

Bid pronounced Non Responsive by HLL shall be summarily rejected.

The decision of HLL will be final and no correspondence of this shall be entertained.

We have read and understood the above conditions and agree to abide   by the same.

PLACE:                                    NAME AND SIGNATURE OF THE APPLICANT

DATE:                                                          (WITH OFFICE SEAL)

SCHEDULE - G

Page 1 of 1

HLL LIFECARE LIMITED

Akkulam Factory

THIRUVANANTHAPURAM-695017

TENDER NO. HLL/AFT/PUR/QA/IC SYSTEM/2012-13

DECLARATION

We confirm having read and understood all the specifications, instructions, forms, terms and conditions and other requirements of the above tender (both expressed and implied) in full and that we agree to abide by all without any deviation.

SEAL OF THE APPLICANT		                         	            SIGNATURE

NAME AND ADDRESS OF APPLICANT

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O,

# THIRUVANANTHAPURAM-695017

Email: materialsaft@lifecarehll.com

Website: www.lifecarehll.com

PH:  +91 471 2442641, 2445930

FAX: +91 471 2445935

INVITATION FOR BIDS

(PRICE BID)

# FOR

SUPPLY, INSTALLATION AND COMMISSIONING OF

ION CHROMATOGRAPHY SYSTEM

Quantity: 1 Number

AT

AKKULAM FACTORY

THIRUVANANTHAPURAM – 695 017

SCHEDULE - H

Page 1 of 1

HLL LIFECARE LIMITED

THIRUVANANTHAPURAM-695017

### A. SUPPLY PART – ION CHROMATGRAPHY SYSTEM - 1 No

| Sl No | Item Description | Rate (Rs.) / Unit | Amount (Rs.) |
| --- | --- | --- | --- |
| i. | Basic Price |  |  |
| ii. | Excise Duty |  |  |
| iii. | Taxes |  |  |
| iv. | Freight Charges |  |  |
| v. | Others if any |  |  |
| vi. | Grand Total (Rs.) |  |  |

### B. INSTALLATION PART - ION CHROMATGRAPHY SYSTEM - 2 No

| Sl No | Item Description | Rate (Rs.) / Unit | Amount (Rs.) |
| --- | --- | --- | --- |
| i. | Installation Cost |  |  |
| ii. | Service Tax |  |  |
| iii. | Grand Total (Rs.) |  |  |

** Detailed split up rate details may also be incorporated along with your offer.

VALIDITY: ONE YEAR FROM THE DATE OF OPENING OF PRICE BID

Statutory levies if any:

Any other Remark (s):

Payment terms:

Certified that the rate quoted will hold good for one year during which period no upward revision will be asked for.

NAME OF TENDERER:______________________________

Place:                                 ADDRESS AND SIGNATURE OF THE TENDERER                                                           Date:                                                              (WITH OFFICE SEAL)