Corporate and Registered Office,

HLL Bhavan, Poojappura,

Thiruvananthapuram– 695 012

Kerala, India.

Phone: 0471 – 2354949

Website: www.lifecarehll.com

## Invitation for Bids

Supply and installation of Local Image Viewing Software- DICOM

Date	:		05th May 2015

IFB No.	:		HLL/CHO/HCS/PROC/2015-16/95 /TEN-7

The schedule of the bid is given below.

Last date and time for receipt of bids                    :    15 hrs on 18.05.2015

Time and date of opening of  Technical Bid        	 :   15.30hrs on 18.05.2015

Dear Sir,

Sub:  Supply and installation of Local Image Viewing Software- DICOM

HLL Lifecare Limited, Thiruvananthapuram invites competitive bids from eligible bidders for the supply of DICOM local image viewing software at our Healthcare Services division (Hindlabs, MRI Scan Centre, Kottayam). The details are given below;

| Sl.No. | Product | Quantity |
| --- | --- | --- |
| 1 | DICOM latest version (Detailed requirement attached as Annex 1) | 1 No. |

### Terms & Conditions

- Detailed requirement of the DICOM software is attached as Annexure 1

- The prices should be quoted as per the format for price schedule enclosed as Annexure – 2.

- The bids will be evaluated by taking the total quoted amount for all items.

- The prices quoted shall be valid for a period of 90 days from the date of opening of bids.

- The items should be delivered within 3 weeks from the date of placement of order.

- Penalty at 0.5% per week’s delay subject to maximum of 5% is applicable for delayed delivery.

- By Necessary documentations/CDs/DVDs are to be supplied along with the product.

- Software training should be provided at free of cost.

- The bidder shall attach the copy of end user license agreement/any other license agreement associated with the quoted product along with the bid

- Statutory documents like licenses should be supplied along with the product.

- Bids should be clear in all respects and those with ambiguous and conditional clauses shall be summarily rejected.

- Supplier shall be ready to install trial version of the software for one month before placing order on the party.

- The supply order will be placed on the first lowest responsive bidder based on the successful acceptance of the trial version. CMC price quoted shall also be considered for calculating the L1 bidder.

- HLL will have the right to increase or decrease up to 20% of the quantity of goods and services specified in the schedule of requirements without any change in the unit price or other terms and conditions.

- Payment will be released within 30 days from the date of Installation.  For claiming the payment, the following documents are to be submitted.

- 3 copies of Invoice.

- Delivery chellan/installation report

- License document.

- The bids should be submitted at the following address.

Senior Manager (P&QM)

HLL Lifecare Limited

Corporate and Registered Office,

HLL Bhavan, Poojappura,

Thiruvananthapuram – 695 012,

Phone: 0471- 2354949.

- Bids should be submitted on or before 15:00 Hrs on 18.05.2015 and the same will be opened at 15.30 Hrs on the same day at Corporate Head Office, Poojappura, Thiruvananthapuram in the presence of the representative of the bidder who choose to attend. If the bid opening day is declared as holiday for HLL, the bid will be opened at the next working day of HLL.

- Software shall have warranty for minimum 2 years and the CMC charges from 3rd year onwards shall be quoted separately in the price schedule. During the subscription period Software upgrade if any and technical support and after sales services should be provided  free of cost.

- The envelopes containing the bid should bear the Invitation for Bids title and number, and the statement DO NOT OPEN BEFORE____________________(Here insert time and date of bid opening)

- HLL reserves the right to accept or reject any or all of the bids without assigning any reason whatsoever

- Any bid received after the deadline will be rejected

- No fax/email bids will be accepted

- Any dispute arising out of the tender/bid document/ evaluation of bids/issue of purchase order shall be subject to the jurisdiction of the competent court at Thiruvananthapuram only.

Thanking you,

Yours faithfully,

Smitha.L.G

Senior Manager (P&QM)

Annex 1

| Radiologist Viewing software: |  |
| --- | --- |
| The DICOM viewing software at the radiologist end should have the following features: |  |
| 1 | DICOM viewing should be enabled through LAN and it should be accessible via LAN from anywhere inside the centre |
| 2 | Should provide fast image transfer over LAN from console to Radiologist reporting PC |
| 3 | Should work on Windows |
| 4 | Window level/window width adjustments. |
| 5 | Predefined WW/WL for abdomen, Bone, Cerebrum, Liver, lung, mediastinum, pelvis, Posteriorfossa and sudduraletc(additional presets could be added). |
| 6 | Function keys for changing WW/WL |
| 7 | Hounsfield unit measurements |
| 8 | Full screen display for optimal screen usage. |
| 9 | Different screen layouts(1x1,2x2,3x3 and 4x4). |
| 10 | 3D Multiplanner Re construction. |
| 11 | Comparison mode. - Different series of the same study like plain and contrast. - Different studies of the same patient(CT and MRI or CT and CR). |
| 12 | Localiser and scout lines display. |
| 13 | Text and graphic overlays. |
| 14 | Left/Right markers. |
| 15 | Zoom and Pan |
| 16 | Magnifier |
| 17 | Gray scale invert |
| 18 | Measurement tools-draw arrow, draw ellipse, draw polygon, measure angle, measure distance, write text etc) |
| 19 | Orientation tools-Flip horizontal, flip vertical, rotate right, rotate left, reset orientation) |
| 20 | Marking as a key image |
| 21 | Stack and Page modes |
| 22 | Interactive windowing. |
| 23 | Show and hide annotations |
| 24 | Saving the annotations |
| 25 | Series synchronization(Auto sync and manual sync) |
| 26 | Cineloop ( forward and backward with adjusting cine speed) |
| 27 | Export images(current image, current series, current study) |
| 28 | Export to Avi format |
| 29 | DICOM CD burning |
| 30 | Offline viewing via cache option |
| 31 | DICOM push option to send images to other DICOM nodes |
| 32 | Dual monitor support |
| 33 | Patient history viewing option |
| 34 | Reporting module interface integrated with the viewer |
| 35 | Should have unlimited user license. |
| 36 | Should Have MIP/MPR function, cross referencing, automatic spine labeling, study review status. |
| 37 | Radiologist should be able to know the download status of the whole study. |
| 38 | Reporting should be integrated with MS Word with all features |

Annex 2

Price schedule

Table 1

| Sl. No | Description of item work | Unit | Quantity | Basic price (Rs) | Taxes/Duty (Rs) | Other incidental cost if any (Rs) | Total price for each unit (Rs) | Amount (Rs) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8=5+6+7 | 9=4x8 |

CMC rates

Table 2

| Year | 1st & 2nd year | 3rd year | 4th year | 5th year | 6th year | 7th year | 8th year | 9th year | 10th year |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CMC charges (Rs) | Free |  |  |  |  |  |  |  |  |
| Tax additional if any |  |  |  |  |  |  |  |  |  |
| Total |  |  |  |  |  |  |  |  |  |
| Grand total value (Rs) |  |  |  |  |  |  |  |  |  |

Table 3

Total price quoted.

| Total amount of each unit |  |
| --- | --- |
| Total CMC value |  |
| Grand total |  |