## TENDER FOR RENOVATION  & MODERNIZATION OF LABOUR ROOM (Civil Works)

## FOR

## HIMACHAL PRADESH PROJECT- IV

(KINNAUR  DISTRICT)

### TENDER No: HLL/AFT/TDG/HP-IV/CIVIL/2014-15/02  DATED  22/03/2015

HLL LIFECARE LIMITED

(A GOVT. OF INDIA ENTERPRISE)

AKKULAM  FACTORY, SREEKARIAM  P.O.

THIRUVANANTHAPURAM – 17

Phone +91 471 244 5930, Fax      +91 471 244 5935

Email: tradingpaft@lifecarehll.com

Web: www.lifecarehll.com

HLL LIFECARE LIMITED

AKKULAM  FACTORY,   SREEKARIAM  P.O.  THIRUVANANTHAPURAM - 17

## Tender for Renovation & Modernization of Labour Room (Civil Works)

TENDER REFERENC	 :     HLL/AFT/TDG/HP-IV/CIVIL/2014-15/02

DATED  22/03/2015

DATE OF COMMENCEMENT

OF SALE OF TENDER DOCUMENT		:        	22/03/2015

LAST DATE FOR SALE OF TENDER

DOCUMENT						:	27/03/2015,     	16.00  HRS

LAST DATE AND TIME FOR

RECEIPT OF TENDERS				:	28/03/2015,     	10.30 HRS

TIME AND DATE OF OPENING

OF TENDERS					:	28/03/2015,     	11.30 HRS

PLACE OF OPENING OF TENDERS		:	HLL LIFECARE LIMITED

AKKULAM  FACTORY,

SREEKARIAM  P.O.

THIRUVANANTHAPURAM – 17

Phone +91 471 244 5930

Fax      +91 471 244 5935

Email: tradingpaft@lifecarehll.com

ADDRESS FOR COMMUNICATION	:		The Joint General Manager (Mtls)

HLL LIFECARE LIMITED

AKKULAM  FACTORY,

SREEKARIAM  P.O.

THIRUVANANTHAPURAM - 17							                        Phone +91 471 244 5930

Fax      +91 471 244 5935

Email: tradingpaft@lifecarehll.com

SECTION  I

INVITATION FOR TENDERS

HLL/AFT/TDG/HP-IV/CIVIL/2014-15/02  dated  22/03/2015

Sealed and super-scribed tenders are invited  for execution of RENOVATION  & MODERNIZATION OF LABOUR ROOM (Civil Works) as given below. The detailed work is given as in the Price Schedule to this Tender. Sealed Tenders (with Price Schedule in two copies i.e. in Original and Duplicate in separate sealed covers) will be accepted till 10.30 Hrs on 28/03/2015

| Site. No. | Details of Designated Site (Hospital Location) | EMD Amount (Rs) |
| --- | --- | --- |
| 1 | Dist Hospital, Reckong Peo | 30,000.00 |
| 2 | Community Health Centre, Pooh |  |
| 3 | Community Health Centre, Sangla |  |
| 4 | Community Health Centre, Bhawnagar |  |
| 5 | Community Health Centre, Nichar |  |

1.

1.  Interested eligible Tenderers may obtain further information from the Office of the Joint General Manager (Mtls), HLL Lifecare Ltd, Akkulam Factory, Thiruvananthapuram -17, Kerala.

2.  Interested  Tenderers may submit their Tender documents at the Office of the Joint General Manager (Mtls), HLL Lifecare Ltd, Akkulam Factory, Thiruvananthapuram –17 on or before the specified date and time.

3.  All Tenders must be accompanied by the documents specified herein and must be delivered to Joint General Manager (Mtls) on or before 28/03/2015, 10.30 Hrs.  The Tenders will be opened on 28/03/2015, at 11.30  hrs in the presence of the Tenderers or their duly authorized representatives who wish to attend the Tender opening on the specified date and time at HLL's office mentioned above. In the event of the date being declared is a closed holiday for HLL, the due date for submission of  Tenders and opening of Tenders will be the following working day at the appointed time.

4.  Instruction to Tenderers

4.1.   Eligible Tenderers

a) The Tenderer should have Minimum 1 year experience in the relevant field

b) The Tenderer should have executed satisfactorily at least 2 jobs preferably of similar kind and each contract valuing more than Rs. 20 Lakhs during the last 3 years.

c) Tenderer should have good financial background proven by balance sheet / Bank Statement of two immediate previous financial years.

d) The Tenderer must quote for all the schedules in Tender. The tender partially quoted or not quoted for all the schedules in the tender shall be considered as incomplete and will be summarily rejected.

e) Tenderer/his supervisor should have necessary valid licences, as applicable, to execute the work specified in the schedules. Documentary proof shall be submitted along with the tender.

5. Tender Documents to be submitted

5.1. The Tenderer is to furnish all information required by the Tender. Submission of a tender  not substantially responsive in every respect will be at the Tenderer’s risk and may result in rejection of  Tender.

5.2.  Tender Fee : DD for Rs. 525.00 (inclusive of tax) drawn in favour of HLL Lifecare

Limited payable at Thiruvananthapuram is to be attached towards tender fee.

  - EMD shall be submitted in the form of  Demand Draft, drawn in favor of HLL Lifecare  Limited, payable at Thiruvananthapuram . The EMD shall be returned to the non-responsive Tenderers within 60 days from the date of opening of Tender. The Tender received without EMD will be rejected.

  - Performance statement - Documentary evidence of previous satisfactory work executions as specified above.

  - Duly filled Tender and Price schedule as per Tender. PRICE SCHEDULE duly filled shall be submitted in two copies, i.e. ORIGINAL & DUPLICATE in separate sealed covers. The tenderer who is quoting the tender shall ensure that he is quoting for all the schedules in the Tender.

5.6   The tender not quoted for all the schedules in the Tender, shall be summarily rejected.

5.7.   The Work Order shall be placed to the tenderer, whose total rate for all the schedules in the tender comes to lowest and responsive.

6.   Period of Validity of Tenders

6.1  Price in the Tender shall be valid for One year from the date of opening of Tender

Prices in the Work Order shall not vary during the validity period.

7.  Format and Signing of Tender.

7.1   The Tender shall be typed or written in indelible ink.  All pages of the Tender, except for unamended printed literature, shall be initialed by the person(s) signing the Tender.

7.2   Any interlineations, erasures or overwriting shall be valid only if they are initialed by the person(s) signing the Tender.

7.3    Taxes and Duties : 	Contractors shall be entirely responsible for all taxes, licenses, statutory levies etc., incurred until handing over of the contracted site/service to the Company.

8.    Submission of  Tenders

#### 8.1.   Sealing and Marking of Tenders

The Original Tender with all documentary evidence and Original Price Bid (Price Schedule) shall put in a sealed cover super scribed  with (“ORIGINAL TENDER & PRICE BID).

.

The Duplicate Price Bid (Price Schedule) shall put in an another sealed cover super scribed  with (“DUPLICATE PRICE BID)

## Both sealed covers shall be put in an another single cover and sealed and super scribed with

## “Tender for Renovation & Modernization of Labour Room (Civil Works) – Phase IV”

“TENDER No: HLL/AFT/TDG/HP-IV/CIVIL/2014-15/02   DATED  22/03/2015”

shall be addressed to the following address:

The Joint General Manager (Materials)

HLL Lifecare Limited,

Akkulam Factory, Sreekaryam  P.O. ,

Thiruvananthapuram -17

Phone 0471 2445930 / 2445935

Email : tradingpaft@lifecarehll.com

- If the Tenders  are not sealed and marked as required, the Company will assume no responsibility for the Tender’s misplacement or premature opening.

- The Company may, at its discretion, extend this deadline for the submission of Tenders by amending the Tender documents in which case all rights and obligations of the Company and Tenderers previously subject to the deadline will thereafter be subject to the deadline as extended.

9.  Late Tenders

9.1   Any Tender received by the Company after the deadline for submission of Tenders prescribed by the Company, will be rejected and returned unopened to the Tenderer.

10.   Tender Opening and Evaluation

10.1 The Tenders shall be opened at 11.30 Hrs on 28/03/2015, in the presence of Tenderer's/their representatives who wish to attend, at the following Office of ;

THE JOINT GENERAL MANAGER (MATERIALS)

HLL Lifecare Limited,

Akkulam Factory, Sreekaryam  P.O. ,

Thiruvananthapuram -17

Phone 0471 2445930 / 2445935

Email : tradingpaft@lifecarehll.com

10.2 	In the event of the date of Tender opening being declared a holiday for the Company, the Tenders shall be opened at the appointed time and location on the next working day.

10.3 The Company will scrutinize the Tender for compliance to the conditions and documentation requirement as per the Tender document. The Tenderers will be short-listed on the basis of responsiveness of Tender. The successful Tenderer shall be identified on the basis of lowest evaluated substantially responsive Tender.

10.4   During Tender evaluation, the arithmetical errors found in the tenders shall be evaluated on the following basis.  If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected. If there is a discrepancy between words and figures, the amount in words will prevail.  If the Tenderer does not accept the correction of the errors, its Tender will be rejected.

10.5    A Tender not substantially responsive, will be rejected by the Company and may not subsequently be made responsive by the Tenderer by correction of the non-conformity.

11.   Award of Contract

11.1 	The Company shall award the contract to the successful Tenderer whose Tender has been determined to be substantially responsive and as the lowest evaluated Tender, provided further that the Tenderer is capable to perform the contract satisfactorily.

12. Company’s Right to Vary Quantities at the time Award

  - The Company reserves the right at the time of award of contract to increase or decrease the quantity of materials and services originally specified in the Tender document without any change in unit price or other terms and conditions within the Tender validity period.

13.  Accept or Reject any or all Tenders

13.1 	The Company reserves the right to accept or reject any Tender, and to annul the Tender process and reject all Tenders at any time prior to award of Contract, without thereby incurring any liability to the affected Tenderer or Tenderers.

14. Notification of Award

14.1 	Company shall notify the successful Tenderer in writing and/or by e-mail, that its Tender has been accepted. The notification of award will constitute the formation of the contract

SECTION II

GENERAL CONDITIONS OF CONTRACT

1. Standards

1.1	The Work executed under this Contract shall conform to the standard requirements mentioned in the schedule.

2. Inspection and Tests

2.1	The Company or its representative shall have the right to inspect and/or to test the materials to confirm their conformity to the Contract at no extra cost of the Company.

2.2	The inspections and test may be conducted on the premises during execution and/or at the point of completion and/or at the time of handing over the execution. The Contractor or its subcontractor(s), all reasonable facilities and assistance shall be extended to the inspectors at no charge to the Company.

2.3	Any inspected or tested materials/work fail to meet with the schedule requirement, shall be either replaced or make all alternations necessary to meet schedule requirements free of cost to the Company by the contractor.

3.  Incidental Expenses

3.1 	The contractor may be required to provide any or all of the services with respect to this tender, including additional services, if any.

4. Warranty

4.1 	The Contractor shall warrant that the Materials used under this Contract are new, unused, of the most recent or current models and incorporate all recent improvements in design and materials unless provided otherwise in the Contract. The Materials supplied under this Contract shall have no defect arising from design, materials or workmanship (except when the design and/or material is required by the Company’s specifications) or from any act or omission of the Contractor, that may develop under normal use of the supplied Materials.

4.2 	The warranty shall valid for one year after work completion, handing over and acceptance as indicated in the Contract. On receipt of any complaint during the warranty period shall be repaired/replaced by the contractor with all reasonable speed, without any cost to the Company

4.3      Any failure from the part of Contractor to attend the complaint during warranty period shall be promptly notified to the contractor in writing, which will be at the cost and responsibility of contractor

4.4 	If the Contractor, having been notified, fails to remedy the defect(s) within a reasonable period, the Company may take remedial action, as may be necessary, at the Contractor’s risk and expense and without prejudice to any other rights which the Company may have against the Contractor under the contract.

5. Payment

5.1 Payment shall be as per the clause (5) of  	Special Conditions of Contract (SECTION – III)

6. Subcontracts

6.1	The supplier shall notify the Company in writing of all subcontracts awarded under the contract if not already specified in his Tender. However, Such notification, in his original Tender or later, shall not relieve the Contractor from any liability or obligation under the contract and any kind of liability/commitments with respect to the sub-contracting shall be at the risk, cost and complete responsibility of the contractor.

7. Termination by default

7.1	The Company may, by written notice of default sent to the contractor, terminate the Contract in whole or part;

- if the Contractor fails to complete any or all of the work within the time period(s) specified in the Contract, or within any extension thereof granted by the Company,    or

- if the Contractor fails to perform any other obligation(s) under the contract.

7.2	In the event the Company terminates the Contract in whole or in part,  the Work or Services similar to those unperformed, the Contractor shall be liable to the Company for any excess costs for such similar Works..

8. Resolution of Disputes/Arbitration

8.1 	The Company and the contractor shall make every effort to resolve amicably by direct informal negotiation, any disagreement or dispute arising between them under or in connection with the Contract.

8.2      If,  HLL and the Contractor have been unable to resolve amicably a Contract dispute, such dispute or disagreement shall be settled in accordance with the Arbitration and Conciliation Act 1996. The Arbitral Tribunal shall consist of 3 Arbitrator, one each to be nominated by the Company and the contractor. The third Arbitrator shall be chosen by the two Arbitrators so appointed by the parties and shall act as Presiding Arbitrator. In case of failure of the two Arbitrator appointed by the parties to reach upon a consensus within a period of 30 days from the appointment of the Arbitrator appointed subsequently, the Presiding Arbitrator shall be appointed by the President of Institute of Engineers (India).

8.3    The jurisdiction of any disputes, suits and proceeding arising out of the tender shall be only in the court of Thiruvananthapuram.

9. Applicable Law

9.1 	The Contract shall be interpreted in accordance with the laws of the Union of India.

SECTION III

SPECIAL CONDITIONS OF CONTRACT.

- The work shall be completed within 90 Days from the date of receipt of firm Work Order/L.O.I.

- During the execution of the work the contractor or authorized representative should be present at the site.

- All Statutory deduction like Income tax, Work Tax, Service Tax, ESI, PF etc will be deducted from the Contractor’s bill as per the statutory rules.

- Security deposit: 5% of executed value shall be deducted from the first bill and shall be released after defect liability period of ONE year.

- Payment shall be released in two parts - 50% of the total value of work may be released upon the completion of 60% of the work and the final payment (balance 50%) shall be made after successful completion of the total work. The second and final payment shall be released only after clearing all the debris/balance materials from the site and upon certified by Engineer-in-charge, HLL on actual measurement basis.

- Contractor shall collect the Completion Certificate from the Hospital Authorities after completion and handing over the work and submit the Completion Certificate in original along with the final bill for release of final payment.

- The contractor has to arrange all the necessary insurance coverage for the materials/ machines / work men deployed by him.

- Measurement is to be recorded in each stage of the work and the payment will be made on actual measurement of the work as per the order.

.

- If the Contractor fails to execute any or all of the work or perform the Services within the time period(s) specified in the Tender/Purchase Order / Work order, the HLL shall, without prejudice to its other remedies under the Contract, deduct from the Contract Price, as penalty, a sum equivalent to the percentage specified in the various terms and conditions of the contract, unless an extension of time is agreed upon pursuant to Work Order without the application of liquidated damages.

- HLL reserves the right to accept or reject the tender either partially or fully without assigning any reason what so ever.

10. Liquidated Damages

If the Contractor fails to perform the Services within the period(s) specified in the Contract, the HLL shall, without prejudice to its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to 0.5 percentage of the value of the delayed Work or unperformed Services for each week or part thereof of delay until actual completion of performance, up to a maximum deduction of 10 percentage. Once the maximum is reached, the HLL may consider termination of the Contract.

SECTION IV

PROFORMA ABOUT THE CONTRACTOR

TENDER No: HLL/AFT/TDG/HP-IV/CIVIL/2014-15/02   DATED  22/03/2015

(Please attach detailed proforma incorporating the information given below)

Tender No……………………….

DATE OF OPENING……..

NAME OF THE TENDERER:……………………………………..

- Name & Full address of the Contractor:

(a)  PAN No

(b)  Service Tax  Regn. No:

©  TIN No   *****

(d) CST No  *****

(e) Any other details

2.	(a) Telephone No.  				Office/Personal

(b) Fax No.					Office/Personal

(c) e-mail address

- Details of Staff:

a) technical :

b)  skilled    :

c) unskilled  :

SEAL OF THE  TENDERER

SIGNATURE

NAME AND ADDRESS OF TENDERER

SECTION  V (a)

## HLL LIFECARE LIMITED

Akkulam Factory

THIRUVANANTHAPURAM-695017

TENDER No: HLL/AFT/TDG/HP-IV/CIVIL/2014-15/02   DATED  22/03/2015

INDEMINITY CLAUSE

If the contractor fails to execute the order within the time prescribed for the handing over of works ordered or violates or infringes the existing rates as agreed to as mentioned in the work order, the contractor shall and will indemnify the company against all loses or damages whatsoever to be incurred or sustained including the legal cost or expenses incurred by the company by reason of non-handing over of works at agreed quantity and rate within the time specified in the work order.  The company will initiate legal action if the contractor fails to execute the work order as per the schedule in the work order for the actual loss suffered. No quantity tolerance will be permitted in this regard unless otherwise prior approval is taken by the company before executing any excess quantity and shall be at the risk of the contractor.   Responsiveness of the Tender shall be at the discretion of HLL.

The contractor shall have no right to change the quantity stipulated in the work order.

Tender pronounced Non Responsive by HLL shall be summarily rejected.

The decision of HLL will be final and no correspondence of this shall be entertained.

We have read and understood the above conditions and agree to adhere   by the same.

PLACE:                                                        NAME AND SIGNATURE OF THE TENDERER

DATE:                                                                                (WITH OFFICE SEAL)

SECTION V (b)

## HLL LIFECARE LIMITED

Akkulam Factory

THIRUVANANTHAPURAM-695017

IFB NO: HLL/AFT/TDG/HP-IV/ELE/2014-15/02

#### DECLARATION

I / We, The Tenderer undertake, shall execute, within the purview of the contract, all the civil works and activities includes; transportation, loading, unloading and other  Civil works related to the installation of the equipments as part of project at the designated site as per the schedule/contract /work order, at Himachal Pradesh

We confirm having read and understood all the schedule  requirements, instructions, forms, terms and conditions and other  requirements of the above tender (both expressed and implied) in full and that we agree to adhere by all without any deviation.

SEAL OF THE TENDERER

SIGNATURE

NAME AND ADDRESS OF TENDERER

- SECTION  VI

- HLL LIFECARE LIMITED

AKKULAM FACTORY,  THIRUVANANTHAPURAM-695017

Ph: 0471 244 5930  Tele Fax: 244 5935

tradingpaft@lifecarehll.com

TENDER No: HLL/AFT/TDG/HP-IV/CIVIL/2014-15/02    DATED  22/03/2015

Tender for Renovation and Modernization of Labour  Room

(Civil Works)

## HIMACHAL PRADESH PROJECT- IV

(KINNAUR  DISTRICT)

- ABSTRACT PRICE BID

| Site. No. | Details of Designated Site (Hospital Location) | Amount (Rs) |
| --- | --- | --- |
| 1 | Dist Hospital, Reckong Peo |  |
| 2 | Community Health Centre, Pooh |  |
| 3 | Community Health Centre, Sangla |  |
| 4 | Community Health Centre, Bhawnagar |  |
| 5 | Community Health Centre, Nichar |  |
| TOTAL (Rs.) |  |  |

Total words in Rupees:___________________________________________________________

The Tenderer has to submit their quote for all the schedules in the Tender.  If a tenderer is not quoting for all the schedules in the Tender, the tender will be summarily rejected. HLL will place Work Order to the tenderer, whose total rate for all the hospitals in the tender comes to lowest

SEAL OF THE TENDERER			SIGNATURE

NAME AND ADDRESS  OF TENDERER

SECTION VII

- HLL LIFECARE LIMITED

AKKULAM FACTORY,  THIRUVANANTHAPURAM-695017

Ph: 0471 244 5930  Tele Fax: 244 5935

tradingpaft@lifecarehll.com

TENDER No: HLL/AFT/TDG/HP-IV/CIVIL/2014-15/02   DATED  22/03/2015

Tender for Renovation and Modernization of Labour  Room

(Civil Works)

PRICE SCHEDULE

SITE : 01

DISTRICT HOSPITAL, RECKNONG PEO (TRIBAL)  (DISTRICT : KINNAUR)

| SN | Code |  | Description of Item | Quantity | Unit | Rate (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  | Cleaning the site and removing debris with carriege of material by manual labour including loading ,unloading and stacking for lead lass than 0.5 KM |  | Ls |  |  |
| 2 |  |  | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : |  |  |  |  |
| a). | 21.1.1.1 |  | For Fixed Portion , Powder coated aluminium (minimum thickness of powder coating 50 micron) | 78.00 | Kg |  |  |
| b). | 21.1.2.1 |  | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Powder coated aluminium (minimum thickness of powder coating 50 micron) | 81.60 | Kg |  |  |
| 3 |  |  | Providing and fixing 12mm prelaminated three layer medium density (exterior grade) particle board Grade I,TypeII conforming to IS:12823 bonded with phenol formaldehyde synthetic resin, of approved brand and manufacture in paneling fixed in aluminium doors, windows shutters and partition frames with C.P.brass/stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. |  |  |  |  |
|  | 21.2.2 |  | Prelaminated particle board with decorative lamination on both sides | 6.20 | sqm |  |  |
| 4 |  |  | Providing and fixing glazing in aluminum door, window, ventilator shutters and partitions etc with PVC/neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge. |  |  |  |  |
| a) | 21.3.2 |  | With float glass panes of 5.5 mm thickness | 13.20 | sqm |  |  |
| 5 |  |  | Providing and fixing aluminium sliding door bolts ISI marked anodised ( anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete- |  |  |  |  |
| a) | 9.96.1 |  | 300x16mm | 2.00 | each |  |  |
| 6 |  |  | Providing and fixing aluminium tower bolts ISI marked anodised ( anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete- |  |  |  |  |
| a) | 9.97.2 |  | 250 X 10 mm | 3.00 | each |  |  |
| b). | 9.97.4 |  | 150x10mm | 3.00 | each |  |  |
| 7 |  |  | Providing and fixing aluminium handles ISI marked anodised ( anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete- |  |  |  |  |
| a) | 9.100.1 |  | 125 mm | 3.00 | each |  |  |
| 8 | 12.52.3 |  | Providing and fixing tiled false ceiling of approved materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections - 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. glass wool backing. |  |  |  |  |
|  |  |  |  | 37.40 | sqm |  |  |
| 9 | 17.31 |  | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1.00 | each |  |  |
| 10 |  |  | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fitting arrangement of approved quality and colour. |  |  |  |  |
|  | 17.73.2 |  | 600mm long towel rail with total length of 645mm, width 78mm and effective height of 88mm, weighing not less than 190gms. | 1.00 | each |  |  |
| 11 | 17.71 |  | Providing and fixing PTMT liquid soap container 109mm wide, 125mm high and 112mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour. weighing not less than 105 gms. | 1.00 | each |  |  |
| 12 |  |  | 12mm cement plaster of mix: |  |  |  |  |
|  | 13.1.1 |  | (1 cement: 4 fine sand) | 7.70 | sqm |  |  |
| 13 | 13.62.1 |  | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 9.45 | sqm |  |  |
| 14 | 13.43 |  | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface ,Water thinnable cement primer | 32.00 | sqm |  |  |
| 15 | 13.26 |  | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete | 32.00 | sqm |  |  |
| 16 | 14.53.1 |  | Wall painting with plastic emulsion paint of approved brand and manufacture to give an even shade : | 32.00 | sqm |  |  |
| 17 | 8.2.2.2 |  | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | 1.26 | sqm |  |  |
| 18 | 8.3.2 |  | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | 3.30 | metre |  |  |
| Non Scheduled Items |  |  |  |  |  |  |  |
| 19 |  | Providing and fixing ceramic tile of Johnon /asian or equivalent ,colour and size (300 X 200 mm) as approved by Engineer in charge in dados over 12 mm thick bed of cement mortar (1 cement : 3 coarse sand)and jointing with filler of epoxy grouting |  | 0.00 |  |  |  |
|  |  |  |  | 17.64 | sqm |  |  |
| 20 |  | Supplying and providing CP brass mixer tap of hot and cold water,standered type like jaquer/cera etc |  | 1.00 | each |  |  |
| 21 |  | Hetching paper on windows |  | 13.20 | sft |  |  |
| 22 |  | Renovation of toilet such as tiles ,sanitary wares,plumbing fittings maintains work whichever is needed as per specification |  | 1.00 | Each |  |  |
| Total (Rs.) |  |  |  |  |  |  |  |

SIGNATURE

SEAL OF THE TENDERER			NAME AND ADDRESS OF TENDERER

SECTION VII

- HLL LIFECARE LIMITED

AKKULAM FACTORY,  THIRUVANANTHAPURAM-695017

Ph: 0471 244 5930  Tele Fax: 244 5935

tradingpaft@lifecarehll.com

TENDER No: HLL/AFT/TDG/HP-IV/CIVIL/2014-15/02   DATED  22/03/2015

Tender for Renovation and Modernization of Labour  Room

(Civil Works)

PRICE SCHEDULE

SITE : 02

COMMUNITY HEALTH CENTER, POOH (DISTRICT : KINNAUR)

| SN | Code |  | Description of Item | Quantity | Unit | Rate (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  | Cleaning the site and removing debris with carriege of material by manual labour including loading ,unloading and stacking for lead lass than 0.5 KM |  | Ls |  |  |
| 2 |  |  | Half brick masonry with common burnt clay F.P.S (non modular) bricks of class designation 7.5 in superstructure above plinth level upto floor V level |  |  |  |  |
| a) | 6.12.2 |  | Cement mortar 1:4( 1 cement : 4 coarse sand | 7.83 | Sqm |  |  |
| 3 |  |  | Brick work with common burnt clay F.P.S ( non modular ) bricks of class designation 7.5 in superstructure above plinth level upto floor V level in all shades and sizes in |  |  |  |  |
| a) | 6.1.1 |  | Cement mortar 1:4( 1 cement : 4 coarse sand | 0.5 | Cu.M |  |  |
| 4 |  |  | Providing and laying Vitrified Floor Tiles in different sizes (thickness to be specifoed by the manufacturer) with water absorption's less than 0.08 % and conforming to IS : 15622 of approved make in all colours and shades, laid on 20 mm thick cement mortar 1: 4(1 cement : 4 course sand)including grouting the joints with white cement and matching pigments etc., complete |  |  |  |  |
|  | 11.41.2 |  | Size of Tile 600 x 600 mm | 19.80 | sqm |  |  |
| 5 | 12.52.3 |  | Providing and fixing tiled false ceiling of approved materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections - 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. glass wool backing. |  |  |  |  |
|  |  |  |  | 19.80 | sqm |  |  |
| 6 |  |  | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS 13983 with C.I. brackets and stainless steel plug 40 mm including painting of fittings and brackets, cutting and making good the walls wherever required : |  |  |  |  |
|  | 7095 |  | 600X 400 mm bowl depth 250mm. | 1.00 | each |  |  |
| 7 |  |  | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. |  |  |  |  |
|  | 7119 |  | Flexible pipe, 32 mm dia | 1.00 | each |  |  |
| 8 |  |  | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. |  |  |  |  |
|  |  |  | Concealed work including cutting chases and making good the walls etc |  |  |  |  |
| a) | 18.8.2 |  | 20 mm nominal outer dia .Pipes | 15.00 | metre |  |  |
| b) | 18.8.3 |  | 25 mm nominal outer dia .Pipes | 5.00 | metre |  |  |
| C) | 18.8.4 |  | 32 mm nominal outer dia Pipes | 15.00 | metre |  |  |
| 9 | 17.31 |  | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1.00 | each |  |  |
| 10 |  |  | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fitting arrangement of approved quality and colour. |  |  |  |  |
|  | 17.73.2 |  | 600mm long towel rail with total length of 645mm, width 78mm and effective height of 88mm, weighing not less than 190gms. | 1.00 | each |  |  |
| 11 | 17.71 |  | Providing and fixing PTMT liquid soap container 109mm wide, 125mm high and 112mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour. weighing not less than 105 gms. | 1.00 | each |  |  |
| 12 | 13.62.1 |  | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 5.67 | sqm |  |  |
| 13 |  |  | 12mm cement plaster of mix: |  |  |  |  |
|  | 13.1.1 |  | (1 cement: 4 fine sand) | 42.66 | sqm |  |  |
| 14 | 8.2.2.2 |  | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | 1.26 | sqm |  |  |
| 15 | 8.3.2 |  | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | 3.30 | metre |  |  |
| Non Scheduled Items |  |  |  |  |  |  |  |
| 16 |  | Providing and fixing ceramic tile of Johnon /asian or equivalent ,colour and size (300 X 200 mm) as approved by Engineer in charge in dados over 12 mm thick bed of cement mortar (1 cement : 3 coarse sand)and jointing with filler of epoxy grouting |  |  |  |  |  |
|  |  |  |  | 70.40 | sqm |  |  |
| 17 |  | Supplying and providing CP brass mixer tap of hot and cold water,standered type like jaquer/cera etc |  | 1.00 | each |  |  |
| 18 |  | New toilet provision such as tiles ,sanitary wares,plumbing fittings maintains work whichever is needed as per specification |  | 1.00 | Each |  |  |
| Total (Rs.) |  |  |  |  |  |  |  |

SIGNATURE

SEAL OF THE TENDERER			NAME AND ADDRESS OF TENDERER

SECTION VII

- HLL LIFECARE LIMITED

AKKULAM FACTORY,  THIRUVANANTHAPURAM-695017

Ph: 0471 244 5930  Tele Fax: 244 5935

tradingpaft@lifecarehll.com

TENDER No: HLL/AFT/TDG/HP-IV/CIVIL/2014-15/02   DATED  22/03/2015

Tender for Renovation and Modernization of Labour  Room

(Civil Works)

PRICE SCHEDULE

SITE : 03

COMMUNITY HEALTH CENTER, SANGLA (DISTRICT : KINNAUR)

| SN | Code | Description of Item | Quantity | Unit | Rate (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  | Cleaning the site and removing debris with carriege of material by manual labour including loading ,unloading and stacking for lead lass than 0.5 KM |  | Ls |  |  |
| 2 |  | Brick work with common burnt clay F.P.S ( non modular ) bricks of class designation 7.5 in superstructure above plinth level upto floor V level in all shades and sizes in |  |  |  |  |
| a) | 6.1.1 | Cement mortar 1:4( 1 cement : 4 coarse sand | 0.5 | Cu.M |  |  |
| 3 |  | Half brick masonry with common burnt clay F.P.S (non modular) bricks of class designation 7.5 in superstructure above plinth level upto floor V level |  |  |  |  |
| a) | 6.12.2 | Cement mortar 1:4( 1 cement : 4 coarse sand | 9.00 | Sqm |  |  |
| 4 |  | Providing and laying Vitrified Floor Tiles in different sizes (thickness to be specifoed by the manufacturer) with water absorption's less than 0.08 % and conforming to IS : 15622 of approved make in all colours and shades, laid on 20 mm thick cement mortar 1: 4(1 cement : 4 course sand)including grouting the joints with white cement and matching pigments etc., complete |  |  |  |  |
|  | 11.41.2 | Size of Tile 600 x 600 mm | 51.00 | 56.10 | sqm |  |
| 5 | 12.52.3 | Providing and fixing tiled false ceiling of approved materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections - 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. glass wool backing. |  |  |  |  |
|  |  |  | 56.10 | sqm |  |  |
| 6 |  | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS 13983 with C.I. brackets and stainless steel plug 40 mm including painting of fittings and brackets, cutting and making good the walls wherever required : |  |  |  |  |
|  | 7095 | 600X 400 mm bowl depth 250mm. | 1.00 | each |  |  |
| 7 |  | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. |  |  |  |  |
|  | 7119 | Flexible pipe, 32 mm dia | 1.00 | each |  |  |
| 8 |  | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. |  |  |  |  |
|  |  | Concealed work including cutting chases and making good the walls etc |  |  |  |  |
| a) | 18.8.2 | 20 mm nominal outer dia .Pipes | 15.00 | metre |  |  |
| b) | 18.8.3 | 25 mm nominal outer dia .Pipes | 5.00 | metre |  |  |
| C) | 18.8.4 | 32 mm nominal outer dia Pipes | 15.00 | metre |  |  |
| 9 | 17.31 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1.00 | each |  |  |
| 10 |  | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fitting arrangement of approved quality and colour. |  |  |  |  |
|  | 17.73.2 | 600mm long towel rail with total length of 645mm, width 78mm and effective height of 88mm, weighing not less than 190gms. | 1.00 | each |  |  |
| 11 | 17.71 | Providing and fixing PTMT liquid soap container 109mm wide, 125mm high and 112mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour. weighing not less than 105 gms. | 1.00 | each |  |  |
| 12 | 13.62.1 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 17.20 | sqm |  |  |
| 13 |  | 12mm cement plaster of mix: |  |  |  |  |
|  | 13.1.1 | (1 cement: 4 fine sand) | 42.80 | sqm |  |  |
| 14 | 8.2.2.2 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | 1.26 | sqm |  |  |
| 15 | 8.3.2 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | 3.30 | metre |  |  |
|  |  | Non Scheduled Items |  |  |  |  |
| 15 |  | Providing and fixing ceramic tile of Johnon /asian or equivalent ,colour and size (300 X 200 mm) as approved by Engineer in charge in dados over 12 mm thick bed of cement mortar (1 cement : 3 coarse sand)and jointing with filler of epoxy grouting | 0.00 |  |  |  |
|  |  |  | 63.80 | sqm |  |  |
| 16 |  | Supplying and providing CP brass mixer tap of hot and cold water,standered type like jaquer/cera etc | 1.00 | each |  |  |
| 17 |  | New toilet provision such as tiles ,sanitary wares,plumbing fittings maintains work whichever is needed as per specification | 1.00 | Each |  |  |
| Total (Rs.) |  |  |  |  |  |  |

SIGNATURE

SEAL OF THE TENDERER			NAME AND ADDRESS OF TENDERER

SECTION VII

- HLL LIFECARE LIMITED

AKKULAM FACTORY,  THIRUVANANTHAPURAM-695017

Ph: 0471 244 5930  Tele Fax: 244 5935

tradingpaft@lifecarehll.com

TENDER No: HLL/AFT/TDG/HP-IV/CIVIL/2014-15/02   DATED  22/03/2015

Tender for Renovation and Modernization of Labour  Room

(Civil Works)

PRICE SCHEDULE

SITE : 04

COMMUNITY HEALTH CENTER, BHAWANAGAR (DISTRICT : KINNAUR)

| SN | Code | Description of Item | Quantity | Unit | Rate (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  | Cleaning the site and removing debris with carriege of material by manual labour including loading ,unloading and stacking for lead lass than 0.5 KM |  | Ls |  |  |
| 2 | 15.7.4 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and isolation of the area with sutable material, disposal of unserviceable material within 200 metres lead as per direction of Engineer-in-charge. | 3.00 | Cum |  |  |
| 3 |  | Brick work with common burnt clay F.P.S ( non modular ) bricks of class designation 7.5 in superstructure above plinth level upto floor V level in all shades and sizes in |  |  |  |  |
| a) | 6.1.1 | Cement mortar 1:4( 1 cement : 4 coarse sand | 0.5 | Cu.M |  |  |
| 4 |  | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : |  |  |  |  |
| a). | 21.1.1.1 | For Fixed Portion , Powder coated aluminium (minimum thickness of powder coating 50 micron) | 178.20 | Kg |  |  |
| b). | 21.1.2.1 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Powder coated aluminium (minimum thickness of powder coating 50 micron) | 122.10 | Kg |  |  |
| 9 |  | Providing and fixing 12mm prelaminated three layer medium density (exterior grade) particle board Grade I,TypeII conforming to IS:12823 bonded with phenol formaldehyde synthetic resin, of approved brand and manufacture in panelling fixed in aluminium doors,windows shutters and partition frames with C.P.brass/stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. |  |  |  |  |
|  | 21.2.2 | Prelaminated particle board with decorative lamination on both sides | 3.45 | sqm |  |  |
| 10 |  | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc with PVC/neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge. |  |  |  |  |
| a) | 21.3.2 | With float glass panes of 5.5 mm thickness | 9.20 | sqm |  |  |
| 11 |  | Providing and fixing aluminium sliding door bolts ISI marked anodised ( anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete- |  |  |  |  |
| a) | 9.96.1 | 300x16mm | 1.00 | each |  |  |
| 12 |  | Providing and fixing aluminium tower bolts ISI marked anodised ( anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete- |  |  |  |  |
| a) | 9.97.2 | 250 X 10 mm | 1.00 | each |  |  |
| b). | 9.97.4 | 150x10mm | 7.00 | each |  |  |
| 13 |  | Providing and fixing aluminium handles ISI marked anodised ( anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete- |  |  |  |  |
| a) | 9.100.1 | 125 mm | 4.00 | each |  |  |
| 14 |  | Providing and laying Vitrified Floor Tiles in different sizes (thickness to be specifoed by the manufacturer) with water absorption's less than 0.08 % and conforming to IS : 15622 of approved make in all colours and shades, laid on 20 mm thick cement mortar 1: 4(1 cement : 4 course sand)including grouting the joints with white cement and matching pigments etc., complete |  |  |  |  |
|  | 11.41.2 | Size of Tile 600 x 600 mm | 2.10 | sqm |  |  |
| 15 | 12.52.3 | Providing and fixing tiled false ceiling of approved materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections - 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. glass wool backing. |  |  |  |  |
|  |  |  | 23.10 | sqm |  |  |
| 16 |  | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS 13983 with C.I. brackets and stainless steel plug 40 mm including painting of fittings and brackets, cutting and making good the walls wherever required : |  |  |  |  |
|  | 7095 | 600X 400 mm bowl depth 250mm. | 1.00 | each |  |  |
| 17 |  | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. |  |  |  |  |
|  | 7119 | Flexible pipe, 32 mm dia | 1.00 | each |  |  |
| 18 |  | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. |  |  |  |  |
|  |  | Concealed work including cutting chases and making good the walls etc |  |  |  |  |
| a) | 18.8.2 | 20 mm nominal outer dia .Pipes | 15.00 | metre |  |  |
| b) | 18.8.3 | 25 mm nominal outer dia .Pipes | 5.00 | metre |  |  |
| c) | 18.8.4 | 32 mm nominal outer dia Pipes | 15.00 | metre |  |  |
| 19 | 17.31 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1.00 | each |  |  |
| 20 |  | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fitting arrangement of approved quality and colour. |  |  |  |  |
|  | 17.73.2 | 600mm long towel rail with total length of 645mm, width 78mm and effective height of 88mm, weighing not less than 190gms. | 1.00 | each |  |  |
| 21 | 17.71 | Providing and fixing PTMT liquid soap container 109mm wide, 125mm high and 112mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour. weighing not less than 105 gms. | 1.00 | each |  |  |
| 22 |  | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg., for doors, including cost of cutting floors , embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. |  |  |  |  |
|  | 21.4.2 | With brass cover plate minimum 1.25 mm thickness. | 2.00 | each |  |  |
| 23 | 14.43 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 6.00 | sqm |  |  |
| 24 |  | 12mm cement plaster of mix: |  |  |  |  |
|  | 13.1.1 | (1 cement: 4 fine sand) | 9.40 | sqm |  |  |
|  | 13.43 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface ,Water thinnable cement primer | 6.00 | sqm |  |  |
| 25 | 13.26 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete | 6.00 | sqm |  |  |
| 26 | 14.53.1 | Wall painting with plastic emulsion paint of approved brand and manufacture to give an even shade : | 6.00 | sqm |  |  |
| 27 | 13.62.1 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 17.20 | sqm |  |  |
| 28 | 8.2.2.2 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | 1.26 | sqm |  |  |
| 29 | 8.3.2 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | 3.30 | metre |  |  |
| Non Scheduled Items |  |  |  |  |  |  |
| 30 |  | Providing and fixing ceramic tile of Johnon /asian or equivalent ,colour and size (300 X 200 mm) as approved by Engineer in charge in dados over 12 mm thick bed of cement mortar (1 cement : 3 coarse sand)and jointing with filler of epoxy grouting | 14.40 | sqm |  |  |
| 31 |  | Supplying and providing CP brass mixer tap of hot and cold water,standered type like jaquer/cera etc | 1.00 | each |  |  |
| 32 |  | Hetching paper on glass works | 8.80 | sqm |  |  |
| 33 |  | Renovation of toilet such as tiles ,sanitary wares,plumbing fittings maintains work whichever is needed as per specification | 1.00 | Each |  |  |
| Total (Rs.) |  |  |  |  |  |  |

SIGNATURE

SEAL OF THE TENDERER			NAME AND ADDRESS OF TENDERER

SECTION VII

- HLL LIFECARE LIMITED

AKKULAM FACTORY,  THIRUVANANTHAPURAM-695017

Ph: 0471 244 5930  Tele Fax: 244 5935

tradingpaft@lifecarehll.com

TENDER No: HLL/AFT/TDG/HP-IV/CIVIL/2014-15/02   DATED  22/03/2015

Tender for Renovation and Modernization of Labour  Room

(Civil Works)

PRICE SCHEDULE

SITE : 05

COMMUNITY HEALTH CENTER, NICHAR (DISTRICT : KINNAUR)

| SN | Code | Description of Item | Quantity | Unit | Rate (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  | Cleaning the site and removing debris with carriege of material by manual labour including loading ,unloading and stacking for lead lass than 0.5 KM |  | Ls |  |  |
| 2 |  | Brick work with common burnt clay F.P.S ( non modular ) bricks of class designation 7.5 in superstructure above plinth level upto floor V level in all shades and sizes in |  |  |  |  |
| a) | 6.1.1 | Cement mortar 1:4( 1 cement : 4 coarse sand | 0.5 | Cu.M |  |  |
| 3 |  | Providing and laying Vitrified Floor Tiles in different sizes (thickness to be specifoed by the manufacturer) with water absorption's less than 0.08 % and conforming to IS : 15622 of approved make in all colours and shades, laid on 20 mm thick cement mortar 1: 4(1 cement : 4 course sand)including grouting the joints with white cement and matching pigments etc., complete |  |  |  |  |
|  | 11.41.2 | Size of Tile 600 x 600 mm | 27.60 | sqm |  |  |
| 4 | 12.52.3 | Providing and fixing tiled false ceiling of approved materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections - 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. glass wool backing. |  |  |  |  |
|  |  |  | 27.60 | sqm |  |  |
| 5 |  | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS 13983 with C.I. brackets and stainless steel plug 40 mm including painting of fittings and brackets, cutting and making good the walls wherever required : |  |  |  |  |
|  | 7095 | 600X 400 mm bowl depth 250mm. | 1.00 | each |  |  |
| 6 |  | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. |  |  |  |  |
|  | 7119 | Flexible pipe, 32 mm dia | 1.00 | each |  |  |
| 7 |  | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. |  |  |  |  |
|  |  | Concealed work including cutting chases and making good the walls etc |  |  |  |  |
| a) | 18.8.2 | 20 mm nominal outer dia .Pipes | 15.00 | metre |  |  |
| b) | 18.8.3 | 25 mm nominal outer dia .Pipes | 5.00 | metre |  |  |
| C) | 18.8.4 | 32 mm nominal outer dia Pipes | 15.00 | metre |  |  |
| 8 | 17.31 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1.00 | each |  |  |
| 9 |  | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fitting arrangement of approved quality and colour. |  |  |  |  |
|  | 17.73.2 | 600mm long towel rail with total length of 645mm, width 78mm and effective height of 88mm, weighing not less than 190gms. | 1.00 | each |  |  |
| 10 | 17.71 | Providing and fixing PTMT liquid soap container 109mm wide, 125mm high and 112mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour. weighing not less than 105 gms. | 1.00 | each |  |  |
| 11 |  | 12mm cement plaster of mix: |  |  |  |  |
|  | 13.1.1 | (1 cement: 4 fine sand) | 21.00 | sqm |  |  |
| 12 | 8.2.2.2 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | 1.26 | sqm |  |  |
| 13 | 8.3.2 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | 3.30 | metre |  |  |
|  |  | Non Scheduled Items |  |  |  |  |
| 14 |  | Providing and fixing ceramic tile of Johnon /asian or equivalent ,colour and size (300 X 200 mm) as approved by Engineer in charge in dados over 12 mm thick bed of cement mortar (1 cement : 3 coarse sand)and jointing with filler of epoxy grouting |  |  |  |  |
|  |  |  | 56.40 | sqm |  |  |
| 15 |  | Supplying and providing CP brass mixer tap of hot and cold water, standered type like jaquer/cera etc | 1.00 | each |  |  |
| 16 |  | Renovation of toilet such as tiles ,sanitary wares,plumbing fittings maintains work whichever is needed as per specification. | 1.00 | each |  |  |
| Total (Rs.) |  |  |  |  |  |  |

SIGNATURE

SEAL OF THE TENDERER			NAME AND ADDRESS OF TENDERER