TENDER   DOCUMENT FOR FURNISHINGS WORKS

FOR LCC SOLAN & DHARMSHALA

HLL LIFECARE LTD

HINDLABS, GROUND FLOOR

CGHS DISPENSARY, SEC.12

R. K. PURAM, NEW DELHI

Tel: 011-2618 2875

NOTICE INVITING TENDER

HLL/HCS/PROJECTS/13-14/01                                                         7.10.2013

Sub: Furnishing works for LCC, Solan and Dharamshala.

HLL Lifecare Ltd, a Government of India Undertaking, invites sealed ITEM RATE TENDERS under two bid systems from interested contractors having minimum three years experience in the relevant field for the following works at PROPOSED Lifecare Centre at Solan and Dharamshala. The Tender documents can be downloaded from our website www.lifecarehll.com and submitted to Healthcare Services Division at following address:

HLL LIFECARE LTD

HINDLABS, GROUND FLOOR

CGHS DISPENSARY, SEC.12

R. K. PURAM, NEW DELHI

Tel: 011-2618 2875

On all working days from 9.30 am to 5.30pm.

- The tender document will be available up to 15.00 Hrs. on the previous day of the opening of the bids.

  - Issue of tender document 		        - From  22.10.13 to 01.11.13

  - Last date and time of receipt of bids     -  01.11.13   up to 15.00 hrs

  - Date and time of opening of bids 	        -   01.11.13  at 15.30 hrs

Address for communication, receipt and place of opening of bids:

Group Head (HCS)

HLL LIFECARE LTD

HINDLABS, GROUND FLOOR

CGHS DISPENSARY, SEC.12

R. K. PURAM, NEW DELHI

Tel: 011-2618 2875

GENERAL TERMS & CONDITIONS

- The estimated cost of the works is Rs.16,69,907/-

( Rs. Sixteen lakh sixty nine thousand nine hundred and seven only )

- Minimum Eligibility criteria:

Experience of having successfully completed works during the last 3 years ending last day of the month previous to the one in which applications are invited:-

  - Three similar completed works each costing not less than the  amount equal to 40% of the estimated cost of the work for which the bid is submitted

  - Two similar completed works each consisting not less than the amount equal to 60% of the estimated cost of the work for which the bid is submitted.

  - One similar completed works each consisting not less than the amount equal to 80% of the estimated cost of the work for which the bid is submitted.

  - Documentary proof for the above eligibility criteria should be submitted along with the offer.

- The schedule of works (ANNEXURES A & B) is Appended. Tenderers are advised to go through the entire general terms and conditions of this contract carefully.

- Earnest money of Rs. 33,500/- (Rupees Thirty three thousand and five hundred only) in the form of a Demand Draft of a scheduled bank issued in favor of HLL Lifecare Limited, Thiruvananthapuram, which should be placed in a separate sealed cover marked “Earnest Money” shall be submitted along with the tender.

- The filled & duly signed sealed tender should be addressed to Group Head (HCS) and should be  submitted at following address

Group Head (HCS)

HLL LIFECARE LTD

HINDLABS, GROUND FLOOR

CGHS DISPENSARY, SEC.12

R. K. PURAM, NEW DELHI

Tel: 011-2618 2875

on or before 15.00 Hrs on 01.11.2013.The tender will be opened at 15.30Hrs on 01.11.2013 in the presence of interested bidders or their authorized representatives who choose to attend at the time of opening of tender.

- The work shall be completed within 30 days (1 month) from the date of receipt of Work Order or LOA (Letter of acceptance).

- The tender for the work shall remain open for acceptance for a period of 10 days from the date of opening of tender.

- The contractor shall visit the site before quoting the rates and clarifications if any required can be had from the undersigned before submitting the tenders.

Shri Ritesh Srivastava

Zonal Hospital Kangra at Dharamshala

&

Regional Hospital, Solan (H.P.)

Mob: +91-99993 47232

- Rates quoted should be inclusive of all taxes, cost of materials, Tools/Equipment’s , labour charges, conveyance to site, handling charges, loading and unloading charges, hiring charges,  statutory payments etc complete.

- The Management reserves the right to accept or reject the Tender either partially or fully without assigning any reason what so ever.

- The work should be carried out with out causing any inconvenience to the public and shall ensure that no damages are caused to the existing site premises.

- During the execution of work the contractor or authorized representative should be present at site.

- All Materials, Equipments/ Tools required for the work should be arranged by the contractor and brought to site for the timely completion of the work.

- The materials used shall be as per specification and of good quality.

- The Contractor has to arrange necessary insurance coverage for the machine, workmen etc. deployed by him. He shall arrange all safety measures to protect his workmen and also the properties of HLL.

- Penalty for delay: Penalty shall be imposed at 0.5% per week to a maximum of 7.5% of the contract value for any delay committed by the contractor in completing the work as per the order.

- Measurement & Payment terms: The method of measurement of completed work shall be in accordance with the standard measurement. Payment will be made on satisfactorily completion of work as per the order. The method of measurement of completed work shall be in accordance with the standard measurement. Interim or running account bills shall be submitted by the contractor for the work executed on the basis of such recorded measurements in the format of HLL. All such interim payments shall be regarded as payment by way of advances against final payment only, and shall not preclude the requiring of bad, unsound and imperfect of unskilled work to be rejected, removed, taken away and reconstructed or re erected. Any certificate given by the engineer in charge relating to the work done or materials delivered forming part of such payment, may be modified, or corrected by any subsequent such certificate(s) or by the final certificate and shall not by itself be conclusive evident that any work or material so which it relates is /are in accordance with the contract and certificate. Any such interim payment,/any part  there of shall not in any respect conclude, determine or affect in any way powers of the engineer in charge under the contract or any of such payment s be treated as final settlement and adjustment of accounts or in any way vary or affect the contract.

- Payment Schedule:  Full payment will be released within 30 days of successfully completion of work.

- The Quantity shown in the schedule is an approximate estimated quantity .No extra rate will be entertained if the quantity exceeds due to the site condition while executing the work.

- Final payment shall be paid only after clearing the site as per direction of Engineer-in-charge/ officer in charge.

- Settlement of Dispute: Arbitration shall not be the means of settlement of dispute or claims or   any thing on account of this Contract. If any disputes and difference arising out of the contract are to be settled by a civil court at Thiruvananthapuram.

- Bid Submission - The Technical bid consisting of all the documents required by this    tender should be in a separate envelope super scribed as “Tender for Furnishing works for LCC Solan & Dharamshala - Technical Bid”.

Financial Bid should be in a sealed envelope super scribed as “Tender for Furnishing works for LCC Solan & Dharamshala- Financial Bid”.

Both envelopes should be put in a sealed third envelope super scribed “Tender for Furnishings works for Lifecare Center, Solan & Dharamshala”

- Technical Bid: The technical Bid shall contain documents mentioned below :

  - Introduction of the firm. Details of the Bidder (Pan No, TIN No, Registration with CPWD/PWD/MES/NSIC).

  - Bid duly signed and stamped by authorized signatory on each page.

  - Documents for proof of eligibility criterion.

  - List of works in hand.

  - List of similar works satisfactorily completed during last 3 years.

  - List of Equipments and machineries available in working condition.

  - Copy of audited financial statements such as Balance sheet and Profit and Loss statement for last 3 years.

- Financial Bid

Financial Bid should contain documents as mentioned in Annexure A & B.

- Tenderers may note that only those bidders who qualify the technical eligibility criterion will be evaluated further on financial Bid.

SVP (BD) & Group Head (HCS)

Annexure-A

| Furnishing work in shop in Solan at Gr. Floor |  |  |  |  |
| --- | --- | --- | --- | --- |
| S.No. | Description | Quantity | Rate | Amount |
| 1 | P/Applying plaster of parish putty of 2mm thickness over plaster surface to prepare to ever complete | 115 sq.mtr |  |  |
| 2 | Applying primer coat on wall surface | 115sq.mtr |  |  |
| 3 | Plastic emulsion paint the interior walls and ceilings of approved brand | 88sq.mtr |  |  |
| 4 | Finishing of exterior wall with exterior apex paint | 27 sq.mtr |  |  |
| 5 | P/F Steel rolling shutter size 72”x84” complete | 3 nos |  |  |
| 6 | Installation of Aluminum powder coating /5.5 mm glassing /board Partition complete | 27sq.mtr |  |  |
| 7 | Installation of Aluminum powder coating /5.5 mm glassing /board door/window complete | 15sq.mtr |  |  |
| 8 | Console Table with legs to be formed of 18 mm commercial board and finished with 1 mm mica all exposed edge to be finished with 2mm thick PVC edge band | 4.50sq.mtr |  |  |
| 9 | Low height storage to be formed of 18 mm commercial board and finished 1mm thick laminated exposed edge to be finished 2 mm thick PVC Edge and in side synthetic painted | 10 Sq.mtr |  |  |
| 10 | P/F Key board 22”x18’ | 6 nos |  |  |
| 11 | Over height storage made out of 18 mm commercial board three side and glass sliding door | 17sq.mtr |  |  |
| 12 | Metal steel rack made of 40x40x2mmangle having shelve open type 96”x36”x18” seven shelves | 14 nos |  |  |
| 13 | P/F Metro sheet fixed with 40mmx40mm squire pipe and pillar of MS 75MM holo pipe etc complete | 13.5sq.mtr |  |  |
| 14 | Executive Low back chair | 1 Nos |  |  |
| 15 | Work station chair | 2 Nos |  |  |
| 16 | Visitor Chair | 2 nos |  |  |
| 17 | Revolving stool crome plated with cushion | 3 Nos |  |  |
| 18 | Plastic Chair | 4 Nos |  |  |
| TOTAL: |  |  |  |  |
| VAT @ 12.5% on 80% material cost |  |  |  |  |
| Service tax @12.36% on 40% total value |  |  |  |  |
| Total Cost |  |  |  |  |

Annexure-B

| Furnishing work in LCC at Dharmshala |  |  |  |  |
| --- | --- | --- | --- | --- |
| S.No. | Description | Quantity | Rate | Amount |
| 1 | P/Applying plaster of parish putty of 2mm thickness over plaster surface to prepare to ever complete | 125 sq.mtr |  |  |
| 2 | Applying primer coat on wall surface | 125sq.mtr |  |  |
| 3 | Plastic emulsion paint the interior walls and ceilings of approved brand | 125sq.mtr |  |  |
| 4 | Finishing of exterior wall with exterior apex paint | 5 sq.mtr |  |  |
| 5 | P/F Steel rolling shutter size 96x120 complete | 1nos |  |  |
| 6 | Installation of false ceilling 600x600 mm with gypsum 9 mm tile with resin coated | 17 sq mtr |  |  |
| 7 | Installation of Aluminum powder coating /5.5 mm glassing /board door/window complete | 6.90sq.mtr |  |  |
| 8 | Console Table with legs to be formed of 18 mm commercial board and finished with 1 mm mica all exposed edge to be finished with 2mm thick PVC edge band | 1.86sq.mtr |  |  |
| 9 | Low height storage to be formed of 18 mm commercial board and finished 1mm thick laminated exposed edge to be finished 2 mm thick PVC Edge and in side synthetic painted | 11Sq.mtr |  |  |
| 10 | P/F Key board 22”x18’ | 2 nos |  |  |
| 11 | Over height storage made out of 18 mm commercial board three side and glass sliding door | 18.sq.mtr |  |  |
| 12 | Metal steel rack made of 40x40x2mmangle having shelve open type 96”x36”x18” seven shelves | 6 nos |  |  |
| 13 | P/F Metro sheet fixed with 40mmx40mm squire pipe and pillar of MS 75MM holo pipe etc complete | 5.60sq.mtr |  |  |
| 14 | Installation of Aluminum powder coating /5.5 mm glassing /board partition complete | 14.5 Sq. mtr |  |  |
| 15 | Office Table with leg to be formed of 25 mm top and with 3 drawn finished with 1 mm mica and all exposed edge to be finished with 2 mm thick pvc edge band Size 42"x24"x30" | 2 Nos |  |  |
| 16 | Office Table with leg to be formed of 25 mm top and with 3 drawn finished with 1 mm mica and all exposed edge to be finished with 2 mm thick pvc edge band Size 48"x30"x30" with side unit | 1 Nos |  |  |
| 17 | Executive Low back chair | 1 Nos |  |  |
| 18 | Work station chair | 2 Nos |  |  |
| 19 | Visitor Chair | 2 nos |  |  |
| 20 | Revolving stool crome plated with cushion | 2 Nos |  |  |
| 21 | Plastic Chair | 4 Nos |  |  |
| Total |  |  |  |  |
| Vat @ 12.5% on 80% of material cost |  |  |  |  |
| Service tax @ 12.36% on 40% of total cost |  |  |  |  |
| Total Cost |  |  |  |  |