TENDER NO: PUR/08/R1/PQ/ UTILITY-NONIBR/2012-13

Dated :29/12/2012

**ADDENDUM #1**

**January 11, 2013**

**Sub: Addendum to the tender for Fabrication, Installation, Erection**, **Testing, Repair/Maintenance, Insulation of NON IBR Pipeline**

**Ref :** TENDER NO: PUR/08/R1/PQ/ UTILITY-NONIBR/2012-13

With reference to the above tender, we hereby incorporate the following amendments:-

|  |  |  |  |
| --- | --- | --- | --- |
| Sl. No. | Schedule | Existing Clause | Amended Clause |
| 1 | Schedule ASl No. 6 | This contract is for period of one year from the date of work order, and may be extended with the same rate, term and conditions for one more year on mutual consent. | This contract is for period of one year from the date of work order, and may be extended with the same rate, term and conditions for three months on mutual consent. |
| 2 | Schedule 1 |  Price Bid | Amended Rate schedule attached. |

  DGM (PURCHASE)

**RATE SCHEDULE**

**FABRICATION, INSTALLATION REPAIR / MAINTENANCE, INSULATION AND TESTING OF NON-IBR STEAM LINE AND UTILITY PIPELINES**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl.No. | Description | UOM | Qty | Basic Rate | Amount |
| 1  | FABR/INSTL OF MS PIPE LINES 15NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 15NBService tax | M | 200 |   |   |
| 2  | FABR/INSTL OF MS PIPE LINES 20NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 20NBService tax | M | 200 |   |   |
| 3  | FABR/INSTL OF MS PIPE LINES 25NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 25NBService tax | M | 150 |   |   |
| 4  | FABR/INSTL OF MS PIPE LINES 40NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 40NBService tax | M | 150 |   |   |
| 5  | FABR/INSTL OF MS PIPE LINES 50NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 50NBService tax | M | 200 |   |   |
| 6  | FABR/INSTL OF MS PIPE LINES 65NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 65NBService tax | M | 100 |   |   |
| 7  | FABR/INSTL OF MS PIPE LINES 75NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 75NBService tax | M | 50 |   |   |
| 8  | FABR/INSTL OF MS PIPE LINES 100NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 100NBService tax | M | 10 |   |   |
| 9  | FABR/INSTL OF MS PIPE LINES 125NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 125NBService tax | M | 5 |   |   |
| Sl.No. | Description | UOM | Qty | Basic Rate | Amount |
| 10  | FABR/INSTL OF MS PIPE LINES 150NB - FABRICATION AND INSTALLATION OF MS PIPE LINES 150NBService tax | M | 5  |   |   |
| 11  | FABR/INSTL OF G.I PIPE LINES15NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES15NBService tax | M | 100 |   |   |
| 12  | FABR/INSTL OF G.I PIPE LINES20NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES 20NBService tax | M | 100  |   |   |
| 13  | FABR/INSTL OF G.I PIPE LINES25NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES25NB | M | 100  |   |   |
| 14  | FABR/INSTL OF G.I PIPE LINES 40NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES40NBService tax | M | 100 |   |   |
| 15  | FABR/INSTL OF G.I PIPE LINES 50NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES50NBService tax | M | 100 |   |   |
| 16  | FABR/INSTL OF G.I PIPE LINES 65NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES65NBService tax | M | 50 |   |   |
| 17  | FABR/INSTL OF G.I PIPE LINES 75NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES75NBService tax | M | 50  |   |   |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 18  | FABR/INSTL OF G.I PIPE LINES 100NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES100NBService tax | M | 10  |   |   |
| 19  | FABR/INSTL OF G.I PIPE LINES 125NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES125NBService tax | M | 5 |   |   |
| 20  | FABR/INSTL OF G.I PIPE LINES 150NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES150NBService tax | M | 5  |   |   |
| 21  | FABR/INSTL OF G.I PIPE LINES 200NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES200NB | M | 5  |   |   |
| 22  | FABR/INSTL OF G.I PIPE LINES 250NB - FABRICATION AND INSTALLATION OF G.I PIPE LINES250NBService tax | M | 5  |   |   |
| 23  | FABR/INSTL OF S.S PIPE LINES15NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES15NBService tax | M | 100 |   |   |
| 24  | FABR/INSTL OF S.S PIPE LINES20NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES20NBService tax | M | 75 |   |   |
| 25  | FABR/INSTL OF S.S PIPE LINES25NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES25NBService tax | M | 75 |   |   |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl.No. | Description | UOM | Qty | Basic Rate | Amount |
| 26  | FABR/INSTL OF S.S PIPE LINES40NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES40NBService tax | M | 50  |   |   |
| 27  | FABR/INSTL OF S.S PIPE LINES50NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES50NBService tax | M | 100 |   |   |
| 28  | FABR/INSTL OF S.S PIPE LINES65NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES65NBService tax | M | 50 |   |   |
| 29  | FABR/INSTL OF S.S PIPE LINES100NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES100NBService tax | M | 10 |   |   |
| 30  | FABR/INSTL OF S.S PIPE LINES125NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES125NBService tax | M | 5  |   |   |
| 31  | FABR/INSTL OF S.S PIPE LINES150NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES150NBService tax | M | 5  |   |   |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 32  | FABR/INSTL OF S.S PIPE LINES200NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES200NBService tax | M | 5  |   |   |
| 33  | FABR/INSTL OF S.S PIPE LINES250NB - FABRICATION AND INSTALLATION OF S.S PIPE LINES250NBService tax | M | 5  |   |   |
| 34  | DISMANTLING OF OLD PIPE LINES 15NB - DISMANTLING OF OLD PIPE LINES (MS,GI&SS)15NB Service tax | M | 100 |   |   |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl.No. | Description | UOM | Qty | Basic Rate | Amount |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 35  | DISMANTLING OF OLD PIPE LINES 20NB - DISMANTLING OF OLD PIPE LINES (MS,GI&SS)20NB Service tax | M | 50 |   |   |
| 36  | DISMANTLING OF OLD PIPE LINES 25NB - DISMANTLING OF OLD PIPE LINES (MS,GI&SS) 25NB Service tax | M | 100  |   |   |
| 37  | DISMANTLING OF OLD PIPE LINES 40NB - DISMANTLING OF OLD PIPE LINES (MS,GI&SS) 40 NB Service tax | M | 50  |   |   |
| 38  | DISMANTLING OF OLD PIPE LINES 50NB - DISMANTLING OF OLD PIPE LINES (MS,GI&SS) 50NB Service tax | M | 100 |   |   |
| 39  | DISMANTLING OF OLD PIPE LINES 65NB - DISMANTLING OF OLD PIPE LINES (MS,GI&SS)65NB Service tax | M | 50  |   |   |
| 40  | DISMANTLING OF OLD PIPE LINES 75NB - DISMANTLING OF OLD PIPE LINES (MS,GI&SS)75NB Service tax | M | 50  |   |   |
| 41  | DISMANTLING OF OLD PIPE LINES 100NB - DISMANTLING OF OLD PIPE LINES (MS,GI&SS)100NB Service tax | M | 10 |   |   |
| 42  | DISMANTLING OF OLD PIPE LINES 125NB - DISMANTLING OF OLD PIPE LINES (MS,GI&SS)125NB Service tax | M | 10  |   |   |
| 43  | DISMANTLING OF OLD PIPE LINES 150NB - DISMANTLING OF OLD PIPE LINES (MS,GI&SS)150NB Service tax | M | 10  |   |   |
| Sl.No. | Description | UOM | Qty | Basic Rate | Amount |
| 44  | HOT INSULATION FOR NON IBR LINES15NB -Service tax | M | 300  |   |   |
| 45  | HOT INSULATION FOR NON IBR LINES20NB - HOT INSULATION FOR NON IBR LINES(WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET)20NBService tax | M | 125 |   |   |
| 46  | HOT INSULATION NON IBR LINES25NB - HOT INSULATION FOR NON IBR LINES(WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET)25NBService tax | M | 200  |   |   |
| 47  | HOT INSULATION FOR NON IBR LINES40NB - HOT INSULATION FOR NON IBR LINES(WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET)40NBService tax | M | 200 |   |   |
| 48  | HOT INSULATION FOR NON IBR LINES50NB -Service tax | M | 200 |   |   |
| 49  | HOT INSULATION FOR NON IBR LINES65NB - HOT INSULATION FOR IBR/NON IBR LINES(WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET) 65NBService tax | M | 75 |   |   |
| 50  | HOT INSULATION FOR NON IBR LINES75NB - HOT INSULATION FOR NON IBR LINES(WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET) 75NBService tax | M | 75 |   |   |
| 51  | HOT INSULATION FOR NON IBR LINE100NB - HOT INSULATION FOR NON IBR LINES(WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET) 100NBService tax | M | 50 |   |   |
| 52  | HOT INSULATION FOR NON IBR LINE125NB -Service tax | M | 20 |   |   |
| 53  | HOT INSULATION FOR NON IBR LINE150NB - HOT INSULATION FOR NON IBR LINES(WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET) 150NB Service tax | M | 15 |   |   |
|  |  |  |  |  |  |
| 54  | HOT INSULATION FOR HOT WATER 25 mmTHICK - Service tax | M | 5 |   |   |
| 55  | HOT INSULATION FOR HOT WATER 50 mm THICK - HOT INSULATION FOR HOT WATER (WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET) 50 mm THICK Service tax | M | 50 |   |   |
| 56  | HOT INSULATION FOR HOT WATER 75 mm THICK - HOT INSULATION FOR HOT WATER (WITH GLASS WOOL MATRESSES COVERED WITH ALUMINIUM SHEET) 75 mm THICK Service tax | M | 5 |   |   |
| 57  | INSLTN OFSTM/HOT WATERLINE BEND/TEE15NB - INSULATION OF STEAM LINE AND HOT WATER LINE BEND AND TEE(WITH GLASS WOOL CHICKEN MESH AND ALUMINIUM SHEET) 15NBService tax | M | 25 |   |   |
| 58  | INSLTN OFSTM/HOT WATERLINE BEND/TEE20NB -Service tax | M | 25 |   |   |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 59  | INSLTN OFSTM/HOT WATERLINE BEND/TEE25NB - INSULATION OF STEAM LINE AND HOT WATER LINE BEND AND TEE(WITH GLASS WOOL CHICKEN MESH AND ALUMINIUM SHEET) 25NBService tax | M | 30 |   |   |
| 60  | INSLTN OFSTM/HOT WATERLINE BEND/TEE40NB - INSULATION OF STEAM LINE AND HOT WATER LINE BEND AND TEE(WITH GLASS WOOL CHICKEN MESH AND ALUMINIUM SHEET) 40NBService tax | M | 30 |   |   |
| 61  | INSLTN OFSTM/HOT WATERLINE BEND/TEE50NB - INSULATION OF STEAM LINE AND HOT WATER LINE BEND AND TEE(WITH GLASS WOOL CHICKEN MESH AND ALUMINIUM SHEET) 50NBService tax | M | 30 |   |   |
| 62  | INSLTN OFSTM/HOT WATERLINE BEND/TEE65NB -Service tax | M | 25 |   |   |
| 63  | INSLTN OFSTM/HOT WATERLINE BEND/TEE75NB - INSULATION OF STEAM LINE AND HOT WATER LINE BEND AND TEE(WITH GLASS WOOL CHICKEN MESH AND ALUMINIUM SHEET) 75NBService tax | M | 10 |   |   |
| 64  | INSLTN OFSTM/HOT WATERLINE BEND/TEE100NB - INSULATION OF STEAM LINE AND HOT WATER LINE BEND AND TEE(WITH GLASS WOOL CHICKEN MESH AND ALUMINIUM SHEET) 100NBService tax | M | 10  |   |   |
| 65  | INSLTN OFSTM/HOT WATERLINE BEND/TEE125NB - INSULATION OF STEAM LINE AND HOT WATER LINE BEND AND TEE(WITH GLASS WOOL CHICKEN MESH AND ALUMINIUM SHEET) 125NBService tax | M | 5  |   |   |
| 66  | INSLTN OFSTM/HOT WATERLINE BEND/TEE150NB -Service tax | M | 5  |   |   |
| 67  | INSLUTN OFCHILLED WATER BEND/TEE15NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET)15NB Service tax | M | 30 |   |   |
| 68  | INSLUTN OFCHILLED WATER BEND/TEE20NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET)20NB Service tax | M | 30  |   |   |
| 69  | INSLUTN OFCHILLED WATER BEND/TEE25NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET)25NB Service tax | M | 50 |   |   |
| 70  | INSLUTN OFCHILLED WATER BEND/TEE40NB -Service tax | M | 50  |   |   |
|  |  |  |  |  |  |
| 71  | INSLUTN OFCHILLED WATER BEND/TEE50NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET)50NB Service tax | M | 100 |   |   |
| 72  | INSLUTN OFCHILLED WATER BEND/TEE65NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET)65NB Service tax | M | 25  |   |   |
| 73  | INSLUTN OFCHILLED WATER BEND/TEE75NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET)75NB Service tax | M | 25 |   |   |
| 74  | INSLUTN OFCHILLED WATER BEND/TEE100NB -Service tax | M | 5 |   |   |
| 75  | INSLUTN OFCHILLED WATER BEND/TEE125NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET)125NB Service tax | M | 5  |   |   |
| 76  | INSLUTN OFCHILLED WATER BEND/TEE150NB - INSULATION OF CHILLED WATER BEND AND TEE (COVERED WITH THERMOCOL AND ALUMINIUM SHEET)150NB | M | 5  |   |   |
| 77  | COLD INSULTN OF CHILLED WATER LINE15NB - COLD INSULATION OF CHILLED WATER LINES(COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 15NBService tax | M | 50  |   |   |
| 78  | COLD INSULTN OF CHILLED WATER LINE20NB - Service tax | M | 50  |   |   |
| 79  | COLD INSULTN OF CHILLED WATER LINE25NB - Service tax | M | 100 |   |   |
| 80  | COLD INSULTN OF CHILLED WATER LINE40NB - COLD INSULATION OF CHILLED WATER LINES(COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 40NBService tax | M | 75  |   |   |
| 81  | COLD INSULTN OF CHILLED WATER LINE50NB - COLD INSULATION OF CHILLED WATER LINES(COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 50NBService tax | M | 100 |   |   |
| 82  | COLD INSULTN OF CHILLED WATER LINE65NB - Service tax | M | 50 |   |   |
| 83  | COLD INSULTN OF CHILLED WATER LINE75NB - Service tax | M | 50 |   |   |
| 84  | COLD INSULTN OF CHILLED WATER LINE100NB - COLD INSULATION OF CHILLED WATER LINES(COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 100NBService tax | M | 25  |   |   |
| 85  | COLD INSULTN OF CHILLED WATER LINE125NB - COLD INSULATION OF CHILLED WATER LINES(COVERED WITH THERMOCOL AND ALUMINIUM SHEET) 125NBService tax | M | 10  |   |   |
| 86  | COLD INSULTN OF CHILLED WATER LINE150NB - Service tax | M | 25 |   |   |
| 87  | COLDINSLTN OFCHILLD WATER TANK 25mm thk -COLD INSULATION OF CHILLED WATER TANKS(COVERED WITH THERMOCOLE AND ALUMINIUM SHEET) 25 mm thickService tax | M2 | 5 |   |   |
| 88  | COLDINSLTN OFCHILLD WATER TANK 50mm thk -Service tax | M2 | 50 |   |   |
| 89  | COLDINSLTN OFCHILLD WATER TANK 75mm thk -COLD INSULATION OF CHILLED WATER TANKS(COVERED WITH THERMOCOLE AND ALUMINIUM SHEET) 75 mm thick | M2 | 5 |   |   |
| 90  | INSTLOF NONIBR VALVE/WATER FLOW MRTS15NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 15NBService tax | NO | 25 |   |   |
| 91  | INSTLOF NONIBR VALVE/WATER FLOW MRTS20NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 20NBService tax | NO | 25 |   |   |
| 92  | INSTLOF NONIBR VALVE/WATER FLOW MRTS25NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 25NBService tax | NO | 50 |   |   |
| 93  | INSTLOF NONIBR VALVE/WATER FLOW MRTS40NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 40NBService tax | NO | 50 |   |   |
| 94  | INSTLOF NONIBR VALVE/WATER FLOW MRTS50NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 50NBService tax | NO | 50  |   |   |
|  |
| 95  | INSTLOF NONIBR VALVE/WATER FLOW MRTS65NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 65NBService tax | NO | 10 |   |   |
| 96  | INSTLOF NONIBR VALVE/WATER FLOWMRTS75NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 75NBService tax | NO | 10 |   |   |
| 97  | INSTLOF NONIBR VALVE/WATER FLOW MTS100NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 100NBService tax | NO | 5  |   |   |
| 98  | INSTLOF NONIBR VALVE/WATER FLOW MTS125NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 125NBService tax | NO | 5  |   |   |
| 99  | INSTLOF NONIBR VALVE/WATER FLOW MTS150NB - INSTALLATION OF NON IBR VALVES (GUNMETAL,CI,BRONZE &S.S)& WATER FLOW METERS 150NBService tax | NO | 5  |   |   |
| 100  | FITTING OF FLANGES( MS, GI & SS) 15NB - FITTING OF FLANGES( MS, GI & SS) 15NB Service tax | NO | 100 |   |   |
| 101  | FITTING OF FLANGES( MS, GI & SS) 20NB - FITTING OF FLANGES( MS, GI & SS) 20NB Service tax | NO | 80  |   |   |
| 102  | FITTING OF FLANGES( MS, GI & SS ) 25NB - FITTING OF FLANGES( MS, GI & SS ) 25NB Service tax | NO | 80  |   |   |
| 103  | FITTING OF FLANGES( MS, GI & SS ) 40NB - FITTING OF FLANGES( MS, GI & SS ) 40NB Service tax | NO | 100 |   |   |
| 104  | FITTING OF FLANGES( MS, GI & SS ) 50NB - FITTING OF FLANGES( MS, GI & SS ) 50NB Service tax | NO | 100 |   |   |
| 105  | FITTING OF FLANGES( MS, GI & SS ) 65NB - FITTING OF FLANGES( MS, GI & SS ) 65NB Service tax | NO | 30  |   |   |
| 106  | FITTING OF FLANGES( MS, GI & SS ) 75NB - FITTING OF FLANGES( MS, GI & SS ) 75NB Service tax | NO | 30 |   |   |
| 107  | FITTING OF FLANGES( MS, GI & SS ) 100NB - FITTING OF FLANGES( MS, GI & SS ) 100NB Service tax | NO | 10 |   |   |
| 108  | FITTING OF FLANGES( MS, GI & SS ) 125NB - FITTING OF FLANGES( MS, GI & SS ) 125NB Service tax | NO | 4 |   |   |
| 109  | FITTING OF FLANGES( MS, GI & SS ) 150NB - FITTING OF FLANGES( MS, GI & SS ) 150NB Service tax | NO | 4  |   |   |
| 110  | FITTING OF COULPING( MS, GI & SS ) 15NB - FITTING OF COULPING( MS, GI & SS ) 15NB Service tax | NO | 20  |   |   |
| 111  | FITTING OF COULPING( MS, GI & SS ) 20NB -FITTING OF COULPING( MS, GI & SS ) 20NB Service tax | NO | 20  |   |   |
| 112  | FITTING OF COULPING( MS, GI & SS ) 25NB - FITTING OF COULPING( MS, GI & SS ) 25NB Service tax | NO | 20  |   |   |
| 113  | FITTING OF COULPING( MS, GI & SS ) 40NB - FITTING OF COULPING( MS, GI & SS ) 40NB Service tax | NO | 20  |   |   |
| 114  | FITTING OF COULPING( MS, GI & SS ) 50NB - FITTING OF COULPING( MS, GI & SS ) 50NB Service tax | NO | 20 |   |   |
| 115  | FITTING OF COULPING( MS, GI & SS ) 65NB - FITTING OF COULPING( MS, GI & SS ) 65NB Service tax | NO | 5 |   |   |
| 116  | FITTING OF COULPING( MS, GI & SS ) 75NB - FITTING OF COULPING( MS, GI & SS ) 75NB Service tax | NO | 5  |   |   |
| 117  | FITTING OF COULPING( MS, GI & SS ) 100NB FITTING OF COULPING( MS, GI & SS ) 100NB Service  | NO | 5  |   |   |
| 118  | FITTING OF COULPING( MS, GI & SS ) 125NB - FITTING OF COULPING( MS, GI & SS ) 125NB Service tax | NO | 5  |   |   |
| 119  | FITTING OF COULPING( MS, GI & SS ) 150NB - FITTING OF COULPING( MS, GI & SS ) 150NB Service tax | NO | 5  |   |   |
| 120 | FITTING OF PLUG( MS, GI & SS) 15NB - FITTING OF PLUG( MS, GI & SS) 15NB Service tax | NO | 10 |   |   |
| 121  | FITTING OF PLUG( MS, GI & SS) 20NB - FITTING OF PLUG( MS, GI & SS) 20NB Service tax | NO | 10 |   |   |



|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 133  | FITTING OFHEXAGONAL NIPPLE 75NB - FITTING OFHEXAGONAL NIPPLE( MS, GI & SS) 75NBService tax | NO | 5  |   |   |
| 134  | FITTING OFHEXAGONAL NIPPLE 100NB - FITTING OFHEXAGONAL NIPPLE( MS, GI & SS) 100NBService tax | NO | 5  |   |   |
| 135  | FITTING OF UNION( MS, GI & SS) 15NB - FITTING OF UNION( MS, GI & SS) 15NB Service tax | NO | 30 |   |   |
| 136  | FITTING OF UNION( MS, GI & SS) 20NB - FITTING OF UNION( MS, GI & SS) 20NB | NO | 30  |   |   |
| 137  | FITTING OF UNION( MS, GI & SS) 25NB - FITTING OF UNION( MS, GI & SS) 25NB Service tax | NO | 30  |   |   |
| 138  | FITTING OF UNION( MS, GI & SS) 40NB - FITTING OF UNION( MS, GI & SS) 40NB Service tax | NO | 10  |   |   |
| 139  | FITTING OF UNION( MS, GI & SS) 50NB - FITTING OF UNION( MS, GI & SS) 50NB Service tax | NO | 10 |   |   |
| 140  | FITTING OF UNION( MS, GI & SS) 65NB - FITTING OF UNION( MS, GI & SS) 65NB Service tax | NO | 2  |   |   |
| 141  | FITTING OF UNION( MS, GI & SS) 75NB - FITTING OF UNION( MS, GI & SS) 75NB Service tax | NO | 2 |   |   |
| 142  | FITTING OFTAP/BRASS/GUNMETAL/PVC/SS15NB - FITTING OF TAP/BRASS/GUNMETAL/PVC/SS 15NB Service tax | NO | 80 |   |   |
| 143  | FITTING OFTAP/BRASS/GUNMETAL/PVC/SS20NB - FITTING OF TAP/BRASS/GUNMETAL/PVC/SS 20NB Service tax | NO | 25  |   |   |
| 144  | FITTING OF TAP/BRASS/GUNMETAL/PVC/SS25NB - Service tax | NO | 25 |   |   |
| 145  | FITTING OF TAP/BRASS/GUNMETAL/PVC/SS40NB -Service tax | NO | 2 |   |   |
| 146  | FITTING OFTAP/BRASS/GUNMETAL/PVC/SS50NB - FITTING OF TAP/BRASS/GUNMETAL/PVC/SS 50NB Service tax | NO | 2 |   |   |
| 147  | INSTL OFMS/GI/SS/BEND/ELBOWS 15NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 15NBService tax | NO | 50  |   |   |
| 148  | INSTL OFMS/GI/SS/BEND/ELBOWS 20NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 20NBService tax | NO | 50  |   |   |
| 149  | INSTL OFMS/GI/SS/BEND/ELBOWS 25NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 25NBService tax | NO | 50  |   |   |
| 150  | INSTL OFMS/GI/SS/BEND/ELBOWS 40NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 40NBService tax | NO | 50  |   |   |
| 151  | INSTL OFMS/GI/SS/BEND/ELBOWS 50NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 50NBService tax | NO | 50  |   |   |
| 152  | INSTL OFMS/GI/SS/BEND/ELBOWS 65NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 65NBService tax | NO | 30  |   |   |
| 153  | INSTL OFMS/GI/SS/BEND/ELBOWS 75NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 75NBService tax | NO | 25 |   |   |
| 154  | INSTL OFMS/GI/SS/BEND/ELBOWS 100NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 100NBService tax | NO | 5  |   |   |
| 155  | INSTL OFMS/GI/SS/BEND/ELBOWS 125NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 125NBService tax | NO | 5  |   |   |
| 156  | INSTL OFMS/GI/SS/BEND/ELBOWS 150NB - INSTALLATION OFMS,GI & SS BEND & ELBOWS 150NBService tax | NO | 5  |   |   |
| 157  | INSTALLATION OF TEE (MS,GI & SS ) 15NB - INSTALLATION OF TEE (MS,GI & SS ) 15NB Service tax | NO | 30  |   |   |
| 158  | INSTALLATION OF TEE (MS,GI & SS ) 20NB - INSTALLATION OF TEE (MS,GI & SS ) 20NB Service tax | NO | 30  |   |   |
| 159  | INSTALLATION OF TEE (MS,GI & SS ) 25NB - INSTALLATION OF TEE (MS,GI & SS ) 25NB Service tax | NO | 30  |   |   |
| 160  | INSTALLATION OF TEE (MS,GI & SS ) 40NB - INSTALLATION OF TEE (MS,GI & SS ) 40NB Service tax | NO | 30 |   |   |
| 161  | INSTALLATION OF TEE (MS,GI & SS ) 50NB - INSTALLATION OF TEE (MS,GI & SS ) 50NB Service tax | NO | 30 |   |   |
| 162  | INSTALLATION OF TEE (MS,GI & SS ) 65NB - INSTALLATION OF TEE (MS,GI & SS ) 65NB Service tax | NO | 5 |   |   |
| 163  | INSTALLATION OF TEE (MS,GI & SS ) 75NB - INSTALLATION OF TEE (MS,GI & SS ) 75NB Service tax | NO | 10 |   |   |
| 164  | INSTALLATION OF TEE (MS,GI & SS ) 100NB - INSTALLATION OF TEE (MS,GI & SS ) 100NB Service tax | NO | 5 |   |   |
| 165  | INSTALLATION OF TEE (MS,GI & SS ) 125NB - INSTALLATION OF TEE (MS,GI & SS ) 125NB Service tax | NO | 5  |   |   |
| 166  | INSTALLATION OF TEE (MS,GI & SS ) 150NB - INSTALLATION OF TEE (MS,GI & SS ) 150NB Service tax | NO | 5  |   |   |
| 167  | INSTL OF REDUCER/ELBOWS 20x15mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 20x15mmService tax | NO | 20  |   |   |
| 168  | INSTL OF REDUCER/ELBOWS25x20mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 25x20mm | NO | 20  |   |   |
| 169  | INSTL OF REDUCER/ELBOWS 25x15mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 25x15mmService tax | NO | 20 |   |   |
| 170  | INSTL OF REDUCER/ELBOWS40x20mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 40x20mmService tax | NO | 5  |   |   |
| 171  | INSTL OF REDUCER/ELBOWS 40x25mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 40x25mmService tax | NO | 10  |   |   |
| 172  | INSTL OF REDUCER/ELBOWS 50x25mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 50x25mmService tax | NO | 5  |   |   |
| 173  | INSTL OF REDUCER/ELBOWS 50x40mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 50x40mmService tax | NO | 10  |   |   |
| 174  | INSTL OF REDUCER/ELBOWS 75x50mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 75x50mmService tax | NO | 5  |   |   |
| 175  | INSTL OF REDUCER/ELBOWS 100x75mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 100x75mmService tax | NO | 2 |   |   |
| 176  | INSTL OF REDUCER/ELBOWS 125x100mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 125x100mmService tax | NO | 2 |   |   |
| 177  | INSTL OF REDUCER/ELBOWS 150x125mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 150x125mmService tax | NO | 2  |   |   |
| 178  | INSTL OF REDUCER/ELBOWS 150x100mm - INSTALLATION OF REDUCER & ELBOWS (MS,GI & SS ) 150x100mmService tax | NO | 2  |   |   |
| 179  | FABRICATION OF SUPPORTS PER KG - FABRICATION OF SUPPORTS (MS CHANNEL,ANGLES,FLAT PLATES,PIPES ETC. PERKGService tax | KG | 3,500  |   |   |
| 180  | FABRICATION OF MS/SS STRCHURE PER KG- FABRICATION OF MS STRUCHURE & SS STRUCHURE PERKGService tax | KG | 3000  |   |   |
| 181  | FBR OF DUCTS IN ALUMINIUM /GS/MS/SS24G - FABRICATION OF DUCTS IN ALUMINIUM /GS/MS & SS 24G | M2 | 200 |   |   |
| 182  | FBR OF DUCTS IN ALUMINIUM /GS/MS/SS22G - FABRICATION OF DUCTS IN ALUMINIUM /GS/MS & SS 22G Service tax | M2 | 100 |   |   |
| 183  | FBR OF DUCTS IN ALUMINIUM /GS/MS/SS20G - FABRICATION OF DUCTS IN ALUMINIUM /GS/MS & SS 20G Service tax | M2 | 50 |   |   |
| 184  | FBR OF DUCTS IN ALUMINIUM /GS/MS/SS18G - FABRICATION OF DUCTS IN ALUMINIUM /GS/MS & SS 18G Service tax | M2 | 100 |   |   |
| 185  | FBR OF DUCTS IN ALUMINIUM /GS/MS/SS16G - FABRICATION OF DUCTS IN ALUMINIUM /GS/MS & SS 16G Service tax | M2 | 50  |   |   |
| 186  | FABRICATION OF MS GRATIINGS SQ M - FABRICATION OF MS GRATIINGS SQ M Service tax | M2 | 50  |   |   |
| 187  | ERTN OFBLOWER,AHU/HEAT EXCHANGERS PERKG - ERECTION OF BLOWERS , AHU & HEAT EXCHANGERS PERKGService tax | KG | 3500 |   |   |
| 188  | ERECTION OF METALS IN TANK PER KG - ERECTION OF METALS IN TANK MS/GI/CRCA/SS PERKGService tax | KG | 3000  |   |   |
| 189  | DISMANTLING OF OLD STRUCHURES PER KG - DISMANTLING OF OLD MS/SS/CAST IRON STRUCHURES PERKGService tax | KG | 3500  |   |   |
| 190  | EARTH WORK DIGGING & REFILLING PER SQ.M - EARTH WORK DIGGING & REFILLING PER SQ.MService tax | M2 | 30  |   |   |
| 191  | ARC WELDING IN SHEETS ETC 3MM THICK - ARC WELDING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL & CHEQURED PLATES (LABOUR CHAARGE ONLY) 3MM THICKService tax | NO | 250  |   |   |
| 192  | ARC WELDING IN SHEETS ETC 4MM THICK - ARC WELDING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL & CHEQURED PLATES (LABOUR CHAARGE ONLY) 4MM THICKService tax | NO | 100  |   |   |
| 193  | ARC WELDING IN SHEETS ETC 5MM THICK - ARC WELDING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL & CHEQURED PLATES (LABOUR CHAARGE ONLY) 5MM THICKService tax | NO | 50  |   |   |
| 194  | ARC WELDING IN SHEETS ETC 6MM THICK - ARC WELDING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL & CHEQURED PLATES (LABOUR CHAARGE ONLY) 6MM THICKService tax | NO | 50 |   |   |
| 195  | ARC WELDING IN SHEETS ETC 8MM THICK - ARC WELDING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL & CHEQURED PLATES (LABOUR CHAARGE ONLY) 8MM THICKService tax | NO | 100 |   |   |
| 196  | ARC WELDING IN SHEETS ETC 10MM THICK- ARC WELDING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL & CHEQURED PLATES (LABOUR CHAARGE ONLY) 10MM THICKService tax | NO | 50  |   |   |
| 197  | ARC WELDING IN SHEETS ETC 12MM THICK- ARC WELDING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL & CHEQURED PLATES (LABOUR CHAARGE ONLY) 12MM THICKService tax | NO | 25 |   |   |
| 198  | GAS CUTTING IN SHEETS ETC 2MM TO 4MM- GAS CUTTING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL/CHE QURED PLATES & PIPE 2MM TO 4MMService tax | NO | 200 |   |   |
| 199  | GAS CUTTING IN SHEETS ETC 4MM TO 8MM- GAS CUTTING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL/CHEQURED PLATES & PIPE 4MM TO 8MM Service tax | NO | 100  |   |   |
| 200 | GAS CUTTING IN SHEETS ETC 8MM TO12MM - GAS CUTTING IN PLATES/SHEET/ANGLE/FLAT/CHANNEL/CHE QURED PLATES & PIPE 8MM TO 12MMService tax |  NO |  50 |   |   |

VALIDITY : ONE YEAR

Certified that the rate quoted will hold good for one year during which period no upward revision will be asked for.

 PLACE: NAME AND SIGNATURE OF THE TENDERER

DATE: (WITH OFFICE SEAL)