HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM. P.O.,

THIRUVANANTHAPURAM – 695017

PH  : +91 471 2445930

FAX: +91 471 2445935

OPERATION & MAINTENANCE CONTRACT FOR BOILER & WATER PLANT

(TENDER NO- HLL/AFT/PUR/O&M OF B&WP/2020-23 Dtd 26/08/2020)

AT

AKKULAM FACTORY

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM. P.O.,

THIRUVANANTHAPURAM – 695017

PH  : +91 471 2445930

TENDER NO: HLL/AFT/PUR/O&M OF B&WP/2020-23                                  26.08.2020

#### TENDER NOTICE

Sub	: Tender for undertaking Operation & Maintenance Contract for Boiler & Water Plant reg:-

Sealed and superscribed tenders are invited in prescribed format, under Two Bid System (Technical Bid and Price bid) undertaking Operation & Maintenance Contract for Boiler & Water Plant on Contract basis at HLL LIFECARE LIMITED, Akkulam factory, Thiruvananthapuram.  The Contractor shall engage necessary manpower as per tender condition for the execution of the work and also as and when informed by the company or the authorized officers depending on the work given to the contractor.

The tender documents are available at Company’s website www.lifecarehll.com.

The Unit Chief, Akkulam Factory reserves the right to cancel or reject this Tender fully or partially, without assigning any reason and his decisions on this will be final and binding on all Tenderers.

- Date of issue of bid document				: From 26-08-2020

- Last date for receipt of Pre-bid queries 		: 11-09-2020 upto 10.00 HRS

- Pre-bid meeting date, time & Venue			: 11-09-2020 upto 12.00 HRS

HLL LIFECARE LIMITED,

Akkulam Factory,

Sreekariyam (PO)

Thiruvananthapuram -17

All prospective tenderers may attend the Pre-Bid meeting. The venue, date and time indicated as above.

- Last date & time of issue of tender document 	: 16-09-2020 upto 15.00 HRS

- Last date & time for receipt of bids			: 18-09-2020 at 14.00 HRS

- Date and time of opening of Technical Bid 		: 18.09.2020 at 15.00 HRS

Deputy General Manager (Mtls.)

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2020-23                     	 			26/08/2020

###### CONTENTS OF BIDDING DOCUMENTS

| ### Sl. No | ### Schedule | ### Description | ### Page Nos. |
| --- | --- | --- | --- |
| ### TECHNICAL BID |  |  |  |
| ### 1 | ### - | Instruction to Bidders | 5 – 6 |
| ### 2 | ### Schedule – A | Work requirements & GMP Requirements | 7 - 14 |
| ### 3 | ### Schedule – B | Terms & Conditions | 15 - 17 |
| ### 4 | ### Schedule – C | Minimum eligibility criteria for qualifying Technical Bid | 18 |
| ### 5 | ### Schedule – D | Questionnaire for Minimum Eligibility Criteria | 19 |
| ### 6 | ### Schedule – E | General information of the Tenderer | 20 - 21 |
| ### 7 | ### Schedule – F | Indemnity Clause | 22 |
| ### 8 | ### Schedule – G | Declaration by accepting Terms and Conditions by the Tenderer. | 23 |
| ### PRICE BID |  |  |  |
| 8 | Schedule – H | Rate Schedule for Annual Running contract for Operation & Maintenance Contract for Boiler & Water Plant | 24 – 26 |
| 10 | Schedule – I | Declaration by accepting the Rate to execute the work as per tender. | 27 |

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM. P.O.,

THIRUVANANTHAPURAM – 695017

PH  : +91 471 2445930

FAX: +91 471 2445935

TECHNICAL BID

FOR

OPERATION & MAINTENANCE CONTRACT FOR

BOILER & WATER PLANT

(TENDER NO- HLL/AFT/PUR/O&M OF B&WP/2020-23 dtd 26/08/2020)

AT

AKKULAM FACTORY

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2020-23                    	 		     	 26.08.2020

##### INSTRUCTION TO BIDDERS

- This Bid is intended to finalize the contract for undertaking Operation & Maintenance for Boiler & Water Plant in the premises of Akkulam factory, under the supervision and control of the contractor as mentioned in this Bid.

- This is a Two Bid system comprising of:

(a) Technical Bid		(b) Price Bid

- EMD

- The Tender should be submitted along with EMD of Rs.25,000.00/- (Twenty Five Thousand only), failing their Tender will be summarily rejected.

- Bid Security (EMD):   EMD as per the tender conditions shall be paid  through RTGS/NEFT transfer in the following  HLL A/c details:

Name of Bank	: 	State Bank of India

A/c number		:	30307559515

IFSC Code		: 	SBIN0004350

Branch name	: 	Commercial Branch, Thycaud, Thiruvananthapuram

- The EMD of successful bidder will be converted to Security Deposit and will be released at the end of contract period.

- SSI/MSME/DIC bidders interested in availing exemption from payment of EMD should

submit a valid copy of their  registration certificate issued by the concerned DIC or

NSIC.

- Clarification of Tender documents: A tenderer requiring any clarification or elucidation on any issue of the Tender documents may take up the same with the purchaser in writing before schedule give in the Tender documents. Representation sent after the last date & time of pre bid queries receipt date will not be taken into cognizance. The queries will only be discussed on the Pre-Bid meeting as per the schedule and the decision on the queries will be only with the discretion of HLL.

- Both the bids shall be submitted in sealed covers separately. Tender Nos. of the “Technical Bid” and “Price Bid” shall be super scribed on the respective covers in order to clearly identify between the 2 bids.  The two separately sealed and super scribed Bids enclosed in a single cover sealed and super scribed with the respective Tender no., complete in all respect, addressed to The Joint General Manager (Materials), HLL LIFECARE LIMITED, AKKULAM FACTORY, THIRUVANANTHAPURAM-695017, should reach us on or before the due date and time mentioned in the Tender Notification.  HLL shall not be responsible for the delay, if any, in the delivery of the bidding documents or non-receipt of the same.

a) The last date and time of receipt of Bid is 18-09-2020, 14.00 HRS

b) The date and time of Opening of Technical Bid is 18-09-2020, 15.00 HRS

- In case the date mentioned above is declared subsequently as holiday for the Company’s office, the due date for submission and opening of bids will be the next working day at the same venue and time. Bids received after the last date and time for submission shall not be considered.

- The Bidder is expected to examine all work requirements, Eligibility Criteria, Terms and Conditions given in the bidding documents. Failure to furnish all information required in the Bidding documents or submission of a Bid not subsequently responsive to the bidding documents in every respect will be at the Bidders risk and may result in rejection of the Bid

- Successful bidder shall furnish Security Deposit by either Cash Deposit or Bank Guaranty for an amount of 5% of Annual Order Value which will be returned without interest on completion of contract period.

- A declaration as given in SCHEDULE-G stating that ALL TERMS AND CONDITIONS with respect to this tender is acceptable should accompany the tender, failing which the tender will be summarily rejected.

- The validity of the Contract shall be for a period of THREE YEARS.

##### The Price Bid of those Tenderers who qualify in the Technical Bid only will be opened. The date and time of opening of Price bid will be intimated separately. The Price Bids of Tenderers who do not qualify will be returned unopened.

- The bidders may visit the Factory and clarify details if any with the JGM (HR) / SM (Engg), Akkulam Factory prior to submitting their bids.

Schedule - A

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2020-23                    	 		     	 26.08.2020

WORK REQUIREMENTS

Scope of the contract includes the Operation & Maintenance of the equipments mentioned in the Annexure-1 as per the Specific Operation Procedure (SOP) of Akkulam Factory.

## EQUIPMENT DETAILS

| ### DETAILS OF EQUIPMENTS |  |  |  |
| --- | --- | --- | --- |
| Sl No: | ITEMS | CAPACITY | QTY IN NO: |
| 1. | Boiler | ##### 2Ton | 2 |
| 2. | ETP | 35KL/DAY | 1 |
| 3. | Rain Water Harvest | 130KL | 1 |
| 4. | DM Water Plant | 2.5KL/hr | 1 |
| 5. | Pure Steam Generator | 1000Kg/hr | 1 |
| 6. | Multieffect Distillation Unit | 300Kg/hr | 1 |
| 7. | WFI Circulation System | 3000L | 1 |
| 8. | Scrubber Unit |  | 2 |
| 9. | Nitrogen and ETO Distribution |  | 2 |
| 10. | Process Cooling Tower |  | 2 |

### OPERATION & MAINTENANCE OF BOILER

- To operate any/all Boiler and accessories as per the requirement of steam for the production and allied activities.

- To attend any break down or defects in (Mechanical/Electrical) of Boiler plant as and when called for.

- To carry out repair and resetting of all equipment in the plant as and when required, for efficient functioning of the plant.

- Maintain and ensure necessary spares of the plant for the uninterrupted operation and intimate the officer in charge of HLL for replenishment, if needed.

- To carry out monthly preventive maintenance as specified below.

  - Carbon removal from Chimney Hood

  - Burner & Nozzles Cleaning/Replacement

  - Checking of all equipment and controls in the plant & rectification or defects if noticed any.

  - Checking of proper functioning of valves in Boiler.

- Twice in a month Ash Removal from Chimney Hood

- Quarterly preventive maintenance as listed below.

  - Cleaning of Fire Tubes (88 nos in each Boiler)

  - Carbon removal from Chimney Hood

  - Burner & Nozzles Cleaning/Replacement

  - Checking of equipments like gauge glass, safety valves, Blow down valves, Mobery control valve, pressure gauge for oil pump and water pump, pressure switches, water pumps etc.

  - Checking of main control panel, Cleaning of pipe lines and fire tubes.

  - Checking of fire tubes.

  - Check Oil filtration system. Clean if found necessary.

  - Checking and tightening of electrical, mechanical connection and contacts.

  - Inspection of foundation bolts.

  - Checking of fuel pump & feed water pump.

  - Any other work related with Boiler plant, which arise from time to time.

- Annual Maintenance as listed below.

- Cleaning of waterside.

- Cleaning of Fire Tube (88 Nos in each Boiler)

- Carbon removal from Chimney Hood

- Burner & Nozzles Cleaning/Replacement

- Reconditioning of water pumps and changing of Bearings and gland packing if required.

- Reconditioning of boiler accessories such as water pump and fuel pump, Water Level Controls (Mobery Unit), Gauges, Gauge Glass, Safety Valves, Blow down Valves, etc.

- Maintenance of pipes, tubes, chimney etc.

- Fabrication of supports/frames if necessary.

- Any other works related with Boiler plant, which arise from time to time.

- Hydraulic test for shell side in coordination with Inspector, Department of Factories & Boilers.

Remarks:- Annual Maintenance of each Boiler shall be done before the due date of license issued by Department of Factories & Boiler.

### OPERATION & MAINTENANCE OF DM WATER PLANT

- To operate De-Mineralized Water Plant and accessories as per the requirement of production and allied activities.

- To attend any break down or defects in (Mechanical/Electrical) De-Mineralized Water Plant and accessories as and when called for.

- To carry out repair and resetting of all equipment in the plant as and when required, for efficient functioning of the plant.

- Maintain and ensure necessary spares of the plant for the uninterrupted operation and intimate the officer in charge of HLL for replenishment, if needed.

### OPERATION & MAINTENANCE OF PURE STEAM GENERATOR

- To operate Pure Steam Generator and accessories as per the requirement of production and allied activities.

- To attend any break down or defects in (Mechanical/Electrical) of Steam Generator and accessories as and when called for.

- To carry out repair and resetting of all equipment in the plant as and when required, for efficient functioning of the plant.

- Maintain and ensure necessary spares of the plant for the uninterrupted operation and intimate the officer in charge of HLL for replenishment, if needed.

### OPERATION & MAINTENANCE OF MULTI COLUMN DISTILLATION UNIT & WFI SYSTEM

- To operate Multi Column Distillation Unit, WFI System and accessories as per the requirement of production and allied activities.

- To attend any break down or defects in (Mechanical/Electrical) of Multi Column Distillation Unit, WFI System and accessories as and when called for.

- To carry out repair and resetting of all equipment in the plant as and when required, for efficient functioning of the plant.

- Maintain and ensure necessary spares of the plant for the uninterrupted operation and intimate the officer in charge of HLL for replenishment, if needed.

### OPERATION & MAINTENANCE OF EFFLUENT TREATMENT PLANT (ETP)

- To operate Effluent Treatment Plant (ETP) and accessories as per SOP.

- To attend any break down or defects in (Mechanical/Electrical) of Effluent Treatment Plant (ETP) and accessories as and when called for.

- To carry out repair and resetting of all equipment in the plant as and when required, for efficient functioning of the plant.

- Up-keep Effluent Treatment Plant, accessories and premises and keep neat and tidy.

- Maintain and ensure necessary spares of the plant for the uninterrupted operation and intimate the officer in charge of HLL for replenishment, if needed.

### OPERATION & MAINTENANCE OF RAIN WATER HARVESTING SYSTEM

- To operate Rain Water Harvesting System, Water Filtration Unit, Pumps and accessories as per SOP.

- To attend any break down or defects in (Mechanical/Electrical) of Rain Water Harvesting System, Water Filtration Unit, Pumps and accessories as and when called for.

- To carry out repair and resetting of all equipment in the plant as and when required, for efficient functioning of the plant.

- Up-keep Rain Water Harvesting System, Water Filtration Unit, Pumps and accessories and premises and keep neat and tidy.

- Maintain and ensure necessary spares of the plant for the uninterrupted operation and intimate the officer in charge of HLL for replenishment, if needed.

### OPERATION & MAINTENANCE OF PROCESS COOLING TOWERS

- To operate Cooling Towers of Process & Autoclave and accessories as per SOP.

- To attend any break down or defects in (Mechanical/Electrical) of Cooling Towers of Process & Autoclave and accessories as and when called for.

- To carry out the preventive maintenance and cleaning as per SOP.

- To carry out repair and resetting of all equipment as and when required, for efficient functioning of the plant.

- Up-keep Cooling Towers of Process & Autoclave, Pumps and accessories and premises and keep neat and tidy.

- Maintain and ensure necessary spares of the plant for the uninterrupted operation and intimate the officer in charge of HLL for replenishment, if needed.

### LOADING & CHARGING OF CYLINDERS

    - Loading & Charging of Nitrogen Cylinder for ETO Sterilization in Sterilizer New & Old

    - Loading & Charging of Ethylene Oxide (ETO) Cylinder for ETO Sterilization in Sterilizer New & Old.

- MANPOWER REQUIREMENT PER DAY

| Sl No | Position | Shift | Strength |
| --- | --- | --- | --- |
| 1 | Operators | First Shift | 3 |
| 2 | Operators | Second Shift | 3 |
| 3 | Operators | Third Shift | 3 |
|  | TOTAL |  | 9 |

# IV.SPECIAL CONDITIONS:-

- Every month or as and when required one record should be submitted to the Controlling Officer of Engineering Department regarding the performance and maintenance activities carried out in the preceding month and activities planned in the succeeding month.

- Three experienced skilled operator’s shall be posted in each shift for the operation and maintenance of the equipments mentioned in the list mentioned above without any interruption to the plant.

- Contract includes all kinds of maintenance and breakdown work related with Mechanical, Electrical, Instrumentation to the equipments mentioned in the ANNEXURE-1. Breakdown work shall be attended in minimum possible time.

- Employees deputed for the operation and maintenance of Boilers should have ITI with B Class License for the operation boilers issued by Department of Factories & Boilers, Kerala State and should have at least 2 years experience in operation and maintenance of Boiler plants having capacity of 2 TPH.

- Employees deputed for the operation and maintenance of the equipments other than Boilers should have ITI qualification.

- For any instance of negligence from the side of personnel deployed by the contractor resulting in production loss, the amount incurred due to the same will be deducted from the monthly running bill. HLL will work out the loss amount in such cases.

- In case of installation of any additional equipments related with the equipments mentioned in ANNEXURE-1 during the contract period, the contractor has to operate the same and do the necessary maintenance without any additional charge.

- All the tools required for the work has to be arranged by the contractor.  A set of necessary tools should be kept in the plant for daily use.

- All spares and consumables required for Operation & Maintenance of equipments mentioned in ANNEXURE-1 during the contract period will be supplied by HLL at free of cost.  If any spares are not available with HLL the same shall be arranged by the contractor.  The amount of such spares shall be made by HLL up on the submission and certification of officer in charge of HLL on actual basis.

- Contractor shall adapt and ensure the HLL requirements of Safety, Health & Environment (SHE) with a basic objective to protect People, Plant, and equipment and minimize the impact on the environment.

- Contractor shall comply with the local SHE legislations applicable.

- Contractor should follow the daily work permit system applicable to HLL including the closure. For operational and safety reasons, the work permit can be withdrawn without prior notice.

- Contractor must ensure that the employees deputed for the operation & maintenance must have a working knowledge of safety procedures in the relevant area of work. If any deviation is needed has to be get approved from the concerned authorities of HLL.

- In case of emergency, applicable system of emergency response at the work location applies and the contract shall be aware of such system.

- Contractor shall provide necessary PPEs to the employees required in the relevant area of work.

- Contractor shall adapt good standards of housekeeping such as 5S System.

- Contractor shall manage Environmental issues, including waste disposal which occur during the operations/maintenance activities in line with the HLL’s Procedure by laisoning with the concerned officials and according to the best environmental practices.

- Safety guidelines to be followed shall displayed at the working area.

- For SHE Policy refer www.lifecarehll.com

Schedule - B

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2020-23          	 			            26.08.2020

TERMS AND CONDITIONS

- The Tender should complete in all respects. Incomplete tenders are liable to be rejected.

- Unsealed Tenders received are liable to be rejected and this will be at the sole risk of the Tenderer.

- The Company shall have the right to inspect the existence and quality of the details claimed in the Technical Bid, to determine the eligibility of the Bidder prior to the award of work and the tenderer shall extend all co-operations for this. If any information provided in the Technical Bid is found false or incorrect at the stage of inspection or visit, the tenderer shall be disqualified. If any information provided in the Technical Bid found false at any point of time during the contract period, the same shall result in termination of contract with the tenderer, disqualification of the tenderer from future tendering, forfeiture of EMD paid and Security Deposit and payment of compensation towards loss or damage caused to the company on account of making false claims.

- The tenderer who does not meet the Minimum Eligibility Criteria shall be considered as DISQUALIFIED in the tender. Their Price Bid shall be returned unopened to them.

- Employees engaged for the work as per this Tender by the contractor will be employees of the contractor at all times and for all purpose and not of HLL LIFECARE LIMITED and there will not be any employer employee relationship between HLL LIFECARE LIMITED and the persons employed by contractor for aforesaid work. The supervision and control of the employees engaged by the contractor shall fully be on the contractor.

- The work awarded shall not be subcontracted to any other person/organization. In case the company finds, at any point of time during the period of contract, that the work undertaken by the contractor has been subcontracted, the same will be treated as violation of the agreement, liable for legal action, termination of contract, forfeiture of EMD, Security Deposit and disqualification form future tenders to HLL Lifecare Limited,

- Undertaking Operation & Maintenance for Boiler & Water Plant as per this tender to meet temporary need on contract basis as and when required and only if there is work after providing employment to the permanent employees in Akkulam Factory of HLL LIFECARE LIMITED.

- As and when work is available subject to clause above, the contractor will be given specified direction regarding quantity of work to be done, the time within which the work is to be completed and any other instructions that may be necessary for the performance of the contract.

- The contractor should have ITI Qualification with valid B Class License issued by Department of Factories & Boilers and minimum 5 years experience in the operation and maintenance of Boiler plants and other criteria mentioned in Eligibility Criteria and also other statutory licenses whenever applicable and should produce proof whenever required. The tenderer should take insurance for his workers against any eventually of accidents etc. HLL Lifecare Limited will not be liable for any accident sustained to contractors workmen while on or out of the work during the contract period. The tenderer has to cover personal accident insurance policy in respect of the employees engaged by him under Employees Compensation Act.

- Employees deputed for the operation and maintenance of Boilers should have ITI with B Class License for the operation of boilers issued by Department of Factories & Boilers, Kerala State and should have at least 2 years of experience in operation and maintenance of Boiler plants having capacity of minimum 2 TPH. Employees deputed for the operation and maintenance of the equipments other than Boilers should have ITI qualification.

- The personnel employed by the tenderer should have good physique and should be free from contagious/communicable diseases and should have normal vision. Medical certificate in this regard should be furnished before the engagement of labours. They should not have been involved in any police/criminal cases.

- Age of the persons engaged by the tenderer shall be between 18 and 60 years.

- Supervision and control of the work of the tenderer’s employees will have to be done by the tenderer and the management shall have the right to verify whether proper supervision and control has been done. In case of complaints, the tenderer shall take immediate action as directed by the management including replacement of the concerned Contractors employee.

- PRICE BID

The Tenderer shall quote the competitive rate as per schedule for price bid. The Rate shall include the Wage (Including Employee contribution of PF & ESI) to be paid to the workers, Contractor’s PF and ESI contributions, Income Tax and applicable taxes, insurance coverage for his/her/its workers, Supervision / Service charges, statutory Bonus and other statutory charges if any.

- The tenderer shall pay to his employees statutory payments as per EPF Act, ESI Act, Bonus Act and any other payments as per Acts or Rules applicable, at the rates prevalent from time to time. HLL shall have no obligation with regard to statutory or other welfare measures of the employees employed by the contractor for the said work. He should comply with all statutory obligations in respect of Labour, GMP etc.

- The price quoted by the Tenderer will be valid for THREE YEARS.

- On finalization, the Tenderer shall execute an Agreement on a stamp paper worth Rs.200/. The agreement shall contain the terms and conditions mutually agreed upon. The agreement will be valid initially for a period of one year and extendable on the same terms and condition.

- The rates quoted shall be valid during the period and till the completion of the contract. No enhancement in rate shall be claimed or payable during the period of the contract. However if there is any variation in the applicable minimum wages and the same is requested by the contractor, it can be considered by the company. The Contractor cannot claim enhancement as a matter of rights.

- SECURITY DEPOSIT:- On awarding the contract, but before signing the Agreement, the tenderer shall furnish Security Deposit by either Cash Deposit or Bank Guaranty for an amount of 5% of Annual Order Value which will be returned without interest on completion of contract period.

- RECOVERY OF LOSS / DAMAGE TO COMPANY: - This Security Deposit shall be forfeited in case the tenderer withdraws from the contract once it is awarded or fails in completing the work in time as required by the Company or in case any loss or damage is caused to the Company by the contractor or by his/her/its employees or on breach of any of the conditions of the contract. Loss or damage caused to the Company at the instance of the contract shall be recovered from the Security Deposit in proportionate to the loss or damage sustained by the Company and the decision on the amount of compensation for the loss or damage shall be at the discretion of the company. The Company shall also have the right to recover such loss or damage from the movable or immovable properties of the contractor and his heirs and legal representatives if the loss or damage caused is in excess of Security Deposit.

- DISTRIBUTION OF WORK IN CASE OF AWARDING WORK TO MORE THAN ONE TENDERER:-

- In case more than one tenderer quote the same rate in the Price Bid, then, preference will be given to those who have experience of undertaking similar work by engaging more workers or more at a time. The company reserves the right to distribute the work at its discretion to different Tenderers who agree to do the work at the lowest rate accepted. However, the company is not bound to accept the lowest rate.

- It is specifically made clear that the company will not be bound to accept the lower rate, which will not be sufficient to cover the items covered under clause 13 above and other relevant clauses if any

- Societies formed by the existing employees of the Company or their relatives will not be eligible to apply against this tender notification.

- The Company has the right to give the work under this tender to one or more parties, in full quantity or partially, at the discretion of the Company.

- Any left out clause will be included subsequently during the course of tendering and the amendments will be published in the website of HLL.

- This Tender is liable to be suspended or cancelled at any time at the discretion of the Unit Chief of the Akkulam Factory, Thiruvananthapuram with or without assigning any reason. Also any Technical Bid and Price Bid can be rejected or cancelled without assigning any reason.

- The jurisdiction of any disputed, suits and proceedings arising out of this Tender shall be only in the court of Thiruvananthapuram.

Schedule - C

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2020-23                                 	          .26 08.2020

MINIMUM ELIGIBILITY CRITERIA

- Contractor should have ITI with B Class License for the operation of boilers issued by Department of Factories & Boilers, Kerala State and minimum 5 years experience in the operation and maintenance of Boiler plants having capacity of minimum 2 TPH and Operation & Maintenance of DM Water plant, Pure Steam Generator, Multi Colum Distillation unit & WFI system, ETP and Nitrogen & ETO Distribution system in the area of medical device manufacturing and documentary proof thereof shall be produced.

- The tenderer should comply with all requirements of GMP and Drugs Control Rules & Regulations.

- The Technical Bid should accompany proof of Rs. 25,000/-towards Earnest Money Deposit, failing which the Tender will be summarily rejected.

- A Declaration (as given in SCHEDULE-E) from the tenderer that the offer being submitted is as per the requirements given in this Bid is to be attached along with the document.

- Employees deputed for the operation and maintenance of Boilers should have ITI with B Class License for the operation of boilers issued by Department of Factories & Boilers, Kerala State and should have at least 2 years of experience in operation and maintenance of Boiler plants having capacity of minimum 2 TPH. Employees deputed for the operation and maintenance of the equipments other than Boilers should have ITI qualification.

Schedule - D

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2020-23                    	 			  26/08/2020

QUESTIONNAIRE TO BE FILLED FOR

MINIMUM ELIGIBILITY CRITERIA

| 1 | Can you undertake the contract as given in the SCHEDULE A. | YES / NO |
| --- | --- | --- |
| 2 | Do you agree to provide Security Deposit for an amount of 5% of Annual Order Value by Cash or Bank guarantee from a National / Scheduled Bank before under taking the work, if awarded. | YES / NO |
| 3 | Do you have minimum THREE Years experience in carrying out similar type contracts in the mentioned areas and documentary proof thereof produced. Bid of those tenderers who have lack of minimum years of experience in any of these above mentioned prescribed areas will be rejected. | YES / NO |
| 4 | Do you have submitted the documentary proof of experience in the prescribed three areas with minimum period of experience. | YES / NO |
| 5 | Have you attached the Declaration (as in SCHEDULE – G) along with this Bid | YES / NO |
| 6 | Will you ensure the GMP in the work station | YES / NO |
| 7 | Will you meet all the legal / statutory requirements with respect to this work | YES / NO |
| 8 | Have you enclosed DD / Receipt for Rs. 25,000/- towards EMD in Technical Bid. | YES / NO |

All the informations provided herein are true and correct.

Place:

Date:				NAME & SIGNATURE OF THE TENDERER

Schedule - E

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2020-23                    	 			  26/08/2020

GENERAL INFORMATION OF THE TENDERER

| I.1 | Name & Address of the Tenderer |  |
| --- | --- | --- |
| I.2 | Land Phone |  |
| I.3 | Mobile Phone |  |
| I.4 | Fax No |  |
| I.5 | E-mail address |  |
| I.6 | Name of contact person (in case of organization) |  |
| I.7 | Goods Service Tax (GST) No |  |
| II.1 | Whether individual /proprietary/Partnership firm /Limited Co./Society |  |
| II.2 | If society, Whether Regd. Charitable Society/ Co-operative Society/Labour Supply Society |  |
| II.3 | The Act under which Regd |  |
| II.4 | Registration No. & Date |  |
| II.5 | Details of governing body (Please attach attested copies as proof for the above) |  |
| II.6 | Details of Financial stability |  |
| i | Name and address of your Bank |  |
| ii | Bank Account : Type |  |
| iii | Account No |  |
| iv | What is your financial stability (Rs.) (Please enclose copy of audited Annual Report for the last two years in case of Societies / firms / Company) |  |
| 3 | In the case of individuals, Details of Financial stability |  |
| a | Name and address of your Bank |  |
| b | Bank Account : Type |  |
| c | Account No |  |
| 4 | Statutory Requirements |  |
| a | Are you registered with EPF, ESI? | YES / NO |
| b | If YES the code Nos of EPF & ESI |  |
| c | If ‘NO’, can you take it within one month | YES / NO |
| d | Number & date of license obtained under the provisions of the Contract Labour (R&A) Act 1970 if any. Please attach an attested Photocopy of the license. |  |
| e | If there is no license, do you agree to take license within two weeks of awarding the work, if the work is awarded to you | YES / NO |
| 5 | Do you have experience in carrying out works mentioned in Tender Notice or similar works on contract basis. | YES / NO |
| a | If ‘YES’ give details of nature of contract work and experience and no. of workers engaged. Also attach the copy of Certificate in proof). |  |
| 6 | Are you ready to undertake and carry out the work in the Tender by engaging adequate manpower without fail as per the terms and conditions given in the Tender Notification. | YES / NO |
| 7 | If the contract is awarded to you, can you ensure that the worker engaged by you are free from contagious diseases | YES / NO |
| 8 | If the contract is awarded to you, can you ensure that medical check-up will be arranged for the workers once in a year | YES / NO |
| 10 | If the contract is awarded to you, can you ensure that prohibit smoking, chewing, eating and drinking in the work area | YES / NO |
| 11 | Do you agree to follow the provisions of all relevant laws in respect of labour, payment of wages, ESI, EPF, Bonus and GMP etc. | YES / NO |
| 12 | Have you read, understood and agree to abide by the terms and conditions of the agreement to be signed by the Tenderer and the Company, once the work is awarded | YES / NO |

DECLARATION

## I / WE confirm having read and understood the work requirements, terms & conditions and all relevant information regarding the tender Notification No - HLL/AFT/PUR/O&M OF B&WP/2020-23 dated 26-08-2020 and agree to abide by all without any deviation from what are stated above and contained therein in the Tender Notification.

Place:							              SIGNATURE

Date:							            Name & Address

Seal (in case of society / Organization/Firm)

Schedule - F

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2020-23                    	 			26.08.2020

INDEMINITY CLAUSE

If the tenderer fails to execute the work as per the requirements mentioned in the Service Order or violates or infringes the existing rates as agreed to as mentioned in the Service Order, the tenderer shall and will indemnify the company against all loses or damages whatsoever to be incurred or sustained including the legal cost or expenses incurred by the company by reason of non-execution of work at agreed Schedules, Operating Procedures and terms & conditions specified in the Tender Document and Service Order.  The company will initiate legal action if the tenderer fails to execute the work as per the requirements specified in the tender document and Service Order for the actual loss suffered. Responsiveness of the Bid shall be at the discretion of HLL.

The tenderer shall have no right to change the conditions stipulated in the Tender Document & Service Order.

Bid pronounced Non Responsive by HLL shall be summarily rejected.

The decision of HLL will be final and no correspondence of this shall be entertained.

We have read and understood the above conditions and agree to abide by the same.

PLACE:                                                          NAME AND SIGNATURE OF THE APPLICANT

DATE:                                                                                   (WITH OFFICE SEAL)

Schedule - G

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2020-23                    	 			26.08.2020

DECLARATION

I / We am/are fully aware of the statutory obligations to be complied with respect to this offer and on awarding the work to me/us, I/We will be responsible for all the statutory/legal aspects like Labour, cGMP etc. I/We have also fully understood the nature of work and costs involved. The rates quoted by me/us in this bid is all inclusive and in case work is awarded, during the period of contract I/We will not claim any upward revision in the rate.

SIGNATURE:

(Seal of the Tenderer) 		     	   NAME & ADDRESS OF TENDERER

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

Email: materialsaft@lifecarehll.com

Website: www.lifecarehll.com

PH:  +91 471 2445930, 2442641

FAX: +91 471 2445935

PRICE BID

OPERATION & MAINTENANCE CONTRACT FOR BOILER & WATER PLANT

(TENDER NO- HLL/AFT/PUR/O&M OF B&WP/2020-23 Dtd 26/08/2020)

AT

AKKULAM FACTORY

Schedule - H

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2020-23                    	 			26.08.2020

PRICE BID SCHEDULE

- Name & Address of the Tenderer :	 ……… ………………………………….

……… ………………………………….

……… ………………………………….

……… ………………………………….

- The Tenderer shall quote his/her/its competitive rate for engaging labours for carrying out the work mentioned in the tender. The tenderer should essentially understand the Tender conditions and other requirements specified in the Technical Bid.

- The rate shall include Minimum Wage - including employee contribution of PF & ESI, Other Charges Including Employer’s PF & ESI contributions, accident insurance coverage charges, Bonus, Supervision /Service charges, Goods Service Tax (GST), Income Tax & Other Charges, if applicable and any other payments as per EPF, ESI, Bonus Acts etc or Rules applicable, at the rates prevalent. Wage calculation sheets shall also be attached with Price Bid.

- The tenderer shall submit Electronic Challan cum Return (ECR) for the previous wage month along with a copy of Challan which bears the bank acknowledgement, while submission of monthly bills. The ECR shall contain the details of labourers / workmen employed at HLL Lifecare Limited, Akkulam duly highlighted with marker pen".

- Tenderer shall submit the bill on monthly basis and the bill shall be prepared based on actual deployment (Attendance) of personnel.

- Separate Bill shall be submitted for Ash Removal (Monthly), Quarterly and Annual Maintenance.

- Fee & Levies to the statutory bodies to be paid for the operation of Boiler will be borne by HLL.

- Monthly Bill shall be submitted before 5th of every month to the officer in charge along with the attendance statement.

HLL/AFT/PUR/O&M OF B&WP/2020-23 							                    	 		   26.08.2020

### PRICE BID FORM

| OPERATION & MAINTENANCE CONTRACT FOR BOILER & WATER PLANT |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| I | MAN POWER COST |  |  |  |  |  |  |
| SL No (A) | Description (B) | No.of Persons / Day (C) | Cost of Manpwer / Day (D) | Service Charge / Day (E) | Total Manpower Cost / Day (F=C X D) | Total Service Charges / Day (G=C X E) | Total Cost per Day (H=F+G) |
| I.A | Operator | 9 |  |  |  |  |  |
| I.B | TOTAL COST PER MONTH (31 DAYS) |  |  |  |  |  |  |
| I.C | TOTAL COST / YEAR (12 MONTHS) |  |  |  |  |  |  |
| II | MONTHLY/QUARTERLY/YEARLY MAINTENANCE COST |  |  |  |  |  |  |
| SL No (A) | Description (B) |  |  | No.of Maintenance / Year (C) |  | Cost / Maintenance (D) | Total Cost (E = C X D) |
| II.A | Ash Removal from Chimney Hood (Twice in a month Basis) |  |  | 24 Nos |  |  |  |
| II.B | Fire Tube Cleaning [Boiler No- 1 & 2] |  |  | 6 Nos |  |  |  |
| II.C | Annual Maintenance Cost [Boiler No- 1 & 2] |  |  | 2 Nos |  |  |  |
| II.D | TOTAL MAINTENANCE COST / YEAR (II.A + II.B + II.C) |  |  |  |  |  |  |
| III | SUB TOTAL (II.D + I.C ) |  |  |  |  |  |  |
| IV | GST (18%) |  |  |  |  |  |  |
| V | GRAND TOTAL/ANNUM (III + IV) |  |  |  |  |  |  |

* Service Charges shall remain constant during the entire contract period even if any revision to the existing statutory rates and any extension to contract.

| BREAK UP OF COSTING FOR BOILER & WATER PLANTOPERATOR |  |  |
| --- | --- | --- |
| SL No (A) | Description (B) | Amount per Month per Person (Rs.) (C) |
| I | OPERATOR |  |
| I.A | Wages including DA / Day (Shift Duty) |  |
| I.B | Add ESI @ 3.25% |  |
| I.C | Add EPF @ 13.00% |  |
| I.D | Add Bonus @ 8.33% |  |
| I.E | SUB TOTAL ( I.A+1.B+I.C+I.D+I.E ) |  |
| I.F | Service Charge, Including all Overheads (Lump sum) |  |
| I.G | TOTAL ( I.F+I.G ) |  |

      - Service Charges shall remain constant during the entire contract period even if any revision to the existing statutory rates and any extension to contract.

      - Total Wages shall include DA, ESI (3.25%), PF (13.00%) & Bonus (8.33%, Maximum of Rs.583/-) and other statutory payments.

      - Statutory Deductions such as PF (12%) & ESI (0.75%) of Employee shall be deducted and to be paid to the authorities.

(SEAL OF THE TENDERER)					SIGNATURE OF THE TENDERER

DATE 					                       	NAME & ADDRESS

Schedule - I

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2020-23                    	 			26.08.2020

###### D E C L A R A T I O N

I / We am/are fully aware of the statutory obligations to be complied with respect to this offer and on awarding the work to me/us, I/We will be responsible for all the statutory/legal aspects like Labour, GMP etc. I/We have also fully understood the nature of work and costs involved. The rates quoted by me/us in this bid covers minimum wages and in case work is awarded, during the period of contract I/We will not claim any upward revision in the rate.