##### HLL LIFECARE LIMITED

AKKULAM  FACTORY,   SREEKARIAM  P.O.  THIRUVANANTHAPURAM - 17

Sub: Tender for Renovation ELECTRICAL WORKS for ART IVF CENTER

Amendment to TENDER NOTICE

at IMCH, Medical College Hospital, Kozhikode

BID REFERENCE : IFB NO: HLL/AFT/IMCH/ART-IVF/2014-15/II dtd 25/11/2014

.DATE OF    RECEIPT & OPENING OF TENDER

| Sl No | Original Tender Details | # Amended Tender Details |
| --- | --- | --- |
| 1. | a) Date of receipt of Bid is: 15/12/2014, 14.00 HRS b) Date of Opening of Technical Bid is: 15/12/2014, 14.30 HRS | - Date of receipt of Bid is: 18/12/2014, 14.00 HRS b) Date of Opening of Technical Bid is: 18/12/2014, 14.30 HRS |

SECTION IX

## HLL LIFECARE LIMITED

Akkulam Factory, THIRUVANANTHAPURAM-695017

IFB NO: HLL/AFT/IMCH/ART-IVF/2014-15/II

| REVISED PRICE BID (SCHEDULE) ELECTRICAL WORKS FOR ART IVF AT IMCH, MCH KOZHIKODE |  |  |
| --- | --- | --- |
| (TO BE SUBMITED IN SEPARATE SEALED COVER) |  |  |

| Sl.No | DESCRIPTION | UNIT | QTY | Rate | Amout Rs: |
| --- | --- | --- | --- | --- | --- |
| 1 | Point wiring in PVC conduit with modular type switch. |  |  |  |  |
|  | Wiring for light point/fan point/exhaust fan point /call bell point with 1.5 sq mm FR PVC insulated copper conductor single core cable in surface/recessed medium class PVC conduit, with modular switch, modular plate, suitable PVC box and earthing the point with 1.5 sq.mm FR PVC insulated copper conductor single core cable etc as required. |  |  |  |  |
|  | Group C | Point | 50 |  |  |
| 2 | Wiring through PVC conduit |  |  |  |  |
|  | Wiring for circuit/submain wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed medium class PVC conduit as required. |  |  |  |  |
| a | 2X1.5 sq.mm + 1X1.5 sq.mm earth wire | Metre | 600 |  |  |
| b | 2X2.5 sq.mm + 1 X2.5 sq mm earth wire | Metre | 625 |  |  |
| c | 2X4 sq.mm + 1X4 sq.mm earth wire | Metre | 575 |  |  |
| 3 | A/C point |  |  |  |  |
|  | S/F 20A SPN MCB industrial socket outlet: Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | Point | 15 |  |  |
| 4 | Modular type blanking plate: |  |  |  |  |
|  | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. (Make: Legrand.) | Each | 45 |  |  |
| 5 | Modular boxes, bases & cover plate: |  |  |  |  |
|  | Supplying and fixing following size/modules, PVC/GI box along with modular base & cover plate for modular switches in recess etc as required.(Make: Legrand.) |  |  |  |  |
| a | 2 module | Each | 5 |  |  |
| b | 3 module | Each | 6 |  |  |
| c | 6 module | Each | 65 |  |  |
| d | 8 module | Each | 5 |  |  |
| 6 | Modular type switch/socket: |  |  |  |  |
|  | Supplying and fixing following modular switch/socket on the existing modular plate & switch box including connections but excluding modular plate etc as required.(Make: Legrand.) |  |  |  |  |
| a | 5/6 Amps switch | Each | 75 |  |  |
| b | 3 pin 5/6 Amp socket outlet | Each | 75 |  |  |
| c | 15/16 Amps switch | Each | 48 |  |  |
| d | 6pin 15/16 Amps (universal) socket outlet | Each | 48 |  |  |
| e | Telephone socket outlet | Each | 2 |  |  |
| 7 | Telephone wiring in existing conduit: |  |  |  |  |
|  | Supplying and drawing following pair 0.5 sq mm FR PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. |  |  |  |  |
| a | 2 Pair | Metre | 70 |  |  |
| 8 | S/F PVC conduit: |  |  |  |  |
|  | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. |  |  |  |  |
| a | 20 mm | Metre | 90 |  |  |
| 9 | Supplying and fixing stepped type electronic fan regulator-modular on the existing modular plate switch box including connections but excluding modular plate etc. as required. | Each | 8 |  |  |
| 10 | ITC Fluorescent fitting directly on surface: Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable and earthing etc. as required. | Each | 26 |  |  |
| 11 | ITC Ceiling fan: Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable etc. as required. | Each | 8 |  |  |
| 12 | ITC Exhaust fan: Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. |  |  |  |  |
|  | Upto 450 mm sweep | Each | 4 |  |  |
| 13 | CABLE LAYING |  |  |  |  |
|  | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1kV grade of following size clamped on wall surface with 1mm thick saddles as required complete. |  |  |  |  |
| a | From VDB to LDB |  |  |  |  |
|  | 4X10 sq.mm | Metre | 15 |  |  |
| b | From VDB to PDB |  |  |  |  |
|  | 4X16 sq.mm | Metre | 45 |  |  |
| c | From KSEB panel to DG & DG to VDB |  |  |  |  |
|  | 3.5X35 sq.mm | Metre | 180 |  |  |
| 14 | END TERMINATION |  |  |  |  |
|  | Supply and making end termination with brass compression gland, earth clip and aluminium lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable for 1.1KV grade as required. |  |  |  |  |
| a | 4X10 sq.mm | Each | 2 |  |  |
| b | 4X16 sq.mm | Each | 4 |  |  |
| c | 3.5X35 sq.mm | Each | 2 |  |  |
| 15 | Supplying and fixing call bell/ buzzer suitable for single phase,230 volts, complete as required. | Each | 2 |  |  |
| 16 | Angle batten (including CFL) |  |  |  |  |
|  | Supplying and fixing PVC angle batten/batten holder with 18W CFL(Make:Havells/Philips) including connection as required. | Each | 5 |  |  |
| 17 | Supply of 1x28W flourescent tube fitting sleek with decorative end cap, powder coated CRCA steel channel complete with all electrical accessories like electronic ballast, lamp holder, 28W T5 lamp etc complete as required. (Philips TMS 540 HF / Wipro WRF 80128 SG) | Each | 20 |  |  |
| 20 | Supply of ceiling fan 1200 mm sweep, double ball bearing, approved colour and quality with original down rod,suspension shackle,canopy etc with out regulator complete with all accessories as required. | Each | 8 |  |  |
| 21 | Supply of medium duty exhaust fan 300 mm sweep, metal blades of approved colour, for single phase 230 volt, 50Hz AC supply complete with motor, capacitor, metal grill cover and all accessories as required complete. | Each | 2 |  |  |
| 22 | S/F Vertical Type TP MCB DB: |  |  |  |  |
|  | Supplying and fixing following ways surface/recess mounting, vertical type 415 volts, TPN MCB distribution board of sheet steel , dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's with provision of 100 amps TP 16 KA MCCB as incomer, interconnection between incomer MCCB and bus bars(but without MCB's /MCB) as required.(Make: Legrand.) |  |  |  |  |
|  | 4 way, double door | Each | 1.00 |  |  |
| 22.1 | S/F of FP Isolators |  |  |  |  |
|  | Supplying and fixing following rating, four pole, (three phase and neutral) 415 volts isolators in the existing Vertical DB as incomer complete with connections, testing and commissioning etc as required.(Make: Legrand.) |  |  |  |  |
|  | 100 A, 4P isolator | Each | 1.00 |  |  |
| 22.2 | S/F of TP MCB |  |  |  |  |
|  | Supplying and fixing 6 amps to 63 amps rating, 415 Volts, "C" series, miniature cirucuit breaker suitable for lighting and other loads of following poles in the existing MCB DB complete with connections, testing and commissioning etc as required.(Make: Legrand.) |  |  |  |  |
|  | 32/40A TP MCB | Each | 1.00 |  |  |
|  | 63A TP MCB | Each | 2.00 |  |  |
| 23 | S/F of TPN MCB PDB |  |  |  |  |
|  | Supplying and fixing following way, three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/recess, complete with tinned copper bus bar, neutral busbar, earth bar, din bar, detachable gland plate, interconnections, phosphatised and powder painted including earthing etc. as required (But without MCB/ RCBO/isolator) (Make: Legrand.) |  |  |  |  |
|  | 8 way (8+24) Double door, horizontal type. | Each | 1.00 |  |  |
|  | 12 way(8 + 36) Double door, horizontal type | Each | 1.00 |  |  |
| 23.1 | S/F of TPN RCBO |  |  |  |  |
|  | Supplying and fixing following rating, four pole, (three phase and neutral) 415 volts RCBO, having a sensitivity current upto 100/300 milliamperes in the existing MCB PDB complete with connections, testing and commissioning etc. as required.(Make: Legrand.) |  |  |  |  |
|  | 63 A 4P RCBO 100mA | Each | 2.00 |  |  |
| 23.2 | S/F of SP MCB |  |  |  |  |
|  | Supplying and fixing 6 amps to 32 amps rating, 240 Volts, "C" series, miniature cirucuit breaker suitable for power loads of following poles in the existing MCB DB complete with connections, testing and commissioning etc as required.(Make: Legrand.) |  |  |  |  |
|  | 15A SP MCB | Each | 60.00 |  |  |
| 24 | TPN MCB LDB |  |  |  |  |
|  | Supplying and fixing following way, three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/recess, complete with tinned copper bus bar, neutral busbar, earth bar, din bar, detachable gland plate, interconnections, phosphatised and powder painted including earthing etc as required(But without MCB/RCBO /isolator) (Make:Legrand) |  |  |  |  |
|  | 4 way (4+12), double door | Each | 1.00 |  |  |
| 24.1 | S/F of TPN RCBO |  |  |  |  |
|  | Supplying and fixing following rating, four pole, (three phase and neutral) 415 volts RCBO, having a sensitivity current upto 30 milliamperes in the existing MCB LDB complete with connections, testing and commissioning etc. as required.(Make: Legrand.) |  |  |  |  |
|  | 32/40 A 4P RCBO 30mA | Each | 1.00 |  |  |
| 24.2 | S/F of SP MCB |  |  |  |  |
|  | Supplying and fixing 6 amps to 10 amps rating, 240 Volts, "C" series, miniature cirucuit breaker suitable for lighting and other loads of following poles in the existing MCB DB complete with connections, testing and commissioning etc as required.(Make: Legrand.) |  |  |  |  |
|  | 6/10A SP MCB | Each | 12 |  |  |
| 25 | CABLE SUPPLY |  |  |  |  |
|  | Supplying the following PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade as per CPWD standards as required. (Make:Havells/ Glostar/Nicco) |  |  |  |  |
| a | 4X10 sq.mm | Metre | 15 |  |  |
| b | 4X16 sq.mm | Metre | 45 |  |  |
| c | 3.5X35 sq.mm | Metre | 180 |  |  |
| 26 | Supplying and laying 4 SWG Copper wire on, surface or in recess for loop earthing along with existing surface/recessed conduit/submain wiring/ cable as required. | Metre | 50 |  |  |
| 27 | Supplying and laying 10 SWG Copper wire on, surface or in recess for loop earthing along with existing surface/recessed conduit/submain wiring/ cable as required. | Metre | 80 |  |  |
| 28 | Supply and pointing exhaust fan shutter type white colour-9"/10" | Each | 8 |  |  |
| 29 | Pipe earthing with G.I. earth pipe 2.5 metre, long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt ) as required complete. | Set | 3 |  |  |
| 30 | WORK COMPLETION |  |  |  |  |
| 30.1 | Leading, Positioning, Installation, testing and commissioning of 40 kVA DG set with all its accessories (including filling of diesel of 50 Litre, test certificate for CT & Energy meter)as req. complete | LS | _ |  |  |
| 30.2 | Preparation of all drawings submitting and getting approval from Electrical Inspectorate, submitting of Completion certificates and arranging inspection, getting sanction and energisation certificates from Electrical Inspectorate & KSEB, obtaining power allocation & power connection etc. for commissioning of the whole installation in the premises. All the above said statutory payments will be reimbursed on production of the original reciepts. | LS | _ |  |  |
| 30.3 | Miscellaneous electrical work, removing of existing conduits and interconnections of light,6A socket/16A socket/A/C point from exisitng DB | LS | _ |  |  |
| Total Rs: |  |  |  |  |  |

Signature of Tenderer

All other terms and conditions in the original Tender Notice and tender documents remain same and unchanged.

Joint General Manager (Materials)