##### HLL LIFECARE LIMITED

AKKULAM  FACTORY,   SREEKARIAM  P.O.  THIRUVANANTHAPURAM - 17

ADDENDEM TO TENDER NOTICE

## Sub: Tender for Supply of Generators 5, 15 & 25 KVA

BID REFERENCE : IFB NO: HLL/AFT/TDG/HP/2013-14/014 Dt.22/11/2013

| Sl No | Original Tender Details | # ADDENDEM to Tender Details |
| --- | --- | --- |
| 1. | Section V Technical Specifications Schedule A, B & C Warranty The Engine, Alternator, Battery and other accessories shall be warrantied for a period of 12 Months from the date of commissioning. Necessary Certificates of Warranty shall be submitted along with the DG Set. Supplier has to provide service support within 8 Hours from the date of commissioning. | Section V Technical Specifications Schedule A, B & C Warranty 1) The Engine, Alternator, Battery and other accessories shall be warrantied for a period of 12 Months from the date of commissioning. Necessary Certificates of Warranty shall be submitted along with the DG Set. 2) Supplier has to provide periodic Preventive Maintenance service. 3) Breakdown Maintenance support, for entire warranty period, shall be provided within 8 Hours of intimation of breakdown. 4) Preventive Maintenance service & Breakdown maintenance service support from the part of DG supplier includes: - Periodic change of Engine oil, filter etc at the cost of supplier including consumables like Engine oil, filter etc. - Replacement of all requisite spares and accessories. - All other consumables as required for the service. - Battery consumables like distilled water etc., shall be under the scope and cost of DG supplier. - Transportation, loading unloading of consumables, spares and accessories brought for maintenance service and service charges. |

All other terms and conditions in the original Tender Notice and tender documents remain same and unchanged.

JGM (Materials)