###### ITEM: NEEDLE FOR SURGICAL SUTURE

TENDER NO. HLL/AFT/PUR/Sut/Needle/I/2016-18

##### TECHNO-COMMERCIAL BID

Date : 22nd February 2016

ÊxÉÊ´ÉnùÉ ºÉÚSÉxÉÉ

TENDER NOTICE

´É¹ÉÇ 2016-18 Eäò Ê±ÉB ½þ¨ÉÉ®úÒ आक्कुलम   ¡èòC]õ®úÒ ÊiÉ¯û´ÉxÉxiÉ{ÉÖ®ú¨É , नीडिल फॉर सर्जिकल सुचर

Ê´ÉÊxÉ¨ÉÉÇhÉ /|ÉÉÊvÉEÞòiÉ BVÉx]õÉå ºÉä ¦ÉÉ®úiÉ / विदेश ¨Éå Ê´ÉÊxÉÌ¨ÉiÉ =i{ÉÉnùÉå Eäò Ê±ÉB ÊxÉvÉÉÇÊ®úiÉ|É{ÉjÉ ¨Éå nùÉä ¤ÉÉä±ÉÒ |ÉhÉÉ±ÉÒ (iÉEòxÉÒEòÒ / ´ÉÉÊhÉVªÉù) Eäò +vÉÒxÉ ¨ÉÖ½þ®ú¤ÉÆÊnùiÉ +Éè®ú ={ÉÊ®úÊ±ÉÊJÉiÉ ÊxÉÊ´ÉnùÉBÄ +É¨ÉÆÊjÉiÉ ÊEòªÉÉ VÉÉiÉÉ ½èþ

Sealed and superscribed tenders under Two Bid System (Techno-Commercial) in the prescribed form are invited for products manufactured in India / aboroad from Manufacturer(s)/Authorised agents for the supply of Supply of Needle for Surgical Suture to our Akkulam Factory for the year 2016-18.

iÉEòxÉÒEòÒ Ê´ÉÌxÉnäù¶É, +xÉÖ¨ÉÉÊxÉiÉ ¨ÉÉjÉÉBÆ +Éè®ú +xªÉ ÊxÉ¤ÉÆvÉxÉ B´ÉÆ ¶ÉiÉç ÊxÉÊ´ÉnùÉ nùºiÉÉ´ÉäVÉÉå ¨Éå ÊnùªÉä VÉÉiÉä ½éþ, VÉÉä     |ÉiªÉäEò ÊxÉÊ´ÉnùÉ Eäò Ê±ÉB BSÉB±ÉB±É ±ÉÉ<¡òEäòªÉ®ú Eäò xÉÉ¨É {É®ú ÊiÉ¯û´ÉxÉxiÉ{ÉÖ®ú¨É ¨Éå näùªÉ ¯û{ÉB 1040.00 EòÉ b÷Òb÷Ò näùEò®ú 22.02.2016 ºÉä {ÉÚ´ÉÉÇ¼xÉ 10.30 ¤ÉVÉä ºÉä +{É®úÉ¼xÉ 3.00¤ÉVÉä iÉEò ½þ¨ÉÉ®äú EòÉªÉÉÇ±ÉªÉ Eäò ÊEòºÉÒ ¦ÉÒ EòÉªÉÇ Ênù´ÉºÉ {É®ú |ÉÉ{iÉ ÊEòªÉÉ VÉÉ ºÉEòiÉÉ ½èþ* ªÉÊnù nùºiÉÉ´ÉäVÉ b÷ÉEò uùÉ®úÉ +{ÉäÊIÉiÉ ½èþ iÉÉä ÊxÉÊ´ÉnùÉ nùºiÉÉ´ÉäVÉÉå EòÒ ±ÉÉMÉiÉ Eäò +ÊiÉÊ®úHò b÷ÉEò/ EòÉäÊ®úªÉ®ú SÉÉVÉÇ EòÒ +Éä®ú ¯û{ÉB 50 EòÉ +ÊiÉÊ®úHò SÉÉVÉÇ ¦ÉÖMÉiÉÉxÉ ÊEòªÉÉ VÉÉB* b÷Ò b÷Ò BSÉB±ÉB±É ±ÉÉ<¡òEäòªÉ®ú Eäò xÉÉ¨É {É®ú ÊiÉ¯û´ÉxÉxiÉ{ÉÖ®ú¨É ¨Éå näùªÉ ÊEòºÉÒ ®úÉ¹]ÅõÒªÉEÞòiÉ ¤ÉéEò EòÉ ½þÉäxÉÉ SÉÉÊ½þB*

The technical specification, approximate quantities and other terms and conditions are given in the Tender documents, which can be had from our office on any working day from 22/02/2016 between 10.30 A.M to 3.00P.M by paying INR.1040.00 DD (inclusive of KVAT) for each tender in favour of HLL Lifecare Limited, Akkulam payable at Trivandrum. In case of overseas bidders bid documents may be obtained on payment of USD. 15.00 in from of Demand draft in favour of HLL payable at Trivandrum If the documents are required by Post, an additional charge of Rs.50/- may be remitted towards postal/courier charges, in addition to the cost of tender documents.  The DD should be drawn on a Nationalised Bank favoring HLL Lifecare Limited, payable at Thiruvananthapuram.

Ê´É´É®úhÉ ½þ¨ÉÉ®äú ´Éä¤ÉºÉÉ<]õ www.lifecarehll.com ºÉä Ê¨É±É ºÉEòiÉÉ ½èþ * ÊxÉÊ´ÉnùÉEòÉ®ú ½þ¨ÉÉ®äú ´Éä¤ÉºÉÉ<]õ & ºÉÒ {ÉÒ {ÉÒ {ÉÉä]Çõ±É ºÉä nùºiÉÉ´ÉäWÉ b÷É=hÉ±ÉÉìb÷ ÊEòªÉÉ VÉÉ ºÉEòiÉÉ ½èþ +Éè®ú BäºÉÒ ÎºlÉÊiÉ ¨Éå ÊxÉÊ´ÉnùÉ ¶ÉÖ±Eò, iÉEòxÉÒEòÒ ¤ÉÉä±ÉÒ Eäò ºÉÉlÉ b÷Òb÷Ò uùÉ®úÉ +nùÉ ÊEòªÉÉ VÉÉxÉÉ SÉÉÊ½þB*

The details can also be had from our Website at www.lifecarehll.com. The tenderers can download the documents from our website and in such case the tender fee should be paid by way of DD along with technical bid.

iÉEòxÉÉä-´ÉÉÊhÉVªÉ ¤ÉÉä±ÉÒ nùºiÉÉ´ÉäVÉÉå EòÉä VÉÉ®úÒ Eò®úxÉä EòÒ +ÆÊiÉ¨É iÉÉ®úÒJÉ B´ÉÆ ºÉ¨ÉªÉ 11.03.2016 ¨ÉvªÉÉ¼x 1.00 ¤ÉVÉä iÉEò ½þÉäMÉÉ* ºÉÆ{ÉÚhÉÇ ÊxÉÊ´ÉnùÉBÆ BSÉB±ÉB±É ±ÉÉ<¡òEäòªÉ®ú ¨Éå ÊxÉÊ´ÉnùÉ ºÉÆJªÉÉ ={ÉÊ®úÊ±ÉÊJÉiÉ ¨ÉÖ½þ®ú¤ÉÆÊnùiÉ Ê±É¡òÉ¡äò ¨Éå 14.03.2016, 2.30 ¤ÉVÉä iÉEò Ê¨É±ÉxÉÉ SÉÉÊ½þB*

The last date & time of issue of Techno-commercial Bid documents will be upto 11/03/2016; 1.00 P.M.  Completed tenders in sealed cover superscribed with Tender Nos. should reach HLL latest by 14/03/2015; 2.30 PM.

ºÉÆGò¨ÉhÉ ¨Éå ½Öþ<Ç ÊEòºÉÒ Ê´É±É¨¤É Eäò Ê±ÉB BSÉB±ÉB±É ±ÉÉ<¡òEäòªÉ®ú Ê±ÉÊ¨É]äõb÷ =kÉ®únùÉªÉÒ xÉ½þÓ ½þÉäMÉÉ*

HLL will not be responsible for any delay in transit.

iÉEòxÉÒEòÒ ¤ÉÉä±ÉÒ ¨Éå ªÉÉäMªÉiÉÉ|ÉÉ{iÉ ÊxÉÊ´ÉnùÉEòÉ®úÉå EòÒ ¨ÉÚ±ªÉ¤ÉÉä±ÉÒ ¨ÉÉjÉ JÉÉä±ÉÒ VÉÉBMÉÒ*

The Price Bid of those Tenderers who qualify in the Technical Bid only will be      opened.

¨ÉÚ±ªÉ ¤ÉÉä±ÉÒ JÉÉä±ÉxÉä EòÒ iÉÉ®úÒJÉ B´ÉÆ ºÉ¨ÉªÉ +±ÉMÉ °ü{É ºÉä ºÉÚÊSÉiÉ ÊEòªÉÉ VÉÉBMÉÉ* iÉEòxÉÒEòÒ ¤ÉÉä±ÉÒ ¨ÉÚ±ªÉÉÆEòxÉ      ¨Éå +ªÉÉäMªÉiÉÉ|ÉÉ{iÉ ÊxÉÊ´ÉnùÉEòÉ®úÉå EòÒ ¨ÉÚ±ªÉ¤ÉÉä±ÉÒ Ê¤ÉxÉÉ JÉÉä±Éä ´ÉÉ{ÉºÉ EòÒ VÉÉBMÉÒ*

The date and time of opening of Price bid will be intimated separately. The Price Bids of Tenderers who do not qualify in the Technical bid evaluation will be returned unopened.

xÉªÉä Ê´ÉGäòiÉÉ+Éå B´ÉÆ Ê´ÉGäòiÉÉ Ê´ÉEòÉºÉ EòÉªÉÇGò¨É Eäò +vÉÒxÉ +ÉxÉä´ÉÉ±ÉÉå EòÒ ¨ÉÚ±ªÉ ¤ÉÉä±ÉÒ Ê´ÉGäòiÉÉ Ê´ÉEòÉºÉ       |ÉÉä]õÉäEòÉì±É ¨Éå ªÉlÉÉ ÊxÉvÉÉÇÊ®úiÉ xÉ¨ÉÚxÉÉ EòÒ |ÉºiÉÖiÉÒEò®úhÉ B´ÉÆ ºÉÆªÉÆjÉ {É®úÒIÉhÉ EòÒ ºÉ¨ÉÉÎ{iÉ Eäò ¤ÉÉnù ¨ÉÉjÉ JÉÉä±ÉÒ  VÉÉªÉäMÉÒ*

The Price Bid of new vendors and those under vendor development programme will be opened only after submission of sample and successful completion of plant trial as laid down in the vendor development protocol.

संयुक्त  महाप्रबंधक (सामग्री) / JT. GENERAL MANAGER (MATERIALS)

Date: 22nd February, 2015

M/s.

Dear Sirs,

Sub:	 Tender Forms for Technical Bid & Price Bid

We are enclosing herewith the Techno-Commercial Bid & Price Bid Tender Forms.

The Tender Forms are to be duly filled up in duplicate, signed and returned, in a sealed cover superscribed with the above Tender No., the due date and date of opening, addressed to the JOINT GENERAL MANAGER (MATERIALS), HLL LIFE CARE LIMITED, AKKULAM FACTORY, SREEKARIYAM P.O., THIRUVANANTHAPURAM-695017.

The last date & time of receipt of Bids 	:  14/03/2016; 2.30 P.M

Date & Time of opening of Technical Bid 	:  14/03/2016; 3.00P.M

The details can also be had from our Website at www.lifecarehll.com.

Incomplete tender is likely to be rejected without any further correspondence.

Yours faithfully,

For HLL LIFECARE LIMITED.

JOINT  GENERAL MANAGER (MATERIALS)

Encl: As above

###### CONTENTS OF BID DOCUMENT

### I.	INSTRUCTION TO BIDDERS:

### II.	 TECHNICAL BID FORMS

1. Schedule A	-	Specification & Quantity

2. Schedule B	-	Questionnaire for minimum eligibility criteria

3. Schedule C	-	Questionnaire - General information of the

Manufacturer / Supplier

4. Schedule D	-	Terms & conditions

5. Schedule E	-	Questionnaire for Vendor Development

6. Schedule F       -      Declaration accepting Terms and Conditions of

the Tender

### III.	 PRICE BID FORMS

1. SCHEDULE I      - RATE SCHEDULE FOR THIRUVANANTHAPURAM

(For Domestic suppliers)

2. SCHEDULE II     - RATE SCHEDULE FOR CIF THIRUVANANTHAPURAM

(For Overseas Bidders)

Page 1of 2

#### INSTRUCTIONS TO BIDDERS

- The Bid is intended to procure material as per specification in Schedule A

- The Bid consist of two parts:

- Technical Bid

- Price Bid

- The Technical Bid should be accompanied by Earnest Money Deposit (EMD) in the form of DD drawn in favour of M/s. HLL Lifecare Limited payable at Trivandrum for a sum of Rs. 2,00,000/- and in case of foreign suppliers USD. 2900.00, failing which the Tender is likely to be summarily rejected. The EMD submitted will be converted to Security Deposit and will be released at the end of contract period. SSI/MSME units interested in availing exemption from payment of Tender Fee & EMD should submit a valid copy of their registration certificate issued by the concerned DIC or NSIC. But the Party has to provide Security deposit if Tender is awarded to them.

- Technical & Price Bids should be in separate sealed covers.  Technical and Price Bids shall be superscribed as “Technical Bid “ and “Price Bid” on the respective covers in order to clearly identify between the two Bids.  These two bids should be submitted in a single sealed cover with the respective Tender No. mentioned thereon, complete in all respect, addressed to the Joint General Manager (Materials) HLL Lifecare Limited , Akkulam Factory, Sreekariyam P.O., Trivandrum – 695 017, on or before the due date and time mentioned in the Tender Notification.  HLL shall not be responsible for any delay, if any, in the delivery of the bidding document or non-receipt of the same.

- The validity of technical bid for two years (2016-18) and price bid is for one year (2016-17)

- Bid submission / Bid opening date

The last date & time of receipt of Bids    :     14/03/2016;  2.30 PM

Date & Time of opening of Technical Bid:    14/03/2016;  3.00PM

## In the event of the date mentioned above being declared subsequently as holiday for the purchaser’s office, the due date for submission and opening of bids will be the next working day at the same venue and time.

## Page 2 of 2

#### INSTRUCTIONS TO BIDDERS

- Bids received after the deadline for submission shall not be considered.

- The Bidder is expected to examine all specifications, Instructions, Forms, Terms and conditions given in the Bidding documents. Failure to furnish all information required in the Bidding documents or submission of a Bid not substantially responsive to the bidding documents in every respect will be at the Bidders risk and may result in rejection of the Bid

- Any clarification required will have to be obtained one week prior to the Date of opening of the Technical Bid.

- A certificate/Declaration as given in Schedule H stating that ALL TERMS AND CONDITIONS of this Tender is acceptable should accompany the tender failing which the tender is likely to be summarily rejected.

- The quantity mentioned herein are approximate annual requirement with staggered delivery and in case less or more quantity is required the suppliers should be prepared to effect supply at short notice on the same terms and conditions.

- (i) The Price Bid of those Tenderers who qualify in the Technical Bid only will be opened.  The date and time of opening of price bid will be intimated separately.

## (ii) The Price Bid of new vendors (Schedule E) and those under vendor development programme will be opened only after submission of sample and successful completion of plant trial as laid down in the vendor development protocol.

(iii) The Price Bids of Tenderers who do not qualify will be returned unopened.

………………………………….

SCHEDULE- A

Page 1 of 3

TECHNICAL BID

SPECIFICATION & QUANTITY OF :  Needle for Surgical Suture

| Material Number | Material Description |  | Quantity |  |
| --- | --- | --- | --- | --- |
|  |  |  | Dz |  |
| 1010420000 | NEEDLE-36MM, 1/2 CRB (C.T), PGA 1 |  | 200 |  |
|  | Specifications: Taper ratio: 1:12 (Increased taper length) USP Size: PGA 1 (Undyed) Wire diameter: 0.92+/-0.01mm Bore diameter: 0.55+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420001 | NEEDLE-16MM 1/2 CRB, HEAVY, PGA 2/0 |  | 100 |  |
|  | USP Size: PGA 2/0 Bore diameter: 0.42+/-0.01mm Wire diameter: 0.66+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420002 | NEEDLE-20MM 1/2 CRB, HEAVY, PGA 2/0 |  | 100 |  |
|  | USP Size: PGA 2/0 Bore diameter: 0.42+/-0.01mm Wire diameter: 0.78+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420003 | NEEDLE-26MM 1/2 CRB, PGA 2/0 |  | 100 |  |
|  | USP Size: PGA 2/0 Bore diameter: 0.42+/-0.01mm Wire diameter: 0.70+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420004 | NEEDLE -36MM, 1/2 CRB (C.T), PGA 2/0 |  | 100 |  |
|  | Specifications: USP Size: PGA 2/0 (Undyed) Taper point: 1:12 (Increased taper length) Wire diameter: 0.81+/-0.01mm Bore diameter: 0.42+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420005 | NEEDLE-30MM, 1/2 CRB (C.T), PGA 2/0 |  | 100 |  |
|  | Specifications: USP Size: PGA 2/0 (Undyed) Taper ratio: 1:12 (Increased taper length) Wire diameter: 0.81+/-0.01mm Bore diameter: 0.42+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420006 | NEEDLE-30MM, 1/2 CTC, USP 2/0 |  | 100 |  |
|  | Specification: USP size: PGA 2/0 (Braided) Wire diameter: 0.80+/-0.02mm Bore diameter: 0.42+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420007 | NEEDLE-3/8 CIRCLE CUTTING 19 MM, PGA 3-0 |  | 100 |  |
|  | 1. 3/8 circle cutting, 19mm, Needle for PGA suture undyed braided & coated, Usp Size:3-0. 2. Bore diameter: 0.31 to 0.35 3. Wire diameter: 0.58 to 0.62mm 4. Material: High quality martensitic stainless steel grade AISI-420. |  |  |  |
| 1010420008 | NEEDLE-16MM 1/2 CRB, HEAVY, PGA 3/0 |  | 100 |  |
|  | USP Size: PGA 3/0 Bore diameter: 0.33+/-0.01mm Wire diameter: 0.61+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420009 | NEEDLE-30MM 1/2 CRB, HEAVY, PGA 3/0 |  | 100 |  |
|  | USP Size: PGA 3/0 Bore diameter: 0.33+/-0.01mm Wire diameter: 0.71+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420010 | NEEDLE-40MM 1/2 CRB, HEAVY PGA 3/0 |  | 100 |  |
|  | USP Size: PGA 3/0 Bore diameter: 0.33+/-0.01mm Wire diameter: 0.78+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420011 | NEEDLE-12MM 5/8 CRC, PGA 4/0 |  | 100 |  |
|  | USP Size: PGA 4/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.51+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420012 | NEEDLE-13MM 3/8-CRC, PGA 4/0 |  | 100 |  |
|  | USP Size: PGA 4/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.51+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420013 | NEEDLE-13MM 5/8 CRC, PGA 4/0 |  | 100 |  |
|  | USP Size: PGA 4/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.51+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420014 | NEEDLE-16MM 3/8 CRC, PGA 4/0 |  | 100 |  |
|  | USP Size: PGA 4/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.54+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420015 | NEEDLE-16MM 5/8 CRC, PGA 4/0 |  | 100 |  |
|  | USP Size: PGA 4/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.54+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420016 | NEEDLE-30MM 1/2 CRB, HEAVY PGA 4/0 |  | 100 |  |
|  | USP Size: PGA 4/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.61+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420017 | NEEDLE-40MM 1/2 CRB, HEAVY PGA 4/0 |  | 100 |  |
|  | USP Size: PGA 4/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.70+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420018 | NEEDLE-12MM 5/8 CRC, PGA 5/0 |  | 100 |  |
|  | USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.46+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420019 | NEEDLE-13MM 3/8 CRC, PGA 5/0 |  | 100 |  |
|  | USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.46+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420020 | NEEDLE-13MM 5/8 CRC, PGA 5/0 |  | 100 |  |
|  | USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.46+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420021 | NEEDLE-16MM, 3/8 CRC, PGA 5/0 |  | 100 |  |
|  | NEDLE 16MM, 3/8 CIRCLE REVERSE CUTTING FOR PGA 5/0 SUTURES USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.46+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420022 | NEEDLE-16MM 5/8 CRC, PGA 5/0 |  | 100 |  |
|  | USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.46+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. Needle type:Drilled |  |  |  |
| 1010420023 | NEEDLE-20MM 1/2 CRB, HEAVY, PGA 5/0 |  | 100 |  |
|  | USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.54+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420024 | NEEDLE-30MM 1/2 CRB, HEAVY, PGA 5/0 |  | 100 |  |
|  | USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.54+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420025 | NEEDLE-40MM 1/2 CRB, HEAVY, PGA 5/0 |  | 100 |  |
|  | USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.72+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420026 | NEEDLE-16MM 1/2 CRB, HEAVY, PGA 0 |  | 100 |  |
|  | USP Size: PGA 0 Bore diameter: 0.47+/-0.01mm Wire diameter: 0.70+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420027 | NEEDLE-20MM, 1/2 CRB, HEAVY PGA 0 |  | 100 |  |
|  | USP Size: PGA 0 Bore diameter: 0.47+/-0.01mm Wire diameter: 0.84+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420028 | NEEDLE-40MM 1/2 CRC, PGA 0 |  | 100 |  |
|  | USP Size: PGA 0 Bore diameter: 0.47+/-0.01mm Wire diameter: 1+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420029 | NEEDLE-36MM 1/2 CRC, PGA 1 |  | 100 |  |
|  | USP Size: PGA 1 Bore diameter: 0.55+/-0.01mm Wire diameter: 1+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420030 | NEEDLE-36MM, 1/2 CRB (C.T), PGA 0 |  | 100 |  |
|  | USP Size: PGA 0 (Undyed) Taper ratio: 1:12 (Increased taper length) Wire diameter: 0.84+/-0.01mm Bore diameter: 0.47+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420031 | BLUNT NEEDLE-40MM, 1/2 CRB, PGA 1 |  | 100 |  |
|  | Blunt needle , 40mm, 1/2 circle round body, USP Size: PGA 1 (braided) Wire diameter: 0.92+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420032 | BLUNT NEEDLE-40MM, 1/2 CRB, PGA 0. |  | 100 |  |
|  | SPECIFICATION: Blunt needle 40mm, 1/2 circle round body. USP size: PGA 0 (braided) Wire diameter: 0.84+/-0.02mm Bore diameter: 0.47+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420033 | NEEDLE-30 MM, 1/2 CRB, PGA 0 |  | 100 |  |
|  | SUTURE SIZE: 0, 30mm,1/2circle,round body Bore diameter: 0.47+/-0.01mm. Wire diameter: 0.84+/-0.02mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420034 | NEEDLE-40 MM 1/2 CRB, PGA 0 |  | 200 |  |
|  | SUTURE SIZE: 0 40mm,1/2circle,round body Wire diameter: 1+/-0.02mm Bore diameter: 0.47+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420035 | NEEDLE-40 MM, 1/2 CTC, PGA 0 |  | 200 |  |
|  | SUTURE SIZE:1/0 40mm,1/2circle,taper cut Wire diameter: 1+/-0.02mm Bore diameter: 0.47+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420039 | NEEDLE-36MM, 1/2 CRC, OS needle,PGA 0 |  | 100 |  |
|  | 1. Bore diameter (mm): 0.47+/-0.02mm 2. Wire diameter (mm): 1.20+/-0.05mm MaterialMaterial:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420040 | NEEDLE-40MM, 1/2 CRB (C.T), PGA 1 |  | 100 |  |
|  | Specifications: Taper ratio: 1:12 (Increased taper length) USP Size: PGA 1 Wire diameter: 0.92 +/- 0.01mm Bore diameter: 0.55 +/- 0.01mm Material:High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420042 | NEEDLE-30 MM 1/2 CRB, USP 2-0 |  | 200 |  |
|  | SUTURE SIZE:2/0 30mm,1/2circle,round body Wire diameter: 0.80+/-0.02mm Bore diameter: 0.42+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420043 | NEEDLE-40 MM 1/2 CRB, PGA 2-0 |  | 200 |  |
|  | SUTURE SIZE:2/0 40mm,1/2circle round body. Wire diameter: 0.84+/-0.02mm Bore diameter: 0.42+/-0.02mm.\ Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420044 | NEEDLE-40 MM 1/2 CRC, PGA 2-0 |  | 200 |  |
|  | SUTURE SIZE:2/0 40mm,1/2circle,reverse cutting Wire diameter: 0.84+/-0.01mm Bore diameter: 0.42+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420045 | NEEDLE-26MM, 3/8 CIRCLE,CUTTING, USP 2-0 |  | 200 |  |
|  | Specification: Item name: Needle: NEEDLE-26MM, 3/8 CIRCLE CUTTING, USP 2-0-Ribbed & siliconised. 1.Wire diameter: 0.61+/-0.01mm 2. Bore diameter: 0.42+/-0.01mm 3. Suture material: Polyglycolic Acid, USP 2-0 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420047 | NEEDLE-36MM, 1/2 CRB, USP 2-0 |  | 100 |  |
|  | Specifications: USP size: PGA 2-0 Wire diameter: 0.84+/-0.02mm Bore diameter: 0.42+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420048 | NEEDLE-30MM, 1/2 CRC, USP 2/0 |  | 200 |  |
|  | Specification: USP size: PGA 2/0 (braided) Wire diameter: 0.80+/-0.02mm Bore diameter: 0.42+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420049 | NEEDLE-27MM, 5/8 CTC, USP 2-0 |  | 100 |  |
|  | SPECIFICATION: Needle: 27mm, 5/8 circle taper cutting. Suture size: PGA 2-0. Wire diameter: 0.71+/-0.02mm Bore diameter: 0.42+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420050 | NEEDLE-20 MM, 1/2 CRB, USP 3-0 |  | 200 |  |
|  | SUTURE SIZE:3/0 20mm,1/2circle,round body Wire diameter: 0.62+/-0.01mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420051 | NEEDLE-22 MM, 3/8 CIRCLE CUTTING,USP 3-0 |  | 500 |  |
|  | SUTURE SIZE:3/0 22mm,3/8circle,cutting Wire diameter: 0.70+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420052 | NEEDLE-12 MM 3/8 CRC, USP 3-0 |  | 200 |  |
|  | SUTURE SIZE:3/0 12mm,3/8circle,reverse cutting Wire diameter: 0.54+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420053 | NEEDLE-22MM,1/2 CIRCLE CUTTING, USP 3-0 |  | 200 |  |
|  | suture size:3/0(USP) Wire diameter: 0.70+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420054 | NEEDLE-17MM,1/2 CTC, USP 3-0 |  | 100 |  |
|  | SUTURE SIZE:3/0 Wire diameter: 0.60+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420055 | NEEDLE-36MM, 1/2 CTC, USP 3-0 |  | 100 |  |
|  | SUTURE SIZE:3/0 Wire diameter: 0.71+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420056 | NEEDLE-16MM, 3/8 CIRCLE CUTTING, USP 3-0 |  | 100 |  |
|  | Suture size:3/0 Wire diameter: 0.54+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High quality Martensitic grade,stainless steel Grade:AISI-420 |  |  |  |
| 1010420058 | NEEDLE-36MM, 1/2 CRB, USP 3-0 |  | 100 |  |
|  | Specifications: USP size: PGA 3-0 Wire diameter: 0.71+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420059 | NEEDLE-12 MM, 3/8 CRC, USP 4-0 |  | 100 |  |
|  | SUTURE SIZE:4/0 12mm,3/8circle,reverse cutting WIre diameter: 0.54+/-0.02mm Bore diameter: 0.28+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420060 | NEEDLE-20 MM 1/2 CRB, USP 4-0 |  | 100 |  |
|  | "Specification: Needle: 20mm, 1/2 circle round body Wire diameter: 0.54 +/- 0.01mm Bore diameter: 0.28 +/- 0.01mm Suture size: polyglycolic acid USP 4/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420061 | NEEDLE-16MM 1/2 CRB, USP 4/0 |  | 100 |  |
|  | Specification: Suture USP Size: 4/0 Wire diameter: 0.54+/-0.02mm Bore diameter: 0.28+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420062 | NEEDLE-16MM, 5/8 CIRCLE CUTTING, USP 4-0 |  | 100 |  |
|  | suture size:4/0 Material:high quality Martensitic grade stainless steel Grade;AISI-420 Bore dia 0.28 +/ -0.02mm Wire dia : 0.48 to 0.51mm |  |  |  |
| 1010420064 | NEEDLE-12 MM 3/8 CRC, USP 5-0 |  | 200 |  |
|  | SUTURE SIZE:5/0 12mm,3/8circle,reverse cutting Wire diameter: 0.48+/-0.02mm Bore diameter: 0.22+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420065 | NEEDLE-16MM,1/2 CRB, USP 5-0 |  | 100 |  |
|  | suture size:5/0(USP) Wire diameter: 0.48+/-0.02mm Bore diameter: 0.22+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420067 | NEEDLE-30mm, 1/2 CRB, USP 0 |  | 100 |  |
|  | Specification: USP Size: PGA 0 (Braided) Bore diameter: 0.47+/-0.01mm. Wire diameter: 0.84+/-0.02mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420068 | NEEDLE-45mm, 3/8 CRB, USP 1 |  | 100 |  |
|  | Specification: USP Size: PGA 1 (Braided) Wire diameter: 1.00+/-0.02mm Bore diameter: 0.55+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420069 | NEEDLE-30mm, 1/2 CRB, USP 2/0 |  | 100 |  |
|  | Specification: USP Size: PGA 2-0 (Braided) Wire diameter: 0.80+/-0.02mm Bore diameter: 0.42+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420070 | NEEDLE-40mm, 1/2 CRB USP 2/0 |  | 100 |  |
|  | Specification: USP Size: PGA 2/0 (Braided) Wire diameter: 0.84+/-0.02mm Bore diameter: 0.42+/-0.02mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420071 | NEEDLE-40 MM, 1/2 CRB, USP 1 |  | 500 |  |
|  | NEEDLE FOR PGA SUTURE(BRAIDED) 40 MM, 1/2 CIRCLE ROUND BODY SUTURE SIZE:1 (40mm,1/2circle,round body(heavy) ) Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420072 | NEEDLE- 40 MM, 1/2 CTC, USP 1 |  | 500 |  |
|  | NEEDLE FOR PGA SUTURE(BRAIDED) 40 MM, 1/2 CIRCLE TAPER CUT SUTURE SIZE:1 ( 40mm,1/2circle,taper cut(heavy)) Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420073 | NEEDLE-45 MM, 3/8 CRB, USP 1 |  | 200 |  |
|  | SUTURE SIZE:1 45mm,3/8circle,round body Wire diameter: 1+/-0.02mm Bore diameter: 0.55+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420074 | NEEDLE-50 MM 1/2 CRB, USP 1 |  | 200 |  |
|  | Specification: Item name: Needle: 50mm, ½ circle round body, heavy. -Ribbed & siliconised. 1.Wire diameter: 1.2+/-0.01mm 2. Bore diameter: 0.55+/-0.01mm 3. Suture material: Polyglycolic Acid, USP 1 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420075 | NEEDLE-50MM, 1/2 CRC,USP1 |  |  |  |
|  | Specification: suture size:1(usp) Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420077 | NEEDLE-40MM,1/2 CRC, USP 1 |  | 100 |  |
|  | 1. Bore diameter (mm): 0.55+/- 0.02MM 2. Wire diameter (mm):1.15+/-0.05mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420078 | NEEDLE-36mm, 1/2 CRB, USP 1 |  | 100 |  |
|  | Specifications: USP size: PGA 1 Wire diameter: 1.15+/-0.02mm Bore diameter: 0.55+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420079 | NEEDLE-36mm, 1/2 CRB, USP 0 |  | 100 |  |
|  | Specifications: USP size: PGA 0 Wire diameter: 1.00+/-0.02mm Bore diameter: 0.47+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420081 | NEEDLE-40MM, 1/2 CRB, HEAVY, USP 1 |  | 100 |  |
|  | Specification: Needle: 40mm, 1/2 circle round body, heavy. Suturesize: PGA Braided ,USP 1. Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality stainless steelGrade 300. |  |  |  |
| 1010420082 | NEEDLE-40MM, 1/2 CTC, HEAVY, USP 1 |  | 100 |  |
|  | Specification: Needle: 40mm, 1/2 circle taper cutting, heavy. Suture size: PGA (Braided), USP 1 Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality stainless steel Grade 300. |  |  |  |
| 1010420083 | NEEDLE-45MM, 3/8 CIRCLE CUTTING, USP 3/0 |  | 100 |  |
|  | Wire diameter: 0.71+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High quality martensitic stainless steel grade AISI-420. |  |  |  |
| 1010420084 | NEEDLE-16MM, 3/8 CRB, SILK 3/0 SUTURES |  | 100 |  |
|  | Suture Size: 3/0 Wire diameter: 0.54+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420085 | NEEDLE-26MM, 1/2 CRC, SILK 3/0 |  | 100 |  |
|  | Suture size: 3/0 Wire diameter: 0.71+/-0.01mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420087 | NEEDLE12MM, 3/8 CRB, SILK 5/0 |  | 100 |  |
|  | Suture size: 5/0 Wire diameter: 0.48+/-0.02mm Bore diameter: 0.23+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420088 | NEEDLE-30 MM 1/2 CRB, SILK 0 |  | 100 |  |
|  | SUTURE SIZE: 0 30mm,1/2circle,round body Wire diameter: 0.92+/-0.01mm Bore diameter: 0.48+/-0.01mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420090 | NEEDLE-45MM, 3/8 CRC, USP0 |  | 5000 |  |
|  | Specification: Suture size: Silk, USP 0 Wire diameter: 1+/-0.01mm Bore diameter: 0.47+/-0.01mm Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |  |
| 1010420091 | NEEDLE-30 MM, 1/2 CRB |  | 1000 |  |
|  | SUTURE SIZE:2/0 30mm,1/2circle,round body Wire diameter: 0.80+/-0.01mm Bore diameter: 0.42+/-0.01mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420092 | NEEDLE-45 MM 3/8 CRC, SILK 2-0 |  | 5000 |  |
|  | Specifications: Wire diameter: 1mm+/-0.02mm Bore diameter: 0.42+/-0.01mm SILK SUTURE: 2/0 45mm, 3/8circle,reverse cutting Material: High Quality Martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420093 | NEEDLE -25 MM 1/2 CTC, SILK 2-0 |  | 200 |  |
|  | SILK SUTURE: 2/0 25mm, 1/2circle,taper cutting 1. Bore diameter (mm): 0.40+/-0.02mm 2. Wire diameter (mm): 0.76+/-0.05mm. Material: High Quality Martens tic stainless steel Grade AISI-420. |  |  |  |
| 1010420094 | NEEDLE-50MM,1/2 CRC SILK 2-0 |  | 200 |  |
|  | Bore diameter 0.40 +/- 0.02 mm Wire diameter 1.10 +/- 0.05 mm suture size:2/0 Material :High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420097 | NEEDLE-36MM, 3/8CTC,SILK-2-0 |  | 100 |  |
|  | Specifications: USP size: Silk 2-0 Wire diameter: 0.80+/-0.02mm Bore diameter: 0.42+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420098 | NEEDLE-25 MM 1/2 CRB SILK |  |  |  |
|  | Specifications: SUTURE SIZE:3/0 Wire diameter: 0.70+/-0.01mm Bore diameter: 0.33+/-0.01mm 25mm,1/2circle,round body Material :High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420099 | NEEDLE-20 MM,1/2, CTR,SILK 3/0 |  | 500 |  |
|  | SUTURE SIZE:3/0 20mm,1/2circle,round body Wire diameter: 0.61 +/- 0.02mm Bore diameter: 0.33 +/- 0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420100 | NEEDLE-26 MM 3/8 CRC SILK 3/0 |  | 300 |  |
|  | SUTURE SIZE:3/0 26mm,3/8circle,reverse cutting Material :High Quality martensitic stainless steel Grade AISI-420. Resistance to corrosion :Corrosion resistant .Bore dia : 0.33 +/- 0.01 mm Wire dia : 0.68 to 0.70mm |  |  |  |
| 1010420101 | NEEDLE-16 MM 3/8 CIRCLE CUTTING |  | 1000 |  |
|  | Specifications: Wire diameter: 0.54+/-0.01mm Bore diameter: 0.33+/-0.01mm SUTURE SIZE:3/0 16mm,3/8circle,cutting Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420102 | NEEDLE -1/2 CRB SILK 3/0 |  | 300 |  |
|  | suture size; Silk 3/0, 35mm 1/2circle ,round body Braided Wire diameter: 0.70+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420103 | NEEDLE-36MM, 3/8 CTC SILK 3-0 |  | 100 |  |
|  | Specifications: USP size: Silk 3-0 Wire diameter: 0.70+/-0.02mm Bore diameter: 0.33+/-0.01mm Material :High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420105 | NEEDLE - 16 MM 3/8 CC SILK 4/0 |  | 1000 |  |
|  | SUTURE SIZE:4/0 16mm,3/8circle,cutting Wire diameter: 0.54+/-0.02mm Bore diameter: 0.28+/-0.01mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420107 | NEEDLE -1/2 CRB 16MM SILK 4/0 |  | 200 |  |
|  | Specifications: suture size 4/0 Wire diameter:0.54 +/-0.01mm Bore diameter: 0.28+/-0.01mm 16mm, 1/2 C, Round body Material :High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420108 | NEEDLE-5/0 12 MM 3/8 CRB SILK 5/0 |  | 300 |  |
|  | SILK SUTURE: 5/0 12mm, 3/8circle,round body Wire diameter: 0.46+/-0.02mm Bore diameter: 0.23+/-0.01mm Material: High Quality Martens tic stainless steel Grade AISI-420. |  |  |  |
| 1010420114 | needle-SILK 6/0,3/8 CRB 13mm |  | 200 |  |
|  | Specification: Wire diameter: 0.38+/-0.01mm Bore diameter: 0.18+/-0.01mm Material :High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420115 | NEEDLE - 60 MM 3/8 CC SILK 1 |  | 10000 |  |
|  | SUTURE SIZE:1 60mm,3/8circle,cutting 1. Bore Diameter (mm): 0.55+/-0.01mm 2. Wire diameter (mm): 1.20+/-0.05mm. Material :High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420116 | NEEDLE-36MM, 3/8 CTC SILK-1 |  | 100 |  |
|  | USP size: Silk 1 Wire diameter: 1+/-0.02mm Bore diameter: 0.55+/-0.01mm Material :High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420117 | Needle-3/8 CRC, 12mm PP: 0 |  | 100 |  |
|  | 1. Wire diameter: 0.78+/-0.02mm 2. Bore diameter: 0.47+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420119 | NEEDLE 25MM, 3/8 CC PP 3/0 |  | 100 |  |
|  | USP Size: Polypropylene 3/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.61+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420121 | NEEDLE FOR PP SUTURE |  | 500 |  |
|  | Specification: SUTURE SIZE:5/0 16mm,3/8circle,round body Wire diameter: 0.48+/-0.02mm Bore diameter: 0.19+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420122 | NEEDLE-12 MM 3/8 CRB PP 5/0 |  | 500 |  |
|  | Specifications: SUTURE SIZE:5/0 Wire diameter:0.48 +/-0.01mm Bore diameter: 0.19+/-0.01mm 12mm 3/8 C, Round body Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420123 | NEEDLE-16MM, 3/8 CRC PP 5-0 |  | 100 |  |
|  | SUTURE SIZE: PP 5-0 Wire diameter: 0.48+/-0.02mm Bore diameter: 0.19+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420124 | NEEDLE-3/8 CRC,12MM PP 6/0 |  | 300 |  |
|  | Suture size-6/0 Bore diameter: 0.15+/-0.01mm Wire diameter: 0.35+/-0.01mm high quality martensitic grade stainless steel-Grade-AISI-420 |  |  |  |
| 1010420125 | NEEDLE-PP 6/0,3/8 CRB,13MM |  | 300 |  |
|  | Suture size-6/0 (monofilament) Wire diameter: 0.36+/-0.02mm Bore diameter: 0.15+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420126 | NEEDLE-PP 6/0,3/8 CC,15MM PP |  | 100 |  |
|  | Specification: Suture size-6/0 Wire diameter: 0.36+/-0.02mm Bore diameter: 0.15+/-0.01mm Material :High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420127 | NEEDLE - 30 MM 1/2 CRB PP:0 |  | 2000 |  |
|  | SUTURE SIZE: 0 30mm,1/2circle,round body Wire diameter: 0.92+/-0.02mm Bore diameter: 0.45+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420128 | NEEDLE-25 MM 1/2 CTC PP:0 |  | 500 |  |
|  | SUTURE SIZE:0 25mm,1/2circle,taper cut Wire diameter: 0.80+/-0.02mm Bore diameter: 0.45+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420130 | NEEDLE-1/2 CRB 26MM PP-1/0 |  | 500 |  |
|  | Specifications: suture size-1/0 Wire diameter: 0.78 +/-0.01mm Bore diameter: 0.45+/-0.01mm 26mm 1/2 C, Round body Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420131 | NEEDLE-1/2CTC,30MM(HEAVY),PP1/0 |  | 300 |  |
|  | Specifications: suture size-1/0 Wire diameter: 1.0 +/-0.01mm Bore diameter: 0.45+/-0.01mm 30mm 1/2 C, Taper cutting, Heavy Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420132 | NEEDLE 30MM, 1/2 CC PP USP 0 |  | 100 |  |
|  | USP Size: Polypropylene: 0 Bore diameter: 0.45+/-0.01mm Wire diameter: 0.92+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420133 | NEEDLE 40MM, 1/2 CRB PP: 0 |  | 100 |  |
|  | USP Size: Polypropylene 0 Bore diameter: 0.45+/-0.01mm Wire diameter: 0.92+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420134 | NEEDLE 40MM, 1/2 CC PP: 0 |  | 100 |  |
|  | USP Size: Polypropylene 0 Bore diameter: 0.45+/-0.01mm Wire diameter: 0.92+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420135 | NEEDLE 45MM 1/2 CRB PP 0 |  | 100 |  |
|  | USP Size: Polypropylene 0 Bore diameter: 0.45+/-0.01mm Wire diameter: 1+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420136 | NEEDLE 45MM, 1/2 CC PP : 0 |  | 100 |  |
|  | USP Size: Polypropylene 0 Bore diameter: 0.45+/-0.01mm Wire diameter: 0.92+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420137 | NEEDLE - 30 MM 1/2 CRB PP2/0 |  | 3000 |  |
|  | "Specification: Needle: 30mm, 1/2 circle round body Wire diameter: 0.80 +/- 0.01mm Bore diameter: 0.36 +/- 0.01mm Suture size: polypropylene USP 2/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420138 | NEEDLE-25 MM 1/2 CTC PP 2/0 |  | 2000 |  |
|  | Needle: 25mm, 1/2 circle taper cutting Wire diameter: 0.78 +/- 0.01mm Bore diameter: 0.36 +/- 0.01mm Suture size: polypropylene USP 2/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420141 | NEEDLE-PP 3/0 25 MM 1/2 CRB |  | 1000 |  |
|  | Item name: Needle: NEEDLE-25MM, 1/2 CIRCLE ROUND BODY, POLYPROPYLENE- USP 3/0, Ribbed & Siliconised. 1. Wire diameter: 0.61 (-0.0+0.02)mm 2. Bore diameter: 0.28 (-0.01+0.02)mm 3. Suture material: Polypropylene, USP 3/0 (Monofilament) 4. All needles must be siliconised and ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420144 | NEEDLE-3/0, 22 MM, 3/8 CC PP |  | 2000 |  |
|  | SUTURE SIZE: Polypropylene USP 3/0, 22mm, 3/8circle, cutting Bore diameter: 0.27 to 0.29mm Wire diameter: 0.57 to 0.59mm Material: High Quality Martens tic stainless steel Grade AISI-420. |  |  |  |
| 1010420145 | NEEDLE 1/2 CTC 17MM,PP 3/0 |  | 300 |  |
|  | Specifications: USP Size: 3/0 Wire diameter: 0.60+/-0.01mm Bore diameter: 0.28+/-0.01mm material;high quality martensitic stainless steel Grade;AISI-420 |  |  |  |
| 1010420147 | NEEDLE-PP 4/0 16 MM 1/2 CRB |  | 300 |  |
|  | SUTURE SIZE:4/0 16mm,1/2circle,round body Wire diameter: 0.54+/-0.02mm Bore diameter: 0.25+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420148 | NEEDLE -3/8 CRC,12MM,PP 4/0 |  | 300 |  |
|  | Specifications: suture size-4/0 Wire diameter: 0.54 +/-0.01mm Bore diameter: 0.25+/-0.01mm 12mm, 3/8 C, Reverse cutting Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420150 | NEEDLE-16 MM 3/8 CRB |  | 500 |  |
|  | Specifications: SUTURE SIZE:5/0 16mm,3/8circle,round body Wire diameter: 0.48+/-0.02mm Bore diameter: 0.19+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420151 | NEEDLE-PP 5/0 12 MM 3/8 CRC |  | 300 |  |
|  | SUTURE SIZE:5/0 12mm,3/8circle,reverse cutting Wire diameter: 0.50+/-0.01mm Bore diameter: 0.19+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420153 | NEEDLE -PP:1 40 MM 1/2 CRB |  | 1000 |  |
|  | Specification: Item name: Needle: 40mm, ½ circle round body, heavy. -Ribbed & siliconised. 1.Wire diameter: 1.2+/-0.01mm 2. Bore diameter: 0.53+/-0.01mm 3. Suture material: Polypropylene, USP 1 (Monofilament) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420154 | NEEDLE-30 MM 1/2 CRB PP:1 |  | 500 |  |
|  | SUTURE SIZE:1 30mm,1/2circle,round body(heavy) Wire diameter: 1.15+/-0.05mm Bore diameter: 0.53+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420155 | NEEDLE-PP:1 45 MM HEAVY, 1/2CRC |  | 500 |  |
|  | Specifications: Wire diameter: 1.2+/-0.01mm Bore diameter: 0.53+/-0.01mm SUTURE SIZE: 1 45mm heavy,1/2circle rev cutting Material: High Quality Martens tic stainless steel Grade AISI-420. |  |  |  |
| 1010420156 | NEEDLE-PP:1,1/2 CTC,30MM(HEAVY) |  | 200 |  |
|  | Specifications: suture size-1(USP) Wire diameter: 1.12 +/-0.01mm Bore diameter: 0.53+/-0.01mm 30mm 1/2 C, Taper cutting, Heavy Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420157 | NEEDLE 30MM 1/2 CC,MO PP: 1 |  | 100 |  |
|  | USP Size: Polypropylene 1 Bore diameter: 0.53+/-0.01mm Wire diameter: 1+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420158 | NEEDLE 40MM 1/2 CC,MO: PP: 1 |  | 100 |  |
|  | USP Size: Polypropylene 1 Bore diameter: 0.53+/-0.01mm Wire diameter: 1+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420159 | NEEDLE 45MM 1/2 CC MO PP: 1 |  | 100 |  |
|  | USP Size: Polypropylene 1 Bore diameter: 0.53+/-0.01mm Wire diameter: 1.2+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420160 | NEEDLE 45MM 1/2 CRB,MO:PP: 1 |  | 100 |  |
|  | NEEDLE 45MM 1/2 CIRCLE ROUND BODY MONOFILAMENT PP SUTURE USP 1 USP Size: Polypropylene 1 Bore diameter: 0.53+/-0.01mm Wire diameter: 1.2+/- 0.02mm Material: High Quality martensitic stainless steel Grade AISI- 420. |  |  |  |
| 1010420161 | NEEDLE NYLON 1/0, 1/2 C.R.B. 40MM |  | 1000 |  |
|  | "Item name: Needle: NEEDLE-40MM, 1/2 CIRCLE ROUND BODY, NYLON-USP 0, Siliconised & ribbed 1. Wire diameter: 1.00 (-0.0+0.025)mm 2. Bore diameter: 0.45 (-0.01+0.02)mm 3. Suture material: Polyamide Nylon, USP 0. (Monofilament) 4. All needles must be siliconised and ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420162 | NEEDLE NYLON 1/0, STR C 60MM |  | 500 |  |
|  | Specification: USP Size: 0 Wire diameter: 0.84+/-0.02mm Bore diameter: 0.45+/-0.01mm Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |  |
| 1010420163 | NEEDLE NYLON 2/0, 3/8 CIR.REV.CU.45MM |  | 20000 |  |
|  | USP size: 2-0, 45mm, 3/8 circle reverse cutting. Bore Dia 0.36 +/- 0.01mm Wire dia : 0.99 to 1.00mm Material: High Quality martensitic Stainless Steel Grade AISI-420 |  |  |  |
| 1010420164 | NEEDLE 26MM, 3/8 CRC NYLON 2/0 |  | 200 |  |
|  | USP Size: Nylon 2/0 Bore diameter: 0.36+/-0.01mm Wire diameter: 0.7+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420165 | NEEDLE 16MM, 3/8 CRC NYLON 2/0 |  | 200 |  |
|  | USP Size: Nylon 2/0 Bore diameter: 0.36+/-0.01mm Wire diameter: 0.61+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420166 | NEEDLE NYLON 3/0, 3/8 CC G 16MM |  | 300 |  |
|  | Monofilament Nylon Suture 1. Bore diameter (mm): 0.28+/-0.01mm 2. Wire diameter (mm): 0.60+/-0.05mm Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |  |
| 1010420167 | NEEDLE NYLON 3/0, 3/8 CIR.REV.CU. 26MM |  | 15000 |  |
|  | Monofilament Nylon Suture, Bore Dia 0.28 +/- 0.01mm wire dia: 0.71 to 0.72mm Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |  |
| 1010420169 | NEEDLE 45MM, 3/8 CRC NYLON 3/0 |  | 200 |  |
|  | USP Size: Nylon 3/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.74+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420170 | NEEDLE NYLON 4/0, 3/8 CC 16MM |  | 1000 |  |
|  | Specification: Wire diameter: 0.54+/-0.02mm Bore diameter: 0.25+/-0.01mm Suture size: Monofilament Nylon Suture, USP 4-0 Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |  |
| 1010420171 | NEEDLE 16MM, 3/8 CRC NYLON 4/0 |  | 200 |  |
|  | Suture size: Nylon 4/0 Wire diameter: 0.54+/-0.02mm Bore diameter: 0.25+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420172 | NEEDLE 19MM, 3/8 CC NYLON 4/0 |  | 100 |  |
|  | NEEDLE 19MM, 3/8 CIRCLE CUTTING FOR NYLON 4/0 SUTURES Suture size: Nylon 4/0 Wire diameter: 0.54+/-0.02mm Bore diameter: 0.25+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420173 | NEEDLE NYLON 5/0, 3/8 CC 16MM |  | 200 |  |
|  | Monofilament Nylon Suture, Wire dia : 0.46+/- 0.02mm Bore Dia 0.19mm Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |  |
| 1010420174 | NEEDLE NYLON 5/0, 3/8 CIR.REV.CU 12MM |  | 500 |  |
|  | Specification: Wire diameter: 0.46+/-0.02mm Bore diameter: 0.19+/-0.01mm Suture size: Monofilament Nylon 5-0 Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |  |
| 1010420175 | NEEDLE 13MM, 3/8 CRC NYLON 5/0 |  | 100 |  |
|  | Suture size: Nylon 5/0 Wire diameter: 0.46+/-0.02mm Bore diameter: 0.19+/-0.01mm Material: High Quality martensitic Stainless Steel Grade AISI-420 |  |  |  |
| 1010420176 | NEEDLE NYLON 1,1/2 CRC.45MM(Heavy) |  | 15000 |  |
|  | Monofilament Nylon Suture, 1.Bore Diameter (mm): 0.53+/-0.01mm 2. Wire diameter (mm): 1.20+/-0.05mm Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |  |
| 1010420177 | NEEDLE NYLON 1, 1/2 CI. R.B. 40MM |  | 100 |  |
|  | Monofilament Nylon Suture, Wire dia : 1.12+/-0.02 Bore Dia 0.53mm Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |  |
| 1010420178 | Needle 40mm, 1/2 CRB.heavy,PGA:1 |  | 1000 |  |
|  | Specification: USP SIze: 1 (Braided) Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420179 | Needle 40mm,1/2 CTC.heavy,PGA:1 |  | 100 |  |
|  | Specification: USP SIze: 1 (Braided) Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420180 | Needle 40mm, 1/2 CRC.PGA: 1 |  | 100 |  |
|  | Specification: USP Size: PGA 1 (braided) Bore diameter: 0.55+/- 0.01MM Wire diameter: 1.2+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420181 | Needle 50mm,1/2 CRC.heavy,PGA:1 |  | 100 |  |
|  | Specification: USP Size: PGA 1 (Braided) Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420182 | Needle 50mm, 1/2 CRB. heavy,PGA:1 |  | 100 |  |
|  | Specification: USP Size: PGA 1 (Braided) Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420183 | NEEDLE 45 MM, 3/8 CRB.PGA 1 |  | 100 |  |
|  | Specification: USP Size: PGA 1 (Braided) Wire diameter: 1.00+/-0.02mm Bore diameter: 0.55+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420184 | Needle 40mm, 1/2 CRC PGA 2/0 |  | 100 |  |
|  | Specification: USP SIze: 2/0 (Braided) Wire diameter: 0.84+/-0.02mm Bore diameter: 0.42+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420185 | NEEDLE 30 mm, 1/2 CRB.PGA 2/0 |  | 100 |  |
|  | Specification: USP Size: PGA 2-0 (Braided) Wire diameter: 0.80+/-0.02mm Bore diameter: 0.42+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420186 | NEEDLE 40mm, 1/2 CRB.PGA 2/0 |  | 100 |  |
|  | Specification: USP Size: PGA 2/0 (Braided) Wire diameter: 0.84+/-0.02mm Bore diameter: 0.42+/-0.02mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420187 | Needle 22mm, 3/8 CC.PGA: 3/0 |  | 100 |  |
|  | Specification: USP SIze: 3/0 (Braided) Wire diameter: 0.70+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420188 | Needle 20mm, 1/2 CCB.PGA: 3/0 |  | 100 |  |
|  | Specification: USP Size: PGA 3/0 (Braided) Wire diameter: 0.62+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420189 | Needle 16mm, 3/8 CC.PGA: 3/0 |  | 100 |  |
|  | Specification: USP Size: PGA 3/0 (Braided) Wire diameter: 0.54+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420190 | Needle 22mm, 1/2 CC.PGA: 3/0 |  | 100 |  |
|  | Specification: USP Size: PGA 3/0 (Braided) Wire diameter: 0.70+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420191 | Needle 12mm, 3/8 CRC.PGA: 3/0 |  | 100 |  |
|  | Specification: USP SIze: PGA 3/0 (Braided) Wire diameter: 0.54+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420192 | Needle 17mm, 1/2 C.TA.CU.PGA: 3/0 |  | 100 |  |
|  | Specification: USP Size: PGA 3/0 (Braided) Wire diameter: 0.60+/-0.02mm Bore diameter: 0.33+-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420193 | Needle 36mm, 1/2 C.TA.CU.PGA 3/0 |  | 100 |  |
|  | Specification: USP SIze: PGA 3/0 (Braided) Wire diameter: 0.71+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420194 | Needle 20mm, 1/2 CRB.PGA: 4/0 |  | 100 |  |
|  | Specification: USP SIze: 4/0 (Braided) Wire diameter: 0.54+/-0.02mm Bore diameter: 0.28+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420195 | Needle 16mm, 1/2 CRB.PGA: 4/0 |  | 100 |  |
|  | Specification: USP SIze: 4/0 (Braided) Wire diameter: 0.54+/-0.02mm Bore diameter: 0.28+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420196 | Needle16mm, 5/8 CC PGA: 4/0 |  | 100 |  |
|  | Specification: USP Size: PGA 4/0 (Braided) Bore dia 0.28 +/ -0.02mm Wire dia : 0.48 to 0.51mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420197 | Needle 12mm, 3/8 CRCPGA: 4/0 |  | 100 |  |
|  | Specification: USP Size: PGA 4/0 (Braided) WIre diameter: 0.54+/-0.02mm Bore diameter: 0.28+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420198 | NEEDLE 16mm, 1/2 CRB.PGA: 5/0 |  | 100 |  |
|  | Specification: USP SIze:5/0 (Braided) Wire diameter: 0.48+/-0.02mm Bore diameter: 0.22+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420199 | Needle12mm, 3/8CRC.PGA: 5/0 |  | 100 |  |
|  | Specification: USP Size: PGA 5/0 (Braided) Wire diameter: 0.48+/-0.02mm Bore diameter: 0.22+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420200 | Needle 40mm, 1/2CRB.PGA: 0 |  | 100 |  |
|  | Specification: USP SIze: 0 (Braided) Wire diameter: 1+/-0.02mm Bore diameter: 0.47+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420201 | Needle 40mm, 1/2C.TA.CPGA: 0 |  | 100 |  |
|  | Specification: USP Size: PGA 0 (Braided) Wire diameter: 1+/-0.02mm Bore diameter: 0.47+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420202 | Needle 36mm,1/2CRC(OS),PGA: 0 |  | 100 |  |
|  | Specification: USP Size: PGA 0 (Braided) Bore diameter: 0.47+/-0.01mm Wire diameter:1.2+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420203 | NEEDLE 30 MM, 1/2 CRB.PGA: 0 |  | 100 |  |
|  | Specification: USP Size: PGA 0 (Braided) Bore diameter: 0.47+/-0.01mm. Wire diameter: 0.84+/-0.02mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420204 | NEEDLE , 40MM 1/2CRB. HEAVY,PDO: 1 |  | 2000 |  |
|  | Specification: Suture type: Poly dioxanone (PDO) Monofilament suture USP 1. Wire diameter: 1.2+/-0.02mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420205 | NEEDLE 50MM 1/2 CRB HEAVY PDO: 1. |  | 100 |  |
|  | Specificaton: Suture type: Polydioxanone (PDO) Monofilament USP 1. Wire diameter: 1.2+/-0.02mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420206 | NEEDLE 45MM 1/2CRB HEAVY PDO: 1 |  | 200 |  |
|  | Specification: SUTURE SIZE: USP 1 Wire diameter: 1.2+/-0.02mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420207 | NEEDLE 30MM, 1/2 CRB.PDO: 2-0 |  | 1000 |  |
|  | Specification: Suture size: USP 2-0, monofilament poly (p-DIOXANONE). Wire diameter: 0.78+/-0.02mm Bore diameter: 0.45+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420208 | NEEDLE 20MM 1/2 CRB.PDO: 3/0 | 1000 |  |  |
|  | Specification: SUTURE SIZE: USP 3/0 Wire diameter: 0.78+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420209 | NEEDLE 40MM 1/2 CRC-OS NEEDLE PDO | 200 |  |  |
|  | Specification SUTURE SIZE: USP 1 Wire diameter: 1.2+/-0.02mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420210 | NEEDLE 40MM, 1/2 CRB. HEAVY, PDO: 0 | 100 |  |  |
|  | Specification: Suture type: Polydioxanone (PDO) monofilament USP 0. Wire diameter: 1.12+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420211 | NEEDLE 40MM, 1/2CRB. HEAVY,PDO: 0. | 200 |  |  |
|  | Specification: Suture type: Polydioxanone (PDO) monofilament USP 0. Wire diameter: 1.12+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420212 | NEEDLE 30MM 1/2 CRB.PDO: 0 | 100 |  |  |
|  | Specification: SUTURE SIZE: USP 0 Wire diameter: 1+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420213 | NEEDLE 48 MM 1/2 CRC.PDO:1 | 200 |  |  |
|  | Specification: SUTURE SIZE: USP 1 Wire diameter: 1.2+/-0.02mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420214 | NEEDLE-40MM 1/2 C.TA.C.G HEAVY PDO:1 | 300 |  |  |
|  | Specification: Suture material: PDO monofilament USP 1 Wire diameter: 1.2+/-0.02mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420215 | NEEDLE PGA-PCL 2-0,26MM 1/2 CRB. | 1000 |  |  |
|  | Specification: Suture type: PGA-PCL [Poly (glycolide-co-caprolactone) ] monofilament suture, USP 2-0 Wire diameter: 0.84+/-0.02mm Bore diameter: 0.45+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420216 | NEEDLE PGA-PCL 2-0,26MM 3/8 CRB. | 200 |  |  |
|  | Specification Suture type: PGA-PCL [Poly (glycolide-co-caprolactone) ] monofilament suture, USP 2-0. Wire diameter: 0.84+/-0.02mm Bore diameter: 0.45+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420217 | NEEDLE PGA-PCL 2/0 30MM, 1/2 CRB. | 1000 |  |  |
|  | Specification: SUTURE SIZE: USP 2/0 Wire diameter: 0.84+/-0.02mm Bore diameter: 0.45+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420218 | NEEDLE PGA-PCL 2/0 30MM, 1/2 CRB | 200 |  |  |
|  | Specification: Suture material: PGA-PCL Monofilament USP 2-0 Wire diameter: 0.84+/-0.02mm Bore diameter: 0.45+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420219 | NEEDLE PGA-PCL3-0 25MM 3/8 CC. | 200 |  |  |
|  | Specification: Suture type: PGA-PCL [Poly (glycolide-co-caprolactone) ] MONOFILAMENT USP 3-0. Wire diameter: 0.84+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420220 | NEEDLE PGA-PCL 3-0 26MM 1/2 CRB. | 200 |  |  |
|  | Specification: Suture type: PGA-PCL [Poly (glycolide-co-caprolactone) ] monofilament, USP 3-0 Wire diameter: 0.80+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420221 | NEEDLE PGA-PCL3-0 26MM 3/8 CRB | 200 |  |  |
|  | Specification: Suture type: PGA-PCL [Poly (glycolide-co-caprolactone) ] monofilament suture USP 3-0 Wire diameter: 0.80+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420222 | NEEDLE PGA-PCL 3/0 20MM, 1/2 CRB | 200 |  |  |
|  | Specification: SUTURE SIZE: USP 3/0 Wire diameter: 0.78+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420223 | NEEDLE PGA-PCL3/0 60MM, STR.CU. | 200 |  |  |
|  | Specification: Suture material: PGA-PCL Monofilament USP 3-0 Wire diameter: 0.70+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420224 | NEEDLE PGA-PCL 3/0 26 MM 1/2 CRB. | 500 |  |  |
|  | Suture type: PGA-PCL [Poly (glycolide-co -caprolactone) ] MONOFILAMENT USP 3-0. Wire diameter: 0.62+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420225 | NEEDLE PGA-PCL 3/0 24MM 3/8CRC USP 3-0 | 200 |  |  |
|  | Specification: Suture size : PGA-PCL 3-0 (Monofilament) Wire diameter: 0.62+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420226 | NEEDLE PGA-PCL 4-0 16MM 3/8 CRC. | 1000 |  |  |
|  | Specification: Suture size: PGA-PCL [Poly (glycolide-co-caprolactone) ] MONOFILAMENT USP 4-0. Wire diameter: 0.54+/-0.02mm Bore diameter: 0.28+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420227 | NEEDLE PGA-PLA 4/0 20MM, 1/2 CRB. | 1000 |  |  |
|  | Specification: SUTURE SIZE: USP 4/0 Wire diameter: 0.70+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420228 | NEEDLE 20MM 1/2 CRB.PDO:4/0 | 100 |  |  |
|  | Specification SUTURE SIZE: USP 4/0 Wire diameter: 0.62+/-0.02mm Bore diameter:0.28+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420229 | NEEDLE16 MM 3/8 CRB.PGA-PCL 4-0 | 100 |  |  |
|  | Suture type: PGA-PCL [Poly (glycolide-co -caprolactone) ] MONOFILAMENT USP 4-0. Wire diameter: 0.48+/-0.02mm Bore diameter: 0.28+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420230 | NEEDLE30MM 1/2 CRB.PGA-PCL 0 | 500 |  |  |
|  | Specification: SUTURE SIZE: USP 0 Wire diameter: 1+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420231 | NEEDLE 40MM 1/2 C.TA.C. HEAVY PDO:0 | 200 |  |  |
|  | Specification: SUTURE SIZE: USP 0 Wire diameter: 1.12+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420232 | NEEDLE 30MM 1/2CRB HEAVY PDO:0 | 200 |  |  |
|  | Specification: SUTURE SIZE: USP 0 Wire diameter: 1.12+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420233 | NEEDLE 40MM 1/2C.TA.C.PGA-PLA: 0 | 500 |  |  |
|  | Specification: SUTURE SIZE: Poly(glycolide-co-lactide) USP 0 Wire diameter: 1+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420234 | NEEDLE 30MM, 1/2 CRB.PGA-PLA: 2/0. | 300 |  |  |
|  | Specification: SUTURE SIZE: poly(glycolide-co-lactide) USP 2/0 Wire diameter: 0.80+/-0.02mm Bore diameter: 0.47+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420235 | NEEDLE 40MM 1/2 CRB.PGA-PLA: 2/0 | 1000 |  |  |
|  | Specification SUTURE SIZE: Poly(glycilide-co-lactide) USP 2/0 Wire diameter: 0.84+/-0.02mm Bore diameter: 0.47+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420236 | NEEDLE 40MM 1/2 CRC.PGA-PLA: 2/0 | 100 |  |  |
|  | Specification: SUTURE SIZE: Poly(glycolide-co-lactide) USP 2/0 Wire diameter: 0.84+/-0.02mm Bore diameter: 0.47+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420237 | NEEDLE 20MM 1/2 CRB.PGA-PLA: 3/0 | 2000 |  |  |
|  | Specification: Needle: 20mm, 1/2 circle round body Wire diameter: 0.62 +/- 0.01mm Bore diameter: 0.36 +/- 0.01mm Suture size: poly(glycolide-co-lactide) USP 3/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420238 | NEEDLE 22MM, 3/8 CC.PGA-PLA: 3-0 | 500 |  |  |
|  | "Specification: Needle: 22mm, 3/8 circle cutting Wire diameter: 0.62 +/- 0.01mm Bore diameter: 0.36 +/- 0.01mm Suture size: poly(glycolide-co-lactide) USP 3/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420239 | NEEDLE 16MM 1/2 CRB.PGA-PLA: 5/0. | 300 |  |  |
|  | Specification: SUTURE SIZE: Poly(glycolide-co-lactide) USP 5/0 Wire diameter: 0.48+/-0.02mm Bore diameter: 0.28+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420240 | NEEDLE-40MM 1/2 CIR.REV.CU. OS | 300 |  |  |
|  | Specification: SUTURE SIZE: Poly(glycolide-co-lactide) USP 1 Wire diameter: 1.2+/-0.01mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420241 | NEEDLE 40MM, 1/2 CRB.PGA-PLA: 0 | 10000 |  |  |
|  | Specification: SUTURE SIZE: Poly(glycolide-co-lactide) USP 0 Wire diameter: 1+/-0.01mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420242 | NEEDLE 40MM 1/2 CRB.HEAVY PGA-PLA:1 | 200 |  |  |
|  | Specification: SUTURE SIZE: Poly(glycolide-co-lactide) USP 1 Wire diameter: 1.2+/-0.01mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420243 | NEEDLE - 36MM 1/2 CRC.OS NEEDLE | 1000 |  |  |
|  | Specification: SUTURE SIZE: Ploy(glycolide-co-lactide) USP 0 Wire diameter: 1.2+/-0.01mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420244 | NEEDLE40MM 1/2 C.TA.CU.HEAVY PGA-PLA | 7000 |  |  |
|  | "Specification: Needle: 40mm, 1/2 circle taper cutting, heavy Wire diameter: 1.2 +/- 0.01mm Bore diameter: 0.60 +/- 0.01mm Suture size: poly(glycolide-co-lactide) USP 1 Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420248 | NEEDLE 40MM 1/2 C.TA.CU.HEAVY PGA-PLA | 100 |  |  |
|  | Specification: SUTURE SIZE: Poly(glycolide-co-lactide), USP 1 Wire diameter: 1.2+/-0.02mm Bore diameter: 0.60+/-0.01mm Material: High Quality stainless steel Grade 300. |  |  |  |
| 1010420249 | NEEDLE SUTURE 36MM, 1/2 CRB.PGA-PLA:1 | 100 |  |  |
|  | Specification: Needle: 36mm, 1/2 circle round body. Suture size: Polyglactin 910, USP 1 (Braided) Wire diameter: 1+/-0.02mm Bore diameter: 0.57+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420251 | NEEDLE 40MM 1/2 C.TA.CU.HEAVY PGA-PLA. | 100 |  |  |
|  | Specification: Suture size: Polyglactin 910, Braided, USP 1. Wire diameter: 1+/-0.01mm Bore diameter: 0.57+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420267 | NEEDLE-30MM, 3/8 CIRCLE ROUND BODY (PGA) | 100 |  |  |
|  | Specification: Suture size: PGA, USP 2-0 Wire diameter: 0.80 +/- 0.01mm Bore diameter: 0.42 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420268 | NEEDLE-37MM, 1/2 CIRCLE REV CUT(PGA PLA) | 100 |  |  |
|  | Specification: Suture size: PGA-PLA, USP 2-0 Wire diameter: 0.84 +/- 0.01mm Bore diameter: 0.47 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420269 | NEEDLE-37MM,1/2 CIRCLE ROUND BODY | 100 |  |  |
|  | PGS-PLA) Specification: Suture size: PGA-PLA, USP 2-0 Wire diameter: 0.84 +/- 0.01mm Bore diameter: 0.47+/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420270 | NEEDLE-26MM, 3/8 CIRCLE ROUND BODY (PGA) | 100 |  |  |
|  | Specification: Suture size: PGA, USP 3-0 Wire diameter: 0.70 +/- 0.01mm Bore diameter: 0.33 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420271 | NEEDLE-30MM, 3/8 CIRCLE ROUND BODY. | 100 |  |  |
|  | Specification: Suture size: PGA, USP 3-0 Wire diameter: 0.70 +/- 0.01mm Bore diameter: 0.33 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420272 | NEEDLE-37MM, 1/2 CIRCLE ROUND BODY | 100 |  |  |
|  | (PGA PLA) Specification: Suture size: PGA-PLA, USP 3-0 Wire diameter: 0.70 +/- 0.01mm Bore diameter: 0.36 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420273 | NEEDLE-37MM,1/2 CIRCLE REV-CUT (PGA PLA) | 100 |  |  |
|  | Specification: Suture size: PGA-PLA, USP 3-0 Wire diameter: 0.70 +/- 0.01mm Bore diameter: 0.36 +/- 0.01mm Material: High Quality martensiticstainless steel Grade AISI-420. |  |  |  |
| 1010420274 | NEEDLE-13MM, 1/2 CIRCLE ROUND BODY | 100 |  |  |
|  | Suture size: PGA, USP 4-0 Wire diameter: 0.54 +/- 0.01mm Bore diameter: 0.28 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420276 | NEEDLE 45MM 3/8 CIRCLE CUTTING PGA 1 | 100 |  |  |
|  | SPECIFICATION: USP SIZE: PGA 1 Wire diameter: 1.2mm Bore diameter: 0.55mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420277 | NEEDLE-36MM, 3/8 CIRCLE ROUND BODY (PGA) | 100 |  |  |
|  | Specification: Suture size: PGA, USP 0 Wire diameter: 0.84 +/- 0.01mm Bore diameter: 0.47 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420278 | NEEDLE-36MM, 1/2 CIRCLE ROUND BODY (PGA) | 100 |  |  |
|  | Specification: Suture size: PGA, USP 1 Wire diameter: 1.00 +/- 0.01mm Bore diameter: 0.55 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420279 | NEEDLE-26MM, 1/2 CIRCLE TAPER CUT (PGA) | 100 |  |  |
|  | Specification: Suture size: PGA, USP 1 Wire diameter: 0.84 +/- 0.01mm Bore diameter: 0.55 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420280 | NEEDLE FOR PDO SUTURE-40MM, 1/2 C R B | 100 |  |  |
|  | specification: NEEDLE : 40MM, 1/2 CIRCLE ROUND BODY. Suture type: Poly dioxanone (PDO) monofilament suture USP 1. Wire diameter: 1+/-0.01mm Bore diameter: 0.57+/-0.01mm Material: High Quality martensitic stainlesssteel Grade AISI-420. |  |  |  |
| 1010420281 | NEEDLE-40MM,1/2 CIRCLE REV CUT (PGA-PLA) | 200 |  |  |
|  | Specification: Suture size: PGA-PLA, USP 0 Wire diameter: 1.00 +/- 0.01mm Bore diameter: 0.55+/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420282 | NEEDLE PGA-PLA 2-0 SUTURE 30MM,1/2 C, TC | 200 |  |  |
|  | Specification: Needle: 30mm, 1/2 circle taper cutting. Suture material : PGA-PLA USP 2-0 Wire diameter: 0.80mm Bore diameter: 0.47mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420283 | NEEDLE-50MM 1/2C REVERSE CUTTING, HEAVY. | 200 |  |  |
|  | SPECIFICATION: NEEDLE: 50MM, 1/2 CIRCLE REVERSE CUTTING HEAVY. SUTURE: PGA-PLA USP 1 WIRE DIAMETER: 1.2+/-0.01MM BORE DIAMETER: 0.60 MM Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420284 | NEEDLE-30MM 1/2 C REVERSE CUTTING | 200 |  |  |
|  | Specification: Item name: Needle: 30mm, ½ circle reverse cutting-siliconised. 1.Wire diameter: 0.92+/-0.01mm 2. Bore diameter: 0.55+/-0.01mm 3. Suture material: PGA-PLA, USP 0 (Braided) 4. All needles must be siliconised 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420285 | NEEDLE-40MM 1/2 CIRCLE ROUND BODY | 5000 |  |  |
|  | NEEDLE-40MM 1/2 CIRCLE ROUND BODY Specification: NEEDLE: 40MM, ½ CIRCLE ROUND BODY. SUTURE MATERIAL: PGA-PLA USP SIZE 2. Wire diameter: 1.2MM Bore diameter: 0.72MM Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420287 | NEEDLE-30MM 1/2 CIRCLE ROUND BODY | 200 |  |  |
|  | NEEDLE-30MM 1/2 CIRCLE ROUND BODY SPECIFICATION: NEEDLE: 30MM, 1/2 CIRCLE ROUND BODY SUTURE MATERIAL: PGA-PLA USP 2 BORE DIAMETER: 0.72MM WIRE DIAMETER: 1MM Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420288 | NEEDLE-40MM 1/2 CIRCLE TAPER CUTTING | 1000 |  |  |
|  | NEEDLE-40MM 1/2 CIRCLE TAPER CUTTING Specification: Needle: 40mm, 1/2 circle taper cutting Suture material: PGA-PLA USP 2 Wire diameter: 1.2mm Bore diameter: 0.72mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420289 | NEEDLE-48MM 1/2 CIRCLE ROUND BODY | 100 |  |  |
|  | NEEDLE-48MM 1/2 CIRCLE ROUND BODY SPECIFICATION: Needle: 48mm, ½ circle round body Suture material: PGA-PLA suture Usp size 2 Wire diameter: 1.3mm Bore diameter: 0.72mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420292 | NEEDLE- PGA PLA 2/0,5/8 TAPER POINT 27MM | 100 |  |  |
|  | "Specifications: SUTURE SIZE:2/0 Wire diameter:0.71 +/-0.01mm Bore diameter: 0.47+/-0.01mm 27mm , 5/8 C, Taper Point Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420293 | NEEDLE-30MM,1/2 CRB,HIDOX USP 3-0 | 100 |  |  |
|  | Specification: Needle: 30mm, ½ circle round body Wire diameter: 0. 78mm Bore diameter: 0.36mm Suture mtl: Polydioxanone USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420294 | NEEDLE-50MM,1/2 CRB,HEAVY,PGA-PLA USP 1 | 500 |  |  |
|  | Specification: Needle: 50mm, ½ circle round body, heavy. Wire diameter: 1.2mm Bore diameter: 0.60mm Suture mtl: Polyglactin 910 USP 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420295 | NEEDLE-30MM,1/2 CRC, PGA USP 0 | 100 |  |  |
|  | Specification: Needle: 30mm, ½ circle reverse cutting Wire diameter: 0. 84mm Bore diameter: 0.47mm Suture mtl: Polyglycolicacid USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420296 | NEEDLE-22MM,1/2CIRCLE CUTTING,PGA-PLA3-0 | 1000 |  |  |
|  | Specification: Needle: 22mm, 1/2 circle cutting Wire diameter: 0. 62mm Bore diameter: 0.36mm Suture mtl: Polyglactin 910 USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420297 | NEEDLE-45MM,1/2 CIRCLE CUTTING,PP USP-0 | 100 |  |  |
|  | Specification: Needle: 45mm, 1/2 circle cutting Wire diameter: 1.1mm Bore diameter: 0.45mm Suture mtl: Polypropylene USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420298 | NEEDLE-16MM,3/8 CIRCLE RC,Silk USP 3-0 | 100 |  |  |
|  | Specification: Needle: 16mm, 3/8 circle reverse cutting Wire diameter: 0.54mm Bore diameter: 0.33mm Suture mtl: Silk USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420299 | NEEDLE-26MM,3/8CIRCLE CUTTING,PGA-PLA2-0 | 100 |  |  |
|  | Specification: Needle: 26mm, 3/8 circle cutting Wire diameter: 0. 78mm Bore diameter: 0.47mm Suture mtl: Polyglactin 910 USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420300 | NEEDLE-22MM,1/2CIRCLE CUTTING,PGA-PLA4-0 | 100 |  |  |
|  | Specification: Needle: 22mm, 1/2 circle cutting Wire diameter: 0. 54mm Bore diameter: 0.33mm Suture mtl: Polyglactin 910 USP 4-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420301 | NEEDLE-30MM,1/2 CIRCLE CUTTING,SILK 2-0 | 200 |  |  |
|  | Specification: Needle: 30mm, 1/2 circle cutting Wire diameter: 0.78 +/- 0.01 mm Bore diameter: 0.42mm Suture mtl: Silk USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420302 | NEEDLE-36MM,1/2CIRCLE TAPER CUT,PGA 2-0 | 100 |  |  |
|  | Specification: Needle: 36mm, 1/2 circle taper cutting Wire diameter: 0.78 +/- 0.01 mm Bore diameter: 0.42+/- 0.01 mm Suture mtl: Polyglycolic Acid USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420303 | NEEDLE-36MM,1/2CIR. ROUND BODY,PGA 2-0 | 100 |  |  |
|  | Specification: Needle: 36mm, 1/2 circle round body Wire diameter: 0. 78+/- 0.01 mm Bore diameter: 0.42+/- 0.01 mm Suture mtl: Polyglycolic Acid USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420304 | NEEDLE-40MM,3/8CIR. ROUND BODY,PGA 1 | 100 |  |  |
|  | Specification: Needle: 40mm, 3/8 circle round body Wire diameter: 1.00+/- 0.01 mm Bore diameter: 0.55+/- 0.01 mm Suture mtl: Polyglycolic Acid USP 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420305 | NEEDLE-25MM,1/2CIR. ROUND BODY,PP 2/0 | 100 |  |  |
|  | Needle: 25mm, 1/2 circle round body Wire diameter: 0.78+/- 0.01 mm Bore diameter: 0.36+/- 0.01 mm Suture mtl: Polypropylene USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420306 | NEEDLE-25MM,3/8CIR. CUTTING,PP 3/0 | 100 |  |  |
|  | Specification: Needle: 25mm, 3/8 circle cutting Wire diameter: 0.61+/- 0.01 mm Bore diameter: 0.28+/- 0.01 mm Suture mtl: Polypropylene USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420307 | NEEDLE-40MM,1/2CIRCLE REVERS CUT,PGA 3-0 | 100 |  |  |
|  | Specification: Needle: 40mm, 1/2 circle reverse cutting-ribbed & siliconised Wire diameter: 0.78 +/- 0.01 mm Bore diameter: 0.33+/- 0.01 mm Suture mtl: Polyglycolic Acid USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420308 | NEEDLE-25MM, 1/2 CRC, PGA-PLA USP 3-0 | 100 |  |  |
|  | Specification: Needle: 25MM, 1/2 CIRCLE REVERSE CUTTING-ribbed & siliconised Wire diameter: 0.62 +/- 0.01 mm Bore diameter: 0.36+/- 0.01 mm Suture mtl: PGA-PLA USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420309 | NEEDLE-26MM, 3/8 CRC, HEAVY,PGA-PLA USP | 100 |  |  |
|  | Specification: Needle: 26MM, 3/8 CIRCLE REVERSE CUTTING, HEAVY-ribbed & siliconised Wire diameter: 0.84 +/- 0.01 mm Bore diameter: 0.60+/- 0.01 mm Suture mtl: PGA-PLA USP 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420310 | NEEDLE-26MM, 3/8 CIRCLE CUTTING, USP 3-0 | 100 |  |  |
|  | Specification: Needle: 26mm, 3/8 circle cutting-ribbed & siliconised Wire diameter: 0.62 +/- 0.01 mm Bore diameter: 0.33+/- 0.01 mm Suture mtl: Polyglycolic Acid USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420311 | NEEDLE 30MM,3/8 CIRCLE CUTTING USP 3/0 | 100 |  |  |
|  | Specification: Needle: 30MM, 3/8 CIRCLE CUTTING NEEDLE-ribbed & siliconised Wire diameter: 0.66 (+ 0.02 mm ) Bore diameter: 0.28 (-0.01+0.02mm) Suture mtl: Nylon USP 3/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420312 | NEEDLE 30MM,3/8 CIRCLE CUTTING USP 2/0 | 100 |  |  |
|  | Specification: Needle: 30MM, 3/8 CIRCLE CUTTING NEEDLE-ribbed & siliconised Wire diameter: 0.74 (+0.02 mm ) Bore diameter: 0.36 (-0.01+0.02mm) Suture mtl: Nylon USP 2/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420313 | NEEDLE 13MM,3/8 CIRCLE TAPER CUT USP 6/0 | 100 |  |  |
|  | Specification: Needle: 13MM, 3/8 CIRCLE TAPER CUT-ribbed & siliconised Wire diameter: 0.27 (+ 0.02 mm) Bore diameter: 0.15 (+/- 0.01 mm) Suture mtl: Polypropelene USP 6/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420314 | NEEDLE-12MM, 1/2 CIRCLE CUTTING | 100 |  |  |
|  | Specification: Needle: 12MM, 1/2 CIRCLE CUTTING NEEDLE-ribbed & siliconised Wire diameter: 0.46 (-0.0+0.02mm ) Bore diameter: 0.22(-0.01+0.02mm) Suture mtl: PGA USP 5-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420315 | NEEDLE-30MM, 1/2C, REVERSE CUTTING | 200 |  |  |
|  | Specification: Needle: 30MM, 1/2 CIRCLE REVERSE CUTTING-ribbed & siliconised Wire diameter: 0.74 (-0.0mm +0.02mm) Bore diameter: 0.36 (-0.01 mm +0.02mm) Suture mtl: Polypropylene USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420316 | NEEDLE-16MM, 1/2C, REVERSE CUTTING | 200 |  |  |
|  | Specification: Needle: 16MM, 1/2CIRCLE REVERSE CUTTING-ribbed & siliconised Wire diameter: 0.56 (-0.0mm +0.02mm) Bore diameter: 0.28 (-0.01mm +0.02mm) Suture mtl: Polyglycolicacid USP 5-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420317 | NEEDLE-20MM, 1/2C, REVERSE CUTTING | 200 |  |  |
|  | Specification: Needle: 20MM, 1/2CIRCLE REVERSE CUTTING-ribbed & siliconised Wire diameter: 0.74 (-0.0mm +0.02mm) Bore diameter: 0.36 (-0.01mm +0.02mm) Suture mtl: Polydioxanone USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420318 | NEEDLE-30 MM 1/2CIRCLE CUTTING | 100 |  |  |
|  | Specification: Needle: 30MM, 1/2CIRCLE, CUTTING-ribbed & siliconised Wire diameter: 0.71 (-0.0mm +0.02mm) Bore diameter: 0.33 (-0.01 mm +0.02mm) Suture mtl: Silk USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420319 | NEEDLE 13MM 3/8CIRCLE ROUND BODY | 100 |  |  |
|  | Specification: Needle: 13MM, 3/8 CIRCLE, ROUND BODY-ribbed & siliconised Wire diameter: 0.24 (-0.0+0.02mm) Bore diameter: 0.18 (± 0.01mm) Suture mtl: Silk USP 6-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420320 | NEEDLE 23MM 3/8CIRCLE REV.CUTTING HEAVY | 100 |  |  |
|  | Specification: Needle: 23MM, 3/8 CIRCLE, REVERSE CUTTING, HEAVY-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420321 | NEEDLE 23MM 3/8CIRCLE REV.CUTTING HEAVY | 100 |  |  |
|  | Specification: Needle: 23MM, 3/8 CIRCLE REVERSE CUTTING, HEAVY-ribbed & siliconised Wire diameter: 0.84 +/- 0.01 mm Bore diameter: 0.60+/- 0.01 mm Suture mtl: PGA-PLA USP 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420322 | NEEDLE-26MM 3/8CIR. REVERSE CUTTING,2/0 | 100 |  |  |
|  | Specification: Needle: 26MM, 3/8 CIRCLE, REVERSE CUTTING - ribbed & siliconised Wire diameter: 0.71 (-0.0+0.02mm) Bore diameter: 0.36 (-0.01+0.02mm) Suture mtl: NYLON USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420323 | NEEDLE-19MM 3/8CIR. REVERSE CUTTING,3/0 | 100 |  |  |
|  | Specification: Needle: 19MM, 3/8 CIRCLE, REVERSE CUTTING - ribbed & siliconised Wire diameter: 0.61 (-0.0+0.02mm) Bore diameter: 0.28 (-0.01+0.02mm) Suture mtl: NYLON USP 3/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420324 | NEEDLE-22MM 3/8CIR. REVERSE CUTTING,3/0 | 100 |  |  |
|  | Specification: Needle: 22MM, 3/8 CIRCLE, REVERSE CUTTING-ribbed & siliconised Wire diameter: 0.61 (-0.0+0.02mm) Bore diameter: 0.28 (-0.01+0.02mm) Suture mtl: NYLON USP 3/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420325 | NEEDLE-19MM 3/8CIR. REVERSE CUTTING,4/0 | 100 |  |  |
|  | Specification: Needle: 19MM, 3/8 CIRCLE, REVERSE CUTTING - ribbed & siliconised Wire diameter: 0.56 (-0.0+0.02mm) Bore diameter: 0.25 (-0.01+0.02mm) Suture mtl: NYLON USP 4/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420326 | NEEDLE-22MM 3/8CIR. REVERSE CUTTING,4/0 | 100 |  |  |
|  | Specification: Needle: 22MM, 3/8 CIRCLE, REVERSE CUTTING - ribbed &siliconised Wire diameter: 0.56 (-0.0+0.02mm) Bore diameter: 0.25 (-0.01+0.02mm) Suture mtl: NYLON USP 4/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420327 | NEEDLE-19MM 3/8CIR. REVERSE CUTTING,3/0 | 100 |  |  |
|  | Specification: Needle: 19MM, 3/8 CIRCLE, REVERSE CUTTING - ribbed & siliconised Wire diameter: 0.61 (-0.0+0.02mm) Bore diameter: 0.33 (-0.01+0.02mm) Suture mtl: SILK USP 3/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420328 | NEEDLE-19MM 3/8CIR. REVERSE CUTTING,4/0 | 100 |  |  |
|  | Specification: Needle: 19MM, 3/8 CIRCLE, REVERSE CUTTING - ribbed & siliconised Wire diameter: 0.56 (-0.0+0.02mm) Bore diameter: 0.28 (-0.01+0.025mm) Suture mtl: SILK USP 4/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420329 | NEEDLE-23MM 1/2 CIR.REV.CUT,HEAVY,USP O | 100 |  |  |
|  | Specification: NEEDLE-23MM 1/2 CIRCLE REVERSE CUTTING, HEAVY, USP O-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420330 | NEEDLE-23MM 1/2 CIR.REV.CUT,HEAVY,USP 1 | 100 |  |  |
|  | Specification: Needle: NEEDLE-23MM 1/2 CIRCLE REVERSE CUTTING,HEAVY,USP 1-ribbed & siliconised Wire diameter: 0.84 (-0.0+0.02mm) Bore diameter: 0.60 (-0.01+0.02mm) Suture mtl: PGA-PLA USP 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420331 | NEEDLE-23MM 1/2 CIR.REV.CUT,HEAVY,USP O | 2000 |  |  |
|  | Specification: NEEDLE-23MM 1/2 CIRCLE REVERSE CUTTING,HEAVY,USP O-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420332 | NEEDLE-23MM 1/2 CIR.REV.CUT,HEAVY,USP 1 | 3000 |  |  |
|  | Specification: NEEDLE-23MM 1/2 CIRCLE REVERSE CUTTING,HEAVY,USP 1-ribbed & siliconised Wire diameter: 0.84 (-0.0+0.02mm) Bore diameter: 0.60 (-0.01+0.02mm) Suture mtl: PGA-PLA USP 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420333 | NEEDLE-36MM 1/2 CIR. REVERSE CUTTING, 2/ | 5000 |  |  |
|  | Specification: Needle: NEEDLE-36MM 1/2 CIR. REVERSE CUTTING, 2/0-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.47 (-0.01+0.02mm) Suture mtl: Polyglactin 910 Rapid USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420334 | NEEDLE-36MM 1/2 CIR. ROUND BODY, 2/0 | 5000 |  |  |
|  | Specification: Needle: NEEDLE-36MM 1/2 CIR. ROUND BODY, 2/0-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.47 (-0.01+0.02mm) Suture mtl: Polyglactin 910 Rapid USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420335 | NEEDLE-20MM 3/8 CIR. ROUND BODY, 4/0 | 200 |  |  |
|  | Specification: Needle: NEEDLE-20MM 3/8 CIR. ROUND BODY, 4/0-ribbed & siliconised Wire diameter: 0.58 (-0.0+0.02mm) Bore diameter: 0.33 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 4-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420336 | NEEDLE-45MM 3/8 CRB, PGA USP 1 | 200 |  |  |
|  | Specification: Needle: NEEDLE-45MM 3/8 CIRCLE ROUND BODY, USP 1-ribbed & siliconised Wire diameter: 0.86 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglycolicacid USP 1 Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420337 | NEEDLE-40MM 1/2 CRB, PGA-PLA USP 0 | 200 |  |  |
|  | Specification: Needle: NEEDLE-40MM 1/2 CIRCLE ROUND BODY, USP 0-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420338 | NEEDLE-40MM 1/2 CRB, HEAVY PGA-PLA USP1 | 200 |  |  |
|  | Specification: Needle: NEEDLE-40MM 1/2 CIRCLE ROUND BODY, HEAVY, USP 1-ribbed & siliconised Wire diameter: 1.00 (-0.0+0.02mm) Bore diameter: 0.60 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 1 Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420339 | NEEDLE-40MM 1/2 CTC, PGA-PLA USP0 | 1000 |  |  |
|  | Specification: Needle: NEEDLE-40MM 1/2 CIRCLE TAPER CUTTING, USP 0-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420340 | NEEDLE 40MM 1/2 CRC.PGA-PLA: 2/0 | 3000 |  |  |
|  | Specification: Needle: NEEDLE-40MM 1/2 CIRCLE REVERSE CUTTING, USP 2/0-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.47 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420341 | NEEDLE-40MM, 3/8CRC,NYLON1 | 100 |  |  |
|  | Specification: Needle: NEEDLE-40MM 3/8 CIR. REVERSE CUTTING, ribbed & siliconised Wire diameter: 1 (-0.0+0.025mm) Bore diameter: 0.53 (-0.01+0.025mm) Suture mtl: Nylon 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420342 | NEEDLE-40MM,1/2CRB,HEAVY,AISI 302,USP1 | 130000 |  |  |
|  | Specification: Item name: Needle: NEEDLE-40MM, 1/2 CIRCLE ROUND BODY, HEAVY-USP 1- Siliconised. 1.Wire diameter: 1.00 (-0.0 + 0.025)mm 2. Bore diameter: 0.60 (-0.01 + 0.025)mm 3. Suture material: PGA-PLA, USP 1 (Braided) 4. All needles must be siliconised. 5. Material: High Quality austenitic stainless steel Grade AISI-302. |  |  |  |
| 1010420343 | NEEDLE-40MM,1/2CTC,HEAVY,AISI 302,USP1 | 70000 |  |  |
|  | Specification: Item name: Needle: NEEDLE-40MM, 1/2 CIRCLE TAPER CUTTING, HEAVY-USP 1 Siliconised. 1.Wire diameter: 1.00 (-0.0 + 0.025)mm 2. Bore diameter: 0.60 (-0.01 + 0.025)mm 3. Suture material: PGA-PLA, USP 1 (Braided) 4. All needles must be siliconised. 5. Material: High Quality austenitic stainless steel Grade AISI-302. |  |  |  |
| 1010420344 | NEEDLE-45MM,1/2CRC,PGA-PLA USP 2 | 100 |  |  |
|  | Specification: Item name: Needle: NEEDLE-45MM, 1/2 CIRCLE REVERSE CUTTING,-USP 2 Ribbed & siliconised. 1.Wire diameter: 1.20 (-0.0+0.03)mm 2. Bore diameter: 0.72 (-0.01+0.025)mm 3. Suture material: PGA-PLA, USP 2 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420345 | NEEDLE-19MM,1/2 CIR.CUT.,PGA-PLA USP 5/0 | 100 |  |  |
|  | Specification: Item name: Needle: NEEDLE-19MM, 1/2 CIRCLE CUTTING-USP 5/0 Ribbed & siliconised. 1.Wire diameter: 0.56 (-0.0+0.02)mm 2. Bore diameter: 0.28 (-0.01+0.02)mm 3. Suture material: PGA-PLA, USP 5/0 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420346 | NEEDLE-30MM,1/2 CRB,AISI 302,PGA-PLA 3/0 | 100 |  |  |
|  | Specification: Item name: Needle: NEEDLE-30MM, 1/2 CIRCLE ROUND BODY, USP 3-0 Siliconised & RIBBED. 1.Wire diameter: 0.56 (-0.0 + 0.02)mm 2. Bore diameter: 0.36 (-0.01 + 0.02)mm 3. Suture material: PGA-PLA, USP 3-0(Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality austenitic stainless steel Grade AISI-302. |  |  |  |
| 1010420347 | NEEDLE-25MM,3/8 CIRCLE PRIME CUTTING | 5000 |  |  |
|  | Specification: Item name: Needle: NEEDLE-25MM,3/8 CIRCLE PRIME CUTTING, AISI 302,USP 3-0 Siliconised 1.Wire diameter: 0.58 (-0.0 + 0.02)mm 2. Bore diameter: 0.36 (-0.01 + 0.02)mm 3. Suture material: PGA-PCL, USP 3-0 4. All needles must be siliconised. 5. Material: High Quality austenitic stainless steel Grade AISI-302. |  |  |  |
| 1010420348 | NEEDLE-19MM, 3/8 CRC, PGA-PLA 3-0 | 100 |  |  |
|  | Needle: 19MM, 3/8 CIRCLE, REVERSE CUTTING - ribbed & siliconised Wire diameter: 0.61 (-0.0+0.02mm) Bore diameter: 0.36 (-0.01+0.02mm) Suture mtl: SILK USP 3/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420349 | NEEDLE-40MM 1/2 CRB,AISI 302,PGLA USP 0 | 40000 |  |  |
|  | Needle: NEEDLE-40MM 1/2 CIRCLE ROUND BODY, USP 0- ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality Austenitic stainless steel Grade AISI-302. |  |  |  |
| 1010420350 | NEEDLE-40MM 1/2 CTC,AISI 302,PGLA USP0 | 20000 |  |  |
|  | Needle: NEEDLE-40MM 1/2 CIRCLE TAPER CUTTING, USP 0- ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality Austenitic stainless steel Grade AISI-302. |  |  |  |
| 1010420351 | NEEDLE 30MM, 1/2 CRB,AISI 302,PGLA 2/0. | 25000 |  |  |
|  | NEEDLE: 30MM, 1/2 CIRCLE ROUND BODY- Ribbed & siliconised, PGA-PLA: 2/0. Wire diameter: 0.74(-0.0+0.02)mm Bore diameter: 0.47(-0.01+0.02)mm Material: High Quality Austenitic stainless steel Grade AISI-302. |  |  |  |
| 1010420352 | NEEDLE-40MM 1/2 CIR.REV.CU. OS, AISI-302 | 25000 |  |  |
|  | Specification: NEEDLE: 40MM, 1/2 CIRCLE REVERSE CUTTING, OS NEEDLE-ribbed & siliconised, pga-pla USP 1 Wire diameter: 1.2(-0.0+0.03)mm Bore diameter: 0.60(-0.01+0.025)mm Material: High Quality Austenitic stainless steel Grade AISI-302. |  |  |  |
| 1010420353 | NEEDLE -60 MM 3/8 CC SILK 1 BD053 | 10000 |  |  |
|  | Specification: Needle: 60mm,3/8circle,cutting-ribbed & siliconised, silk usp 1 1. Bore Diameter (mm): 0.53(-0.01+0.025) 2. Wire diameter (mm): 1.20(-0.0+0.03) Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420354 | NEEDLE-36MM 1/2 CRC,PGA-PLA USP 0 | 500 |  |  |
|  | Specification: Needle: NEEDLE-36MM 1/2 CIRCLE REVERSE CUTTING, USP 0-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420355 | NEEDLE-22MM 1/2 CRC, PGA-PLA USP2-0 | 500 |  |  |
|  | Specification: NEEDLE: 22MM, 1/2 CIRCLE REVERSE CUTTING- Ribbed & siliconised, PGA-PLA: 2/0. Wire diameter: 0.71(-0.0+0.02)mm Bore diameter: 0.47(-0.01+0.02)mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420356 | NEEDLE-40MM 1/2 CRC, PGA-PLA USP2 | 500 |  |  |
|  | Specification: Needle: NEEDLE-40MM 1/2 CIRCLE REVERSE CUTTING, USP 2-ribbed & siliconised Wire diameter: 1.2 (-0.0+0.03mm) Bore diameter: 0.72 (-0.01+0.025mm) Suture mtl: Polyglactin 910 USP 2 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420357 | NEEDLE-22MM 1/2 CRC, PGA-PLA USP3-0 | 200 |  |  |
|  | Specification: NEEDLE: 22MM, 1/2 CIRCLE REVERSE CUTTING-Ribbed & siliconised, PGA-PLA: 3/0. Wire diameter: 0.62(-0.0+0.02)mm Bore diameter: 0.36(-0.01+0.02)mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420358 | NEEDLE-60MM STRAIGHT CUTTING,USP 2-0 | 200 |  |  |
|  | Specification: NEEDLE: 60MM, STRAIGHT CUTTING-Ribbed & siliconised, NYLON 2/0. Wire diameter: 0.74(-0.0+0.02)mm Bore diameter: 0.36(-0.01+0.02)mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420359 | NEEDLE-50MM 1/2 CRB, PGA 0 | 500 |  |  |
|  | Specification: Needle: NEEDLE-50MM 1/2 CIRCLE ROUND BODY, USP 0-ribbed & siliconised Wire diameter: 1 (-0.0 + 0.025)mm Bore diameter: 0.47 (-0.01+0.02)mm Suture mtl: PGA USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420360 | NEEDLE-50MM, 1/2 CRC-PGA 2/0 | 500 |  |  |
|  | Specification: Needle: NEEDLE-50MM 1/2 CIRCLE REVERSE CUTTING, USP 2/0-ribbed & siliconised Wire diameter: 0.88 (-0.0+0.025 mm) Bore diameter: 0.42 (-0.01+0.02mm) Suture mtl: PGA USP 2/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420361 | NEEDLE-50MM, 1/2 CRB-PGA 2/0 | 500 |  |  |
|  | Specification: Needle: NEEDLE-50MM 1/2 CIRCLE ROUND BODY, USP 2/0-ribbed & siliconised Wire diameter: 0.88 (-0.0+0.025) mm Bore diameter: 0.42 (-0.01+0.02)mm Suture mtl: PGA USP 2/0 Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010420362 | NEEDLE-50MM, 1/2 CRB, PGA-PLA 1,AISI 302 | 7000 |  |  |
|  | "Item name: Needle: NEEDLE-50MM, 1/2 CIRCLE ROUND BODY, HEAVY-USP 1 Siliconised, AISI-302 1.Wire diameter: 1.08 (-0.0 + 0.025)mm 2. Bore diameter: 0.60 (-0.01 + 0.025)mm 3. Suture material: PGA-PLA, USP 1 (Braided) 4. All needles must be ribbed and siliconised. 5. Material: High Quality austenitic stainless steel Grade AISI-302. |  |  |  |
| 1010420363 | NEEDLE-45MM 1/2 CTC, HEAVY, PET USP 2 | 1000 |  |  |
|  | Item name: Needle: NEEDLE-45MM, 1/2 CIRCLE TAPER CUTTING, HEAVY-USP 2 Siliconised and Ribbed. 1. Wire diameter: 1.20 (-0.0 + 0.03)mm 2. Bore diameter: 0.65 (-0.01 + 0.025)mm 3. Suture material: Polyester, USP 2 (Braided) 4. All needles must be siliconised and ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420364 | NEEDLE-26MM, 1/2 CC, PGA-PLA USP 3/0 | 500 |  |  |
|  | Specification: Item name:NEEDLE-26MM, ½ CIRCLE CUTTING, Siliconised. 1.Wire diameter: 0.56 (-0.0 + 0.02)mm 2. Bore diameter: 0.36 (-0.01 + 0.02)mm 3. Suture material: PGA-PLA,USP 3-0 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010420365 | NEEDLE 45MM,1/2CRB 4-0 | 500 |  |  |
|  | "Item name: Needle: NEEDLE-45 MM, 1/2 CIRCLE ROUND BODY, USP 4-0, AISI- 302 1.Wire diameter: 0.81(-0.0 + 0.02)mm 2. Bore diameter: 0.28 (-0.01 + 0.02)mm 3. Suture material: PLA, USP 4-0 (Braided) 4. All needles must be ribbed and siliconised. 5. Material: High Quality austenitic stainless steel Grade AISI-302. |  |  |  |
| 1010420366 | NEEDLE 45MM,1/2CRB 5-0 | 500 |  |  |
|  | Item name: Needle: NEEDLE-45 MM, 1/2 CIRCLE ROUND BODY, USP 5-0, AISI- 302 1.Wire diameter: 0.74 (-0.0 + 0.02)mm 2. Bore diameter: 0.22 (-0.01 + 0.02)mm 3. Suture material: PLA, USP 5-0 (Braided) 4. All needles must be ribbed and siliconised. 5. Material: High Quality austenitic stainless steel Grade AISI-302. |  |  |  |
| 1010420367 | NEEDLE-40MM 1/2 CTC, PGA, USP 2 | 500 |  |  |
|  | Item name: Needle: NEEDLE-40MM, 1/2 CIRCLE TAPER CUTTING-USP 2 Siliconised and Ribbed. 1. Wire diameter: 1.12 (-0.0 + 0.03)mm 2. Bore diameter: 0.60 (-0.01 + 0.025)mm 3. Suture material: PGA, USP 2 (Braided) 4. All needles must be siliconised and ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010430008 | 36MM, 3/8CIRCLE REVERSE CUTTING | 500 |  |  |
|  | Specification: Needle: 36MM, 3/8CIRCLE REVERSE CUTTING-ribbed & siliconised Wire diameter: 1.00 +/- 0.01 mm Bore diameter: 0.60+/- 0.01 mm Suture mtl: Polyglactin 910 USP 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010430009 | 36MM,1/2CIRCLE TAPER CUTTING | 2000 |  |  |
|  | Specification: Needle: 36MM,1/2CIRCLE TAPER CUTTING-ribbed & siliconised Wire diameter: 0.84 +/- 0.01 mm Bore diameter: 0.55+/- 0.01 mm Suture mtl: Polyglactin 910 USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010430010 | 35MM,1/2CIRCLE TAPER CUTTING | 5000 |  |  |
|  | Specification: Needle: 35MM,1/2CIRCLE TAPER CUTTING-ribbed & siliconised Wire diameter: 0.80 +/- 0.01 mm Bore diameter: 0.47+/- 0.01 mm Suture mtl: Polyglactin 910 USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |  |
| 1010430011 | 16MM,3/8CIRCLE CUTTING | 1000 |  |  |
|  | Specification: Needle: 16MM,3/8CIRCLE CUTTING-ribbed & siliconised Wire diameter: 0.54 +/- 0.01 mm Bore diameter: 0.36+/- 0.01 mm Suture mtl: Polyglactin 910 USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010430012 | 22MM, 1/2CIRCLE CUTTING | 1000 |  |  |
|  | Specification: Needle: 22MM, 1/2CIRCLE CUTTING-ribbed & siliconised Wire diameter: 0.62 +/- 0.01 mm Bore diameter: 0.36+/- 0.01 mm Suture mtl: Polyglactin 910 USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010430013 | 26MM, 3/8CIRCLE REVERSE CUTTING | 1000 |  |  |
|  | Specification: Needle: 26MM, 3/8CIRCLE REVERSE CUTTING-ribbed & siliconised Wire diameter: 0.62 +/- 0.01 mm Bore diameter: 0.36+/- 0.01 mm Suture mtl: Polyglactin 910 USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010430014 | 26MM, 3/8CIRCLE ROUND BODY | 2000 |  |  |
|  | Specification: Needle: 26MM, 3/8CIRCLE ROUND BODY-ribbed & siliconised Wire diameter: 0.62 +/- 0.01 mm Bore diameter: 0.36+/- 0.01 mm Suture mtl: Polyglactin 910 USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010430015 | 16MM, 3/8CIRCLE CUTTING | 1000 |  |  |
|  | Specification: Needle: 16MM, 3/8CIRCLE CUTTING-ribbed & siliconised Wire diameter: 0.48 +/- 0.01 mm Bore diameter: 0.33+/- 0.01 mm Suture mtl: Polyglactin 910 USP 4-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010430016 | 40MM, 1/2CIRCLE, ROUND BODY | 100 |  |  |
|  | Specification: Needle: 40MM, 1/2CIRCLE ROUND BODY-ribbed & siliconised Wire diameter: 1.12 (-0.0mm +0.03mm) Bore diameter: 0.60 (-0.01 mm +0.02mm) Suture mtl: Polyglycolicacid USP 2 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010430017 | 45MM, 1/2CIRCLE, ROUND BODY | 100 |  |  |
|  | Specification: Needle: 45MM, 1/2CIRCLE ROUND BODY-ribbed & siliconised Wire diameter: 1.2 (-0.0mm +0.03mm) Bore diameter: 0.60 (-0.01 mm +0.02mm) Suture mtl: Polyglycolicacid USP 2 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010430028 | NEEDLE 45MM,1/2 CRB PGA1 | 500 |  |  |
|  | Specification: Item name: Needle: NEEDLE-45MM, 1/2 CIRCLE ROUND BODY, PGA-USP 1 Ribbed & siliconised. 1.Wire diameter: 1.12(-0.0 + 0.03)mm 2. Bore diameter: 0.55(-0.01 + 0.025)mm 3. Suture material: PGA USP 1 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010430029 | NEEDLE 45MM,1/2 CRC PGA2-0 | 500 |  |  |
|  | Specification: Item name: Needle: NEEDLE-45MM, 1/2 CIRCLE REVERSE CUTTING, PGA-USP 2-0 Ribbed & siliconised. 1.Wire diameter: 0.92(-0.0+0.025)mm 2. Bore diameter: 0.42(-0.01+0.02)mm 3. Suture material: PGA USP 2-0 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010430030 | NEEDLE 45MM,1/2 CRB PGA2-0 | 500 |  |  |
|  | Specification: Item name: Needle: NEEDLE-45MM, 1/2 CIRCLE ROUND BODY, PGA-USP 2-0 Ribbed & siliconised. 1.Wire diameter: 0.92(-0.0+0.025)mm 2. Bore diameter: 0.42(-0.01+0.02)mm 3. Suture material: PGA USP 2-0 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010430031 | NEEDLE 48MM,1/2 CRB PGA1 | 500 |  |  |
|  | Specification: Item name: Needle: NEEDLE-48MM, 1/2 CIRCLE ROUND BODY, PGA-USP 1 Ribbed & siliconised. 1.Wire diameter: 1.12(-0.0 + 0.03)mm 2. Bore diameter: 0.55(-0.01 +0.025)mm 3. Suture material: PGA USP 1 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010430032 | NEEDLE 48MM,1/2 CRB PGA2 | 500 |  |  |
|  | Specification: Item name: Needle: NEEDLE-48MM, 1/2 CIRCLE ROUND BODY, PGA-USP 2 Ribbed & siliconised. 1.Wire diameter: 1.2(-0.0+0.03)mm 2. Bore diameter: 0.60(-0.01 + 0.025)mm 3. Suture material: PGA USP 2 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 1010430033 | NEEDLE 48MM,3/8 CRC PGA2 | 500 |  |  |
|  | Specification: Item name: Needle: NEEDLE-48MM, 3/8 CIRCLE REVERSE CUTTING, PGA-USP 2 Ribbed & siliconised. 1.Wire diameter: 1.2(-0.0+0.03)mm 2. Bore diameter: 0.60(-0.01 + 0.025)mm 3. Suture material: PGA USP 2 (Braided) 4. All needles must be siliconised &ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
| 10104203499 | NEEDLE-26MM, 1/2 CC, PGA-PLA USP 3/0 | 500 |  |  |
|  | Specification: Item name:NEEDLE-26MM, 1/2 CIRCLE CUTTING, Siliconised. 1.Wire diameter: 0.56 (-0.0 + 0.02)mm 2. Bore diameter: 0.36 (-0.01 + 0.02)mm 3. Suture material: PGA-PLA,USP 3-0 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |  |
|  | Total Annual requirement (Dz) | 538000 |  |  |
|  | General Specifications: Resistance to corrosion: Corrosion esistant Cleanliness: Free from dirt, grease,fibers etc. Needle type: Drilled end suitable for above applications. Needles for onofilament sutures should have tapped hole. General Conditions: 1.The surface of the suture needle shall be smooth and shall be free from pitting. 2.The needle shall be free from grinding marks, polishing dirts, grease, fibers or other materials, which could necessitate cleaning. 3.The needle should meet the respective national and international standards. 4.The needle should be able to carry suture material through tissues with minimal trauma. 5.Needles should be with silicon or similar lubricants to improve the needle penetration. 6.The needle should be sharp enough to penetrate tissue with minimal resistance. 7.Needle should be rigid enough to resist bending, yet ductile enough to resist breaking during surgery. 8.The needle should be suitable for ETO/Gamma sterilization. 9.The needle offered should conform to the standard stipulated / quality specifications. 10. The supplier mu st also provide internal test certificates. 11.Packing: The needles shall be properly packed and labeled as per international standards. The packing shall be such there won't be any damage to the needles during transit. Supply in standard & uniform packets. 12. The supplier should supply suitable dies for crimping the needles free of cost |  |  |  |

Test certificate be obtained from the supplier for each consignment of material as per all the above Specification. If one consignment contains different lots, separate test certificate be obtained for each lot.

We hereby agree to supply the above materials as per the specification listed herein.

PLACE:                                             		NAME & SIGNATURE OF THE APPLICANT

DATE:                                                                			(WITH OFFICE SEAL)

SCHEDULE B

Page 1 of 1

TECHNICAL BID

### QUESTIONNAIRE TO BE FILLED FOR MINIMUM ELIGIBILITY CRITERIA

Material: :  Needle for Surgical Suture

| 1. | Are you a manufacturer? | YES/NO |
| --- | --- | --- |
| 2. | Are you an authorised agent? In case of authorised agent following documents from the Principal supplier should have to be enclosed Letter confirming the agency from the Manufacturer valid for 2016-18 Letter from the manufacturer that they also agree to abide by all the terms and conditions of this tender | YES/NO |
| 3. | What is your annual production / process capacity? Out of the above how much can you supply to HLL per month? |  |
| 4. | Do you have testing facility to check HLL’s parameters? If yes, will you be issuing test certificates for each Sample / batch /lot | YES/NO |
| 5. | Do you have minimum one year experience in supplying this item? | YES/NO |
| 6. | Are you an existing supplier to HLL? And if yes, Since when | YES/NO |
| 7. | Are you an approved vendor of Akkulam Factory? (If not please fill the Schedule E and submit with at least 200 pcs of samples) | YES/NO |
| 8. | EMD furnished or not | YES/NO |
| 9. | Tender Fee furnished or not | YES/NO |
| 10 | Declaration as per Schedule G | YES/NO |
| 11 | What is your Annual Turnover for the last three years? |  |

All the information provided herein are true & correct

PLACE:                                  					 NAME & SIGNATURE OF THE APPLICANT

DATE:                                                     					(WITH OFFICE SEAL)

NOTE: Forms must be completed in all respect and supported by relevant documents.

……………………………

SCHEDULE -C

Page 1 of 2

TECHNICAL BID

### QUESTIONNAIRE

(General information of the manufacturer / supplier)

- Name & Address of the Supplier with	 	:

- Telephone No.

- Fax No.

- E-mail Address

- Name of contact person

- Whether proprietary/partnership/

Limited company.

- Specify whether SSI / MSME unit

- How many years have you been in the	 	:

business of manufacturing/selling?

- What is your annual production capacity 		:

- Indicate the quantity you can supply HLL 		:

per month

- What would be the minimum period			 :

required to deliver the ordered quantity

from the date of confirmed purchase

order?

- Have you been a supplier to any  Blood bag		 :

Manufacturer, if so give details of the

name, address, quantity and values of

orders received and executed during the

last three year? (Attach separate sheet)

- Kindly furnish the name and address of       		:

the Transporter through whom the rejected

material is to be returned on freight to pay

basis (Ref. clause d of Schedule D)

#### SCHEDULE – C

#### Page 2 of 2

TECHNICAL BID

### QUESTIONNAIRE

- What is your Annual Turn Over during the		:

last 3 years?

(Copy of P&L and Balance sheet to be attached.)

- Details of tax registration :-

- CST No. 						:

- TIN No. and  VAT No.				:

- Name & Address of your Banker(s) 			:

- A/C no. & Swift Code					:

12	Any other details					:

All the information provided herein is true & correct.

PLACE:                                 				NAME & SIGNATURE OF THE APPLICANT

DATE :	                                                				     (WITH OFFICE SEAL)

SCHEDULE – D

Page 1 of 5

TERMS & CONDITIONS

- The Tender should be completed in all respects and submitted along Tender Fees (non-refundable) and EMD.  Incomplete tenders are liable to be rejected.

- Unsealed Tenders received are liable to be rejected and this will be at the sole risk of the Tenderer.

- The EMD of successful bidders will be converted to Security Deposit and will be refunded at the end of contract period.

- (a) The quoted rate shall be valid for a period of one year during which period no price escalation and no change in terms and conditions will be allowed on any ground.

- In the event of failure on the part of the supplier to supply the material as per the delivery schedule or supply material at the agreed rate during the contract period, HLL would procure the material from alternate source at the risk and cost of the supplier. In such cases, the additional cost incurred will be recovered from the supplier.

(c) Failure to supply the material for any of the above reasons will also entail forfeiture of Security Deposit and even blacklisting of the supplier for a minimum period of two years.

- Conditional tenders / tenders with deviation will not be considered.

- The quantity mentioned herein is approximate annual requirement and in case the company requires less/more quantity, the supplier should be prepared to effect supply at short notice at the agreed rate, terms and conditions.

- HLL reserves the right to split up the quantity and place the order on more than a supplier and also reserves the right to accept or reject the offer without assigning any reason.

SCHEDULE – D

Page 2 of 5

- The tender is liable to be suspended or cancelled at anytime at the discretion of the company without assigning any reason.

In the event of placing orders: -

  - Sample should be submitted and got approved before effecting bulk supply.

  - The remaining period of shelf life of material on arrival at our stores should be minimum 5/6th of the total shelf life.

  - Test Report of the product is to be attached with each consignment batch wise specifying therein the readings of the final test.

  - In case of rejection the material should be taken back and replaced at supplier’s risk and cost within 7 days of intimation from HLL. The procedure in this regard would be as follows:-

Material shall be returned through the Transporter indicated in Schedule C or through our approved Transporter on freight to-pay basis. In the case of overseas bidders material shall be returned through their specified freight forwarder.

Alternatively the rejected material shall be destroyed at our end.

The cost incurred for disposal of the rejected material shall be recovered from supplier.

The supplier is required to replace the rejected material failing which HLL reserves the right to procure the material from alternate source(s) at supplier’s risk and cost.

e.    A certificate confirming that the product offered is environment friendly i.e., non-hazardous to the environment is to be enclosed with the Techno-Commercial Bid.

f.    The supplier agrees to supply strictly as per the order terms in respect of quantity and quality. HLL reserves the right not to receive material beyond the delivery date given in the order.

SCHEDULE – D

Page 3 of 5

g.   Acceptance of the delayed supplies and excess quantity is solely at the discretion of HLL.  In the case of excess supply the excess quantity shall be returned back through the Transporter indicated in Schedule C (clause 5) or our authorized transporter on freight to pay basis.

h. The parties have to abide by delivery schedule given in the supply order strictly.  Penalty @ 0.5% value of the materials per week of delay subject to a maximum of 7.5% of the value of the supply defaulted will be imposed if material is accepted by the company after the stipulated delivery period

- HLL reserves the right to inspect the facilities for GMP by their officials or by an authorized independent third party agency for compliance.

- All dispatch documents like delivery note/challan, packing list and invoice should contain the following details

- Supply Order No.& date

    - Description of items as contained in the supply Order.

    - Quantity dispatched

iv.        Manufacturing date.

v.          Expiry date.

vi.        Total Number of packages/ serially numbered

vii.         Test certificate

viii 	  HLL’s CST / TIN No.

The L.R No / AWB /RR No…... should be intimated immediately after dispatch of the material by e-mail/fax

SCHEDULE – D

Page 4 of 5

- The following information shall be stenciled or labelled on the exterior of the packing in bold letters, clearly visible, at least 50mm high with waterproof ink.

a. Name of Product (as given in supply Order)
       b. Date of Manufacture (Monthly/Yearly)

c. Date of expiry.

d. Quantity

e. Instruction off storage and handling

f. Name & Address of Manufacturer

g. Company’s address in full

- All packages should be separately numbered and it should appear on top of the packages with proper labelling.

- The following documents should accompany the consignment

- Invoice in triplicate

- Delivery Note/Challan

- Packing List

- LR/AWB/----

- Material Safety Data Sheet(MSDS)

- Environment clearance certificate

- Mode of Transport shall be by road, unless otherwise specified. In case of overseas bidders  mode of  freight will be By Air unless otherwise specified. The materials shall be sent through the Transporter who has been granted a Certificate of Registration for transportation of goods as per Carriage by Road Act 2007.

- Payment shall be made by cheque/RTGS with in 30 days of receipt,  inspection and acceptance of the material. In the case of overseas bidders the payment term will be LC at Sight / Wire Transfer within 30 days of receipt.

- The jurisdiction of any dispute, suits and proceedings arising out of this tender shall be only in the court of Thiruvananthapuram as the case may be.

………………………………………..

SCHEDULE – D

Page 5 of 5

INDEMINITY CLAUSE:

If the supplier fails to execute the order within the time prescribed for the delivery of goods ordered or violates or infringes the existing rates as agreed to as mentioned in the supply order, the supplier shall and will indemnify the company against all losses or damages whatsoever to be incurred or sustained including the legal cost or expenses incurred by the company by reason of non-delivery of goods at agreed quantity and rate with in the time specified in the supply order.  The company will initiate legal action if the supplier fails to execute the supply order as per the schedule in the supply order for the actual loss suffered. No quantity tolerance will be permitted in this regard unless otherwise prior approval is taken by the company before dispatching any excess quantity supplied which shall be returned back on freight to pay basis at the risk of the supplier. Responsiveness of the Bid shall be at the discretion of HLL.

The supplier shall have no right to change the quantity stipulated in the supply order.

Bid pronounced Non Responsive by HLL shall be summarily rejected.

The decision of HLL will be final and no correspondence on this shall be entertained.

We have read and understood the above conditions and agree to abide by the same.

PLACE:                                         				 NAME AND SIGNATURE OF THE APPLICANT

DATE:                                                          					(WITH OFFICE SEAL)

SCHEDULE – E

Page 1 of  2

QUESTIONNAIRE FOR VENDOR DEVELOPMENT

(TO BE FILLED BY NEW VENDORS)

NAME OF PRODUCT:

Name & Address of the Manufacturer				:

Telephone No.

Fax No.

E-mail Address

Name of contact person

(i) Whether proprietary/partnership/

Limited company.

(ii) Furnish Name/’s, address,

phone nos. of Proprietor/

Managing partner/ M.D / Director’s

(Attach separate sheet)

Specify whether SSI / MSME unit

If Yes, pl specify if your unit is owned by :

SC/ST entrepreneur

2)     Details of tax registration :-						:

- CST No.

- TIN No.& VAT No.

3)      Name & Address of your Banker(s)

Account no.							:

Swift Code

4)        Annual Turn over

5)	Do you have a Quality Control  department. If yes, give the

details of the facilities.	     				  	 :      	Yes/No

6)	a) Do you have inspection for incoming materials	  		 :      	Yes/No

b) Do you have in process inspection facilities			:      	Yes/No

c) Do you have final inspection of the product	 	 	:      	Yes/No

#### SCHEDULE – E

#### Page 2 of 2

7)	Do you have any accreditation			            		 :	Yes/No

(a)ISO 9000

(b)Any National/International Laboratory/Authority

Certification

If ‘Yes’, give details along with a copy of certificate issued

by them.

8)         Do you have an environmental policy / ISO 14001 certification?	 : 	Yes / No

If yes, please give the details.

9)	Furnish the details of testing equipments.

10)	Have you been assessed previously by HLL				:     	Yes/No

11)	List of customers

a) Government Dept. / PSU’s

b) Private Sector

12) Have you furnished the sample along with  this format			:	Yes/No

Place	:		                     			NAME AND SIGNATURE OF THE VENDOR

Date	:								( Office Seal)

This is to be filled up by HLL LIFECARE LIMITED, THIRUVANANTHAPURAM

Recommendation/Remarks of the committee

Committee Members:

1.Head of Quality Control/Head of Technical Services and Material Testing

2.Head of User Department

3.Head of Purchase Department

SCHEDULE - F

Page 1 of 1

TECHNICAL BID

Item: :  Needle for Surgical Suture

#### DECLARATION

We confirm having read and understood all the specifications, instructions, forms, terms and conditions and other requirements of the above tender (both expressed and implied) in full and that we agree to abide by all without any deviation.

SIGNATURE SEAL OF THE APPLICANT

NAME AND ADDRESS OF APPLICANT

CONTENTS OF PRICE BID FORMS

For

Needle for Surgical Suture

1. SCHEDULE I      - RATE SCHEDULE FOR THIRUVANANTHAPURAM

SCHEDULE - I

Page 1 of 1

PRICE BID – RATE SCHEDULE FOR SUPPLY TO AKKULAM FACTORY, THIRUVANANTHAPURAM, KERALA

| Material Number | Material Description | Quantity | Rate/Unit |
| --- | --- | --- | --- |
|  |  | Dz | Rs: |
| 1010420000 | NEEDLE-36MM, 1/2 CRB (C.T), PGA 1 | 200 |  |
|  | Specifications: Taper ratio: 1:12 (Increased taper length) USP Size: PGA 1 (Undyed) Wire diameter: 0.92+/-0.01mm Bore diameter: 0.55+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420001 | NEEDLE-16MM 1/2 CRB, HEAVY, PGA 2/0 | 100 |  |
|  | USP Size: PGA 2/0 Bore diameter: 0.42+/-0.01mm Wire diameter: 0.66+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420002 | NEEDLE-20MM 1/2 CRB, HEAVY, PGA 2/0 | 100 |  |
|  | USP Size: PGA 2/0 Bore diameter: 0.42+/-0.01mm Wire diameter: 0.78+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420003 | NEEDLE-26MM 1/2 CRB, PGA 2/0 | 100 |  |
|  | USP Size: PGA 2/0 Bore diameter: 0.42+/-0.01mm Wire diameter: 0.70+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420004 | NEEDLE -36MM, 1/2 CRB (C.T), PGA 2/0 | 100 |  |
|  | Specifications: USP Size: PGA 2/0 (Undyed) Taper point: 1:12 (Increased taper length) Wire diameter: 0.81+/-0.01mm Bore diameter: 0.42+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420005 | NEEDLE-30MM, 1/2 CRB (C.T), PGA 2/0 | 100 |  |
|  | Specifications: USP Size: PGA 2/0 (Undyed) Taper ratio: 1:12 (Increased taper length) Wire diameter: 0.81+/-0.01mm Bore diameter: 0.42+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420006 | NEEDLE-30MM, 1/2 CTC, USP 2/0 | 100 |  |
|  | Specification: USP size: PGA 2/0 (Braided) Wire diameter: 0.80+/-0.02mm Bore diameter: 0.42+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420007 | NEEDLE-3/8 CIRCLE CUTTING 19 MM, PGA 3-0 | 100 |  |
|  | 1. 3/8 circle cutting, 19mm, Needle for PGA suture undyed braided & coated, Usp Size:3-0. 2. Bore diameter: 0.31 to 0.35 3. Wire diameter: 0.58 to 0.62mm 4. Material: High quality martensitic stainless steel grade AISI-420. |  |  |
| 1010420008 | NEEDLE-16MM 1/2 CRB, HEAVY, PGA 3/0 | 100 |  |
|  | USP Size: PGA 3/0 Bore diameter: 0.33+/-0.01mm Wire diameter: 0.61+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420009 | NEEDLE-30MM 1/2 CRB, HEAVY, PGA 3/0 | 100 |  |
|  | USP Size: PGA 3/0 Bore diameter: 0.33+/-0.01mm Wire diameter: 0.71+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420010 | NEEDLE-40MM 1/2 CRB, HEAVY PGA 3/0 | 100 |  |
|  | USP Size: PGA 3/0 Bore diameter: 0.33+/-0.01mm Wire diameter: 0.78+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420011 | NEEDLE-12MM 5/8 CRC, PGA 4/0 | 100 |  |
|  | USP Size: PGA 4/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.51+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420012 | NEEDLE-13MM 3/8-CRC, PGA 4/0 | 100 |  |
|  | USP Size: PGA 4/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.51+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420013 | NEEDLE-13MM 5/8 CRC, PGA 4/0 | 100 |  |
|  | USP Size: PGA 4/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.51+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420014 | NEEDLE-16MM 3/8 CRC, PGA 4/0 | 100 |  |
|  | USP Size: PGA 4/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.54+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420015 | NEEDLE-16MM 5/8 CRC, PGA 4/0 | 100 |  |
|  | USP Size: PGA 4/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.54+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420016 | NEEDLE-30MM 1/2 CRB, HEAVY PGA 4/0 | 100 |  |
|  | USP Size: PGA 4/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.61+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420017 | NEEDLE-40MM 1/2 CRB, HEAVY PGA 4/0 | 100 |  |
|  | USP Size: PGA 4/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.70+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420018 | NEEDLE-12MM 5/8 CRC, PGA 5/0 | 100 |  |
|  | USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.46+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420019 | NEEDLE-13MM 3/8 CRC, PGA 5/0 | 100 |  |
|  | USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.46+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420020 | NEEDLE-13MM 5/8 CRC, PGA 5/0 | 100 |  |
|  | USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.46+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420021 | NEEDLE-16MM, 3/8 CRC, PGA 5/0 | 100 |  |
|  | NEDLE 16MM, 3/8 CIRCLE REVERSE CUTTING FOR PGA 5/0 SUTURES USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.46+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420022 | NEEDLE-16MM 5/8 CRC, PGA 5/0 | 100 |  |
|  | USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.46+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. Needle type:Drilled |  |  |
| 1010420023 | NEEDLE-20MM 1/2 CRB, HEAVY, PGA 5/0 | 100 |  |
|  | USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.54+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420024 | NEEDLE-30MM 1/2 CRB, HEAVY, PGA 5/0 | 100 |  |
|  | USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.54+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420025 | NEEDLE-40MM 1/2 CRB, HEAVY, PGA 5/0 | 100 |  |
|  | USP Size: PGA 5/0 Bore diameter: 0.22+/-0.01mm Wire diameter: 0.72+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420026 | NEEDLE-16MM 1/2 CRB, HEAVY, PGA 0 | 100 |  |
|  | USP Size: PGA 0 Bore diameter: 0.47+/-0.01mm Wire diameter: 0.70+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420027 | NEEDLE-20MM, 1/2 CRB, HEAVY PGA 0 | 100 |  |
|  | USP Size: PGA 0 Bore diameter: 0.47+/-0.01mm Wire diameter: 0.84+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420028 | NEEDLE-40MM 1/2 CRC, PGA 0 | 100 |  |
|  | USP Size: PGA 0 Bore diameter: 0.47+/-0.01mm Wire diameter: 1+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420029 | NEEDLE-36MM 1/2 CRC, PGA 1 | 100 |  |
|  | USP Size: PGA 1 Bore diameter: 0.55+/-0.01mm Wire diameter: 1+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420030 | NEEDLE-36MM, 1/2 CRB (C.T), PGA 0 | 100 |  |
|  | USP Size: PGA 0 (Undyed) Taper ratio: 1:12 (Increased taper length) Wire diameter: 0.84+/-0.01mm Bore diameter: 0.47+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420031 | BLUNT NEEDLE-40MM, 1/2 CRB, PGA 1 | 100 |  |
|  | Blunt needle , 40mm, 1/2 circle round body, USP Size: PGA 1 (braided) Wire diameter: 0.92+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420032 | BLUNT NEEDLE-40MM, 1/2 CRB, PGA 0. | 100 |  |
|  | SPECIFICATION: Blunt needle 40mm, 1/2 circle round body. USP size: PGA 0 (braided) Wire diameter: 0.84+/-0.02mm Bore diameter: 0.47+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420033 | NEEDLE-30 MM, 1/2 CRB, PGA 0 | 100 |  |
|  | SUTURE SIZE: 0, 30mm,1/2circle,round body Bore diameter: 0.47+/-0.01mm. Wire diameter: 0.84+/-0.02mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420034 | NEEDLE-40 MM 1/2 CRB, PGA 0 | 200 |  |
|  | SUTURE SIZE: 0 40mm,1/2circle,round body Wire diameter: 1+/-0.02mm Bore diameter: 0.47+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420035 | NEEDLE-40 MM, 1/2 CTC, PGA 0 | 200 |  |
|  | SUTURE SIZE:1/0 40mm,1/2circle,taper cut Wire diameter: 1+/-0.02mm Bore diameter: 0.47+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420039 | NEEDLE-36MM, 1/2 CRC, OS needle,PGA 0 | 100 |  |
|  | 1. Bore diameter (mm): 0.47+/-0.02mm 2. Wire diameter (mm): 1.20+/-0.05mm MaterialMaterial:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420040 | NEEDLE-40MM, 1/2 CRB (C.T), PGA 1 | 100 |  |
|  | Specifications: Taper ratio: 1:12 (Increased taper length) USP Size: PGA 1 Wire diameter: 0.92 +/- 0.01mm Bore diameter: 0.55 +/- 0.01mm Material:High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420042 | NEEDLE-30 MM 1/2 CRB, USP 2-0 | 200 |  |
|  | SUTURE SIZE:2/0 30mm,1/2circle,round body Wire diameter: 0.80+/-0.02mm Bore diameter: 0.42+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420043 | NEEDLE-40 MM 1/2 CRB, PGA 2-0 | 200 |  |
|  | SUTURE SIZE:2/0 40mm,1/2circle round body. Wire diameter: 0.84+/-0.02mm Bore diameter: 0.42+/-0.02mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420044 | NEEDLE-40 MM 1/2 CRC, PGA 2-0 | 200 |  |
|  | SUTURE SIZE:2/0 40mm,1/2circle,reverse cutting Wire diameter: 0.84+/-0.01mm Bore diameter: 0.42+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420045 | NEEDLE-26MM, 3/8 CIRCLE,CUTTING, USP 2-0 | 200 |  |
|  | Specification: Item name: Needle: NEEDLE-26MM, 3/8 CIRCLE CUTTING, USP 2-0-Ribbed & siliconised. 1.Wire diameter: 0.61+/-0.01mm 2. Bore diameter: 0.42+/-0.01mm 3. Suture material: Polyglycolic Acid, USP 2-0 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420047 | NEEDLE-36MM, 1/2 CRB, USP 2-0 | 100 |  |
|  | Specifications: USP size: PGA 2-0 Wire diameter: 0.84+/-0.02mm Bore diameter: 0.42+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420048 | NEEDLE-30MM, 1/2 CRC, USP 2/0 | 200 |  |
|  | Specification: USP size: PGA 2/0 (braided) Wire diameter: 0.80+/-0.02mm Bore diameter: 0.42+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420049 | NEEDLE-27MM, 5/8 CTC, USP 2-0 | 100 |  |
|  | SPECIFICATION: Needle: 27mm, 5/8 circle taper cutting. Suture size: PGA 2-0. Wire diameter: 0.71+/-0.02mm Bore diameter: 0.42+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420050 | NEEDLE-20 MM, 1/2 CRB, USP 3-0 | 200 |  |
|  | SUTURE SIZE:3/0 20mm,1/2circle,round body Wire diameter: 0.62+/-0.01mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420051 | NEEDLE-22 MM, 3/8 CIRCLE CUTTING,USP 3-0 | 500 |  |
|  | SUTURE SIZE:3/0 22mm,3/8circle,cutting Wire diameter: 0.70+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420052 | NEEDLE-12 MM 3/8 CRC, USP 3-0 | 200 |  |
|  | SUTURE SIZE:3/0 12mm,3/8circle,reverse cutting Wire diameter: 0.54+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420053 | NEEDLE-22MM,1/2 CIRCLE CUTTING, USP 3-0 | 200 |  |
|  | suture size:3/0(USP) Wire diameter: 0.70+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420054 | NEEDLE-17MM,1/2 CTC, USP 3-0 | 100 |  |
|  | SUTURE SIZE:3/0 Wire diameter: 0.60+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420055 | NEEDLE-36MM, 1/2 CTC, USP 3-0 | 100 |  |
|  | SUTURE SIZE:3/0 Wire diameter: 0.71+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420056 | NEEDLE-16MM, 3/8 CIRCLE CUTTING, USP 3-0 | 100 |  |
|  | Suture size:3/0 Wire diameter: 0.54+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High quality Martensitic grade,stainless steel Grade:AISI-420 |  |  |
| 1010420058 | NEEDLE-36MM, 1/2 CRB, USP 3-0 | 100 |  |
|  | Specifications: USP size: PGA 3-0 Wire diameter: 0.71+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420059 | NEEDLE-12 MM, 3/8 CRC, USP 4-0 | 100 |  |
|  | SUTURE SIZE:4/0 12mm,3/8circle,reverse cutting WIre diameter: 0.54+/-0.02mm Bore diameter: 0.28+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420060 | NEEDLE-20 MM 1/2 CRB, USP 4-0 | 100 |  |
|  | "Specification: Needle: 20mm, 1/2 circle round body Wire diameter: 0.54 +/- 0.01mm Bore diameter: 0.28 +/- 0.01mm Suture size: polyglycolic acid USP 4/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420061 | NEEDLE-16MM 1/2 CRB, USP 4/0 | 100 |  |
|  | Specification: Suture USP Size: 4/0 Wire diameter: 0.54+/-0.02mm Bore diameter: 0.28+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420062 | NEEDLE-16MM, 5/8 CIRCLE CUTTING, USP 4-0 | 100 |  |
|  | suture size:4/0 Material:high quality Martensitic grade stainless steel Grade;AISI-420 Bore dia 0.28 +/ -0.02mm Wire dia : 0.48 to 0.51mm |  |  |
| 1010420064 | NEEDLE-12 MM 3/8 CRC, USP 5-0 | 200 |  |
|  | SUTURE SIZE:5/0 12mm,3/8circle,reverse cutting Wire diameter: 0.48+/-0.02mm Bore diameter: 0.22+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420065 | NEEDLE-16MM,1/2 CRB, USP 5-0 | 100 |  |
|  | suture size:5/0(USP) Wire diameter: 0.48+/-0.02mm Bore diameter: 0.22+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420067 | NEEDLE-30mm, 1/2 CRB, USP 0 | 100 |  |
|  | Specification: USP Size: PGA 0 (Braided) Bore diameter: 0.47+/-0.01mm. Wire diameter: 0.84+/-0.02mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420068 | NEEDLE-45mm, 3/8 CRB, USP 1 | 100 |  |
|  | Specification: USP Size: PGA 1 (Braided) Wire diameter: 1.00+/-0.02mm Bore diameter: 0.55+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420069 | NEEDLE-30mm, 1/2 CRB, USP 2/0 | 100 |  |
|  | Specification: USP Size: PGA 2-0 (Braided) Wire diameter: 0.80+/-0.02mm Bore diameter: 0.42+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420070 | NEEDLE-40mm, 1/2 CRB USP 2/0 | 100 |  |
|  | Specification: USP Size: PGA 2/0 (Braided) Wire diameter: 0.84+/-0.02mm Bore diameter: 0.42+/-0.02mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420071 | NEEDLE-40 MM, 1/2 CRB, USP 1 | 500 |  |
|  | NEEDLE FOR PGA SUTURE(BRAIDED) 40 MM, 1/2 CIRCLE ROUND BODY SUTURE SIZE:1 (40mm,1/2circle,round body(heavy) ) Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420072 | NEEDLE- 40 MM, 1/2 CTC, USP 1 | 500 |  |
|  | NEEDLE FOR PGA SUTURE(BRAIDED) 40 MM, 1/2 CIRCLE TAPER CUT SUTURE SIZE:1 ( 40mm,1/2circle,taper cut(heavy)) Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420073 | NEEDLE-45 MM, 3/8 CRB, USP 1 | 200 |  |
|  | SUTURE SIZE:1 45mm,3/8circle,round body Wire diameter: 1+/-0.02mm Bore diameter: 0.55+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420074 | NEEDLE-50 MM 1/2 CRB, USP 1 | 200 |  |
|  | Specification: Item name: Needle: 50mm, ½ circle round body, heavy. -Ribbed & siliconised. 1.Wire diameter: 1.2+/-0.01mm 2. Bore diameter: 0.55+/-0.01mm 3. Suture material: Polyglycolic Acid, USP 1 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420075 | NEEDLE-50MM, 1/2 CRC,USP1 |  |  |
|  | Specification: suture size:1(usp) Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420077 | NEEDLE-40MM,1/2 CRC, USP 1 | 100 |  |
|  | 1. Bore diameter (mm): 0.55+/- 0.02MM 2. Wire diameter (mm):1.15+/-0.05mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420078 | NEEDLE-36mm, 1/2 CRB, USP 1 | 100 |  |
|  | Specifications: USP size: PGA 1 Wire diameter: 1.15+/-0.02mm Bore diameter: 0.55+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420079 | NEEDLE-36mm, 1/2 CRB, USP 0 | 100 |  |
|  | Specifications: USP size: PGA 0 Wire diameter: 1.00+/-0.02mm Bore diameter: 0.47+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420081 | NEEDLE-40MM, 1/2 CRB, HEAVY, USP 1 | 100 |  |
|  | Specification: Needle: 40mm, 1/2 circle round body, heavy. Suturesize: PGA Braided ,USP 1. Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality stainless steelGrade 300. |  |  |
| 1010420082 | NEEDLE-40MM, 1/2 CTC, HEAVY, USP 1 | 100 |  |
|  | Specification: Needle: 40mm, 1/2 circle taper cutting, heavy. Suture size: PGA (Braided), USP 1 Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality stainless steel Grade 300. |  |  |
| 1010420083 | NEEDLE-45MM, 3/8 CIRCLE CUTTING, USP 3/0 | 100 |  |
|  | Wire diameter: 0.71+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High quality martensitic stainless steel grade AISI-420. |  |  |
| 1010420084 | NEEDLE-16MM, 3/8 CRB, SILK 3/0 SUTURES | 100 |  |
|  | Suture Size: 3/0 Wire diameter: 0.54+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420085 | NEEDLE-26MM, 1/2 CRC, SILK 3/0 | 100 |  |
|  | Suture size: 3/0 Wire diameter: 0.71+/-0.01mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420087 | NEEDLE12MM, 3/8 CRB, SILK 5/0 | 100 |  |
|  | Suture size: 5/0 Wire diameter: 0.48+/-0.02mm Bore diameter: 0.23+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420088 | NEEDLE-30 MM 1/2 CRB, SILK 0 | 100 |  |
|  | SUTURE SIZE: 0 30mm,1/2circle,round body Wire diameter: 0.92+/-0.01mm Bore diameter: 0.48+/-0.01mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420090 | NEEDLE-45MM, 3/8 CRC, USP0 | 5000 |  |
|  | Specification: Suture size: Silk, USP 0 Wire diameter: 1+/-0.01mm Bore diameter: 0.47+/-0.01mm Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |
| 1010420091 | NEEDLE-30 MM, 1/2 CRB | 1000 |  |
|  | SUTURE SIZE:2/0 30mm,1/2circle,round body Wire diameter: 0.80+/-0.01mm Bore diameter: 0.42+/-0.01mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420092 | NEEDLE-45 MM 3/8 CRC, SILK 2-0 | 5000 |  |
|  | Specifications: Wire diameter: 1mm+/-0.02mm Bore diameter: 0.42+/-0.01mm SILK SUTURE: 2/0 45mm, 3/8circle,reverse cutting Material: High Quality Martensitic stainless steel Grade AISI-420 |  |  |
| 1010420093 | NEEDLE -25 MM 1/2 CTC, SILK 2-0 | 200 |  |
|  | SILK SUTURE: 2/0 25mm, 1/2circle,taper cutting 1. Bore diameter (mm): 0.40+/-0.02mm 2. Wire diameter (mm): 0.76+/-0.05mm. Material: High Quality Martens tic stainless steel Grade AISI-420. |  |  |
| 1010420094 | NEEDLE-50MM,1/2 CRC SILK 2-0 | 200 |  |
|  | Bore diameter 0.40 +/- 0.02 mm Wire diameter 1.10 +/- 0.05 mm suture size:2/0 Material :High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420097 | NEEDLE-36MM, 3/8CTC,SILK-2-0 | 100 |  |
|  | Specifications: USP size: Silk 2-0 Wire diameter: 0.80+/-0.02mm Bore diameter: 0.42+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420098 | NEEDLE-25 MM 1/2 CRB SILK |  |  |
|  | Specifications: SUTURE SIZE:3/0 Wire diameter: 0.70+/-0.01mm Bore diameter: 0.33+/-0.01mm 25mm,1/2circle,round body Material :High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420099 | NEEDLE-20 MM,1/2, CTR,SILK 3/0 | 500 |  |
|  | SUTURE SIZE:3/0 20mm,1/2circle,round body Wire diameter: 0.61 +/- 0.02mm Bore diameter: 0.33 +/- 0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420100 | NEEDLE-26 MM 3/8 CRC SILK 3/0 | 300 |  |
|  | SUTURE SIZE:3/0 26mm,3/8circle,reverse cutting Material :High Quality martensitic stainless steel Grade AISI-420. Resistance to corrosion :Corrosion resistant .Bore dia : 0.33 +/- 0.01 mm Wire dia : 0.68 to 0.70mm |  |  |
| 1010420101 | NEEDLE-16 MM 3/8 CIRCLE CUTTING | 1000 |  |
|  | Specifications: Wire diameter: 0.54+/-0.01mm Bore diameter: 0.33+/-0.01mm SUTURE SIZE:3/0 16mm,3/8circle,cutting Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420102 | NEEDLE -1/2 CRB SILK 3/0 | 300 |  |
|  | suture size; Silk 3/0, 35 mm , ½ circle , round body Braided Wire diameter: 0.70+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420103 | NEEDLE-36MM, 3/8 CTC SILK 3-0 | 100 |  |
|  | Specifications: USP size: Silk 3-0 Wire diameter: 0.70+/-0.02mm Bore diameter: 0.33+/-0.01mm Material :High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420105 | NEEDLE - 16 MM 3/8 CC SILK 4/0 | 1000 |  |
|  | SUTURE SIZE:4/0 16mm,3/8circle,cutting Wire diameter: 0.54+/-0.02mm Bore diameter: 0.28+/-0.01mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420107 | NEEDLE -1/2 CRB 16MM SILK 4/0 | 200 |  |
|  | Specifications: suture size 4/0 Wire diameter:0.54 +/-0.01mm Bore diameter: 0.28+/-0.01mm 16mm, 1/2 C, Round body Material :High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420108 | NEEDLE-5/0 12 MM 3/8 CRB SILK 5/0 | 300 |  |
|  | SILK SUTURE: 5/0 12mm, 3/8circle,round body Wire diameter: 0.46+/-0.02mm Bore diameter: 0.23+/-0.01mm Material: High Quality Martens tic stainless steel Grade AISI-420. |  |  |
| 1010420114 | needle-SILK 6/0,3/8 CRB 13mm | 200 |  |
|  | Specification: Wire diameter: 0.38+/-0.01mm Bore diameter: 0.18+/-0.01mm Material :High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420115 | NEEDLE - 60 MM 3/8 CC SILK 1 | 10000 |  |
|  | SUTURE SIZE:1 60mm,3/8circle,cutting 1. Bore Diameter (mm): 0.55+/-0.01mm 2. Wire diameter (mm): 1.20+/-0.05mm. Material :High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420116 | NEEDLE-36MM, 3/8 CTC SILK-1 | 100 |  |
|  | USP size: Silk 1 Wire diameter: 1+/-0.02mm Bore diameter: 0.55+/-0.01mm Material :High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420117 | Needle-3/8 CRC, 12mm PP: 0 | 100 |  |
|  | 1. Wire diameter: 0.78+/-0.02mm 2. Bore diameter: 0.47+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420119 | NEEDLE 25MM, 3/8 CC PP 3/0 | 100 |  |
|  | USP Size: Polypropylene 3/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.61+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420121 | NEEDLE FOR PP SUTURE | 500 |  |
|  | Specification: SUTURE SIZE:5/0 16mm,3/8circle,round body Wire diameter: 0.48+/-0.02mm Bore diameter: 0.19+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420122 | NEEDLE-12 MM 3/8 CRB PP 5/0 | 500 |  |
|  | Specifications: SUTURE SIZE:5/0 Wire diameter:0.48 +/-0.01mm Bore diameter: 0.19+/-0.01mm 12mm 3/8 C, Round body Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420123 | NEEDLE-16MM, 3/8 CRC PP 5-0 | 100 |  |
|  | SUTURE SIZE: PP 5-0 Wire diameter: 0.48+/-0.02mm Bore diameter: 0.19+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420124 | NEEDLE-3/8 CRC,12MM PP 6/0 | 300 |  |
|  | Suture size-6/0 Bore diameter: 0.15+/-0.01mm Wire diameter: 0.35+/-0.01mm high quality martensitic grade stainless steel-Grade-AISI-420 |  |  |
| 1010420125 | NEEDLE-PP 6/0,3/8 CRB,13MM | 300 |  |
|  | Suture size-6/0 (monofilament) Wire diameter: 0.36+/-0.02mm Bore diameter: 0.15+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420126 | NEEDLE-PP 6/0,3/8 CC,15MM PP | 100 |  |
|  | Specification: Suture size-6/0 Wire diameter: 0.36+/-0.02mm Bore diameter: 0.15+/-0.01mm Material :High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420127 | NEEDLE - 30 MM 1/2 CRB PP:0 | 2000 |  |
|  | SUTURE SIZE: 0 30mm,1/2circle,round body Wire diameter: 0.92+/-0.02mm Bore diameter: 0.45+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420128 | NEEDLE-25 MM 1/2 CTC PP:0 | 500 |  |
|  | SUTURE SIZE:0 25mm,1/2circle,taper cut Wire diameter: 0.80+/-0.02mm Bore diameter: 0.45+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420130 | NEEDLE-1/2 CRB 26MM PP-1/0 | 500 |  |
|  | Specifications: suture size-1/0 Wire diameter: 0.78 +/-0.01mm Bore diameter: 0.45+/-0.01mm 26mm 1/2 C, Round body Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420131 | NEEDLE-1/2CTC,30MM(HEAVY),PP1/0 | 300 |  |
|  | Specifications: suture size-1/0 Wire diameter: 1.0 +/-0.01mm Bore diameter: 0.45+/-0.01mm 30mm 1/2 C, Taper cutting, Heavy Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420132 | NEEDLE 30MM, 1/2 CC PP USP 0 | 100 |  |
|  | USP Size: Polypropylene: 0 Bore diameter: 0.45+/-0.01mm Wire diameter: 0.92+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420133 | NEEDLE 40MM, 1/2 CRB PP: 0 | 100 |  |
|  | USP Size: Polypropylene 0 Bore diameter: 0.45+/-0.01mm Wire diameter: 0.92+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420134 | NEEDLE 40MM, 1/2 CC PP: 0 | 100 |  |
|  | USP Size: Polypropylene 0 Bore diameter: 0.45+/-0.01mm Wire diameter: 0.92+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420135 | NEEDLE 45MM 1/2 CRB PP 0 | 100 |  |
|  | USP Size: Polypropylene 0 Bore diameter: 0.45+/-0.01mm Wire diameter: 1+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420136 | NEEDLE 45MM, 1/2 CC PP : 0 | 100 |  |
|  | USP Size: Polypropylene 0 Bore diameter: 0.45+/-0.01mm Wire diameter: 0.92+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420137 | NEEDLE - 30 MM 1/2 CRB PP2/0 | 3000 |  |
|  | "Specification: Needle: 30mm, 1/2 circle round body Wire diameter: 0.80 +/- 0.01mm Bore diameter: 0.36 +/- 0.01mm Suture size: polypropylene USP 2/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420138 | NEEDLE-25 MM 1/2 CTC PP 2/0 | 2000 |  |
|  | Needle: 25mm, 1/2 circle taper cutting Wire diameter: 0.78 +/- 0.01mm Bore diameter: 0.36 +/- 0.01mm Suture size: polypropylene USP 2/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420141 | NEEDLE-PP 3/0 25 MM 1/2 CRB | 1000 |  |
|  | Item name: Needle: NEEDLE-25MM, 1/2 CIRCLE ROUND BODY, POLYPROPYLENE- USP 3/0, Ribbed & Siliconised. 1. Wire diameter: 0.61 (-0.0+0.02)mm 2. Bore diameter: 0.28 (-0.01+0.02)mm 3. Suture material: Polypropylene, USP 3/0 (Monofilament) 4. All needles must be siliconised and ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420144 | NEEDLE-3/0, 22 MM, 3/8 CC PP | 2000 |  |
|  | SUTURE SIZE: Polypropylene USP 3/0, 22mm, 3/8circle, cutting Bore diameter: 0.27 to 0.29mm Wire diameter: 0.57 to 0.59mm Material: High Quality Martens tic stainless steel Grade AISI-420. |  |  |
| 1010420145 | NEEDLE 1/2 CTC 17MM,PP 3/0 | 300 |  |
|  | Specifications: USP Size: 3/0 Wire diameter: 0.60+/-0.01mm Bore diameter: 0.28+/-0.01mm material;high quality martensitic stainless steel Grade;AISI-420 |  |  |
| 1010420147 | NEEDLE-PP 4/0 16 MM 1/2 CRB | 300 |  |
|  | SUTURE SIZE:4/0 16mm,1/2circle,round body Wire diameter: 0.54+/-0.02mm Bore diameter: 0.25+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420148 | NEEDLE -3/8 CRC,12MM,PP 4/0 | 300 |  |
|  | Specifications: suture size-4/0 Wire diameter: 0.54 +/-0.01mm Bore diameter: 0.25+/-0.01mm 12mm, 3/8 C, Reverse cutting Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420150 | NEEDLE-16 MM 3/8 CRB | 500 |  |
|  | Specifications: SUTURE SIZE:5/0 16mm,3/8circle,round body Wire diameter: 0.48+/-0.02mm Bore diameter: 0.19+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420151 | NEEDLE-PP 5/0 12 MM 3/8 CRC | 300 |  |
|  | SUTURE SIZE:5/0 12mm,3/8circle,reverse cutting Wire diameter: 0.50+/-0.01mm Bore diameter: 0.20+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420153 | NEEDLE -PP:1 40 MM 1/2 CRB | 1000 |  |
|  | Specification: Item name: Needle: 40mm, ½ circle round body, heavy. -Ribbed & siliconised. 1.Wire diameter: 1.2+/-0.01mm 2. Bore diameter: 0.53+/-0.01mm 3. Suture material: Polypropylene, USP 1 (Monofilament) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420154 | NEEDLE-30 MM 1/2 CRB PP:1 | 500 |  |
|  | SUTURE SIZE:1 30mm,1/2circle,round body(heavy) Wire diameter: 1.15+/-0.05mm Bore diameter: 0.53+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420155 | NEEDLE-PP:1 45 MM HEAVY, 1/2CRC | 500 |  |
|  | Specifications: Wire diameter: 1.2+/-0.01mm Bore diameter: 0.53+/-0.01mm SUTURE SIZE: 1 45mm heavy,1/2circle rev cutting Material: High Quality Martens tic stainless steel Grade AISI-420. |  |  |
| 1010420156 | NEEDLE-PP:1,1/2 CTC,30MM(HEAVY) | 200 |  |
|  | Specifications: suture size-1(USP) Wire diameter: 1.12 +/-0.01mm Bore diameter: 0.53+/-0.01mm 30mm 1/2 C, Taper cutting, Heavy Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420157 | NEEDLE 30MM 1/2 CC,MO PP: 1 | 100 |  |
|  | USP Size: Polypropylene 1 Bore diameter: 0.53+/-0.01mm Wire diameter: 1+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420158 | NEEDLE 40MM 1/2 CC,MO: PP: 1 | 100 |  |
|  | USP Size: Polypropylene 1 Bore diameter: 0.53+/-0.01mm Wire diameter: 1+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420159 | NEEDLE 45MM 1/2 CC MO PP: 1 | 100 |  |
|  | USP Size: Polypropylene 1 Bore diameter: 0.53+/-0.01mm Wire diameter: 1.2+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420160 | NEEDLE 45MM 1/2 CRB,MO:PP: 1 | 100 |  |
|  | NEEDLE 45MM 1/2 CIRCLE ROUND BODY MONOFILAMENT PP SUTURE USP 1 USP Size: Polypropylene 1 Bore diameter: 0.53+/-0.01mm Wire diameter: 1.2+/- 0.02mm Material: High Quality martensitic stainless steel Grade AISI- 420. |  |  |
| 1010420161 | NEEDLE NYLON 1/0, 1/2 C.R.B. 40MM | 1000 |  |
|  | "Item name: Needle: NEEDLE-40MM, 1/2 CIRCLE ROUND BODY, NYLON-USP 0, Siliconised & ribbed 1. Wire diameter: 1.00 (-0.0+0.025)mm 2. Bore diameter: 0.45 (-0.01+0.02)mm 3. Suture material: Polyamide Nylon, USP 0. (Monofilament) 4. All needles must be siliconised and ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420162 | NEEDLE NYLON 1/0, STR C 60MM | 500 |  |
|  | Specification: USP Size: 0 Wire diameter: 0.84+/-0.02mm Bore diameter: 0.45+/-0.01mm Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |
| 1010420163 | NEEDLE NYLON 2/0, 3/8 CIR.REV.CU.45MM | 20000 |  |
|  | USP size: 2-0, 45mm, 3/8 circle reverse cutting. Bore Dia 0.36 +/- 0.01mm Wire dia : 0.99 to 1.00mm Material: High Quality martensitic Stainless Steel Grade AISI-420 |  |  |
| 1010420164 | NEEDLE 26MM, 3/8 CRC NYLON 2/0 | 200 |  |
|  | USP Size: Nylon 2/0 Bore diameter: 0.36+/-0.01mm Wire diameter: 0.7+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420165 | NEEDLE 16MM, 3/8 CRC NYLON 2/0 | 200 |  |
|  | USP Size: Nylon 2/0 Bore diameter: 0.36+/-0.01mm Wire diameter: 0.61+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420166 | NEEDLE NYLON 3/0, 3/8 CC G 16MM | 300 |  |
|  | Monofilament Nylon Suture 1. Bore diameter (mm): 0.28+/-0.01mm 2. Wire diameter (mm): 0.60+/-0.05mm Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |
| 1010420167 | NEEDLE NYLON 3/0, 3/8 CIR.REV.CU. 26MM | 15000 |  |
|  | Monofilament Nylon Suture, Bore Dia 0.28 +/- 0.01mm wire dia: 0.71 to 0.72mm Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |
| 1010420169 | NEEDLE 45MM, 3/8 CRC NYLON 3/0 | 200 |  |
|  | USP Size: Nylon 3/0 Bore diameter: 0.28+/-0.01mm Wire diameter: 0.74+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420170 | NEEDLE NYLON 4/0, 3/8 CC 16MM | 1000 |  |
|  | Specification: Wire diameter: 0.54+/-0.02mm Bore diameter: 0.25+/-0.01mm Suture size: Monofilament Nylon Suture, USP 4-0 Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |
| 1010420171 | NEEDLE 16MM, 3/8 CRC NYLON 4/0 | 200 |  |
|  | Suture size: Nylon 4/0 Wire diameter: 0.54+/-0.02mm Bore diameter: 0.25+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420172 | NEEDLE 19MM, 3/8 CC NYLON 4/0 | 100 |  |
|  | NEEDLE 19MM, 3/8 CIRCLE CUTTING FOR NYLON 4/0 SUTURES Suture size: Nylon 4/0 Wire diameter: 0.54+/-0.02mm Bore diameter: 0.25+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420173 | NEEDLE NYLON 5/0, 3/8 CC 16MM | 200 |  |
|  | Monofilament Nylon Suture, Wire diameter : 0.46+/-0.02mm Bore Dia 0.19mm Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |
| 1010420174 | NEEDLE NYLON 5/0, 3/8 CIR.REV.CU 12MM | 500 |  |
|  | Specification: Wire diameter: 0.46+/-0.02mm Bore diameter: 0.19+/-0.01mm Suture size: Monofilament Nylon 5-0 Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |
| 1010420175 | NEEDLE 13MM, 3/8 CRC NYLON 5/0 | 100 |  |
|  | Suture size: Nylon 5/0 Wire diameter: 0.46+/-0.02mm Bore diameter: 0.19+/-0.01mm Material: High Quality martensitic Stainless Steel Grade AISI-420 |  |  |
| 1010420176 | NEEDLE NYLON 1,1/2 CRC.45MM(Heavy) | 15000 |  |
|  | Monofilament Nylon Suture, 1.Bore Diameter (mm): 0.53+/-0.01mm 2. Wire diameter (mm): 1.20+/-0.05mm Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |
| 1010420177 | NEEDLE NYLON 1, 1/2 CI. R.B. 40MM | 100 |  |
|  | Monofilament Nylon Suture, Wire diameter (mm): 1.12+/-0.02mm Bore Dia 0.53mm Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |
| 1010420178 | Needle 40mm, 1/2 CRB.heavy,PGA:1 | 1000 |  |
|  | Specification: USP SIze: 1 (Braided) Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420179 | Needle 40mm,1/2 CTC.heavy,PGA:1 | 100 |  |
|  | Specification: USP SIze: 1 (Braided) Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420180 | Needle 40mm, 1/2 CRC.PGA: 1 | 100 |  |
|  | Specification: USP Size: PGA 1 (braided) Bore diameter: 0.55+/- 0.01MM Wire diameter: 1.2+/-0.02mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420181 | Needle 50mm,1/2 CRC.heavy,PGA:1 | 100 |  |
|  | Specification: USP Size: PGA 1 (Braided) Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420182 | Needle 50mm, 1/2 CRB. heavy,PGA:1 | 100 |  |
|  | Specification: USP Size: PGA 1 (Braided) Wire diameter: 1.2+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420183 | NEEDLE 45 MM, 3/8 CRB.PGA 1 | 100 |  |
|  | Specification: USP Size: PGA 1 (Braided) Wire diameter: 1.00+/-0.02mm Bore diameter: 0.55+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420184 | Needle 40mm, 1/2 CRC PGA 2/0 | 100 |  |
|  | Specification: USP SIze: 2/0 (Braided) Wire diameter: 0.84+/-0.02mm Bore diameter: 0.42+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420185 | NEEDLE 30 mm, 1/2 CRB.PGA 2/0 | 100 |  |
|  | Specification: USP Size: PGA 2-0 (Braided) Wire diameter: 0.80+/-0.02mm Bore diameter: 0.42+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420186 | NEEDLE 40mm, 1/2 CRB.PGA 2/0 | 100 |  |
|  | Specification: USP Size: PGA 2/0 (Braided) Wire diameter: 0.84+/-0.02mm Bore diameter: 0.42+/-0.02mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420187 | Needle 22mm, 3/8 CC.PGA: 3/0 | 100 |  |
|  | Specification: USP SIze: 3/0 (Braided) Wire diameter: 0.70+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420188 | Needle 20mm, 1/2 CCB.PGA: 3/0 | 100 |  |
|  | Specification: USP Size: PGA 3/0 (Braided) Wire diameter: 0.62+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420189 | Needle 16mm, 3/8 CC.PGA: 3/0 | 100 |  |
|  | Specification: USP Size: PGA 3/0 (Braided) Wire diameter: 0.54+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420190 | Needle 22mm, 1/2 CC.PGA: 3/0 | 100 |  |
|  | Specification: USP Size: PGA 3/0 (Braided) Wire diameter: 0.70+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420191 | Needle 12mm, 3/8 CRC.PGA: 3/0 | 100 |  |
|  | Specification: USP SIze: PGA 3/0 (Braided) Wire diameter: 0.54+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420192 | Needle 17mm, 1/2 C.TA.CU.PGA: 3/0 | 100 |  |
|  | Specification: USP Size: PGA 3/0 (Braided) Wire diameter: 0.60+/-0.02mm Bore diameter: 0.33+-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420193 | Needle 36mm, 1/2 C.TA.CU.PGA 3/0 | 100 |  |
|  | Specification: USP SIze: PGA 3/0 (Braided) Wire diameter: 0.71+/-0.02mm Bore diameter: 0.33+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420194 | Needle 20mm, 1/2 CRB.PGA: 4/0 | 100 |  |
|  | Specification: USP SIze: 4/0 (Braided) Wire diameter: 0.54+/-0.02mm Bore diameter: 0.28+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420195 | Needle 16mm, 1/2 CRB.PGA: 4/0 | 100 |  |
|  | Specification: USP SIze: 4/0 (Braided) Wire diameter: 0.54+/-0.02mm Bore diameter: 0.28+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420196 | Needle16mm, 5/8 CC PGA: 4/0 | 100 |  |
|  | Specification: USP Size: PGA 4/0 (Braided) Bore dia 0.28 +/ -0.02mm Wire dia : 0.48 to 0.51mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420197 | Needle 12mm, 3/8 CRCPGA: 4/0 | 100 |  |
|  | Specification: USP Size: PGA 4/0 (Braided) WIre diameter: 0.54+/-0.02mm Bore diameter: 0.28+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420198 | NEEDLE 16mm, 1/2 CRB.PGA: 5/0 | 100 |  |
|  | Specification: USP SIze:5/0 (Braided) Wire diameter: 0.48+/-0.02mm Bore diameter: 0.22+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420199 | NEEDLE 12mm, 3/8 CRC.PGA: 5/0 | 100 |  |
|  | Specification: USP Size: 0 Wire diameter: 0.84+/-0.02mm Bore diameter: 0.45+/-0.01mm Material: High Quality martensitic Stainless Steel Grade AISI-420. |  |  |
|  | . |  |  |
| 1010420200 | Needle 40mm, 1/2CRB.PGA: 0 | 100 |  |
|  | Specification: USP SIze: 0 (Braided) Wire diameter: 1+/-0.02mm Bore diameter: 0.47+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420201 | Needle 40mm, 1/2C.TA.CPGA: 0 | 100 |  |
|  | Specification: USP Size: PGA 0 (Braided) Wire diameter: 1+/-0.02mm Bore diameter: 0.47+/-0.01mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420202 | Needle 36mm,1/2CRC(OS),PGA: 0 | 100 |  |
|  | Specification: USP Size: PGA 0 (Braided) Bore diameter: 0.47+/-0.01mm Wire diameter:1.2+/-0.02mm Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420203 | NEEDLE 30 MM, 1/2 CRB.PGA: 0 | 100 |  |
|  | Specification: USP Size: PGA 0 (Braided) Bore diameter: 0.47+/-0.01mm. Wire diameter: 0.84+/-0.02mm. Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420204 | NEEDLE , 40MM 1/2CRB. HEAVY,PDO: 1 | 2000 |  |
|  | Specification: Suture type: Poly dioxanone (PDO) monofilament suture USP 1. Wire diameter: 1.2+/-0.02mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420205 | NEEDLE 50MM 1/2 CRB HEAVY PDO: 1. | 100 |  |
|  | Specificaton: Suture type: Polydioxanone (PDO) Monofilament USP 1. Wire diameter: 1.2+/-0.02mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420206 | NEEDLE 45MM 1/2CRB HEAVY PDO: 1 | 200 |  |
|  | Specification: SUTURE SIZE: USP 1 Wire diameter: 1.2+/-0.02mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420207 | NEEDLE 30MM, 1/2 CRB.PDO: 2-0 | 1000 |  |
|  | Specification: Suture size: USP 2-0, monofilament poly (p-DIOXANONE). Wire diameter: 0.78+/-0.02mm Bore diameter: 0.45+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420208 | NEEDLE 20MM 1/2 CRB.PDO: 3/0 | 1000 |  |
|  | Specification: SUTURE SIZE: USP 3/0 Wire diameter: 0.78+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420209 | NEEDLE 40MM 1/2 CRC-OS NEEDLE PDO | 200 |  |
|  | Specification SUTURE SIZE: USP 1 Wire diameter: 1.2+/-0.02mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420210 | NEEDLE 40MM, 1/2 CRB. HEAVY, PDO: 0 | 100 |  |
|  | Specification: Suture type: Polydioxanone (PDO) monofilament USP 0. Wire diameter: 1.12+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420211 | NEEDLE 40MM, 1/2CRB. HEAVY,PDO: 0. | 200 |  |
|  | Specification: Suture type: Polydioxanone (PDO) monofilament USP 0. Wire diameter: 1.12+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420212 | NEEDLE 30MM 1/2 CRB.PDO: 0 | 100 |  |
|  | Specification: SUTURE SIZE: USP 0 Wire diameter: 1+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420213 | NEEDLE 48 MM 1/2 CRC.PDO:1 | 200 |  |
|  | Specification: SUTURE SIZE: USP 1 Wire diameter: 1.2+/-0.02mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420214 | NEEDLE-40MM 1/2 C.TA.C.G HEAVY PDO:1 | 300 |  |
|  | Specification: Suture material: PDO monofilament USP 1 Wire diameter: 1.2+/-0.02mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420215 | NEEDLE PGA-PCL 2-0,26MM 1/2 CRB. | 1000 |  |
|  | Specification: Suture type: PGA-PCL [Poly (glycolide-co-caprolactone) ] monofilament suture, USP 2-0 Wire diameter: 0.84+/-0.02mm Bore diameter: 0.45+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420216 | NEEDLE PGA-PCL 2-0,26MM 3/8 CRB. | 200 |  |
|  | Specification Suture type: PGA-PCL [Poly (glycolide-co-caprolactone) ] monofilament suture, USP 2-0. Wire diameter: 0.84+/-0.02mm Bore diameter: 0.45+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420217 | NEEDLE PGA-PCL 2/0 30MM, 1/2 CRB. | 1000 |  |
|  | Specification: SUTURE SIZE: USP 2/0 Wire diameter: 0.84+/-0.02mm Bore diameter: 0.45+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420218 | NEEDLE PGA-PCL 2/0 30MM, 1/2 CRB | 200 |  |
|  | Specification: Suture material: PGA-PCL Monofilament USP 2-0 Wire diameter: 0.84+/-0.02mm Bore diameter: 0.45+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420219 | NEEDLE PGA-PCL3-0 25MM 3/8 CC. | 200 |  |
|  | Specification: Suture type: PGA-PCL [Poly (glycolide-co-caprolactone) ] MONOFILAMENT USP 3-0. Wire diameter: 0.84+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420220 | NEEDLE PGA-PCL 3-0 26MM 1/2 CRB. | 200 |  |
|  | Specification: Suture type: PGA-PCL [Poly (glycolide-co-caprolactone) ] monofilament, USP 3-0 Wire diameter: 0.80+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420221 | NEEDLE PGA-PCL3-0 26MM 3/8 CRB | 200 |  |
|  | Specification: Suture type: PGA-PCL [Poly (glycolide-co-caprolactone) ] monofilament suture USP 3-0 Wire diameter: 0.80+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420222 | NEEDLE PGA-PCL 3/0 20MM, 1/2 CRB | 200 |  |
|  | Specification: SUTURE SIZE: USP 3/0 Wire diameter: 0.78+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420223 | NEEDLE PGA-PCL3/0 60MM, STR.CU. | 200 |  |
|  | Specification: Suture material: PGA-PCL Monofilament USP 3-0 Wire diameter: 0.70+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420224 | NEEDLE PGA-PCL 3/0 26 MM 1/2 CRB. | 500 |  |
|  | Suture type: PGA-PCL [Poly (glycolide-co -caprolactone) ] MONOFILAMENT USP 3-0. Wire diameter: 0.62+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420225 | NEEDLE PGA-PCL 3/0 24MM 3/8CRC USP 3-0 | 200 |  |
|  | Specification: Suture size : PGA-PCL 3-0 (Monofilament) Wire diameter: 0.62+/-0.02mm Bore diameter: 0.36+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420226 | NEEDLE PGA-PCL 4-0 16MM 3/8 CRC. | 1000 |  |
|  | Specification: Suture size: PGA-PCL [Poly (glycolide-co-caprolactone) ] MONOFILAMENT USP 4-0. Wire diameter: 0.54+/-0.02mm Bore diameter: 0.28+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420227 | NEEDLE PGA-PLA 4/0 20MM, 1/2 CRB. | 1000 |  |
|  | Specification: SUTURE SIZE: USP 4/0 Wire diameter: 0.70+/-0.02mm Bore diameter: 0.33+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420228 | NEEDLE 20MM 1/2 CRB.PDO:4/0 | 100 |  |
|  | Specification SUTURE SIZE: USP 4/0 Wire diameter: 0.62+/-0.02mm Bore diameter:0.28+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420229 | NEEDLE16 MM 3/8 CRB.PGA-PCL 4-0 | 100 |  |
|  | Suture type: PGA-PCL [Poly (glycolide-co -caprolactone) ] MONOFILAMENT USP 4-0. Wire diameter: 0.48+/-0.02mm Bore diameter: 0.28+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420230 | NEEDLE30MM 1/2 CRB.PGA-PCL 0 | 500 |  |
|  | Specification: SUTURE SIZE: USP 0 Wire diameter: 1+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420231 | NEEDLE 40MM 1/2 C.TA.C. HEAVY PDO:0 | 200 |  |
|  | Specification: SUTURE SIZE: USP 0 Wire diameter: 1.12+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420232 | NEEDLE 30MM 1/2CRB HEAVY PDO:0 | 200 |  |
|  | Specification: SUTURE SIZE: USP 0 Wire diameter: 1.12+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420233 | NEEDLE 40MM 1/2C.TA.C.PGA-PLA: 0 | 500 |  |
|  | Specification: SUTURE SIZE: Poly(glycolide-co-lactide) USP 0 Wire diameter: 1+/-0.02mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420234 | NEEDLE 30MM, 1/2 CRB.PGA-PLA: 2/0. | 300 |  |
|  | Specification: SUTURE SIZE: poly(glycolide-co-lactide) USP 2/0 Wire diameter: 0.80+/-0.02mm Bore diameter: 0.47+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420235 | NEEDLE 40MM 1/2 CRB.PGA-PLA: 2/0 | 1000 |  |
|  | Specification SUTURE SIZE: Poly(glycilide-co-lactide) USP 2/0 Wire diameter: 0.84+/-0.02mm Bore diameter: 0.47+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420236 | NEEDLE 40MM 1/2 CRC.PGA-PLA: 2/0 | 100 |  |
|  | Specification: SUTURE SIZE: Poly(glycolide-co-lactide) USP 2/0 Wire diameter: 0.84+/-0.02mm Bore diameter: 0.47+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420237 | NEEDLE 20MM 1/2 CRB.PGA-PLA: 3/0 | 2000 |  |
|  | Specification: Needle: 20mm, 1/2 circle round body Wire diameter: 0.62 +/- 0.01mm Bore diameter: 0.36 +/- 0.01mm Suture size: poly(glycolide-co-lactide) USP 3/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420238 | NEEDLE 22MM, 3/8 CC.PGA-PLA: 3-0 | 500 |  |
|  | "Specification: Needle: 22mm, 3/8 circle cutting Wire diameter: 0.62 +/- 0.01mm Bore diameter: 0.36 +/- 0.01mm Suture size: poly(glycolide-co-lactide) USP 3/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420239 | NEEDLE 16MM 1/2 CRB.PGA-PLA: 5/0. | 300 |  |
|  | Specification: SUTURE SIZE: Poly(glycolide-co-lactide) USP 5/0 Wire diameter: 0.48+/-0.02mm Bore diameter: 0.28+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420240 | NEEDLE-40MM 1/2 CIR.REV.CU. OS | 300 |  |
|  | Specification: SUTURE SIZE: Poly(glycolide-co-lactide) USP 1 Wire diameter: 1.2+/-0.01mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420241 | NEEDLE 40MM, 1/2 CRB.PGA-PLA: 0 | 10000 |  |
|  | Specification: SUTURE SIZE: Poly(glycolide-co-lactide) USP 0 Wire diameter: 1+/-0.01mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420242 | NEEDLE 40MM 1/2 CRB.HEAVY PGA-PLA:1 | 200 |  |
|  | Specification: SUTURE SIZE: Poly(glycolide-co-lactide) USP 1 Wire diameter: 1.2+/-0.01mm Bore diameter: 0.60+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420243 | NEEDLE - 36MM 1/2 CRC.OS NEEDLE | 1000 |  |
|  | Specification: SUTURE SIZE: Ploy(glycolide-co-lactide) USP 0 Wire diameter: 1.2+/-0.01mm Bore diameter: 0.55+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420244 | NEEDLE40MM 1/2 C.TA.CU.HEAVY PGA-PLA | 7000 |  |
|  | "Specification: Needle: 40mm, 1/2 circle taper cutting, heavy Wire diameter: 1.2 +/- 0.01mm Bore diameter: 0.60 +/- 0.01mm Suture size: poly(glycolide-co-lactide) USP 1 Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420248 | NEEDLE 40MM 1/2 C.TA.CU.HEAVY PGA-PLA | 100 |  |
|  | Specification: SUTURE SIZE: Poly(glycolide-co-lactide), USP 1 Wire diameter: 1.2+/-0.02mm Bore diameter: 0.60+/-0.01mm Material: High Quality stainless steel Grade 300. |  |  |
| 1010420249 | NEEDLE SUTURE 36MM, 1/2 CRB.PGA-PLA:1 | 100 |  |
|  | Specification: Needle: 36mm, 1/2 circle round body. Suture size: Polyglactin 910, USP 1 (Braided) Wire diameter: 1+/-0.02mm Bore diameter: 0.57+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420251 | NEEDLE 40MM 1/2 C.TA.CU.HEAVY PGA-PLA. | 100 |  |
|  | Specification: Suture size: Polyglactin 910, Braided, USP 1. Wire diameter: 1+/-0.01mm Bore diameter: 0.57+/-0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420267 | NEEDLE-30MM, 3/8 CIRCLE ROUND BODY (PGA) | 100 |  |
|  | Specification: Suture size: PGA, USP 2-0 Wire diameter: 0.80 +/- 0.01mm Bore diameter: 0.42 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420268 | NEEDLE-37MM, 1/2 CIRCLE REV CUT(PGA PLA) | 100 |  |
|  | Specification: Suture size: PGA-PLA, USP 2-0 Wire diameter: 0.84 +/- 0.01mm Bore diameter: 0.47 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420269 | NEEDLE-37MM,1/2 CIRCLE ROUND BODY | 100 |  |
|  | PGS-PLA) Specification: Suture size: PGA-PLA, USP 2-0 Wire diameter: 0.84 +/- 0.01mm Bore diameter: 0.47 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420270 | NEEDLE-26MM, 3/8 CIRCLE ROUND BODY (PGA) | 100 |  |
|  | Specification: Suture size: PGA, USP 3-0 Wire diameter: 0.70 +/- 0.01mm Bore diameter: 0.33 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420271 | NEEDLE-30MM, 3/8 CIRCLE ROUND BODY. | 100 |  |
|  | Specification: Suture size: PGA, USP 3-0 Wire diameter: 0.70 +/- 0.01mm Bore diameter: 0.33 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420272 | NEEDLE-37MM, 1/2 CIRCLE ROUND BODY | 100 |  |
|  | (PGA PLA) Specification: Suture size: PGA-PLA, USP 3-0 Wire diameter: 0.70 +/- 0.01mm Bore diameter: 0.36 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420273 | NEEDLE-37MM,1/2 CIRCLE REV-CUT (PGA PLA) | 100 |  |
|  | Specification: Suture size: PGA-PLA, USP 3-0 Wire diameter: 0.70 +/- 0.01mm Bore diameter: 0.36 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420274 | NEEDLE-13MM, 1/2 CIRCLE ROUND BODY | 100 |  |
|  | Suture size: PGA, USP 4-0 Wire diameter: 0.54 +/- 0.01mm Bore diameter: 0.28 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420276 | NEEDLE 45MM 3/8 CIRCLE CUTTING PGA 1 | 100 |  |
|  | SPECIFICATION: USP SIZE: PGA 1 Wire diameter: 1.2mm Bore diameter: 0.55mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420277 | NEEDLE-36MM, 3/8 CIRCLE ROUND BODY (PGA) | 100 |  |
|  | Specification: Suture size: PGA, USP 0 Wire diameter: 0.84 +/- 0.01mm Bore diameter: 0.47 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420278 | NEEDLE-36MM, 1/2 CIRCLE ROUND BODY (PGA) | 100 |  |
|  | Specification: Suture size: PGA, USP 1 Wire diameter: 1.00 +/- 0.01mm Bore diameter: 0.55 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420279 | NEEDLE-26MM, 1/2 CIRCLE TAPER CUT (PGA) | 100 |  |
|  | Specification: Suture size: PGA, USP 1 Wire diameter: 0.84 +/- 0.01mm Bore diameter: 0.55 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420280 | NEEDLE FOR PDO SUTURE-40MM, 1/2 C R B | 100 |  |
|  | specification: NEEDLE : 40MM, 1/2 CIRCLE ROUND BODY. Suture type: Poly dioxanone (PDO) monofilament suture USP 1. Wire diameter: 1+/-0.01mm Bore diameter: 0.57+/-0.01mm Material: High Quality martensitic stainlesssteel Grade AISI-420. |  |  |
| 1010420281 | NEEDLE-40MM,1/2 CIRCLE REV CUT (PGA-PLA) | 200 |  |
|  | Specification: Suture size: PGA-PLA, USP 0 Wire diameter: 1.00 +/- 0.01mm Bore diameter: 0.55 +/- 0.01mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420282 | NEEDLE PGA-PLA 2-0 SUTURE 30MM,1/2 C, TC | 200 |  |
|  | Specification: Needle: 30mm, 1/2 circle taper cutting. Suture material : PGA-PLA USP 2-0 Wire diameter: 0.80mm Bore diameter: 0.47mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420283 | NEEDLE-50MM 1/2C REVERSE CUTTING, HEAVY. | 200 |  |
|  | SPECIFICATION: NEEDLE: 50MM, 1/2 CIRCLE REVERSE CUTTING HEAVY. SUTURE: PGA-PLA USP 1 WIRE DIAMETER: 1.2+/-0.01MM BORE DIAMETER: 0.60 MM Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420284 | NEEDLE-30MM 1/2 C REVERSE CUTTING | 200 |  |
|  | Specification: Item name: Needle: 30mm, ½ circle reverse cutting-siliconised. 1.Wire diameter: 0.92+/-0.01mm 2. Bore diameter: 0.55+/-0.01mm 3. Suture material: PGA-PLA, USP 0 (Braided) 4. All needles must be siliconised 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420285 | NEEDLE-40MM 1/2 CIRCLE ROUND BODY | 5000 |  |
|  | NEEDLE-40MM 1/2 CIRCLE ROUND BODY Specification: NEEDLE: 40MM, ½ CIRCLE ROUND BODY. SUTURE MATERIAL: PGA-PLA USP SIZE 2. Wire diameter: 1.2MM Bore diameter: 0.72MM Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420287 | NEEDLE-30MM 1/2 CIRCLE ROUND BODY | 200 |  |
|  | NEEDLE-30MM 1/2 CIRCLE ROUND BODY SPECIFICATION: NEEDLE: 30MM, 1/2 CIRCLE ROUND BODY SUTURE MATERIAL: PGA-PLA USP 2 BORE DIAMETER: 0.72MM WIRE DIAMETER: 1MM Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420288 | NEEDLE-40MM 1/2 CIRCLE TAPER CUTTING | 1000 |  |
|  | NEEDLE-40MM 1/2 CIRCLE TAPER CUTTING Specification: Needle: 40mm, 1/2 circle taper cutting Suture material: PGA-PLA USP 2 Wire diameter: 1.2mm Bore diameter: 0.72mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420289 | NEEDLE-48MM 1/2 CIRCLE ROUND BODY | 100 |  |
|  | NEEDLE-48MM 1/2 CIRCLE ROUND BODY SPECIFICATION: Needle: 48mm, ½ circle round body Suture material: PGA-PLA suture Usp size 2 Wire diameter: 1.3mm Bore diameter: 0.72mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420292 | NEEDLE- PGA PLA 2/0,5/8 TAPER POINT 27MM | 100 |  |
|  | "Specifications: SUTURE SIZE:2/0 Wire diameter:0.71 +/-0.01mm Bore diameter: 0.47+/-0.01mm 27mm , 5/8 C, Taper Point Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420293 | NEEDLE-30MM,1/2 CRB,HIDOX USP 3-0 | 100 |  |
|  | Specification: Needle: 30mm, ½ circle round body Wire diameter: 0. 78mm Bore diameter: 0.36mm Suture mtl: Polydioxanone USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420294 | NEEDLE-50MM,1/2 CRB,HEAVY,PGA-PLA USP 1 | 500 |  |
|  | Specification: Needle: 50mm, ½ circle round body, heavy. Wire diameter: 1.2mm Bore diameter: 0.60mm Suture mtl: Polyglactin 910 USP 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420295 | NEEDLE-30MM,1/2 CRC, PGA USP 0 | 100 |  |
|  | Specification: Needle: 30mm, ½ circle reverse cutting Wire diameter: 0. 84mm Bore diameter: 0.47mm Suture mtl: Polyglycolicacid USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420296 | NEEDLE-22MM,1/2CIRCLE CUTTING,PGA-PLA3-0 | 1000 |  |
|  | Specification: Needle: 22mm, 1/2 circle cutting Wire diameter: 0. 62mm Bore diameter: 0.36mm Suture mtl: Polyglactin 910 USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420297 | NEEDLE-45MM,1/2 CIRCLE CUTTING,PP USP-0 | 100 |  |
|  | Specification: Needle: 45mm, 1/2 circle cutting Wire diameter: 1.1mm Bore diameter: 0.45mm Suture mtl: Polypropylene USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420298 | NEEDLE-16MM,3/8 CIRCLE RC,Silk USP 3-0 | 100 |  |
|  | Specification: Needle: 16mm, 3/8 circle reverse cutting Wire diameter: 0.54mm Bore diameter: 0.33mm Suture mtl: Silk USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420299 | NEEDLE-26MM,3/8CIRCLE CUTTING,PGA-PLA2-0 | 100 |  |
|  | Specification: Needle: 26mm, 3/8 circle cutting Wire diameter: 0. 78mm Bore diameter: 0.47mm Suture mtl: Polyglactin 910 USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420300 | NEEDLE-22MM,1/2CIRCLE CUTTING,PGA-PLA4-0 | 100 |  |
|  | Specification: Needle: 22mm, 1/2 circle cutting Wire diameter: 0. 54mm Bore diameter: 0.33mm Suture mtl: Polyglactin 910 USP 4-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420301 | NEEDLE-30MM,1/2 CIRCLE CUTTING,SILK 2-0 | 200 |  |
|  | Specification: Needle: 30mm, 1/2 circle cutting Wire diameter: 0.78 +/- 0.01 mm Bore diameter: 0.42mm Suture mtl: Silk USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420302 | NEEDLE-36MM,1/2CIRCLE TAPER CUT,PGA 2-0 | 100 |  |
|  | Specification: Needle: 36mm, 1/2 circle taper cutting Wire diameter: 0.78 +/- 0.01 mm Bore diameter: 0.42+/- 0.01 mm Suture mtl: Polyglycolic Acid USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420303 | NEEDLE-36MM,1/2CIR. ROUND BODY,PGA 2-0 | 100 |  |
|  | Specification: Needle: 36mm, 1/2 circle round body Wire diameter: 0. 78+/- 0.01 mm Bore diameter: 0.42+/- 0.01 mm Suture mtl: Polyglycolic Acid USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420304 | NEEDLE-40MM,3/8CIR. ROUND BODY,PGA 1 | 100 |  |
|  | Specification: Needle: 40mm, 3/8 circle round body Wire diameter: 1.00+/- 0.01 mm Bore diameter: 0.55+/- 0.01 mm Suture mtl: Polyglycolic Acid USP 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420305 | NEEDLE-25MM,1/2CIR. ROUND BODY,PP 2/0 | 100 |  |
|  | Needle: 25mm, 1/2 circle round body Wire diameter: 0.78+/- 0.01 mm Bore diameter: 0.36+/- 0.01 mm Suture mtl: Polypropylene USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420306 | NEEDLE-25MM,3/8CIR. CUTTING,PP 3/0 | 100 |  |
|  | Specification: Needle: 25mm, 3/8 circle cutting Wire diameter: 0.61+/- 0.01 mm Bore diameter: 0.28+/- 0.01 mm Suture mtl: Polypropylene USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420307 | NEEDLE-40MM,1/2CIRCLE REVERS CUT,PGA 3-0 | 100 |  |
|  | Specification: Needle: 40mm, 1/2 circle reverse cutting-ribbed & siliconised Wire diameter: 0.78 +/- 0.01 mm Bore diameter: 0.33+/- 0.01 mm Suture mtl: Polyglycolic Acid USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420308 | NEEDLE-25MM, 1/2 CRC, PGA-PLA USP 3-0 | 100 |  |
|  | Specification: Needle: 25MM, 1/2 CIRCLE REVERSE CUTTING-ribbed & siliconised Wire diameter: 0.62 +/- 0.01 mm Bore diameter: 0.36+/- 0.01 mm Suture mtl: PGA-PLA USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420309 | NEEDLE-26MM, 3/8 CRC, HEAVY,PGA-PLA USP | 100 |  |
|  | Specification: Needle: 26MM, 3/8 CIRCLE REVERSE CUTTING, HEAVY-ribbed & siliconised Wire diameter: 0.84 +/- 0.01 mm Bore diameter: 0.60+/- 0.01 mm Suture mtl: PGA-PLA USP 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420310 | NEEDLE-26MM, 3/8 CIRCLE CUTTING, USP 3-0 | 100 |  |
|  | Specification: Needle: 26mm, 3/8 circle cutting-ribbed & siliconised Wire diameter: 0.62 +/- 0.01 mm Bore diameter: 0.33+/- 0.01 mm Suture mtl: Polyglycolic Acid USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420311 | NEEDLE 30MM,3/8 CIRCLE CUTTING USP 3/0 | 100 |  |
|  | Specification: Needle: 30MM, 3/8 CIRCLE CUTTING NEEDLE-ribbed & siliconised Wire diameter: 0.66 (+ 0.02 mm ) Bore diameter: 0.28 (-0.01+0.02mm) Suture mtl: Nylon USP 3/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420312 | NEEDLE 30MM,3/8 CIRCLE CUTTING USP 2/0 | 100 |  |
|  | Specification: Needle: 30MM, 3/8 CIRCLE CUTTING NEEDLE-ribbed & siliconised Wire diameter: 0.74 (+0.02 mm ) Bore diameter: 0.36 (-0.01+0.02mm) Suture mtl: Nylon USP 2/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420313 | NEEDLE 13MM,3/8 CIRCLE TAPER CUT USP 6/0 | 100 |  |
|  | Specification: Needle: 13MM, 3/8 CIRCLE TAPER CUT-ribbed & siliconised Wire diameter: 0.27 (+ 0.02 mm) Bore diameter: 0.15 (+/- 0.01 mm) Suture mtl: Polypropelene USP 6/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420314 | NEEDLE-12MM, 1/2 CIRCLE CUTTING | 100 |  |
|  | Specification: Needle: 12MM, 1/2 CIRCLE CUTTING NEEDLE-ribbed & siliconised Wire diameter: 0.46 (-0.0+0.02mm ) Bore diameter: 0.22(-0.01+0.02mm) Suture mtl: PGA USP 5-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420315 | NEEDLE-30MM, 1/2C, REVERSE CUTTING | 200 |  |
|  | Specification: Needle: 30MM, 1/2 CIRCLE REVERSE CUTTING-ribbed & siliconised Wire diameter: 0.74 (-0.0mm +0.02mm) Bore diameter: 0.36 (-0.01 mm +0.02mm) Suture mtl: Polypropylene USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420316 | NEEDLE-16MM, 1/2C, REVERSE CUTTING | 200 |  |
|  | Specification: Needle: 16MM, 1/2CIRCLE REVERSE CUTTING-ribbed & siliconised Wire diameter: 0.56 (-0.0mm +0.02mm) Bore diameter: 0.28 (-0.01mm +0.02mm) Suture mtl: Polyglycolicacid USP 5-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420317 | NEEDLE-20MM, 1/2C, REVERSE CUTTING | 200 |  |
|  | Specification: Needle: 20MM, 1/2CIRCLE REVERSE CUTTING-ribbed & siliconised Wire diameter: 0.74 (-0.0mm +0.02mm) Bore diameter: 0.36 (-0.01mm +0.02mm) Suture mtl: Polydioxanone USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420318 | NEEDLE-30 MM 1/2CIRCLE CUTTING | 100 |  |
|  | Specification: Needle: 30MM, 1/2CIRCLE, CUTTING-ribbed & siliconised Wire diameter: 0.71 (-0.0mm +0.02mm) Bore diameter: 0.33 (-0.01 mm +0.02mm) Suture mtl: Silk USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420319 | NEEDLE 13MM 3/8CIRCLE ROUND BODY | 100 |  |
|  | Specification: Needle: 13MM, 3/8 CIRCLE, ROUND BODY-ribbed & siliconised Wire diameter: 0.24 (-0.0+0.02mm) Bore diameter: 0.18 (± 0.01mm) Suture mtl: Silk USP 6-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420320 | NEEDLE 23MM 3/8CIRCLE REV.CUTTING HEAVY | 100 |  |
|  | Specification: Needle: 23MM, 3/8 CIRCLE, REVERSE CUTTING, HEAVY-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420321 | NEEDLE 23MM 3/8CIRCLE REV.CUTTING HEAVY | 100 |  |
|  | Specification: Needle: 23MM, 3/8 CIRCLE REVERSE CUTTING, HEAVY-ribbed & siliconised Wire diameter: 0.84 +/- 0.01 mm Bore diameter: 0.60+/- 0.01 mm Suture mtl: PGA-PLA USP 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420322 | NEEDLE-26MM 3/8CIR. REVERSE CUTTING,2/0 | 100 |  |
|  | Specification: Needle: 26MM, 3/8 CIRCLE, REVERSE CUTTING - ribbed & siliconised Wire diameter: 0.71 (-0.0+0.02mm) Bore diameter: 0.36 (-0.01+0.02mm) Suture mtl: NYLON USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420323 | NEEDLE-19MM 3/8CIR. REVERSE CUTTING,3/0 | 100 |  |
|  | Specification: Needle: 19MM, 3/8 CIRCLE, REVERSE CUTTING - ribbed & siliconised Wire diameter: 0.61 (-0.0+0.02mm) Bore diameter: 0.28 (-0.01+0.02mm) Suture mtl: NYLON USP 3/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420324 | NEEDLE-22MM 3/8CIR. REVERSE CUTTING,3/0 | 100 |  |
|  | Specification: Needle: 22MM, 3/8 CIRCLE, REVERSE CUTTING-ribbed & siliconised Wire diameter: 0.61 (-0.0+0.02mm) Bore diameter: 0.28 (-0.01+0.02mm) Suture mtl: NYLON USP 3/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420325 | NEEDLE-19MM 3/8CIR. REVERSE CUTTING,4/0 | 100 |  |
|  | Specification: Needle: 19MM, 3/8 CIRCLE, REVERSE CUTTING - ribbed & siliconised Wire diameter: 0.56 (-0.0+0.02mm) Bore diameter: 0.25 (-0.01+0.02mm) Suture mtl: NYLON USP 4/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420326 | NEEDLE-22MM 3/8CIR. REVERSE CUTTING,4/0 | 100 |  |
|  | Specification: Needle: 22MM, 3/8 CIRCLE, REVERSE CUTTING - ribbed & siliconised Wire diameter: 0.56 (-0.0+0.02mm) Bore diameter: 0.25 (-0.01+0.02mm) Suture mtl: NYLON USP 4/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420327 | NEEDLE-19MM 3/8CIR. REVERSE CUTTING,3/0 | 100 |  |
|  | Specification: Needle: 19MM, 3/8 CIRCLE, REVERSE CUTTING - ribbed & siliconised Wire diameter: 0.61 (-0.0+0.02mm) Bore diameter: 0.33 (-0.01+0.02mm) Suture mtl: SILK USP 3/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420328 | NEEDLE-19MM 3/8CIR. REVERSE CUTTING,4/0 | 100 |  |
|  | Specification: Needle: 19MM, 3/8 CIRCLE, REVERSE CUTTING - ribbed & siliconised Wire diameter: 0.56 (-0.0+0.02mm) Bore diameter: 0.28 (-0.01+0.025mm) Suture mtl: SILK USP 4/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420329 | NEEDLE-23MM 1/2 CIR.REV.CUT,HEAVY,USP O | 100 |  |
|  | Specification: Needle: NEEDLE-23MM 1/2 CIRCLE REVERSE CUTTING,HEAVY,USP O-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420330 | NEEDLE-23MM 1/2 CIR.REV.CUT,HEAVY,USP 1 | 100 |  |
|  | Specification: Needle: NEEDLE-23MM 1/2 CIRCLE REVERSE CUTTING,HEAVY,USP 1-ribbed & siliconised Wire diameter: 0.84 (-0.0+0.02mm) Bore diameter: 0.60 (-0.01+0.02mm) Suture mtl: PGA-PLA USP 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420331 | NEEDLE-23MM 1/2 CIR.REV.CUT,HEAVY,USP O | 2000 |  |
|  | Specification: Needle: NEEDLE-23MM 1/2 CIRCLE REVERSE CUTTING,HEAVY,USP O-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420332 | NEEDLE-23MM 1/2 CIR.REV.CUT,HEAVY,USP 1 | 3000 |  |
|  | Specification: Needle: NEEDLE-23MM 1/2 CIRCLE REVERSE CUTTING,HEAVY,USP 1-ribbed & siliconised Wire diameter: 0.84 (-0.0+0.02mm) Bore diameter: 0.60 (-0.01+0.02mm) Suture mtl: PGA-PLA USP 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420333 | NEEDLE-36MM 1/2 CIR. REVERSE CUTTING, 2/ | 5000 |  |
|  | Specification: Needle: NEEDLE-36MM 1/2 CIR. REVERSE CUTTING, 2/0-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.47 (-0.01+0.02mm) Suture mtl: Polyglactin 910 Rapid USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420334 | NEEDLE-36MM 1/2 CIR. ROUND BODY, 2/0 | 5000 |  |
|  | Specification: Needle: NEEDLE-36MM 1/2 CIR. ROUND BODY, 2/0-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.47 (-0.01+0.02mm) Suture mtl: Polyglactin 910 Rapid USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420335 | NEEDLE-20MM 3/8 CIR. ROUND BODY, 4/0 | 200 |  |
|  | Specification: Needle: NEEDLE-20MM 3/8 CIR. ROUND BODY, 4/0-ribbed & siliconised Wire diameter: 0.58 (-0.0+0.02mm) Bore diameter: 0.33 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 4-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420336 | NEEDLE-45MM 3/8 CRB, PGA USP 1 | 200 |  |
|  | Specification: Needle: NEEDLE-45MM 3/8 CIRCLE ROUND BODY, USP 1-ribbed & siliconised Wire diameter: 0.86 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglycolicacid USP 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420337 | NEEDLE-40MM 1/2 CRB, PGA-PLA USP 0 | 200 |  |
|  | Specification: Needle: NEEDLE-40MM 1/2 CIRCLE ROUND BODY, USP 0-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420338 | NEEDLE-40MM 1/2 CRB, HEAVY PGA-PLA USP1 | 200 |  |
|  | Specification: Needle: NEEDLE-40MM 1/2 CIRCLE ROUND BODY, HEAVY, USP 1-ribbed & siliconised Wire diameter: 1.00 (-0.0+0.02mm) Bore diameter: 0.60 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 1 Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420339 | NEEDLE-40MM 1/2 CTC, PGA-PLA USP0 | 1000 |  |
|  | Specification: Needle: NEEDLE-40MM 1/2 CIRCLE TAPER CUTTING, USP 0-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420340 | NEEDLE 40MM 1/2 CRC.PGA-PLA: 2/0 | 3000 |  |
|  | Specification: Needle: NEEDLE-40MM 1/2 CIRCLE REVERSE CUTTING, USP 2/0-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.47 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420341 | NEEDLE-40MM, 3/8CRC,NYLON1 | 100 |  |
|  | Specification: Needle: NEEDLE-40MM 3/8 CIR. REVERSE CUTTING, ribbed & siliconised Wire diameter: 1 (-0.0+0.025mm) Bore diameter: 0.53 (-0.01+0.025mm) Suture mtl: Nylon 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420342 | NEEDLE-40MM,1/2CRB,HEAVY,AISI 302,USP1 | 130000 |  |
|  | Specification: Item name: Needle: NEEDLE-40MM, 1/2 CIRCLE ROUND BODY, HEAVY-USP 1- Siliconised. 1.Wire diameter: 1.00 (-0.0 + 0.025)mm 2. Bore diameter: 0.60 (-0.01 + 0.025)mm 3. Suture material: PGA-PLA, USP 1 (Braided) 4. All needles must be siliconised. 5. Material: High Quality austenitic stainless steel Grade AISI-302. |  |  |
| 1010420343 | NEEDLE-40MM,1/2CTC,HEAVY,AISI 302,USP1 | 70000 |  |
|  | Specification: Item name: Needle: NEEDLE-40MM, 1/2 CIRCLE TAPER CUTTING, HEAVY-USP 1 Siliconised. 1.Wire diameter: 1.00 (-0.0 + 0.025)mm 2. Bore diameter: 0.60 (-0.01 + 0.025)mm 3. Suture material: PGA-PLA, USP 1 (Braided) 4. All needles must be siliconised. 5. Material: High Quality austenitic stainless steel Grade AISI-302. |  |  |
| 1010420344 | NEEDLE-45MM,1/2CRC,PGA-PLA USP 2 | 100 |  |
|  | Specification: Item name: Needle: NEEDLE-45MM, 1/2 CIRCLE REVERSE CUTTING,-USP 2 Ribbed & siliconised. 1.Wire diameter: 1.20 (-0.0+0.03)mm 2. Bore diameter: 0.72 (-0.01+0.025)mm 3. Suture material: PGA-PLA, USP 2 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420345 | NEEDLE-19MM,1/2 CIR.CUT.,PGA-PLA USP 5/0 | 100 |  |
|  | Specification: Item name: Needle: NEEDLE-19MM, 1/2 CIRCLE CUTTING-USP 5/0 Ribbed & siliconised. 1.Wire diameter: 0.56 (-0.0+0.02)mm 2. Bore diameter: 0.28 (-0.01+0.02)mm 3. Suture material: PGA-PLA, USP 5/0 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420346 | NEEDLE-30MM,1/2 CRB,AISI 302,PGA-PLA 3/0 | 100 |  |
|  | Specification: Item name: Needle: NEEDLE-30MM, 1/2 CIRCLE ROUND BODY, USP 3-0 Siliconised & RIBBED. 1.Wire diameter: 0.56 (-0.0 + 0.02)mm 2. Bore diameter: 0.36 (-0.01 + 0.02)mm 3. Suture material: PGA-PLA, USP 3-0(Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality austenitic stainless steel Grade AISI-302. |  |  |
| 1010420347 | NEEDLE-25MM,3/8 CIRCLE PRIME CUTTING | 5000 |  |
|  | Specification: Item name: Needle: NEEDLE-25MM,3/8 CIRCLE PRIME CUTTING, AISI 302,USP 3-0 Siliconised 1.Wire diameter: 0.58 (-0.0 + 0.02)mm 2. Bore diameter: 0.36 (-0.01 + 0.02)mm 3. Suture material: PGA-PCL, USP 3-0 4. All needles must be siliconised. 5. Material: High Quality austenitic stainless steel Grade AISI-302. |  |  |
| 1010420348 | NEEDLE-19MM, 3/8 CRC, PGA-PLA 3-0 | 100 |  |
|  | Needle: 19MM, 3/8 CIRCLE, REVERSE CUTTING - ribbed & siliconised Wire diameter: 0.61 (-0.0+0.02mm) Bore diameter: 0.36 (-0.01+0.02mm) Suture mtl: SILK USP 3/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420349 | NEEDLE-40MM 1/2 CRB,AISI 302,PGLA USP 0 | 40000 |  |
|  | Needle: NEEDLE-40MM 1/2 CIRCLE ROUND BODY, USP 0- ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality Austenitic stainless steel Grade AISI-302. |  |  |
| 1010420350 | NEEDLE-40MM 1/2 CTC,AISI 302,PGLA USP0 | 20000 |  |
|  | Needle: NEEDLE-40MM 1/2 CIRCLE TAPER CUTTING, USP 0- ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality Austenitic stainless steel Grade AISI-302. |  |  |
| 1010420351 | NEEDLE 30MM, 1/2 CRB,AISI 302,PGLA 2/0. | 25000 |  |
|  | NEEDLE: 30MM, 1/2 CIRCLE ROUND BODY- Ribbed & siliconised, PGA-PLA: 2/0. Wire diameter: 0.74(-0.0+0.02)mm Bore diameter: 0.47(-0.01+0.02)mm Material: High Quality Austenitic stainless steel Grade AISI-302. |  |  |
| 1010420352 | NEEDLE-40MM 1/2 CIR.REV.CU. OS, AISI-302 | 25000 |  |
|  | Specification: NEEDLE: 40MM, 1/2 CIRCLE REVERSE CUTTING, OS NEEDLE-ribbed & siliconised, pga-pla USP 1 Wire diameter: 1.2(-0.0+0.03)mm Bore diameter: 0.60(-0.01+0.025)mm Material: High Quality Austenitic stainless steel Grade AISI-302. |  |  |
| 1010420353 | NEEDLE -60 MM 3/8 CC SILK 1 BD053 | 10000 |  |
|  | Specification: Needle: 60mm,3/8circle,cutting-ribbed & siliconised, silk usp 1 1. Bore Diameter (mm): 0.53(-0.01+0.025) 2. Wire diameter (mm): 1.20(-0.0+0.03) Material:High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420354 | NEEDLE-36MM 1/2 CRC,PGA-PLA USP 0 | 500 |  |
|  | Specification: Needle: NEEDLE-36MM 1/2 CIRCLE REVERSE CUTTING, USP 0-ribbed & siliconised Wire diameter: 0.81 (-0.0+0.02mm) Bore diameter: 0.55 (-0.01+0.02mm) Suture mtl: Polyglactin 910 USP 0 Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420355 | NEEDLE-22MM 1/2 CRC, PGA-PLA USP2-0 | 500 |  |
|  | Specification: NEEDLE: 22MM, 1/2 CIRCLE REVERSE CUTTING-Ribbed & siliconised, PGA-PLA: 2/0. Wire diameter: 0.71(-0.0+0.02)mm Bore diameter: 0.47(-0.01+0.02)mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420356 | NEEDLE-40MM 1/2 CRC, PGA-PLA USP2 | 500 |  |
|  | Specification: Needle: NEEDLE-40MM 1/2 CIRCLE REVERSE CUTTING, USP 2-ribbed & siliconised Wire diameter: 1.2 (-0.0+0.03mm) Bore diameter: 0.72 (-0.01+0.025mm) Suture mtl: Polyglactin 910 USP 2 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420357 | NEEDLE-22MM 1/2 CRC, PGA-PLA USP3-0 | 200 |  |
|  | Specification: NEEDLE: 22MM, 1/2 CIRCLE REVERSE CUTTING-Ribbed & siliconised, PGA-PLA: 3/0. Wire diameter: 0.62(-0.0+0.02)mm Bore diameter: 0.36(-0.01+0.02)mm Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420358 | NEEDLE-60MM STRAIGHT CUTTING,USP 2-0 | 200 |  |
|  | Specification: NEEDLE: 60MM, STRAIGHT CUTTING-Ribbed & siliconised, NYLON 2/0. Wire diameter: 0.74(-0.0+0.02)mm Bore diameter: 0.36(-0.01+0.02)mm Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420359 | NEEDLE-50MM 1/2 CRB, PGA 0 | 500 |  |
|  | Specification: Needle: NEEDLE-50MM 1/2 CIRCLE ROUND BODY, USP 0-ribbed & siliconised Wire diameter: 1 (-0.0 + 0.025)mm Bore diameter: 0.47 (-0.01+0.02)mm Suture mtl: PGA USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420360 | NEEDLE-50MM, 1/2 CRC-PGA 2/0 | 500 |  |
|  | Specification: Needle: NEEDLE-50MM 1/2 CIRCLE REVERSE CUTTING, USP 2/0-ribbed & siliconised Wire diameter: 0.88 (-0.0+0.025 mm) Bore diameter: 0.42 (-0.01+0.02mm) Suture mtl: PGA USP 2/0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420361 | NEEDLE-50MM, 1/2 CRB-PGA 2/0 | 500 |  |
|  | Specification: Needle: NEEDLE-50MM 1/2 CIRCLE ROUND BODY, USP 2/0-ribbed & siliconised Wire diameter: 0.88 (-0.0+0.025) mm Bore diameter: 0.42 (-0.01+0.02)mm Suture mtl: PGA USP 2/0 Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010420362 | NEEDLE-50MM, 1/2 CRB, PGA-PLA 1,AISI 302 | 7000 |  |
|  | "Item name: Needle: NEEDLE-50MM, 1/2 CIRCLE ROUND BODY, HEAVY-USP 1 Siliconised, AISI-302 1.Wire diameter: 1.08 (-0.0 + 0.025)mm 2. Bore diameter: 0.60 (-0.01 + 0.025)mm 3. Suture material: PGA-PLA, USP 1 (Braided) 4. All needles must be ribbed and siliconised. 5. Material: High Quality austenitic stainless steel Grade AISI-302. |  |  |
| 1010420363 | NEEDLE-45MM 1/2 CTC, HEAVY, PET USP 2 | 1000 |  |
|  | Item name: Needle: NEEDLE-45MM, 1/2 CIRCLE TAPER CUTTING, HEAVY-USP 2 Siliconised and Ribbed. 1. Wire diameter: 1.20 (-0.0 + 0.03)mm 2. Bore diameter: 0.65 (-0.01 + 0.025)mm 3. Suture material: Polyester, USP 2 (Braided) 4. All needles must be siliconised and ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420364 | NEEDLE-26MM, 1/2 CC, PGA-PLA USP 3/0 | 500 |  |
|  | Specification: Item name:NEEDLE-26MM, ½ CIRCLE CUTTING, Siliconised. 1.Wire diameter: 0.56 (-0.0 + 0.02)mm 2. Bore diameter: 0.36 (-0.01 + 0.02)mm 3. Suture material: PGA-PLA,USP 3-0 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010420365 | NEEDLE 45MM,1/2CRB 4-0 | 500 |  |
|  | "Item name: Needle: NEEDLE-45 MM, 1/2 CIRCLE ROUND BODY, USP 4-0, AISI- 302 1.Wire diameter: 0.81(-0.0 + 0.02)mm 2. Bore diameter: 0.28 (-0.01 + 0.02)mm 3. Suture material: PLA, USP 4-0 (Braided) 4. All needles must be ribbed and siliconised. 5. Material: High Quality austenitic stainless steel Grade AISI-302. |  |  |
| 1010420366 | NEEDLE 45MM,1/2CRB 5-0 | 500 |  |
|  | Item name: Needle: NEEDLE-45 MM, 1/2 CIRCLE ROUND BODY, USP 5-0, AISI- 302 1.Wire diameter: 0.74 (-0.0 + 0.02)mm 2. Bore diameter: 0.22 (-0.01 + 0.02)mm 3. Suture material: PLA, USP 5-0 (Braided) 4. All needles must be ribbed and siliconised. 5. Material: High Quality austenitic stainless steel Grade AISI-302. |  |  |
| 1010420367 | NEEDLE-40MM 1/2 CTC, PGA, USP 2 | 500 |  |
|  | Item name: Needle: NEEDLE-40MM, 1/2 CIRCLE TAPER CUTTING-USP 2 Siliconised and Ribbed. 1. Wire diameter: 1.12 (-0.0 + 0.03)mm 2. Bore diameter: 0.60 (-0.01 + 0.025)mm 3. Suture material: PGA, USP 2 (Braided) 4. All needles must be siliconised and ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010430008 | 36MM, 3/8CIRCLE REVERSE CUTTING | 500 |  |
|  | Specification: Needle: 36MM, 3/8CIRCLE REVERSE CUTTING-ribbed & siliconised Wire diameter: 1.00 +/- 0.01 mm Bore diameter: 0.60+/- 0.01 mm Suture mtl: Polyglactin 910 USP 1 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010430009 | 36MM,1/2CIRCLE TAPER CUTTING | 2000 |  |
|  | Specification: Needle: 36MM,1/2CIRCLE TAPER CUTTING-ribbed & siliconised Wire diameter: 0.84 +/- 0.01 mm Bore diameter: 0.55+/- 0.01 mm Suture mtl: Polyglactin 910 USP 0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010430010 | 35MM,1/2CIRCLE TAPER CUTTING | 5000 |  |
|  | Specification: Needle: 35MM,1/2CIRCLE TAPER CUTTING-ribbed & siliconised Wire diameter: 0.80 +/- 0.01 mm Bore diameter: 0.47+/- 0.01 mm Suture mtl: Polyglactin 910 USP 2-0 Material: High Quality martensitic stainless steel Grade AISI-420 |  |  |
| 1010430011 | 16MM,3/8CIRCLE CUTTING | 1000 |  |
|  | Specification: Needle: 16MM,3/8CIRCLE CUTTING-ribbed & siliconised Wire diameter: 0.54 +/- 0.01 mm Bore diameter: 0.36+/- 0.01 mm Suture mtl: Polyglactin 910 USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010430012 | 22MM, 1/2CIRCLE CUTTING | 1000 |  |
|  | Specification: Needle: 22MM, 1/2CIRCLE CUTTING-ribbed & siliconised Wire diameter: 0.62 +/- 0.01 mm Bore diameter: 0.36+/- 0.01 mm Suture mtl: Polyglactin 910 USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010430013 | 26MM, 3/8CIRCLE REVERSE CUTTING | 1000 |  |
|  | Specification: Needle: 26MM, 3/8CIRCLE REVERSE CUTTING-ribbed & siliconised Wire diameter: 0.62 +/- 0.01 mm Bore diameter: 0.36+/- 0.01 mm Suture mtl: Polyglactin 910 USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010430014 | 26MM, 3/8CIRCLE ROUND BODY | 2000 |  |
|  | Specification: Needle: 26MM, 3/8CIRCLE ROUND BODY-ribbed & siliconised Wire diameter: 0.62 +/- 0.01 mm Bore diameter: 0.36+/- 0.01 mm Suture mtl: Polyglactin 910 USP 3-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010430015 | 16MM, 3/8CIRCLE CUTTING | 1000 |  |
|  | Specification: Needle: 16MM, 3/8CIRCLE CUTTING-ribbed & siliconised Wire diameter: 0.48 +/- 0.01 mm Bore diameter: 0.33+/- 0.01 mm Suture mtl: Polyglactin 910 USP 4-0 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010430016 | 40MM, 1/2CIRCLE, ROUND BODY | 100 |  |
|  | Specification: Needle: 40MM, 1/2CIRCLE ROUND BODY-ribbed & siliconised Wire diameter: 1.12 (-0.0mm +0.03mm) Bore diameter: 0.60 (-0.01 mm +0.02mm) Suture mtl: Polyglycolicacid USP 2 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010430017 | 45MM, 1/2CIRCLE, ROUND BODY | 100 |  |
|  | Specification: Needle: 45MM, 1/2CIRCLE ROUND BODY-ribbed & siliconised Wire diameter: 1.2 (-0.0mm +0.03mm) Bore diameter: 0.60 (-0.01 mm +0.02mm) Suture mtl: Polyglycolicacid USP 2 Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010430028 | NEEDLE 45MM,1/2 CRB PGA1 | 500 |  |
|  | Specification: Item name: Needle: NEEDLE-45MM, 1/2 CIRCLE ROUND BODY, PGA-USP 1 Ribbed & siliconised. 1.Wire diameter: 1.12(-0.0 + 0.03)mm 2. Bore diameter: 0.55(-0.01 + 0.025)mm 3. Suture material: PGA USP 1 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010430029 | NEEDLE 45MM,1/2 CRC PGA2-0 | 500 |  |
|  | Specification: Item name: Needle: NEEDLE-45MM, 1/2 CIRCLE REVERSE CUTTING, PGA-USP 2-0 Ribbed & siliconised. 1.Wire diameter: 0.92(-0.0+0.025)mm 2. Bore diameter: 0.42(-0.01+0.02)mm 3. Suture material: PGA USP 2-0 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010430030 | NEEDLE 45MM,1/2 CRB PGA2-0 | 500 |  |
|  | Specification: Item name: Needle: NEEDLE-45MM, 1/2 CIRCLE ROUND BODY, PGA-USP 2-0 Ribbed & siliconised. 1.Wire diameter: 0.92(-0.0+0.025)mm 2. Bore diameter: 0.42(-0.01+0.02)mm 3. Suture material: PGA USP 2-0 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010430031 | NEEDLE 48MM,1/2 CRB PGA1 | 500 |  |
|  | Specification: Item name: Needle: NEEDLE-48MM, 1/2 CIRCLE ROUND BODY, PGA-USP 1 Ribbed & siliconised. 1.Wire diameter: 1.12(-0.0 + 0.03)mm 2. Bore diameter: 0.55(-0.01 + 0.025)mm 3. Suture material: PGA USP 1 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010430032 | NEEDLE 48MM,1/2 CRB PGA2 | 500 |  |
|  | Specification: Item name: Needle: NEEDLE-48MM, 1/2 CIRCLE ROUND BODY, PGA-USP 2 Ribbed & siliconised. 1.Wire diameter: 1.2(-0.0+0.03)mm 2. Bore diameter: 0.60(-0.01 + 0.025)mm 3. Suture material: PGA USP 2 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 1010430033 | NEEDLE 48MM,3/8 CRC PGA2 | 500 |  |
|  | Specification: Item name: Needle: NEEDLE-48MM, 3/8 CIRCLE REVERSE CUTTING, PGA-USP 2 Ribbed & siliconised. 1.Wire diameter: 1.2(-0.0+0.03)mm 2. Bore diameter: 0.60(-0.01 + 0.025)mm 3. Suture material: PGA USP 2 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
| 10104203499 | NEEDLE-26MM, 1/2 CC, PGA-PLA USP 3/0 | 500 |  |
|  | Specification: Item name:NEEDLE-26MM, 1/2 CIRCLE CUTTING, Siliconised. 1.Wire diameter: 0.56 (-0.0 + 0.02)mm 2. Bore diameter: 0.36 (-0.01 + 0.02)mm 3. Suture material: PGA-PLA,USP 3-0 (Braided) 4. All needles must be siliconised & ribbed. 5. Material: High Quality martensitic stainless steel Grade AISI-420. |  |  |
|  | Total Annual requirement (Dz) | 538000 |  |

Minimum time required to start the supply after receipt

of letter of indent/supply orders

Validity				: One Year (April 2016 to March 2017)

Certified that the rate quoted will hold good for one year during which period no upward revision will be sought.

PLACE:                                                 				 NAME & SIGNATURE OF THE APPLICANT

DATE:                                                                            			(WITH OFFICE SEAL)