Amendment No. 1

Dated 22.10.2013

Ref: Tender Enquiry No: HLL/PCD/Calibration/02/13-14 dated 07.10.2013

The pre-bid meeting for the referred tender enquiry was held on 19/10/2013. The following amendments are being incorporated in the referred tender enquiry document.

- SECTION – VII

- Technical Specifications

Item  Sl. No: 04

AUDIOMETER CALIBRATION SYSTEM WITH BOOTH

1. Existing Specification:

Para 4.12 : The height of interior should not be less than 1.7m.

Read as:

Para 4.12 : The internal dimensions of the booth should be atleast 1m x 1m x 1.7m (LXBXH)

All other contents of the Tender Enquiry Document including terms and conditions of the tender enquiry remain unchanged.