HL/BG/HRSTP-ETP/2019 -20            	                         Date: 18/06/2019

TENDER NOTIFICATION

Sealed Tenders are invited from reputed, experienced and registered contractors for Operation and Maintenance of our OCP Effluent Treatment Plant (ETP) , Condom ETP & CETP plant at HLL Kanagala on 24 hours running basis and all the 365 days in an year, on contract Man power basis for a period of Two Year from the date of work order as per the  terms & conditions and work details mentioned  vide enclosed (Annexure-A. to Annexure-D) Cleaning details mentioned in Annexure-E

- The contractor should have a valid license issued by the Authorities (ALC, Hubli) under the Contract labour (Regulation & Abolition) Act 1970 and also hold due Registration as an Establishment under the Shops & Commercial Establishment Act.

- The quoted rate should be wages per man power per month basis as mentioned in price Price Bid Format.  Quoted rates should be valid for Two year and should be inclusive of all statutory deductions like PF, ESI, Gratuity, Income Tax, service Tax etc.

- Sub contract is not allowed & contractor has to execute agreement with HLL on award of contract.

- The contractor should deploy the required manpower for running the ETP plant for 24 hours every day sufficient manpower per day is to be provided for the work.

- The completed tender in all respects should reach the undersigned along with E.M.D   amount of Rs.15000/- by D.D drawn in favor of HLL Lifecare Ltd, payable at SBI, Nipani-591237 by on or before 28.06.2019 17.00 Hrs.  Tenders received after the due date will not be accepted. The Management reserves the right to accept or reject any / All tender (s) at any stage without assigning any reason and the decision of the Management will be final in this regard.

- Interested parties may please contact to JGM ( Engg/Env)) on any working day, to understand the work requirement and to clarify any doubts.

The details are also available on our website www.lifecarehll.com

MANAGER (HR)

# Specific Terms and condition for the operation of CETP

- CETP is operated in two shifts. One-man power in each shift is required for the Operation of CETP.

- No shift will be kept blank at any time and operator has to leave the work spot after his reliever takes the charge.

- Minimum qualification of operator required is preferably PUC or SSLC passed.

- Contractor should supply Cow dung required for the process. Approximately 100 kg per quarter.

- Contractor has to provide Safety shoes separately for the each operator.

- Operator should have the knowledge of operating CETP.

- In case of any damage caused to our (HLL) property by contractor/ his labor while executing the above work the company (HLL) shall recover the cost of damage from the contractor.

- In the event of any accident to the labor / personnel while executing the work in the Company premises contractor shall be responsible for the same and shall pay the Compensation as per the WCA and the rates framed there under.

- Required personal protective such as hand gloves, gumboots if necessary should be Provided while cleaning the tanks, Sand & Carbon filters and culture preparation and Mechanical nature work.

- The Contractor shall arrange to give the samples to laboratory on monthly and as when required basis. It is contractor responsibility to maintain output water Parameters within the norms.

- It is the responsibility of the contractor to see that good housekeeping is maintained in and around the CETP plant with full greenery. The treated water daily shall be used and Plantation shall be maintained.

- Contractor has to ensure of running the CETP plant for 16 hours every day.

- Training for period of one week on running of the unit will be imparted, for which no claim shall be made. (All employees as per the list given by contractor and got approved) subsequent training to the new employees deployed if any shall be the responsibility of the contractor only and no additional payment will be made.

- Tanks cleanings shall be done as per annexure – E .

## Specific Terms and condition for the operation of OCP ETP

- Operating of unit on 8 Hrs, a day basis, for 365 days in a year (i.e. including on Holidays.)

- Plant shall not be kept idle for more than 60 minutes, in view of danger to life of bacteria.

- Training for period of one week on running of the unit will be imparted, for which no Claim shall be made. (All employees as per the list given by contractor and got Approved) subsequent training to the new employees deployed if any shall be the Responsibility of the contractor only and no additional payment will be made

- Contractor has to arrange to collect samples of effluent & check the PH value of it by ph meter/Litmus paper. Prepare additives like 10% solution of Caustic soda, Ferric Alum & HCL & add the same to holding /Neutralizing tanks.

- Contractor should ensure to maintain levels of effluent steam & domestic sewage at proportioning tank as per SOP. (Standard operating procedure).

- Contractor is responsible to remove the dried sludge from the primary & secondary Sludge tanks  & collect in bags & dispose it off   at designated area.

- Contractor should arrange to maintain shift basis logbook stock levels of chemicals used at ETP, quantities available & used in each shift, & report to OCP shift officer and Safety/ ENV officer take the signature.(Mandatory)

- Contractor has to arrange to operate the ETP as per SOP & SCP & follow the instruction given by the officer concerned on time-to-time basis.

- Contractor is solely responsible for the safety of the employees and contractor has to issue and maintain gloves, safety shoes & safety goggles.

- The Contractor shall arrange to give the samples to laboratory on batch wise and monthly. It is contractor responsibility to maintain output water parameters within the norms.

- It is the responsibility of the contractor to see that good housekeeping is maintained in and around the ETP plant with full greenery. The treated water daily shall be used and Plantation shall be maintained.

- Contractor has to ensure of running the ETP plant for 8 hours every day.

## Specific Terms and condition for the operation of Condom ETP and Softener Plant

  - Operating of unit on 24 Hrs, a day basis, for 365 days in a year (i.e. including on Holidays.)

  - Plant shall not be kept idle for more than 60 minutes, in view of danger to life of bacteria.

  - Training for period of one week on running of the unit will be imparted, for which no claim shall be made. (All employees as per the list given by contractor and got approved) subsequent training to the new employees deployed if any shall be the responsibility of the contractor only and no additional payment will be made.

  - Contractor has to arrange to collect samples of effluent & check the PH value of it by ph meter/Litmus paper.

  - Contractor should ensure to maintain levels of effluent stream & domestic sewage at proportioning tank as per SOP. (Standard operating procedure)

  - Contractor is responsible to remove the dried Latex sludge & collect in bags & dispose  it off  at designated area.

  - Contractor should arrange to maintain shift basis logbook stock levels of chemicals used at ETP, quantities available & used in each shift, & report to compounding officer and Officer (safety/ Env), and take the signature. (Mandatory).

  - Contractor has to arrange to operate the ETP as per SOP & follow the instruction given by the officer concerned on time-to-time basis.

  - Contractor is solely responsible for the safety of the employees and contractor has to  issue and maintain hand gloves, safety shoes & safety goggles.

  - The Contractor shall arrange to give the samples to laboratory on monthly once and as when required & get report from lab. It is contractor responsibility to maintain output water parameters within the norms.

  - It is the responsibility of the contractor to see that good housekeeping is maintained in and around the ETP plant with full greenery. The treated water daily shall be used and plantation shall be maintained.

  - Contractor has to ensure of running the ETP plant for 24 hours every day.

  - Night shift operator should look after the OCP ETP.

  - Soft water hardness should be checked in every shift.

  - Maintenance of Softener plant such as putting salt, back wash, and other activities should be carried out as per compounding officer instruction.

WORK LIST DETAILS FOR OPERATION OF ETP & CETP

      - CONDOM ETP

- Inspection of all tanks at beginning of shift. Checking and noting of water flow meter, energy meter and consumption details and entering in log book.

- Preparation of Alum solution.

- Operation of garden discharge pumps and other water lift pumps.

- Accumulated algae removing from Hot water storage tank.

- Acid pouring in Latex liquid storage tank, for coagulation.

- Coagulated latex removing from three tanks and filling into plastic bags and handing over to Store along with housekeeping person.

- Helping to electrical and mechanical department for engineering nature ETP maintenance.

- Maintaining of rain harvesting well as per instruction of Mechanical department.

- Maintaining of hazardous waste received from OCP, BDU and Unipill Plant.

- ETP running with Alum dozing weekly thrice, each time minimum four hours.

- Hot water pipeline cleaning weekly once.

- Drain of Alum weekly once from Alum tank.

- FILTER PRESS

- Filter press running continuously all the three shift.

- Filter cloth cleaning daily 1st and 2nd shift. Two hours in each shift.

- Collected solid silica waste from Filter press in trolley is dumping in solar pond Manually by using spade. Time required in each shift 35, minutes.

- Acid solution preparation in barrel for dozing at outlet water of Filter press to reduce pH.

- Filter press cloth changing with spare, twice in a month.

- Filter cloths removed are cleaning with bleaching powder.

- Softener Plant:

- Regeneration weekly thrice. Each time three hours.

- Helping housekeeping person to put salt in sintex tank weekly thrice. Each time 900Kgs. Salt carrying from storage room to Softener Plant.

- R.O.Plant

- Daily operation of R.O Plant in 1st and 2nd shift

- Antiscalent, De-chlorination and sodium hypo solution preparation in dozing tank.

- Back wash and rinse in daily 1st  and 2nd  shift.

- OCP ETP

- Waste water collecting from Unipill Plant, Steroidal and Non-Steroidal Plant.

- After neutralizing water lifting to CETP for treatment.

- OCP ETP operating four times in a month.

- Helping to Condom ETP operator for Filter cloth cleaning and Filter press cleaning.

- CETP

- Inspection of all tanks at beginning of shift. Checking and noting

of water flow meter, energy meter and consumption details and entering in log book.

- Developing culture by using cow dung – as and when required.

- Helping to gardener for cutting grass and cultivating plantation.

- Monitoring of On-Line Meter for every ½ an hour and noting.

- Maintaining chemical stock.

- Back wash of Sand and Carbon filters.

- Maintenance work if any comes, helping engg dept to carry the maintenance work

- Sludge removing from drying bed monthly once and feeding to plantation.

- Outlet water carrying to Lab for pH analysis.

- Sewage gutter checking for blocking in each shift.

Ref: Tender No. HL/BG/HR/STP-ETP/2019-20                Date: 18/06/2019

PRICE-BID FORMAT

| Period of Contract: 2 Year |  |  |
| --- | --- | --- |
| Sl No. | Description | Amount(Rs.) |
| 1 | wages per month per employee for (26 days) | 7000.00 |
| 2 | Add PF @ 13% | 910.00 |
| 3 | Add ESI @ 4.75% | 332.50 |
| 4 | Add contractor Profit (Per Month/Manpower) |  |
| 5 | Sub Total (Sl No. 1 To 4) |  |
| 6 | Add GST 18% |  |
| 6 | Add service Tax on 75% of wages @ 12.36% | 0.00 |
| 7 | Total Payable to the Contractor Per Manpower Per Month |  |
| 8 | Required Qty / Manpower | 5.00 |
| 9 | Monthly Total Amount for 05 Manpower |  |

We are agreeable for the terms and conditions of the referred tender notification and agree to provide the required manpower.

Name & Signature of Bidder

Place:

Date