## General abstract (hidden)
NAME OF WORK : SETTING UP OF BURNS UNIT AT TRIVANDRUM MEDICAL COLLEGE.
GENERAL ABSTRACT
PROPOSED CONSTRUCTION OF GALLERY BUILDING AND COMPOUND WALL FOR REGIONAL SCIENCE CENTRE - CHALAKUDY.
Sl No | Sub Head | Amount in Rs.
I | Civil, Electrical & HVAC | #REF!
II | Medical gas system | 2561828
III | Plant room (LS) | 500000
Total |  | #REF!
Add for rounding |  | #REF!
Grand Total |  | 9350000
28862994.59

## Abstract Civil, Ele & HVAC (hidden)
NAME OF WORK : SETTING UP OF BURNS UNIT AT TRIVANDRUM MEDICAL COLLEGE.
ABSTRACT
PROPOSED CONSTRUCTION OF GALLERY BUILDING AND COMPOUND WALL FOR REGIONAL SCIENCE CENTRE - CHALAKUDY.
Sl No | SUB HEAD | DSR | LMR | TOTAL
I | CIVIL
1 | DISMANTLING AND DEMOLISHING |  |  | #REF! | 68309.23 | #REF!
2 | REINFORCED CEMENT CONCRETE |  |  | #REF!
3 | BRICK WORK |  |  | #REF! |  | 6549.63
4 | ALUMINIUM WORK |  |  | #REF! |  | 5338.63
5 | STEEL WORK |  |  | #REF!
6 | PVC DOORS |  |  | #REF!
7 | WATER PROOFING |  |  | #REF!
8 | FLOORING |  |  | #REF!
9 | FINISHING |  |  | #REF!
10 | ROOFING |  |  | #REF!
11 | SANITARY INSTALLATIONS |  |  | #REF! | 196469 | #REF!
| TOTAL CIVIL | #REF! | #REF! | #REF! | #REF!
| TOTAL ELECTRICAL | 312225 | 408108 | 720333 | 406897 | 1211
| TOTAL HVAC |  | 933674 | 933674
TOTAL CIVIL, ELECTRICAL,HVAC |  | #REF! | #REF! | #REF! |  |  | #REF!
Add Cost Index for DSR Items at Trivandrum = 62.42 % |  | #REF! |  | #REF!
ALL WORKS TOTAL |  |  |  | #REF!
Add 2% Contingencies |  |  |  | #REF!
Total |  |  |  | #REF!
Add 7 % Consultancy Charge |  |  |  | #REF!
12.36 % Service charge for agency and arch charge |  |  |  | #REF!
Grand Total |  |  |  | #REF!
28862994.59

## Abstract Medical gas (hidden)
NAME OF WORK : SETTING UP OF BURNS UNIT AT TRIVANDRUM MEDICAL COLLEGE.
ABSTRACT
PROPOSED CONSTRUCTION OF GALLERY BUILDING AND COMPOUND WALL FOR REGIONAL SCIENCE CENTRE - CHALAKUDY.
Sl No | SUB HEAD | SR | LMR | TOTAL
II | MEDICAL GAS SYSTEM
| MEDICAL GAS SYSTEM |  |  | 2378000
TOTAL MEDICAL GAS SYSYEM |  |  |  | 2378000
Add 2 % Contingencies |  |  |  | 47560
Total |  |  |  | 2425560
Add 5 % Consultancy Charge |  |  |  | 121278
12.36 % Service charge for agency and arch charge |  |  |  | 14989.9608
Grand Total |  |  |  | 2561828
28862994.59

## Abstract- Civil
SETTING UP OF BURNS UNIT AT TRIVANDRUM MEDICAL COLLEGE.
PART A -CIVIL WORKS
Item No | Description of Item | Quantity | Unit | Rate Rs (in figures & words) | Amount
SUB HEAD I: DISMANTLING AND DEMOLISHING
1 | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge, in cement morter | 12.68 | Cum
2 | Dismantling windows and clerestory windows (steel or wood) including shutters chowkhats, architrave, holdfasts etc. complete and stacking with in 50m lead of area beyond 3sq.meters | 8 | Each
3 | Dismantling Doors including shutters chowkhats, architrave, holdfasts etc. complete and stacking with in 50m lead of area 3sq.meters and below | 5 | Each
4 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceabl surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 155.2 | Sqm
5 | Removing dry or oil bound distember ,water proofing cement paint and the like by scrapping,sand papering and preparing the surfacesmooth including necessary repairs to scratches etc complete. | 366.65 | Sqm
6 | Dismantling tile/mosaic work in floors laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles above 25 mm and up to 40 mm | 221.76 | Sqm
7 | Dismantling PVC pipe lines laid in drainage (of dia 110 mm or below) including earth work excavation and removal of PCC or any other protective covering and disposal of all other fixtures to dumping ground within 50m lead. | 100 | Rm
8 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 5 | Each
9 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 3.8696 | cum
10 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 0.75 | Cum
11 | Easing of doors and windows including removing and refixing of shutters and replacing the damaged hinges wherever necessary. | 21 | Sqm
SUB HEAD II : REINFORCEDCEMENT CONCRETE
12 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | 4.978 | cum
Centering and shuttering including strutting, propping etc. and removal of form for
13 | Lintels,Plinth beams | 64.22 | Sqm
14 | Reinforcement for RCC works including straightening,cutting, bending, placing in position and binding all complete.
| Thermo Mechanically Treated Bars. | 597.36 | Kg
SUB HEAD III : BRICK WORK
15 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 50 in superstructure above plinth level up to floor V level in all shapes and sizes:In cement mortar 1 : 6 (1 cement : 6 coarse sand). | 27.0992 | cum
16 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 50 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 65.2 | Sqm
17 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 65.2 | sqm
SUB HEAD IV: ALUMINIUM WORK.
18 | Providing and fixing aluminium work for doors, windows, ventilators and partitions withextruded built up standard tubular sections/ appropriate Z sections and other sections ofapproved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For fixed portion . Powder coated aluminium (minimum thickness of powder coating 50 micron) of required colour as directed by the engineer in charge. | 1420.2892 | kg
19 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) of required colour as directed by the engineer in charge. | 478.92 | kg
20 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides | 61.104 | sqm
21 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge. ( Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.50 mm thickness | 91.896 | sqm
22 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture IS : 6315 marked, DORMA make or equivalent for doors including cost of cutting floors as required, embedding in floors and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge With Stainless Steel cover plate | 2 | Each
23 | Providing and fixing aluminium handles ISI marked anodised ( anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete-
a | 125 mm | 8 | Each
b | 100mm | 16 | Each
24 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete-
a | 250 X 10 mm | 10 | Each
b | 150 x10mm | 10 | Each
25 | Providing and fixing IS : 3564 marked aluminium extruded section body tubular type universal hydraulic door closer with double speed adjustment with necessary accessories and screws etc. complete. | 12 | Each
26 | Providing and fixing 100mm brass locks (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 10 | Each
27 | Providing fixing aluminium casement windows fastener of required length for aluminium windows with necessary screws etc. complete. Powder coated minimum thickness 50 micron aluminium. | 20 | Each
28 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer- in-charge complete.255 X 19 mm | 20 | Each
29 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) Transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 12 | Each
30 | Providing and fixing curtain rods of 1.25mm thick brass plates with two brass brackets fixed with brass screws and wooden plugs etc. wherever necessary complete. 25 mm diameter. | 57 | Rm
31 | Supplying and fixing Fiber curtain of size 1x2 meter with fiber net of size 1x0.50 meter fixed in heavy type channels, providing hooks, screws, threads, roller, velcro for folding etc, including stitching charges, material transportation charges, fixing and labour charges etc complete as directed by Engineer in charge | 70 | Each
SUB HEAD V: STEEL WORK
32 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to openings /wooden frames with rawl plugs screws etc | 1271.6 | Kg
SUB HEAD VI : PVC WORK
33 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer-n-charge - Extruded section profile size 48x40 mm | 40.6 | Rm
34 | 30 mm thick factory made Polyvinyl Chloride (PVC) door shutter made of styles and rails of a uPVC hollow section of size 60x30 mm and wall thickness 2 mm (± 0.2 mm), with inbuilt decorative moulding edging on one side. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 25x20mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x30 mm and 2 mm (± 0.2 mm) wall thickness fixed to the shutter styles by means of plastic/ galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness . The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. | 11.76 | sqm
SUB HEAD VII : WATER PROOFING.
35 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: a) Applying a slurry coat of neat cement using 2.75 kg/sqm. of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300mm height including cleaning the surface before treatment. b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs c) After two days of proper curing applying a second coat of cement slurry using 2.75kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. d) Finishing the surface with 20 mm
| thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3mm deep. e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120mm and minimum thickness at khurra as 65 mm. | 11.34 | sqm
SUB HEAD VIII: FLOORING
36 | Providing and laying Ceramic joint free antiskid floor tiles of size 400x400 mm thicknes 7.5mm of 1st quality conforming to IS : 15622, of JOHNSON, NITCO, ORIENT, KAJARIA or approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar 1:4 (1 Cement : 4 Coarse sand), including pointing the joints with white cement and matching pigments etc. complete. (Basic price of tile not less than370/m2) | 26.04 | Sqm
37 | Providing and fixing Ist quality ceramic glazed wall tiles (Size 300 X600 mm ) conforming to IS:15622(thickness to be specified by the manufacture) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. (Basic price of tile not less than 400/m2) | 153.84 | sqm
38 | Providing and fixing homogeneous antistatic Polyvinyl chloride sheet roll from fused jointed in flooring and skirting in approved pattern on a smooth and damp proof base using rubber based adhesives of approved quality and manufacturer like Dunlop S-758, Fevicol SR 998, Pidilite or equivalent as per IS 3462,BS 2050 & BS 3261 including rolling with light wooden roller weighing about 5 kg and having surface resistance in the range of 4x104Ω- 5x108 Ω all complete as directed by Engineer-in-charge, in approved colour and shade.- Pidilite Roffler anstistatic SL or equivalent. .2 mm Thick sheet | 258.2828 | sqm
39 | Providing and laying Vitrified floor tiles of Size 600x600 mm, thickness of 10mm or nearest size with water absorption less than 0.08% and conforming to IS : 15622, of approved make, with 3 mm spacers and filled with color grout finished with required slope and level,curing,rubbing,cleaning etc, in all colours and shades and design as per the drawing, laid on fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness. including grouting the joints with white cement and matching pigments etc., complete. as directed by the Engineer in charge. (Basic price of tile not less than 865/m2) | 85.7782 | Sqm
SUB HEAD IX: FINISHING.
40 | Plastering with cm 1:4 ,12 mm thick floated hard and trowelled smooth for inside walls including watering ,curing cost and conveyance of all materials and labour charges etc complete. | 128.22 | sqm
41 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work . | 202.1902 | sqm
42 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | 61.1 | Sqm
SUB HEAD X : ROOFING.
43 | Providing & Fixing of Armstrong Orcal Clip-in swing down Aluminium non perforated precoating 600x600x0.7 mm clip in tiles in 0.35 mm thickness with bevel edge in white colour (RAL 9010) with Light Reflectance > 60% and suitable for Green Building application, with Recycled content of 25%.Installation: To comprise 3000mm long ‘C’ channels spaced at 1200mm centres securely fixed to the structural soffit by support clamp & approved hangers. The last hanger at the end of each C channel should not be greater than 600mm from the adjacent wall. Use a C-channel connector for splicing two pieces of C-channels. 4000mm Dp-12 Main carriers (spring tee bars) shall be spaced at 600mm centres in a direction perpendicular to the C-channels and shall be secured at every intersection with C channel using a dp-12 hanger. Tiles should be clipped in between two Dp-12 carriers (spring tee bars) from below. Perimeter trims to be of Armstrong wall angles of white colour secured to walls at 450mm maximum centres. Cut tiles to be secured to the wall angles using a spring clamp.Required Openings are to be made to accomodate laminar flow airconditioing unit filters as per site conditions.. | 102.6853 | sqm
SUB HEAD XI : SANITARY INSTALLATIONS & WATER SUPPLY
44 | Supply and fixing wall hanging type water closet with flushing cistern('HIND WARE'/' CERA' (special colours) or equivalent), with seat cover, along with all necessary requirement for fixing etc. complete. | 3 | each
45 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 10 | each
46 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : One urinal basin with 5 litre white P.V.C. automatic flushing cistern | 2 | each
47 | Providing and fixing P.V.C waste pipe for sink or wash basin, including P.V.C waste fittings complete :-
| Flexible pipe :- 32 mm dia. | 10 | each
48 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors
| a)100mm inlet and 75mm outlet. | 5 | each
49 | Providing and jointing PVC pipes of (pressure10 K g/cm2) for water supply including testing of joints, concealing the pipes , & trenching & refilling wherever required etc complete.
a | 20mm PVC pipe | 50 | Rm
b | 25mm PVC pipe | 50 | Rm
c | 32mm PVC pipe | 50 | Rm
d | 40mm PVC pipe | 50 | Rm
50 | Providing and fixing PTMT grating of approved quality and colour. 150 mm nominal size square 100 mm diameter of theinner hinged round grating | 5 | each
51 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15mm nominal bore | 10 | each
52 | Providing and fixing unplasticised rigid P.V.C pipe conforming to IS Standards (pressure 6kg/cm2) in drainage lines including cutting and making good the walls,cutting and refilling of earth, jointing all etc complete
a | 110mm dia | 30 | Rm
b | 75mm dia | 30 | Rm
53 | Providing & fixing PVC Fittings and fixtures Conforming IS specifications including cutting and making good the walls etc complete
a | 110mm dia plain elbow | 30 | each
b | 75mm dia plain elbow | 30 | each
c | 110mm dia door elbow | 30 | each
d | 75mm dia door elbow | 30 | each
e | 110mm dia plain bend | 30 | each
f | 75mm dia plain bend | 30 | each
g | 110mm dia door tee | 20 | each
h | 75mm dia door tee | 20 | each
i | 110mm dia air cowl | 20 | each
j | 75mm dia air cowl | 20 | each
k | 110mm dia offset | 20 | each
l | 75mm dia offset | 20 | each
54 | Providing and fixing C.P. brass bib cock of approved qualityconforming to IS:8931 15mm nominal bore | 10 | each
55 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15mm nominal bore | 10 | each
56 | Providing and fixing unplasticised P.V.C connection pipe with brass unions :- 45 cm length
a | 15MM nominal bore | 10 | each
57 | Providing and fixing gun metal gate valve with CI wheel of approved quality (screwed end) –
| 32 mm dia nominal bore | 10 | each
58 | Providing and fixing ball valve (brass) of approved quality complete. High or low pressure with plastic floats 25 mm nominal bore | 10 | each
59 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement: 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1 | Each
60 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :100 mm inlet and 100 mm outlet. Sand cast iron S&S as per IS: 3989. | 4 | Each
61 | Supplying and fixing C.I. cover without frame for manholes :1 455x610 mm rectangular C.I. cover (light duty) the weight of the cover to be not less than 23 kg | 1 | Each
62 | Providing and fixing PTMT grating of approved quality and colour.100mm nominal dia | 4 | Each
TOTAL-PART A CIVIL WORKS

## Detail -Civil (hidden)
DETAILED MEASUREMENT
NAME OF WORK : SETTING UP OF BURNS UNIT AT GOVT. MEDICAL COLLEGE, TVM
Item No. | Description of Item | No | Length | Width | Height | Quantity
SUB HEAD I : DISMANTLING AND DEMOLISHING
1 | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | [11 empty] | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge | Demolishing brick work manually /mechanical means including stacking of servicable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge
| Brick Walls - Corridor | 2 | 2 | 0.4 | 4 | 6.4
| Brick Walls - Entrance to new building | 1 | 2.2 | 0.4 | 4 | 3.52
| Walls -Burns unit Toilet | 2 | 1.5 | 0.23 | 4 | 2.76
| Sub total |  |  |  |  | 12.68 | Cum
2 | Dismantling windows and clerestory windows (steel or wood) including shutters chowkhats, architrave, holdfasts etc. complete and stacking with in 50m lead of area beyond 3sq.meters |  |  |  |  | 8 | E
3 | Dismantling Doors including shutters chowkhats, architrave, holdfasts etc. complete and stacking with in 50m lead of area below 3sq.meters |  |  |  |  | 5 | E
4 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 1 | 9 |  | 4 | 36 |  | 15.57 | 15.9
|  | 1 | 7.5 |  | 4 | 30
|  | 1 | 7.9 |  | 4 | 31.6
|  | 2 | 7.2 |  | 4 | 57.6
| Total |  |  |  |  | 155.2 | sqm
5 | Removing dry or oil bound distember ,water proofing cement paint and the like by scrapping,sand papering and preparing the surfacesmooth including necessary repairs to scratches etc complete. | 4 | 12.9 |  | 2.5 | 129
|  | 2 | 5.53 |  | 2.5 | 27.65
|  | 2 | 12 |  | 2.5 | 60
|  | 2 | 30 |  | 2.5 | 150
| Sub Total |  |  |  |  | 366.65 | sqm
6 | Chipping dadoing/ Mosaic flooring laid in cement mortar including stacking of serviceable materials and disposal of unserviceable material within 50 metre lead | 2 | 15 |  | 2.1 | 63
|  | 4 | 12.9 |  | 2.1 | 108.36
|  | 2 | 12 |  | 2.1 | 50.4
| Sub Total |  |  |  |  | 221.76 | sqm
7 | Dismantling PVC pipe lines (of dia 110 mm or below) including removing and disposal of all other fixtures to dumping ground. |  |  |  |  | 100 | Rm
8 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. |  |  |  |  | 5 | Each
9 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 12 | 2 | 0.23 | 0.23 | 1.2696 | Cum
| Slab G.L for medical Gas plant | 1 | 4 | 5 | 0.1 | 2
| Counter slabs | 4 | 2 | 0.5 | 0.15 | 0.6
| Total |  |  |  |  | 3.8696 | Cum
10 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 1 | 5 | 1.5 | 0.1 | 0.75 | Cum
11 | Easing of doors and windows including removing and refixing of shutters and replacing the damaged hinges wherever necessary. | 10 | 1 |  | 2.1 | 21 | Sqm
SUB HEAD II : REINFORCED CEMENT CONCRETE
12 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size)
| Counter slab for Icu | 3 | 9.25 | 0.6 | 0.1 | 1.665
| Bath | 1 | 5.4 | 0.6 | 0.1 | 0.324
| Doctors room and Nurses room | 6 | 5.5 | 0.6 | 0.1 | 1.98
| Lintels | 5 | 2 | 0.23 | 0.23 | 0.529
| Lintels | 2 | 2 | 0.4 | 0.3 | 0.48
| Sub Total |  |  |  |  | 4.978 | Cum
13 | Centering and shuttering including strutting, propping etc. and removal of form for
| Counter slab for Icu | 3 | 9.25 | 0.8 |  | 22.2
| Bath | 1 | 5.4 | 0.8 |  | 4.32
| Doctors room and Nurses room | 6 | 5.5 | 0.8 |  | 26.4
| Lintels | 5 | 2 | 0.69 |  | 6.9
| Lintels | 2 | 2 | 1.1 |  | 4.4
| Sub Total |  |  |  |  | 64.22 | Sqm
14 | Reinforcement for RCC works including straightening,cutting, bending, placing in position and binding all complete.
| Thermo Mechanically Treated Bars. | 4.978 | 120 |  |  | 597.36 | Kg
SUBHEAD III: BRICK WORK
15 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 50 in superstructure above plinth level up to floor V level in all shapes and sizes: In cement mortar 1 : 6 (1 cement : 6 coarse sand).
| Walls -Demonstration - Nurses room | 1 | 6.56 | 0.23 | 4 | 6.0352
| Burns bath | 1 | 8.7 | 0.23 | 4 | 8.004
| Walls Burns ICU | 5 | 1 | 0.4 | 4 | 8
| Nurses room -ICU | 1 | 5.5 | 0.23 | 4 | 5.06
| Sub Total |  |  |  |  | 27.0992 | Cum
16 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 50 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand)
| Toilets | 1 | 3 |  | 4 | 12
| Toilets | 3 | 1.5 |  | 4 | 18
| Toilets | 1 | 5.5 |  | 4 | 22
| Toilets | 1 | 3.3 |  | 4 | 13.2
| Sub Total |  |  |  |  | 65.2 | sqm
17 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. |  |  |  |  | 65.2 | sqm
SUB HEAD IV: ALUMINIUM WORK
18 | Providing and fixing aluminium work for doors, windows, ventilators and partitions withextruded built up standard tubular sections/ appropriate Z sections and other sections ofapproved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For fixed portion . Powder coated aluminium (minimum thickness of powder coating 50 micron) of required colour as directed by the engineer in charge.
| Partition(Doctors room) | 2 | 20 |  |  | 40
| Partition Changing room | 2 | 23.06 |  |  | 46.12
| Partition Changing room | 3 | 11 |  |  | 33
| Windows (370 x200) | 4 | 11.4 |  |  | 45.6 | Rm | 13 | 1.5 | 1.2 | 23.4
| Windows (110 x150) | 8 | 5.2 |  |  | 41.6
| Ventilators (100 x60) | 10 | 3.2 |  |  | 32
| Doors (90 x 220) | 8 | 6.2 |  |  | 49.6 |  | 7 | 2 | 2.2 | 30.8
| Doors(230 x220) | 3 | 9 |  |  | 27 |  | 2 | 2.3 | 2.2 | 10.12
| Sub Total |  |  |  |  | 314.92 | Rm |  |  |  | 64.32 | 578.88
| Sub Total |  |  |  |  | 1420.2892 | Kg |  | 2802
19 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) of required colour as directed by the engineer in charge.
| Windows (370 x200) | 4 | 3.7 |  | 2 | 29.6
| Windows (110x150) | 8 | 1.1 |  | 1.5 | 13.2
| Ventilators(60 x100) | 10 | 1 |  | 0.6 | 6
| Doors (90 x 220) | 8 | 0.9 |  | 2.2 | 15.84
| Doors(230 x220) | 3 | 2.3 |  | 2.2 | 15.18
| Sub Total |  |  |  |  | 79.82 | Sqm
| Sub Total |  |  |  |  | 478.92 | Kg
20 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides
| Partition(Doctors room) | 1 | 4 |  | 2.4 | 9.6
| Partition Changing room | 2 | 5.53 |  | 2.4 | 26.544
| Partition Changing room | 3 | 1.5 |  | 2.4 | 10.8
| Doors (90 x 220) | 8 | 0.9 |  | 1.2 | 8.64
| Doors(230 x220) | 2 | 2.3 |  | 1.2 | 5.52
| Sub Total |  |  |  |  | 61.104 | Sqm
21 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.50 mm thickness
| Partition(Doctors room) | 1 | 4 |  | 1.6 | 6.4
| Partition Changing room | 2 | 5.53 |  | 1.6 | 17.696
| Partition Changing room | 3 | 1.5 |  | 1.6 | 7.2
| Windows (370 x200) | 4 | 3.7 |  | 2 | 29.6
| Windows (110x150) | 8 | 1.1 |  | 1.5 | 13.2
| Ventilators | 10 | 1 |  | 0.6 | 6
| Doors (90 x 220) | 8 | 0.9 |  | 1 | 7.2
| Doors(230 x220) | 2 | 2.3 |  | 1 | 4.6
| Sub Total |  |  |  |  | 91.896 | Sqm
22 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture IS : 6315 marked, DORMA make or equivalent for doors including cost of cutting floors as required, embedding in floors and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. With Stainless Steel cover plate |  |  |  |  | 2 | E
23 | Providing and fixing aluminium handles ISI marked anodised ( anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete-
| 125 mm |  |  |  |  | 8 | E
| 100mm |  |  |  |  | 16 | E
24 | Providing and fixing aluminium tower bolts ISI marked anodised ( anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete-
| 250 X 10 mm |  |  |  |  | 10 | E
| 150x10mm |  |  |  |  | 10 | E
25 | Providing and fixing IS : 3564 marked aluminium extruded section body tubular type universal hydraulic door closer with double speed adjustment with necessary accessories and screws etc. complete. |  |  |  |  | 12 | E
26 | Providing and fixing 100mm brass locks (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. |  |  |  |  | 10 | E
27 | Providing fixing aluminium casement windows fastener of required length for aluminium windows with necessary screws etc. complete. Powder coated minimum thickness 50 micron aluminium |  |  |  |  | 20 | E
28 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer- in-charge complete. 255 X 19 mm |  |  |  |  | 20 | E
29 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) Transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper |  |  |  |  | 12 | E
30 | Providing curtain rod of aluminium section fixed with screw as directed by Engineer in Charge | 10 | 5.7 |  |  | 57 | Rm
31 | Supplying and fixing curtain as per direction (Size 1x2 m) as directed by Engineer in charge |  |  |  |  | 70 | Each
SUB HEAD V: :STEEL WORK
32 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to openings /wooden frames with rawl plugs screws etc
| Windows (370 x200) | 4 | 3.7 |  | 2 | 29.6 | Sqm
| Windows (110 x150) | 8 | 1.1 |  | 1.5 | 13.2 | Sqm
| Grils | 5 | 1 |  | 3 | 15
| Sub Total |  |  |  |  | 57.8 | Sqm
| Sub Total |  |  |  |  | 1271.6 | Kg
SUB HEAD VI : PVC WORK.
33 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer-n-charge - Extruded section profile size 48x40 mm
| Toilets | 7 | 5.8 |  |  | 40.6 | Rm
34 | Providing and Fixing 30 mm thick factory made Polyvinyl Chloride (PVC) door shutter made of styles and rails of a uPVC hollow section of size 60x30 mm and wall thickness 2 mm (± 0.2 mm), with inbuilt decorative moulding edging on one side. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 25x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x30 mm and 2 mm (± 0.2 mm) wall thickness fixed to the shutter styles by means of plastic/ galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness . The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge.
| Toilets | 7 | 0.8 |  | 2.1 | 11.76 | Sqm
SUB HEAD VII : WATER PROOFING.
35 | Providing and application of bituminous water proof protective coating confirming to IS 9862-1981 Fosroc Nitoproof 100/120 over cleaned and well prepared surface(vertical/horizontal) with a priming coat of Nitoproof 100 over with two coats of Nitoproof 120strictly following the manufactures specification and application procedure, including necessary chipping and refilling of construction joints with cement mortar 1:4 added with Nitobond SBR@ 2 lit per bag of cement and pressure grouting of weaker area, construction joints and honey combs if any with cement slurry mixed with plasticized expanding additive cebex 100 including cost of labour tools etc but excluding scaffolding , cement and sand complete etc or equivalent.
| Toilets | 2 | 1.8 | 1.8 |  | 6.48
| Toilets | 1 | 2.7 | 1.8 |  | 4.86
| Sub Total |  |  |  |  | 11.34 | Sqm
SUB HEAD VIII : FLOORING
36 | Providing and laying Ceramic joint free antiskid floor tiles of size 400x400 mm thicknes 7.5mm of 1st quality conforming to IS : 15622, of JOHNSON, NITCO, ORIENT, KAJARIA or approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar 1:4 (1 Cement : 4 Coarse sand), including pointing the joints with white cement and matching pigments etc:- complete.
| Toilets | 2 | 1.5 | 1.5 |  | 4.5
| Toilets | 1 | 2.48 | 1.5 |  | 3.72
| Burns Bath | 1 | 5.4 | 3.3 |  | 17.82
| Sub Total |  |  |  |  | 26.04 | Sqm
37 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS:15622(thickness to be specified by the manufacture) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | [5 empty] | sqm
| Toilets | 2 | 6 |  | 1.7 | 20.4
| Toilets | 1 | 7.96 |  | 1.7 | 13.532
| Burns Bath | 1 | 17.38 |  | 1.7 | 29.546
| Doctors room | 1 | 16.16 |  | 1.7 | 27.472
| Nurses room | 1 | 16.7 |  | 1.7 | 28.39
| Corridor | 2 | 15 |  | 1.7 | 51
Deduct
| Windows | -10 | 1.1 |  | 1.5 | -16.5
| Sub Total |  |  |  |  | 153.84 | Sqm
38 | Providing and fixing homogeneous antistatic Polyvinyl chloride sheet roll from fused jointed in flooring and skirting in approved pattern on a smooth and damp proof base using rubber based adhesives of approved quality and manufacturer like Dunlop S-758, Fevicol SR 998, Pidilite or equivalent as per IS 3462,BS 2050 & BS 3261 including rolling with light wooden roller weighing about 5 kg and having surface resistance in the range of 4x104Ω- 5x108 Ω all complete as directed by Engineer-in-charge, in approved colour and shade.- Pidilite Roffler anstistatic SL or equivalent. 2 mm Thick sheet
| Burns ICU | 1 | 5.53 | 9.25 |  | 51.1525
| Burns ICU | 1 | 29.56 |  | 4 | 118.24
| Burns ICU | 1 | 2.97 | 6.99 |  | 20.7603
| Burns ICU | 1 | 19.92 |  | 4 | 79.68
| Deduct Windows | -1 | 1.5 |  | 2.1 | -3.15
| Deduct Doors, Opening | -4 | 1 |  | 2.1 | -8.4
| Total |  |  |  |  | 258.2828 | Sqm
39 | Providing and laying Vitrified floor tiles of Size 600 x 600 mm, thickness of 10mm or nearest size with water absorption less than 0.08% and conforming to IS : 15622, of approved make, with 3 mm spacers and filled with color grout finished with required slope and level,curing,rubbing,cleaning etc, in all colours and shades and design as per the drawing, laid on fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness. including grouting the joints with white cement and matching pigments etc., complete. as directed by the Engineer in charge. ( Basic price of Tile not less than Rs. 1500 per sqm)
| Corridor | 1 | 15 | 2.3 |  | 34.5
| Doctors room | 1 | 5.48 | 2.87 |  | 15.7276
| Nurses room | 1 | 5.48 | 2.87 |  | 15.7276
| Change room | 2 | 3.45 | 1.27 |  | 8.763
| Lobby ICU | 1 | 5.53 | 2 |  | 11.06
| Sub Total |  |  |  |  | 85.7782 | Sqm
SUB HEAD IX : FINISHING.
40 | Plastering in cm 1:3, 12 mm thick floated hard and trowelled smooth including watering ,curing cost and conveyance of all materials and labour charges etc complete with water proofing compound.
Inside Walls
| Toilets | 2 | 6 |  | 2 | 24
| Toilets | 1 | 7.96 |  | 2 | 15.92
| Burns Bath | 1 | 17.4 |  | 2 | 34.8
| Coridor | 2 | 15 |  | 2 | 60
| Deduct Doors, Opening | -3 | 0.75 |  | 2 | -4.5
| Deduct Doors, Opening | -1 | 1 |  | 2 | -2
| Sub Total |  |  |  |  | 128.22 | Sqm
41 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work .
Ceiling
| Burns bath | 1 | 5.4 | 3.29 |  | 17.766
| Doctors room | 1 | 5.48 | 2.87 |  | 15.7276
| Nurses room | 1 | 5.48 | 2.87 |  | 15.7276
| Lobby ICU | 1 | 5.53 | 3.3 |  | 18.249
Inside Walls
| Toilets | 2 | 6 |  | 2 | 24
| Toilets | 1 | 7.96 |  | 2 | 15.92
| Burns Bath | 1 | 17.4 |  | 2 | 34.8
| Coridor | 2 | 15 |  | 2 | 60
| Sub Total |  |  |  |  | 202.1902 | Sqm
42 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | 10 | 1.1 |  | 1.5 | 16.5 | Sqm
| Grils | 5 | 1 |  | 3 | 15
| Windows | 4 | 3.7 |  | 2 | 29.6
| Total |  |  |  |  | 61.1 | sqm
SUB HEAD X : ROOFING
43 | Providing & Fixing of Armstrong Orcal Clip-in swing down Aluminium non perforated precoating 600x600x0.7 mm clip in tiles in 0.35 mm thickness with bevel edge in white colour (RAL 9010) with Light Reflectance > 60% and suitable for Green Building application, with Recycled content of 25%.Installation: To comprise 3000mm long ‘C’ channels spaced at 1200mm centres securely fixed to the structural soffit by support clamp & approved hangers. The last hanger at the end of each C channel should not be greater than 600mm from the adjacent wall. Use a C-channel connector for splicing two pieces of C-channels. 4000mm Dp-12 Main carriers (spring tee bars) shall be spaced at 600mm centres in a direction perpendicular to the C-channels and shall be secured at every intersection with C channel using a dp-12 hanger. Tiles should be clipped in between two Dp-12 carriers (spring tee bars) from below. Perimeter trims to be of Armstrong wall angles of white colour secured to walls at 450mm maximum centres. Cut tiles to be secured to the wall angles using a spring clamp.Required Openings are to be made to accomodate laminar flow airconditioing unit filters as per site conditions..
| ICU | 1 | 9.25 | 5.53 |  | 51.1525
| ICU | 1 | 7 | 2.97 |  | 20.79
| Doctors room, Nurses room | 2 | 5.61 | 2.74 |  | 30.7428
| Sub Total |  |  |  |  | 102.6853 | Sqm
SUB HEAD XI : SANITARY INSTALLATIONS & WATER SUPPLY
44 | Supply and fixing wall hanging type water closet with flushing cistern('HIND WARE'/' CERA' (special colours) or equivalent), with seat cover, along with all necessary requirement for fixing etc. complete. |  |  |  |  | 3 | E
45 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap |  |  |  |  | 10 | E
46 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : One urinal basin with 5 litre white P.V.C. automatic flushing cistern |  |  |  |  | 2 | E
47 | Providing and fixing P.V.C waste pipe for sink or wash basin, including P.V.C waste fittings complete :-
| Flexible pipe :-32 mm dia. |  |  |  |  | 10 | E
48 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors
| a)100mm inlet and 75mm outlet. |  |  |  |  | 5 | E
49 | Providing and jointing PVC pipes of (Pressure10 K g/cm2) for water supply including testing of joints, concealing the pipes , & trenching & refilling wherever required etc complete.
| 20mm PVC pipe |  |  |  |  | 50 | M
| 25mm PVC pipe |  |  |  |  | 50 | M
| 32mm PVC pipe |  |  |  |  | 50 | M
| 40mm PVC pipe |  |  |  |  | 50 | M
50 | Providing and fixing PTMT grating of approved quality and colour. 150 mm nominal size square 100 mm diameter of the inner hinged round grating |  |  |  |  | 5 | E
51 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15mm nominal bore |  |  |  |  | 10 | E
52 | Providing and fixing unplasticised rigid P.V.C pipe conforming to IS Standards(Pressure 6kg/cm2) in drainage lines including cutting and making good the walls,cutting and refilling of earth, jointing all etc complete
| 110mm dia |  |  |  |  | 30 | m
| 75mm dia |  |  |  |  | 30 | m | 0.1125
53 | Providing & fixing PVC Fittings and fixtures Conforming IS specifications including cutting and making good the walls etc complete | [6 empty] | 4.95
| 110mm dia plain elbow |  |  |  |  | 30 | E | 1.63
| 75mm dia plain elbow |  |  |  |  | 30 | E | 3.3
| 110mm dia door elbow |  |  |  |  | 30 | E | 9.88
| 75mm dia door elbow |  |  |  |  | 30 | E
| 110mm dia plain bend |  |  |  |  | 30 | E
| 75mm dia plain bend |  |  |  |  | 30 | E
| 110mm dia door tee |  |  |  |  | 20 | E
| 75mm dia door tee |  |  |  |  | 20 | E
| 110mm dia air cowl |  |  |  |  | 20 | E
| 75mm dia air cowl |  |  |  |  | 20 | E
| 110mm dia offset |  |  |  |  | 20 | E
| 75mm dia offset |  |  |  |  | 20 | E
54 | Providing and fixing C.P. brass bib cock of approved qualityconforming to IS:8931. 15mm nominal bore |  |  |  |  | 15 | E |  |  |  | 2.58
55 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15mm nominal bore |  |  |  |  | 15 | E
56 | Providing and fixing unplasticised P.V.C connection pipe with brass unions :- 45 cm length | [5 empty] | E
| 15MM nominal bore |  |  |  |  | 10 | E
57 | Providing and fixing gun metal gate valve with CI wheel of approved quality (screwed end) – | [5 empty] | E
| 32 mm dia nominal bore |  |  |  |  | 10 | E
58 | Providing and fixing ball valve (brass) of approved quality complete. High or low pressure with plastic floats 25 mm nominal bore |  |  |  |  | 10
59 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement: 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1 |  |  |  | 1 | Each
60 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet. | 4 |  |  |  | 4 | Each
61 | Supplying and fixing C.I. cover without frame for manholes :455x610 mm rectangular C.I. cover (light duty) the weight of the cover to be not less than 23 kg | 1 |  |  |  | 1 | Each
62 | Providing and fixing PTMT grating of approved quality and colour.100mm nominal dia | 4 |  |  |  | 4 | Each
66
2.58
2.58
2.58
2.58
0
2.58
0
0
#REF!
2.58
0
2.58
[10 empty] | 16.68 | 536.65
2.58
2.58
0
0
0
0
0
2.58
0
0
2.58
#REF!
0
2.58
0
2.58
0
2.58
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
2.58
2.58
2.58
2.58
2.58
2.58
2.58
6743.55
171
171
2
4*25
11*2
4*4
585.8232
1007.552
5046.8

## LMR Civil (hidden)
LMR ANALYSIS
Setting up of Burns Unit at TVM Medical College
ITEM NO | DESCRIPTION |  | UNIT | QTY | RATE | Amount
7 |  | Dismantling PVC pipe lines laid in drainage (of dia 110 mm or below) including earth work excavation and removal of PCC or any other protective covering and disposal of all other fixtures to dumping ground within 50m lead..
Observed data
Cost for 1 m
Labour
|  | Beldhar | 0.45 | Each | 600 | 270
|  | Total |  |  |  | 270
|  | Add 1% for water charges |  |  |  | 2.7
|  | Total |  |  |  | 272.7
|  | Add 15% CP and OH |  |  |  | 40.905
|  | Total |  |  |  | 313.605
|  | Say |  |  |  | 314
11 |  | Easing of doors and windows including removing and refixing of shutters and replacing the damaged hinges wherever necessary.
Cost for 1 sqm
|  | MS Butt hinges | 2 | Each | 18 | 36
|  | Screws | 8 | Each | 2 | 16
|  | Carpenter for removing and refixing | 0.3 | Each | 700 | 210
262
| Add 1 % water charges |  |  |  |  | 2.62
| Total |  |  |  |  | 264.62
| Add 15 % CP and OH |  |  |  |  | 39.693
| Cost for 1 sqm |  |  |  |  | 304.313
| Say |  |  |  |  | 304
15 |  | Brick work with F.P.S bricks of class designation 5 in superstructure above plinth level up to floor v level in all shapes an sizes in: Cement mortar 1: 6 (1 cement :6 coarse sand)
Details of cost for 1 cum
Materials :-
|  | Bricks of class designation 50 | 1000 Nos | 494 | 7250 | 3581.5
|  | Cement mortar 1:6 (Rate as per item no 3.11) | Cum | 0.25 | 4588.8523 | 1147.2131
|  | Sundries | LS | 2.73 | 1.49 | 4.0677
Labour :-
|  | Mason 1 st Class | Day | 0.47 | 700 | 329
|  | Mason Il nd Class | Day | 0.47 | 650 | 305.5
|  | Coolie | Day | 1.8 | 600 | 1080
|  | Bhishti | Day | 0.2 | 600 | 120
|  | Scaffolding | LS | 22.36 | 1.49 | 33.3164
Extra labour element required for lifting of materials (above loor two level upto floor five level)
|  | Coolie | Day | 1.13 | 600 | 678
|  | Total |  |  |  | 7278.5972
|  | Add 1 % for water charges |  |  |  | 72.786
|  | Total |  |  |  | 7351.3831
|  | Add 15% for contractor’s profit and overheads |  |  |  | 1102.7075
|  | Cost of 1 cum |  |  |  | 8454.0906
|  | Say |  |  |  | 8454
16 | 6.13.1 &2602 &2603 | Half brick masonry with F.P.S brick of class designation 5 in superstructure above plinth level up to floor V level : CM 1:3 (1 cement : 3 coarse sand)
Details of cost for 10 sqm
Materials :-
| 2603 | Brick of class designation 50 | 1000 Nos | 565 | 7250 | 4096.25
|  | Cement mortar 1:3 (Rate as per item No. 3.8) | Cum | 0.28 | 6733.2023 | 1885.2966
| 9999 | Sundries & Scaffolding | LS | 13.52 | 1.49 | 20.1448
Labour :-
| 0123 | Mason 1st class | Day | 0.6 | 700 | 420
| 0124 | Mason 2nd class | Day | 0.6 | 650 | 390
| 0115 | Coolie | Day | 2 | 600 | 1200
| 0101 | Bhishti | Day | 0.7 | 600 | 420
Extra labour for lifting materials:
| 0115 | Coolie | Day | 1.29 | 600 | 774
10 x 0.115 x 0.75 x1.5
|  | Total |  |  |  | 9205.6914
|  | Add 1 % for water charges |  |  |  | 92.0569
|  | Total |  |  |  | 9297.7484
|  | Add 15% for contractor’s profit and overheads |  |  |  | 1394.6623
|  | Cost for 10 Sqm |  |  |  | 10692.4106
|  | Cost for 1 Sqm |  |  |  | 1069.2411
|  | Say |  |  |  | 1069
31 |  | Supplying and fixing Fiber curtain of size 1x2 meter with fiber net of size 1x0.50 meter fixed in heavy type channels, providing hooks, screws, threads, roller, velcro for folding etc, including stitching charges, material transportation charges, fixing and labour charges etc complete as directed by Engineer in charge
|  | Value of 2X1 m fibre curtain | Nos | 1 | 975 | 975
|  | Fibre net | Nos | 1 | 475 | 475
|  | Stitching charge per nos including providing hooks in top partition | Nos | 1 | 115 | 115
|  | Material transporting and fixing charges | Nos | 1 | 75 | 75
|  | Velcro for each curtain for folding | Nos | 1 | 15 | 15
|  | Total |  |  |  | 1655
|  | Add water charges @ 1% |  |  |  | 16.55
|  | Total |  |  |  | 1671.55
|  | Add CPOH @ 15% |  |  |  | 250.7325
|  | Total |  |  |  | 1922.2825
|  | Add WCT 3% |  |  |  | 57.6685
|  | Add Labour Cess 1% |  |  |  | 19.2228
|  | Cost of 1 no |  |  |  | 1999.1738
|  | Say |  |  |  | 2000
43 |  | Providing & Fixing of Armstrong Orcal Clip-in plain finish SS metal ceiling System consisting of 600x600 mm clip in tiles of stainless steel in 0.35 mm thickness with bevel edge in white colour (RAL 9010) with Light Reflectance > 60% and suitable for Green Building application, with Recycled content of 25%.Installation: To comprise 3000mm long ‘C’ channels spaced at 1200mm centres securely fixed to the structural soffit by support clamp & approved hangers. The last hanger at the end of each C channel should not be greater than 600mm from the adjacent wall. Use a C-channel connector for splicing two pieces of C-channels. 4000mm Dp-12 Main carriers (spring tee bars) shall be spaced at 600mm centres in a direction perpendicular to the C-channels and shall be secured at every intersection with C channel using a dp-12 hanger. Tiles should be clipped in between two Dp-12 carriers (spring tee bars) from below. Perimeter trims to be of Armstrong wall angles of white colour secured to walls at 450mm maximum centres. Cut tiles to be secured to the wall angles using a spring clamp.Required Openings are to be made to accomodate laminar flow airconditioing unit filters as per site conditions..
Cost of 1 sqm
|  | As per Quotation | sqm | 1 | 3152.68 | 3152.68
|  | Add water Charges@1% |  |  |  | 31.5268
|  | Total |  |  |  | 3184.2068
|  | Add CPOH@15% |  |  |  | 477.631
|  | Total |  |  |  | 3661.8378
|  | Add WCT 3% |  |  |  | 109.8551
|  | Add Labour Cess 1% |  |  |  | 36.6184
3808.3113
|  | Total |  |  |  | 3808
44 |  | Supply and fixing wall hanging type water closet with flushing cistern('HIND WARE'/' CERA' (special colours) or equivalent), with seat cover, along with all necessary requirement for fixing etc. complete.
Details of Cost for : 1.00 No.
| Code | Description | Unit | Quantity | Rate | Amount
Details of cost for one pan
MATERIALS
|  | wall hanging type water closet with flushing cistern('HIND WARE'/' CERA' (special colours) or equivalent), with seat cover, | each | 1 | 12600 | 12600
| 9999 | Overflow arrangement and specials for oveflow pipe | L.S. | 62.79 | 1.49 | 93.56
| 1350 | Mosquito proof coupling of the approved municipal design (including cost index) | each | 1 | 43.8534 | 43.85
| 9999 | Plugs,screws etc. | L.S. | 13.52 | 1.49 | 20.14
| 9999 | Red lead, white lead and gasket | L.S. | 16.12 | 1.49 | 24.02
| 9999 | Cement, sand and grit etc. | L.S. | 26.91 | 1.49 | 40.1
| 9999 | Carriage of materials | L.S. | 26.91 | 1.49 | 40.1
LABOUR
| 0116 | Fitter 1st class | Day | 1 | 700 | 700
| 0123 | Mason 1st class | Day | 1 | 700 | 700
| 0114 | Beldar | Day | 1 | 600 | 600
[5 empty] | Total: | 14861.77
|  |  |  | Add water charges @ 1% on | 14861.77 | 148.62
15010.39
|  |  |  | Add C.P & OH @15% on | 15010.39 | 2251.56
[5 empty] | Cost for 1.00 No. | 17261.95
|  | Say |  |  |  | 17262
48 |  | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors
a)100mm inlet and 75mm outlet.
Observed data
Details for 10nos.
|  | Materials | QNTY | UNIT | RATE | AMOUNT
|  | 110mm pvc floor trap(LMR) | 10 | EACH | 95.5 | 955
Labour
|  | Plumber | 0.5 | EACH | 700 | 350
|  | Assistant Plumber | 0.5 | EACH | 600 | 300
|  | Conveyance |  | LS |  | 3
|  | Cost of solvent cement |  | LS |  | 2
1610
|  | Add 15% CP |  |  |  | 241.5
|  | Total |  |  |  | 1851.5
|  | For one No |  |  |  | 185.15
|  |  | say |  |  | 185
49 |  | Providing and jointing PVC pipes of (Pressure10 K g/cm2) for water supply including testing of joints, concealing the pipes wherever required etc complete.
| a | 20mm pvc pipe
Details of cost of providing and fixing PVC pipes for 10.00m length
Materials
|  | 25mm pvc pipe (LMR) | 10.00 m
|  | add 20% extra for fittings | 2.00m
|  | Total | 12 |  | 22 | 264
|  | Labour |  |  |  | 0
|  | Plumber | Each | 0.3 | 700 | 210
|  | Assistant Plumber | Each | 0.3 | 600 | 180
|  | Conveyance | LS |  |  | 25
|  | Cost of solvent cement | LS |  |  | 5
684
|  | Add 15% CP |  |  |  | 102.6
|  | Cost of providing & fixing 10.00m |  |  |  | 786.6
|  | Rate per metre |  |  |  | 78.66
[5 empty] | say | 79
| b | 25mm pvc pipe
Details of cost of providing and fixing PVC pipes for 10.00m length
Materials
|  | 25mm pvc pipe (LMR) | 10.00 m
|  | add 20% extra for fittings | 2.00m
|  | Total | 12 |  | 29.5 | 354
Labour
|  | Plumber | Each | 0.3 | 700 | 210
|  | Assistant Plumber | Each | 0.3 | 600 | 180
|  | Conveyance | LS |  |  | 25
|  | Cost of solvent cement | LS |  |  | 5
774
|  | Add 15% CP |  |  |  | 116.1
|  | Cost of providing & fixing 10.00m |  |  |  | 890.1
|  | Rate per metre |  |  |  | 89.01
[5 empty] | say | 89
| c | 32mm pvc pipe
Details of cost of providing and fixing PVC pipes for 10.00m length
Materials
|  | 32mm pvc pipe (LMR) | 10.00 m
|  | add 20% extra for fittings | 2.00m
|  | Total | 12 |  | 41 | 492
Labour
|  | Plumber | Each | 0.3 | 700 | 210
|  | Assistant Plumber | Each | 0.3 | 600 | 180
|  | Conveyance | LS |  |  | 25
|  | Cost of solvent cement | LS |  |  | 5
912
|  | Add 15% CP |  |  |  | 136.8
|  | Cost of providing & fixing 10.00m |  |  |  | 1048.8
|  | Rate per metre |  |  |  | 104.88
|  | Say |  |  |  | 105
| d | 40mm pvc pipe
Details of cost of providing and fixing PVC pipes for 10.00m length
Materials
|  | 40mm pvc pipe (LMR) | 10.00 m
|  | add 20% extra for fittings | 2.00m
|  | Total | 12 |  | 50 | 600
Labour
|  | Plumber | Each | 0.3 | 700 | 210
|  | Assistant Plumber | Each | 0.3 | 600 | 180
|  | Conveyance | LS |  |  | 25
|  | Cost of solvent cement | LS |  |  | 5
1020
|  | Add 15% CP |  |  |  | 153
|  | Cost of providing & fixing 10.00m |  |  |  | 1173
|  | Rate per metre |  |  |  | 117.3
[5 empty] | say | 117
52 |  | Providing and fixing unplasticised rigid P.V.C pipe conforming to IS Standards(pressure 6kg/cm2) in drainage lines including cutting and making good the walls,cutting and refilling of earth, jointing all etc complete
| a | 110 mm diameter
|  |  | unit | quantity | rate | amount
|  | Details of cost of 6 m 110 Pipe (LMR) | m | 6 | 91 | 546
|  | Seal rings | each | 1 | 8 | 8
|  | Carriage of materials | I time | 6.25 | 2.97 | 18.5625
|  | Adhesive and sundries | 1 time | 3.1 | 2.97 | 9.207
|  | Labour |  |  |  | 0
|  | Plumber | each | 0.36 | 700 | 252
|  | Belder | each | 0.6 | 600 | 360
|  | Bendhani | each | 0.22 | 600 | 132
|  | scaffolding | I time | 7.15 | 2.97 | 21.2355
1347.005
|  | Add 1% for water charges on .......... |  |  |  | 13.4701
|  | Add 15% CP & OH on .......... |  | 1360.4751 |  | 204.0713
1564.5463
|  | Cost of 1 metre | RS | 260.7577
|  | say |  |  |  | 261
1. Single soaked pipes
| b | 75 mm diameter
|  |  | unit | quantity | rate | amount
|  | Details of cost of 6 m 75MM Pipe (LMR) | m | 6 | 74 | 444
|  | Seal rings | each | 1 | 8 | 8
|  | Carriage of materials | I time | 6.25 | 2.97 | 18.5625
|  | Adhesive and sundries | 1 time | 3.1 | 2.97 | 9.207
|  | Labour |  |  |  | 0
|  | Plumber | each | 0.3 | 700 | 210
|  | Belder | each | 0.5 | 600 | 300
|  | Bendhani | each | 0.22 | 600 | 132
|  | scaffolding | I time | 7.15 | 2.97 | 21.2355
1143.005
|  | Add 1% for water charges on .......... |  |  |  | 11.43
|  | Add 15% CP & OH on .......... |  | 1154.4351 |  | 173.1653
1327.6003
|  | Cost of 1 metre | RS | 221.2667
|  | SAY |  |  |  | 221
53 |  | Providing & fixing PVC Fittings and fixtures Conforming IS specifications including cutting and making good the walls etc complete
| a | 110mm dia plain elbow
Observed data and LMR
Materials
|  | 110mm pvc plain elbow(LMR) | 5 | Each | 102 | 510
Labour
|  | Plumber | 0.25 | Each | 700 | 175
|  | Assistant Plumber | 0.25 | Each | 600 | 150
|  | Conveyance |  | LS |  | 20
|  | Cost of solvent cement |  | LS |  | 10
865
|  | Add 15% CP |  |  |  | 129.75
|  | Total |  |  |  | 994.75
|  | For one |  |  |  | 198.95
|  | say |  |  |  | 199
| b | 75mm dia plain elbow
Observed data
Details for 10nos
Materials
|  | 75mm pvc elbow(LMR) | Each | 10 | 78 | 780
Labour
|  | Plumber | Each | 0.5 | 700 | 350
|  | Assistant Plumber | Each | 0.5 | 600 | 300
|  | Conveyance | LS |  |  | 5
|  | Cost of solvent cement | LS |  |  | 5
1440
|  | Add 15% CP |  |  |  | 216
|  | Total |  |  |  | 1656
|  | For one No |  |  |  | 165.6
|  | Say |  |  |  | 166
| c | 110mm dia door elbow
Observed data and LMR
Details for 5nos
Materials
|  | 110mm pvc door elbow(LMR) | 5 | Each | 130 | 650
Labour
|  | Plumber | 0.25 | Each | 700 | 175
|  | Assistant Plumber | 0.25 | Each | 600 | 150
|  | Conveyance |  | LS |  | 20
|  | Cost of solvent cement |  | LS |  | 5
1000
|  | Add 15%CP |  |  |  | 150
|  | Total |  |  |  | 1150
230
|  | Say |  |  |  | 230
| d | 75mm dia door elbow
Observed data
Details for 10nos
Materials
|  | 75mm door elbow(LMR) | Each | 10 | 82 | 820
Labour
|  | Plumber | Each | 0.5 | 700 | 350
|  | Assistant Plumber | Each | 0.5 | 600 | 300
|  | Conveyance | LS |  |  | 5
|  | Cost of solvent cement | LS |  |  | 5
1480
|  | Add 15% CP |  |  |  | 222
|  | Total |  |  |  | 1702
170.2
|  | Say |  |  |  | 170
| e | 110mm dia plain bend
Observed data
Details for 10 nos
Materials
|  | 110 mm pvc plain bend(LMR) | Each | 10 | 110 | 1100
Labour
|  | Plumber | Each | 0.5 | 700 | 350
|  | Assistant Plumber | Each | 0.5 | 600 | 300
|  | Conveyance | LS |  |  | 5
|  | Cost of solvent cement | LS |  |  | 5
1760
|  | Add 15% CP |  |  |  | 264
|  | Total |  |  |  | 2024
202.4
|  | Say |  |  |  | 202
| f | 75mm dia plain bend
Observed data
Details for 10 nos
Materials
|  | 75mm pvc plain bend(LMR) | Each | 10 | 80 | 800
Labour
|  | Plumber | Each | 0.5 | 700 | 350
|  | Assistant Plumber | Each | 0.5 | 600 | 300
|  | Conveyance | LS |  |  | 5
|  | Cost of solvent cement | LS |  |  | 5
1460
|  | Add 15% CP |  |  |  | 219
|  | Total |  |  |  | 1679
167.9
|  | Say |  |  |  | 168
| g | 110mm dia door tee
Observed data and LMR
Details for 5nos
Materials
|  | 110mm PVC Door Tee (LMR) | 5 | Each | 110 | 550
Labour
|  | Plumber | 0.25 | Each | 700 | 175
|  | Assistant Plumber | 0.25 | Each | 600 | 150
|  | Conveyance |  | LS |  | 20
|  | Cost of solvent cement |  | LS |  | 5
900
|  | Add 15%CP |  |  |  | 135
|  | Total |  |  |  | 1035
207
207
| h | 75mm dia door tee
Observed data and LMR
Details for 5nos
Materials
|  | 110 mm PVC Door Tee (LMR) | 5 | Each | 70 | 350
Labour
|  | Plumber | 0.25 | Each | 700 | 175
|  | Assistant Plumber | 0.25 | Each | 600 | 150
|  | Conveyance |  | LS |  | 20
|  | Cost of solvent cement |  | LS |  | 5
700
|  | Add 15%CP |  |  |  | 105
|  | Total |  |  |  | 805
161
|  | Say |  |  |  | 161
| i | 110 mm dia air cowl
Observed data and LMR
Details for 5nos
Materials
|  | 110 mm Air cowl (LMR) | 5 | Each | 55 | 275
Labour
|  | Plumber | 0.25 | Each | 700 | 175
|  | Assistant Plumber | 0.25 | Each | 600 | 150
|  | Conveyance |  | LS |  | 20
|  | Cost of solvent cement |  | LS |  | 5
625
|  | Add 15%CP |  |  |  | 93.75
|  | Total |  |  |  | 718.75
143.75
|  | Say |  |  |  | 144
| j | 75mm dia air cowl
Observed data and LMR
Details for 5nos
Materials
|  | 75 mm dia air cowl (LMR) | 5 | Each | 45 | 225
Labour
|  | Plumber | 0.25 | Each | 700 | 175
|  | Assistant Plumber | 0.25 | Each | 600 | 150
|  | Conveyance |  | LS |  | 20
|  | Cost of solvent cement |  | LS |  | 5
575
|  | Add 15%CP |  |  |  | 86.25
|  | Total |  |  |  | 661.25
132.25
|  | Say |  |  |  | 132
| k | 110 mm dia offset
Observed data and LMR
Details for 5nos
Materials
|  | 110 mm dia offset (LMR) | 5 | Each | 110 | 550
Labour
|  | Plumber | 0.25 | Each | 700 | 175
|  | Assistant Plumber | 0.25 | Each | 600 | 150
|  | Conveyance |  | LS |  | 20
|  | Cost of solvent cement |  | LS |  | 5
900
|  | Add 15%CP |  |  |  | 135
|  | Total |  |  |  | 1035
207
|  | Say |  |  |  | 207
| l | 75mm dia offset
Observed data and LMR
Details for 5nos
Materials
|  | 75 mm dia offset (LMR) | 5 | Each | 90 | 450
Labour
|  | Plumber | 0.25 | Each | 700 | 175
|  | Assistant Plumber | 0.25 | Each | 600 | 150
|  | Conveyance |  | LS |  | 20
|  | Cost of solvent cement |  | LS |  | 5
800
|  | Add 15%CP |  |  |  | 120
|  | Total |  |  |  | 920
184
|  | Say |  |  |  | 184

## Derived rate (hidden)
SCHEDULE OF QUANTITY
NAME OF WORK:SETTING UP OF BURNS UNIT AT TRIVANDRUM MEDICAL COLLEGE.
Derivation of rate as per CPWD 2012schedule
12 (Derived rate from DSR 2012 (5.1.2+5.3) | Reinforced cement concrete work in beams, suspended floors, roofs having slope upto 15degree, landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases upto floor V level including cost of centering, shuttering, finishing and excluding the cost of reinforcement in 1:1.5:3 (1 cement: 1.5 coarse sand : 3 graded stone aggregate 20mm nominal size)
Details of cost for 1 cum.
Materials :
295 | 20mm stone aggregate | cum | 0.57 | 1050 | 598.5
297 | 10mm stone aggregate | cum | 0.28 | 1050 | 294
2202 | Carriage of aggregate | cum | 0.85 | 87.6 | 74.46
982 | Coarse sand | cum | 0.425 | 1120 | 476
2203 | Carriage of coarse sand | cum | 0.425 | 87.6 | 37.23
367 | Cement (0.2833 cum) | tonne | 0.4 | 5000 | 2000
2209 | Carriage of cement | tonne | 0.4 | 77.87 | 31.148
Labour:
155 | Mason | Day | 0.24 | 287 | 68.88
114 | Beldar | Day | 2.75 | 247 | 679.25
101 | Bhishti | Day | 0.9 | 260 | 234
2 | Mixer | Day | 0.08 | 800 | 64
12 | Vibrator | Day | 0.08 | 300 | 24
9999 | Sundries | L.S. | 14.3 | 1.49 | 14.3
115 | Coolie (1.5x0.75) | Day | 1.13 | 247 | 279.11
| TOTAL |  |  |  | 4874.878
| Add 1% for water charges |  |  |  | 48.7488
| TOTAL |  |  | 3194.64 | 4923.6268
| Add for contractor’s- profit and overheads @ |  |  |  | 738.544
15%
| Cost for 1 cum. |  |  |  | 5662.1708
| Say |  |  |  | 5662

## Sheet1 (hidden)
35 | 22.7 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: a) Applying a slurry coat of neat cement using 2.75 kg/sqm. of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300mm height including cleaning the surface before treatment. b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs c) After two days of proper curing applying a second coat of cement slurry using 2.75kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3mm deep. e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120mm and minimum thickness at khurra as 65 mm.
|  |  | 478.92 | sqm | 786.7 | 376766.364 | 376766.364 | 376766.364