HLL/NOIDA/CCTV//2014-15						  12th ’Dec’2014

TENDER NOTICE

Sub: Supply, Installation , Commissioning &  Maintenance of Closed Circuit Television Systems (CCTV) at HLL Noida Office.

Tender under limited two bid system (Technical and Price) are invited for Supply, Installation, Testing, Commissioning, training and Maintenance of Closed Circuit Television Systems (CCTV) at HLL Noida Office.

Scope of Deployment of CCTV:-

The Noida Office is a gated complex consisting of 05 floors( incl. basement) with single entry & exit point from the main gate, on the following locations :-

| Location | Coverage |
| --- | --- |
| Security Gate | Bullet Camera (Covering entry/ Gate Pass area)-Night Vision Type |
| Reception(GF) | Dome Camera-Covers Reception, Punching m/c’s & Lift Lobby. |
| Conference Room(P&CD) | Covers entire room with audio recording. |
| First Floor | Covers Reception & Aisle to ADMIN Hall |
| First Floor | Dome Type -Canteen Hall |
| Third Floor | Akshaya Hall (Dome Type with Audio Recording) |
| Basement | Bullet Camera – Near Pump House |
| Rear lawn & boundary Perimeter | Bullet Camera -Installation at back side of building( Night Vision type) |
| TOTAL No. of Camera(s) | 08 Nos. |

Important Note :- (a) The Bidders may visit the office premises on any working day between 10a.m to 5.00 p.m except Weekly Offs & Holidays for inspecting the locations & seek clarifications.

Important Dates:-

| Event | Date & Time |
| --- | --- |
| Closing Date and time for submission of bids (Technical +Price) | 29th Dec’2014 ; 1500 hrs (IST) |
| Date and time of opening of Bids (Technical +Price) | 30th Dec’2014 ; 1530 hrs (IST) |
| Bidders should submit their sealed Bids to :- | Dy.Vice President ( Maintenance) HLL Lifecare Limited. B-14A, Sector 62, Noida-201307 (UP) |

The clarifications can be sought by the participating bidders on or before closing date & time of submission of bids.

General Instructions:-

1.0 Bid specific Instruction to Bidders:-

The bid consist of TWO parts:

a. Technical Bid – To be submitted in Sealed Envelope

b. Price Bid        – To be submitted in Sealed Envelope

2.0 Technical Bid:-

All Technical details requested ( as mentioned below) should be submitted , failing which the tender stands invalid.

Bidders shall furnish the following information along with technical tender :

i. Name, full address, telephone, email, contact person of the bidder;

ii. Tax Payer’s Identification Number (TIN) No.

iii. Copy of the PAN card

iv. Copy of certificate of incorporation

vi. Copy of at least 2 purchase order regarding supply, installation and maintenance of CCTV system.

Please ensure that no sensitive data pertaining to Price are mentioned in Technical Bid

3.0 Commercial Bid:

Bidders are requested to submit their price bid as per the proforma in Annexure-1. Please quote your basic price for each line item and other relevant charges and Taxes  against appropriate fields.

The bid of the supplier will be evaluated only on confirmation of receipt of the payment (EMD).

4.0 The Earnest Money Deposit (EMD) – Submission

4.1 Bidders needs to pay an EMD amount of Rs. 2,000/- (Rs. TWO Thousand Only) in favor of “HLL LIFECARE LIMITED “ thru’ DD/ Banker’s Cheque payable at New Delhi. The EMD should be sealed in a separate envelope , clearly mentioned as EMD clearly.

4.2 The Earnest Money Deposit (EMD) stands forfeited, if the event of withdrawal by bidder during the period of bid validity. The cost incurred towards bidding and submission of tender documents is the responsibility of bidders, regardless of the conduct or outcome of the tendering process.

4.3 The EMD amount of unsuccessful bidders would be refunded back after completion of tendering process.

# Terms & Conditions:-

- The Successful Bidder has to provide a service warranty ( Material + Labour ) for a period of TWO years from the date of commissioning at no extra charges.

- The bidder should enclose manufacturer’s authorization letter / dealership certificate from the Original Equipment Manufacturer (OEM) for the relevant SDVR/ NVR along with the Technical Bid.

.

Payment:-

a)  90% of the value of the work value will be paid after supply, Installing, Testing and commissioning of the CCTV systems  and supported by necessary documents / test certificates etc, delivery receipts and invoices duly certified by HLL Lifecare Limited , Noida Office.

b) 10% of the work value is the retention amount and it will be paid after completion of 12 months from the date of completion of the work without any interest.

Other Conditions:-

- HLL Lifecare Limited has the right to increase or decrease the quantity of the items without assigning any reason whatsoever.

- The taxes applicable to be clearly mentioned in the offer & statutory deductions are applicable.

- The prices quoted shall be valid for a period of 90 days from the date of opening of bids.

- HLL Life care Limited reserves the right to reject any or all of the bids without assigning any reason whatsoever. No fax/email bids will be accepted.

Annexure-1