HLL LIFECARE LIMITED

## TENDER FOR RENOVATION & MODERNIZATION OF

## SKILL LAB (Civil Works)

## FOR

(STATE HEALTH AND FAMILY WELFARE TRAINING CENTRE,

PARIMAHAL, SHIMLA)

## HIMACHAL PRADESH

### TENDER No:: HLL/AFT/TDG/HP-SL/CIVIL/2015-16/01 DATED  25/11/2015

(A GOVT. OF INDIA ENTERPRISE)

AKKULAM  FACTORY, SREEKARIAM  P.O.

THIRUVANANTHAPURAM – 17

Phone +91 471 244 5930, Fax  +91 471 244 5935

Email: tradingpaft@lifecarehll.com

Web: www.lifecarehll.com

HLL LIFECARE LIMITED

AKKULAM  FACTORY,   SREEKARIAM  P.O.  THIRUVANANTHAPURAM - 17

## Tender for Renovation & Modernization of Labour Room (Civil Works)

TENDER REFERENCE	 :     HLL/AFT/TDG/HP-SL/CIVIL/2015-16/01

DATED  25/11/2015

DATE OF COMMENCEMENT

OF SALE OF TENDER DOCUMENT		:        	25/11/2015

LAST DATE FOR SALE OF TENDER

DOCUMENT						:	10/12/2015,     	11.00  HRS

LAST DATE AND TIME FOR

RECEIPT OF TENDERS				:	10/12/2015,     	14.00 HRS

TIME AND DATE OF OPENING

OF TENDERS					:	10/12/2015,     	15.00 HRS

PLACE OF OPENING OF TENDERS		:	HLL LIFECARE LIMITED

AKKULAM  FACTORY,

SREEKARIAM  P.O.

THIRUVANANTHAPURAM – 17

Phone +91 471 244 5930

Fax      +91 471 244 5935

Email: tradingpaft@lifecarehll.com

ADDRESS FOR COMMUNICATION	:		The Joint General Manager (Mtls)

HLL LIFECARE LIMITED

AKKULAM  FACTORY,

SREEKARIAM  P.O.

THIRUVANANTHAPURAM - 17							                        Phone +91 471 244 5930

Fax      +91 471 244 5935

Email: tradingpaft@lifecarehll.com

SECTION  I

INVITATION FOR TENDERS

HLL/AFT/TDG/HP-SL/CIVIL/2015-16/01                                                                 dated  25/11/2015

Sealed and super-scribed tenders are invited for execution of RENOVATION & MODERNIZATION OF SKILL LAB (Civil Works ) as given below. The detailed work is given as in the Price Schedule to this Tender. Sealed Tenders with Price Schedule will be accepted till 14.00 Hrs on 10/12/2015

| Site. No. | Details of Designated Site (Hospital Location) | EMD |
| --- | --- | --- |
| 1 | State Health and Family Welfare Training Centre, Parimahal, Shimla | 8,000.00 |

1.  Interested eligible Tenderers may obtain further information from the Office of the Joint General Manager (Mtls), HLL Lifecare Ltd, Akkulam Factory, Thiruvananthapuram -17, Kerala.

2.  The Tenders accompanied by necessary documents specified herein shall be delivered to The Joint General Manager (Mtls), HLL Lifecare Ltd, Akkulam Factory, Sreekariyam Thiruvananthapuram –17, Kerala on or before 10/12/2015, 14.00 Hrs.

3.  The Tenders will be opened on 10/12/2015, at 15.00  hrs in the presence of the Tenderers or their duly authorized representatives who wish to attend the Tender opening on the specified date and time at HLL's office mentioned above. In the event of the date being declared is a closed holiday for HLL, the due date for submission of Tenders and opening of Tenders will be the following working day at the appointed time.

4.  INSTRUCTION  TO   TENDERERS

4.1.   Eligible Tenderers

a) The Tenderer should have Minimum 3 year experience in the relevant field

b) The Tenderer should have executed satisfactorily at least 2 jobs preferably of similar   kind and each contract valuing more than Rs. 5 Lakhs during the last 3 years.

c) The Tenderer must quote for all the schedules in Tender. The tender partially quoted or not quoted for all the schedules in the tender shall be considered as incomplete and will be summarily rejected.

d) Tenderer/his supervisor should have necessary valid licences, as applicable, to execute the work specified in the schedules. Documentary proof shall be submitted along with the tender.

5. Documents to be submitted alongwith Tender

5.1. The Tenderer is to furnish all the information required by the Tender. Submission of a tender    not substantially responsive in every respect will be at the Tenderer’s risk and may result in rejection of Tender.

5.2.  Tender Fee : DD for Rs. 525.00 (inclusive of tax) drawn in favour of HLL Lifecare

Limited payable at Thiruvananthapuram is to be attached towards tender fee.

  - EMD for Rs. 8,000/- shall be submitted in the form of  Demand Draft, drawn in  favor of HLL Lifecare  Limited, payable at Thiruvananthapuram . The EMD shall be  returned to the non-responsive Tenderers within 60 days from the date of opening of Tender. The Tender received without EMD will be rejected.

  - Performance Statement - Documentary evidence of previous satisfactory work executions as specified above.

  - Duly filled Tender and Price schedule as per Tender. The tenderer who is quoting the tender shall ensure that he is quoting for all the schedules in the Tender.

5.6   The tender not quoted for all the schedules in the Tender, shall be summarily rejected.

5.7.   The Work Order shall be placed to the tenderer, whose total rate for all the schedules in the tender comes to lowest and responsive.

6.   Period of Validity of Tenders

6.1  Price in the Tender shall be valid for One year from the date of opening of Tender

Prices in the Work Order shall not vary during the validity period.

7.  Format and Signing of Tender.

7.1   The Tender shall be typed or written in indelible ink.  All pages of the Tender, except for unamended printed literature, shall be signed/initialed by the person(s) signing the Tender.

7.2    Any interlineations, erasures or overwriting shall be valid only if they are initialed by the person(s) signing the Tender.

7.3  Taxes and Duties : Contractors shall be entirely responsible for all taxes, licenses, duties, statutory levies etc., incurred until handing over of the contracted site/service to HLL/Hospital Authority.

8.    Submission of Tenders

#### 8.1.   Sealing and Marking of Tenders

The Tender with all documentary evidences and Price Schedule shall put in a sealed cover super scribed with;

## “Tender for Renovation & Modernization of SKILL LAB (Civil Works ) – H&FW Training Centre, Shimla”

“TENDER No: HLL/AFT/TDG/HP-SL/CIVIL/2015-16/01   DATED  25/11/2015”

shall be addressed to the following address:

The Joint General Manager (Materials)

HLL Lifecare Limited,

Akkulam Factory, Sreekaryam  P.O. ,

Thiruvananthapuram -17

Phone 0471 2445930 / 2445935

Email : tradingpaft@lifecarehll.com

- If the Tenders  are not sealed and marked as required, the Company will assume no responsibility for the Tender’s misplacement or premature opening.

- The Company may, at its discretion, extend this deadline for the submission of Tenders by amending the Tender documents in which case all rights and obligations of the Company and Tenderers previously subject to the deadline will thereafter be subject to the deadline as extended. Any amendment in this respect will be notified in the HLL Website only.

9.  Late Tenders

9.1   Any Tender received by the Company after the deadline for submission of Tenders prescribed by the Company, will be rejected and returned unopened to the Tenderer.

10.   Tender Opening and Evaluation

10.1  The Tenders shall be opened at 15.00 Hrs on 10/12/2015, in the presence of Tenderer's/their representatives who wish to attend, at the following Office of ;

THE JOINT GENERAL MANAGER (MATERIALS)

HLL Lifecare Limited,

Akkulam Factory, Sreekaryam  P.O. ,

Thiruvananthapuram -17

Phone 0471 2445930 / 2445935

Email : tradingpaft@lifecarehll.com

10.2 	In the event of the date of Tender opening being declared a holiday for the Company, the Tenders shall be opened at the appointed time and location on the next working day.

10.3 The Company will scrutinize the Tender for compliance to the conditions and documentation requirement as per the Tender document. The Tenderers will be short-listed on the basis of responsiveness of Tender. The successful Tenderer shall be identified on the basis of lowest evaluated substantially responsive Tender.

10.4   During Tender evaluation, the arithmetical errors found in the tenders shall be evaluated on the following basis.  If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected. If there is a discrepancy between words and figures, the amount in words will prevail.  If the Tenderer does not accept the correction of the errors, its Tender will be rejected.

10.5    A Tender not substantially responsive, will be rejected by the Company and may not subsequently be made responsive by the Tenderer by correction of the non-conformity.

11.   Award of Contract

11.1 	The Company shall award the contract to the successful Tenderer whose Tender has been determined to be substantially responsive and as the lowest evaluated Tender, provided further that the Tenderer is capable to perform the contract satisfactorily.

12. Company’s Right to Vary Quantities at the time Award

  - The Company reserves the right at the time of award of contract to increase or decrease the quantity of materials and services originally specified in the Tender document without any change in unit price or other terms and conditions within the Tender validity period.

13.  Accept or Reject any or all Tenders

13.1 	The Company reserves the right to accept or reject any Tender, and to annul the Tender process and reject all Tenders at any time prior to award of Contract, without thereby incurring any liability to the affected Tenderer or Tenderers.

14. Notification of Award

14.1 	Company shall notify the successful Tenderer in writing and/or by e-mail, that its Tender has been accepted. The notification of award will constitute the formation of the contract

SECTION II

GENERAL CONDITIONS OF CONTRACT

1. Standards

1.1	The Work executed under this Contract shall conform to the standard requirements mentioned in the schedule.

2. Inspection and Tests

2.1	The Company or its representative shall have the right to inspect and/or to test the materials to confirm their conformity to the Contract at no extra cost of the Company.

2.2	The inspections and test may be conducted on the premises during execution and/or at the point of completion and/or at the time of handing over the execution. The Contractor or its subcontractor(s), all reasonable facilities and assistance shall be extended to the inspectors at no charge to the Company.

2.3	Any inspected or tested materials/work fail to meet with the schedule requirement, shall be either replaced or make all alternations necessary to meet schedule requirements free of cost to the Company by the contractor.

3.  Incidental Expenses

3.1 	The contractor may be required to provide any or all of the services with respect to this tender, including additional services, if any.

4. Warranty

4.1 	The Contractor shall warrant that the Materials supplied under this Contract are new and shall have no defect arising from design, materials or workmanship from any act or omission of the Contractor.

4.2 	The warranty shall valid for one year after work completion, handing over and acceptance by the HLL/Hospital Authority. On receipt of any complaint during the warranty period shall be repaired/replaced by the contractor with all reasonable speed, without any cost to the Company.

4.3      Any failure from the part of Contractor to attend the complaint during warranty period shall be promptly notified to the contractor in writing, which will be at the cost and responsibility of contractor

4.4 	If the Contractor, having been notified, fails to remedy the defect(s) within a reasonable period, the Company may take remedial action, as may be necessary, at the Contractor’s risk and expense and without prejudice to any other rights which the Company may have against the Contractor under the contract.

5. Payment

5.1     Payment shall be released in two parts - 50% of the total value of work may be released upon the completion of 60% of the work and the final payment (balance 50%) shall be made after successful completion of the total work. The second and final payment shall be released only after clearing all the debris/balance materials from the site. The bills are to be certified by the State Incharge/Regional Executive of HLL countersigned by any one of the following official from HLL.

- Business Manager (Projects & Services), CMO, Chennai

- Manager (Projects), AFT, Trivandrum.

- National Sales Manager (BCT), CMO, Chennai

6. Subcontracts

6.1	The Contractor shall notify the Company in writing of all subcontracts awarded under the contract if not already specified in his Tender. However, Such notification, in his original Tender or later, shall not relieve the Contractor from any liability or obligation under the contract and any kind of liability/commitments with respect to the sub-contracting shall be at the risk, cost and complete responsibility of the contractor.

7. Termination by default

7.1	The Company may, by written notice of default sent to the contractor, terminate the Contract in whole or part;

- if the Contractor fails to complete any or all of the work within the time period(s) specified in the Contract, or within any extension thereof granted by the Company,    or

- if the Contractor fails to perform any other obligation(s) under the contract.

7.2	In the event the Company terminates the Contract in whole or in part,  the Work or Services similar to those unperformed, the Contractor shall be liable to the Company for any excess costs for such similar Works.

8. Resolution of Disputes/Arbitration

8.1 	The Company and the contractor shall make every effort to resolve amicably by direct informal negotiation, any disagreement or dispute arising between them under or in connection with the Contract.

8.2      If,  HLL and the Contractor have been unable to resolve amicably a Contract dispute, such dispute or disagreement shall be settled in accordance with the Arbitration and Conciliation Act 1996. The Arbitral Tribunal shall consist of 3 Arbitrator, one each to be nominated by the Company and the contractor. The third Arbitrator shall be chosen by the two Arbitrators so appointed by the parties and shall act as Presiding Arbitrator. In case of failure of the two Arbitrator appointed by the parties to reach upon a consensus within a period of 30 days from the appointment of the Arbitrator appointed subsequently, the Presiding Arbitrator shall be appointed by the President of Institute of Engineers (India).

8.3    The jurisdiction of any disputes, suits and proceeding arising out of the tender shall be only in the court of Thiruvananthapuram.

9. Applicable Law

9.1 	The Contract shall be interpreted in accordance with the laws of the Union of India.

SECTION III

SPECIAL CONDITIONS OF CONTRACT.

- The work shall be completed within 25 Days from the date of receipt of firm Work Order/L.O.I.

- During the execution of the work the contractor or authorized representative should be present at the site.

- All Statutory deduction like Income tax, Work Tax, Service Tax, ESI, PF etc will be deducted from the Contractor’s bill as per the statutory rules.

- Security deposit: 5% of Service Purchase Order value shall be deducted from the first bill and shall be released after defect liability period of ONE year.

- Contractor shall collect the Completion Certificate from the Hospital Authorities after completion and handing over the work and submit the Completion Certificate in original along with the final bill for release of final payment.

- The contractor has to arrange all the necessary insurance coverage for the materials/ machines/workmen deployed by him.

- Measurement is to be recorded in each stage of the work and the payment will be made on actual measurement of the work as per the order.

.

- HLL reserves the right to accept or reject the tender either partially or fully without assigning any reason what so ever.

9. Liquidated Damages

- 9.1 If the Contractor fails to execute any or all of the work or perform the Services within the time period(s) specified in the Tender/Purchase Order/Work order, the HLL shall, without prejudice to its other remedies under the Contract, deduct from the Contract Price, penalty as liquidated damages, a sum equivalent to 0.5 percentage of the value of the delayed Work or unperformed Services for each week or part thereof of delay until actual completion of performance, up to a maximum deduction of 10 percentage, unless an extension of time is agreed upon pursuant to Work Order without the application of liquidated damages.

.

SECTION IV

## TENDER FOR RENOVATION SKILL LAB (Civil Works) IN

H&FW Traning Center, Shimla, HP

PROFORMA ABOUT THE CONTRACTOR

(Please attach detailed proforma incorporating the information given below)

DATE OF TENDER OPENING ……………………………..

| 1 | NAME OF THE TENDERER |  |  |  |
| --- | --- | --- | --- | --- |
| 2 | Full address of the Tenderer |  |  |  |
| 3 | PAN No |  |  |  |
| 4 | TIN No |  |  |  |
| 5 | Service Tax No |  |  |  |
| 6 | Contact Person | Name |  |  |
|  |  | Phone |  |  |
| 7 | Telephone No. | Office |  |  |
|  |  | WorkS |  |  |
|  |  | Fax No |  |  |
| 8 | e-mail address |  |  |  |
| 9 | Details of Staff | Technical |  |  |
|  |  | Skilled |  |  |
|  |  | Unskilled |  |  |

.  Any other details:

SEAL OF THE  TENDERER

SIGNATURE

NAME AND ADDRESS OF TENDERER

SECTION  V (a)

## HLL LIFECARE LIMITED

AKKULAM  FACTORY,  THIRUVANANTHAPURAM-695017

INDEMINITY CLAUSE

If the contractor fails to execute the order within the time prescribed for the handing over of works ordered or violates or infringes the existing rates as agreed to as mentioned in the work order, the contractor shall and will indemnify the company against all loses or damages whatsoever to be incurred or sustained including the legal cost or expenses incurred by the company by reason of non-handing over of works at agreed quantity and rate within the time specified in the work order.  The company will initiate legal action if the contractor fails to execute the work order as per the schedule in the work order for the actual loss suffered. No quantity tolerance will be permitted in this regard unless otherwise prior approval is taken by the company before executing any excess quantity and shall be at the risk of the contractor.   Responsiveness of the Tender shall be at the discretion of HLL.

The contractor shall have no right to change the quantity stipulated in the work order.

Tender pronounced Non Responsive by HLL shall be summarily rejected.

The decision of HLL will be final and no correspondence of this shall be entertained.

We have read and understood the above conditions and agree to adhere   by the same.

PLACE:                                                        NAME AND SIGNATURE OF THE TENDERER

DATE:                                                                                (WITH OFFICE SEAL)

## SECTION V (b)

## HLL LIFECARE LIMITED

Akkulam Factory

THIRUVANANTHAPURAM-695017

#### DECLARATION

I / We, The Tenderer undertake, shall execute, within the purview of the contract, all the civil works and activities includes; transportation, loading, unloading and other  Civil works related to the installation of the equipments as part of project at the designated site as per the schedule/contract /work order, at Himachal Pradesh

We confirm having read and understood all the schedule  requirements, instructions, forms, terms and conditions and other  requirements of the above tender (both expressed and implied) in full and that we agree to adhere by all without any deviation.

SEAL OF THE TENDERER

SIGNATURE

NAME AND ADDRESS OF TENDERER

- SECTION  VI

- HLL LIFECARE LIMITED

AKKULAM FACTORY,  THIRUVANANTHAPURAM-695017

Ph: 0471 244 5930  Tele Fax: 244 5935

tradingpaft@lifecarehll.com

Tender for Renovation and Modernization of SKILL LAB

(Civil Work )

## HIMACHAL PRADESH PROJECT-

- ABSTRACT PRICE BID

| Site. No. | Details of Designated Site (Hospital Location) | Amount (Rs) |
| --- | --- | --- |
| 1 | State Health & Family Welfare Training Centre, Parimahal, Shimla |  |

(Rate shall be quoted inclusive of all taxes and statutory levies)

Total words in Rupees: ___________________________________________________________

The Tenderer has to submit their quote for all the schedules in the Tender.  If a tenderer is not quoting for all the schedules in the Tender, the tender will be summarily rejected. HLL will place Work Order to the tenderer, whose total rate for all the hospitals in the tender comes to lowest

SEAL OF THE TENDERER			SIGNATURE

NAME AND ADDRESS  OF TENDERER

SECTION  VII

HLL LIFECARE LIMITED

AKKULAM FACTORY,  THIRUVANANTHAPURAM-695017

Ph: 0471 244 5930  Tele Fax: 244 5935

tradingpaft@lifecarehll.com

Tender for Renovation and Modernization of Skill lab

(Civil Work)

PRICE SCHEDULE

| SI. No. | Description of work | Qty | Unit | Unit rate in Rs. | Total rate in Rs. |
| --- | --- | --- | --- | --- | --- |
| 1 | Cleaning the site and removing debris with carriage of meterial by manual labour including loading ,unloading and stacking for lead lass than 0.5 KM | 1 | Ls |  |  |
| 2 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : |  |  |  |  |
| A | For Fixed Portion , Powder coated aluminium (minimum thickness of powder coating 50 micron) | 114.7 | Kg |  |  |
| 3 | Providing and fixing glazing in aluminium adoor, window, ventilator shutters and partitions etc with PVC/neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge. |  |  |  |  |
| A | With float glass panes of 5.5 mm thickness | 9.03 | Sq.m |  |  |
| 4 | Providing and fixing 12mm prelaminated three layer medium density (exterior grade) particle board Grade I,TypeII conforming to IS:12823 bonded with phenol formaldehyde synthetic resin, of approved brand and manufacture in panelling fixed in aluminium doors,windows shutters and partition frames with C.P.brass/stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. |  |  |  |  |
|  | Prelaminated particle board with decorative lamination on both sides | 11.20 | sqm |  |  |
| 5 | Providing and fixing aluminium tower bolts ISI marked anodised ( anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete- |  |  |  |  |
| A | 250 X 10 mm | 6 | Each |  |  |
| B | 150x10mm | 6 | Each |  |  |
| 6 | Providing and fixing 100mm brass locks (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 3 | Each |  |  |
| 7 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete | 30 | Mtr |  |  |
| 8 | Providing and fixing aluminium handles ISI marked anodised ( anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete- |  |  |  |  |
| A | 125mm | 12 | Each |  |  |
| 9 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | 1.04 | Sqm |  |  |
| 10 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | 3.11 | Mtr |  |  |
| 11 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 1 | Each |  |  |
| 12 | Providing and fixing PVC waste pipe for sink or wash basin including PVC waste fittings complete flexible pipe 32mm dia | 1 | each |  |  |
| 13 | Providing and fixing chlorinated polyvinyl chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threading fitting i/c fixing the pipe with clamps at 1m spacing. This includes joiting of pipes and fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of the Engineer in Charge. Concealed work including cutting chases and making good the walls etc |  |  |  |  |
| A | 20mm nominal outer dia pipes | 20 | Mtr |  |  |
| B | 32mm nominal outer dia pipes |  | Mtr |  |  |
| C | 50mm nominal outer dia pipes | 20 | Mtr |  |  |
| 14 | Providing and fixing 600x450mm beveled edge mirror of superior glass (of approved quality) complete with 6mm thick hard board ground fixed to wooden cleats with C.P.brass screws and washers complete | 1 | Each |  |  |
| 15 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with conceeled fitting arrangements of approved quality and colour |  |  |  |  |
|  | 600mm long towel rail with total length of 645 mm, width 70mm and effective height of 88mm, weighing not less than 190gms | 1 | Each |  |  |
| 16 | Providing and fixing PTMT liquid soap container 109mm wide, 125mm high and 112mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105gms | 1 | Each |  |  |
| 17 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc complete | 159.50 | Sqm |  |  |
| 18 | Applying one coat of water thinnable cement printer of approved brand and manufacture on wall surface, water thinnable cement printer | 159.50 | Sqm |  |  |
| 19 | Providing and pplying plaster of paris putty of 2mm thickness over plastered surface to prepare the surface even and smooth complete | 159.50 | Sqm |  |  |
| 20 | Wall painting with plastic emulsion paint of approved brand and manufacture to give as even shade | 159.50 | Sqm |  |  |
|  | Non Scheduled Items |  |  |  |  |
|  | Providing and Fixing partition upto ceiling height consisting of G.I. frame and required bopard, including providing and fixing of frame work made of special section power passed/roll form G.I.sheet with zinc coating and 120gms/sqm (both side inclusive), consisting of floor and ceiling channesl 50mm wide having equal flanges of 32mm and 0.50mm thick, fixed to the floor and ceiling at the spacing of 610mm centre to centre with dash fastener of 12.5mm dia meter 50mm length or suitable anchor fastener or metel screws with nylon plugs and the studs 48mm wide having one flange of 34mm and other flange 36mm and 0.50mm thick fixed vertically with flanges of floor and ceiling channel and placed at the spacing of 610mm centre to centre by 6mmng of two flange dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metel screws with nylon plugs at spcing of 450mm centre to centre and fixing of boards to both side of frame work by 25mm long dry wall screws on studs, floor and ceiling channels at the spaicing of 300mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, MS fixing channel of 99mm width (0.9mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints oftwo boards, fixed to the studs using metal to metal flat head screws, includingjointing and finishing to a flush finish with recommended jointing compound,jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), jointfinisher and two coats of primer suitable for board as per manufacture’s specification and direction of engineer in charge all complete. |  |  |  |  |
| 20 | 75 mm overall thickness partition with 12.5 mm thick double skinfire rated board conforming to IS: 2095: part I | 79.82 | Mm |  |  |
| 21 | Supplying and fixing doors using with plywood with all sides are laminated also a provision of view glass including cost of all necessary fittings like hinges,lock,handles etc complete (ply wood should be good quality confirming with ISI thkness not less than 20mm ,laminate should be good quality conforming with ISI , view glass thk not less than 8mm sized 1x4 feet ) | 5 | Nos |  |  |
| 22 | Supplying and providing elbow action sink tap standard type confirming with ISI , branded like Jaguar ,Groh etc | 1 | each |  |  |
| 23 | Providing and fixing joint free ceramic tile of Johnson /Asian or equivalent ,colour and size (300 X 300/450/500 mm) as approved by Engineer in charge in dados over 12 mm thick bed of cement mortar (1 cement : 3 coarse sand)and jointing with filler of epoxy grouting | 1.04 | Sqm |  |  |
| 24 | Supplying and providing Laboratory type scrup sink standard type confirming with ISI , Quality branded like Jaguar ,Groh etc | 1 | No. |  |  |
| 25 | Providing and fixing signage |  | Ls |  |  |
| 26 | Providing and fixing shoe rack with it all accessories | 1 | Each |  |  |
| 27 | Supplying and providing sun light controlling film on window glass , good quality type as per the instruction of engineer in charge | 185 | Sqft |  |  |
| 28 | Supplying and fixing vinyl flooring, in proper level and alignment, including cost of all fixing material and also the cost of supplying and fixing beading at all corners | 620 | Sqft |  |  |
| 29 | Maintains works of aluminum fixed windows like removing existing two windows (size 240x240) without damage and fixing the same 50 cm distance apart at outer wall for space utalization,complete including labour and required meterials | 1 | Ls |  |  |
| 30 | Providing and fixing curtains as labour table partition using good quality meterials , curtain should be waterproof meterial like fabric & sheer ,curtain rod should be track type with holders , curve etc with sliding , colour and specification of meterilas should be as per the instruction of site in charge | 14 | Sqm |  |  |
|  | Supplying and providing vertcal blinds for windows , the colour of blinds will be a mixure of red and white as per the instruction of site in charge ,specification of blinds described below |  |  |  |  |
| 30 | The HEAD CHANNEL shall measure 40mm wide and 25mm deep with a nominal wall thickness of 1.2mm to 1.4mm extruded from patented 6063- T5 alloy finished in clear anodisation to a thickness of 20 microns. The SPLINE SHAFT shall be a tri-lobular patented aluminum extrusion of 6063-T5 alloy.The SLAT TRAVELLERS assembly shall be molded in a imported high engineering grade plastic & shall incorporate a gear clutch designed to prevent damage to the assembly. Slat hooks shall be removable to allow replacement where required without dismantling the tracking system.The SLAT SPACER LINKS shall be imported Stainless Steel and shall couple the slat travelers together in a predetermined spaced relationship and to allow uniform overlap (minimum 12mm) between slats across the width of the shade.The TILT CONTROL shall be by means of imported braided nylon cord with 3.8mm diameter engineering grade plastic, balls molded co-axially to it on 9.0mm c-t-c distance, by pulling on the ball chain connected to a pulley. The SLAT CARRIERS shall be of molded nylon and shall be suitable for snap insertion into the hook of the traveler assembly.The BOTTOM LINKAGE CHAIN shall couple adjacent slats at the base to minimize differential movement of slats.The CHANNEL MOUNTING BRACKETS shall be press formed angle brackets and provided with holes for fixing screws and nut attachment of the channel mounting clips. Finish shall be clear Zinc plated.The TRAVERSING CORD shall be 2.0mm diameter and constructed with a braided polyester jacket over a polyester core. The cord shall be held in tension by a cord weight.The FABRIC SLATS shall be slit in 100mm widths & provided with bottom pockets for housing bottom weights which are coupled together by means of endless bead chains pivotally attached by clasps to each side of each weight. The clasp shall be capable of self-release from the bottom weight when the chain is subjected to accidental loads.The BOTTOM WEIGHTS shall be molded from high quality plastic and shall weigh not less than 32 gms. each, to ensure constant tensioned straightness of the fabric slats. | 18 | Sqm |  |  |
|  | Handwashing Facility with running water supply with elbow tap (Scrub Station) | 1 | Job |  |  |
|  | Total |  |  |  |  |

(Rate shall be quoted inclusive of all taxes and statutory levies)

SEAL OF THE TENDERER                                                                SIGNATURE

NAME AND ADDRESS  OF TENDERER