## Civil measurements (hidden)
Name Of work:Renovation of Thaluk Hospital Vadakkanchery.In Thrissur District.
PART I: DIALYSIS UNIT AND MGP BUILDING - GROUND FLOOR
Sl.No | Description of Items | No | Length | Breadth | Height/Depth | Qty | Unit | Remarks
Sub Head - I Earth Work
1 | Clearing jungle incuding uprooting of rank vegetation ,grass,brush wood,trees and saplings of girth up to 30cm measured at a height of 1m above ground level and removal of rubbish at distance of 50m outside the periphery of the area cleared.
| Proposed toilet portion | 1 | 3 | 4 |  | 12 | m2
| Dialysis unit periphery | 2 | 11.5 | 8.5 |  | 195.5 | m2
| Porch | 1 | 6.1 | 5.4 |  | 32.94 | m2
| Total |  |  |  |  | 240.44 | m2
| Extra |  |  |  |  | 12.022 | m2
| Grand total |  |  |  |  | 252.462 | m2
2 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead up to 50 m and lift up to 1.5 m, disposed earth to be levelled and neatly dressed.
All kinds of soil
| Toilet portion | 1 | 3 | 3 | 0.75 | 6.75 | m3
| Infront of pharmacy | 1 | 4.5 | 3 | 0.15 | 2.03 | m3
| For retaining wall portion (Existing) | 1 | 13.3 | 3.5 | 1.75 | 81.46 | m3
| Total |  |  |  |  | 8.78 | m3
| Extra |  |  |  |  | 0.439 | m3
| Grand total |  |  |  |  | 9.219 | m3
3 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift up to 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
All kinds of soil
| Toilet | 2 | 4.06 | 0.8 | 0.75 | 4.87 | m3
|  | 1 | 1.4 | 0.8 | 0.75 | 0.84 | m3
| Retaining wall | 2 | 13.3 | 1 | 1 | 26.6 | m3
|  | 1 | 3.5 | 1 | 1 | 3.5 | m3
| Total |  |  |  |  | 35.81 | m3
| Extra |  |  |  |  | 1.7905 | m3
| Grand total |  |  |  |  | 37.6005 | m3
4 | Extra for every additional lift of 1.5 m or part there of in excavation / banking excavated or stacked materials
| For retaining wall portion (Existing) | 1 | 13.3 | 3.5 | 0.25 | 11.64 | m3
| Extra |  |  |  |  | 0.582 | m3
| Total |  |  |  |  | 12.222 | m3
5 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth up to 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : 2.10.1 All kinds of soil 2.10.1.1 Pipes, cables etc, not exceeding 80 mm dia
| Toilet portion | 1 | 3.5 | 0.45 | 0.8 | 1.26 | m3
| Extra |  |  |  |  | 0.063 | m3
| Total |  |  |  |  | 1.323 | m3
6 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20 cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift up to 1.5 m.
| Toilet basement | 2 | 2.03 | 1.63 | 0.45 | 2.98 | m3
| Extra |  |  |  |  | 0.149 | m3
| Total |  |  |  |  | 3.129 | m3
Sub Head - II Cement concrete
7 | Centering and shuttering including strutting, propping etc. and removal of form work for : Foundations, footings, bases for columns
| Toilet foundation PCC | 4 | 4.06 |  | 0.15 | 2.44 | m2
|  | 6 | 1.4 |  | 0.15 | 1.26 | m2
| Retaining wall foundation PCC | 2 | 13.3 |  | 0.15 | 3.99
| Total |  |  |  |  | 7.69 | m2
| Extra |  |  |  |  | 0.3845 | m2
| Grand Total |  |  |  |  | 8.0745 | m2
8 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:
1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size)
| Toilet foundation PCC | 2 | 4.06 | 0.8 | 0.15 | 0.97 | m3
|  | 6 | 1.4 | 0.8 | 0.15 | 1.01 | m3
| Retaining wall foundation PCC | 2 | 13.3 | 1 | 0.15 | 3.99 | m3
| Total |  |  |  |  | 5.97 | m3
| Extra |  |  |  |  | 0.2985 | m3
| G rand Total |  |  |  |  | 6.2685 | m3
9 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor, etc. up to floor five level, excluding the cost of centering, shuttering and finishing :
| 1:1½:3 (1 cement : 1½ coarse sand :3 graded stone aggregate 20 mm nominal size) | 20 | 0.45 | 0.45 | 0.6 | 2.43 | m3
| Extra |  |  |  |  | 0.1215 | m3
| Total |  |  |  |  | 2.5515 | m3
Sub Head - III Reinforced Cement Concrete
10 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :For plinth belt in Toilet basement
1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size)
| Toilet plinth belt | 2 | 4.06 | 0.25 | 0.1 | 0.2 | m3
|  | 3 | 1.4 | 0.25 | 0.1 | 0.11 | m3
| Retaining wall belt | 1 | 13.3 | 0.5 | 0.25 | 1.66 | m3
| Total |  |  |  |  | 1.97 | m3
| Extra |  |  |  |  | 0.0985 | m3
| Grand Total |  |  |  |  | 2.0685 | m3
11 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases up to floor five level excluding the cost of centering, shuttering, finishing and reinforcement, with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size).
| Toilet lintel | 2 | 4.29 | 0.23 | 0.15 | 0.3
|  | 3 | 1.4 | 0.23 | 0.15 | 0.14
| Laboratory,slab with granite toping | 1 | 5.85 | 0.6 | 0.1 | 0.35
|  | 1 | 7.45 | 0.6 | 0.1 | 0.45
| Dialysis unit slab portion for cupboard | 8 | 2.5 | 0.6 | 0.1 | 1.2
| Slab of toilet | 1 | 4.89 | 2.46 | 0.1 | 1.2
| Slab for pharmacy | 4 | 3.25 | 0.6 | 0.1 | 0.78
|  | 1 | 2.2 | 1.2 | 0.1 | 0.26
| Total |  |  |  |  | 4.68 | m3 |  |  | 2.28
| Extra |  |  |  |  | 0.234 | m3 |  |  | 0.114
| Grand Total |  |  |  |  | 4.914 | m3 |  |  | 2.394
12 | Centering and shuttering including strutting, propping etc. and removal of form for :
a | Suspended floors, roofs, landings, balconies and access platform
| Tolilet roof slab | 1 | 4.89 | 2.46 |  | 12.03 | m2
| Extra |  |  |  |  | 0.6015 | m2
| Total |  |  |  |  | 12.6315 | m2
b | Lintels, beams, plinth beams, girders, bressumers and cantilevers
| Toilet lintel | 4 | 4.29 |  | 0.15 | 2.57 | m2
|  | 6 | 1.4 |  | 0.15 | 1.26 | m2
| Total |  |  |  |  | 3.83 | m2
| Extra |  |  |  |  | 0.1915 | m2
| Grand Total |  |  |  |  | 4.0215 | m2
c | Columns, Pillars, Piers, Abutments, Posts and Struts
| Pathway to Dialysis unit | 20 | 0.45*4 |  | 0.6 | 21.6 | m2
[6 empty] | 21.6 | m2
| Extra |  |  |  |  | 1.08 | m2
| Total |  |  |  |  | 22.68 | m2
13 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.
| Thermo-Mechanically Treated bars |  |  | 6.9825 | 100kg/m3 | 698.25
| Extra |  |  |  |  | 34.9125
| Total |  |  |  |  | 733.1625 | kg
Sub Head -IV Brick Work
14 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in : Cement mortar 1:6 (1 cement : 6 coarse sand)
| Plinth belt toilet | 2 | 4.29 | 0.23 | 0.1 | 0.2 | m3
|  | 3 | 1.4 | 0.23 | 0.1 | 0.1 | m3
| Total |  |  |  |  | 0.3 | m3
| Extra |  |  |  |  | 0.015 | m3
| Grand Total |  |  |  |  | 0.315 | m3
15 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
Cement mortar 1:6 (1 cement : 6 coarse sand)
| Waiting area near lab | 1 | 2.85 | 0.23 | 1.55 | 1.02 | m3
| Pharmacy | 1 | 1.5 | 0.23 | 0.45 | 0.16 | m3
| Laboratory | 1 | 1.2 | 0.23 | 2.55 | 0.7 | m3
| Toilet | 2 | 4.29 | 0.23 | 2.5 | 4.93 | m3
|  | 3 | 1.4 | 0.23 | 2.5 | 2.42 | m3
| Toilet first floor | 2 | 1.6 | 0.23 | 2.5 | 1.84 | m3
|  | 2 | 1.4 | 0.23 | 2.5 | 1.61 | m3
| Laboratory slab fin | 7 | 0.6 | 0.23 | 0.7 | 0.68 | m3
|  | 1 | 5.85 | 0.6 | 0.23 | 0.81 | m3
|  | 1 | 7.45 | 0.6 | 0.23 | 1.03 | m3
| Dialysis unit | 1 | 0.95 | 0.23 | 2.1 | 0.46 | m3
|  | 1 | 5.75 | 0.23 | 3.25 | 4.3 | m3
|  | 1 | 2.4 | 0.23 | 3.25 | 1.79 | m3 |  |  | 3.09
|  | 1 | 1.9 | 0.23 | 3.25 | 1.42 | m3
|  | 1 | 0.95 | 0.23 | 2.1 | 0.46 | m3
|  | 1 | 0.75 | 0.23 | 2.1 | 0.36 | m3
|  | 1 | 0.75 | 0.23 | 2.1 | 0.36 | m3
[6 empty] | 24.35 | m3
| Extra |  |  |  |  | 1.2175 | m3
| Total |  |  |  |  | 25.5675 | m3
Deduction
| Dors dialysis unit | 2 | 1 | 0.23 | 2.1 | 0.97 | m3
| Toilets | 3 | 0.75 | 0.23 | 2.1 | 1.09 | m3
| Net deduction |  |  |  |  | 2.06 | m3
| Grand Total |  |  |  |  | 23.5075 | m3
16 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
Cement mortar 1:4 (1 cement :4 coarse sand)
| Laboratory | 1 | 2.7 |  | 3 | 8.1 | m2
|  | 1 | 1 |  | 0.8 | 0.8 | m2
|  | 1 | 0.9 |  | 0.6 | 0.54 | m2
|  | 1 | 0.45 |  | 0.45 | 0.2 | m2
|  | 1 | 2.18 |  | 2.55 | 5.56 | m2
| MRL | 1 | 3 |  | 3.25 | 9.75 | m2
| Total |  |  |  |  | 24.95 | m2
| Extra |  |  |  |  | 1.2475 | m2
| Grand Total |  |  |  |  | 26.1975 | m2
Sub Head V -STONE WORK
17 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : Cement mortar 1:6 (1 cement : 6 coarse sand)
| For toilet foundation | 1 | 4.06 | 0.6 | 0.6 | 1.46 | m3
|  | 3 | 1.63 | 0.6 | 0.6 | 1.76 | m3
| Basement | 1 | 4.06 | 0.45 | 0.45 | 0.82 | m3
|  | 3 | 1.63 | 0.45 | 0.45 | 0.99 | m3
| Total |  |  |  |  | 5.03 | m3
| Extra |  |  |  |  | 0.2515 | m3
| Grand Total |  |  |  |  | 5.2815 | m3
18 | Random rubble masonry with hard stone in superstructure above plinth level and upto floor five level, including leveling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) at window sills, ceiling level and the like. 7.2.1 Cement mortar 1:6 (1 cement : 6 coarse sand)
| Retaining wall | 1 | 14 | 0.6 | 1 | 8.4 | m3
| Basement retaining wall two sides | 1 | 14 | 0.5 | 0.6 | 4.2 | m3
|  | 2 | 20.4 | 0.5 | 0.6 | 12.24 | m3
| Total |  |  |  |  | 24.84 | m3
| Extra |  |  |  |  | 1.242
| Grand Total |  |  |  |  | 26.082
Sub Head V I-STEEL WORK
19 | Steel work in built up tubular ( round, square or rectanglar hollow tubes etc. ) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. 10.16.1 Hot finished welded type tubes
| Horizontal length of truss.Roof 1 | 1 | 25 |  |  | 25 | m
| corner | 4 | 4.75 |  |  | 19 | m
| Hip | 4 | 5 |  |  | 20 | m
| Roof 2 | 2 | 9.66 |  |  | 19.32 | m
| corner | 4 | 6.55 |  |  | 26.2 | m
|  | 4 | 3.81 |  |  | 15.24 | m
| Hip | 4 | 3.5 |  |  | 14 | m
[6 empty] | 138.76 | m
| Actual length (22degree slope) | 1 | 138.76 | 1.0785 |  | 149.6527 | m
Quantity calculation
Truss 1
| 50mm ms pipe. | 2 | 149.6527 | 5.03 | kg/m | 1505.5058
| Rafters20mm dia | 500 | 0.2 | 1.56 | kg/m | 156 |  |  | 616 | 1000
| Vertical 30c/c | 500 | 0.35 | 1.56 | kg/m | 273 |  |  |  | 1000
| Posts | [7 empty] | 135
| 80mm dia | 20 | 4.36 | 8.36 | kg/m | 728.992 |  |  |  | 25
|  | 20 | 2.56 | 8.36 | kg/m | 428.032 |  |  |  | 25
| For pathway covering truss posts | 20 | 3.5 | 8.36 | kg/m | 585.2
| 50mm dia over inside the post | 1 | 175 | 5.03 | kg/m | 880.25
| 50mm dia over inside the post for pathway covering truss | 40 | 7 | 5.03 | kg/m | 1408.4
| Collars 50mm dia for pathway covering truss | 24 | 3 | 5.03 | kg/m | 362.16
| purline 50mm dia | 16 | 12.2 | 5.03 | kg/m | 981.856
| end | 8 | 10.3 | 5.03 | kg/m | 414.472
|  | 8 | 8.91 | 5.03 | kg/m | 358.5384
| Total |  |  |  |  | 8082.4062
| Extra |  |  |  |  | 404.1203
| Grand Total |  |  |  |  | 8486.5265 | kg
20 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineerin-charge, ( for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.).
| Dialysis unit Hand rail | 2 | 2.5 |  | 2.10kg/m | 10.5 | kg
|  | 15 | 0.9 |  | 2.10kg/m | 28.35 | kg
| Waiting area MGP building | 2 | 5.45 |  | 2.10kg/m | 22.89 | kg
|  | 45 | 0.9 |  | 2.10kg/m | 85.05 | kg
|  | 2 | 4.05 |  | 2.10kg/m | 17.01 | kg
|  | 27 | 0.9 |  | 2.10kg/m | 51.03 | kg
| Total |  |  |  |  | 214.83 | kg
| Extra |  |  |  |  | 10.7415 | kg
| Grand Total |  |  |  |  | 225.5715 | kg
Sub Head V II-ROOFING
21 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %), total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDMseal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required.
| For pathway covering | 2 | 25 | 3 |  | 150
| For waiting area near OT | 1 | 4.35 | 2.45 |  | 10.66
|  | 1 | 5.1 | 4.8 |  | 24.48
|  | 1 | 12.75 | 2.45 |  | 31.24
| Total |  |  |  |  | 216.38
| Extra |  |  |  |  | 10.819 | m2
| Grand Total |  |  |  |  | 227.199 | m2
22 | Providing and fixing 15 cm wide, 45 cm overall semi circular plain G.S. sheet gutter with iron brackets 40x3 mm size, bolts, nuts and washers etc., including making necessary connections with rain water pipes complete. .80 mm thick with zinc coating not less than 275 gm/ m2 | [7 empty] | 439.05
|  | 2 | 25 |  |  | 50 | m
|  | 2 | 5.45 |  |  | 10.9 | m
|  | 2 | 7.7 |  |  | 15.4 | m
|  | 2 | 10.5 |  |  | 21 | m
| Total |  |  |  |  | 97.3 | m
| extra |  |  |  |  | 4.865 | m
| Grand Total |  |  |  |  | 102.165 | m
23 | Providing ridges or hips of width 60 cm overall width plain G.S. sheet fixed with polymer coated J or L hooks, bolts and nuts 8 mm dia G.I. limpet and bitumen washers complete
| 0.63 mm thick with zinc coating not less than 275 gm/ m2 | [8 empty] | 411.4
| Pathway to dialysis unit | 4 | 4.55 |  |  | 18.2 | m
|  | 4 | 3.55 |  |  | 14.2 | m
| Total |  |  |  |  | 32.4 | m
| extra |  |  |  |  | 1.62 | m
| Grand Total |  |  |  |  | 34.02 | m
24 | Providing valleys of 90 cm wide overall in plain G.S. sheet fixed with polymer coated J or L hooks, bolts and nuts 8 mm dia G.I. limpet and bitumen washers complete:
| 1.60 mm thick with zinc coating not less than 350 gm/ m2 | [8 empty] | 893.95
| Waiting area | 4 | 3.5 |  |  | 14 | m
| Pathway | 8 | 3.5 |  |  | 28 | m
| Total |  |  |  |  | 42 | m
| extra |  |  |  |  | 2.1 | m
| Grand Total |  |  |  |  | 44.1 | m
25 | Providing and fixing false ceiling at all height including providing and fixing of framethe help of rawl plugs at 450 mm centre, with 25 mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer’s specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37 mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition withthe help of rawl plugs at 450 mm centre, with 25 mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer’s specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : | [7 empty] | 691.4
12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- Part I
| Dialysis unit | 1 | 11.05 | 5.75 |  | 63.54 | m2
| Conference hall first floor | 1 | 12.2 | 8.8 |  | 107.36 | m2
|  | 1 | 5.8 | 6.5 |  | 37.7 | m2
| Total |  |  |  |  | 208.6
| extra |  |  |  |  | 10.43 | m2
| Grand Total |  |  |  |  | 219.03 | m2
Sub Head - V III FLOORING
26 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations, of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
Granite of any colour and shade Area of slab over 0.50 sqm
| Laboratory,slab with granite toping | 1 | 5.85 | 0.6 |  | 3.51 | m2
|  | 1 | 7.45 | 0.6 |  | 4.47 | m2
| Slab of Dialysis unit | 8 | 2.5 | 0.6 |  | 12 | m2
| Slab for pharmacy | 4 | 3.25 | 0.6 |  | 7.8 | m2
|  | 1 | 2.2 | 1.2 |  | 2.64 | m2
| Total |  |  |  |  | 30.42 | m2
| Exta |  |  |  |  | 1.521 | m2
| Grand Total |  |  |  |  | 31.941 | m2 |  | 3083.4
27 | Providing edge moulding to 18 mm thick marble stone counters, vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge.
Granite work
| Laboratory,slab with granite toping | 1 | 5.85 |  |  | 5.85 | m
|  | 1 | 7.45 |  |  | 7.45 | m
| Slab of Dialysis unit | 8 | 2.5 |  |  | 20 | m
|  | 16 | 0.6 |  |  | 9.6
| Slab for pharmacy | 4 | 3.25 |  |  | 13 | m
|  | 1 | 2.2 |  |  | 2.2 | m
|  | 3 | 0.6 |  |  | 1.8 | m
|  | 1 | 1.2 |  |  | 1.2 | m
| Total |  |  |  |  | 61.1
| Exta |  |  |  |  | 3.055
| Grand Total |  |  |  |  | 64.155 | m
28 | Providing and layingGlazed Ceramic floor tiles of size 300x300 mm of not less than 7.5mm thick of 1st quality conforming to IS : 13755 of NITCO,KAJARIA,ORIENT or equivalent make in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand) including pointing the joints with white cement and matching pigments etc., complete.
| Toilet near Laboratory | 2 | 1.8 | 1.4 |  | 5.04 | m2
| skirting | 4 | 1.8 |  | 0.1 | 0.72 | m2
|  | 4 | 1.4 |  | 0.1 | 0.56 | m2
| First floor office | 2 | 3 | 0.3 |  | 1.8 | m2
| Toilet of lab | 2 | 1.6 | 1.4 |  | 4.48 | m2
| skirting | 4 | 1.6 |  | 0.1 | 0.64 | m2
|  | 4 | 1.4 |  | 0.1 | 0.56 | m2
| Dialysis unit | 1 | 1.65 | 0.3 |  | 0.5 | m2
| Total |  |  |  |  | 14.3 | m2
| Exta |  |  |  |  | 0.715 | m2
| Grand Total |  |  |  |  | 15.015 | m2
29 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3 kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | [7 empty] | 724.25
| Toilet | 2 | 6.4 |  | 2.1 | 26.88 | m2
| Extra |  |  |  |  | 1.344 | m2
| Total |  |  |  |  | 28.224 | m2
30 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand), including grouting the joints with white cement and matching pigments etc., complete.
Size of Tile 600x600 mm
| Waiting area near lab | 1 | 5.45 | 4.05 |  | 22.07 | m2
|  | 1 | 4.5 | 13.9 |  | 62.55 | m2
|  | 1 | 3.45 | 3 |  | 10.35 | m2
|  | 1 | 12.7 | 2.45 |  | 31.12 | m2
| Waiting area | 1 | 12.7 | 2.45 |  | 31.12 | m2
|  | 1 | 5.45 | 4.05 |  | 22.07 | m2
|  | 1 | 13.9 | 4.5 |  | 62.55 | m2
|  | 1 | 4.55 | 10 |  | 45.5 | m2
| Registration | 1 | 2.45 | 2.25 |  | 5.51 | m2
| Immunization | 1 | 1.5 | 2.1 |  | 3.15 | m2
| Collection | 1 | 4 | 2.1 |  | 8.4 | m2
| Feeding room | 1 | 1.7 | 2.1 |  | 3.57 | m2
| Dialysis unit | 1 | 11.5 | 5.75 |  | 66.13 | m2
| Total |  |  |  |  | 374.09 | m2
| Exta |  |  |  |  | 18.7045 | m2
| Grand Total |  |  |  |  | 392.7945 | m2
31 | Providing and fixing Antifungal Germfree Ceramic Glazed tiles of minimum thickness 7 mm of approved make, colour and size (60x30cm) as approved by the Engineer in charge in dados over 12 mm thick bed of cement mortar (1 cement : 3 coarse sand) fixed with 3 mm spacers filled with epoxy grouting fillers etc complete. | [7 empty] | 1400.48
|  | 2 | 11.05 |  | 3.25 | 71.83 | m2
|  | 2 | 5.75 |  | 3.25 | 37.38 | m2
| Total |  |  |  |  | 109.21 | m2
| Exta |  |  |  |  | 5.4605 | m2
| Grand Total |  |  |  |  | 114.6705 | m2
32 | Providing 60 mmthick paver block with white cement & grey cement in equal proportion, block with chequered surface finished with pigment including charges for laying over a sand / m-sand bed of average thickness 50mm complete including all cost conveyance and laour ect complete.
| Pathway to Dialysis unit | 1 | 13.3 | 5.5 |  | 73.15 | m2
|  | 1 | 5.8 | 5.5 |  | 31.9 | m2
|  | 1 | 21 | 5.5 |  | 115.5 | m2
| Dialysis unit periphery | 1 | 8.5 | 11.5 |  | 97.75 | m2
|  | 1 | 10.9 | 10.5 |  | 114.45 | m2
| porch | 1 | 5.4 | 6.1 |  | 32.94 | m2
| Total |  |  |  |  | 465.69 | m2
| Exta |  |  |  |  | 23.2845 | m2
| Grand Total |  |  |  |  | 488.9745 | m2
Sub Head - IX FINISHING
33 | 12 mm cement plaster of mix:
1:4 (1 cement : 4 fine sand)
| Toilet inside | 2 | 6.4 |  | 2.5 | 32 | m2
| Toiletout side | 2 | 4.29 |  | 2.5 | 21.45 | m2
|  | 2 | 1.4 |  | 2.5 | 7 | m2
| Dialysis unit washing area | 2 | 1.9 |  | 3.25 | 12.35 | m2
| Total |  |  |  |  | 72.8 | m2
| Deduction-Door | 2 | 0.75 |  | 2.1 | 3.15 | m2
| Total |  |  |  |  | 69.65 | m2
| Extra |  |  |  |  | 3.4825 | m2
| Grand Total |  |  |  |  | 73.1325 | m2
34 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : Water thinnable cement primer
| Dialysis unit washing area | 2 | 1.9 |  | 3.25 | 12.35 | m2
| Toilet inside | 2 | 6.4 |  | 2.5 | 32 | m2
| Toiletout side | 2 | 4.29 |  | 2.5 | 21.45 | m2
|  | 2 | 1.4 |  | 2.5 | 7 | m2
| Total |  |  |  |  | 72.8 | m2
| Deduction-Door | 2 | 0.75 |  | 2.1 | 3.15 | m2
| Total |  |  |  |  | 69.65 | m2
| Extra |  |  |  |  | 3.4825 | m2
| Grand Total |  |  |  |  | 73.1325 | m2
35 | Finishing with Deluxe Multi surface paint system for interiors and exteriors using Primer as per manufacturers specifications : Two or more coats applied on walls @ 1.25 ltr/10 sqm over and including one coat of special primer applied @ 0.75 ltr /10 sqm
| Dialysis unit washing area | 2 | 1.9 |  | 3.25 | 12.35 | m2
| Toilet inside | 2 | 6.4 |  | 2.5 | 32 | m2
| Total |  |  |  |  | 44.35 | m2
| Extra |  |  |  |  | 2.2175 | m2
| Grand Total |  |  |  |  | 46.5675 | m2
36 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: 13.47.1 New work (Two or more coats applied @ 1.43 ltr/ 10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm)
| Toilet out side | 2 | 4.29 |  | 2.5 | 21.45 | m2
|  | 2 | 1.4 |  | 2.5 | 7 | m2
| Total |  |  |  |  | 28.45 | m2
| Extra |  |  |  |  | 1.4225 | m2
| Grand Total |  |  |  |  | 29.8725 | m2
37 | Painting Steel work with Deluxe Multi Surface Paint to give an even shade. Two or more coat applied @ 0.90 ltr/ 10 sqm over an under coat of primer applied @ 0.80 ltr/ 10 sqm of approved brand and manufacture | [8 empty] | 763 | #REF!
| 50mm ms pipe. | 2 | 1.4225 |  | 0.1796 | 0.51
| Rafters20mm dia | 1500 | 0.2 |  | 0.0791 | 23.73 |  |  | 616
| Vertical 30c/c | 1500 | 0.35 |  | 0.0791 | 41.53
| Posts |  |  |  |  | 0 |  |  | 135
| 80mm dia | 45 | 4.36 |  | 0.273 | 53.56
|  | 45 | 2.56 |  | 0.273 | 31.45
| For pathway covering truss posts | 20 | 3.5 |  | 0.273 | 19.11
| 50mm dia over inside the post | 1 | 85.4 |  | 0.1796 | 15.34
| 50mm dia over inside the post for pathway covering truss | 40 | 7 |  | 0.1796 | 50.29
| Collars 50mm dia | 18 | 3.25 |  | 0.1796 | 10.51
| Collars 50mm dia for pathway covering truss | 24 | 3 |  | 0.1796 | 12.93
| purline 50mm dia | 16 | 12.2 |  | 0.1796 | 35.06
| end | 8 | 10.3 |  | 0.1796 | 14.8
|  | 8 | 8.91 |  | 0.1796 | 12.8
| Total |  |  |  |  | 321.62
| Extra |  |  |  |  | 16.081
| Grand Total |  |  |  |  | 337.701 | m2
Sub Head - X ALUMINUM WORK
38 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : 21.1.1 For fixed portion 21.1.1.1 Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15)
| Registration | 1 | 2.25 | 2.45 | 7 | 38.59 | Kg
| Immunization | 1 | 1.5 | 2.1 | 7 | 22.05 | Kg
| Collection | 1 | 4 | 3 | 7 | 84 | Kg
| Feeding room | 1 | 1.7 | 2.1 | 7 | 24.99 | Kg
| pharmacy | 1 | 2.2 | 3.25 | 7 | 50.05 | Kg
| Dialysis consultation | 1 | 1.9 | 2.1 | 7 | 27.93 | Kg
| Superintendent | 1 | 5.1 | 2.1 | 7 | 74.97 | Kg
| Passage first floor | 1 | 3 | 2.1 | 7 | 44.1 | Kg
| Total |  |  |  |  | 366.68 | Kg
| Extra |  |  |  |  | 18.334 | Kg
| Grand Total |  |  |  |  | 385.014 | Kg
39 | For shutters of doors, windows & ventilators including providing and fixing hinges / pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). 21.1.2.1 Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15)
| Dilasis unit | 1 | 1 | 1 | 7 | 7 | Kg
| passge | 1 | 1 | 2.1 | 7 | 14.7 | Kg
| Superintendent room | 1 | 1 | 2.1 | 7 | 14.7 | Kg
| Registration | 1 | 1 | 2.1 | 7 | 14.7 | Kg
| Collection | 1 | 1 | 2.1 | 7 | 14.7 | Kg
| Immunization | 1 | 1 | 2.1 | 7 | 14.7 | Kg
| Store | 1 | 1 | 2.1 | 7 | 14.7 | Kg
| Storage | 1 | 1.2 | 2.1 | 7 | 17.64 | Kg
| Total |  |  |  |  | 112.84
| Extra |  |  |  |  | 5.642
| Grand Total |  |  |  |  | 118.482 | Kg
40 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade I Type II, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of Engineer-in-Charge. 21.2.2 Pre-laminated particle board with decorative lamination on both sides
| Dialysis unit | 1 | 1 | 0.5 |  | 0.5 | m2
| passge | 1 | 1 | 1 |  | 1 | m2
| Superintendent room | 1 | 1 | 1 |  | 1 | m2
| Registration | 1 | 1 | 1 |  | 1 | m2
| Collection | 1 | 1 | 1 |  | 1 | m2
| Immunization | 1 | 1 | 1 |  | 1 | m2
| Store | 1 | 1 | 1 |  | 1 | m2
| Storage | 1 | 1.2 | 1 |  | 1.2 | m2
| Registration | 1 | 2.25 | 1 |  | 2.25 | m2
| Immunization | 1 | 1.5 | 1 |  | 1.5 | m2
| Collection | 1 | 4 | 1 |  | 4 | m2
| Feeding room | 1 | 1.7 | 1 |  | 1.7 | m2
| pharmacy | 1 | 2.2 | 1 |  | 2.2 | m2
| Dialysis consultation | 1 | 1.9 | 1 |  | 1.9 | m2
| Superintendent | 1 | 5.1 | 1 |  | 5.1 | m2
| Passage first floor | 1 | 3 | 1 |  | 3 | m2
| Total |  |  |  |  | 29.35 | m2
| Extra |  |  |  |  | 14.675 | m2
| Grand Total |  |  |  |  | 44.025 | m2
41 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-Charge. (Cost of aluminium snap beading shall be paid in basic item): 21.3.1 With float glass panes of 4.0 mm thickness
With float glass panes of 5.50 mm thickness
| Dialysis unit | 1 | 1 | 0.5 |  | 0.5 | m2
| passge | 1 | 1 | 1.1 |  | 1.1 | m2
| Superintendent room | 1 | 1 | 1.1 |  | 1.1 | m2
| Registration | 1 | 1 | 1.1 |  | 1.1 | m2
| Collection | 1 | 1 | 1.1 |  | 1.1 | m2
| Immunization | 1 | 1 | 1.1 |  | 1.1 | m2
| Store | 1 | 1 | 1.1 |  | 1.1 | m2
| Storage | 1 | 1.2 | 1.1 |  | 1.32 | m2
| Registration | 1 | 2.25 | 1.1 |  | 2.48 | m2
| Immunization | 1 | 1.5 | 1.1 |  | 1.65 | m2
| Collection | 1 | 4 | 1.1 |  | 4.4 | m2
| Feeding room | 1 | 1.7 | 1.1 |  | 1.87 | m2
| pharmacy | 1 | 2.2 | 1.1 |  | 2.42 | m2
| Dialysis consultation | 1 | 1.9 | 1.1 |  | 2.09 | m2
| Superintendent | 1 | 5.1 | 1.1 |  | 5.61 | m2
| Passage first floor | 1 | 3 | 1.1 |  | 3.3 | m2
| Conference hall first floor | 2 | 12.2 | 1.1 |  | 26.84 | m2
|  | 2 | 5.8 | 1.1 |  | 12.76 | m2
|  | 1 | 6.5 | 1.1 |  | 7.15 | m2
| Total |  |  |  |  | 78.99
| Extra |  |  |  |  | 3.9495
| Grand Total |  |  |  |  | 82.9395 | m2
42 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315 , having brand logo embossed on the body/ plate with double spring mechanism and door weight upto 125 kg, for doors including cost of cutting floors ,embeding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-Charge. With stainless steel cover plate minimum 1.25 mm thickness
| Each | 5 |  |  |  | 5 | Each
43 | Providing and fixing aluminium grill of approved make and manufacture (Dura grill or equivalent) made up of 5mm dia aluminium rod and apparture of 50mmx50mmm fixed with aluminium frame as directed by the engineer in charge.
| Conference hall first floor | 2 | 12.2 | 1.5 |  | 36.6 | m2
|  | 2 | 5.8 | 1.5 |  | 17.4 | m2
|  | 1 | 6.5 | 1.5 |  | 9.75 | m2
| Pharmacy | 1 | 1.5 | 1.5 |  | 2.25 | m2
| Total |  |  |  |  | 66 | m2
| Extra |  |  |  |  | 3.3 | m2
| Grand Total |  |  |  |  | 69.3 | m2
44 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 186) transparent or dyed to required colour or shade with necessary screws etc. complete:
a | (a) 300 x 10 mm | 15 |  |  |  | 15 | each
b | (b) 150 x 10 mm | 15 |  |  |  | 15 | each
45 | Providing and fixing 100mm brass lock (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete | 15 |  |  |  | 15 | each
46 | Providing and fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour and shade with necessary screws etc. complete.
| (a) Single rubber stopper | 15 |  |  |  | 15 | each
47 | Providing and fixing rubber bush of 50mm dia and of required length with necessary screws etc. complete | 15 |  |  |  | 15 | each
48 | Providing and fixing aluminium casement stays ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour and shade with necessary screws etc. complete. | 60 |  |  |  | 60 | each
49 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI .IS 3564 embossed on the body door weight upto 36 kg to 80kg and door width from 701mm to 1000mm) with double speed adjustment with necessary accessories and screws etc complete. | 10 |  |  |  | 10 | each
Sub Head - XI WATER SUPPLY & SANITARY INSTALLATIONS
50 | Providing and fixing water closet squatting pan (Indian type W.C. pan) with 100 mm Sand Cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: 17.1.1 White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests
| New toilet for female | 1 |  |  |  | 1
| Total |  |  |  |  | 1 | Each
51 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: 17.2.1 W.C. pan with ISI marked white solid plastic seat and lid
| First floor superintendent and LS Room | 2 |  |  |  | 2
| Nurses room | 1 |  |  |  | 1
| First floor conference hall | 1 |  |  |  | 1
| New toilet for males | 2 |  |  |  | 2
| Total |  |  |  |  | 6 | Each
52 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS 13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required: Kitchen sink with drain board 510x1040 mm bowl depth 250 mm
| For laboratory | 2 |  |  |  | 2 | Each
| Dialysis unit | 1 |  |  |  | 2 | Each
| Total |  |  |  |  | 4 | Each
53 | Kitchen sink without drain board 610x510 mm bowl depth 200 mm | [7 empty] | 3934.3
| Pharmacy | 1 |  |  |  | 1 | Each
| Total |  |  |  |  | 1 | Each
| Total |  |  |  |  | 2 | Each
54 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps,32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:
White Vitreous China Wash basin size 550x400 mm with a pair of 15 mm C.P. brass pillar taps
| Waiting area near proposed toilet | 1 |  |  |  | 1
| Pharmacy ,store | 2 |  |  |  | 2
| Laboratory | 2 |  |  |  | 2
| Total |  |  |  |  | 5 | Each
55 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | [7 empty] | 674.05
| Toilet portion |  |  |  |  | 1 | Each
| Pharmacy and store |  |  |  |  | 2 | Each
| Laboratory |  |  |  |  | 2 | Each
| Total |  |  |  |  | 5 | Each
56 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fitting arrangement of approved quality colour and make (Prayag or equivalent) 600mm long towel rain with total length of 645mm width 78mm and effective height of 88mm weighing not less than 190gms. | 5 |  |  |  | 5 | Each
57 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms
| 15 mm nominal bore | 5 |  |  |  | 5 | Each
58 | Providing and fixing PVC pipes (10 kg/m) for water supply including test of joints concealing the pipes wherever required etc complete.
a | 20mmPVC pipe | 35 |  |  |  | 35 | m |  | 120
b | 25mmPVC pipe | 45 |  |  |  | 45 | m |  | 140
c | 32 mm PVC pipe | 25 |  |  |  | 25 | m |  | 160
d | 40mmPVC pipe | 30 |  |  |  | 30 | m |  | 160
59 | Providing and fixing on wall face unplasticised - Rigid PVC rain water pipes(4kg/m) conforming to IS: 13592 Type A including jointing with seal ring conforming to IS: 5382 leaving 10 mm gap for thermal expansion.
| (a) Single socketed pipes 110 mm diameter | 130 |  |  |  | 130 | m
| (b) Single socketed pipes 75 mm diameter | 25 |  |  |  | 25 | m
60 | Providing and fixing unplasticised PVC connection pipes with brass unions 30cm length 15mm nominal bore | 20 |  |  |  | 20 | each
61 | Providing and fixing P.V.C. waste pipe for sink, wash basin or urinals including P.V.C. waste fittings complete.
Flexible pipe
| 32mm dia | 15 |  |  |  | 15 | each
62 | Providing and fixing on wall face unplasticised - Rigid PVC moulded fittings/ accessories for unplasticise-rigid PVC rain water pipes or soil and waste pipe conforming to IS 13592 Type A including jointing with seal ring conforming to IS: 5382 leaving 10 mm gap for thermal expansion.
a | 87.5 degree 110mm bend | 45 |  |  |  | 45 | each
b | 87.5 degree 75mm bend | 10 |  |  |  | 10 | each
63 | Providing and fixing 100mm door bend | 45 |  |  |  | 45 | each
64 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end)
a | 25 mm nominal bore | 10 |  |  |  | 10 | each
b | 32 mm nominal bore | 10 |  |  |  | 10 | each
Sub Head - XlI DRAINAGE
65 | Constructing soak pit 1.20x1.20x1.20m filled with brick bats including S.W. drain pipe 100 mm diameter and 1.20 m long complete as per standard design. | 1 |  |  |  | 1 | each
66 | Constructing brick masonry manhole in cement mortar 1:4 (1 cement : 4 coarse sand) R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40mm nominal size) inside plastering 12mm thick with cement mortar 1:3 (1 cement : 3 fine sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) finished with a floating coat of neat cement complete as per standard design:
| (a) Inside size 90x80cm and 45cm deep including C.I cover with frame (light duty) 455x610mm internal dimensions total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg): | 1 |  |  |  | 1 | each
Sub Head - XIII -DEMOLISHING & DISMANTLING
67 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles above 25 mm and up to 40 mm
| Dialysis unit | 1 | 11.05 |  | 5.75 | 63.54 | m2
| skirting | 2 | 11.05 |  | 0.1 | 2.21 | m2
|  | 2 | 5.75 |  | 0.1 | 1.15 | m2
| Toilet of lab | 2 | 1.6 |  | 1.4 | 4.48 | m2
| skirting | 4 | 1.6 |  | 0.1 | 0.64 | m2
|  | 4 | 1.4 |  | 0.1 | 0.56 | m2
| Total |  |  |  |  | 72.58 | m2
| Extra |  |  |  |  | 3.629 | m2
| Grand Total |  |  |  |  | 76.209 | m2
68 | Dismantling steel work in single sections including dismembering and stacking within 50 metres lead in:Channels, angles, tees and flats |  |  |  | W/m2
| Lab grill | 1 | 0.6 | 0.6 | 20 | 7.2 | Kg
69 | Making the opening in brick masonry including dismantling in floor or walls by cutting masonry and making good the damages to walls,flooring and jambs complete, to match existing surface i/c disposal of mulba / rubbish to the nearest municipal dumping ground. 14.4.1 For door / window / clerestory window | [7 empty] | 366.65
| Laboratory Wall | 1 | 1.2 | 0.23 | 2.1 | 0.58 | m3
| Dialysis unit | 1 | 1 | 0.23 | 2.1 | 0.48 | m3
| Total |  |  |  |  | 1.06 | m3
| Extra |  |  |  |  | 0.053 | m3
| Grand Total |  |  |  |  | 1.113 | m3
70(a) | Demolishing cement concrete manually / by mechanical means including disposal of material within 50 metres lead as per direction of Engineer-in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix)
| Waiting area | 1 | 5.45 | 4.05 | 0.15 | 3.31 | m3
|  | 1 | 4.5 | 13.9 | 0.15 | 9.38 | m3
|  | 1 | 3.45 | 3 | 0.15 | 1.55 | m3
|  | 1 | 12.7 | 2.45 | 0.15 | 4.67 | m3
|  | 1 | 16.1 | 2.3 | 0.15 | 5.55
| Total |  |  |  |  | 24.46 | m3
| Extra |  |  |  |  | 1.223 | m3
| Grand Total |  |  |  |  | 25.683 | m3
b | Nominal concrete 1:4:8 or leaner mix ( including equivalent design mix )
| To Dialysis unit connecting concrete way | 1 | 20.4 | 5.5 | 0.3 | 33.66 | m3
|  | 1 | 16 | 2.5 | 0.3 | 12 | m3
| Total |  |  |  |  | 45.66 | m3
| Extra |  |  |  |  | 2.283 | m3
| Grand Total |  |  |  |  | 47.943 | m3
71 | Demolishing stone rubble masonry manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-Charge:
| Side of lawn | 1 | 16 | 2.5 | 0.7 | 28 | m3
|  | 1 | 16.1 | 2.3 | 0.5 | 18.52 | m3
| Retaining wall (Existing) | 1 | 3.7 | 0.5 | 1.5 | 2.78 | m3
|  | 1 | 3.7 | 0.32 | 0.35 | 0.41 | m3
|  | 1 | 13.3 | 0.5 | 1.625 | 10.81 | m3
|  | 1 | 13.3 | 0.32 | 0.5 | 2.13 | m3
| Foundation | 1 | 17 | 0.6 | 1 | 10.2 | m3
| Total |  |  |  |  | 72.85 | m3
| Extra |  |  |  |  | 3.6425 | m3
| Grand Total |  |  |  |  | 76.4925 | m3
72 | Demolishing R.C.C. work manually / by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-Charge.
| Column pathway | 13 | 0.3 | 0.45 | 2.46 | 4.32 | m3
| shade | 1 | 16.1 | 0.8 | 0.1 | 1.29 | m3
| slab | 1 | 16.1 | 1.4 | 0.1 | 2.25 | m3
| slab injection room | 1 | 1.72 | 0.3 | 0.1 | 0.05 | m3
| Total |  |  |  |  | 7.91 | m3
| Extra |  |  |  |  | 0.3955 | m3
| Grand Total |  |  |  |  | 8.3055 | m3
73 | Demolishing brick work manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-Charge.
In cement mortar
| Waiting area | 1 | 1.2 | 0.23 | 1.45 | 0.4 | m3
| Laboratory | 1 | 2.18 | 0.17 | 2.2 | 0.82 | m3
|  | 1 | 1.2 | 0.23 | 2.55 | 0.7 | m3
| Dialysis unit | 1 | 0.95 | 0.23 | 2.1 | 0.46 | m3
|  | 1 | 1 | 0.23 | 2.1 | 0.48 | m3
|  | 1 | 1.25 | 0.23 | 3.2 | 0.92 | m3
| First floor Passage steps | 5 | 2.2 | 0.3 | 0.25 | 0.83 | m3
| Total |  |  |  |  | 4.61 | m3
| Extra |  |  |  |  | 0.2305 | m3
| Grand Total |  |  |  |  | 4.8405 | m3
74 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead: Of area 3 sq. metres and below
Of area beyond 3 sq. metres
| Window pharmacy | 1 |  |  |  | 1
| Dialysis unit door | 2 |  |  |  | 2
| Dialysis unit window | 6 |  |  |  | 6
| Total |  |  |  |  | 9 | Each
75 | Dismantling aluminium / Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-Charge.
| Door Laboratory | 1 | 1.2 |  | 2.55 | 3.06 | m2
| Extra |  |  |  |  | 0.153 | m2
| Total |  |  |  |  | 3.213 | m2
76 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved
| Dismantling tile area |  |  | 76.21*.05 |  | 3.8105 | m3
| RR masonry |  |  |  |  | 76.49 | m3
| CC work |  |  |  |  | 73.62 | m3
| Rcc work |  |  |  |  | 8.31 | m3
| Brick work |  |  |  |  | 4.84 | m3
| Total |  |  |  |  | 167.0705 | m3
PART II: CONFERENCE HALL-FIRST FLOOR OF MGP BUILDING
Sub Head -1 Reinforced Cement Concrete
1 | Reinforced cement concrete work in walls (any thickness) including attatched pillasters,buttresses,plinth and string courses,fillets,columns ,pillars,piers,abutments,posts and struts etc up to floor five level excluding the cost of centering,shuttering finishing and reinforcement
1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size)
| Columns conference hall | 19 | 0.3 | 0.3 | 1 | 1.71 | m3
| extrta |  |  |  |  | 0.0855 | m3
| Total |  |  |  |  | 1.7955 | m3
2 | Centering and shuttering including strutting, propping etc. and removal of form for :
a | Columns, Pillars, Piers, Abutments, Posts and Struts
| conference Hall | 19 | 0.3*4 |  | 1 | 22.8 | m2
3 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.
| Thermo-Mechanically Treated bars |  |  | 1.7955 | 100kg/m3 | 179.55
| Extra |  |  |  |  | 8.9775
| Total |  |  |  |  | 188.5275 | kg
Sub Head -II Brick Work
4 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
| Conference hall first floor | 2 | 12.2 | 0.23 | 1 | 5.61 | m3
|  | 2 | 8.8 | 0.23 | 1 | 4.05 | m3
| Toilet near conference hall | 1 | 6.4 | 0.23 | 2.5 | 3.68 | m3
| Total |  |  |  |  | 13.34 | m3
| Extra |  |  |  |  | 0.667 | m3
| Grand Total |  |  |  |  | 14.007 | m3
Sub Head III-STEEL WORK
5 | Steel work in built up tubular ( round, square or rectanglar hollow tubes etc. ) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. 10.16.1 Hot finished welded type tubes
| Horizontal length of truss.Roof 1 | 5 | 10.3 |  |  | 51.5 | m
| corner | 8 | 4.75 |  |  | 38 | m
| Hip | 4 | 5 |  |  | 20 | m
| Roof 2 | 2 | 9.66 |  |  | 19.32 | m
| corner | 4 | 6.55 |  |  | 26.2 | m
|  | 4 | 3.81 |  |  | 15.24 | m
| Hip | 4 | 3.5 |  |  | 14 | m
[6 empty] | 184.26 | m
| Actual length (22degree slope) | 1 | 184.26 | 1.0785 |  | 198.7244 | m
Quantity calculation
Truss 1
| 50mm ms pipe. | 2 | 198.7244 | 5.03 | kg/m | 1999.1676
| Rafters20mm dia | 1000 | 0.2 | 1.56 | kg/m | 312 |  |  | 616 | 1000
| Vertical 30c/c | 1000 | 0.35 | 1.56 | kg/m | 546 |  |  |  | 1000
| Posts | [7 empty] | 135
| 80mm dia | 25 | 4.36 | 8.36 | kg/m | 911.24 |  |  |  | 25
|  | 25 | 2.56 | 8.36 | kg/m | 535.04 |  |  |  | 25
| 50mm dia over inside the post | 1 | 85.4 | 5.03 | kg/m | 429.562
| Collars 50mm dia | 18 | 3.25 | 5.03 | kg/m | 294.255
| purline 50mm dia | 16 | 12.2 | 5.03 | kg/m | 981.856
| end | 8 | 10.3 | 5.03 | kg/m | 414.472
|  | 8 | 8.91 | 5.03 | kg/m | 358.5384
| Total |  |  |  |  | 6782.131
| Extra |  |  |  |  | 339.1065
| Grand Total |  |  |  |  | 7121.2375 | kg
Sub Head IV -ROOFING
6 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %), total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDMseal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required.
| Cponferance hall | 1 | 13.7 | 10.3 |  | 141.11 | m2
|  | 1 | 10.54 | 4.75 |  | 50.07 | m2
| Total |  |  |  |  | 191.18 | m2
| Extra |  |  |  |  | 9.559 | m2
| Grand Total |  |  |  |  | 200.739 | m2
7 | Providing and fixing 15 cm wide, 45 cm overall semi circular plain G.S. sheet gutter with iron brackets 40x3 mm size, bolts, nuts and washers etc., including making necessary connections with rain water pipes complete. .80 mm thick with zinc coating not less than 275 gm/ m2 | [7 empty] | 439.05
| Conference hall | 2 | 12.2 |  |  | 24.4 | m
|  | 2 | 8.8 |  |  | 17.6 | m
| Total |  |  |  |  | 42 | m
| Extra |  |  |  |  | 2.1 | m
| Grand Total |  |  |  |  | 44.1 | m
8 | Providing ridges or hips of width 60 cm overall width plain G.S. sheet fixed with polymer coated J or L hooks, bolts and nuts 8 mm dia G.I. limpet and bitumen washers complete
| 0.63 mm thick with zinc coating not less than 275 gm/ m2 | [8 empty] | 411.4
| Roof conference hall | 4 | 8.75 |  |  | 35 | m
|  | 4 | 3.55 |  |  | 14.2 | m
| Total |  |  |  |  | 49.2 | m
| Extra |  |  |  |  | 2.46 | m
| Grand Total |  |  |  |  | 51.66 | m
9 | Providing valleys of 90 cm wide overall in plain G.S. sheet fixed with polymer coated J or L hooks, bolts and nuts 8 mm dia G.I. limpet and bitumen washers complete:
| 1.60 mm thick with zinc coating not less than 350 gm/ m2 | [8 empty] | 893.95
| Conference hall | 4 | 4.5 |  |  | 18 | m
10 | Providing and fixing false ceiling at all height including providing and fixing of framethe help of rawl plugs at 450 mm centre, with 25 mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer’s specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37 mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition withthe help of rawl plugs at 450 mm centre, with 25 mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer’s specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : | [7 empty] | 691.4
12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- Part I
| Conference hall first floor | 1 | 12.2 | 8.8 |  | 107.36 | m2
|  | 1 | 5.8 | 6.5 |  | 37.7 | m2
| Total |  |  |  |  | 145.06 | m2
| Extra |  |  |  |  | 7.253 | m2
| Grand Total |  |  |  |  | 152.313 | m2
Sub Head - V FLOORING
11 | Providing and layingGlazed Ceramic floor tiles of size 300x300 mm of not less than 7.5mm thick of 1st quality conforming to IS : 13755 of NITCO,KAJARIA,ORIENT or equivalent make in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand) including pointing the joints with white cement and matching pigments etc., complete.
| Toilet conference Hall | 1 | 1.6 | 1.4 |  | 2.24 | m2
| Extra |  |  |  |  | 0.112 | m2
| Total |  |  |  |  | 2.352 | m2
12 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3 kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | [7 empty] | 724.25
| Toilet | 1 | 6 |  | 2.1 | 12.6 | m2 |  |  | 6
| Exta |  |  |  |  | 0.63 | m2
| Total |  |  |  |  | 13.23 | m2
13 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand), including grouting the joints with white cement and matching pigments etc., complete.
| Conference hall first floor | 1 | 12.2 | 8.8 |  | 107.36 | m2
|  | 1 | 5.8 | 6.5 |  | 37.7 | m2
| Total |  |  |  |  | 145.06 | m2
| Extra |  |  |  |  | 7.253 | m2
| Grand Total |  |  |  |  | 152.313 | m2
Sub Head - VI FINISHING
14 | 12 mm cement plaster of mix:
1:4 (1 cement : 4 fine sand)
| Conference Hall one metre height brick wall inside | 1 | 12.2 |  | 1 | 12.2 | m2
|  | 2 | 8.8 |  | 1 | 17.6 | m2
|  | 1 | 5.8 |  | 1 | 5.8 | m2
|  | 1 | 6.5 |  | 1 | 6.5 | m2
| Total |  |  |  |  | 42.1 | m2
| Extra |  |  |  |  | 2.105
| Grand Total |  |  |  |  | 44.205 | m2
15 | 15 mm cement plaster of mix:
1:6 (1 cement : 6 fine sand)
| Conference Hall one metre height brick wall out side | 1 | 12.2 |  | 1 | 12.2 | m2
|  | 2 | 8.8 |  | 1 | 17.6 | m2
|  | 1 | 5.8 |  | 1 | 5.8 | m2
|  | 1 | 6.5 |  | 1 | 6.5 | m2
| Total |  |  |  |  | 42.1 | m2
| Extra |  |  |  |  | 2.105
| Grand Total |  |  |  |  | 44.205 | m2
16 | Finishing with Deluxe Multi surface paint system for interiors and exteriors using Primer as per manufacturers specifications : Two or more coats applied on walls @ 1.25 ltr/10 sqm over and including one coat of special primer applied @ 0.75 ltr /10 sqm
| Conference Hall one metre height brick wall inside | 1 | 12.2 |  | 1 | 12.2 | m2
|  | 2 | 8.8 |  | 1 | 17.6 | m2
|  | 1 | 5.8 |  | 1 | 5.8 | m2
|  | 1 | 6.5 |  | 1 | 6.5 | m2
| Total |  |  |  |  | 42.1 | m2
| Extra |  |  |  |  | 2.105
| Grand Total |  |  |  |  | 44.205 | m2
17 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: 13.47.1 New work (Two or more coats applied @ 1.43 ltr/ 10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm)
| Conference Hall one metre height brick wall inside | 1 | 12.2 |  | 1 | 12.2 | m2
|  | 2 | 8.8 |  | 1 | 17.6 | m2
|  | 1 | 5.8 |  | 1 | 5.8 | m2
|  | 1 | 6.5 |  | 1 | 6.5 | m2
| Total |  |  |  |  | 42.1 | m2
| Extra |  |  |  |  | 2.105
| Grand Total |  |  |  |  | 44.205 | m2
Sub Head - VII ALUMINUM WORK
18 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : 21.1.1 For fixed portion 21.1.1.1 Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15)
| Conference hall first floor | 2 | 12.2 | 1.5 | 7 | 256.2 | Kg
|  | 2 | 5.8 | 1.5 | 7 | 121.8 | Kg
|  | 1 | 6.5 | 1.5 | 7 | 68.25 | Kg
| Total |  |  |  |  | 446.25 | Kg
| Extra |  |  |  |  | 22.3125 | Kg
| Grand Total |  |  |  |  | 468.5625 | Kg
19 | For shutters of doors, windows & ventilators including providing and fixing hinges / pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). 21.1.2.1 Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15)
| Conference hall first floor windows | 10 | 1 | 1.5 | 7 | 105 | Kg
| Extra |  |  |  |  | 5.25 | Kg
| Total |  |  |  |  | 110.25 | Kg
20 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-Charge. (Cost of aluminium snap beading shall be paid in basic item): 21.3.1 With float glass panes of 4.0 mm thickness
With float glass panes of 5.50 mm thickness
| Conference hall first floor | 2 | 12.2 | 1 |  | 24.4 | m2
|  | 2 | 5.8 | 1 |  | 11.6 | m2
|  | 1 | 6.5 | 1 |  | 6.5 | m2
| Total |  |  |  |  | 42.5 | m2
| Extra |  |  |  |  | 2.125 | m2
| Grand Total |  |  |  |  | 44.625 | m2
21 | With float glass panes of 4 mm thickness | [9 empty] | 725.35
| Conference hall first floor windows | 10 | 1 |  | 1.5 | 15 | m2
| Extra |  |  |  |  | 0.75 | m2
| Total |  |  |  |  | 15.75 | m2
22 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315 , having brand logo embossed on the body/ plate with double spring mechanism and door weight upto 125 kg, for doors including cost of cutting floors ,embeding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-Charge. With stainless steel cover plate minimum 1.25 mm thickness | 1 |  |  |  | 1 | each
23 | Providing and fixing aluminium casement stays ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour and shade with necessary screws etc. complete. | 20 |  |  |  | 20 | each
24 | Providing and fixing aluminium grill of approved make and manufacture (Dura grill or equivalent) made up of 5mm dia aluminium rod and apparture of 50mmx50mmm fixed with aluminium frame as directed by the engineer in charge.
| Conference hall first floor | 2 | 12.2 | 1.5 |  | 36.6 | m2
|  | 2 | 5.8 | 1.5 |  | 17.4 | m2
| Total |  |  |  |  | 54 | m2
| Extra |  |  |  |  | 2.7 | m2
| Grand Total |  |  |  |  | 56.7 | m2
25 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 186) transparent or dyed to required colour or shade with necessary screws etc. complete:
| (a) 300 x 10 mm | 5 |  |  |  | 5 | each
| (b) 150 x 10 mm | 40 |  |  |  | 40 | each
26 | Providing and fixing 100mm brass lock (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete | 1 |  |  |  | 1 | each
Sub Head -VIII WATER SUPPLY & SANITARY INSTALLATIONS
27 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: 17.2.1 W.C. pan with ISI marked white solid plastic seat and lid
| Conference hall toilet | 1 |  |  |  | 1 | Each
28 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fitting arrangement of approved quality colour and make (Prayag or equivalent) 600mm long towel rain with total length of 645mm width 78mm and effective height of 88mm weighing not less than 190gms. | 1 |  |  |  | 1 | Each
29 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps,32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:
White Vitreous China Wash basin size 550x400 mm with a pair of 15 mm C.P. brass pillar taps
| Toilet conference hall | 1 |  |  |  | 1 | Each
30 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | [7 empty] | 674.05
| Toilet conference hall | 1 |  |  |  | 1 | Each
31 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms
| 15 mm nominal bore | 1 |  |  |  | 1 | each

## Electrical works
Renovation of Dialysis Unit and Ground Floor of MGP building at Taluk Hospital Wadakkanchery, in Thrissur Dist:
PART B- ELECTRICAL WORKS
Sl. No | Description of Items | Qty | Unit | Rate in Rs (in words & figures) | Amount
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface / recessed steel conduit, with piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required.
a | Group A | point | 95
b | Group B | point | 27
c | Group C | point | 20
2 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required
a | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | Rm | 592.75
b | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | Rm | 155.45
c | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | Rm | 75.5
d | 4 X 16 sq. mm + 2 X 16 sq. mm earth wire | Rm | 50
3 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable and 1.5 sq.mm. FR PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel conduit including dismantling as required.
a | Group A | point | 19
4 | Supplying and drawing following sizes of FR PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
a | 3 x 1.5 sq. mm | Rm | 35.5
5 | Supplying and drawing following pair 0.5 sq mm FR PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required.
a | 1 Pair | Rm | 264.65
6 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
a | 20 mm | Rm | 571.8
b | 25 mm | Rm | 245.6
7 | Supplying and fixing following modular type switch/ socket on the existing switch box/ cover including connections etc. as required
a | 5/6 amps switch | each | 10
b | 3 pin 5/6 amp socket outlet | each | 10
c | 15/16 amp switch | each | 8
d | 6 pin 15/16 amp socket outlet | each | 10
e | Telephone socket outlet | each | 21
8 | Supplying and fixing stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | nos | 26
9 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | each | 28
10 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required
a | 1 or 2 Module (75mmX75mm) | each | 14
b | 8 Module (125mmX125mm) | each | 23
11 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. (For light plugs to be used in non residential buildings). | each | 10
12 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | each | 8
13 | Supplying and fixing 3 pin, 5 amp ceiling rose on the existing junction box/ wooden block including connection etc as required. | each | 55
14 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable and earthing etc. as required. | each | 56
15 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable etc.as required. | each | 26
16 | Supplying and fixing brass batten/ angle holder including connection etc. as required. | each | 35
17 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required.
a | Upto 450 mm sweep | each | 12
18 | Providing and fixing following rating and breaking capacity MCCB in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required.
a | 100 Amp, 16 KA | each | 2
b | 125 Amp, 16 KA | each | 2
19 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
a | Single pole | each | 12
b | triple pole | each | 4
20 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required | each | 12
21 | Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
a | 40 amps | each | 6
b | 63 amps | each | 6
c | 100 amps | nos | 4
22 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current upto 300 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required.
a | 25 amps | each | 4
b | 40 amps | each | 6
c | 63 amps | each | 6
23 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer) as required. (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.)
a | 4 way (4 + 12), Double door | each | 2
24 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
a | 6 way (4 + 18), Double door | each | 2
25 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.)
a | 4 way (4 + 12), Double door | each | 3
26 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required.
a | Above 35 sq. mm and upto 95 sq. mm | Rm | 25
27 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
a | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | Rm | 8
28 | Supply of pre-wired, T5, 1X28 W tube fittings with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable and earthing etc. as required.( make : Havells- E lite) | each | 42
29 | Supply of pre-wired, T5, 2X28 W tube fittings with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable and earthing etc. as required.( make : Havells ) | each | 34
30 | Supply of following sweep ceiling fan, double ball bearing, approved colour and quality with original down rod,suspension shackle,canopy etc with out regulator complete with all accessories as required. .( make : Havells )
a | 1200 mm sweep | each | 26
30 | Supply of heavy duty 300 mm exhaust fan suitable for single phase 230 volt, 50Hz AC supply complete with motor, capacitor, louvers/shutters and all accessories as required complete. ( Make: Crompton) | each | 12
31 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | each | 10
32 | Supply and fixing of 1.5 ton split AC ( Make: Samsung ) | each | 10
Total - Electrical Works
GRAND TOTAL (CIVIL & ELECTRICAL WORKS)