HLL Lifecare Limited

Plot No.71, Sector-7, IMT, Manesar,

Gurgaon-122050(Haryana)

Minutes of Pre Bid Meeting for the open tender for supplying Uncut Sheets of Urine hCG Pregnancy Rapid Test Cards to Manesar Unit, Gurgaon held at 11.00 AM -12.30 PM on 15th May, 2013 in Unit Chief’s Office, Manesar

List of Participants

Officers Present from HLL:

- Shri P.N. Gupta,Unit Chief,Manesar

- Shri Manasa Ranjan Harichandan, Dy Mgr (Pur)

- Ms  Ekta Khattar, Dy. Mgr(QA/QC)

- Shri Bijay Prasad Dyundi, Dy. Mgr(Production)

- Shri Naveen Chandra, Dy. Mgr(Finance)

Bidders Present

| S.No. | Name | Organisation |
| --- | --- | --- |
| 1. | Mr. Umesh Kaushik Director-Technical | M/s Oscar Medicare Pvt. Ltd. C - 59/1, Okhla Industrial Area, Phase – II, New Delhi-110020 Tel. No-011-41076195/96 Email:info@oscarmedcare.com |

The meeting was chaired by Unit Chief, Manesar.

Unit Chief welcomed all the participants to the pre- bid meeting and briefed about the tender to supply Uncut Sheets of Urine hCG Pregnancy Rapid Test Cards for manufacturing of PTC assembled Cassette.

SPC committee elaborated on the specifications of Uncut Sheets of Urine hCG Pregnancy Rapid Test Cards for manufacturing of PTC assembled Cassette.

There were queries from the bidders on technical specifications and tender terms and conditions. The queries were clarified by the Officers present in the meeting.

The queries raised during the meeting and their clarifications as furnished by the HLL side, are listed below.

| S.No. | Queries / Suggestion | Clarification |
| --- | --- | --- |
| 1. | Whether manufacturing experience of primary manufacturer or authorized agent can be reduced from 3years to 2 years. | No Change |
| 2. | Shelf Life: Whether shelf life of 30 months can be reduced to 24 months from the date of manufacturing? | No Change |
| 3. | Width of test strip required to be mentioned in page-39, under Section-V Annexure A, heading List of Requirements (Terms of Delivery point No. 4). | Width of Test Strip: 3.00 mm This shall now be treated as amendment in Tender Document mentioned in page-39 as heading List of requirement (Terms of Delivery point No. 4)added as width of individual strip “Supply should be in batches of uncut sheets sufficient for 100500 test strip(width of each strip 3.0mm) or its multiples” and will be called as Amendment - 1 |