Amendment No .01

17.07.2018

**Sub: - Supply of Single Channel Electronic Pipette.**

**Tender No: HLL/CRDC/TENDER/PUR/2018-19/03 Dated: 03.07.2018**

With reference to the above we hereby incorporate the following amendment to the tender documents due to urgency.

**Equipment Specification**

Equipment Name: Single channel electronic micro-pipettes

Volume range: 1-10ul, 10-100ul, 100-1000ul

**Make: Thermo Fischer Scientific**

**HEAD (R & D)**