## NIT
Sch. No | Equipment | Capacity/Spec. | Qty(in Nos) | EMD Value(in Rs.)
1 | Table top Lyophilizer | 50 nos. of vials (2R)or 100 ampoules | 4 | 124000
2 | Cryogenic storage container | Min 60L -1no with cryo boxes Transport Tank-32L-2no.s with trolley | 1 | 5000
3 | Stability chamber | 300L-Reach-in | 1 | 8000
4 | Binocular compound microscope | Binocular | 6 | 36000
5 | Refrigerated centrifuge | 6 Litre per run | 8 | 400000
6 | ELISA Reader | 4 °C to 45 °C | 1 | 6000
7 | Colony Counter | GLP model | 1 | 36000
8 | Table Top Cooling Centrifuge | Rotor should able to process 1]4x15ml(Conical) 2]4x50ml(conical/Oak ridge) 3]1000ml(minimum fill volume) | 1 | 12000
9 | Hot Plate | 38 to 500 °C | 5 | 10000
10 | Anaerobic Jar | GLP/GMP model | 2 | 1000
12 | Electrical pipette controller | 1-100mL plastic/glass pipet | 7 | 1000
13 | Water Bath | 50 cm x 23 cm x 15 cm (LxWxH) | 4 | 8000
14 | Media Dispenser | 5 ml - 150 ml/min | 2 | 24000
15 | Homogeniser | 60 L | 1 | 50000
| Total |  |  | 721000
Note on D7: Sujith S R.: 6 no’s x1L bottles - earlier spec
Note on E11: Sujith S R.: Qty Increased to 5 after Pre-bid meeting. Initial qty 2 Nos
Note on E14: Sujith S R.: Qty decreased to 4 after Pre-bid meeting. Initial qty 5 Nos

## Price Schedule - Domestic
SECTION – XI A PRICE SCHEDULE
PRICE SCHEDULE FOR DOMESTIC GOODS OR GOODS OF FOREIGN ORIGIN LOCATED WITHIN INDIA
Schedule. No | Equipment | Capacity/Spec. | Qty(in Nos) | Supply |  | Installation
|  |  |  | Unit Price (in Rs.) | Total Price (in Rs.) | Unit Price (in Rs.) | Total Price (in Rs.)
1 | Table top Lyophilizer | 50 nos. of vials (2R)or 100 ampoules | 4
2 | Cryogenic storage container | Min 60L -1no with cryo boxes | 1
Transport Tank-32L-2no.s with trolley
3 | Stability chamber | 300L-Reach-in | 1
4 | Binocular compound microscope | Binocular | 6
5 | Refrigerated centrifuge | 6 Litre per run | 8
6 | ELISA Reader | 4 °C to 45 °C | 1
7 | Colony Counter | GLP model | 1
8 | Table Top Cooling Centrifuge | Rotor should able to process | 1
1]4x15ml(Conical)
2]4x50ml(conical/Oak ridge)
3]1000ml(minimum fill volume)
9 | Hot Plate | 38 to 500 °C | 5
10 | Anaerobic Jar | GLP/GMP model | 2
12 | Electrical pipette controller | 1-100mL plastic/glass pipet | 7
13 | Water Bath | 50 cm x 23 cm x 15 cm (LxWxH) | 4
14 | Media Dispenser | 5 ml - 150 ml/min | 2
15 | Homogeniser | 60 L | 1
Total Basic Price
Excise duty @ …………………..
CST/VAT @.........................
Service Tax @.........................
P&F
Insurance
Freight
Total Price in Rs.
Grand Total (Supply & Installation) in Rs.

## Price Schedule - Imports
SECTION – XI B PRICE SCHEDULE
PRICE SCHEDULE FOR GOODS TO BE IMPORTED FROM ABROAD
Schedule. No | Equipment | Capacity/Spec. | Qty(in Nos) | Supply |  | Installation
|  |  |  | Currency_ | Currency__ | Currency_ | Currency_
|  |  |  | Unit Price | Total Price | Unit Price | Total Price
1 | Table top Lyophilizer | 50 nos. of vials (2R)or 100 ampoules | 4
2 | Cryogenic storage container | Min 60L -1no with cryo boxes | 1
Transport Tank-32L-2no.s with trolley
3 | Stability chamber | 300L-Reach-in | 1
4 | Binocular compound microscope | Binocular | 6
5 | Refrigerated centrifuge | 6 Litre per run | 8
6 | ELISA Reader | 4 °C to 45 °C | 1
7 | Colony Counter | GLP model | 1
8 | Table Top Cooling Centrifuge | Rotor should able to process | 1
1]4x15ml(Conical)
2]4x50ml(conical/Oak ridge)
3]1000ml(minimum fill volume)
9 | Hot Plate | 38 to 500 °C | 5
10 | Anaerobic Jar | GLP/GMP model | 2
12 | Electrical pipette controller | 1-100mL plastic/glass pipet | 7
13 | Water Bath | 50 cm x 23 cm x 15 cm (LxWxH) | 4
14 | Media Dispenser | 5 ml - 150 ml/min | 2
15 | Homogeniser | 60 L | 1
Gross FOB Price at sea / airport of Lading
Insurance & Freight
Net CIP Port of destination by Air/Sea
Customs duty % & HS Code
Customs Clearance & Handling Charges **
Loading / Unloading / Inland Transportation & Incidental cost till Consignee’s site**
Installation, Commissioning, Supervision, Demonstration, Training Documentation and Qualification at the consignee’s site**
Total DAP Price
Grand Total (Supply & Installation) in Foreign Currency

## Price Schedule - CMC
SECTION – XI C PRICE SCHEDULE
PRICE SCHEDULE FOR ANNUAL COMPREHENSIVE MAINTENANCE CONTRACT(CMC) AFTER WARRANTY PERIOD
Schedule. No | Equipment | Qty(in Nos) | Ist Year | IInd Year | IIIrd Year | IVth Year | Vth Year | Total
|  | X | Unit Price (in Rs.) - A | Unit Price (in Rs.) - B | Unit Price (in Rs.) - C | Unit Price (in Rs.) - D | Unit Price (in Rs.) - E | X * (A+B+C+D+E)
1 | Table top Lyophilizer | 4
2 | Cryogenic storage container | 1
3 | Stability chamber | 1
4 | Binocular compound microscope | 6
5 | Refrigerated centrifuge | 8
6 | ELISA Reader | 1
7 | Colony Counter | 1
8 | Table Top Cooling Centrifuge | 1
9 | Hot Plate | 5
10 | Anaerobic Jar | 2
12 | Electrical pipette controller | 7
13 | Water Bath | 4
14 | Media Dispenser | 2
15 | Homogeniser | 1
Total(in Rs.)

## Price Schedule - AMC
SECTION – XI D PRICE SCHEDULE
PRICE SCHEDULE FOR ANNUAL MAINTENANCE CONTRACT(AMC) AFTER WARRANTY PERIOD
Schedule. No | Equipment | Qty(in Nos) | Ist Year | IInd Year | Total
|  | X | Unit Price (in Rs.) - A | Unit Price (in Rs.) - B | X * (A+B)
1 | Table top Lyophilizer | 4
2 | Cryogenic storage container | 1
3 | Stability chamber | 1
4 | Binocular compound microscope | 6
5 | Refrigerated centrifuge | 8
6 | ELISA Reader | 1
7 | Colony Counter | 1
8 | Table Top Cooling Centrifuge | 1
9 | Hot Plate | 5
10 | Anaerobic Jar | 2
12 | Electrical pipette controller | 7
13 | Water Bath | 4
14 | Media Dispenser | 2
15 | Homogeniser | 1
Total(in Rs.)